## BoQ1
Government eProcurement System Created By: Venkatesan R Created Date/Time: 13-Sep-2024 03:22 PM Tender Title: Modification to the tool room shop for accommodating the Arjun Engine repair including providing washing facility for old stripped components at Engine Factory Avadi Tender ID: 2024_AVNL_197546_1
Tender Inviting Authority: The Chief General Manager, Engine Factory Avadi (A Unit of AVNL)
Name of Work: Modification to the tool room shop for accomodating the Arjun Engine repair including providing washing facility for old stripped components at Engine Factory Avadi
Contract No: EFA/EO(C)/1279/E/TE/01/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises(GSTN-NA)--719100 |  | SS ENTERPRISE(GSTN-NA)--719121 |  | S VINAYAGAMURTHY(GSTN-NA)--711954
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | M/L Excavation in trenches, n. exc. 1.5m wide and n.exc. 1.5m in depth for foundation etc. And getting out including dressing/ trimming sides and levelling/grading and ramming of bottoms of excavation in dence soil. | 65.50 | CU.M | 742.50 | 855.00 | 56002.50 | 600.00 | 39300.00 | 805.00 | 52727.50 | 39300.00 | SS ENTERPRISE
2.00 | Surface excavation n.exc. 30cm. Deep and avaraging 15 cm.deep and getting out hard and dence soil. | 200.00 | SQM | 102.52 | 55.00 | 11000.00 | 100.00 | 20000.00 | 107.00 | 21400.00 | 11000.00 | Siva Enterprises
3.00 | Demolition of Cement Concrete (unreinforced) of any description and in any position not otherwise specificically provided for, and remove them. | 5.50 | CU.M | 1794.43 | 1955.00 | 10752.50 | 1750.00 | 9625.00 | 1805.00 | 9927.50 | 9625.00 | SS ENTERPRISE
4.00 | S/F for filling of good quality loose earth / sand filling and leveling of earth in layers including watering and consolidation. | 17.00 | CU.M | 2171.73 | 2455.00 | 41735.00 | 2000.00 | 34000.00 | 2340.00 | 39780.00 | 34000.00 | SS ENTERPRISE
5.00 | Returning of earth/excavated materials to the sides of foundation trench and on floor, filling including spreading, lebeling, watering and well raming in layers n.exc. 25 cm, Hard/dense soil. | 10.00 | CU.M | 153.01 | 255.00 | 2550.00 | 120.00 | 1200.00 | 165.00 | 1650.00 | 1200.00 | SS ENTERPRISE
6.00 | Taking down Cement Plaster on brick walls etc. including raking out joints, hacking for key & scrubbing down with water etc. | 100.00 | SQM | 104.43 | 125.00 | 12500.00 | 120.00 | 12000.00 | 110.00 | 11000.00 | 11000.00 | S VINAYAGAMURTHY
7.00 | Cutting chase, pinning in, making good to facings where required and pointing to Cement Mortar 1:3.to ends or edges of landings, steps, cills, sunshades, shelves, lintels,etc. and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exc. 10cm but not exc. 20 cm girth in brick walls. | 100.00 | RM | 57.31 | 125.00 | 12500.00 | 60.00 | 6000.00 | 70.00 | 7000.00 | 6000.00 | SS ENTERPRISE
8.00 | Demolition of Reinforcement Cement Concrete of any description and in any position not otherwise specifically provided for (reinforcement cut as required to facilitate demolition) | .10 | CU.M | 2072.07 | 2455.00 | 245.50 | 2000.00 | 200.00 | 2210.00 | 221.00 | 200.00 | SS ENTERPRISE
9.00 | Taking down damaged wooden frame with shutters | 10.00 | EACH | 311.19 | 455.00 | 4550.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 3000.00 | SS ENTERPRISE
10.00 | Felling of shrub/bushes (woody plant distinguished from a tree )including Cutting of branches ( girth exc. 30 cm and n. exc. 100 cm.) and stacking of serviceable material and disposal of unserviceble material to a distance n/exc. 50m and clearing site. | 2.00 | EACH | 1372.80 | 5255.00 | 10510.00 | 1300.00 | 2600.00 | 1480.00 | 2960.00 | 2600.00 | SS ENTERPRISE
11.00 | Cutting holes in brick walls built in cement mortar or cement lime mortar for inserting holdfasts and making good dismantled portion in cement moratr 1:3 or cement concrete 1:2:4 type B-1 as required, exc. 1/2 brick n. exc. 1 brick thick | 64.00 | EACH | 374.21 | 145.00 | 9280.00 | 350.00 | 22400.00 | 408.00 | 26112.00 | 9280.00 | Siva Enterprises
12.00 | M & L for anti termite treatment along the external/ internal wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. | 35.00 | RM | 98.12 | 75.00 | 2625.00 | 90.00 | 3150.00 | 107.00 | 3745.00 | 2625.00 | Siva Enterprises
13.00 | Rendering 15mm thick cement plaster, using cement morter (1:4) on wall/ceiling / concrete serfaces and finish the surface even and smooth without using extra cement including coat. | 380.00 | SQM | 334.66 | 355.00 | 134900.00 | 350.00 | 133000.00 | 345.00 | 131100.00 | 131100.00 | S VINAYAGAMURTHY
14.00 | Rendering screed bed or bedding layer of cement mortar 1:4 having 20mm thick over floor concrete for floor finishes as directed by E-In-Charge Including M&L complete. | 20.25 | SQM | 306.20 | 255.00 | 5163.75 | 300.00 | 6075.00 | 335.00 | 6783.75 | 5163.75 | Siva Enterprises
15.00 | M & L for one coat of cement slurry on floor, column and chipping surfaces of roof @ 3kg/Sq,m. | 20.25 | SQM | 22.66 | 55.00 | 1113.75 | 20.00 | 405.00 | 28.00 | 567.00 | 405.00 | SS ENTERPRISE
16.00 | M/L for cement concrete type D2, 1:4:8 using 40mm graded aggregate 100mm thickness, complete all as specified and directed by the E- in - C. | 160.00 | SQM | 586.30 | 545.00 | 87200.00 | 500.00 | 80000.00 | 620.00 | 99200.00 | 80000.00 | SS ENTERPRISE
17.00 | M& L for Reinforced Ready Mixed Cement Concrete (DESIGN MIX) M30 grade in foundation, including raft footings, foundation beams, plinth beams, bases for column etc., basement slabs, underreamed piles and mass concrete at floors etc.; complete all as specified and as directed by the E-in-C. | 65.00 | CU.M | 8774.72 | 9255.00 | 601575.00 | 8000.00 | 520000.00 | 9689.00 | 629785.00 | 520000.00 | SS ENTERPRISE
18.00 | M/L for wear proof topping 20mm thick ( Type B0, 1:2:4) as specified (incorporating an approved metalic floor hardner) mixer with water proofing compound, laid on concrete floors and pavings, and finished even and smooth.(except metalic hardner). | 60.00 | Sq.m, | 379.39 | 455.00 | 27300.00 | 350.00 | 21000.00 | 395.00 | 23700.00 | 21000.00 | SS ENTERPRISE
19.00 | Supply only metalic floor Hardner for wear proof toping (Qty. @ 3Kgs. per Sq.m.) | 180.00 | Kgs | 29.70 | 255.00 | 45900.00 | 30.00 | 5400.00 | 31.00 | 5580.00 | 5400.00 | SS ENTERPRISE
20.00 | M & L for Formwork to sides and soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including supports, overhangs, etc. also splays between floors and beams, etc.; Complete all as specified and as directed by the Engineer-in-Charge. | 110.00 | SQM | 586.42 | 825.00 | 90750.00 | 550.00 | 60500.00 | 680.00 | 74800.00 | 60500.00 | SS ENTERPRISE
21.00 | M & L for mild steel TMT bars of 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.; Complete all as specified and as directed by the Engineer-in-Charge. | 2950.00 | KG | 90.86 | 105.00 | 309750.00 | 85.00 | 250750.00 | 101.00 | 297950.00 | 250750.00 | SS ENTERPRISE
22.00 | M & L for Precast Cement concrete block masonry with solid block of type B1 1:2:4 (20mm graded aggregate) in 1:6 cement mortar, exc. 10 cm in width; complete all as specified and as directed by the Engineer-in-Charge | 37.00 | CU.M | 9986.90 | 12455.00 | 460835.00 | 8500.00 | 314500.00 | 10900.00 | 403300.00 | 314500.00 | SS ENTERPRISE
23.00 | S/F rolled sections as in main and cross beams, hip and jack rafters, purlines where connected to common rafters and running rails and guides for sliding doors, fixed with angle cleats or other connecting plate, Fe-410 (Gde E-250, quality B) | 2115.00 | KG | 114.65 | 115.00 | 243225.00 | 120.00 | 253800.00 | 124.00 | 262260.00 | 243225.00 | Siva Enterprises
24.00 | S/F for gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or slidingwith and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete, Fe-290(Gde E 165) | 2532.00 | KG | 127.86 | 155.00 | 392460.00 | 125.00 | 316500.00 | 140.00 | 354480.00 | 316500.00 | SS ENTERPRISE
25.00 | S/F welded steel wire fabric supplied and fixed complete to wood or steel members (wt. per square metre Exc. 4 Kg.) | 52.50 | Sq.m. | 262.87 | 485.00 | 25462.50 | 250.00 | 13125.00 | 280.00 | 14700.00 | 13125.00 | SS ENTERPRISE
26.00 | Supply & Fixing of PVC(SWR) pipe of 110 mm dia to walls double socketed sewer line outlet airvent or in trenches inlcuding all fittings like clamps, bends, Tee etc. complete all as specified and as directed by the E-in-C. | 10.00 | RM | 220.00 | 355.00 | 3550.00 | 220.00 | 2200.00 | 240.00 | 2400.00 | 2200.00 | SS ENTERPRISE
27.00 | M/L aluminioum anodized frame for doors, windows, ventilators with one or more rebates including joining cleat for fixing etc. complete all as specified with powder coating of any colour (thickness of poder coating not less than 50 micron) | 877.41 | KG | 601.60 | 575.00 | 504509.03 | 650.00 | 570314.55 | 625.00 | 548379.38 | 504509.03 | Siva Enterprises
28.00 | M/L for Particle board, medium density, flat pressed, single layer type or three layer type with BWR type adhesive, fixed with screws to frame work 12mm thick. | 165.00 | SQM | 616.88 | 1255.00 | 207075.00 | 600.00 | 99000.00 | 615.00 | 101475.00 | 99000.00 | SS ENTERPRISE
29.00 | M & L for PVC Rainwater (SWR) bends any radious, 110mm bore, with provided access door and prferably Supreme make. | 5.00 | EACH | 187.00 | 255.00 | 1275.00 | 180.00 | 900.00 | 180.00 | 900.00 | 900.00 | S VINAYAGAMURTHY, SS ENTERPRISE
30.00 | S & F of PVC(SWR) branch piece,single 'Y' equal or unequal, with provided access door 110 mm dia. | 5.00 | EACH | 657.32 | 325.00 | 1625.00 | 650.00 | 3250.00 | 714.00 | 3570.00 | 1625.00 | Siva Enterprises
31.00 | S&F PVC (SWR) gully trap, plain with grating including jointing with solvent cement, 125/110 mm dia. | 2.00 | EACH | 291.50 | 455.00 | 910.00 | 300.00 | 600.00 | 296.00 | 592.00 | 592.00 | S VINAYAGAMURTHY
32.00 | Matrial and labour for surface preparation for epoxy flooring by making surface free from dust, dirt, moisture oil and all foreign material from the floor. For floor cleaning suitable chemical and mechanized equipments are to be used likescrubber, sanders, hot air blowers, vacuum cleaners, etc. Once cleaned, the surface is roughened to prepare the surface for application of epoxy primer. As directed by the Engineer-in-Charge complete. | 420.00 | Sq.m. | 45.00 | 125.00 | 52500.00 | 50.00 | 21000.00 | 48.00 | 20160.00 | 20160.00 | S VINAYAGAMURTHY
33.00 | Material and labour for (a). one coat of epoxy primer with the coverage of 5.50Sqm/Litre. (b). Epoxy solution will be prepared using 2 parts resin and 1 parts hardner and the so prepared epoxy solution will be mix in the ratio 1 litre epoxysolution to 2.5kg silica quartz to form epoxy screed and so prepared mix shall be applied over primed surface with the coverage of 1.0Sqm/Litre. Screed mix to be stir with power mixture to achieve homogeneous mix and applied and leveled with the help of trowel and leveler over the tacky primer surface to an average thickness of 2000 Microns and allow curing for 4- 5 Hrs. (Make:-BOSTIK/FOSROC/ CIPY/STP/SIKA/ HUNTSMAN/ JEMKON) As directed by the E- in- C. | 420.00 | Sq.m. | 465.00 | 455.00 | 191100.00 | 520.00 | 218400.00 | 505.00 | 212100.00 | 191100.00 | Siva Enterprises
34.00 | Material and labour Epoxy Poly Urethane (EPU) top coat in the ratio of 2:1 (Resin : hardener), colour and quartz powder with the coverage of 1.0Sqm/Litre to a thickness of 1000 Microns over one coat epoxy putty with the coverage of 5.50Sqm/Litre. Epoxy mix to be stir with power mixture to achieve homogeneous mix and applied and leveled and curing it for 24 Hrs ( the color shall be of light green and Red to suit the existing color of the floor). (Make:-BOSTIK/ FOSROC/CIPY/STP/SIKA/ HUNTSMAN/ JEMKON) As directed by the Engg.-in-Chargecomplete. | 420.00 | Sq.m. | 425.00 | 425.00 | 178500.00 | 470.00 | 197400.00 | 455.00 | 191100.00 | 178500.00 | Siva Enterprises
35.00 | Material and Labour for 80mm wide Yellow line marking in the gangway by fixing masking tape on both side of the line. (Make:-BOSTIK/ FOSROC/ CIPY/STP/SIKA/UNTSMAN/ JEMKON) As directed by the Engineer-in-Charge complete. | 188.00 | RM | 55.00 | 425.00 | 79900.00 | 60.00 | 11280.00 | 59.00 | 11092.00 | 11092.00 | S VINAYAGAMURTHY
36.00 | Material and labour for cleaning and filling of pot holes, cracks and existing expansion/ construction joints with screed mortar. Before filling screed mortar the area is to be cleaned and surface to be made free from dust, dirt, moisture, oil and all foreign materials. Screed mix to be stir with power mixture to achieve homogeneous mix and applied and leveled with the help of trowel and leveler over the tacky primer surface. (Make:-BOSTIK/ FOSROC/ CIPY/ STP/SIKA/HUNTSMAN/ JEMKON) As directed by the Engineer-in-Charge complete. | 50.00 | Kgs. | 200.00 | 1655.00 | 82750.00 | 230.00 | 11500.00 | 217.00 | 10850.00 | 10850.00 | S VINAYAGAMURTHY
37.00 | S & F of Bib taps, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed, Chrome Plated, fancy type, conforming to IS standards and weighing not less than 690 gms. 15mm bore | 5.00 | EACH | 668.33 | 755.00 | 3775.00 | 800.00 | 4000.00 | 790.00 | 3950.00 | 3775.00 | Siva Enterprises
38.00 | S & F of waste fittings, brass, chromium plated for glazed ware sinks, basins etc. with long screwed shanks and flynuts, flange end bedded in red lead cement and other end fixed, 32mm dia. | 5.00 | EACH | 174.64 | 255.00 | 1275.00 | 175.00 | 875.00 | 190.00 | 950.00 | 875.00 | SS ENTERPRISE
39.00 | S & F for Gun metal globe or gate valves with iron wheelhead, screwed both ends for iron pipe, 15mm bore. | 4.00 | EACH | 556.00 | 655.00 | 2620.00 | 800.00 | 3200.00 | 605.00 | 2420.00 | 2420.00 | S VINAYAGAMURTHY
40.00 | S & F of Stop valves, (Angle cock) cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed end for iron pipe or for unions and fixed; Chromium Plated, fancy type, 15mm bore | 5.00 | EACH | 750.23 | 585.00 | 2925.00 | 800.00 | 4000.00 | 800.00 | 4000.00 | 2925.00 | Siva Enterprises
41.00 | Fixing only wash basins, vitereous china (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand but exclusive of fixing of supply and waste pipe. | 2.00 | EACH | 716.04 | 655.00 | 1310.00 | 750.00 | 1500.00 | 785.00 | 1570.00 | 1310.00 | Siva Enterprises
42.00 | S & F 25mm bore CPVC Pipe medium grade with all fittings and fixed complete to walls and ceilings or laid in floors. | 100.00 | RM | 215.60 | 225.00 | 22500.00 | 220.00 | 22000.00 | 235.00 | 23500.00 | 22000.00 | SS ENTERPRISE
43.00 | S & F 50 mm bore CPVC Pipe medium grade with all fittings and fixed complete to walls and ceilings or laid in floors | 20.00 | RM | 476.30 | 525.00 | 10500.00 | 500.00 | 10000.00 | 520.00 | 10400.00 | 10000.00 | SS ENTERPRISE
44.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of stepsand dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 5.25 | SQM | 1267.95 | 1855.00 | 9738.75 | 1500.00 | 7875.00 | 1530.00 | 8032.50 | 7875.00 | SS ENTERPRISE
45.00 | S/F Anodised aluminioum snap grid frame work with hangers 6mm dia G.I. (upto 1200mm length) adjacent level fixed to roof slab by means of ceiling cleats made out of G.I. flat 40x3mm size 60mm long complete all as specified for False ceiling as specified. | 60.00 | Sq.M. | 660.54 | 655.00 | 39300.00 | 650.00 | 39000.00 | 705.00 | 42300.00 | 39000.00 | SS ENTERPRISE
46.00 | S/F the perforated particle boards/Tiles for insulation and accoustic purposes 60x60 cm in sise, fixed with nails or with staples on snap grid,12mm thickness. in celing surface. | 140.00 | SQM | 676.85 | 755.00 | 105700.00 | 650.00 | 91000.00 | 715.00 | 100100.00 | 91000.00 | SS ENTERPRISE
47.00 | M&L for applying two coats of Plastic emulsion paint on new surface of any description over 10cm girth or width over one coat of wall primer including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only) | 348.00 | SQM | 157.52 | 155.00 | 53940.00 | 180.00 | 62640.00 | 180.00 | 62640.00 | 53940.00 | Siva Enterprises
48.00 | Rendering two coats of distempering on walls with oil emultion (Berger/Asian/ICI) over priming surfaces i.e. chalk whiting with alkali resistant priming paint including preparation of plastered old serfaces. | 200.00 | SQM | 119.57 | 65.00 | 13000.00 | 120.00 | 24000.00 | 129.00 | 25800.00 | 13000.00 | Siva Enterprises
49.00 | M & L for sheet glass 5.5mm thick, ordinary quality and glazing with rubber neoprene packing in square exc 0.5 sq m in each pane complete all as specified and as directed by the Engineer-in-Charge (Make : SAINT GOBAIN/ MODYGUARD only). | 40.00 | SQM | 1463.88 | 1255.00 | 50200.00 | 1500.00 | 60000.00 | 1550.00 | 62000.00 | 50200.00 | Siva Enterprises
50.00 | S & F of double action spring hydraulically regulated made up of minimum 1.25mm thich aluminium alloy sheet foundation box, main body with Stainless Steel cover, governing pivot made up of brass, other parths made up of mild steel heavy duty . (Make : GODREJ, DORMA only) | 10.00 | EACH | 4107.40 | 4255.00 | 42550.00 | 4200.00 | 42000.00 | 4500.00 | 45000.00 | 42000.00 | SS ENTERPRISE
51.00 | S & F white colour Two track sliding uPVC window frame (60mmx62mm) made of extruded profiles, frame will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile including drilling of holes for fixing hardware and drainage of water etc. making arrengement for fixing hardware, EPDM gasket for uPVC 2 shutter sliding window complete as directed by E-in-C. | 50.00 | RM | 591.98 | 655.00 | 32750.00 | 600.00 | 30000.00 | 630.00 | 31500.00 | 30000.00 | SS ENTERPRISE
52.00 | S & F white colour two track sliding window sash (42mmx67mm) made of extruded profiles, sash will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile for uPVC 2 shutter sliding window complete as directed by Engineer-in-charge. | 70.00 | RM | 549.17 | 455.00 | 31850.00 | 550.00 | 38500.00 | 590.00 | 41300.00 | 31850.00 | Siva Enterprises
53.00 | S & F of two track sliding interlock for window (one verticle length in each shutter) (45.5mmx28mm) complete as directed by Engineer-in-charge. | 25.00 | RM | 141.81 | 425.00 | 10625.00 | 150.00 | 3750.00 | 150.00 | 3750.00 | 3750.00 | S VINAYAGAMURTHY, SS ENTERPRISE
54.00 | S & F of two track sliding window glazing bead (24.5mmx16mm) complete as directed by Engineer-in-charge. | 70.00 | RM | 102.71 | 415.00 | 29050.00 | 100.00 | 7000.00 | 105.00 | 7350.00 | 7000.00 | SS ENTERPRISE
55.00 | S & F Reinforcement frame (30mmx21.5mm)x2 Nos for two track sliding window. complete as directed by Engineer-in-charge. | 50.00 | RM | 202.78 | 365.00 | 18250.00 | 200.00 | 10000.00 | 223.00 | 11150.00 | 10000.00 | SS ENTERPRISE
56.00 | S & F Reinforcement sash (30mmx18mm) for two track sliding window complete as directed by Engineer-in-charge. | 70.00 | RM | 84.88 | 355.00 | 24850.00 | 85.00 | 5950.00 | 93.00 | 6510.00 | 5950.00 | SS ENTERPRISE
57.00 | M & L for fixing steel roller for uPVC sliding windows with necessary screws etc. complete as directed by Engineer-in-charge. | 32.00 | EACH | 67.57 | 55.00 | 1760.00 | 68.00 | 2176.00 | 72.00 | 2304.00 | 1760.00 | Siva Enterprises
58.00 | M & L for fixing steel (white powder coated) crescent lock for uPVC sliding windows/door with necessary screws etc. complete as directed by E-in-C. | 16.00 | EACH | 128.01 | 255.00 | 4080.00 | 130.00 | 2080.00 | 134.00 | 2144.00 | 2080.00 | SS ENTERPRISE
59.00 | M & L for fixing zinc alloy (white powder coated) touch lock for uPVC sliding windows with necessary screws etc. complete as directed by Engineer-in-charge. | 16.00 | EACH | 138.99 | 355.00 | 5680.00 | 140.00 | 2240.00 | 148.00 | 2368.00 | 2240.00 | SS ENTERPRISE
60.00 | S & F for Aluminium track on bottom rail for uPVC windows with necessary screws etc. complete as directed by Engineer-in-charge. | 24.00 | RM | 32.42 | 525.00 | 12600.00 | 30.00 | 720.00 | 35.00 | 840.00 | 720.00 | SS ENTERPRISE
61.00 | S & F for Neoprene/ EPDM rubber gasket for uPVC windows/ doors complete as directed by Engineer-in-charge. | 70.00 | RM | 26.02 | 115.00 | 8050.00 | 25.00 | 1750.00 | 25.00 | 1750.00 | 1750.00 | S VINAYAGAMURTHY, SS ENTERPRISE
62.00 | S & F for wool pile for uPVC windows/ doors complete as directed by Engineer-in-charge. | 70.00 | RM | 23.10 | 65.00 | 4550.00 | 25.00 | 1750.00 | 24.00 | 1680.00 | 1680.00 | S VINAYAGAMURTHY
63.00 | Filling the gap in between uPVC frame & adjacent RCC/ Brick/ Stone work upto 5mm depth and 5mm width by providing weather silicon sealant over backer rod of approved quality as per the direction of Engineer-in-charge complete. | 32.00 | RM | 96.75 | 75.00 | 2400.00 | 110.00 | 3520.00 | 105.00 | 3360.00 | 2400.00 | Siva Enterprises
64.00 | S & F white colour frame of size 60x58mm made of extruded profiles, frame will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile including drilling of holes for fixing hardware and drainage of water etc. making arrengement for fixing hardware, EPDM gasket for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 14.00 | RM | 389.59 | 525.00 | 7350.00 | 400.00 | 5600.00 | 380.00 | 5320.00 | 5320.00 | S VINAYAGAMURTHY
65.00 | S & F white colour sash/ mullion of size 60x73.5 mm (Style, rail and intermediate section) made of extruded profiles, sash will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 13.00 | RM | 435.51 | 545.00 | 7085.00 | 450.00 | 5850.00 | 420.00 | 5460.00 | 5460.00 | S VINAYAGAMURTHY
66.00 | S & F for glazing bead of size 35x30mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 12.00 | RM | 183.43 | 255.00 | 3060.00 | 180.00 | 2160.00 | 170.00 | 2040.00 | 2040.00 | S VINAYAGAMURTHY
67.00 | S & F for reinforcement frame of size 28x21.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 13.00 | RM | 94.62 | 285.00 | 3705.00 | 100.00 | 1300.00 | 103.00 | 1339.00 | 1300.00 | SS ENTERPRISE
68.00 | S & F for reinforcement sash of size 31x20.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 12.00 | RM | 115.25 | 325.00 | 3900.00 | 120.00 | 1440.00 | 123.00 | 1476.00 | 1440.00 | SS ENTERPRISE
69.00 | M & L for fixing stainless steel (SS 304 Grade) size 200x19x1.9mm, friction hinges to the side/ top hung uPVC windows of approved quality, with necessary stainless steel screws etc.complete as directed by E-in-C. | 16.00 | EACH | 287.76 | 425.00 | 6800.00 | 300.00 | 4800.00 | 315.00 | 5040.00 | 4800.00 | SS ENTERPRISE
70.00 | M & L for fixing casement handle made up of zinc alloyed (white powder coated) for uPVC casement windows with necessary screws etc. complete as directed by Engineer-in-charge. | 8.00 | EACH | 204.90 | 155.00 | 1240.00 | 200.00 | 1600.00 | 190.00 | 1520.00 | 1240.00 | Siva Enterprises
71.00 | Supply & Erection of "PCGI PUF - Double Door of size 2.5mx2.0m, total thickness of door panel shall be min 42 mm, made up of powder coated galvanized iron 18 guage sheet with MS powder coated 16G sheet frame and filled with corrogated PUF insulation with GI stiffners. Door shall be provided with DORMA make door closure and hinges (SS) and Vision Panel of 300mmx200mm size in both panel. Door should conform All Criterias as per IS3614 Part II-1992 & BS 476 part 20 & 22. | 1.00 | EACH | 51000.00 | 145000.00 | 145000.00 | 58000.00 | 58000.00 | 55000.00 | 55000.00 | 55000.00 | S VINAYAGAMURTHY
72.00 | Pre- painted galvatume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of ancolour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified. | 88.00 | SQM | 843.71 | 955.00 | 84040.00 | 800.00 | 70400.00 | 890.00 | 78320.00 | 70400.00 | SS ENTERPRISE
73.00 | Applying Two coats of Synthetic enamel paints (Berger/Asian/ICI) over preparation of new surfaces on steel surfaces of any description, over aluminium red oxide primer, above 10 cm in width or girth. | 150.00 | SQM, | 158.73 | 155.00 | 23250.00 | 150.00 | 22500.00 | 155.00 | 23250.00 | 22500.00 | SS ENTERPRISE
74.00 | Supply and planting of good quality Ficus plants to an height of 5 Ft with vermicompost and micronutrient application for every plants including cost of loading, unloading, transportation at Engine Factory | 50.00 | Nos | 2145.00 | 455.00 | 22750.00 | 2000.00 | 100000.00 | 2200.00 | 110000.00 | 22750.00 | Siva Enterprises
75.00 | Supply and laying of good quality mexican grass and surface/main land preparation by removing unwanted plants, shrubs and levelling the area after soil ploughing. Before laying of the Grass, vermi compost and micro nutrients to be mixed with soil to increase the soil fertility, complete all as per the specification and as per the direction Engineer in charge. | 1.00 | WJ | 235000.00 | 45000.00 | 45000.00 | 200000.00 | 200000.00 | 240000.00 | 240000.00 | 45000.00 | Siva Enterprises
76.00 | Supply and planting of good quality golden duranta edge plants (1000 Nos), Preparation of Area after removing the debris, unwanted trees, shrubs, levelling the ground (350 Rft) with vermicompost and micronutrients mixture for the enrichment of existing soil incuding the cost of loading, unloading, transportation, planting by manual labours at EFA | 1.00 | WJ | 39500.00 | 55000.00 | 55000.00 | 45000.00 | 45000.00 | 41000.00 | 41000.00 | 41000.00 | S VINAYAGAMURTHY
77.00 | M&L for one light point Controlled by one switch and wiring with 1.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the E-in-C | 24.00 | POINT | 1092.03 | 1255.00 | 30120.00 | 1100.00 | 26400.00 | 990.00 | 23760.00 | 23760.00 | S VINAYAGAMURTHY
78.00 | M&L for one Fan point Controlled by one switch and wiring with 1.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the E-in-C | 24.00 | POINT | 1092.03 | 1255.00 | 30120.00 | 1100.00 | 26400.00 | 990.00 | 23760.00 | 23760.00 | S VINAYAGAMURTHY
79.00 | Supply &fixing of 6Amps Socket as directed by the Engineer-in-Charge. | 60.00 | EACH | 374.59 | 185.00 | 11100.00 | 375.00 | 22500.00 | 320.00 | 19200.00 | 11100.00 | Siva Enterprises
80.00 | S&F Modular Box 6 module made out 1.2 mm GI Sheet as directed by the Engineer-in-charge | 20.00 | EACH | 312.51 | 455.00 | 9100.00 | 320.00 | 6400.00 | 450.00 | 9000.00 | 6400.00 | SS ENTERPRISE
81.00 | S&F Modular White Cover Plate With Frame, 6 module. as directed by the Engineer-in-charge | 20.00 | EACH | 340.56 | 255.00 | 5100.00 | 340.00 | 6800.00 | 320.00 | 6400.00 | 5100.00 | Siva Enterprises
82.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230V, 1200mm sweep. Min air delivery 210 CFM with Service value 6.00 BEE.Five star rated with brushless direct current motor (BLDC). As directed by the Engineer-in-charge | 22.00 | EACH | 2914.42 | 4255.00 | 93610.00 | 3500.00 | 77000.00 | 3400.00 | 74800.00 | 74800.00 | S VINAYAGAMURTHY
83.00 | Supply& fixing of 2’×2’ Panel LED Light (40Watt)Fitting Suitable for fall ceiling, As directed by the Engineer-in-charge | 12.00 | EACH | 5014.60 | 4275.00 | 51300.00 | 5250.00 | 63000.00 | 4900.00 | 58800.00 | 51300.00 | Siva Enterprises
84.00 | S&F of Fan Regulator 2 module Regulator with Accessories. as directed by the Engineer-in-charge. | 22.00 | EACH | 1119.74 | 655.00 | 14410.00 | 1200.00 | 26400.00 | 1160.00 | 25520.00 | 14410.00 | Siva Enterprises
85.00 | Hanging only ceiling fan (M.D. supply) and conecting up including provision of cable from ceiling rose or connector to fan, as directed by the Engineer-in-charge | 22.00 | EACH | 187.66 | 455.00 | 10010.00 | 200.00 | 4400.00 | 190.00 | 4180.00 | 4180.00 | S VINAYAGAMURTHY
86.00 | S&F of LED Tube Light 18Watt,(T8) Twin Fitting with suitable fixtures& Accessories As directed by the Engineer-in-charge | 20.00 | EACH | 1463.43 | 855.00 | 17100.00 | 1500.00 | 30000.00 | 1360.00 | 27200.00 | 17100.00 | Siva Enterprises
87.00 | S&F for Wiring for circuit/submain wiring alongwith earth wire with 2x1.5 sq. mm + 1x1.0 sq. mm earth wire FR is PVC insulated copper conductor, single core cable in surface/ recessed as required, in PVC Conduit. | 200.00 | RM | 179.65 | 195.00 | 39000.00 | 180.00 | 36000.00 | 165.00 | 33000.00 | 33000.00 | S VINAYAGAMURTHY
| Total in Figures |  |  |  |  | 5168558.28 |  | 4589850.55 |  | 4970900.63
Lowest Amount Quoted BY: SS ENTERPRISE(4589850.55)

## BOQ Summary
BOQ Summary Details Tender Title: Modification to the tool room shop for accommodating the Arjun Engine repair including providing washing facility for old stripped components at Engine Factory Avadi Tender ID: 2024_AVNL_197546_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SS ENTERPRISE | 4589850.55 | L1
| 2 | S VINAYAGAMURTHY | 4970900.63 | L2
| 3 | Siva Enterprises | 5168558.28 | L3