## BoQ1
Government eProcurement System Created By: B SHANKAR LAL Created Date/Time: 08-Jul-2024 03:25 PM Tender Title: SPECIAL REPAIRS / RENOVATION OF GYM ROOM IN OFFICERS MESS BLOCK AT HVF ESTATE. Tender ID: 2024_AVNL_197790_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS / RENOVATION OF GYM ROOM IN OFFICERS MESS BLOCK AT HVF ESTATE.
HVF T.E No : HVF/TE/13025/CEO/2024-25/13
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -713073 |  | SHAPEMAKER(GSTN-NA)--713183 |  | P S G CONSTRUCTIONS(GSTN-NA)--712615 |  | Siva Enterprises(GSTN-NA)--712619
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down Chowkhats or frames exc 1.5 sq. m but n exc 4 sq. m each with shutters and handing over to CE(E) stores | 10.00 | Each | 393.03 | 2500.00 | 25000.00 | 450.00 | 4500.00 | 410.00 | 4100.00 | 425.00 | 4250.00 | 4100.00 | P S G CONSTRUCTIONS
2.00 | Dismantling structural steel work including doors, gates, windows but excluding framed truss etc. | 2.00 | Quintal | 685.96 | 65000.00 | 130000.00 | 950.00 | 1900.00 | 700.00 | 1400.00 | 725.00 | 1450.00 | 1400.00 | P S G CONSTRUCTIONS
3.00 | Taking down cement plastering on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 120.00 | SQM | 104.43 | 200.00 | 24000.00 | 120.00 | 14400.00 | 110.00 | 13200.00 | 105.00 | 12600.00 | 12600.00 | Siva Enterprises
4.00 | M & L for Brick work built in CM.1:6 using Sub-Class “B” Bricks. | 10.00 | CUM | 5362.50 | 11500.00 | 115000.00 | 7900.00 | 79000.00 | 7800.00 | 78000.00 | 7255.00 | 72550.00 | 72550.00 | Siva Enterprises
5.00 | Demolition of Brick work built in Cement Mortor of any description | 5.00 | CUM | 1806.13 | 2500.00 | 12500.00 | 1600.00 | 8000.00 | 900.00 | 4500.00 | 1455.00 | 7275.00 | 4500.00 | P S G CONSTRUCTIONS
6.00 | Demolition of Reinforced Cement Concrete structure of any description | 2.00 | CUM | 2072.07 | 2500.00 | 5000.00 | 2100.00 | 4200.00 | 1900.00 | 3800.00 | 2255.00 | 4510.00 | 3800.00 | P S G CONSTRUCTIONS
7.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 175.00 | SQM | 289.43 | 480.00 | 84000.00 | 350.00 | 61250.00 | 360.00 | 63000.00 | 315.00 | 55125.00 | 55125.00 | Siva Enterprises
8.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 20.00 | SQM | 781.66 | 900.00 | 18000.00 | 850.00 | 17000.00 | 900.00 | 18000.00 | 825.00 | 16500.00 | 16500.00 | Siva Enterprises
9.00 | M & L for Dubbing in CM 1:6, 10mm thick in brick work, concrete surfaces | 120.00 | SQM | 174.69 | 400.00 | 48000.00 | 200.00 | 24000.00 | 190.00 | 22800.00 | 185.00 | 22200.00 | 22200.00 | Siva Enterprises
10.00 | Material and Labour for P.C.C 1:2:4, B1 type using 20mm graded aggregated in foundation and flooring | 28.00 | CUM | 7186.66 | 8000.00 | 224000.00 | 7940.00 | 222320.00 | 8400.00 | 235200.00 | 7855.00 | 219940.00 | 219940.00 | Siva Enterprises
11.00 | Providing and fixing factory made UPVC white color sliding window three track made of extruded profiles with wll thickness of 2.3 mm (+/- 0.2mm) window profile with hollow section with multi chamber frames (88mmx52mm) sliding sash(42mmx57mm Sliding Interlock( one vertical length in each shutter) 45.5mmx28mm) Glazing bead (24.5mmx16mm) will be mitred cut and fusion welded at all corners including railing of holes for fixing hardware and drainage fo water etc., making arranagement for fixing hardware EPDM gasket , 1.20 +/- 0.20mm thick galvanized steel frame(30mmx18mm( 2 nos sliding sash (30mmx18mm) Sliding mesh sash(26mmx10mm) profile to be inserted in required profile frame will be fixed to the wall with 8mmx100mm long fastners, Hardware Touch Lock of Zinc alloyed (white powder coated) steel roller system stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperure 1.40mm and required accessories ( Note the unit rate quoted by the contractor excludes cost of glass and includes all other connected accessories net openint will be measured for payment purpose (a) area n.exc 2.00 Sqm each) and as approved and as directed. | 12.00 | SQM | 12404.03 | 11000.00 | 132000.00 | 12500.00 | 150000.00 | 12000.00 | 144000.00 | 13455.00 | 161460.00 | 132000.00 | Intex Space Solutions Private Limited
12.00 | Supply and Fixing of sheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pare ground or obscured or tinted on one side and as approved and as directed by EIC. | 9.00 | SQM | 1339.00 | 2000.00 | 18000.00 | 1450.00 | 13050.00 | 1200.00 | 10800.00 | 1455.00 | 13095.00 | 10800.00 | P S G CONSTRUCTIONS
13.00 | Providing and fixing 75mm high Aluminium skirting of 1.5mm thick 75mm high extruded anodized aluminium skirting as per manufacture spec. as per Architects approval. | 75.00 | RM | 490.00 | 250.00 | 18750.00 | 750.00 | 56250.00 | 550.00 | 41250.00 | 525.00 | 39375.00 | 18750.00 | Intex Space Solutions Private Limited
14.00 | Providing and fixing Commercial ply paneling, of 12mm thk. ply finished with 4mm thick. approved Veneer shade with matching grains and finishing with malemine polish (Basic price of veneer is Rs 1200/sqm). (Make: Euro / Greenlam / Century) or suitably equivalent make. | 110.00 | SQM | 6800.00 | 5500.00 | 605000.00 | 7500.00 | 825000.00 | 7400.00 | 814000.00 | 7455.00 | 820050.00 | 605000.00 | Intex Space Solutions Private Limited
15.00 | Providing and fixing Commercial ply paneling, of 12mm thk. ply paneling finished in 6mm thick. of approved shade Lacquered Glass/Miror . (Make: Saintgobain /Asahi ) or suitably equivalent make . | 30.00 | SQM | 7300.00 | 3500.00 | 105000.00 | 7200.00 | 216000.00 | 8200.00 | 246000.00 | 7955.00 | 238650.00 | 105000.00 | Intex Space Solutions Private Limited
16.00 | Providing & Fixing the suspended Ply ceiling finished with approved 1 mm laminate (Basic rate laminate - Rs.400/ sqm. (Make- Euro/ Greenlam/ Century) or suitably equivalent make. | 15.00 | SQM | 2950.00 | 3000.00 | 45000.00 | 4500.00 | 67500.00 | 7500.00 | 112500.00 | 3655.00 | 54825.00 | 45000.00 | Intex Space Solutions Private Limited
17.00 | Providing and fixing doors with wooden door frames in natural anodized finished with 35mm thick Veneer door with vision panels/12mm toughened glass edges panel. Single leaf door frames shall be with door frames up to required height (H) with 4 door hinges. Door shall be fitted with H handle in natural satin finish with door closer, lock and stopper,with 6mm thk vision panel as above (size of the door 1.00 x 2.10 ). | 3.00 | Each | 51500.00 | 27000.00 | 81000.00 | 52000.00 | 156000.00 | 60000.00 | 180000.00 | 55500.00 | 166500.00 | 81000.00 | Intex Space Solutions Private Limited
18.00 | Supply and Fixing of Disply unit made of 18mm thk ply finished in 1mm thk laminate , adjustable glass shelves 4 Nos , Concealed handle, Lock, Hinges etc., height 2.1-2.7 meter height. | 5.00 | SQM | 17900.00 | 12500.00 | 62500.00 | 21000.00 | 105000.00 | 18000.00 | 90000.00 | 19455.00 | 97275.00 | 62500.00 | Intex Space Solutions Private Limited
19.00 | S & F of II class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | .10 | CUM | 95025.87 | 150000.00 | 15000.00 | 85000.00 | 8500.00 | 120000.00 | 12000.00 | 95000.00 | 9500.00 | 8500.00 | SHAPEMAKER
20.00 | M & L for Cutting chases, pinning in. making good to Brick work / concrete facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 75.00 | RM | 55.50 | 250.00 | 18750.00 | 120.00 | 9000.00 | 100.00 | 7500.00 | 75.00 | 5625.00 | 5625.00 | Siva Enterprises
21.00 | EXTERIOR EMULSION: M&L for painting two coats of exterior emulsion (MAKE:- ASIAN paint (Apex Ultima) / NEROLAC (Excel Total) / BERGER (Weather Coat Long Life seven) / NIPPON (Weather Bond Advanced) or Suitably Equivalent., includings one coat of priming paint applies after preparation of the old existing treatment | 200.00 | SQM | 165.99 | 140.00 | 28000.00 | 140.00 | 28000.00 | 160.00 | 32000.00 | 175.00 | 35000.00 | 28000.00 | Intex Space Solutions Private Limited, SHAPEMAKER
22.00 | PLASTIC EMULSION: M&L for painting two coats of interior emulsion {Make: Asian(apcolite advanced)/Berger(Easy clean)/Nerolac (Impressions 24 carat)/ Nippon (satin Glo plus)} or Suitably Equivalent make, includings one coat of priming paint applies after preparation of the old existing treatment | 150.00 | SQM | 165.99 | 140.00 | 21000.00 | 130.00 | 19500.00 | 160.00 | 24000.00 | 175.00 | 26250.00 | 19500.00 | SHAPEMAKER
23.00 | WALL PUTTY: Material and labour for applying one coat of primer and two coat of white cement based wall care putty in walls / ceiling inculding removal of loose/peeloff existing treatment if any and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4(Make shall be of JK white putty or Birla white wall care putty) or suitably equivalent make | 350.00 | SQM | 187.53 | 110.00 | 38500.00 | 120.00 | 42000.00 | 180.00 | 63000.00 | 155.00 | 54250.00 | 38500.00 | Intex Space Solutions Private Limited
24.00 | Supply, erection, testing and commissioning of 3.0TR inverter type Cassette Air conditioner unit with refrigent gas, incoming power cables 3xx2.5sq.mm with 4 polw 32 amps weather prrof MCB breaker, copper pipes and communication cables with insulation, condensing unit stand PVC drain pipes and all bye works complete as directed. (MAKE : BLUE STAR/LG/HITACHI/MITSUBISHI/VOLTAS) or Suitabaly Equivalent Make, including necessary tools kit . | 4.00 | Each | 128000.00 | 140000.00 | 560000.00 | 125000.00 | 500000.00 | 145000.00 | 580000.00 | 139455.00 | 557820.00 | 500000.00 | SHAPEMAKER
25.00 | M & L for 10mm thick Toughened Glass in fixed position with necessary hardwares in the openings in the wall all complete as directed by EIC. | 30.00 | SQM | 5300.00 | 4000.00 | 120000.00 | 8000.00 | 240000.00 | 6000.00 | 180000.00 | 5755.00 | 172650.00 | 120000.00 | Intex Space Solutions Private Limited
26.00 | Supply and Fixing of Granite 20mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete.to floors / vertical walls of concrete or brick work surfaces using T03 stone tile adhesive. including fixing of stainless steel stone cladding clamps if required for holding of granite slab, the clamp shall be fixed to the floor / concrete wall/brick work complete as direction by EIC. The shade of Granite will be selected by EIC | 10.00 | SQM | 5702.07 | 5500.00 | 55000.00 | 6200.00 | 62000.00 | 4500.00 | 45000.00 | 5955.00 | 59550.00 | 45000.00 | P S G CONSTRUCTIONS
27.00 | Material and labour for making nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC | 20.00 | RM | 130.00 | 850.00 | 17000.00 | 800.00 | 16000.00 | 180.00 | 3600.00 | 135.00 | 2700.00 | 2700.00 | Siva Enterprises
28.00 | Material and labour for Treatment of soil under existing floor susing emulsion @ one litre per hole,300mm apart including drilling and plugging 12mm dia holes with cement mortar 1:2 (1 cement: 2 coarse sand) to match the existing and Anti-termite treatment by appointing a specialised agency as per the specifications mentioned by the Bureau of Indian Standards and Agencies specifications | 130.00 | SQM | 306.46 | 500.00 | 65000.00 | 400.00 | 52000.00 | 330.00 | 42900.00 | 295.00 | 38350.00 | 38350.00 | Siva Enterprises
29.00 | Material and labour for Anti-termite treatment Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. in apron. | 75.00 | RM | 98.12 | 450.00 | 33750.00 | 60.00 | 4500.00 | 110.00 | 8250.00 | 75.00 | 5625.00 | 4500.00 | SHAPEMAKER
30.00 | Supply and fixing of Gl frame (Including Gypsum board False Ceiling) work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. including Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long including 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface over G.I, or metal frame work including any sunk or raised moulding and any cutting /opening for provision of any lighting fixtures etc. (working at height 4.5 -6 meter). complete all as specified. as approved and as directed | 130.00 | SQM | 1890.00 | 1180.00 | 153400.00 | 2200.00 | 286000.00 | 1990.00 | 258700.00 | 2055.00 | 267150.00 | 153400.00 | Intex Space Solutions Private Limited
31.00 | Material and labour for applying mellamine finish glossy/matt in wall/wood etc., whereever required and as directed. | 15.00 | SQM | 2000.00 | 2500.00 | 37500.00 | 2500.00 | 37500.00 | 2400.00 | 36000.00 | 2155.00 | 32325.00 | 32325.00 | Siva Enterprises
32.00 | S & F of Framed work such as grills, gates, etc.. with ends of bars shouldered and/or riveted, or forged into spikes; framed guard bars; and hung gates including pintle hinges stops hand made sliding bolts etc ornamental and intricate design . | 500.00 | KG | 219.88 | 200.00 | 100000.00 | 175.00 | 87500.00 | 200.00 | 100000.00 | 225.00 | 112500.00 | 87500.00 | SHAPEMAKER
33.00 | supply and laying of white pebbles of sizes 30 to 80 mm as selected/approved and directed by EIC. | 15.00 | KG | 480.00 | 2500.00 | 37500.00 | 1200.00 | 18000.00 | 500.00 | 7500.00 | 525.00 | 7875.00 | 7500.00 | P S G CONSTRUCTIONS
34.00 | Supply of artificial plants of several varities in the Plantation box as directed selected/approved and directed by EIC. | 1.00 | WJ | 9400.00 | 60000.00 | 60000.00 | 25000.00 | 25000.00 | 12000.00 | 12000.00 | 14500.00 | 14500.00 | 12000.00 | P S G CONSTRUCTIONS
35.00 | S & F of steel work in tubular trusses including special shaped washer etc., complete drilled for fixing of steel sheeting or other covering and hanging using ERW or induction butt welded tubes confirming to IS-1161 1979 grade St-240 complete as directed by EIC. | 3550.00 | Kg | 136.52 | 140.00 | 497000.00 | 175.00 | 621250.00 | 180.00 | 639000.00 | 148.55 | 527352.50 | 497000.00 | Intex Space Solutions Private Limited
36.00 | M&L Painting on steel surfaces of any description, with 2 coats of synthetic enamel paint and one coat of primer Red Oxide) and preparation of new surfaces etc, as directed. | 120.00 | SQM | 155.43 | 180.00 | 21600.00 | 120.00 | 14400.00 | 160.00 | 19200.00 | 145.00 | 17400.00 | 14400.00 | SHAPEMAKER
37.00 | Supply and Fixing of fibre glass Reinforced translucent 2mm thick corrugated sheeting with two corrugations side lap fixed with coach screw and washer in roof, wall etc., complete all as directed by EIC. | 75.00 | SQM | 1210.33 | 900.00 | 67500.00 | 1400.00 | 105000.00 | 1900.00 | 142500.00 | 1255.00 | 94125.00 | 67500.00 | Intex Space Solutions Private Limited
38.00 | Supply and Fixng of 5mm thick rubber matt flooring | 150.00 | SQM | 2100.00 | 1200.00 | 180000.00 | 3500.00 | 525000.00 | 2300.00 | 345000.00 | 2255.00 | 338250.00 | 180000.00 | Intex Space Solutions Private Limited
39.00 | Supply and fixing of ACP Panels Wooden Finish/Dark Colour with Necessary Aluminium Frame work. and as approved and as directed by EIC . | 80.00 | SQM | 5600.00 | 5000.00 | 400000.00 | 8200.00 | 656000.00 | 8500.00 | 680000.00 | 6255.00 | 500400.00 | 400000.00 | Intex Space Solutions Private Limited
40.00 | M & L for Providing 10 mm Toughened glass canopy with necessary powder coated MS section/Stainless Steel section and Hanging Ropes | 30.00 | SQM | 9655.00 | 7000.00 | 210000.00 | 8500.00 | 255000.00 | 9900.00 | 297000.00 | 10455.00 | 313650.00 | 210000.00 | Intex Space Solutions Private Limited
41.00 | M & L for providing Natural stone/Brick Linig to wall cladding Finished with Laquer Finish. and as approved and as directed by EIC | 75.00 | SQM | 2500.00 | 4000.00 | 300000.00 | 3600.00 | 270000.00 | 2700.00 | 202500.00 | 2855.00 | 214125.00 | 202500.00 | P S G CONSTRUCTIONS
42.00 | Preperation of layour drawing, 2D drawing and 3D presentation as per requirement and as directed by EIC through professional Architect. | 1.00 | LS | 72000.00 | 10000.00 | 10000.00 | 40000.00 | 40000.00 | 90000.00 | 90000.00 | 75000.00 | 75000.00 | 10000.00 | Intex Space Solutions Private Limited
43.00 | Supply and Laying of Buffalo grass including watering etc, complete all as directed. | 186.00 | SQM | 300.00 | 550.00 | 102300.00 | 750.00 | 139500.00 | 400.00 | 74400.00 | 355.00 | 66030.00 | 66030.00 | Siva Enterprises
44.00 | Excavation of moorum/red bajiri of Hard/dense soi lfrom borrow pits for floors or pavings, Removal of excavated soils lead exceeding exc. 1.50 km but n exc. 5 km and depositing where directed. and refilling of soil / loose including spreading, laid in layers n exc. 25 cm thick leveling, watering and well ramming in layers where directed. | 40.00 | CUM | 1648.57 | 900.00 | 36000.00 | 840.00 | 33600.00 | 900.00 | 36000.00 | 1755.00 | 70200.00 | 33600.00 | SHAPEMAKER
45.00 | Supply and Spreading of cow dung manure for the plantations in the proposed site in various stages etc complete all as directed by EIC | 12.00 | CUM | 700.00 | 3000.00 | 36000.00 | 3500.00 | 42000.00 | 900.00 | 10800.00 | 755.00 | 9060.00 | 9060.00 | Siva Enterprises
46.00 | Supply and Laying of Hedge plants including watering etc complete all directed. | 140.00 | RM | 200.00 | 185.00 | 25900.00 | 400.00 | 56000.00 | 450.00 | 63000.00 | 275.00 | 38500.00 | 25900.00 | Intex Space Solutions Private Limited
47.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 38.00 | RM | 444.00 | 900.00 | 34200.00 | 420.00 | 15960.00 | 420.00 | 15960.00 | 455.00 | 17290.00 | 15960.00 | P S G CONSTRUCTIONS, SHAPEMAKER
48.00 | S & F of PVC (SWR) Bend 110mm dia any radius. | 5.00 | Each | 137.50 | 50.00 | 250.00 | 200.00 | 1000.00 | 160.00 | 800.00 | 145.00 | 725.00 | 250.00 | Intex Space Solutions Private Limited
49.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.(Make: Finolux/Havells/Polycab/ Kundan) (or) Suitably equivalent make. a)one light point controlled by one switch light/fan with cables1.5 sqmm size. | 65.00 | Point | 1141.66 | 750.00 | 48750.00 | 950.00 | 61750.00 | 990.00 | 64350.00 | 1245.00 | 80925.00 | 48750.00 | Intex Space Solutions Private Limited
50.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.(Make: Finolux/Havells/Polycab/ Kundan) (or) Suitably equivalent make. b)One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable | 10.00 | Point | 334.42 | 900.00 | 9000.00 | 450.00 | 4500.00 | 990.00 | 9900.00 | 355.00 | 3550.00 | 3550.00 | Siva Enterprises
51.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.(Make: Finolux/Havells/Polycab/ Kundan) (or) Suitably equivalent make. c)One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable | 10.00 | Point | 1301.10 | 950.00 | 9500.00 | 1250.00 | 12500.00 | 1400.00 | 14000.00 | 1395.00 | 13950.00 | 9500.00 | Intex Space Solutions Private Limited
52.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) or Suitably equivalent make | 85.00 | Each | 299.58 | 100.00 | 8500.00 | 120.00 | 10200.00 | 140.00 | 11900.00 | 325.00 | 27625.00 | 8500.00 | Intex Space Solutions Private Limited
53.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) or Suitably equivalent make | 20.00 | Each | 391.62 | 300.00 | 6000.00 | 250.00 | 5000.00 | 450.00 | 9000.00 | 415.00 | 8300.00 | 5000.00 | SHAPEMAKER
54.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) or Suitably equivalent make | 10.00 | Each | 395.26 | 300.00 | 3000.00 | 200.00 | 2000.00 | 740.00 | 7400.00 | 425.00 | 4250.00 | 2000.00 | SHAPEMAKER
55.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) or Suitably equivalent make | 10.00 | Each | 607.66 | 450.00 | 4500.00 | 300.00 | 3000.00 | 750.00 | 7500.00 | 655.00 | 6550.00 | 3000.00 | SHAPEMAKER
56.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS) or Suitably equivalent make | 15.00 | Each | 75.56 | 65.00 | 975.00 | 40.00 | 600.00 | 47.00 | 705.00 | 75.00 | 1125.00 | 600.00 | SHAPEMAKER
57.00 | supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant/straight / slanding fittings. | 6.00 | Each | 150.42 | 150.00 | 900.00 | 250.00 | 1500.00 | 60.00 | 360.00 | 155.00 | 930.00 | 360.00 | P S G CONSTRUCTIONS
58.00 | Supply & fixing of modular white cover plate with frame 2 module | 4.00 | Each | 225.17 | 200.00 | 800.00 | 200.00 | 800.00 | 120.00 | 480.00 | 235.00 | 940.00 | 480.00 | P S G CONSTRUCTIONS
59.00 | Supply & fixing metal flush box for 2 module plate | 4.00 | Each | 205.97 | 350.00 | 1400.00 | 250.00 | 1000.00 | 90.00 | 360.00 | 215.00 | 860.00 | 360.00 | P S G CONSTRUCTIONS
60.00 | Supply & fixing of 4 module modular white cover plate with frame | 10.00 | Each | 284.17 | 550.00 | 5500.00 | 300.00 | 3000.00 | 180.00 | 1800.00 | 345.00 | 3450.00 | 1800.00 | P S G CONSTRUCTIONS
61.00 | Supply & fixing of metal flush box for 4 module plate | 10.00 | Each | 245.41 | 150.00 | 1500.00 | 350.00 | 3500.00 | 140.00 | 1400.00 | 265.00 | 2650.00 | 1400.00 | P S G CONSTRUCTIONS
62.00 | Supply & fixing of 6 module modular white cover plate with frame | 5.00 | Each | 356.04 | 220.00 | 1100.00 | 400.00 | 2000.00 | 210.00 | 1050.00 | 385.00 | 1925.00 | 1050.00 | P S G CONSTRUCTIONS
63.00 | Supply & fixing of metal flush box for 6 module plate | 5.00 | Each | 326.72 | 300.00 | 1500.00 | 450.00 | 2250.00 | 180.00 | 900.00 | 355.00 | 1775.00 | 900.00 | P S G CONSTRUCTIONS
64.00 | Supply & fixing of 8 module plate with frame | 10.00 | Each | 438.61 | 600.00 | 6000.00 | 550.00 | 5500.00 | 300.00 | 3000.00 | 475.00 | 4750.00 | 3000.00 | P S G CONSTRUCTIONS
65.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: LEGRAND / HAVELLS / HEGAR) or Suitably equivalent make. | 30.00 | Each | 326.83 | 250.00 | 7500.00 | 450.00 | 13500.00 | 270.00 | 8100.00 | 355.00 | 10650.00 | 7500.00 | Intex Space Solutions Private Limited
66.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP 25 To 63 AMP (Make: Legrand / Havells /ABB) or Suitably equivalent make | 3.00 | Each | 1952.24 | 9000.00 | 27000.00 | 460.00 | 1380.00 | 1900.00 | 5700.00 | 2055.00 | 6165.00 | 1380.00 | SHAPEMAKER
67.00 | Supply & fixing of MCCB 3 pole 415 Volt, fixed type 125 Amps, with breaking capacity 16KA. (Make:Legrand/ Havells/ ABB) or Suitably equivalent make | 1.00 | Each | 4125.17 | 9000.00 | 9000.00 | 12000.00 | 12000.00 | 9000.00 | 9000.00 | 4955.00 | 4955.00 | 4955.00 | Siva Enterprises
68.00 | Brick work with subclass 'B' bricks straight/curved on plan exc 6m mean radius built in (Cement mortar 1:4) | .30 | CUM | 6176.08 | 11500.00 | 3450.00 | 7900.00 | 2370.00 | 7800.00 | 2340.00 | 7255.00 | 2176.50 | 2176.50 | Siva Enterprises
69.00 | Rendering 10mm thickness on fair faces of brick work surfaces. (cement plaster 1:4) | 3.00 | SQM | 235.52 | 400.00 | 1200.00 | 350.00 | 1050.00 | 360.00 | 1080.00 | 275.00 | 825.00 | 825.00 | Siva Enterprises
70.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan) or Suitably equivalent make a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 100.00 | RM | 212.99 | 200.00 | 20000.00 | 250.00 | 25000.00 | 196.00 | 19600.00 | 225.00 | 22500.00 | 19600.00 | P S G CONSTRUCTIONS
71.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan) or Suitably equivalent make b) 2x4.0 sq.mm+1x4.0 sq.mm earth wire | 120.00 | RM | 247.25 | 400.00 | 48000.00 | 350.00 | 42000.00 | 490.00 | 58800.00 | 265.00 | 31800.00 | 31800.00 | Siva Enterprises
72.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan) or Suitably equivalent make. c) 2x6.0 sq.mm+1x6.0 sq.mm earth wire | 90.00 | RM | 298.08 | 550.00 | 49500.00 | 480.00 | 43200.00 | 720.00 | 64800.00 | 315.00 | 28350.00 | 28350.00 | Siva Enterprises
73.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan) or Suitably equivalent make d) 4x10.0 sq.mm + 1x10.0 sq.mm earth wire | 60.00 | RM | 650.65 | 750.00 | 45000.00 | 520.00 | 31200.00 | 990.00 | 59400.00 | 695.00 | 41700.00 | 31200.00 | SHAPEMAKER
74.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 450.00 | RM | 59.92 | 250.00 | 112500.00 | 120.00 | 54000.00 | 120.00 | 54000.00 | 75.00 | 33750.00 | 33750.00 | Siva Enterprises
75.00 | Demolition of cement concrete of any description and in any position | 2.00 | CUM | 1876.00 | 2500.00 | 5000.00 | 1900.00 | 3800.00 | 1800.00 | 3600.00 | 1950.00 | 3900.00 | 3600.00 | P S G CONSTRUCTIONS
76.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 2.50 | CUM | 7513.33 | 8000.00 | 20000.00 | 8200.00 | 20500.00 | 8400.00 | 21000.00 | 8155.00 | 20387.50 | 20000.00 | Intex Space Solutions Private Limited
77.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 40.00 | CUM | 776.25 | 700.00 | 28000.00 | 720.00 | 28800.00 | 900.00 | 36000.00 | 825.00 | 33000.00 | 28000.00 | Intex Space Solutions Private Limited
78.00 | Material & labour for sand filling for cushioning on U.G cable | 6.00 | CUM | 2270.45 | 12000.00 | 72000.00 | 2400.00 | 14400.00 | 2700.00 | 16200.00 | 2455.00 | 14730.00 | 14400.00 | SHAPEMAKER
79.00 | Materal &labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | .90 | Nos in 1000 | 6384.66 | 15000.00 | 13500.00 | 12000.00 | 10800.00 | 14000.00 | 12600.00 | 6855.00 | 6169.50 | 6169.50 | Siva Enterprises
80.00 | Returing, refilling of hard dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 40.00 | CUM | 159.97 | 1800.00 | 72000.00 | 150.00 | 6000.00 | 130.00 | 5200.00 | 175.00 | 7000.00 | 5200.00 | P S G CONSTRUCTIONS
81.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 35 sqmm, 4 core.(Make: Finolux/Havells /Polycab /orbit / Gloster) or Suitably equivalent make. | 90.00 | RM | 294.41 | 1500.00 | 135000.00 | 250.00 | 22500.00 | 460.00 | 41400.00 | 355.00 | 31950.00 | 22500.00 | SHAPEMAKER
82.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 70 sqmm, 3.5 core.(Make: Finolux/Havells/ Polycab / Gloster) or Suitably equivalent make. | 55.00 | RM | 439.69 | 500.00 | 27500.00 | 400.00 | 22000.00 | 720.00 | 39600.00 | 475.00 | 26125.00 | 22000.00 | SHAPEMAKER
83.00 | Supply & fixing of galvanised steel tubes, medium grade 32 mm dia | 24.00 | RM | 287.50 | 650.00 | 15600.00 | 400.00 | 9600.00 | 490.00 | 11760.00 | 305.00 | 7320.00 | 7320.00 | Siva Enterprises
84.00 | Supply & fixing of galvanised steel tubes, medium grade 80 mm dia | 24.00 | RM | 633.88 | 1500.00 | 36000.00 | 1200.00 | 28800.00 | 1200.00 | 28800.00 | 675.00 | 16200.00 | 16200.00 | Siva Enterprises
85.00 | Taking down copper/aluminium point wiring (light,fan,socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendents, regulators, sockets, light fitting, exhaust fan etc removing materilas to store for keeping in safe custody . | 30.00 | Each | 174.80 | 1500.00 | 45000.00 | 75.00 | 2250.00 | 90.00 | 2700.00 | 185.00 | 5550.00 | 2250.00 | SHAPEMAKER
86.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used single pole & neutral 8 way with 200 Amps rated busbar,240V (Make:Legrand/ ABB / Schneider) or Suitably equivalent make | 2.00 | Each | 2199.61 | 12500.00 | 25000.00 | 2100.00 | 4200.00 | 2400.00 | 4800.00 | 2355.00 | 4710.00 | 4200.00 | SHAPEMAKER
87.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar, 415V (Make:Legrand/ ABB / Schneider) or Suitably equivalent make | 1.00 | Each | 3039.11 | 13500.00 | 13500.00 | 4500.00 | 4500.00 | 9000.00 | 9000.00 | 3255.00 | 3255.00 | 3255.00 | Siva Enterprises
88.00 | Supply, Installation and testing of LED strip light with adaptor, End holder and all accessories complete as required as per site conditions. | 250.00 | RM | 1100.00 | 180.00 | 45000.00 | 250.00 | 62500.00 | 400.00 | 100000.00 | 1205.00 | 301250.00 | 45000.00 | Intex Space Solutions Private Limited
89.00 | Supply & fixing of MCBDB 4 way(DPX160+12) ( legrand make as per legrand 2010 catlogue No.607790 or Equivalant model of ABB/Schneider) or Suitably equivalent make | 1.00 | Each | 10250.00 | 12000.00 | 12000.00 | 12500.00 | 12500.00 | 19000.00 | 19000.00 | 12500.00 | 12500.00 | 12000.00 | Intex Space Solutions Private Limited
90.00 | Supply of Recessed Mounted circle type Luminarie, 15 Watts with suitable LED lamp and accessories, minimum system output: 1000 lumens. (Make: PHILIPS or equivalent of Bajaj/CG/Havells/Wipro) or Suitably equivalent make | 48.00 | Each | 1450.00 | 1800.00 | 86400.00 | 3500.00 | 168000.00 | 1800.00 | 86400.00 | 1575.00 | 75600.00 | 75600.00 | Siva Enterprises
91.00 | Supply, fixing and connecting to the system modular type switch one way 20A, Single pole 2 module. ((Make:LEGRAND MYRIUS or equivalent of LITASKI / CRABTREE) or Suitably equivalent make | 2.00 | Each | 310.00 | 250.00 | 500.00 | 340.00 | 680.00 | 710.00 | 1420.00 | 325.00 | 650.00 | 500.00 | Intex Space Solutions Private Limited
92.00 | Supply & fixing metal flush box for 8 module plate | 10.00 | Each | 125.00 | 550.00 | 5500.00 | 380.00 | 3800.00 | 260.00 | 2600.00 | 125.00 | 1250.00 | 1250.00 | Siva Enterprises
93.00 | Supply & fixing of 12 module plate with frame and metal flush box | 4.00 | Each | 450.00 | 650.00 | 2600.00 | 810.00 | 3240.00 | 450.00 | 1800.00 | 485.00 | 1940.00 | 1800.00 | P S G CONSTRUCTIONS
94.00 | Supply & fixing of 16 module plate with frame and metal flush box | 4.00 | Each | 500.00 | 850.00 | 3400.00 | 900.00 | 3600.00 | 520.00 | 2080.00 | 545.00 | 2180.00 | 2080.00 | P S G CONSTRUCTIONS
95.00 | Supply & fixing of modular type Dummy plate | 30.00 | Nos | 20.00 | 60.00 | 1800.00 | 50.00 | 1500.00 | 36.00 | 1080.00 | 20.00 | 600.00 | 600.00 | Siva Enterprises
96.00 | Supply & fixing of LED, street light fitting with pipe and clamps complte, minimum 7000 Lumens, power consumption 72 watts(maximum). Make: PHILIPS /GE/ WIPRO /CG/OSRAM /BAJAJ/ HAVELLS/ SYSKA) or Suitably equivalent make | 4.00 | Each | 6500.00 | 8500.00 | 34000.00 | 7500.00 | 30000.00 | 7000.00 | 28000.00 | 6955.00 | 27820.00 | 27820.00 | Siva Enterprises
97.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric UG cable with copper conductor, 1100 volts grade, cross sectional area 2.5 sqmm, 4 core. (Make: Havells / Gloster / Polycab) or Suitably equivalent make | 125.00 | RM | 135.00 | 160.00 | 20000.00 | 300.00 | 37500.00 | 280.00 | 35000.00 | 145.00 | 18125.00 | 18125.00 | Siva Enterprises
98.00 | Supply , erection & connecting of OUT DOOR FPB consisting of 200A MCCB-1 No for incomiong, outgoing feeders are 63A MCCB-6 Nos. Specifcation sheet enclosed as annexure -1(1.0.1 to 1.0.9.5). | 1.00 | SET | 288000.00 | 18500.00 | 18500.00 | 275000.00 | 275000.00 | 199000.00 | 199000.00 | 315000.00 | 315000.00 | 18500.00 | Intex Space Solutions Private Limited
99.00 | Supply, fixing & connecting of the system cable end termination of size 120 sqmm 3.5 core including with double compression suitable cable gland & lugs. | 2.00 | SET | 733.00 | 400.00 | 800.00 | 1600.00 | 3200.00 | 1200.00 | 2400.00 | 795.00 | 1590.00 | 800.00 | Intex Space Solutions Private Limited
100.00 | Supply, fixing & connecting of the system cable end termination of size 50 sqmm 3.5 core including with suitable cable gland & lugs. | 3.00 | SET | 285.00 | 350.00 | 1050.00 | 1100.00 | 3300.00 | 450.00 | 1350.00 | 425.00 | 1275.00 | 1050.00 | Intex Space Solutions Private Limited
101.00 | Supply, fixing & connecting of the system cable end termination of size 35 sqmm 3.5 core including with suitable cable gland & lugs. | 3.00 | SET | 262.00 | 350.00 | 1050.00 | 900.00 | 2700.00 | 450.00 | 1350.00 | 450.00 | 1350.00 | 1050.00 | Intex Space Solutions Private Limited
102.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 10.00 | Each | 334.00 | 200.00 | 2000.00 | 910.00 | 9100.00 | 200.00 | 2000.00 | 475.00 | 4750.00 | 2000.00 | P S G CONSTRUCTIONS, Intex Space Solutions Private Limited
103.00 | Supply, fixing & connecting of the system cable end termination of size 16 sqmm 4 core including with suitable cable gland & lugs. | 10.00 | Each | 100.00 | 200.00 | 2000.00 | 820.00 | 8200.00 | 200.00 | 2000.00 | 155.00 | 1550.00 | 1550.00 | Siva Enterprises
104.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 120 sqmm 3.5/4 core (Make: Raychem) or suitably equivalent make approved by EIC | 1.00 | Each | 7000.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 27000.00 | 27000.00 | 7500.00 | 7500.00 | 3000.00 | Intex Space Solutions Private Limited
105.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 50 sqmm 3.5/4 core (Make: Raychem) or suitably equivalent make approved by EIC | 2.00 | Each | 5500.00 | 2500.00 | 5000.00 | 3200.00 | 6400.00 | 12000.00 | 24000.00 | 5900.00 | 11800.00 | 5000.00 | Intex Space Solutions Private Limited
106.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 35 sqmm 3.5/4 core (Make: Raychem) or suitably equivalent make approved by EIC | 2.00 | Each | 4000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 4255.00 | 8510.00 | 5000.00 | Intex Space Solutions Private Limited
107.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 25 sqmm 3.5/4 core (Make: Raychem) or suitably equivalent make approved by EIC | 2.00 | Each | 3500.00 | 2000.00 | 4000.00 | 3400.00 | 6800.00 | 2400.00 | 4800.00 | 3755.00 | 7510.00 | 4000.00 | Intex Space Solutions Private Limited
108.00 | Material & Labour for straight through heat shrink type cable joint, complete with jointing material and accessories suitable for PVC armoured under ground cable of size 16 sqmm 3.5/4 core (Make: Raychem) or suitably equivalent make approved by EIC | 3.00 | Each | 2500.00 | 2000.00 | 6000.00 | 32000.00 | 96000.00 | 1900.00 | 5700.00 | 2655.00 | 7965.00 | 5700.00 | P S G CONSTRUCTIONS
109.00 | Removal of old panel board and cables , termination and glands etc. and handover to stores safely | 2.00 | Each | 15000.00 | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 4500.00 | 9000.00 | 16955.00 | 33910.00 | 9000.00 | P S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 6243675.00 |  | 7514550.00 |  | 7328725.00 |  | 7062756.00
Lowest Amount Quoted BY: Intex Space Solutions Private Limited(6243675.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS / RENOVATION OF GYM ROOM IN OFFICERS MESS BLOCK AT HVF ESTATE. Tender ID: 2024_AVNL_197790_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Intex Space Solutions Private Limited | 6243675.00 | L1
| 2 | Siva Enterprises | 7062756.00 | L2
| 3 | P S G CONSTRUCTIONS | 7328725.00 | L3
| 4 | SHAPEMAKER | 7514550.00 | L4