## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 13-Aug-2024 11:48 AM Tender Title: SPECIAL REPAIRS FOR DAMAGED / RENOVATION OF METALLURGICAL LABORATORY AT OLD FACILITY IN HVF, AVADI Tender ID: 2024_AVNL_198307_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS FOR DAMAGED / RENOVATION OF METALLURGICAL LABORATORY AT OLD FACILITY IN HVF, AVADI
HVF T.E No : HVF/TE/13025/CEO/2024-25/14
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -714452 |  | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -721580 |  | AMUTHA ENGINEERING AND CONSTRUCTION(GSTN-NA)--721881
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Removal of existing Roof treatment of any type including the weathering course of any depth provided in any type of concrete by demolition till the mother concrete old R.C.C Roof top is visible and removal of the top coating/bitumen/lime concrete track from the roof so that the old concrete top surfaces is fully clam/fresh to receive any further new treatment.This rate including complete work as specified above including removal of the debris from the roof top and cleaning the area neat & clean, removal of the debris to a location specified ( not less than 1km from the site) and filing the low laying area including spreading the heaps to have unifrom surface which will not affect the flow of water to nearly low being area/catchment area. | 900.00 | SqM | 175.00 | 210.00 | 189000.00 | 300.00 | 270000.00 | 180.00 | 162000.00 | 162000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
2.00 | Material and labour for providing a cement concrete layer average thickness 55mm using B0 type concrete and finishing the surface. | 450.00 | SqM | 445.97 | 450.00 | 202500.00 | 900.00 | 405000.00 | 550.00 | 247500.00 | 202500.00 | M/s.MSK Construction
3.00 | Supply of liquid waterproofing compound for plastering in roof surfaces. The make of liquid waterproofing compound should be got approved by E-I-C. | 25.00 | Per Litre | 300.73 | 275.00 | 6875.00 | 200.00 | 5000.00 | 300.00 | 7500.00 | 5000.00 | Intex Space Solutions Private Limited
4.00 | Protection of Membrane Providing and laying Protective layer of 210 GSM Geotextile before laying the protection screed. | 900.00 | SqM | 90.00 | 95.00 | 85500.00 | 200.00 | 180000.00 | 90.00 | 81000.00 | 81000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
5.00 | Supply and application of Polyurethane based sealant for filling of visible cracks up to 10mm width and 5mm depth. PU sealant material shall have elongation more than 700%. The contractor shall use Hyperseal expert 150 of Alchemica / sealArm PU of MYK Arment / SNF one plus P590 of Bostik / Masterseal NP 473 U of Master Builders Solutions / Cipoxy 16D of Dr. Fixit (or) Suitably Equivalent make as approved by EIC and finishing the top surface. | 250.00 | RM | 250.00 | 260.00 | 65000.00 | 300.00 | 75000.00 | 275.00 | 68750.00 | 65000.00 | M/s.MSK Construction
6.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting a) Supply & Application of PU based primer minimum of 100gms per SQM b) Supply & application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.50mm DFT in two coats, with an application rate of minimum 2.1 kg/Sq.M, having minimum solid content(ASTM 836) of more than 85% and elongation also more than 400% c) Supply & application of Protective UV top coat @ 0.25 kg/sq.m (The Contractor Shall use the material from the reputed manufacturers such as" Master Builders Solution" "MYK Arment", Dr. Fixit",Alchimica", "Bostik" and "Tecnopol" (or) Suitably Equivalent make as approved by EIC). | 900.00 | SqM | 1134.00 | 1100.00 | 990000.00 | 1050.00 | 945000.00 | 1250.00 | 1125000.00 | 945000.00 | Intex Space Solutions Private Limited
7.00 | Demolition of cement Concrete in ground floors and pavings n exc 15 cm thickness (below or above ground level). | 80.00 | CuM | 1586.43 | 1450.00 | 116000.00 | 2100.00 | 168000.00 | 1500.00 | 120000.00 | 116000.00 | M/s.MSK Construction
8.00 | Demolition of brickwork or stone/boulder masonry, built in cement motar. | 8.00 | CuM | 1888.23 | 620.00 | 4960.00 | 1800.00 | 14400.00 | 1800.00 | 14400.00 | 4960.00 | M/s.MSK Construction
9.00 | Dismantling of asbestos cement (corrugated, semicorrugated, etc.,) sheets in roof coverings. | 80.00 | SqM | 40.25 | 37.00 | 2960.00 | 400.00 | 32000.00 | 46.00 | 3680.00 | 2960.00 | M/s.MSK Construction
10.00 | Dismantling of floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises. | 1200.00 | SqM | 102.93 | 95.00 | 114000.00 | 154.00 | 184800.00 | 100.00 | 120000.00 | 114000.00 | M/s.MSK Construction
11.00 | Dismantling boarding, any description, fixed in any position with nails. | 60.00 | SqM | 40.25 | 37.00 | 2220.00 | 500.00 | 30000.00 | 45.00 | 2700.00 | 2220.00 | M/s.MSK Construction
12.00 | Dismantling structural steel work including doors, gates but excluding framed truss etc., | 2.00 | Quintal | 717.14 | 650.00 | 1300.00 | 1101.00 | 2202.00 | 750.00 | 1500.00 | 1300.00 | M/s.MSK Construction
13.00 | Taking down wooden door frame with shutter exc 1sq.m and n.exc 2 sq.m each and handing over the same to CE(STORES). | 16.00 | Each | 245.99 | 95.00 | 1520.00 | 500.00 | 8000.00 | 300.00 | 4800.00 | 1520.00 | M/s.MSK Construction
14.00 | Taking up or down steel tubing 25 or 32 mm dia pipe and connections, including cleaning for refixing or removal to store. | 75.00 | RM | 46.23 | 42.00 | 3150.00 | 69.00 | 5175.00 | 50.00 | 3750.00 | 3150.00 | M/s.MSK Construction
15.00 | Taking up or down steel tubing of bore 20mm and connection including cleaning for refixing or removal to CE/E store. (Including all accessories). | 75.00 | RM | 42.11 | 38.00 | 2850.00 | 63.00 | 4725.00 | 45.00 | 3375.00 | 2850.00 | M/s.MSK Construction
16.00 | Taking up or down steel tubing of bore 15mm and connection including cleaning for refixing or removal to CE/E store. (Including all accessories). | 50.00 | RM | 34.79 | 32.00 | 1600.00 | 60.00 | 3000.00 | 40.00 | 2000.00 | 1600.00 | M/s.MSK Construction
17.00 | Cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good, cutting not exceeding 10cm girth in brick wall. | 200.00 | RM | 58.02 | 52.00 | 10400.00 | 200.00 | 40000.00 | 60.00 | 12000.00 | 10400.00 | M/s.MSK Construction
18.00 | S & F of mild steel bars (6 TO 8 MM) dia TMT bars dia, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips . | 100.00 | KG | 97.23 | 90.00 | 9000.00 | 120.00 | 12000.00 | 110.00 | 11000.00 | 9000.00 | M/s.MSK Construction
19.00 | Material and labour for cement concrete 1:2:4 Type B2 20mm graded aggregate in foundation filling and mass concrete. | 220.00 | CuM | 7513.33 | 8500.00 | 1870000.00 | 9000.00 | 1980000.00 | 7950.00 | 1749000.00 | 1749000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
20.00 | M & L for form work to side and soffit (circular / curved) of RCC Member such as foundation, plinth beam, RCC wall etc., and the finishing shall be of fair finished surface. | 250.00 | SqM | 527.76 | 480.00 | 120000.00 | 685.00 | 171250.00 | 575.00 | 143750.00 | 120000.00 | M/s.MSK Construction
21.00 | M & L for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering. | 20.00 | CuM | 1426.12 | 1300.00 | 26000.00 | 1800.00 | 36000.00 | 1500.00 | 30000.00 | 26000.00 | M/s.MSK Construction
22.00 | Material and Labour for forming 10mm thick Expansion joints with High Resilient Non Bituminous Joint Filler Board filled with either of the polysulphide or Polyurethane joint sealant from approved source shall be used in new rigid pavement. The criteria for selection of the jont sealant will depend on the minimum performance guarantee of ten years offered by the firm, provided. | 20.00 | 10RM | 4000.00 | 4200.00 | 84000.00 | 7500.00 | 150000.00 | 4000.00 | 80000.00 | 80000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
23.00 | Surface excavation soft/disintegrated n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out. | 1300.00 | SqM | 236.10 | 180.00 | 234000.00 | 564.00 | 733200.00 | 250.00 | 325000.00 | 234000.00 | M/s.MSK Construction
24.00 | Dismantling structural steel work including door, gates but excluding frame truss etc. | 5.00 | Quintal | 717.14 | 650.00 | 3250.00 | 1101.00 | 5505.00 | 750.00 | 3750.00 | 3250.00 | M/s.MSK Construction
25.00 | Supply and Fixing of framed work using Fe 410 -W A quality mild rolled steel tube,angles,plates etc. inculding cutting,welding etc complete. | 500.00 | KG | 144.97 | 130.00 | 65000.00 | 97.00 | 48500.00 | 150.00 | 75000.00 | 48500.00 | Intex Space Solutions Private Limited
26.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 60.00 | SqM | 162.50 | 19.00 | 1140.00 | 160.00 | 9600.00 | 180.00 | 10800.00 | 1140.00 | M/s.MSK Construction
27.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 8.00 | CuM | 5606.25 | 5100.00 | 40800.00 | 11300.00 | 90400.00 | 6500.00 | 52000.00 | 40800.00 | M/s.MSK Construction
28.00 | Taking down cement plaster on brick or stone walls, tiles etc., including raking out joints, hacking for key, scrubbing down with water, etc., | 600.00 | SqM | 109.18 | 100.00 | 60000.00 | 200.00 | 120000.00 | 120.00 | 72000.00 | 60000.00 | M/s.MSK Construction
29.00 | M & L for Dubbing in CM 1:4, 10mm thick on faces of old brick work and concrete surfaces. | 600.00 | SqM | 195.66 | 165.00 | 99000.00 | 290.00 | 174000.00 | 210.00 | 126000.00 | 99000.00 | M/s.MSK Construction
30.00 | M & L for plastering in CM 1:3, on fair faces of ceiling to 12mm thick. | 80.00 | SqM | 313.55 | 270.00 | 21600.00 | 443.00 | 35440.00 | 340.00 | 27200.00 | 21600.00 | M/s.MSK Construction
31.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 800.00 | SqM | 302.59 | 275.00 | 220000.00 | 387.00 | 309600.00 | 325.00 | 260000.00 | 220000.00 | M/s.MSK Construction
32.00 | Supply and Fixing of Vitrified Ceramic tiles (Dark Shade) 10 mm thick (square / rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 600.00 | SqM | 2049.40 | 1720.00 | 1032000.00 | 1300.00 | 780000.00 | 2150.00 | 1290000.00 | 780000.00 | Intex Space Solutions Private Limited
33.00 | Supply and Fixing of dark shade Vitrified Ceramic tiles 10 mm thick (square / rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 650.00 | SqM | 1961.41 | 1710.00 | 1111500.00 | 1300.00 | 845000.00 | 2150.00 | 1397500.00 | 845000.00 | Intex Space Solutions Private Limited
34.00 | Material and labour for Acid resistant tiles 15mm thick vitreous ceramic, unglazed, set,jointed and pointed in chemical resistant mortar, resin type, in floors. | 100.00 | SqM | 3243.81 | 2950.00 | 295000.00 | 1300.00 | 130000.00 | 3500.00 | 350000.00 | 130000.00 | Intex Space Solutions Private Limited
35.00 | S&F Pre-painted galvalume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified. | 150.00 | SqM | 882.06 | 800.00 | 120000.00 | 900.00 | 135000.00 | 950.00 | 142500.00 | 120000.00 | M/s.MSK Construction
36.00 | S&F Plain, Solid, Straight, Chowkats and Frames, Wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed. (2nd Class Hardwood). | 1.00 | CuM | 99345.22 | 124999.00 | 124999.00 | 95000.00 | 95000.00 | 120000.00 | 120000.00 | 95000.00 | Intex Space Solutions Private Limited
37.00 | S&F of Flush, door shutters 30mm thickness, solid core construction with block, board core and plywood face panels, commercial type on both sides. | 35.00 | SqM | 1863.00 | 1700.00 | 59500.00 | 2415.00 | 84525.00 | 2400.00 | 84000.00 | 59500.00 | M/s.MSK Construction
38.00 | S & F of frame size 65X100mm factory made single extruded WPC(wood polymer composite) solid door/ window/ clerestory window & desertory other frames/chowkat comprising of virgin PVC polymer of k value 58-60 (suspension grade), calcium carbonate and natural fiber(wood power) /rice husk / wheat husk and non toxic additives (maximum toxicity index of 12 for 100mgs) fabricated with miter joints after applying PVS solvent cement screwed with full body threaded star headed SS screws having minimum frame density of 750kg/cum, screw withdrawl strength of 2200N (face) &1100N (edge) minimum compressive strength of 58N/mm2, modulus of elasticity 900N/mm2 and resistence to spread of flame of class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with MS hold fast/lugs/SS dash fasteeners of required dia and length complete as per direction of engineer-in-charge. (MS hold fast / lugs or SS fasteners shall be paid for separately. | 25.00 | RM | 1200.00 | 1700.00 | 42500.00 | 1500.00 | 37500.00 | 1300.00 | 32500.00 | 32500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
39.00 | S&F of 30mm thick factory made single extruded WPC(wood polymer composite) solid plain flush door shutter or required size comprising of virgin polymer of k value 58-60(suspension grade), calcium carbonate and natural fiber(wood power)/rice husk/wheat husk and non toxic additives(maximum toxicity index of 12 for 100mgs) having minimum density of 650kg/cum, screw withdrawl strength of 1800N (face) & 900N (edge) minimum compressive strength of 50N/mm2, modulus of elasticity 850N/mm2 and resistence to spread of flame of class A category with property of being termite / borer proof, water / moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star head counter sunk SS screws, all as per direction of engineer-in-charge. | 8.00 | SqM | 3610.00 | 1260.00 | 10080.00 | 2500.00 | 20000.00 | 3950.00 | 31600.00 | 10080.00 | M/s.MSK Construction
40.00 | Supply and fixing of holdfast made out of 25 X 6 mm flat fixed to window frame. | 40.00 | KG | 208.24 | 190.00 | 7600.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 6000.00 | Intex Space Solutions Private Limited
41.00 | S/F of Aluminium anodised,Barrel tower bolts (150mm) of extruded section and fixed. | 15.00 | Each | 88.32 | 80.00 | 1200.00 | 282.00 | 4230.00 | 90.00 | 1350.00 | 1200.00 | M/s.MSK Construction
42.00 | S/F of butt hinges (125mm) cast, brass with stainless steel hinge pin,bright polished and fixed but type B-12. | 45.00 | Each | 311.77 | 285.00 | 12825.00 | 403.00 | 18135.00 | 325.00 | 14625.00 | 12825.00 | M/s.MSK Construction
43.00 | S/F of Aluminium handles (150 mm), cast type,anodised | 29.00 | Each | 87.29 | 80.00 | 2320.00 | 242.00 | 7018.00 | 90.00 | 2610.00 | 2320.00 | M/s.MSK Construction
44.00 | S&F aluminium alloy, anodised,sliding door bolt 200 mm with hasp,staple (bolt type) and fixing clips of sheet, cast or extruded sections and fixing bolts and sliding bolts of extruded sections or cast-aluminium alloy and fixed. | 11.00 | Each | 297.28 | 80.00 | 880.00 | 1813.00 | 19943.00 | 325.00 | 3575.00 | 880.00 | M/s.MSK Construction
45.00 | Supply and Fixing of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers. | 4.00 | Each | 637.79 | 580.00 | 2320.00 | 956.00 | 3824.00 | 670.00 | 2680.00 | 2320.00 | M/s.MSK Construction
46.00 | S & F of Anodised aluminium window and ventilator shutters, side fixed type without sash bars, aluminium sections weighing 0.55 kg/m including necessary joining cleats, glazing clips, rubber packing, anodised aluminium snap beading, screws, complete all as specified. | 20.00 | SqM | 1484.17 | 1350.00 | 27000.00 | 3500.00 | 70000.00 | 1650.00 | 33000.00 | 27000.00 | M/s.MSK Construction
47.00 | S & F of 5.5 mm thick sheet glass ordinary quality and glazing with oil putty in square not exceeding 0.50 Sq.m in each pane. | 15.00 | SqM | 1065.94 | 970.00 | 14550.00 | 1598.00 | 23970.00 | 1100.00 | 16500.00 | 14550.00 | M/s.MSK Construction
48.00 | S & F of aluminium grill fixed with 'F' type aluminium chennel complete. | 40.00 | KG | 535.45 | 490.00 | 19600.00 | 600.00 | 24000.00 | 600.00 | 24000.00 | 19600.00 | M/s.MSK Construction
49.00 | Cutting out cracks to V-section in existing roofs or terracing, cleaning out, wetting, grouting with cement and sand slurry 1:3 | 100.00 | RM | 111.69 | 100.00 | 10000.00 | 130.00 | 13000.00 | 120.00 | 12000.00 | 10000.00 | M/s.MSK Construction
50.00 | Supply and laying of CPVC pipes 40 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 50.00 | RM | 712.66 | 650.00 | 32500.00 | 200.00 | 10000.00 | 750.00 | 37500.00 | 10000.00 | Intex Space Solutions Private Limited
51.00 | Supply and laying of CPVC pipes 25 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 75.00 | RM | 377.78 | 345.00 | 25875.00 | 145.00 | 10875.00 | 400.00 | 30000.00 | 10875.00 | Intex Space Solutions Private Limited
52.00 | Supply and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 75.00 | RM | 253.81 | 230.00 | 17250.00 | 120.00 | 9000.00 | 275.00 | 20625.00 | 9000.00 | Intex Space Solutions Private Limited
53.00 | Supply and Fixing of Vitreous China urinals, bowl type flat back of size 465X355X265mm white including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; inculding .connector pipe,stop cock15mm and waste pipe and removing old damaged urinal etc complete. | 3.00 | Each | 2541.35 | 2320.00 | 6960.00 | 3810.00 | 11430.00 | 2750.00 | 8250.00 | 6960.00 | M/s.MSK Construction
54.00 | Supply and Fixing of swivel shower of PTMT any colour for fixing with 15mm pipe. (Minimum weight 40gms) | 3.00 | Each | 129.93 | 120.00 | 360.00 | 1500.00 | 4500.00 | 140.00 | 420.00 | 360.00 | M/s.MSK Construction
55.00 | Supply and fixing of vitreous China wash basin, white, flat back, size 580x450 Wash basins, Vitreous China (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand fixed in repair Waste fittings, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed. | 4.00 | Each | 2954.52 | 2540.00 | 10160.00 | 3623.00 | 14492.00 | 3100.00 | 12400.00 | 10160.00 | M/s.MSK Construction
56.00 | Supply and Fixing of vitreous china Squatt pan orissa pattern size 580x440mm with "P" or "S" trap including provision of lime concrete beddig hing level flushing cistern 10 litres flush out pipes etc., complete and dismantling existing IWC complete. | 5.00 | Each | 6152.14 | 5700.00 | 28500.00 | 5926.00 | 29630.00 | 6500.00 | 32500.00 | 28500.00 | M/s.MSK Construction
57.00 | Supply and fixing of EWC with "P" or "S" trap including bedding valveless syphonic action type flushing cistern 10 liter low level white with inlet ball valve float and handle including bracket etc., complete and dismantling the existing EWC. | 3.00 | Each | 7947.58 | 7300.00 | 21900.00 | 6039.00 | 18117.00 | 9000.00 | 27000.00 | 18117.00 | Intex Space Solutions Private Limited
58.00 | Supply & Fixing of PTMT health facuet with 1.5 M long hose and apporoved colour. | 3.00 | Each | 450.00 | 7300.00 | 21900.00 | 1800.00 | 5400.00 | 500.00 | 1500.00 | 1500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
59.00 | S & F of 15mm Bib Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated. | 8.00 | Each | 698.71 | 625.00 | 5000.00 | 2500.00 | 20000.00 | 750.00 | 6000.00 | 5000.00 | M/s.MSK Construction
60.00 | S & F of 20mm Angle/Stop Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chromium plated. | 15.00 | Each | 461.68 | 420.00 | 6300.00 | 966.00 | 14490.00 | 500.00 | 7500.00 | 6300.00 | M/s.MSK Construction
61.00 | M & L for PVC gully trap 125/110mm setting and jointing with grating plate. | 5.00 | Each | 304.75 | 280.00 | 1400.00 | 725.00 | 3625.00 | 325.00 | 1625.00 | 1400.00 | M/s.MSK Construction
62.00 | M & L for PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 5.00 | Each | 258.75 | 235.00 | 1175.00 | 564.00 | 2820.00 | 275.00 | 1375.00 | 1175.00 | M/s.MSK Construction
63.00 | S & F of PVC 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 75.00 | RM | 269.15 | 170.00 | 12750.00 | 280.00 | 21000.00 | 290.00 | 21750.00 | 12750.00 | M/s.MSK Construction
64.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. | 100.00 | RM | 545.97 | 200.00 | 20000.00 | 660.00 | 66000.00 | 600.00 | 60000.00 | 20000.00 | M/s.MSK Construction
65.00 | S & F of PVC (SWR) 160 mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. | 150.00 | RM | 1240.00 | 500.00 | 75000.00 | 750.00 | 112500.00 | 1250.00 | 187500.00 | 75000.00 | M/s.MSK Construction
66.00 | S & F of PVC Bend with door 75 mm dia any radius. | 25.00 | Each | 166.75 | 150.00 | 3750.00 | 350.00 | 8750.00 | 175.00 | 4375.00 | 3750.00 | M/s.MSK Construction
67.00 | S & F of PVC Bend with door 110mm dia any radius. | 25.00 | Each | 195.50 | 180.00 | 4500.00 | 483.00 | 12075.00 | 200.00 | 5000.00 | 4500.00 | M/s.MSK Construction
68.00 | S & F of PVC Tee with door 110mm dia any radius. | 10.00 | Each | 631.38 | 575.00 | 5750.00 | 483.00 | 4830.00 | 675.00 | 6750.00 | 4830.00 | Intex Space Solutions Private Limited
69.00 | S & F of Gun-metal (32mm), globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 2.00 | Each | 770.80 | 700.00 | 1400.00 | 800.00 | 1600.00 | 825.00 | 1650.00 | 1400.00 | M/s.MSK Construction
70.00 | S & F of Gun-metal (25mm) , globe or gate valves,with iron wheel head, screwed both ends for iron pipe and fixed. | 2.00 | Each | 675.33 | 610.00 | 1220.00 | 600.00 | 1200.00 | 725.00 | 1450.00 | 1200.00 | Intex Space Solutions Private Limited
71.00 | S & F of 20mm Ball valves set Ball valves high pressure of PTMT with epoxy coated Aluminium rod & high density plastic ball screwed for iron pipe and fixed. (Minimum weight 2 0 m m - 2 1 0 g m s). | 4.00 | Each | 491.12 | 450.00 | 1800.00 | 1200.00 | 4800.00 | 525.00 | 2100.00 | 1800.00 | M/s.MSK Construction
72.00 | M & L for Machine pressed precast concrete interlocking paver block any shape and size confirming to IS 15658-2006 of 60 mm thickness, M-35 Grade with Grey Cement and Pigment. | 110.00 | SqM | 890.56 | 810.00 | 89100.00 | 1100.00 | 121000.00 | 950.00 | 104500.00 | 89100.00 | M/s.MSK Construction
73.00 | S&F of Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified (750 litres) | 4.00 | Each | 7183.66 | 6600.00 | 26400.00 | 8000.00 | 32000.00 | 7500.00 | 30000.00 | 26400.00 | M/s.MSK Construction
74.00 | Dismantling Wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards/slabs/ blankets, any thickness, including cover fillets. | 380.00 | SqM | 47.84 | 45.00 | 17100.00 | 71.00 | 26980.00 | 50.00 | 19000.00 | 17100.00 | M/s.MSK Construction
75.00 | Supply and fixing of Anodised aluminium snap grid frame work for false ceiling all as specified. | 380.00 | SqM | 562.68 | 510.00 | 193800.00 | 700.00 | 266000.00 | 600.00 | 228000.00 | 193800.00 | M/s.MSK Construction
76.00 | Material and Labour for exposed metal frame ceiling with calcium silicate board (8mm) of siliceous and calcareous material reinforced with cellulose fibre for fixing in 600 mm x 600mm grid (Frame work for ceiling shall be measured and paid separately) | 380.00 | SqM | 518.88 | 420.00 | 159600.00 | 600.00 | 228000.00 | 550.00 | 209000.00 | 159600.00 | M/s.MSK Construction
77.00 | Material and labour for painting calcium silicate board in ceiling with one coat of primer over two coat of internal emulsion preparation of new surfaces. | 380.00 | SqM | 164.68 | 150.00 | 57000.00 | 120.00 | 45600.00 | 175.00 | 66500.00 | 45600.00 | Intex Space Solutions Private Limited
78.00 | Material and labour for applying two coats of internal emulsion paint with one coat primer on internal wall of old painted surfaces all complete. | 300.00 | SqM | 173.54 | 150.00 | 45000.00 | 140.00 | 42000.00 | 180.00 | 54000.00 | 42000.00 | Intex Space Solutions Private Limited
79.00 | Material and labour for applying two coat of exterior plastic emulsion on external wall surfaces (two storey building) all complete. MAKE:- (ASIAN Paint (ACE), Equivalent in NEROLAC, BERGER (Weather coat) (or) Suitably Equivalent make. | 300.00 | SqM | 116.84 | 150.00 | 45000.00 | 120.00 | 36000.00 | 125.00 | 37500.00 | 36000.00 | Intex Space Solutions Private Limited
80.00 | Material and labour for white washing on ceiling with two coats including preparation of new ceiling surfaces. | 100.00 | SqM | 24.73 | 25.00 | 2500.00 | 120.00 | 12000.00 | 27.00 | 2700.00 | 2500.00 | M/s.MSK Construction
81.00 | Material and labour for painting two coats of synthetic enamel paint with one coat primer on new wood surfaces including preparation of new surfaces. | 100.00 | SqM | 161.23 | 150.00 | 15000.00 | 180.00 | 18000.00 | 175.00 | 17500.00 | 15000.00 | M/s.MSK Construction
82.00 | M & L for Providing and injecting chemical emulsion for Post Constructional Anti-termite Treatment along external/internal wall where the apron is not provided using chemical emulsion at the rate of 7.5 litres per sq.m of the vertical surface of the sub-structure to a depth of 300mm including excavating channel along the wall and rodding etc., complete. | 400.00 | SqM | 320.39 | 295.00 | 118000.00 | 201.00 | 80400.00 | 175.00 | 70000.00 | 70000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
83.00 | Material and labour for granite (of any type) tiles 20mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete. | 39.00 | SqM | 2757.41 | 2500.00 | 97500.00 | 4135.00 | 161265.00 | 3000.00 | 117000.00 | 97500.00 | M/s.MSK Construction
84.00 | M & L at points of contact of wood work by chemical emulsion (in oil or kerosene based solution) @ 0.5 litre/hole by drilling 6mm dia holes at a downward angle of 45 degree at 150mm centre to centre and sealing the same. | 200.00 | RM | 92.92 | 85.00 | 17000.00 | 150.00 | 30000.00 | 100.00 | 20000.00 | 17000.00 | M/s.MSK Construction
85.00 | Removal of excavated rocks exceeding 250m but not exceeding 500m and depositing where directed. | 350.00 | CuM | 857.67 | 340.00 | 119000.00 | 752.00 | 263200.00 | 900.00 | 315000.00 | 119000.00 | M/s.MSK Construction
86.00 | Material and labour for aluminium composite panel 3mm thick with wooden finish/plain colour fixed on aluminium section of size 50 x 25 mm. | 5.50 | Per Sqm | 8500.00 | 780.00 | 4290.00 | 5000.00 | 27500.00 | 9000.00 | 49500.00 | 4290.00 | M/s.MSK Construction
87.00 | Supply and fixing of acrylic letters 300mm height with LED lights. | 49.00 | Each | 3200.00 | 9000.00 | 441000.00 | 4000.00 | 196000.00 | 3500.00 | 171500.00 | 171500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
88.00 | M & L for plastering in CM 1:6, 20mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 1010.00 | SqM | 342.00 | 310.00 | 313100.00 | 400.00 | 404000.00 | 375.00 | 378750.00 | 313100.00 | M/s.MSK Construction
89.00 | Supply & Fixing of One light point or one fan point wiring controlled by one switch with PVC single core cables 1.5 sq. mm size in PVC conduit. | 160.00 | Per Point | 1191.30 | 1300.00 | 208000.00 | 750.00 | 120000.00 | 1200.00 | 192000.00 | 120000.00 | Intex Space Solutions Private Limited
90.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2 x 2.5 Sq.mm PVC insulated copper conductor single core cable surface/recessed as required in PVC conduit along with earth wire size 1 x 2.5 Sq.mm including PVC conduit & accessories. | 700.00 | RM | 222.25 | 195.00 | 136500.00 | 160.00 | 112000.00 | 225.00 | 157500.00 | 112000.00 | Intex Space Solutions Private Limited
91.00 | Supply & Fixing of Wiring for circuit / sub main wiring alongwith earth wire 2 x 4.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 x 4.0 Sq.mm including PVC conduit & accessories. | 600.00 | RM | 258.00 | 225.00 | 135000.00 | 322.00 | 193200.00 | 270.00 | 162000.00 | 135000.00 | M/s.MSK Construction
92.00 | Material & Labour for PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3mm thick plastic laminated sheet cover of size 350 x 300 x 50 mm deep. | 100.00 | Each | 207.84 | 180.00 | 18000.00 | 298.00 | 29800.00 | 215.00 | 21500.00 | 18000.00 | M/s.MSK Construction
93.00 | Material & Labour for switch socket outlet 2 in 1, 6 amp, flush type, 240 volts, AC. | 30.00 | Each | 446.64 | 390.00 | 11700.00 | 242.00 | 7260.00 | 465.00 | 13950.00 | 7260.00 | Intex Space Solutions Private Limited
94.00 | Material & Labour for Switch socket combination 6A/16A, 5 in 1, flush type. | 320.00 | Each | 354.36 | 310.00 | 99200.00 | 362.00 | 115840.00 | 368.00 | 117760.00 | 99200.00 | M/s.MSK Construction
95.00 | Material & Labour for switch piano flush type, 6 amps, single pole, one way. Make: ANCHOR/ HAVELS/ Legrand/ Schneider/GM (or) Suitably Equivalent make. | 160.00 | Each | 144.96 | 125.00 | 20000.00 | 73.00 | 11680.00 | 150.00 | 24000.00 | 11680.00 | Intex Space Solutions Private Limited
96.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. ® Make: Philips/ Havells/ Osram (or) Suitably Equivalent make. | 75.00 | Each | 5123.03 | 4500.00 | 337500.00 | 2820.00 | 211500.00 | 5250.00 | 393750.00 | 211500.00 | Intex Space Solutions Private Limited
97.00 | Material & Labour of 3 Phase PVC/Polycorbonate, isolated ceiling rose. Make: ANCHOR/ HAVELS/ ZEN/ KUNDAN (or) Suitably Equivalent make. | 190.00 | Each | 78.84 | 70.00 | 13300.00 | 113.00 | 21470.00 | 82.00 | 15580.00 | 13300.00 | M/s.MSK Construction
98.00 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 20 cm girth (Brick Wall). | 500.00 | RM | 66.72 | 60.00 | 30000.00 | 95.00 | 47500.00 | 70.00 | 35000.00 | 30000.00 | M/s.MSK Construction
99.00 | Supply & fixing Double pole enclosure with a two pin and earth plug and socket complete with one single pole MCB 240 V 20amp | 60.00 | Each | 2497.80 | 2200.00 | 132000.00 | 2012.00 | 120720.00 | 2500.00 | 150000.00 | 120720.00 | Intex Space Solutions Private Limited
100.00 | Supply & fixing of Four pole Isolater, 415V, 100A | 20.00 | Each | 2640.96 | 2300.00 | 46000.00 | 2000.00 | 40000.00 | 2750.00 | 55000.00 | 40000.00 | Intex Space Solutions Private Limited
101.00 | Supply & fixing of 240V Isolator SP 40A, Make: STANDARD/ HAVELLS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 150.00 | Each | 432.17 | 380.00 | 57000.00 | 650.00 | 97500.00 | 450.00 | 67500.00 | 57000.00 | M/s.MSK Construction
102.00 | SHEET METAL ENCLOSURES FOR DB'S WHEN MCBs Double Door Supplied & fixed Triple pole & neutral 12 way | 4.00 | Each | 5499.96 | 2800.00 | 11200.00 | 3500.00 | 14000.00 | 5500.00 | 22000.00 | 11200.00 | M/s.MSK Construction
103.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) | 55.00 | Each | 3179.36 | 2800.00 | 154000.00 | 2800.00 | 154000.00 | 3300.00 | 181500.00 | 154000.00 | M/s.MSK Construction, Intex Space Solutions Private Limited
104.00 | Supply & fixing of GI Pipes heavy class, 25 mm dia. | 55.00 | RM | 408.00 | 360.00 | 19800.00 | 150.00 | 8250.00 | 425.00 | 23375.00 | 8250.00 | Intex Space Solutions Private Limited
105.00 | Supply and fixing of Double door sheet metal enclosure for DB's when MCB 's to be used Triple pole and neutral 8 way, 415 volt, AC. Make: STANDARD/ HAVELLS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 4.00 | Each | 4306.44 | 2775.00 | 11100.00 | 8500.00 | 34000.00 | 4500.00 | 18000.00 | 11100.00 | M/s.MSK Construction
106.00 | Supply and fixing of Double door sheet metal enclosure for DB's when MCB 's to be used Triple pole and neutral 6 way, 415 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 8.00 | Each | 3823.44 | 2775.00 | 22200.00 | 7500.00 | 60000.00 | 3650.00 | 29200.00 | 22200.00 | M/s.MSK Construction
107.00 | Supply and fixing of Double door sheet metal enclosure for DB's when MCB 's to be used Triple pole and neutral 4 way, 415 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 40.00 | Each | 3171.24 | 2775.00 | 111000.00 | 4500.00 | 180000.00 | 3300.00 | 132000.00 | 111000.00 | M/s.MSK Construction
108.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers. Make : USHA/ HAVELLS/ BAJAJ/ CROMPTON (or) Suitably Equivalent make. | 15.00 | Each | 4258.31 | 3750.00 | 56250.00 | 2500.00 | 37500.00 | 4500.00 | 67500.00 | 37500.00 | Intex Space Solutions Private Limited
109.00 | Taking down carefully copper / aluminum point wiring (light, fan, socket or power) complete, (fittings such us switches, ceiling roses, pendants, regulators, sockets etc. to be measured separately), removing materials to store for keeping inside safe custody for reuse at site and making good disturbed surfaces of walls, floors, etc | 140.00 | Per Point | 282.72 | 250.00 | 35000.00 | 260.00 | 36400.00 | 300.00 | 42000.00 | 35000.00 | M/s.MSK Construction
110.00 | Taking down carefully unscrewing from boards/outlet boxes, fittings and fixtures such as switches sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for reuse at site or carrying to the store (To be measured only when found service cable in all respects complete for reuse). | 140.00 | Per Point | 41.93 | 37.00 | 5180.00 | 420.00 | 58800.00 | 42.00 | 5880.00 | 5180.00 | M/s.MSK Construction
111.00 | Supply and fixing of single door sheet metal enclosure for DB's when MCB 's to be used single pole and neutral 2 way without bus bar, 240 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 10.00 | Each | 652.92 | 553.00 | 5530.00 | 5500.00 | 55000.00 | 680.00 | 6800.00 | 5530.00 | M/s.MSK Construction
112.00 | Supply & fixing of isolator single pole with neutral upto 40A 240V A.C. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND (or) Suitably Equivalent make. | 20.00 | Each | 517.82 | 450.00 | 9000.00 | 1500.00 | 30000.00 | 540.00 | 10800.00 | 9000.00 | M/s.MSK Construction
113.00 | Supply and fixing round shape 15 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. | 6.00 | Each | 1274.18 | 1100.00 | 6600.00 | 1200.00 | 7200.00 | 1325.00 | 7950.00 | 6600.00 | M/s.MSK Construction
114.00 | Supply and fixing LED lights fitting 1x 22W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. ®PHILLIPS/ BAJAI/ HAWELS/ CROMPTON (or) Suitably Equivalent make. | 15.00 | Each | 1614.74 | 1400.00 | 21000.00 | 1450.00 | 21750.00 | 1680.00 | 25200.00 | 21000.00 | M/s.MSK Construction
115.00 | Supply and fixing LED street light fitting 100 watt 230 V AC outdoor type with high pressure die cast aluminum housing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. | 6.00 | Each | 10412.00 | 9100.00 | 54600.00 | 5500.00 | 33000.00 | 10750.00 | 64500.00 | 33000.00 | Intex Space Solutions Private Limited
116.00 | Supply and Install 1.5 Ton Hi-Wall Split units Indoor / Outdoor complete with cordless remote control unit and with in-built air ioniser and Plasma filter for better indoor air quality with minimum 5 Star rating and EER 3.2 of capacity. The rate is inclusive of supply and fixing of copper tube for a length of 5m and with power cable. The Make shall be of Bluestar, Daikin, Carrier, Voltas (or) Suitably Equivalent make. | 4.00 | Each | 50000.00 | 55000.00 | 220000.00 | 47000.00 | 188000.00 | 55000.00 | 220000.00 | 188000.00 | Intex Space Solutions Private Limited
| Total in Figures |  |  |  |  | 11599999.00 |  | 12988391.00 |  | 13141860.00
Lowest Amount Quoted BY: M/s.MSK Construction(11599999.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS FOR DAMAGED / RENOVATION OF METALLURGICAL LABORATORY AT OLD FACILITY IN HVF, AVADI Tender ID: 2024_AVNL_198307_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s.MSK Construction | 11599999.00 | L1
| 2 | Intex Space Solutions Private Limited | 12988391.00 | L2
| 3 | AMUTHA ENGINEERING AND CONSTRUCTION | 13141860.00 | L3