## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 13-Aug-2024 11:40 AM Tender Title: CONSTRUCTION OF SMART CLASS ROOM IN FIRST FLOOR ABOVE LIBRARY BUILDING IN IOLAV AT HVF ESTATE. Tender ID: 2024_AVNL_200186_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : CONSTRUCTION OF SMART CLASS ROOM IN FIRSTFLOOR ABOVE LIBRARY BUILDING IN IOLAV AT HVF ESTATE.
HVF T.E No : HVF/TE/13025/CEO/2024-25/17
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SS ENTERPRISE(GSTN-NA)--721781 |  | Santhosh Infrastructure(GSTN-NA)--721744 |  | VIJAYALAKSHMI ENETERPRISES(GSTN-NA)--721762 |  | S VINAYAGAMURTHY(GSTN-NA)--721907
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of concrete structure of any description | 1.10 | CUM | 2072.07 | 1500.00 | 1650.00 | 2072.00 | 2279.20 | 1300.00 | 1430.00 | 1700.00 | 1870.00 | 1430.00 | VIJAYALAKSHMI ENETERPRISES
2.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in columns, pillars, piers, posts and struts etc | 7.00 | CUM | 9131.21 | 9000.00 | 63000.00 | 6100.00 | 42700.00 | 8900.00 | 62300.00 | 7200.00 | 50400.00 | 42700.00 | Santhosh Infrastructure
3.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in beams, cantilevers, bressummers, lintels over 1.50m span etc., (concrete work should be use of Ready Mix Concrete (RMC) (minimum cement conetent shall be 350kg per cum). | 20.00 | CUM | 8682.85 | 8600.00 | 172000.00 | 6100.00 | 122000.00 | 8500.00 | 170000.00 | 8400.00 | 168000.00 | 122000.00 | Santhosh Infrastructure
4.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 M20, 20mm graded aggregate in Slabs supported on walls,beams and columns in floors,roofs, landings, balconies,canopies, deck slabs and in shelves and the like.etc.(concrete work should be use of Ready Mix Concrete (RMC)(minimum cement conetent shall be 350kg per cum) | 30.00 | CUM | 7851.47 | 7800.00 | 234000.00 | 6100.00 | 183000.00 | 7900.00 | 237000.00 | 8650.00 | 259500.00 | 183000.00 | Santhosh Infrastructure
5.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Used RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED or Similar Suitable Make. | 5700.00 | KG | 90.06 | 95.00 | 541500.00 | 93.00 | 530100.00 | 98.00 | 558600.00 | 99.00 | 564300.00 | 530100.00 | Santhosh Infrastructure
6.00 | M & L for Flat form work to sides and soffits of floor or roof beam, beam, lintels, cantilevers, shelves, columns, slabs including supports, overhangs etc., and the finishing shall be of fair finished surface. | 210.00 | SQM | 597.51 | 600.00 | 126000.00 | 500.00 | 105000.00 | 525.00 | 110250.00 | 650.00 | 136500.00 | 105000.00 | Santhosh Infrastructure
7.00 | M & L for Flat form work to soffits rough finish surfaces of suspended slabs such as roof slabs, floor slabs, landings and similar work not exceeding 200mm thick (Horizontal or sloping) and the finishing shall be of fair finished surface. | 200.00 | SQM | 633.22 | 600.00 | 120000.00 | 500.00 | 100000.00 | 545.00 | 109000.00 | 680.00 | 136000.00 | 100000.00 | Santhosh Infrastructure
8.00 | M & L for Brick Work built in CM 1:6 using Sub class "B" Bricks straight or curved on plan exc 6m mean radius. | 45.00 | CUM | 6500.00 | 8500.00 | 382500.00 | 6100.00 | 274500.00 | 7750.00 | 348750.00 | 7000.00 | 315000.00 | 274500.00 | Santhosh Infrastructure
9.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 550.00 | SQM | 289.44 | 350.00 | 192500.00 | 280.00 | 154000.00 | 305.00 | 167750.00 | 325.00 | 178750.00 | 154000.00 | Santhosh Infrastructure
10.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 350.00 | SQM | 279.08 | 330.00 | 115500.00 | 280.00 | 98000.00 | 285.00 | 99750.00 | 340.00 | 119000.00 | 98000.00 | Santhosh Infrastructure
11.00 | Material and labour for precast cement concrete B-0 type (1:2:4) jallies 35 mm thick and set in cement mortar 1:6. | 3.00 | SQM | 785.51 | 800.00 | 2400.00 | 800.00 | 2400.00 | 900.00 | 2700.00 | 1000.00 | 3000.00 | 2400.00 | Santhosh Infrastructure, SS ENTERPRISE
12.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 42.00 | RM | 522.24 | 210.00 | 8820.00 | 550.00 | 23100.00 | 245.00 | 10290.00 | 230.00 | 9660.00 | 8820.00 | SS ENTERPRISE
13.00 | S & F of PVC Bend 110mm dia any radius. | 8.00 | Each | 137.50 | 140.00 | 1120.00 | 125.00 | 1000.00 | 150.00 | 1200.00 | 150.00 | 1200.00 | 1000.00 | Santhosh Infrastructure
14.00 | PVC (SWR) reducers 110mm dia any radius. | 4.00 | Each | 148.50 | 150.00 | 600.00 | 155.00 | 620.00 | 160.00 | 640.00 | 149.00 | 596.00 | 596.00 | S VINAYAGAMURTHY
15.00 | S & F of II class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | .10 | CUM | 95025.87 | 120000.00 | 12000.00 | 95300.00 | 9530.00 | 89000.00 | 8900.00 | 100000.00 | 10000.00 | 8900.00 | VIJAYALAKSHMI ENETERPRISES
16.00 | S & F of plain, framed, paneled door shutters 40mm thick made out of II class hard wood. | 5.00 | SQM | 2565.53 | 3000.00 | 15000.00 | 2575.00 | 12875.00 | 2200.00 | 11000.00 | 2450.00 | 12250.00 | 11000.00 | VIJAYALAKSHMI ENETERPRISES
17.00 | S & F of 125mm Butt hinges, extruded aluminium alloy with foregoing items if brass hinge pin, anodised and fixed, type B- 21. | 6.00 | Each | 313.28 | 320.00 | 1920.00 | 320.00 | 1920.00 | 300.00 | 1800.00 | 60.00 | 360.00 | 360.00 | S VINAYAGAMURTHY
18.00 | S & F of Alluminium aldrop bolt 300mm long with hasp, staple (Bolt type) and fixing clips. | 2.00 | Each | 471.02 | 470.00 | 940.00 | 480.00 | 960.00 | 450.00 | 900.00 | 205.00 | 410.00 | 410.00 | S VINAYAGAMURTHY
19.00 | S & F of 200mm Alumium anodized barrel tower bolt. | 4.00 | Each | 97.02 | 90.00 | 360.00 | 100.00 | 400.00 | 100.00 | 400.00 | 100.00 | 400.00 | 360.00 | SS ENTERPRISE
20.00 | S & F of 150mm Aluminium anodized bow handle. | 4.00 | Each | 83.49 | 80.00 | 320.00 | 85.00 | 340.00 | 80.00 | 320.00 | 85.00 | 340.00 | 320.00 | VIJAYALAKSHMI ENETERPRISES, SS ENTERPRISE
21.00 | Supply and Fixing of door stopper 150mm of aluminium alloy body and tongue, anodised, with hard drawn steel spring | 2.00 | EACH | 111.76 | 110.00 | 220.00 | 115.00 | 230.00 | 150.00 | 300.00 | 105.00 | 210.00 | 210.00 | S VINAYAGAMURTHY
22.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of pink primer including preparing new wooden surfaces. | 7.00 | SQM | 154.22 | 90.00 | 630.00 | 160.00 | 1120.00 | 125.00 | 875.00 | 145.00 | 1015.00 | 630.00 | SS ENTERPRISE
23.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of pink primer including preparing old wooden surfaces. | 20.00 | SQM | 158.62 | 90.00 | 1800.00 | 165.00 | 3300.00 | 125.00 | 2500.00 | 145.00 | 2900.00 | 1800.00 | SS ENTERPRISE
24.00 | Material and labour for two coats of exterior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of new painted surface with one coat of primer. ASIAN/NEROLAC/BERGER or Similar Suitable Make. | 350.00 | SQM | 157.52 | 200.00 | 70000.00 | 162.00 | 56700.00 | 140.00 | 49000.00 | 141.00 | 49350.00 | 49000.00 | VIJAYALAKSHMI ENETERPRISES
25.00 | Material and labour for two coats of exterior emulsion paint on surfaces of any description over 10cm girth or width, not otherwise described including preparation of old painted surface with one coat of primer. (ASIAN/NEROLAC/BERGER or Similar Suitable Make.) | 260.00 | SQM | 165.99 | 200.00 | 52000.00 | 175.00 | 45500.00 | 145.00 | 37700.00 | 145.00 | 37700.00 | 37700.00 | VIJAYALAKSHMI ENETERPRISES, S VINAYAGAMURTHY
26.00 | M & L for interior emulsion two coats on walls after preparing the new painted surfaces with one coat of alkali resistant primer (ASIAN/NEROLAC/BERGER or Similar Suitable Make.) | 150.00 | SQM | 111.65 | 220.00 | 33000.00 | 111.00 | 16650.00 | 130.00 | 19500.00 | 150.00 | 22500.00 | 16650.00 | Santhosh Infrastructure
27.00 | M & L for interior emulsion two coats on walls after preparing the old painted surfaces with one coat of alkali resistant primer. (ASIAN/NEROLAC/BERGER or Similar Suitable Make.) | 150.00 | SQM | 113.19 | 75.00 | 11250.00 | 115.00 | 17250.00 | 135.00 | 20250.00 | 150.00 | 22500.00 | 11250.00 | SS ENTERPRISE
28.00 | M & L for white washing two coats on ceiling on newly prepared wall surfaces. (ASIAN/NEROLAC/BERGER or Similar Suitable Make.) | 330.00 | SQM | 23.65 | 25.00 | 8250.00 | 25.00 | 8250.00 | 20.00 | 6600.00 | 25.00 | 8250.00 | 6600.00 | VIJAYALAKSHMI ENETERPRISES
29.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 8.00 | Each | 374.21 | 350.00 | 2800.00 | 375.00 | 3000.00 | 400.00 | 3200.00 | 400.00 | 3200.00 | 2800.00 | SS ENTERPRISE
30.00 | Providing and fixing factory made uPVC white colour sliding window three track made of extruded profiles with wall thickness of 2.3 mm (1.0.2mm) window profile with hollow section with multi chamber.Frame(88mm x 52mm) sliding sash (42mm x 57mm)Sliding Interlock(one vertical lenth in each shutter)(45.5 mm x 28 mm) Glazing bead(24.5mm x 16 mm) will be mitred cut and fusion welded at all corners including railing of holes for fixing hardware and drainage of water etc., making arrangement for fixing hardware. EPDM gasket. 1.2 to 0.2 mm thick galvanised steel frame(30 mm x18 mm )2 nos.sliding sash (30 mm x 18 mm), Sliding mesh sash (26 mmx 10 mm) profile to be inserted in required profile.frame will be fixed to the wall with 8mmx100mm long fastners. Hardware Touch Lock of Zinc alloyed (white powder coated).steel roller system. Stainless steel wire cloth 0.36mmnominal dia of wire and avarage width of aperture 1.40mm and required accessories.(Note The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. net opening will be measured for payment purpose.(a) area n exc 2.00 Sqm each) and as approved and as directed. | 20.00 | sqm | 12404.03 | 12000.00 | 240000.00 | 11200.00 | 224000.00 | 12500.00 | 250000.00 | 11000.00 | 220000.00 | 220000.00 | S VINAYAGAMURTHY
31.00 | M & L for painting to steel surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of Red Oxide primer including preparing old surfaces. | 15.00 | SQM | 167.31 | 150.00 | 2250.00 | 169.00 | 2535.00 | 120.00 | 1800.00 | 150.00 | 2250.00 | 1800.00 | VIJAYALAKSHMI ENETERPRISES
32.00 | Supply and Fixing of sheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pare ground or obscured or tinted on one side and as approved and as directed by EIC. | 15.00 | SQM | 1339.00 | 1450.00 | 21750.00 | 1500.00 | 22500.00 | 1450.00 | 21750.00 | 980.00 | 14700.00 | 14700.00 | S VINAYAGAMURTHY
33.00 | Supply and fixing of stainless steel 304 grade hand rail top rail 50mm dia,stiffner 20mm, 32mm square bar with wall thickness 1.2mm with nessesary flanges,holding clamps with complete buffing and polishing all complete . and as approved and as directed by EIC . | 265.00 | KG | 730.00 | 350.00 | 92750.00 | 740.00 | 196100.00 | 799.00 | 211735.00 | 550.00 | 145750.00 | 92750.00 | SS ENTERPRISE
34.00 | Material and Labour for fixing Light shade Viritified ceramic tiles 10mm thick quare/rectangle ) polished rea of each tiles not exceeding 0.36 Sqm in floors etc set and jointed in neat cement slurry and pointed in white or colored cement to match including screed bed in cement mortar 1:4, 15mm thick complete. | 160.00 | SQM | 1862.49 | 1400.00 | 224000.00 | 1700.00 | 272000.00 | 1900.00 | 304000.00 | 1600.00 | 256000.00 | 224000.00 | SS ENTERPRISE
35.00 | Material and Labour for 20mm thick Granite (of any type) work (table rubbed and polished) for wall lining (veneering to wall) 12mm thick in cement mortar (1:3) and pointing with white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 40.00 | SQM | 5041.96 | 5000.00 | 200000.00 | 4500.00 | 180000.00 | 5000.00 | 200000.00 | 5200.00 | 208000.00 | 180000.00 | Santhosh Infrastructure
36.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab or suitably equivalent make) a)one light / fan point controlled by one switch, with cables 1.5 sq.mm size. | 40.00 | Each | 1092.03 | 1100.00 | 44000.00 | 1000.00 | 40000.00 | 999.00 | 39960.00 | 1100.00 | 44000.00 | 39960.00 | VIJAYALAKSHMI ENETERPRISES
37.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab or suitably equivalent make) b) One light point controlled by two 2 - way switches , with cables1.5 sq. mm size | 3.00 | Each | 1537.76 | 1550.00 | 4650.00 | 1560.00 | 4680.00 | 1400.00 | 4200.00 | 1160.00 | 3480.00 | 3480.00 | S VINAYAGAMURTHY
38.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab or suitably equivalent make) c)One 3 pin plug socket with switches flush type 5A on same board with other switches, with 2.5sqmm cable | 32.00 | Each | 319.88 | 320.00 | 10240.00 | 325.00 | 10400.00 | 275.00 | 8800.00 | 330.00 | 10560.00 | 8800.00 | VIJAYALAKSHMI ENETERPRISES
39.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab or suitably equivalent make) d)One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable | 8.00 | Each | 1244.53 | 1250.00 | 10000.00 | 1250.00 | 10000.00 | 1200.00 | 9600.00 | 1180.00 | 9440.00 | 9440.00 | S VINAYAGAMURTHY
40.00 | Supply fixing and connecting to the system modular type switches 10A single pole one way (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 72.00 | Each | 286.55 | 290.00 | 20880.00 | 300.00 | 21600.00 | 275.00 | 19800.00 | 275.00 | 19800.00 | 19800.00 | VIJAYALAKSHMI ENETERPRISES, S VINAYAGAMURTHY
41.00 | Supply fixing and connecting to the system modular type switches 10A Two way, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 6.00 | Each | 338.03 | 410.00 | 2460.00 | 360.00 | 2160.00 | 325.00 | 1950.00 | 310.00 | 1860.00 | 1860.00 | S VINAYAGAMURTHY
42.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type, 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 32.00 | Each | 374.59 | 375.00 | 12000.00 | 380.00 | 12160.00 | 360.00 | 11520.00 | 330.00 | 10560.00 | 10560.00 | S VINAYAGAMURTHY
43.00 | Supply, fixing and connecting to the system of socket, 6A/16A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 22.00 | Each | 581.24 | 590.00 | 12980.00 | 575.00 | 12650.00 | 550.00 | 12100.00 | 602.00 | 13244.00 | 12100.00 | VIJAYALAKSHMI ENETERPRISES
44.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or suitably equivalent make) | 16.00 | Each | 378.07 | 380.00 | 6080.00 | 382.00 | 6112.00 | 360.00 | 5760.00 | 410.00 | 6560.00 | 5760.00 | VIJAYALAKSHMI ENETERPRISES
45.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make) | 15.00 | Each | 72.27 | 75.00 | 1125.00 | 73.00 | 1095.00 | 75.00 | 1125.00 | 72.00 | 1080.00 | 1080.00 | S VINAYAGAMURTHY
46.00 | Supply & fixing of modular white cover plate with frame 2 module | 16.00 | Each | 215.38 | 220.00 | 3520.00 | 215.00 | 3440.00 | 200.00 | 3200.00 | 230.00 | 3680.00 | 3200.00 | VIJAYALAKSHMI ENETERPRISES
47.00 | Supply & fixing metal flush box for 2 module plate | 16.00 | Each | 197.01 | 200.00 | 3200.00 | 200.00 | 3200.00 | 200.00 | 3200.00 | 198.00 | 3168.00 | 3168.00 | S VINAYAGAMURTHY
48.00 | Supply & fixing of 4 module modular white cover plate with frame | 4.00 | Each | 271.81 | 280.00 | 1120.00 | 273.00 | 1092.00 | 275.00 | 1100.00 | 280.00 | 1120.00 | 1092.00 | Santhosh Infrastructure
49.00 | Supply & fixing of metal flush box for 4 module plate | 4.00 | Each | 234.74 | 230.00 | 920.00 | 234.00 | 936.00 | 275.00 | 1100.00 | 245.00 | 980.00 | 920.00 | SS ENTERPRISE
50.00 | Supply & fixing of 6 module modular white cover plate with frame | 5.00 | Each | 340.56 | 420.00 | 2100.00 | 340.00 | 1700.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 1700.00 | Santhosh Infrastructure
51.00 | Supply & fixing of metal flush box for 6 module plate | 5.00 | Each | 312.51 | 310.00 | 1550.00 | 313.00 | 1565.00 | 350.00 | 1750.00 | 320.00 | 1600.00 | 1550.00 | SS ENTERPRISE
52.00 | Supply & fixing of 8 module plate with frame | 1.00 | Each | 419.54 | 420.00 | 420.00 | 420.00 | 420.00 | 425.00 | 425.00 | 435.00 | 435.00 | 420.00 | Santhosh Infrastructure, SS ENTERPRISE
53.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's 415 V when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar, (Make: Legrand/Havells/ABB or suitably equivalent make) | 1.00 | Each | 2906.97 | 3000.00 | 3000.00 | 2907.00 | 2907.00 | 1500.00 | 1500.00 | 3140.00 | 3140.00 | 1500.00 | VIJAYALAKSHMI ENETERPRISES
54.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP (Triple pole) 25 To 63 AMP (Make: Legrand/Havells/ABB or suitably equivalent make) | 2.00 | Each | 1867.36 | 1900.00 | 3800.00 | 1865.00 | 3730.00 | 2000.00 | 4000.00 | 1975.00 | 3950.00 | 3730.00 | Santhosh Infrastructure
55.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: ABB/Legrand/ Havells or suitably equivalent make) | 21.00 | Each | 312.62 | 320.00 | 6720.00 | 300.00 | 6300.00 | 300.00 | 6300.00 | 298.00 | 6258.00 | 6258.00 | S VINAYAGAMURTHY
56.00 | Supply & Fixing of MCCB 3 Pole, 415 V, fixed type, 125 Amps with breaking capacity of 16 KA. (Make: ABB/Legrand/ Havells or suitably equivalent make) | 1.00 | Each | 3945.81 | 4000.00 | 4000.00 | 3940.00 | 3940.00 | 4200.00 | 4200.00 | 4220.00 | 4220.00 | 3940.00 | Santhosh Infrastructure
57.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or suitably equivalent make) a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 125.00 | RM | 203.73 | 200.00 | 25000.00 | 200.00 | 25000.00 | 277.00 | 34625.00 | 205.00 | 25625.00 | 25000.00 | Santhosh Infrastructure, SS ENTERPRISE
58.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or suitably equivalent make) b) 2x4.0 sq.mm+1x4.0 sq.mm earth wire | 130.00 | RM | 236.50 | 240.00 | 31200.00 | 235.00 | 30550.00 | 325.00 | 42250.00 | 220.00 | 28600.00 | 28600.00 | S VINAYAGAMURTHY
59.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or suitably equivalent make) c) 4x10.0 sq.mm+ 1x10.0 sq.mm earth wire | 30.00 | RM | 622.36 | 600.00 | 18000.00 | 600.00 | 18000.00 | 750.00 | 22500.00 | 640.00 | 19200.00 | 18000.00 | Santhosh Infrastructure, SS ENTERPRISE
60.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 180.00 | RM | 57.31 | 60.00 | 10800.00 | 58.00 | 10440.00 | 56.00 | 10080.00 | 63.00 | 11340.00 | 10080.00 | VIJAYALAKSHMI ENETERPRISES
61.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) (Make:Usha/ crompton/ atomberg/ havells/ orient or suitably equivalent make) | 8.00 | Each | 2914.42 | 3000.00 | 24000.00 | 2900.00 | 23200.00 | 3150.00 | 25200.00 | 3300.00 | 26400.00 | 23200.00 | Santhosh Infrastructure
62.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. (Make: PHILIPS/Bajaj/CG / Havells /Wipro or suitably equivalent make) | 12.00 | Each | 4696.11 | 4700.00 | 56400.00 | 4600.00 | 55200.00 | 4700.00 | 56400.00 | 4850.00 | 58200.00 | 55200.00 | Santhosh Infrastructure
63.00 | Supply and fixing of LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. (Make: PHILIPS / CG /Havells / Wipro / Klite/ Bajaj/ Luker or suitably equivalent make) | 10.00 | Each | 1435.94 | 1430.00 | 14300.00 | 1430.00 | 14300.00 | 1500.00 | 15000.00 | 1510.00 | 15100.00 | 14300.00 | Santhosh Infrastructure, SS ENTERPRISE
64.00 | Supply and fixing of LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete (Make: PHILIPS / Bajaj /CG /Havells / Wipro or suitably equivalent make) | 1.00 | RM | 1490.29 | 1500.00 | 1500.00 | 1495.00 | 1495.00 | 1600.00 | 1600.00 | 1530.00 | 1530.00 | 1495.00 | Santhosh Infrastructure
65.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers (Make: Almonard/Kaithan / crompton or suitably equivalent make) | 1.00 | Each | 3903.45 | 3900.00 | 3900.00 | 3912.00 | 3912.00 | 3300.00 | 3300.00 | 4415.00 | 4415.00 | 3300.00 | VIJAYALAKSHMI ENETERPRISES
66.00 | Supply & fixing of MCBDB 4 way(DPX160+12) legrand make asper legrand 2010 catlogue No.607790. or Havells/ Hager/ L&T/ ABB or suitably equivalent make) | 1.00 | Each | 10250.00 | 8600.00 | 8600.00 | 10235.00 | 10235.00 | 14000.00 | 14000.00 | 10900.00 | 10900.00 | 8600.00 | SS ENTERPRISE
67.00 | Supply & Fixing of Modular type MCB 20A, 240V, Single pole, in the MCB DB complete with connection testing and commissioning (Make: LegrandHavells/ Hager/ L&T/ ABB or suitably equivalent make) | 8.00 | Each | 2835.00 | 160.00 | 1280.00 | 2800.00 | 22400.00 | 900.00 | 7200.00 | 790.00 | 6320.00 | 1280.00 | SS ENTERPRISE
68.00 | Supply and fxing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessories,Wattage 24 to 30 watts and minimum system output 1800 lumens. (Make: PHILIPS / Bajaj /CG /Havells / Wipro or suitably equivalent make) | 6.00 | Each | 3755.00 | 400.00 | 2400.00 | 3700.00 | 22200.00 | 3200.00 | 19200.00 | 3950.00 | 23700.00 | 2400.00 | SS ENTERPRISE
69.00 | Supply & fixing metal flush box for 8 module plate | 1.00 | Each | 125.00 | 400.00 | 400.00 | 125.00 | 125.00 | 500.00 | 500.00 | 290.00 | 290.00 | 125.00 | Santhosh Infrastructure
70.00 | Supply & fixing of 12 module plate with frame and metal flush box | 8.00 | Each | 455.00 | 215.00 | 1720.00 | 455.00 | 3640.00 | 600.00 | 4800.00 | 560.00 | 4480.00 | 1720.00 | SS ENTERPRISE
71.00 | Supply & fixing of 16 module plate with frame and metal flush box | 3.00 | Each | 500.00 | 400.00 | 1200.00 | 500.00 | 1500.00 | 835.00 | 2505.00 | 690.00 | 2070.00 | 1200.00 | SS ENTERPRISE
72.00 | Supply & fixing of modular type Dummy plate | 15.00 | Each | 25.00 | 40.00 | 600.00 | 25.00 | 375.00 | 20.00 | 300.00 | 70.00 | 1050.00 | 300.00 | VIJAYALAKSHMI ENETERPRISES
| Total in Figures |  |  |  |  | 3308895.00 |  | 3106518.20 |  | 3434990.00 |  | 3351966.00
Lowest Amount Quoted BY: Santhosh Infrastructure(3106518.20)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF SMART CLASS ROOM IN FIRST FLOOR ABOVE LIBRARY BUILDING IN IOLAV AT HVF ESTATE. Tender ID: 2024_AVNL_200186_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Santhosh Infrastructure | 3106518.20 | L1
| 2 | SS ENTERPRISE | 3308895.00 | L2
| 3 | S VINAYAGAMURTHY | 3351966.00 | L3
| 4 | VIJAYALAKSHMI ENETERPRISES | 3434990.00 | L4