## BoQ1
Government eProcurement System Created By: SRIKANTH GADE Created Date/Time: 25-Oct-2024 03:40 PM Tender Title: Creation and Development of Sports Infrastructure in OFMK estate Tender ID: 2024_AVNL_202911_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Creation and Development of Sports Infrastructure in OFMK estate.
Contract No: 76025/OFMK/EOC/TE-13/SPORTS INFRA /2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | P LAVAKUSHA REDDY CONTRACTORS (GSTN-NA) BID ID -746353 |  | AADHARSHILA CONSTRUCTIONS CO (GSTN-NA) BID ID -746874
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Surface Excavation : Surface excavation in soft/loose soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 1600.00 | Sqm | 10.00 | 50.00 | 80000.00 | 45.00 | 72000.00 | 72000.00 | AADHARSHILA CONSTRUCTIONS CO
2.00 | Excavation: Excavating in trenches in soft/loose soil , n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out | 580.00 | Cum | 10.00 | 350.00 | 203000.00 | 320.00 | 185600.00 | 185600.00 | AADHARSHILA CONSTRUCTIONS CO
3.00 | Removal : Removing excavated material(soils) exc. 250m but n.exc 500m and depositing where directed. | 122.00 | Cum | 10.00 | 550.00 | 67100.00 | 500.00 | 61000.00 | 61000.00 | AADHARSHILA CONSTRUCTIONS CO
4.00 | Demolition : Demolition of cement concrete (unreinforced) in ground floors and pavings n exc 15 cm thickness (below or above ground level) | 10.00 | Cum | 10.00 | 1350.00 | 13500.00 | 1200.00 | 12000.00 | 12000.00 | AADHARSHILA CONSTRUCTIONS CO
5.00 | PCC : (M&L) - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete complete all as specified. | 92.00 | Cum | 10.00 | 5400.00 | 496800.00 | 4800.00 | 441600.00 | 441600.00 | AADHARSHILA CONSTRUCTIONS CO
6.00 | Moorum : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed. | 138.00 | Cum | 10.00 | 1000.00 | 138000.00 | 621.00 | 85698.00 | 85698.00 | AADHARSHILA CONSTRUCTIONS CO
7.00 | Hardcore : Hardcore with broken stone/ boulders of gauge not exc. 63mm, deposited, spread, levelled in layers not exc. 15 cm thick and watered and rammed to a true surface, complete all as specified and directed. | 92.00 | Cum | 10.00 | 2000.00 | 184000.00 | 2200.00 | 202400.00 | 184000.00 | P LAVAKUSHA REDDY CONTRACTORS
8.00 | Chequered tiles : S&F Chequered cement concrete tiles 20cm x 20cm x 25mm thick (min. Size), set, jointed and pointed in neat cement slurry in floors, Make: Classic/ Standard or similar as approved by EIC. | 180.00 | Sqm | 10.00 | 1100.00 | 198000.00 | 870.00 | 156600.00 | 156600.00 | AADHARSHILA CONSTRUCTIONS CO
9.00 | Wall Tiles : Glazed coloured ceramic tiles in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match | 100.00 | Sqm | 10.00 | 1200.00 | 120000.00 | 1015.00 | 101500.00 | 101500.00 | AADHARSHILA CONSTRUCTIONS CO
10.00 | Non Skid Tiles : Non - skid coloured Ceramic tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match Make: Johnson/ Kajaria/ Somany | 150.00 | sqm | 10.00 | 1100.00 | 165000.00 | 1200.00 | 180000.00 | 165000.00 | P LAVAKUSHA REDDY CONTRACTORS
11.00 | Screed Bed : Screed bed or bedding layer of mortar 15 mm thick in 1:6 cement mortar for laying floor finishes | 330.00 | Sqm | 10.00 | 200.00 | 66000.00 | 250.00 | 82500.00 | 66000.00 | P LAVAKUSHA REDDY CONTRACTORS
12.00 | PVC Sheet Flooring: PVC tiles/ sheets, laminated plain coloured, marbled 2 mm thk. mosaic or mottled finish, laid with approved rubber based adhesive in floors | 460.00 | Sqm | 100.00 | 1050.00 | 483000.00 | 1200.00 | 552000.00 | 483000.00 | P LAVAKUSHA REDDY CONTRACTORS
13.00 | Prefab Badminton Court Mat : Supply and fixing of prefabricated Indoor Synthetic Badminton court mat (green colour) of thickness 4.5 mm (size min. 23.5 ft x 49 ft) made of PU foam core and fixing with approved quality adhesive to existing floor. Make: Yonex, Rebound Ace, Victor or equivalent as approved by EIC. | 5.00 | Each | 100.00 | 150000.00 | 750000.00 | 215000.00 | 1075000.00 | 750000.00 | P LAVAKUSHA REDDY CONTRACTORS
14.00 | RCC : Reinforced Cement Concrete , Type B1, 1:2:4 Mix by using 20mm graded aggregate in coloums, beams, lintels, chajjas, cantilevers, etc. over 1.5 m span.complete all as specified and directed | 72.00 | Cum | 10.00 | 6300.00 | 453600.00 | 6000.00 | 432000.00 | 432000.00 | AADHARSHILA CONSTRUCTIONS CO
15.00 | RCC : Reinforced cement concrete type B-1, 1:2:4 (20mm graded aggregate, 85 mm thk in floors/pavings etc. Complete all as specified. | 1850.00 | Sqm | 10.00 | 560.00 | 1036000.00 | 550.00 | 1017500.00 | 1017500.00 | AADHARSHILA CONSTRUCTIONS CO
16.00 | Reinforcement : Mild steel(TMT) bars 6-8 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips . | 12600.00 | Kg | 10.00 | 84.00 | 1058400.00 | 91.00 | 1146600.00 | 1058400.00 | P LAVAKUSHA REDDY CONTRACTORS
17.00 | Formwork : Formwork with fair finished surfaces to flat sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 400.00 | Sqm | 10.00 | 390.00 | 156000.00 | 400.00 | 160000.00 | 156000.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | WPC Door : S&F Factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of 30mm size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm 2 , modulus of elasticity 850 N/mm 2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In-Charge. | 30.00 | Sqm | 10.00 | 3800.00 | 114000.00 | 3850.00 | 115500.00 | 114000.00 | P LAVAKUSHA REDDY CONTRACTORS
19.00 | Providing and fixing factory made uPVC white color Sliding window Two track made of extruded profiles with wall thickness of 2.3mm (+ -0.2mm). Window profile with hollow section with multi chamber, Frame (60mm x 62mm). sash (42mm x 67mm). Sliding Interlock (One vertical length in each shutters) (45.5mm x 28mm). Glazing bead (24.5mmx 16mm) will he mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc.. making arrangement for fixing of hardware. EPDM gasket 1.2 + -0.2mm thick galvanized steel frame (30mm x 21.5mm), Sash (30mm x 18mm), profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware : [Touch Lock of zinc alloyed (white powder coated), steel roller system including 5mm thick glazing with selected quality glass, aluminum track on bottom rail for two track sliding frame, wool pine for Sliding sash and interlock. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose)Area exceeding 2.00 sqm each | 16.00 | Sqm | 10.00 | 8000.00 | 128000.00 | 8000.00 | 128000.00 | 128000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
20.00 | Galvalume Sheet : Pre- painted galvalume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/ cladding to wall, fixed with self tapping screws as specified Make: Tata/ Jindal/Essar | 3300.00 | Sqm | 10.00 | 750.00 | 2475000.00 | 767.00 | 2531100.00 | 2475000.00 | P LAVAKUSHA REDDY CONTRACTORS
21.00 | Structural Steel : Rolled mild steel of grade Fe 410 -W (GdeE- 250) qualityA in Roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. Make: Tata Bluescope/ Kirby/ Jindal. | 17000.00 | kg | 10.00 | 120.00 | 2040000.00 | 120.00 | 2040000.00 | 2040000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
22.00 | Enamel Paint : Enamel paint to steel surfaces of any description, not otherwise descri-bed, over 10cm width or girth with synthetic enamel ordinary tint 1 coats | 660.00 | Sqm | 10.00 | 50.00 | 33000.00 | 86.00 | 56760.00 | 33000.00 | P LAVAKUSHA REDDY CONTRACTORS
23.00 | Turbo Ventilators : Supply and fixing of wind driven turbo ventilators on galvalume sheet roof. The turbo ventilators shall be made of 0.5 mm GI sheets with adjustable angle range of 0-17 degree, thickness of vanes 0.5mm with 2 nos of bearings and with minimum exhaust capacity of 2000 cfm. | 10.00 | Each | 10.00 | 6000.00 | 60000.00 | 4000.00 | 40000.00 | 40000.00 | AADHARSHILA CONSTRUCTIONS CO
24.00 | Sand Filling : Sand filling under floors or in foundations including watering and consolidation | 30.00 | Cum | 100.00 | 1970.00 | 59100.00 | 2565.00 | 76950.00 | 59100.00 | P LAVAKUSHA REDDY CONTRACTORS
25.00 | Red Earth : Supply and laying of red earth (avg. 30 mm thk.) including rolling and consolidating formation surfaces | 610.50 | 10 Sqm | 10.00 | 600.00 | 366300.00 | 500.00 | 305250.00 | 305250.00 | AADHARSHILA CONSTRUCTIONS CO
26.00 | Brick Soling : Soling of bricks one layer laid on edge and rolling with hand roller | 25.00 | 10 Sqm | 10.00 | 4000.00 | 100000.00 | 4000.00 | 100000.00 | 100000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
27.00 | Weld mesh Fencing: S&F of weld mesh /Welded steel wire fabric n exc. 4 kg/sqm supplied and fixed complete to wood or steel members | 500.00 | kg | 10.00 | 180.00 | 90000.00 | 250.00 | 125000.00 | 90000.00 | P LAVAKUSHA REDDY CONTRACTORS
28.00 | Tennis Court Resurfacing : Application of acrylic resurfacer (2 coats of grey colour) mixed with silica sand of grade 250-300 microns under acrylic colour coating (2 coats of green/blue colour plus white line marking) mixed with silica sand of grade 150 microns, surface paint (for sports flooring with slip resistant properties) with approved additives and fillers applied to concrete floors with a finished coating thickness of 3 mm (min) including application of one coat of primer over old/new concrete surfaces. Make: Duraturf/ Asian Paints/ Berger/ Rebound Ace or similar as approved | 612.00 | Sqm | 10.00 | 520.00 | 318240.00 | 540.00 | 330480.00 | 318240.00 | P LAVAKUSHA REDDY CONTRACTORS
29.00 | Acrylic weatherproof emulsion: Material & Labour for applying Two or more coats of 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives @ 1.43 litre/ 10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/ 10 sqm over new surfaces. Brand: Asian Paints Apex Ultima/ Nerolac Excel Total / Berger Weathercoat All Guard | 570.00 | m2 | 10.00 | 120.00 | 68400.00 | 76.00 | 43320.00 | 43320.00 | AADHARSHILA CONSTRUCTIONS CO
30.00 | OBD on walls : M&L :Distempering walls with distemper oil emulsion(2 coats) all as specified. Brand: Asian Paints Tractor Uno/ Nerolac Beauty/ Berger Bison | 427.86 | m2 | 10.00 | 60.00 | 25671.83 | 48.04 | 20554.58 | 20554.58 | AADHARSHILA CONSTRUCTIONS CO
31.00 | Stone Masonry : Walling of squared rubble, uncoursed, well bonded, bedded and solidly hearted, built in cement mortar 1:6 | 96.00 | Cum | 10.00 | 5400.00 | 518400.00 | 4000.00 | 384000.00 | 384000.00 | AADHARSHILA CONSTRUCTIONS CO
32.00 | Brickwork : Brickwork with subclass ‘B’ bricks, straight or curved on plan to any radius built in cement mortar 1:6 | 120.00 | Cum | 10.00 | 6000.00 | 720000.00 | 6700.00 | 804000.00 | 720000.00 | P LAVAKUSHA REDDY CONTRACTORS
33.00 | Plastering : Rendering 10 mm thick cement plaster 1:6 on fair faces of brickwork or concrete surfaces. | 1350.00 | Sqm | 10.00 | 250.00 | 337500.00 | 250.00 | 337500.00 | 337500.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
34.00 | Supply of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers | 4.00 | Each | 10.00 | 550.00 | 2200.00 | 800.00 | 3200.00 | 2200.00 | P LAVAKUSHA REDDY CONTRACTORS
35.00 | Self-closing taps, cast copper alloy, chro-mium plated, screwed for iron pipe and fixed | 4.00 | Each | 10.00 | 950.00 | 3800.00 | 1200.00 | 4800.00 | 3800.00 | P LAVAKUSHA REDDY CONTRACTORS
36.00 | PVC (SWR) pipes 75 mm single socketed, in any length with rubber ring joints, laid in trenches or in floors | 20.50 | rm | 100.00 | 230.00 | 4715.00 | 300.00 | 6150.00 | 4715.00 | P LAVAKUSHA REDDY CONTRACTORS
37.00 | 32 mm Waste fittings, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed | 6.00 | Each | 100.00 | 150.00 | 900.00 | 1200.00 | 7200.00 | 900.00 | P LAVAKUSHA REDDY CONTRACTORS
38.00 | PVC (SWR) floor trap 75 mm, plain with grating including jointing with solvent cement | 8.00 | Each | 10.00 | 220.00 | 1760.00 | 300.00 | 2400.00 | 1760.00 | P LAVAKUSHA REDDY CONTRACTORS
39.00 | S&F in repairs vitreous china urinal full stall type white excluding flushing cistern, flush pipe and waste pipe. | 2.00 | Each | 10.00 | 3600.00 | 7200.00 | 3800.00 | 7600.00 | 7200.00 | P LAVAKUSHA REDDY CONTRACTORS
40.00 | S&F in repairs vitreous china wash basin , white, flat back, size 630x450 mm excluding taps, waste chain and plug but including brackets and pedestal. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 3200.00 | 12800.00 | 12000.00 | P LAVAKUSHA REDDY CONTRACTORS
41.00 | S& F in repairs Wash down water closet (Pedestal pattern), with Pedestal pan and trap, including connection to drain (or outgoing pipe) and to flushing pipe, antisyphonage pipe, Seat and cover for pedestal pan. Flush pipes to pedestal pan, including all joints complete | 2.00 | Each | 10.00 | 2800.00 | 5600.00 | 3000.00 | 6000.00 | 5600.00 | P LAVAKUSHA REDDY CONTRACTORS
42.00 | S&F in repairs vitreous China squatting pan, ‘Orissa’ pattern, size 580 x 440 mm white, with integral foot rests (excluding flushing cistern and flush pipe) including connection to trap, and to flushing pipe, anti-syphonage pipe, etc. and including trap set in and including con crete complete including making good to floor | 2.00 | Each | 10.00 | 3300.00 | 6600.00 | 3350.00 | 6700.00 | 6600.00 | P LAVAKUSHA REDDY CONTRACTORS
43.00 | S&F PVC (SWR) pipes 110 mm dia single socketed in any length with rubber ring joints fixed to walls | 21.00 | Rm | 10.00 | 470.00 | 9870.00 | 550.00 | 11550.00 | 9870.00 | P LAVAKUSHA REDDY CONTRACTORS
44.00 | S&F PVC (SWR) bends of 110 mm bore | 4.00 | Each | 10.00 | 125.00 | 500.00 | 200.00 | 800.00 | 500.00 | P LAVAKUSHA REDDY CONTRACTORS
45.00 | S&F PVC (SWR) junction single, (Single T) equal or unequal 110 mm bore | 4.00 | Each | 10.00 | 500.00 | 2000.00 | 600.00 | 2400.00 | 2000.00 | P LAVAKUSHA REDDY CONTRACTORS
46.00 | Stop valves 15mm, cast copper alloy, chromium plated, fancy type, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed | 4.00 | Each | 10.00 | 680.00 | 2720.00 | 675.00 | 2700.00 | 2700.00 | AADHARSHILA CONSTRUCTIONS CO
47.00 | Rotational moulded polyethylene water storage tanks 1000 ltr capacity (cylindrical vertical with closed top) hoisted and fixed in position including all connections all as specified | 2.00 | Each | 10.00 | 8100.00 | 16200.00 | 10000.00 | 20000.00 | 16200.00 | P LAVAKUSHA REDDY CONTRACTORS
48.00 | Tubes, 'medium grade' galvanised, 25 mm with all fitting and fixed complete to walls and ceilings or laid on floors | 80.00 | RM | 100.00 | 195.00 | 15600.00 | 250.00 | 20000.00 | 15600.00 | P LAVAKUSHA REDDY CONTRACTORS
49.00 | Tubes, 'medium grade' galvanised, 15 mm with all fitting and fixed complete to walls and ceilings or laid on floors | 20.00 | RM | 10.00 | 140.00 | 2800.00 | 170.00 | 3400.00 | 2800.00 | P LAVAKUSHA REDDY CONTRACTORS
50.00 | S&F PVC valveless, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets and connections to pipes and fixing of chain and pull, or lever, if any | 4.00 | Each | 10.00 | 940.00 | 3760.00 | 1400.00 | 5600.00 | 3760.00 | P LAVAKUSHA REDDY CONTRACTORS
51.00 | Push tap 15mm any colour high pressure of PTMT screwed for iron pipe and fixed, (Minimum weight 15mm-47gms/ 20mm- 75gms) | 2.00 | Each | 10.00 | 130.00 | 260.00 | 150.00 | 300.00 | 260.00 | P LAVAKUSHA REDDY CONTRACTORS
52.00 | Point wiring: Supply and fixing /Drawing of cables in PVC conduit of 1"or 3/4" Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of FR PVC copper conductor, Each point should have seperate phase,neutral and earth wire. Make: Finolex/Havells/polycab/L&T in PVC conduit,includes all accessories like bends,tees,screws,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls,fixing of boards and grouted into the wall,earth wire etc and testing as specified. Wiring on metal trusses to be done with proper metal clamps(cable ties should not be used). All connections to be given by copper Pin/eye type lugs including for earth connections.Complete all as specified and directed. | 181.00 | Each | 10.00 | 980.00 | 177380.00 | 1050.00 | 190050.00 | 177380.00 | P LAVAKUSHA REDDY CONTRACTORS
53.00 | Point wiring: Supply and fixing /Drawing of cables in PVC conduit of 1"or 3/4 " Dia , for fixing one 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC.Each point should have seperate phase,neutral and earth wire. Make:Finolex/Havells/Polycab/L&T ,including all accessories. Complete all as specified and directed. | 36.00 | Each | 10.00 | 280.00 | 10080.00 | 298.00 | 10728.00 | 10080.00 | P LAVAKUSHA REDDY CONTRACTORS
54.00 | Point wiring: Supply and fixing /Drawing of cables in PVC conduit of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC.Each point should have seperate phase,neutral and earth wire. Seperate conduit should be used for power conduit wiring. Make: Finolex/Havells/Polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. Wiring on metal trusses to be done with proper metal clamps(cable ties should not be used). All connections to be given by copper Pin/ eye type lugs including for earth connections.Complete all as specified and directed. | 27.00 | Each | 10.00 | 1900.00 | 51300.00 | 2100.00 | 56700.00 | 51300.00 | P LAVAKUSHA REDDY CONTRACTORS
55.00 | Ceiling Rose: Supply and fixing of ceiling rose, PVC/Polycorbonate, 3 terminal Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 181.00 | Each | 10.00 | 60.00 | 10860.00 | 60.00 | 10860.00 | 10860.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
56.00 | 6A Switch Modular, 1 way: Supply and Fixing of modular switch 1 way, 6 amps, 1 module, Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 102.00 | Each | 10.00 | 200.00 | 20400.00 | 247.00 | 25194.00 | 20400.00 | P LAVAKUSHA REDDY CONTRACTORS
57.00 | 6A Socket Modular: Supply and Fixing of modular socket outlet 6 amps ,2/3 pin combined, 2 module. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 36.00 | Each | 10.00 | 300.00 | 10800.00 | 307.00 | 11052.00 | 10800.00 | P LAVAKUSHA REDDY CONTRACTORS
58.00 | 16A Switch Modular: Supply and Fixing of modular switch, one way 16 amps, one module. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 142.00 | Each | 10.00 | 340.00 | 48280.00 | 310.00 | 44020.00 | 44020.00 | AADHARSHILA CONSTRUCTIONS CO
59.00 | 16A Socket Modular: Supply and Fixing of modular socket outlet 16 amps,3 pin, combined 2 module. Make: Legrand/Schneider/Havells of ISI quality. Complete all as specified and directed. | 27.00 | Each | 10.00 | 500.00 | 13500.00 | 475.00 | 12825.00 | 12825.00 | AADHARSHILA CONSTRUCTIONS CO
60.00 | Covering Plates with frame: Supply and Fixing of modular white colour covering plates with frame of 8 module. Make: Legrand/Schneider/Havells. Complete all as specified and directed. | 12.00 | Each | 100.00 | 370.00 | 4440.00 | 342.00 | 4104.00 | 4104.00 | AADHARSHILA CONSTRUCTIONS CO
61.00 | Supply and Fixing of LED batten tube light fitting of 20 wattage, including connections. Complete all as specified and directed. | 33.00 | Each | 100.00 | 1200.00 | 39600.00 | 1300.00 | 42900.00 | 39600.00 | P LAVAKUSHA REDDY CONTRACTORS
62.00 | Supply and Fixing of GI pipe 32 mm dia medium grade, on side walls of building suitable for fixing street light fitting including bending the pipe to the required shape, with required welding, Painting the flat iron with primer and finish paint. Complete all as specified and directed. | 60.00 | RM | 10.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 15000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
63.00 | Supply and Fixing of Sheet Metal enclosures for DB(MCB DB), single pole and neutral 8 way with 200 Amps rated bus bar, 240V, Double Door make: Schneider/Legrand/Havells/L&T. Complete all as specified and directed. | 9.00 | Each | 10.00 | 1900.00 | 17100.00 | 1800.00 | 16200.00 | 16200.00 | AADHARSHILA CONSTRUCTIONS CO
64.00 | Supply and fixing of MCB single pole and neutral, 240V, 32 amp, 10KA, make: Schneider/Legrand/Havells/L&T of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections. Complete all as specified and directed. | 9.00 | Each | 10.00 | 850.00 | 7650.00 | 800.00 | 7200.00 | 7200.00 | AADHARSHILA CONSTRUCTIONS CO
65.00 | Supply and Fixing of MCB single pole, 16 amp, B curve, 240 V, 10KA, make: Schneider/Legrand/Havells/L&T of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections. Complete all as specified and directed. | 54.00 | Each | 10.00 | 280.00 | 15120.00 | 280.00 | 15120.00 | 15120.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
66.00 | SUB MAIN WIRING: Supply and Fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x10.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC Conduit. Wiring on metal trusses to be done with proper metal clamps(cable ties should not be used). Make: Finolex/Havells/polycab/L&T. Complete all as specified and directed. | 280.00 | RM | 10.00 | 350.00 | 98000.00 | 330.00 | 92400.00 | 92400.00 | AADHARSHILA CONSTRUCTIONS CO
67.00 | Supply and Fixing of modular fan step regulator 120W, 2 module Make: Havells/Schneide/Legrand/Anchor. Complete all as specified and directed. | 9.00 | Each | 10.00 | 1000.00 | 9000.00 | 1000.00 | 9000.00 | 9000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
68.00 | Supply and Fixing of Exhaust fan 300mm with blades and frame, louvers and connecting up including provision of cable from ceiling rose/connector to fan with all necessary civil works. Make: Havells/Crompton/Bajaj/Usha. Complete all as specified and directed. | 18.00 | Each | 10.00 | 3500.00 | 63000.00 | 3400.00 | 61200.00 | 61200.00 | AADHARSHILA CONSTRUCTIONS CO
69.00 | Earthing: Material and Labour for Earthing complete with galvanised steel earth plate electrode 60cmx60cmx6.3mm thick burried directly in ground (earth pit not less than 2.25 M deep below ground level) with top edges of plate not less than 1.5 M below normal ground level, connected to 25mmx4 mm GI strip as earthing lead by means of bolts, nuts, check nuts and washers of GI or steel connected to earthing test point. Adequate quantity of charcoal dust and common salt. all as specified including testing on completion. Complete all as specified and directed. | 14.00 | Each | 10.00 | 6000.00 | 84000.00 | 9000.00 | 126000.00 | 84000.00 | P LAVAKUSHA REDDY CONTRACTORS
70.00 | Earth continuity conductor: Material and Labour for Main earthing lead fixing to wall on batten or recess or chases or buried in around or drawn in conduit pipe or fixing to poles or any other indicating situation for loop earthing etc as required 25mmx4mm GI strip. Complete all as specified and directed. | 140.00 | R.M | 10.00 | 170.00 | 23800.00 | 225.00 | 31500.00 | 23800.00 | P LAVAKUSHA REDDY CONTRACTORS
71.00 | Galvanised Steel Tube: Material and labour for galvanised steel tube medium grade 40 mm bore. with screwed socket joints, together with all tube fillings (such as bends, elbows, tees, short pieces, connectors, backnuts, diminishing pieces, caps, plugs and unions, etc.) and fixing complete with clips, wall hooks, wooden plugs, or laying in trenches, etc., also for cutting, screwing and waste and for making forged bends on piping as required. Connectors shall be inserted, where required or directed. The rates also include cutting through walls, floors, etc. and their making good. complete all as specified and directed. | 21.00 | R.M | 10.00 | 380.00 | 7980.00 | 450.00 | 9450.00 | 7980.00 | P LAVAKUSHA REDDY CONTRACTORS
72.00 | Galvanised Steel Tube: Material and labour for galvanised steel tube medium grade 20 mm bore. with screwed socket joints, together with all tube fillings (such as bends, elbows, tees, short pieces, connectors, backnuts, diminishing pieces, caps, plugs and unions, etc.) and fixing complete with clips, wall hooks, wooden plugs, or laying in trenches, etc., also for cutting, screwing and waste and for making forged bends on piping as required. Connectors shall be inserted, where required or directed. The rates also include cutting through walls, floors, etc. and their making good. complete all as specified and directed. | 21.00 | R.M | 100.00 | 150.00 | 3150.00 | 180.00 | 3780.00 | 3150.00 | P LAVAKUSHA REDDY CONTRACTORS
73.00 | Supply and Fixing TMT bars, 10mm dia and over, cut to desired length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips. Complete all as specified and directed. | 7.00 | KG | 10.00 | 80.00 | 560.00 | 100.00 | 700.00 | 560.00 | P LAVAKUSHA REDDY CONTRACTORS
74.00 | Precast cement concrete: B1 1:2:4 (20mm graded aggregate ) in covers slabs set in cement mortar 1:6 for earth pits with plain faces size (50x50x5cm). Complete all as specified and directed. | .30 | CU.M | 10.00 | 10000.00 | 3000.00 | 11000.00 | 3300.00 | 3000.00 | P LAVAKUSHA REDDY CONTRACTORS
75.00 | Excavation: Excavating in trenches in hard/dense soil not exceeding 1.5 metre wide and not exceeding 1.5 metre depth over areas in Hard/Dense soil getting out complete all as specified and directed. Removal of trees and shrubs along the excavation area are in the scope of contractor. Complete all as specified and directed. | 700.00 | CU.M | 10.00 | 500.00 | 350000.00 | 380.00 | 266000.00 | 266000.00 | AADHARSHILA CONSTRUCTIONS CO
76.00 | Returning, Filling: Returning, filling in, in hard/dense soil including speading, levelling, watering and well ramming in layers not exc 25 cm. Complete all as specified and directed. | 700.00 | CU.M | 10.00 | 120.00 | 84000.00 | 130.00 | 91000.00 | 84000.00 | P LAVAKUSHA REDDY CONTRACTORS
77.00 | Supply and fixing BLDC(Brushless direct current motor) ceiling fans, 230 V, 1200 mm sweep, White color. Complete with blades, Down rods, Electronic regulator and accessories. Min air delivery 210 CFM with service value 6.00 BEE & Five star rated. Wattage should not exceed 32 Watts. Speed regulation should be smooth and should change to corresponding level wrt change in each setting of regulator knob . Warranty period- Minimum 5 Years. Make:Orient/ Havells/ Crompton/ Usha. Complete all as specified and directed. | 9.00 | Each | 10.00 | 2600.00 | 23400.00 | 2200.00 | 19800.00 | 19800.00 | AADHARSHILA CONSTRUCTIONS CO
78.00 | Supply and laying PVC insulated and PVC Sheathed, armoured, heavy duty electric underground cable with aluminium conductor, 1100 volts grade, cross-sectional area 3 1/2 X 70 sq. mm. Type AYFY,Complete all as specified and directed. Make: Finolex/ Havells/ Polycab/ Gloster | 1000.00 | R.M | 10.00 | 380.00 | 380000.00 | 400.00 | 400000.00 | 380000.00 | P LAVAKUSHA REDDY CONTRACTORS
79.00 | Supply of river sand low grade aggregate. Complete all as specified and directed. | 200.00 | CU.M | 10.00 | 1300.00 | 260000.00 | 1200.00 | 240000.00 | 240000.00 | AADHARSHILA CONSTRUCTIONS CO
80.00 | Spreading and levelling of sand in layers not exc. 25 cm thick. Complete all as specified and directed. | 200.00 | CU.M | 10.00 | 50.00 | 10000.00 | 100.00 | 20000.00 | 10000.00 | P LAVAKUSHA REDDY CONTRACTORS
81.00 | Modular Bricks: Supply and Fixing Brick tiles only with subclass ‘B’ bricks, straight or curved on plan to any radius in half brick thick walls. Complete all as specified and directed. | 700.00 | Sq.M | 10.00 | 375.00 | 262500.00 | 350.00 | 245000.00 | 245000.00 | AADHARSHILA CONSTRUCTIONS CO
82.00 | Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Cool white. Make: Crompton/Havells/Bajaj/Surya. | 30.00 | Each | 10.00 | 2900.00 | 87000.00 | 1700.00 | 51000.00 | 51000.00 | AADHARSHILA CONSTRUCTIONS CO
83.00 | Supply and fixing LED flood light 100 watt 230 V AC, with thermal management in multiple optics and equipped with IP66 protection, with impact and corrosion resistant complete with driver and lamp. Cool white. Make: Crompton/Havells/Bajaj/Surya. | 12.00 | Each | 100.00 | 8000.00 | 96000.00 | 4660.00 | 55920.00 | 55920.00 | AADHARSHILA CONSTRUCTIONS CO
84.00 | Supply and Fixing of Steel tubular swaged poles complete with cast iron base plate, finial taper plug, bolts, nuts & screws as specified type 410 SP-44 (10 metres long) | 10.00 | Each | 100.00 | 13000.00 | 130000.00 | 17500.00 | 175000.00 | 130000.00 | P LAVAKUSHA REDDY CONTRACTORS
85.00 | Cross arms, bracings, supports, clamps and back plates fabricated from structural steel sections including nuts, bolts, washers, welding, bending cold or hot, drilling holes for bolts, in any shape or size as indicated or directed and inclusive of one primer coat, one under coat and one finishing coat of paint | 1.00 | Quintal | 10.00 | 11500.00 | 11500.00 | 12000.00 | 12000.00 | 11500.00 | P LAVAKUSHA REDDY CONTRACTORS
86.00 | Supply and laying PVC insulated and PVC Sheathed, armoured, heavy duty electric underground cable with aluminium conductor, 1100 volts grade, cross-sectional area 4 X 25 sq. mm.Type AYFY, Complete all as specified and directed.Make: Finolex/ Havells/ Polycab/ Gloster | 1000.00 | R.M | 10.00 | 300.00 | 300000.00 | 230.00 | 230000.00 | 230000.00 | AADHARSHILA CONSTRUCTIONS CO
87.00 | Supply and fixing of outdoor floor mounting panel, IP 65/66 weather proof, 14 SWG CRCA steel sheet with, siemens grey paint, with 250 A, Aluminium insulated busbar. All cable terminations to be done with lugs neatly. Total bill of quantity to be supplied and installed in the panel are (1). 250 A, 4P,MCCB's, 35 KA breaking current, Adjustable type - 01 No's (2). 63 A, 3P,MCCB's - 06 No's (3).Digital KWH meter - 1 No's (4).Digital voltmeter(0-500V) with selector switches - 1 No's (5).Digital ammeter(0-250A) with selector switches - 1 No's (6).R,Y,B phase indicators lamps - 1 set (7).ON/OFF Indication lamps for each MCCB – 07 sets (8). Necessary CT's as required. Suitable foundation to be made. Make:(1). Power contactor, Voltmeter, Ammeter, KWH Meter, MCCB, -Schneider/ Legrand/ Havells/ L&T/ Siemens. Complete all as specified and directed. | 6.00 | Set | 10.00 | 215000.00 | 1290000.00 | 210000.00 | 1260000.00 | 1260000.00 | AADHARSHILA CONSTRUCTIONS CO
88.00 | MCCB : Supply and Fixing of moulded case circuit breaker 4 pole of 160Amps, 415V, breaking capacity 36 KA, adjustable type, with proper termination make: Schneider/Legrand/Havells/L&T. Complete all as specified and directed. | 3.00 | Each | 10.00 | 9900.00 | 29700.00 | 9400.00 | 28200.00 | 28200.00 | AADHARSHILA CONSTRUCTIONS CO
89.00 | Supply and fixing of MCB single pole, 63 amp, B curve, 240 V, 10KA, make: Schneider/Legrand/Havells/L&T of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections. Complete all as specified and directed. | 9.00 | Each | 10.00 | 400.00 | 3600.00 | 400.00 | 3600.00 | 3600.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
90.00 | MCCB D.B : Vertical TPN distribution board 6 way D.B, double door,415V, with 160 Amps copper bus bar, provision to accommodate 160 Amps MCCB as incomer and SP/TP MCB's as outgoings including grouting into the wall neatly and terminate all cables neatly with blanking plates, 3 1/2 X 70 cable and other terminations with necessary Al/Cu lugs, and other accessories. Make: Schneider/Legrand/Havells/L&T. Complete all as specified and directed. Note:(1).4P 160 A MCCB is mentioned at Sl.No 88 (2). SP MCB's are mentioned at Sl.No 89 | 3.00 | Each | 10.00 | 13000.00 | 39000.00 | 13000.00 | 39000.00 | 39000.00 | P LAVAKUSHA REDDY CONTRACTORS, AADHARSHILA CONSTRUCTIONS CO
91.00 | Supply and Fixing of Exhaust fan 230mm with blades and frame, louvers and connecting up including provision of cable from ceiling rose/connector to fan.with all necessary civil works. Make: Havells/ Crompton/ Bajaj/ Usha. Complete all as specified and directed. | 6.00 | Each | 10.00 | 1800.00 | 10800.00 | 1710.00 | 10260.00 | 10260.00 | AADHARSHILA CONSTRUCTIONS CO
92.00 | Supply and Fixing of modular metal flush box, 8 module for mounting switches and sockets. cable terminations to be done neatly with lugs, grouted into the wall. make: Legrand/Schneider/Havells. Complete all as specified and directed. | 12.00 | Each | 10.00 | 300.00 | 3600.00 | 285.00 | 3420.00 | 3420.00 | AADHARSHILA CONSTRUCTIONS CO
93.00 | Supply and Fixing of modular metal flush box, 12 module for mounting switches and sockets. cable terminations to be done neatly with lugs, grouted into the wall. make: Legrand/Schneider/Havells. Complete all as specified and directed. | 30.00 | Each | 10.00 | 350.00 | 10500.00 | 330.00 | 9900.00 | 9900.00 | AADHARSHILA CONSTRUCTIONS CO
94.00 | Supply and Fixing of modular white colour covering plates with frame of 12 module for mounting switches and sockets. make: Legrand/Schneider/Havells. Complete all as specified and directed. | 30.00 | Each | 10.00 | 500.00 | 15000.00 | 475.00 | 14250.00 | 14250.00 | AADHARSHILA CONSTRUCTIONS CO
95.00 | Supply and Fixing of Industrial wall mounting fan 600 mm oscillation type, tilt adjust, 240 V with speed regulation. To be welded on metal Pillar/Trusses/ Channels including all accesories like brackets, nutbolts etc for complete installation.Complete all as specified and directed. Make: Crompton/Usha/ Almonard | 18.00 | Each | 10.00 | 9000.00 | 162000.00 | 8750.00 | 157500.00 | 157500.00 | AADHARSHILA CONSTRUCTIONS CO
96.00 | Supply and Fixing of Indoor sports ground light, 150W, with anti glare diffuser glass, CCT- 5000-5500K, CRI>80, Beam angle > 120 degree, Luminous efficiency > 120 Lms/watt, 230V, 1 Phase, with driver surge protection 5 KV, with external surge protection 10KV, GI Metal body housing of minimum 0.8mm with powder coating, Dimensions 4(L) x 1(W) feet, Housing shape rectangle, with necessary tiltable clamps and screws. Make: Lightronix/Styben/Hind Complete all as specified and directed. | 52.00 | Each | 10.00 | 7000.00 | 364000.00 | 7500.00 | 390000.00 | 364000.00 | P LAVAKUSHA REDDY CONTRACTORS
97.00 | Supply, Erection, Installation and commissioning of High Mast GI Pole of height 16 m with winch, power tool, SS rope, foundation accessories, mounting accessories etc as per the technical specifications and scope of work enclosed at Annexure ‘A’ | 4.00 | Set | 10.00 | 340000.00 | 1360000.00 | 390000.00 | 1560000.00 | 1360000.00 | P LAVAKUSHA REDDY CONTRACTORS
98.00 | Supply and Fixing of high power LED flood lights 250 Watt suitable for stadium lighting purpose. (i). CCT 5000-5500 K (ii). Beam angle 60-90 degrees (iii). Overvoltage and short circuit protection (iv). Optical lens: Polycarbonate high performance type (iv). Warranty – Minimum 5 years (v). Non-corrosive Die cast Al body with angle adjustment clamps with suitable holes to fix at the site (vi). Suitable number of SS nut bolts for fixing purpose. (vii).IP66 protection (viii).Make: Philips/Crompton/Wipro. | 64.00 | Each | 10.00 | 20000.00 | 1280000.00 | 15500.00 | 992000.00 | 992000.00 | AADHARSHILA CONSTRUCTIONS CO
99.00 | Supply and Fixing of high power LED flood lights 200 Watt (i). CCT 5000-5500 K (ii). IP 66 Protection (iii). Overvoltage and short circuit protection (iv). Optical lens: Polycarbonate high performance type (iv). Warranty – Minimum 5 years (v).Non-corrosive Die cast Al body with angle adjustment clamps with suitable holes to fix at the site (vi). Suitable number of SS nut bolts for fixing purpose. (vii).Make: Philips/Crompton/Wipro. | 20.00 | Each | 10.00 | 15000.00 | 300000.00 | 12000.00 | 240000.00 | 240000.00 | AADHARSHILA CONSTRUCTIONS CO
| Total in Figures |  |  |  |  | 20817096.83 |  | 20839145.58
Lowest Amount Quoted BY: P LAVAKUSHA REDDY CONTRACTORS(20817096.83)

## BOQ Summary
BOQ Summary Details Tender Title: Creation and Development of Sports Infrastructure in OFMK estate Tender ID: 2024_AVNL_202911_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P LAVAKUSHA REDDY CONTRACTORS (BID ID -746353) | 20817096.83 | L1
| 2 | AADHARSHILA CONSTRUCTIONS CO (BID ID -746874) | 20839145.58 | L2