## BoQ1
Government eProcurement System Created By: AKSHAYA KUMAR NAYAK Created Date/Time: 18-Oct-2024 10:14 AM Tender Title: Construction of Security reception bldg and Truck parking Bay infront of security main gate at OFMK Tender ID: 2024_AVNL_203460_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Construction of 'Security reception bldg.' and 'Truck parking Bay ' infront of securitry main gate at OFMK.
Contract No: 76026/ TE-14/ OFMK/EOC/ SO Rec. Bldg./ 2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | P LAVAKUSHA REDDY CONTRACTORS (GSTN-NA) BID ID -735862 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -734308 |  | SATYA SAI PROJECTS (GSTN-NA) BID ID -735945
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of CC : Demolition of unreinforced cement concrete of any description and in any position not otherwise specifically provided for. Complete all as specified and directed by EIC | 5.00 | Cum | 100.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 1600.00 | 8000.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA
2.00 | Demolition of RCC : Demolition of reinforced cement concrete in ground floors and pavings exceeding 15cm thcikness above ground level, complete all as specified and directed by EIC | 5.00 | Cum | 100.00 | 1650.00 | 8250.00 | 1300.00 | 6500.00 | 1700.00 | 8500.00 | 6500.00 | SATYANARAYANA RAJU VEGESNA
3.00 | DEMOLITION OF BRICK WORK : Demolition of brick work or stone /boulder masonry built in cement mortal including all quoins, arches, pillars, etc. complete all as specified and directed by EIC | 5.00 | Cum | 10.00 | 500.00 | 2500.00 | 450.00 | 2250.00 | 520.00 | 2600.00 | 2250.00 | SATYANARAYANA RAJU VEGESNA
4.00 | Site Clearance | 3994.57 | Sqm | 10.00 | 15.00 | 59918.55 | 10.00 | 39945.70 | 18.00 | 71902.26 | 39945.70 | SATYANARAYANA RAJU VEGESNA
5.00 | Excavation : Earth work in excavation in any type of soils by mechanical means (Hydraulic excavator) means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5m, as directed by Engineer-in-charge | 1800.00 | Cum | 10.00 | 150.00 | 270000.00 | 125.00 | 225000.00 | 170.00 | 306000.00 | 225000.00 | SATYANARAYANA RAJU VEGESNA
6.00 | EXCAVATION : Earth work in excavation by mechanical means (Hydraulic excavator)/ in foundation trenches or drains (not exc. 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m . Complete as directed by Engineer-in-charge | 250.00 | Cum | 100.00 | 175.00 | 43750.00 | 175.00 | 43750.00 | 190.00 | 47500.00 | 43750.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
7.00 | EXCAVATION: Excavation in trenches in hard rock not exceeding 1.5m width and 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 25.00 | Cum | 100.00 | 2200.00 | 55000.00 | 3000.00 | 75000.00 | 2250.00 | 56250.00 | 55000.00 | P LAVAKUSHA REDDY CONTRACTORS
8.00 | EXCAVATION: Excavation in trenches in in hard/dense soil not exceeding 1.5m width and 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 25.00 | Cum | 10.00 | 590.00 | 14750.00 | 500.00 | 12500.00 | 610.00 | 15250.00 | 12500.00 | SATYANARAYANA RAJU VEGESNA
9.00 | FELLING OF TREE: Felling of tree exc.30 cm and not exc.100 cm girth including cutting of trunk and branches and stacking of serviceable material and disposal of unserviceable material to a distance n exc. 50m and clearing site | 10.00 | Each | 10.00 | 1200.00 | 12000.00 | 1500.00 | 15000.00 | 1250.00 | 12500.00 | 12000.00 | P LAVAKUSHA REDDY CONTRACTORS
10.00 | GRUBBING UP TREE TRUNK : Grubbing up tree trunk of girth exceeding 100 mm and not exceeding 150 mm, including cutting of trunk portion protruding over ground, digging out roots, filling holes and levelling off ground, stacking of serviceable materials and removing of unserviceable materials to a distance n. exc. 50 m and clearing site. | 10.00 | Each | 10.00 | 2500.00 | 25000.00 | 4000.00 | 40000.00 | 2600.00 | 26000.00 | 25000.00 | P LAVAKUSHA REDDY CONTRACTORS
11.00 | REMOVING OF EXCAVATED MATERIAL Removal of excavated material to a distance exceeding 500M but not exceding 1.0 KM and deposting where directed, complete all specified and directed. | 700.00 | Cum | 100.00 | 320.00 | 224000.00 | 300.00 | 210000.00 | 340.00 | 238000.00 | 210000.00 | SATYANARAYANA RAJU VEGESNA
12.00 | Rolling : Rolling and consolidating Soling of broken boulders or quarried stone, formation not exc 15cm thickness using Power roller exc. 8 tonne and not exc. 12 tonnne roller. Completer all as specified. | 500.00 | 10 Sqm | 100.00 | 85.00 | 42500.00 | 60.00 | 30000.00 | 91.00 | 45500.00 | 30000.00 | SATYANARAYANA RAJU VEGESNA
13.00 | MOORUM : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed.. | 400.00 | Cum | 10.00 | 950.00 | 380000.00 | 1500.00 | 600000.00 | 980.00 | 392000.00 | 380000.00 | P LAVAKUSHA REDDY CONTRACTORS
14.00 | Hardcore of gauge n exc. 63 mm, using broken stone or boulders deposited, spread and levelled in layers n exc. 15 cm thick, watered and rammed to a true surface. | 300.00 | Cum | 10.00 | 1750.00 | 525000.00 | 2500.00 | 750000.00 | 1780.00 | 534000.00 | 525000.00 | P LAVAKUSHA REDDY CONTRACTORS
15.00 | STONE MASONRY : Walling of squared rubble, regular coursed, well bonded, bedded and solidly hearted, built in cement mortar 1:6. | 90.00 | Cum | 10.00 | 5650.00 | 508500.00 | 7000.00 | 630000.00 | 5720.00 | 514800.00 | 508500.00 | P LAVAKUSHA REDDY CONTRACTORS
16.00 | Damp proof course to horizontal or vertical surfaces In cement concrete 1:2:4, type B-0, 40 mm thick including necessary formwork. | 100.00 | Sqm | 10.00 | 260.00 | 26000.00 | 250.00 | 25000.00 | 275.00 | 27500.00 | 25000.00 | SATYANARAYANA RAJU VEGESNA
17.00 | PCC : M&L - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete . | 25.00 | CUM | 10.00 | 5000.00 | 125000.00 | 7500.00 | 187500.00 | 5150.00 | 128750.00 | 125000.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | RCC : Reinforced Cement Concrete for footings, plinth beams,bases for columns etc. of type B1, 1:2:4 mix by using 20 mm graded aggregates, complete all as directed and specified. | 60.00 | Cum | 10.00 | 6000.00 | 360000.00 | 8000.00 | 480000.00 | 6150.00 | 369000.00 | 360000.00 | P LAVAKUSHA REDDY CONTRACTORS
19.00 | RCC :M&L - Reinforced Cement Concrete , Type B1, 1:2:4 Mix by using 20mm graded aggregate in slabs supported on coloums, and bems cantilevers, etc complete all as specified and directed | 60.00 | Cum | 10.00 | 6500.00 | 390000.00 | 8000.00 | 480000.00 | 6650.00 | 399000.00 | 390000.00 | P LAVAKUSHA REDDY CONTRACTORS
20.00 | REINFORCEMENT : Mild steel TMT bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips. Make: Tata/ Jindal/ Vizag steel (SAIL) | 18000.00 | KG | 10.00 | 80.00 | 1440000.00 | 85.00 | 1530000.00 | 82.00 | 1476000.00 | 1440000.00 | P LAVAKUSHA REDDY CONTRACTORS
21.00 | FORMWORK : Formwork with fair finished surfaces to sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 1000.00 | SQM | 100.00 | 315.00 | 315000.00 | 250.00 | 250000.00 | 325.00 | 325000.00 | 250000.00 | SATYANARAYANA RAJU VEGESNA
22.00 | BRICKWORK - Brickwork with sub class B bricks in 1:4 cement mortar, straight or curved in plan exc. 6 m mean radius, built in all as specified and directed. | 100.00 | Cum | 10.00 | 5350.00 | 535000.00 | 7500.00 | 750000.00 | 5400.00 | 540000.00 | 535000.00 | P LAVAKUSHA REDDY CONTRACTORS
23.00 | HALF-BRICKWORK : Brickwork with sub class B bricks, built in 1:4 cement mortar, straight or curved in plan to any radius in half brick thick walls, built in all as specified and directed. | 150.00 | SQM | 10.00 | 625.00 | 93750.00 | 600.00 | 90000.00 | 635.00 | 95250.00 | 90000.00 | SATYANARAYANA RAJU VEGESNA
24.00 | PLASTERING :Rendering 10 mm thick cement plaster 1:4 on fair faces of brick work or concrete surfaces on walls including provision of border and creation of raised portions etc. complete all as specified | 1000.00 | SQM | 10.00 | 190.00 | 190000.00 | 250.00 | 250000.00 | 200.00 | 200000.00 | 190000.00 | P LAVAKUSHA REDDY CONTRACTORS
25.00 | PLASTERING : Setting Coat of 5mm thick, trowelled to even and smooth finish with ratio 1:2 on plastering serfaces including all as specified and direced by EIC. | 1000.00 | SQM | 100.00 | 160.00 | 160000.00 | 150.00 | 150000.00 | 175.00 | 175000.00 | 150000.00 | SATYANARAYANA RAJU VEGESNA
26.00 | PLASTERING :Rendering 12 mm thick cement plaster 1:4 on fair faces in ceiling concrete surfaces including provision of border and creation of raised portions etc. complete all as specified | 250.00 | SQM | 100.00 | 220.00 | 55000.00 | 250.00 | 62500.00 | 225.00 | 56250.00 | 55000.00 | P LAVAKUSHA REDDY CONTRACTORS
27.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type D-2, 1:4:8 (40 mm graded aggregate only) | 3800.00 | Sqm | 10.00 | 490.00 | 1862000.00 | 500.00 | 1900000.00 | 495.00 | 1881000.00 | 1862000.00 | P LAVAKUSHA REDDY CONTRACTORS
28.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type B-1, 1:2:4 (20 mm graded aggregate) | 600.00 | Sqm | 10.00 | 590.00 | 354000.00 | 600.00 | 360000.00 | 600.00 | 360000.00 | 354000.00 | P LAVAKUSHA REDDY CONTRACTORS
29.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type B-2, 1:2:4 (40 mm graded aggregate) | 3200.00 | Sqm | 10.00 | 575.00 | 1840000.00 | 600.00 | 1920000.00 | 580.00 | 1856000.00 | 1840000.00 | P LAVAKUSHA REDDY CONTRACTORS
30.00 | Finishing surface of concrete roads pavements, by belting as directed by EIC | 320.00 | 10 Sqm | 100.00 | 90.00 | 28800.00 | 100.00 | 32000.00 | 92.00 | 29440.00 | 28800.00 | P LAVAKUSHA REDDY CONTRACTORS
31.00 | Forming 12mm thick Expansion joints filled with pre-formed bituminous filler and top 30mm primed and sealed with sealing compound, Grade ‘A. complete all as specified and directed. | 225.00 | 10 Rm | 100.00 | 525.00 | 118125.00 | 500.00 | 112500.00 | 535.00 | 120375.00 | 112500.00 | SATYANARAYANA RAJU VEGESNA
32.00 | RCC : Providing precast Cement Concrete solid building blocks of grade B1, 1:2:4 mix or slabs 10cm thick setting in CM (1:4)complete, all as directed and specified | 30.00 | SQM | 10.00 | 1000.00 | 30000.00 | 1050.00 | 31500.00 | 1050.00 | 31500.00 | 30000.00 | P LAVAKUSHA REDDY CONTRACTORS
33.00 | GRANITE SLAB : Supply & Fixingof Granite tiles of any type for kitchen slab, 20 mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixure of pigment to match the shade of granite stone including grinding and polishing types and provision of holes for Cooking Gas pipe line complete all as specified and directed. | 45.00 | Sqm | 10.00 | 2250.00 | 101250.00 | 3000.00 | 135000.00 | 2300.00 | 103500.00 | 101250.00 | P LAVAKUSHA REDDY CONTRACTORS
34.00 | VITRIFIED TILES : Supply and fixing of Dark shade Vitrified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tile not exceeding 0.36 sqm, in floors, skirting etc. set and jointed in neat cement slurry and pointed in white or coloured cement of match, all as specified and directed. Make: Johnson/ Kajaria/ Orient Bell | 325.00 | Sqm | 10.00 | 975.00 | 316875.00 | 1300.00 | 422500.00 | 980.00 | 318500.00 | 316875.00 | P LAVAKUSHA REDDY CONTRACTORS
35.00 | FLOOR TILING :Supply & fixing Coloured non skid ceramic tiles in flooring, 7 to 8 mm thick area of each tile exceeding 0.06 Sqm but not exceeding 0.11 Sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajaria/ Orient Bell | 25.00 | Sqm | 10.00 | 900.00 | 22500.00 | 1200.00 | 30000.00 | 920.00 | 23000.00 | 22500.00 | P LAVAKUSHA REDDY CONTRACTORS
36.00 | SCREED BED: Screed bed or bedding layer of mortor 20 mm thick for laying floor tiles in CM 1:6 including roughening of existing floorsurface complete all as specified. | 425.00 | Sqm | 10.00 | 225.00 | 95625.00 | 200.00 | 85000.00 | 235.00 | 99875.00 | 85000.00 | SATYANARAYANA RAJU VEGESNA
37.00 | WALL TILES : Supply & fixing of Coloured glazed ceramic tiles in vertical surface 350x250x7 mm/ 450x350x7 mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajaria/ Orient Bell. | 100.00 | Sqm | 10.00 | 1050.00 | 105000.00 | 1600.00 | 160000.00 | 1060.00 | 106000.00 | 105000.00 | P LAVAKUSHA REDDY CONTRACTORS
38.00 | FAIR CUTTING OF GROOVES: Fair cutting of grooves not exceeding 10 cm width or girth on exposed surfaces of brickwork or concrete surface for laying water supply lines or electrical lenes of concealed nature complete all as specified. | 125.00 | RM | 10.00 | 70.00 | 8750.00 | 100.00 | 12500.00 | 75.00 | 9375.00 | 8750.00 | P LAVAKUSHA REDDY CONTRACTORS
39.00 | PVC PIPE : Supply and Fixing of 75 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints laid or fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed. Make: Sudhakar/ Nandi/ Supreme. | 30.00 | Rm | 10.00 | 140.00 | 4200.00 | 150.00 | 4500.00 | 145.00 | 4350.00 | 4200.00 | P LAVAKUSHA REDDY CONTRACTORS
40.00 | PVC PIPE : Supply and Fixing of 110 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed. Make: Sudhakar/ Nandi/ Supreme. | 50.00 | Rm | 100.00 | 170.00 | 8500.00 | 250.00 | 12500.00 | 180.00 | 9000.00 | 8500.00 | P LAVAKUSHA REDDY CONTRACTORS
41.00 | CC BEDDING (M&L) : Providig Cement concrete bedding for Drain Pipes of internal dia 100 mm with PCC 1:4:8, type D2 including forming cradles etc. Thickness of PCC bed is 100 mm and width 400 mm complete all as specified. | 200.00 | RM | 100.00 | 240.00 | 48000.00 | 300.00 | 60000.00 | 245.00 | 49000.00 | 48000.00 | P LAVAKUSHA REDDY CONTRACTORS
42.00 | SWG PIPE : Supply & fixing of 100 mm dia Salt Glazed Stoneware drain pipes Grade 'A', including laying in proper slopes, including jointing with cement and jute complete all as specified and directed. | 200.00 | Rm | 10.00 | 130.00 | 26000.00 | 110.00 | 22000.00 | 129.00 | 25800.00 | 22000.00 | SATYANARAYANA RAJU VEGESNA
43.00 | EWC : Supply & Fixing of European Water Closet - Pedestal pan and trap - any clolour including seat and seat cover and connection to drain(or outgoing pipe) and to flushing pipe, antisyphonage pipe, high or low level flushing cistern 10 Ltrs (including suitable brackets), with all necessary PVC connections (450mm D/E Pipe) complete all as directed and specified. Make: Parryware/ Hindware/ Cera of approved quality only acceptable. | 4.00 | Each | 10.00 | 3600.00 | 14400.00 | 4500.00 | 18000.00 | 3650.00 | 14600.00 | 14400.00 | P LAVAKUSHA REDDY CONTRACTORS
44.00 | Wash Basin : S & Fof vitreous china wash basin flat back or angle back type of size 600x480 mm including brackets including cutting for and pinning in ends of brackets, CP stop cocok, CP pillar cook, PTMT bottle trap, PTMT waste coupling, PVC double end pipe 600 mm long etc. Make: Parryware/ Hindware/ Cera of approved quality only acceptable. | 3.00 | Each | 10.00 | 3300.00 | 9900.00 | 4500.00 | 13500.00 | 3400.00 | 10200.00 | 9900.00 | P LAVAKUSHA REDDY CONTRACTORS
45.00 | Urinal bowl : Vitreous China bowl urinal flat back, size of 465 x 355 x 265 mm white (minimum), with grating and union for discharge pipe. Make: Parryware/ Hindware/ Cera of approved quality only acceptable. | 3.00 | Each | 100.00 | 1350.00 | 4050.00 | 2200.00 | 6600.00 | 1400.00 | 4200.00 | 4050.00 | P LAVAKUSHA REDDY CONTRACTORS
46.00 | S & F of G.I. Tubes of Size 40 mm dia, medium grade including all fittings to walls and ceilings or in floors/trenches. | 75.00 | RM | 100.00 | 375.00 | 28125.00 | 350.00 | 26250.00 | 380.00 | 28500.00 | 26250.00 | SATYANARAYANA RAJU VEGESNA
47.00 | S & F of G.I. Tubes of Size 25 mm dia, medium grade including all fittings to walls and ceilings or in floors/trenches. | 25.00 | RM | 10.00 | 170.00 | 4250.00 | 150.00 | 3750.00 | 180.00 | 4500.00 | 3750.00 | SATYANARAYANA RAJU VEGESNA
48.00 | S & F of G.I. Tubes of Size 1/2‘’(15 mm), medium grade including all fittings to walls and ceilings or in floors/trenches. | 25.00 | RM | 10.00 | 110.00 | 2750.00 | 125.00 | 3125.00 | 120.00 | 3000.00 | 2750.00 | P LAVAKUSHA REDDY CONTRACTORS
49.00 | Supply & Fixing Rotational moulded polyethylene water storage tanks (PVC cylindrical vertical with closed top) hoisted and fixed in position 1000 lit capacity. make : Syntex | 2.00 | Each | 10.00 | 8000.00 | 16000.00 | 12000.00 | 24000.00 | 8150.00 | 16300.00 | 16000.00 | P LAVAKUSHA REDDY CONTRACTORS
50.00 | BIB TAPS : Supply & Fixing of 15mm Bib Taps, cast copper alloy with crutch or butterfly handle, screwed down, with fancy type for brass ferrule and fixed. Make: Parryware/ Hindware/ Cera of approved quality only acceptable. | 10.00 | Each | 10.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 360.00 | 3600.00 | 3500.00 | P LAVAKUSHA REDDY CONTRACTORS
51.00 | MIRROR: Supply & Fixing of Mirror of 600mm x 450mm bevelled edge mirror of selected quality glass, mounted of 6mm thick AC building board or commercial plawood and fixed to wooden plugs with chromium plated brass secrew and cup washers. | 6.00 | Each | 10.00 | 500.00 | 3000.00 | 700.00 | 4200.00 | 515.00 | 3090.00 | 3000.00 | P LAVAKUSHA REDDY CONTRACTORS
52.00 | NAHANI TRAPS : Supply & Fixing of CI Nahani traps 100mm with grating including jointing to went pipe with CC 1:2:4 complete all as specified and directed at site. | 10.00 | Each | 10.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 360.00 | 3600.00 | 3500.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
53.00 | GULLY TRAP : M&L for PVC/SWR gully traps, of size 125 mm x 110 mm all as directed and specified. | 3.00 | Each | 10.00 | 250.00 | 750.00 | 250.00 | 750.00 | 265.00 | 795.00 | 750.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
54.00 | GRATING : Supply and fixing of grating doom 100 mm dia. Of PTMT (min. weight 25 gms) | 10.00 | Each | 10.00 | 50.00 | 500.00 | 45.00 | 450.00 | 51.00 | 510.00 | 450.00 | SATYANARAYANA RAJU VEGESNA
55.00 | DOOR FRAME : Wood Work in First Class Hard Wood ( Teak Wood only ) for plain, solid, straight chowakates frames of different sizes wrought, frame rebeted on the solid, chamfered put together with glue pinned at joints, supplied and fixed including all as specified and directed by EIC. | .50 | Cum | 100.00 | 170000.00 | 85000.00 | 190000.00 | 95000.00 | 180000.00 | 90000.00 | 85000.00 | P LAVAKUSHA REDDY CONTRACTORS
56.00 | PANELLED WOOD SHUTTERS : Supply and Fixing plain, framed, panelled shutters of 1st class hardwood (Teak wood only) of thickness 40 mm, for door shutters with panels of timber flat on both sides(feather dged), or of veneered particle board, medium density, supplied and fitted to chowkats.Including designrd frames/carved frames complete all as specified and directed by EIC. | 10.00 | Sqm | 100.00 | 4800.00 | 48000.00 | 5000.00 | 50000.00 | 4900.00 | 49000.00 | 48000.00 | P LAVAKUSHA REDDY CONTRACTORS
57.00 | PVC door frame : S & F of solid PVC Door Frame of size 50mm x47mm made out of 5mm plain colour PVC sheet reinforced with M.S. Square tube, suppling & fixing | 20.00 | Rm | 10.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 415.00 | 8300.00 | 8000.00 | P LAVAKUSHA REDDY CONTRACTORS
58.00 | PVC door shutter : S & F of Factory Made Solid PVC Moulded Door Shutter with wood free EPS, 28 to 30mm thick (stiles), with 2, 4, or 6 raised panel design with 2mm thick Moulded PVC Sheet on the front face & 2mm plain colour PVC sheet on back face, supplying & fixing in frame at site as per specification & drawing. | 10.00 | Sqm | 10.00 | 4500.00 | 45000.00 | 5000.00 | 50000.00 | 4550.00 | 45500.00 | 45000.00 | P LAVAKUSHA REDDY CONTRACTORS
59.00 | ALDROP : Supply and fixing of Mild steel sliding door bolts 200 mm long, plate type, stove enamelled black, with bright bolt not less than 12mm dia with and including a minimum of 6 bolts and nuts, four on bolt plate and two on staple plate and fixed all as directed.screwssuy | 10.00 | Each | 10.00 | 190.00 | 1900.00 | 175.00 | 1750.00 | 192.00 | 1920.00 | 1750.00 | SATYANARAYANA RAJU VEGESNA
60.00 | ALDROP : Supply and fixing of heavy duty brass aldrop of size 30 x 375 mm including fixing owith suitable brass screws etc. coplete all as directed.screwssuy | 6.00 | Each | 100.00 | 1000.00 | 6000.00 | 1050.00 | 6300.00 | 1020.00 | 6120.00 | 6000.00 | P LAVAKUSHA REDDY CONTRACTORS
61.00 | HINGES : Supply and fixing of extruded Al. alloy with GI Mild Steel Hinge Pine anodised Butt Hinges and fixed type B-21 of size 125mm including all as specified and directed . | 20.00 | Each | 100.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 260.00 | 5200.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
62.00 | HINGES : Supply and fixing of extruded brass Butt Hinges type B-11 of size 125mm including fixing with suitable brass screws complete all as specified and directed . | 20.00 | Each | 10.00 | 500.00 | 10000.00 | 250.00 | 5000.00 | 520.00 | 10400.00 | 5000.00 | SATYANARAYANA RAJU VEGESNA
63.00 | TOWER BOLT : Supply and fixing of Aluminium anodised, barrel tower bolts of extruded section of size 125 mm and fixed all as directed. | 10.00 | Each | 10.00 | 60.00 | 600.00 | 70.00 | 700.00 | 65.00 | 650.00 | 600.00 | P LAVAKUSHA REDDY CONTRACTORS
64.00 | TOWER BOLT : Supply and fixing of Bross barrel tower bolts of size 125mm , with cast or sheet barrel and rolled or cast bolts and fixed all as directed. | 10.00 | Each | 10.00 | 175.00 | 1750.00 | 300.00 | 3000.00 | 185.00 | 1850.00 | 1750.00 | P LAVAKUSHA REDDY CONTRACTORS
65.00 | BOW HANDLE: Supply&fixing of brass, decorative heavy duty bow handles cast type polished bright of size 150mm complete all as specified and directed | 10.00 | Each | 10.00 | 225.00 | 2250.00 | 250.00 | 2500.00 | 235.00 | 2350.00 | 2250.00 | P LAVAKUSHA REDDY CONTRACTORS
66.00 | BOW HANDLE: Supply&fixing of brass, decorative heavy duty bow handles cast type polished bright of size 100mm complete all as specified and directed | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 225.00 | 2250.00 | 220.00 | 2200.00 | 2000.00 | P LAVAKUSHA REDDY CONTRACTORS
67.00 | Structural steel work : Supply and erection of framed work as in doors or gates of angle or other section with gusset pla tes, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. steel conforming to Fe.410 W .Gde-E-250 quality B. including application of of one coat of zinc chromate primer paint. | 2000.00 | Kg | 10.00 | 110.00 | 220000.00 | 110.00 | 220000.00 | 115.00 | 230000.00 | 220000.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
68.00 | BITUMEN TACK COAT : Applying evenly a tack coat of industrial bitumen 85/25 at the rate of 1.2 kg per sqm including cleaning surfaces. Complete all as specified and directed by EIC. | 680.00 | Sqm | 10.00 | 80.00 | 54400.00 | 80.00 | 54400.00 | 85.00 | 57800.00 | 54400.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
69.00 | WATER PROOFING TREATMENT : M&L - APP based polymeric membrane of 1M width with minimum 3mm thick reinforced with polyster non wove fabric (wt. not less than 150 gms/sqm) land on primed surface by forced application complete all as specified and directed by EIC. Make : IWL, STP | 340.00 | Sqm | 10.00 | 350.00 | 119000.00 | 290.00 | 98600.00 | 365.00 | 124100.00 | 98600.00 | SATYANARAYANA RAJU VEGESNA
70.00 | ROOF SURFACE PAINTING : Wire brushing and cleaning top surface of tiles, lime terracing or cement concrete, including flashings and junction of parapets, etc., and surface painting. Bitumen primer for use in water proof and damp-proofing treaments.(Minimum 0.50 Ltr for SQM) Complete all as specified and directed by EIC. | 340.00 | Sqm | 100.00 | 45.00 | 15300.00 | 60.00 | 20400.00 | 48.00 | 16320.00 | 15300.00 | P LAVAKUSHA REDDY CONTRACTORS
71.00 | INTERIOR EMULSION: (M&L) Applying Two coats of Interior emulsion on fair faces preparations of new surfaces of walls & ceilings, incliding One Coat of Primer plastered surfaces Make: Asian/ Berger / Nerolac | 790.00 | Sqm | 100.00 | 110.00 | 86900.00 | 100.00 | 79000.00 | 115.00 | 90850.00 | 79000.00 | SATYANARAYANA RAJU VEGESNA
72.00 | Snap grid : Supply and fixing Anodised aluminium snap grid frame work for false ceiling, grid size. 605x605 all as specified. | 275.00 | Sqm | 10.00 | 400.00 | 110000.00 | 600.00 | 165000.00 | 410.00 | 112750.00 | 110000.00 | P LAVAKUSHA REDDY CONTRACTORS
73.00 | Supply and fixing of Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. | 275.00 | Sqm | 10.00 | 90.00 | 24750.00 | 100.00 | 27500.00 | 92.00 | 25300.00 | 24750.00 | P LAVAKUSHA REDDY CONTRACTORS
74.00 | Ceiling board : (M&L) Providing and fixing Gypsum Board 12mm thick in ceiling fixed with screw as per manufacturers instructions | 275.00 | Sqm | 10.00 | 390.00 | 107250.00 | 600.00 | 165000.00 | 400.00 | 110000.00 | 107250.00 | P LAVAKUSHA REDDY CONTRACTORS
75.00 | Paver block : Providing and laying 60mm thick factory made chamfered edge cement concrete paver block of M-35 grade with approved colour, design & pattern as in footparth, parks, lawns, drive ways or light traffic parking etc., of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over and including 50mm thick compacted bed of fine sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. Complete all as specified and directed. | 175.00 | Sqm | 100.00 | 700.00 | 122500.00 | 700.00 | 122500.00 | 720.00 | 126000.00 | 122500.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
76.00 | ENAMEL PAINTING: Rendering synthetic enamel painting on Steel surfaces over one coat of zinc chrome red oxide - surfaces of any description over 10 cm width or girth including preparation - TWO coats Make: Asian / Burger / Nerolac | 100.00 | SQM | 100.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 108.00 | 10800.00 | 10800.00 | SATYA SAI PROJECTS
77.00 | ENAMEL PAINTING: Rendering synthetic enamel painting on Wood surfaces over one coat of pink primer - surfaces of any description over 10 cm width or girth including preparation of new surfacews - TWO coats Make: Asian/ burger / Nerolac | 100.00 | SQM | 10.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 112.00 | 11200.00 | 11000.00 | P LAVAKUSHA REDDY CONTRACTORS
78.00 | External weather proof painting on walls : Material & Labour for applying Two or more coats of 100% Premium acrylic weather proof emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives @ 1.43 litre/ 10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/ 10 sqm over surfaces. all as specified and directed, Brand : Asian apex, Berger weather shield, Nerolac Rain coat. | 700.00 | Sqm | 10.00 | 120.00 | 84000.00 | 130.00 | 91000.00 | 125.00 | 87500.00 | 84000.00 | P LAVAKUSHA REDDY CONTRACTORS
79.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/ polycab/L&T in PVC conduit, includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 50.00 | Per point | 10.00 | 950.00 | 47500.00 | 1100.00 | 55000.00 | 975.00 | 48750.00 | 47500.00 | P LAVAKUSHA REDDY CONTRACTORS
80.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Bell/buzzer point controlled by one push buton on the same board with other switches or independant with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 5.00 | Per point | 10.00 | 950.00 | 4750.00 | 1150.00 | 5750.00 | 975.00 | 4875.00 | 4750.00 | P LAVAKUSHA REDDY CONTRACTORS
81.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T as specified by EIC. | 35.00 | Per point | 10.00 | 260.00 | 9100.00 | 250.00 | 8750.00 | 270.00 | 9450.00 | 8750.00 | SATYANARAYANA RAJU VEGESNA
82.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/ Havells/polycab/L&T in PVC conduit, includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 10.00 | Per point | 10.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 1050.00 | 10500.00 | 10000.00 | P LAVAKUSHA REDDY CONTRACTORS
83.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/ Havells/polycab/L&T in PVC conduit ,includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 15.00 | Per point | 10.00 | 1800.00 | 27000.00 | 2300.00 | 34500.00 | 1850.00 | 27750.00 | 27000.00 | P LAVAKUSHA REDDY CONTRACTORS
84.00 | ceiling rose :Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/ polycab of ISI quality. | 60.00 | Each | 10.00 | 60.00 | 3600.00 | 50.00 | 3000.00 | 65.00 | 3900.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
85.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/ Schneider/ Havells of ISI quality complete all as specifies by the EIC | 90.00 | Each | 10.00 | 240.00 | 21600.00 | 250.00 | 22500.00 | 250.00 | 22500.00 | 21600.00 | P LAVAKUSHA REDDY CONTRACTORS
86.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6 amps modular type make Legrand/ Schneider/ Havells of ISI quality complete all as specified by the EIC | 35.00 | Each | 100.00 | 300.00 | 10500.00 | 300.00 | 10500.00 | 320.00 | 11200.00 | 10500.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
87.00 | Switch Modular : Supply and Fixing of switch modular type of one way 16 amps make Legrand/S chneider/ Havells of ISI quality complete all as specifies by the EIC | 15.00 | Each | 100.00 | 320.00 | 4800.00 | 325.00 | 4875.00 | 330.00 | 4950.00 | 4800.00 | P LAVAKUSHA REDDY CONTRACTORS
88.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 16 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 10.00 | Each | 10.00 | 480.00 | 4800.00 | 500.00 | 5000.00 | 490.00 | 4900.00 | 4800.00 | P LAVAKUSHA REDDY CONTRACTORS
89.00 | LED TUBE LIGHT: Supply and fixing LED lights fitting 1x 20 W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. | 6.00 | Each | 10.00 | 1100.00 | 6600.00 | 1200.00 | 7200.00 | 1150.00 | 6900.00 | 6600.00 | P LAVAKUSHA REDDY CONTRACTORS
90.00 | Exhaust Fan: Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers | 5.00 | Each | 10.00 | 5200.00 | 26000.00 | 6000.00 | 30000.00 | 5300.00 | 26500.00 | 26000.00 | P LAVAKUSHA REDDY CONTRACTORS
91.00 | Celing Fan : Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) | 8.00 | Each | 100.00 | 2600.00 | 20800.00 | 2600.00 | 20800.00 | 2650.00 | 21200.00 | 20800.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
92.00 | Industrial socket plug: Supply and fixing of 240 V, 20 amps, single pole and neutral enclosure with two pin and earth plug and socket complete with one single pole MCB . Make Schneider/Indoasian/Legrand/ABB | 5.00 | Each | 100.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 9000.00 | P LAVAKUSHA REDDY CONTRACTORS, SATYA SAI PROJECTS
93.00 | BUZZER: Buzzer, Ding Dong AC 230 volts, Make:Anchor/Cona/Havells | 5.00 | Each | 10.00 | 400.00 | 2000.00 | 400.00 | 2000.00 | 415.00 | 2075.00 | 2000.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
94.00 | Modular bell push 6A, 1module, make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 5.00 | Each | 10.00 | 300.00 | 1500.00 | 325.00 | 1625.00 | 305.00 | 1525.00 | 1500.00 | P LAVAKUSHA REDDY CONTRACTORS
95.00 | Modular switch 2 way 6A, 1 module, make Legrand/ Schneider/ Havells of ISI quality complete all as specifies by the EIC | 5.00 | Each | 10.00 | 290.00 | 1450.00 | 300.00 | 1500.00 | 295.00 | 1475.00 | 1450.00 | P LAVAKUSHA REDDY CONTRACTORS
96.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 45.00 | Each | 10.00 | 300.00 | 13500.00 | 275.00 | 12375.00 | 320.00 | 14400.00 | 12375.00 | SATYANARAYANA RAJU VEGESNA
97.00 | MCB :Supply and fixing of MCB, 240 V, double pole 40 amp Make legrand/ Schneider/ Indoasian/ Havells of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections | 4.00 | Each | 10.00 | 480.00 | 1920.00 | 450.00 | 1800.00 | 485.00 | 1940.00 | 1800.00 | SATYANARAYANA RAJU VEGESNA
98.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/ Schneider /Indoasian/ Havells of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections | 2.00 | Each | 10.00 | 1150.00 | 2300.00 | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 2300.00 | P LAVAKUSHA REDDY CONTRACTORS
99.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way with 200 A bus bar, 240 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/ Schneider/ Indoasian/ Havells . complete all as specified by EIC. | 6.00 | Each | 10.00 | 1850.00 | 11100.00 | 2000.00 | 12000.00 | 1870.00 | 11220.00 | 11100.00 | P LAVAKUSHA REDDY CONTRACTORS
100.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN, 8 way, 415 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/ Schneider/ Indoasian /Havells. complete all as specified by EIC. | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 3550.00 | 3550.00 | 3500.00 | P LAVAKUSHA REDDY CONTRACTORS
101.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 200 Amps with breaking capacity 36 KA. Make: legrand/Schneider/ Indoasian/ Havells. complete all as specified by EIC. | 1.00 | Each | 100.00 | 12200.00 | 12200.00 | 17500.00 | 17500.00 | 12300.00 | 12300.00 | 12200.00 | P LAVAKUSHA REDDY CONTRACTORS
102.00 | METAL FLUSH BOX : Supply and Fixing of 6 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 10.00 | Each | 100.00 | 275.00 | 2750.00 | 250.00 | 2500.00 | 281.00 | 2810.00 | 2500.00 | SATYANARAYANA RAJU VEGESNA
103.00 | METAL FLUSH BOX : Supply and Fixing of 3 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 50.00 | Each | 10.00 | 175.00 | 8750.00 | 160.00 | 8000.00 | 179.00 | 8950.00 | 8000.00 | SATYANARAYANA RAJU VEGESNA
104.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 8 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 6.00 | Each | 10.00 | 375.00 | 2250.00 | 350.00 | 2100.00 | 377.00 | 2262.00 | 2100.00 | SATYANARAYANA RAJU VEGESNA
105.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 6 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 6.00 | Each | 10.00 | 300.00 | 1800.00 | 300.00 | 1800.00 | 302.00 | 1812.00 | 1800.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
106.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 3 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 50.00 | Each | 100.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 205.00 | 10250.00 | 10000.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
107.00 | Earthing:Earthing complete with Galvanised steel earth plate electrode 60x60 cm X 6.3 mm thick ,buries directly in ground (Earth pit not less than 2.25 meters deep below ground level) with top edge of the plate not lessthan 1.5 meters below ground level,connected to galvanised iron or steel strip 25x4 mm as earthing lead by means of bolts,nuts,check nuts and washerers of GI or steel all as shown in Electrical plate no 3 connected to earth test point as specified or indicated including testing on completion. | 2.00 | Each | 100.00 | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 7150.00 | 14300.00 | 14000.00 | P LAVAKUSHA REDDY CONTRACTORS
108.00 | Earth continuity conductor or main earthing lead fixed to wall on batten or recess chase or buried in ground or drawn in conduit /pipe or fixed to pole or any other indicated situation for loop earthing etc,as required 25x4 mm GI strip | 100.00 | RM | 10.00 | 170.00 | 17000.00 | 150.00 | 15000.00 | 172.00 | 17200.00 | 15000.00 | SATYANARAYANA RAJU VEGESNA
109.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 40 mm dia medium grade complete all as specified and directed | 4.00 | RM | 10.00 | 250.00 | 1000.00 | 250.00 | 1000.00 | 260.00 | 1040.00 | 1000.00 | SATYANARAYANA RAJU VEGESNA, P LAVAKUSHA REDDY CONTRACTORS
110.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 20 mm dia medium grade complete all as specified and directed | 4.00 | RM | 10.00 | 100.00 | 400.00 | 125.00 | 500.00 | 102.00 | 408.00 | 400.00 | P LAVAKUSHA REDDY CONTRACTORS
111.00 | Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure dia. cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. | 12.00 | Each | 10.00 | 2850.00 | 34200.00 | 1900.00 | 22800.00 | 2900.00 | 34800.00 | 22800.00 | SATYANARAYANA RAJU VEGESNA
112.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/ Havells / polycab/ L&T complete all as specified by the EIC | 40.00 | RM | 10.00 | 375.00 | 15000.00 | 450.00 | 18000.00 | 385.00 | 15400.00 | 15000.00 | P LAVAKUSHA REDDY CONTRACTORS
113.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 100.00 | RM | 10.00 | 200.00 | 20000.00 | 350.00 | 35000.00 | 205.00 | 20500.00 | 20000.00 | P LAVAKUSHA REDDY CONTRACTORS
114.00 | Service cable incoming : M & L for PVC insulated, armoured, heavy duty electric cable, four core with aluminium conductor, 1100 volts grade, cross-sectional area150 sq. mm | 200.00 | RM | 10.00 | 700.00 | 140000.00 | 900.00 | 180000.00 | 710.00 | 142000.00 | 140000.00 | P LAVAKUSHA REDDY CONTRACTORS
115.00 | Current poles : Steel tubular swaged poles complete with cast iron base plate, finial taper plug, bolts, nuts & screws as specified type 410 SP-44 (10.0 metres long). Complete all as specified and directed. | 12.00 | Each | 100.00 | 13700.00 | 164400.00 | 12000.00 | 144000.00 | 13800.00 | 165600.00 | 144000.00 | SATYANARAYANA RAJU VEGESNA
116.00 | Cross arms : Cross arms, bracings, supports, clamps and back plates fabricated from structural steel sections including nuts, bolts, washers, welding, bending cold or hot, drilling holes for bolts, in any shape or size as indicated or directed and inclusive of one primer coat, one under coat and one finishing coat of paint. Complete all as specified and directed. | 1.00 | Quintal | 10.00 | 11500.00 | 11500.00 | 12000.00 | 12000.00 | 11600.00 | 11600.00 | 11500.00 | P LAVAKUSHA REDDY CONTRACTORS
117.00 | Service cable for currenet poles: Supply and laying or fixing or passing through pipe, of service cable standard conductor 4 core 1100 volts grade heavy duty cable with PVC 2 core insulated aluminium conductor 16 mm square served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed in service connections. Complete all as specified and directed. | 254.00 | Rm | 10.00 | 210.00 | 53340.00 | 250.00 | 63500.00 | 212.00 | 53848.00 | 53340.00 | P LAVAKUSHA REDDY CONTRACTORS
118.00 | Supply and fixing LED street light fitting 120 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. | 12.00 | Each | 10.00 | 10000.00 | 120000.00 | 8000.00 | 96000.00 | 10200.00 | 122400.00 | 96000.00 | SATYANARAYANA RAJU VEGESNA
119.00 | STRUCTURAL DESIGNS APPROVALS : Before commencement of work Contractor should take approval of Soil Test , Plan, Structural Designs of all the drawings and Elevagtion for Quality Complex Building (G+1 ) by authorised institutions / authorised Structural Designer | 1.00 | Whole Job | 10.00 | 50000.00 | 50000.00 | 74000.00 | 74000.00 | 51000.00 | 51000.00 | 50000.00 | P LAVAKUSHA REDDY CONTRACTORS
120.00 | UPVC Windows : Supply and fixing of UPVC Sliding windows technically design, strong durable, Airtight, Sound proof with two sliding glass shutters of glass thickness not less than 4.0 mm, including incorporated suitable dust & moisture proof wire mesh (stain less steel) sliding shutter, including provision of polished safety grill/bars and modern locking system. Complete all as specified and directed. Make : Sudhakar, NCL | 40.00 | Sqm | 10.00 | 4200.00 | 168000.00 | 5000.00 | 200000.00 | 4250.00 | 170000.00 | 168000.00 | P LAVAKUSHA REDDY CONTRACTORS
121.00 | MCCB enclosure : Suppply and fixing of sheet metal enclosures for mounting MCCB 3 pole, 415 V,adjustable type, 200 Amps with breaking capacity 36 KA. Make: legrand/Schneider/ Indoasian/Havells. complete all as specified by EIC. | 1.00 | Each | 10.00 | 2450.00 | 2450.00 | 3500.00 | 3500.00 | 2490.00 | 2490.00 | 2450.00 | P LAVAKUSHA REDDY CONTRACTORS
| Total in Figures |  |  |  |  | 13202728.55 |  | 14840945.70 |  | 13528202.26
Lowest Amount Quoted BY: P LAVAKUSHA REDDY CONTRACTORS(13202728.55)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Security reception bldg and Truck parking Bay infront of security main gate at OFMK Tender ID: 2024_AVNL_203460_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P LAVAKUSHA REDDY CONTRACTORS (BID ID -735862) | 13202728.55 | L1
| 2 | SATYA SAI PROJECTS (BID ID -735945) | 13528202.26 | L2
| 3 | SATYANARAYANA RAJU VEGESNA (BID ID -734308) | 14840945.70 | L3