## BoQ1
Government eProcurement System Created By: MANISH KUMAR SINGH Created Date/Time: 01-Oct-2024 05:10 PM Tender Title: Repairs to Ladies toilet in building No.51, Gents toilet and water proofing of Building No. 52 and repairs to shed at between Building No.51 and 52 at Ambernath. Tender ID: 2024_AVNL_205251_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: Repairs to Ladies toilet in building No.51, Gents toilet and water proofing of Building No. 52 and repairs to shed at between Building No.51 & 52 at Ambernath.
Contract No: 0503/05/2024-25/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NIKHIL MALLAPPA SANGOLIKAR (GSTN-27ISMPS1278C1ZA) BID ID -739644 |  | J K Enterprises (GSTN-NA) BID ID -739417 |  | AGS ENTERRISES (GSTN-NA) BID ID -739813
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Repairs Ladies toilet in building No.51, Gents toilet and water proofing of Building No. 52 and repairs to shed at between Building No.51 & 52 at Ambernath.
1.10 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises etc all complete as directed by Engg in Charge. | 249.00 | Sq.m | 89.50 | 78.50 | 19546.50 | 65.00 | 16185.00 | 86.00 | 21414.00 | 16185.00 | J K Enterprises
2.10 | Demolition in Brickwork or stone/ boulder masonry, built in Cement mortar including all quoins, arches, pillars, etc, but excluding ashlar facings, dressed stonework and precast concrete articles, removing rubbish off the premises etc all complete as directed by Engg in Charge. | 3.75 | Cu.m | 1641.94 | 149.00 | 558.75 | 800.00 | 3000.00 | 1620.00 | 6075.00 | 558.75 | NIKHIL MALLAPPA SANGOLIKAR
3.10 | Demolition in cement Concrete in ground floors and pavings n exc 15 cm thickness (below or above ground level) removing rubbish off the premises etc all complete as directed by Engg in Charge. | 3.00 | Cu.m | 1379.50 | 1241.00 | 3723.00 | 700.00 | 2100.00 | 1370.00 | 4110.00 | 2100.00 | J K Enterprises
4.10 | S & F Non - skid Ceramic colored tiles (Make : Somany / Kajaria / Johnson) area of each tile exceeding 0.18 sqm but not exceeding 0.38 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or colored cement to match etc all complete as directed by Engg in Charge. Sample shall be got approved from Engg in Charge before execution of work. | 82.00 | Sq.m | 1428.70 | 1270.00 | 104140.00 | 1050.00 | 86100.00 | 1410.00 | 115620.00 | 86100.00 | J K Enterprises
5.10 | M&L for Screed bed or bedding layer of mortar 15 mm thick, CM 1:4 for laying floor finishes etc all complete as directed by Engg in Charge. | 82.00 | Cu.m | 223.37 | 188.00 | 15416.00 | 150.00 | 12300.00 | 215.00 | 17630.00 | 12300.00 | J K Enterprises
6.10 | S & F Glazed ceramic colored tiles ( Make : Somany/ Kajaria / Johnson) in vertical surface 450X 300 x 7 mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match etc all complete as directed by Engg in Charge. Sample shall be got approved from Engg in Charge before execution of work. | 332.04 | Sq.m | 1338.40 | 1190.00 | 395127.60 | 1100.00 | 365244.00 | 1320.00 | 438292.80 | 365244.00 | J K Enterprises
7.10 | Taking down cement plaster on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down with water, removing rubbish off the premises etc all complete as directed by Engg in Charge. | 668.00 | Sq.m | 94.94 | 80.00 | 53440.00 | 75.00 | 50100.00 | 90.00 | 60120.00 | 50100.00 | J K Enterprises
8.10 | M & L for Rendering 20mm thick cement plaster in cement mortar 1:4 on fair faces of brick work or concrete surfaces removing rubbish off the premises etc all complete as directed by Engg in Charge. | 720.00 | Sq.m | 321.44 | 285.00 | 205200.00 | 280.00 | 201600.00 | 318.00 | 228960.00 | 201600.00 | J K Enterprises
9.10 | M & L for Neeru finish to plastering as specified removing rubbish off the premises etc all complete as directed by Engg in Charge. | 82.00 | Sq.m | 50.00 | 40.00 | 3280.00 | 40.00 | 3280.00 | 50.00 | 4100.00 | 3280.00 | J K Enterprises, NIKHIL MALLAPPA SANGOLIKAR
10.10 | Taking down Chowkhats or frames with shutters (without taking off shutters from the frame) n exc 4 sq. M removing dismantled material to BM Store etc all complete as directed by Engg in Charge. | 35.00 | Each | 223.40 | 196.00 | 6860.00 | 150.00 | 5250.00 | 225.00 | 7875.00 | 5250.00 | J K Enterprises
11.10 | S & F Factory Made Solid PVC Moulded Door Shutter, with wood free EPS 28 to 30mm thick (stiles), with 2, 4, or 6 raised panel design with 2mm thick Moulded PVC Sheet on the front face & 2mm plain colour PVC sheet on back face, supplying & fixing in frame at site etc all complete as directed by Engg in Charge. Sample shall be got approved from Engg in Charge before execution of work. | 31.00 | Sq.m | 5046.60 | 4390.00 | 136090.00 | 4500.00 | 139500.00 | 5000.00 | 155000.00 | 136090.00 | NIKHIL MALLAPPA SANGOLIKAR
12.10 | M & L for Granite 18 to 20 mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window- cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite etc all complete as directed by Engg in Charge. Sample shall be got approved from Engg in Charge before execution of work. | 64.98 | Sq.m | 5183.70 | 4500.00 | 292410.00 | 3800.00 | 246924.00 | 5150.00 | 334647.00 | 246924.00 | J K Enterprises
13.10 | Providing edge moulding to 18-20mm thick granite stone of counters vanities etc. including machine polishing to edge to give high gloss finish etc all complete as directed by Engg in Charge. Sample / Design shall be got approved from Engg in Charge before execution of work. | 434.00 | Rm | 376.25 | 338.00 | 146692.00 | 200.00 | 86800.00 | 375.00 | 162750.00 | 86800.00 | J K Enterprises
14.10 | S & F Powder coated aluminium (minimum thickness of powder coating 50 micron) for shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber/neoprene gasket required with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 257.00 | Kg | 536.72 | 472.00 | 121304.00 | 480.00 | 123360.00 | 530.00 | 136210.00 | 121304.00 | NIKHIL MALLAPPA SANGOLIKAR
15.10 | S & F 4mm thick Sheet glass (Make: Modi Guard / Saint Gobain), ordinary quality and glazing with rubber joints in square n exc 0.5 sq. m in each pane etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 18.00 | Sq.m | 680.70 | 598.00 | 10764.00 | 550.00 | 9900.00 | 650.00 | 11700.00 | 9900.00 | J K Enterprises
16.10 | M & L preparation new surface , primer one coat and two coats of distemper oil emulsion (Make: 1st Quality from Asian Paints / Nerolac / Berger) on ceiling, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 82.00 | Sq.m | 120.90 | 107.00 | 8774.00 | 90.00 | 7380.00 | 115.00 | 9430.00 | 7380.00 | J K Enterprises
17.10 | Demolition of cement concrete floor in ground floors and pavings exc 15 cm thickness ( above ground level) removing rubbish off the premises etc all complete as directed by Engg in Charge. | 5.00 | Cu.m | 2142.70 | 1900.00 | 9500.00 | 1200.00 | 6000.00 | 2100.00 | 10500.00 | 6000.00 | J K Enterprises
18.10 | S & F vitreous China squatting pan, ‘Orissa’ pattern (Make: Cera/ Hindware / Parryware) size 580 x 440 mm or equivalent white, with integral foot rests (excluding flushing cistern and flush pipe) including fixing in repair Squatting pan including connection to trap, and to flushing pipe, anti-syphonage pipe, etc. complete including making good to floor including trap set in and including concrete etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 5.00 | Each | 3325.09 | 3172.00 | 15860.00 | 2800.00 | 14000.00 | 3290.00 | 16450.00 | 14000.00 | J K Enterprises
19.10 | S & F Vitreous china premium/ 1st quality wash down water closet (Make: Cera/ Hindware / Parryware) wall hung EWC white/ ivory/off white (closed pattern incl all necessary accessories like rag bolts/ gel gasket etc. (excluding flushing cistern & flush pipe) complete in all respect all etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 3.00 | Each | 4000.00 | 3560.00 | 10680.00 | 3500.00 | 10500.00 | 3900.00 | 11700.00 | 10500.00 | J K Enterprises
20.10 | S & F Vitreous China bowl urinal ( Make: Cera/ Hindware / Parryware) flat back, size of 465 x 355 x 265 mm or equivalent white (minimum), with grating and union for discharge pipe (excluding flushing cistern, flush pipe and waste pipe) including fixing Vitreous china urinals, bowl type (back or corner wall type), complete including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; fixing automatic flushing cistern with brackets, flush pipe, grating and Union for discharge pipe. (Exclusive of fixing supply pipe to flushing cistern, trap and waste pipe) etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 6.00 | Each | 1599.74 | 1439.00 | 8634.00 | 1500.00 | 9000.00 | 1540.00 | 9240.00 | 8634.00 | NIKHIL MALLAPPA SANGOLIKAR
21.10 | S & F 10 liter PVC valveless, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets, heavy duty flushing pipes etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 8.00 | Each | 797.24 | 630.00 | 5040.00 | 700.00 | 5600.00 | 780.00 | 6240.00 | 5040.00 | NIKHIL MALLAPPA SANGOLIKAR
22.10 | S & F Plastic water closet seat, white or of suitable color as directed by Engg in Charge, closed pattern with flat bottom, and cover and mild steel chromium plated or aluminised hinging device etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 3.00 | Each | 775.55 | 690.00 | 2070.00 | 600.00 | 1800.00 | 760.00 | 2280.00 | 1800.00 | J K Enterprises
23.10 | S & F Health faucet (ABS Body) (Make : Jaquare / Plumber ) mild steel chromium plated suitable for 15 mm dia pipe with 1.25 metre long flexible tube and ABS wall hook including making connections and fixed in position complete in all respect as specified etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 8.00 | Each | 441.15 | 393.00 | 3144.00 | 400.00 | 3200.00 | 430.00 | 3440.00 | 3144.00 | NIKHIL MALLAPPA SANGOLIKAR
24.10 | S & F PVC (SWR) 'P’ trap 110, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 8.00 | Each | 265.00 | 235.00 | 1880.00 | 200.00 | 1600.00 | 250.00 | 2000.00 | 1600.00 | J K Enterprises
25.10 | S & F PVC (SWR) 110mm pipes single socketed, in any length with rubber ring joints, laid in trenches or in floors etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 33.60 | Rm | 403.64 | 342.00 | 11491.20 | 350.00 | 11760.00 | 400.00 | 13440.00 | 11491.20 | NIKHIL MALLAPPA SANGOLIKAR
26.10 | S & F PVC (SWR) multi floor trap 75 mm with grating including jointing with solvent cement etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 18.00 | Each | 400.00 | 360.00 | 6480.00 | 350.00 | 6300.00 | 380.00 | 6840.00 | 6300.00 | J K Enterprises
27.10 | M & L for Brickwork with subclass ‘B’ bricks in built in cement mortar 1:4, straight or curved on plan exc 6m mean radius etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 21.00 | Cu.m | 5370.50 | 4810.50 | 101020.50 | 4800.00 | 100800.00 | 5300.00 | 111300.00 | 100800.00 | J K Enterprises
28.10 | M & L for 150mm Salt-glazed stoneware drain pipes laid in trenches and jointed as specified etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 40.00 | Rm | 448.53 | 400.00 | 16000.00 | 350.00 | 14000.00 | 450.00 | 18000.00 | 14000.00 | J K Enterprises
29.10 | M & L Concrete bed to drain pipes of dia 150mm including packing under, and haunching against the sides of pipes after they are laid and tested; etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 40.00 | Rm | 466.89 | 410.00 | 16400.00 | 300.00 | 12000.00 | 450.00 | 18000.00 | 12000.00 | J K Enterprises
30.10 | M & L for Excavating in hard dense soil in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out, returning filling in, cleaning of premises & removal of all rubbish outside factory premises etc all complete as directed by Engg in Charge. | 23.00 | Cu.m | 675.00 | 600.00 | 13800.00 | 500.00 | 11500.00 | 670.00 | 15410.00 | 11500.00 | J K Enterprises
31.10 | S & F 20mm dia Unplasticised PVC (UPVC) pipes (Make: Prince / Astral / Finolex) of pressure rating 10 kgf/cm2 laid in trenches etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 90.00 | Rm | 113.38 | 100.00 | 9000.00 | 100.00 | 9000.00 | 110.00 | 9900.00 | 9000.00 | J K Enterprises, NIKHIL MALLAPPA SANGOLIKAR
32.10 | S & F 15mm dia Unplasticised PVC (UPVC) pipes (Make: Prince / Astral / Finolex) pipes of pressure rating 10 kgf/cm2 laid in trenches etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 67.00 | Rm | 103.92 | 92.00 | 6164.00 | 80.00 | 5360.00 | 100.00 | 6700.00 | 5360.00 | J K Enterprises
33.10 | S & F union suitable to pipe of dia 20mm, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 15.00 | Each | 123.50 | 110.00 | 1650.00 | 100.00 | 1500.00 | 115.00 | 1725.00 | 1500.00 | J K Enterprises
34.10 | S & F elbow suitable to pipe of dia 20mm, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 30.00 | Each | 27.20 | 25.00 | 750.00 | 20.00 | 600.00 | 25.00 | 750.00 | 600.00 | J K Enterprises
35.10 | S & F elbow suitable to pipe of dia 15mm, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 30.00 | Each | 24.10 | 20.00 | 600.00 | 20.00 | 600.00 | 20.00 | 600.00 | 600.00 | J K Enterprises, NIKHIL MALLAPPA SANGOLIKAR, AGS ENTERRISES
36.10 | S & F Male/ female Brass Threaded Adapter 16mm, etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 35.00 | Each | 22.50 | 20.00 | 700.00 | 20.00 | 700.00 | 20.00 | 700.00 | 700.00 | J K Enterprises, NIKHIL MALLAPPA SANGOLIKAR, AGS ENTERRISES
37.10 | S & F Bib taps 15mm (Make: Jaquar / Plumber / Hindware / Parryware )fancy type chromium plated, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 29.00 | Each | 607.57 | 540.00 | 15660.00 | 550.00 | 15950.00 | 600.00 | 17400.00 | 15660.00 | NIKHIL MALLAPPA SANGOLIKAR
38.10 | S & F 15mm Pillar taps (Make: Jaquar / Plumber / Hindware / Parryware ), cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 7.00 | Each | 676.44 | 603.00 | 4221.00 | 650.00 | 4550.00 | 650.00 | 4550.00 | 4221.00 | NIKHIL MALLAPPA SANGOLIKAR
39.10 | S & F Stop valves 15 mm (Make: Jaquar / Plumber / Hindware / Parryware ), fancy and chromium plated , cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed both ends for iron pipe or for unions and fixed etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 21.00 | Each | 682.03 | 607.00 | 12747.00 | 600.00 | 12600.00 | 660.00 | 13860.00 | 12600.00 | J K Enterprises
40.10 | S & F Brass Chromium plated shower rose (Make: Jaquar / Plumber / Hindware / Parryware ), 125 mm with or without swivel joints, any size, including fixing to steel pipe or union etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 2.00 | Each | 409.25 | 300.00 | 600.00 | 400.00 | 800.00 | 405.00 | 810.00 | 600.00 | NIKHIL MALLAPPA SANGOLIKAR
41.10 | S & F Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth etc all complete as directed by Engg in Charge. | 70.00 | Rm | 55.60 | 50.00 | 3500.00 | 50.00 | 3500.00 | 55.00 | 3850.00 | 3500.00 | J K Enterprises, NIKHIL MALLAPPA SANGOLIKAR
42.10 | S & F 1000 litre Rotational moulded polyethylene water storage tanks (Make: Sintax/Supreme) (cylindrical vertical with closed top) hoisted and fixed in position all etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 2.00 | Each | 8196.46 | 7294.00 | 14588.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 14588.00 | NIKHIL MALLAPPA SANGOLIKAR
43.10 | M & L 20mm Ball brass valves, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed Ball etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 2.00 | Each | 408.74 | 380.00 | 760.00 | 350.00 | 700.00 | 400.00 | 800.00 | 700.00 | J K Enterprises
44.10 | M & L APP based polymeric membrane (Make: M/s. Tikidan/ Pidilite) minimum weighing 3kg/sqm and minimum 3mm thick reinforced with polyster non wove fabric (wt. not less than 150 gms/sqm) land on primed surface by forced application complete all as specified. Including removing existing system & removal of all rubbish outside Factroy Premises etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 818.00 | Sq.m | 403.65 | 358.00 | 292844.00 | 350.00 | 286300.00 | 400.00 | 327200.00 | 286300.00 | J K Enterprises
45.10 | M & L for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering etc all complete as directed by Engg in Charge. | 41.00 | Cu.m | 1240.10 | 1103.00 | 45223.00 | 800.00 | 32800.00 | 1200.00 | 49200.00 | 32800.00 | J K Enterprises
46.10 | M&L Hardcore broken stone or boulders of gauge exc 63mm but n exc. 100 mm, deposited, spread and levelled in layers n exc. 15 cm thick, watered and rolled/rammed to a true surface etc all complete as directed by Engg in Charge. | 11.00 | Cu.m | 2614.90 | 2326.00 | 25586.00 | 1600.00 | 17600.00 | 2550.00 | 28050.00 | 17600.00 | J K Enterprises
47.10 | M&L for concreting in M15 1:2:4 20mm graded aggregate etc all complete as directed by Engg in Charge. | 9.00 | Cu.m | 5330.80 | 4743.00 | 42687.00 | 4500.00 | 40500.00 | 6300.00 | 56700.00 | 40500.00 | J K Enterprises
48.10 | S & F 6mm thick asbestos cement, corrugated or semi-corrugated sheets (Make: Charminar/ Averest ) in roofs, walls etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 24.00 | Sq.m | 490.36 | 431.00 | 10344.00 | 450.00 | 10800.00 | 485.00 | 11640.00 | 10344.00 | NIKHIL MALLAPPA SANGOLIKAR
49.10 | M & L for Preparation of old steel surface and applying one coat of red oxide and two coat of synthetic enamel paint (Make: 1st quality from Asian/ Burger/ Nerolac) etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 49.00 | Sq.m | 152.10 | 136.00 | 6664.00 | 120.00 | 5880.00 | 150.00 | 7350.00 | 5880.00 | J K Enterprises
50.10 | S & F Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete etc all complete as directed by Engg in Charge. | 14.00 | Sq.m | 849.10 | 755.00 | 10570.00 | 750.00 | 10500.00 | 640.00 | 8960.00 | 8960.00 | AGS ENTERRISES
51.10 | S & F sinks with drainage board made of stainless steel 1 mm thick kitchen or laboratory with plugs, washers and wastes; including bedding in cement mortar to dwarf wall or including fixing cantilever brackets and connecting union to pipe overall size 915mm x 460mm bowl size 410mm x 330mm x 160mm etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 6.00 | Each | 4916.73 | 4376.00 | 26256.00 | 4500.00 | 27000.00 | 4850.00 | 29100.00 | 26256.00 | NIKHIL MALLAPPA SANGOLIKAR
52.10 | S & F in built urinal sensor flusher of approved make & quality with Minimum 6 Months Warranty etc all complete as directed by Engg in Charge. Sample of all materials shall be got approved from Engg in Charge before execution of work. | 6.00 | Each | 5000.00 | 4400.00 | 26400.00 | 4000.00 | 24000.00 | 5000.00 | 30000.00 | 24000.00 | J K Enterprises
| Total in Figures |  |  |  |  | 2302839.55 |  | 2094323.00 |  | 2584618.80
Lowest Amount Quoted BY: J K Enterprises(2094323.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to Ladies toilet in building No.51, Gents toilet and water proofing of Building No. 52 and repairs to shed at between Building No.51 and 52 at Ambernath. Tender ID: 2024_AVNL_205251_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | J K Enterprises (BID ID -739417) | 2094323.00 | L1
| 2 | NIKHIL MALLAPPA SANGOLIKAR (BID ID -739644) | 2302839.55 | L2
| 3 | AGS ENTERRISES (BID ID -739813) | 2584618.80 | L3