## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 03-Dec-2024 11:12 AM Tender Title: PROVISION OF 30M STADIUM MAST POLE FOR LIGHTING SYSTEM AT AJEYA STADIUM Tender ID: 2024_AVNL_206426_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : PROVISION OF 30M STADIUM MAST POLE FOR LIGHTING SYSTEM AT AJEYA STADIUM
HVF T.E No : HVF/TE/13025/CEO/2024-25/32
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRS ELECTRICALS (GSTN-29AWZPK1221C1ZI) BID ID -742105 |  | TRANSRAIL LIGHTING LIMITED (GSTN-26AACCT8765G2ZY) BID ID -750308 |  | candela engineering corporation (GSTN-32AAIFC0435H1ZY) BID ID -750634 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -751242 |  | M/s. CHANDRA REDDY ELECTRICALS (GSTN-37ALMPK9299A1ZM) BID ID -751418 |  | ASC POWER PVT LTD (GSTN-NA) BID ID -751363 |  | Surya Roshni Limited (GSTN-NA) BID ID -746657 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -751126 |  | ADVANCED SPORT TECHNOLOGIES LLP (GSTN-NA) BID ID -751399 |  | SABHARI ELECTRICALS (GSTN-NA) BID ID -751409 |  | Schnell Energy Equipments Pvt Ltd (GSTN-NA) BID ID -751400
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Material and labour for Earthing complete with copper earth plate 60×60cm× 3.15mm thick electrode, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less than 1.5 metres below normal ground level, connected to copper strip of 20X3 mm as earthing lead by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including testing on completion. | 2.00 | Each Set | 18176.33 | 17322.00 | 34644.00 | 34961.00 | 69922.00 | 41106.00 | 82212.00 | 32252.00 | 64504.00 | 15000.00 | 30000.00 | 22778.70 | 45557.40 | 21934.00 | 43868.00 | 45000.00 | 90000.00 | 21948.00 | 43896.00 | 35400.00 | 70800.00 | 24437.16 | 48874.32 | 30000.00 | M/s. CHANDRA REDDY ELECTRICALS
2.00 | Material and labour for Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc., as required 20X3 mm copper strip. | 50.00 | RM | 490.82 | 466.00 | 23300.00 | 916.00 | 45800.00 | 754.00 | 37700.00 | 747.00 | 37350.00 | 1000.00 | 50000.00 | 607.43 | 30371.50 | 998.00 | 49900.00 | 4800.00 | 240000.00 | 212.40 | 10620.00 | 613.60 | 30680.00 | 814.49 | 40724.50 | 10620.00 | ADVANCED SPORT TECHNOLOGIES LLP
3.00 | Supply and laying of PVC insulated, armoured, heavy duty electric cable 4 core, 1100 volts grade, aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed, cross-sectional area 35 sq. mm. | 1050.00 | RM | 294.41 | 256.00 | 268800.00 | 344.00 | 361200.00 | 280.00 | 294000.00 | 366.00 | 384300.00 | 260.00 | 273000.00 | 388.77 | 408208.50 | 320.00 | 336000.00 | 450.00 | 472500.00 | 595.00 | 624750.00 | 336.30 | 353115.00 | 519.51 | 545485.50 | 268800.00 | SRS ELECTRICALS
4.00 | Supply and laying of PVC insulated, armoured, heavy duty electric cable 3.5 core, 1100 volts grade, aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed, cross-sectional area 120 sq. mm. | 1000.00 | RM | 639.17 | 556.00 | 556000.00 | 831.00 | 831000.00 | 650.00 | 650000.00 | 783.00 | 783000.00 | 640.00 | 640000.00 | 911.15 | 911150.00 | 772.00 | 772000.00 | 1300.00 | 1300000.00 | 708.00 | 708000.00 | 826.00 | 826000.00 | 1028.17 | 1028170.00 | 556000.00 | SRS ELECTRICALS
5.00 | Excavating in trenches hard / dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 550.00 | CuM | 776.25 | 675.00 | 371250.00 | 338.00 | 185900.00 | 250.00 | 137500.00 | 1261.00 | 693550.00 | 750.00 | 412500.00 | 531.50 | 292325.00 | 214.00 | 117700.00 | 413.00 | 227150.00 | 550.00 | 302500.00 | 177.00 | 97350.00 | 618.45 | 340147.50 | 97350.00 | SABHARI ELECTRICALS
6.00 | Material & labour for sand filling for cushioning on U.G cable | 85.00 | CuM | 2270.45 | 1974.00 | 167790.00 | 385.00 | 32725.00 | 2000.00 | 170000.00 | 3395.00 | 288575.00 | 100.00 | 8500.00 | 303.72 | 25816.20 | 3619.00 | 307615.00 | 4800.00 | 408000.00 | 5000.00 | 425000.00 | 3835.00 | 325975.00 | 1546.12 | 131420.20 | 8500.00 | M/s. CHANDRA REDDY ELECTRICALS
7.00 | Materal & Labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 13.00 | Per 1000 Nos. | 6384.66 | 5551.00 | 72163.00 | 9334.00 | 121342.00 | 21589.00 | 280657.00 | 20601.00 | 267813.00 | 13000.00 | 169000.00 | 8352.19 | 108578.47 | 14302.00 | 185926.00 | 35400.00 | 460200.00 | 10000.00 | 130000.00 | 24780.00 | 322140.00 | 12368.94 | 160796.22 | 72163.00 | SRS ELECTRICALS
8.00 | Returning, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 550.00 | CuM | 159.97 | 140.00 | 77000.00 | 33.00 | 18150.00 | 216.00 | 118800.00 | 727.00 | 399850.00 | 200.00 | 110000.00 | 211.23 | 116176.50 | 43.00 | 23650.00 | 280.00 | 154000.00 | 350.00 | 192500.00 | 590.00 | 324500.00 | 154.61 | 85035.50 | 18150.00 | TRANSRAIL LIGHTING LIMITED
9.00 | Material and Labour for horizontal drilling hole(trench less boring) at a depth of 1.5 mtr below the normal ground level and supply and insert including materials 150 mm bore HDPE pipe across the road cross the horizontal position at different locations using special drilling machine as per trade practise and as directed. | 100.00 | RM | 2290.00 | 600.00 | 60000.00 | 5334.00 | 533400.00 | 700.00 | 70000.00 | 4608.00 | 460800.00 | 1800.00 | 180000.00 | 759.29 | 75929.00 | 430.00 | 43000.00 | 1300.00 | 130000.00 | 495.00 | 49500.00 | 2655.00 | 265500.00 | 1855.34 | 185534.00 | 43000.00 | Surya Roshni Limited
10.00 | Supply, installation, testing and commissioning of Stadium Highmast lighting poles, LED luminaires, Feeder piller control panel, as mentioned in Annexure-I. The complete lighting Design shall be duly approved by Engineer Incharge as per Annexure-I. | 1.00 | WJ | 16196916.00 | 18000000.00 | 18000000.00 | 11197592.00 | 11197592.00 | 15093674.00 | 15093674.00 | 12944903.00 | 12944903.00 | 23400000.00 | 23400000.00 | 17822054.88 | 17822054.88 | 12596050.00 | 12596050.00 | 13421440.00 | 13421440.00 | 14063240.00 | 14063240.00 | 12484400.00 | 12484400.00 | 17248953.27 | 17248953.27 | 11197592.00 | TRANSRAIL LIGHTING LIMITED
11.00 | Supply, installation, testing and commissioning of Outdoor type Main Lighting Distribution Board panel as per specification enclosed in Annexure-II. | 1.00 | Each | 342000.00 | 100000.00 | 100000.00 | 734528.00 | 734528.00 | 601610.00 | 601610.00 | 496155.00 | 496155.00 | 1073000.00 | 1073000.00 | 455574.00 | 455574.00 | 772077.00 | 772077.00 | 300000.00 | 300000.00 | 249924.00 | 249924.00 | 1032500.00 | 1032500.00 | 1300593.93 | 1300593.93 | 100000.00 | SRS ELECTRICALS
12.00 | Dismantling and removing of lighting tower, steel structure frames and light fittings saftely (without damaging) completely and transportation and handing over to electrical stores. | 6.00 | Each | 22000.00 | 60000.00 | 360000.00 | 50669.00 | 304014.00 | 14800.00 | 88800.00 | 16625.00 | 99750.00 | 98000.00 | 588000.00 | 75929.00 | 455574.00 | 22884.00 | 137304.00 | 62000.00 | 372000.00 | 141600.00 | 849600.00 | 21240.00 | 127440.00 | 61844.69 | 371068.14 | 88800.00 | candela engineering corporation
| Total in Figures |  |  |  |  | 20090947.00 |  | 14435573.00 |  | 17624953.00 |  | 16920550.00 |  | 26934000.00 |  | 20747315.45 |  | 15385090.00 |  | 17575290.00 |  | 17649530.00 |  | 16260400.00 |  | 21486803.08
Lowest Amount Quoted BY: TRANSRAIL LIGHTING LIMITED(14435573.00)

## BOQ Summary
BOQ Summary Details Tender Title: PROVISION OF 30M STADIUM MAST POLE FOR LIGHTING SYSTEM AT AJEYA STADIUM Tender ID: 2024_AVNL_206426_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TRANSRAIL LIGHTING LIMITED (BID ID -750308) | 14435573.00 | L1
| 2 | Surya Roshni Limited (BID ID -746657) | 15385090.00 | L2
| 3 | SABHARI ELECTRICALS (BID ID -751409) | 16260400.00 | L3
| 4 | vk sam engineering (BID ID -751242) | 16920550.00 | L4
| 5 | Variant Infratech Private Limited (BID ID -751126) | 17575290.00 | L5
| 6 | candela engineering corporation (BID ID -750634) | 17624953.00 | L6
| 7 | ADVANCED SPORT TECHNOLOGIES LLP (BID ID -751399) | 17649530.00 | L7
| 8 | SRS ELECTRICALS (BID ID -742105) | 20090947.00 | L8
| 9 | ASC POWER PVT LTD (BID ID -751363) | 20747315.45 | L9
| 10 | Schnell Energy Equipments Pvt Ltd (BID ID -751400) | 21486803.08 | L10
| 11 | M/s. CHANDRA REDDY ELECTRICALS (BID ID -751418) | 26934000.00 | L11