## BoQ1
Government eProcurement System Created By: AKSHAYA KUMAR NAYAK Created Date/Time: 23-Dec-2024 09:36 AM Tender Title: Construction of Rest Rooms for Industrial employees of FA shop inside factory area at OFMK Tender ID: 2024_AVNL_211429_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Construction of Rest Rooms for Industrial employees of FA shop inside factory area at OFMK
Contract No: 76026/ TE-16/ OFMK/EOC/ FA Rest Rooms/ 2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | yaralagadda ramesh (GSTN-37AEFPY3314J1Z7) BID ID -764916 |  | SRI BALAJI CONSULTANCY SERVICES (GSTN-NA) BID ID -765023 |  | BANTUSURESHGOUD CIVIL CONTRACTOR (GSTN-NA) BID ID -764924 |  | Samrat Engineering Works (GSTN-NA) BID ID -764643
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | EXCAVATION : Excavation over areas in hard/dense soil not exceeding 1.5 m depth and getting out, spreading/levelled, complete all as specified and directed. | 50.50 | Cum | 100.00 | 300.00 | 15150.00 | 300.00 | 15150.00 | 360.00 | 18180.00 | 450.00 | 22725.00 | 15150.00 | yaralagadda ramesh, SRI BALAJI CONSULTANCY SERVICES
2.00 | Excavation : Excavating in trenches in hard/dense soils n.exc. 1.5m wide and n.exc. 1.5m depth for foundations, shafts, wells, cesspits, manholes, pier holes etc | 50.00 | Cum | 100.00 | 500.00 | 25000.00 | 350.00 | 17500.00 | 500.00 | 25000.00 | 800.00 | 40000.00 | 17500.00 | SRI BALAJI CONSULTANCY SERVICES
3.00 | EXCAVATION : Excavation over areas in rocks not exceeding 1.5 m depth and getting out, spreading/levelled, complete all as specified and directed. | 18.00 | Cum | 10.00 | 1600.00 | 28800.00 | 300.00 | 5400.00 | 1350.00 | 24300.00 | 2000.00 | 36000.00 | 5400.00 | SRI BALAJI CONSULTANCY SERVICES
4.00 | SITE CLEARANCE : Site clearance in soft/loose soil complete all as specified and directed. | 400.00 | Sqm | 10.00 | 10.00 | 4000.00 | 400.00 | 160000.00 | 20.00 | 8000.00 | 16.00 | 6400.00 | 4000.00 | yaralagadda ramesh
5.00 | Removal : Removing excavated material(soils) exc. 500m but n.exc 1500m and depositing where directed. | 59.00 | Cum | 10.00 | 500.00 | 29500.00 | 400.00 | 23600.00 | 400.00 | 23600.00 | 100.00 | 5900.00 | 5900.00 | Samrat Engineering Works
6.00 | Moorum : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed. | 75.00 | Cum | 100.00 | 850.00 | 63750.00 | 800.00 | 60000.00 | 1000.00 | 75000.00 | 1040.00 | 78000.00 | 60000.00 | SRI BALAJI CONSULTANCY SERVICES
7.00 | HARDCORE : Hardcore with broken stone/ boulders of gauge not exc. 63mm, deposited, spread, levelled in layers not exc. 15 cm thick and watered and rammed to a true surface, complete all as specified and directed. | 30.00 | Cum | 100.00 | 1350.00 | 40500.00 | 500.00 | 15000.00 | 2000.00 | 60000.00 | 1500.00 | 45000.00 | 15000.00 | SRI BALAJI CONSULTANCY SERVICES
8.00 | Stone Masonry : Walling of squared rubble, regular coursed, well bonded ,bedded and solidly hearted, built in CM 1:6 complete all as specified and directed. | 25.00 | Cum | 10.00 | 5000.00 | 125000.00 | 5000.00 | 125000.00 | 5700.00 | 142500.00 | 5800.00 | 145000.00 | 125000.00 | yaralagadda ramesh, SRI BALAJI CONSULTANCY SERVICES
9.00 | Pointing: Flush pointing to squared rubble masonry, coursed or uncoursed in cement mortar 1:4. | 10.00 | 10 sqm | 10.00 | 980.00 | 9800.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 5000.00 | SRI BALAJI CONSULTANCY SERVICES
10.00 | PCC FLOORING : PCC 1:4:8 in floors/ paving of type D-2, 1:4:8 with 40mm graded aggregate, 75 mm thick . Concreting should be done in panels as directed. Complete all as specified and directed. | 265.00 | Sqm | 10.00 | 450.00 | 119250.00 | 1100.00 | 291500.00 | 400.00 | 106000.00 | 410.00 | 108650.00 | 106000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
11.00 | PCC FLOORING : PCC 1:2:4 in floors/ paving of type B-1, 1:2:4 with 20mm graded aggregate, 70 mm thick . Concreting should be done in panels as directed. Complete all as specified and directed. | 265.00 | Sqm | 100.00 | 480.00 | 127200.00 | 1100.00 | 291500.00 | 450.00 | 119250.00 | 435.00 | 115275.00 | 115275.00 | Samrat Engineering Works
12.00 | PCC 1:4:8 :PCC : Plain Cement Concrete (1:4:8) Type D-2 using 40 mm graded aggregate in foundations, floors, filling and mass concrete, Complete all as specified and directed . | 5.00 | Cum | 100.00 | 5600.00 | 28000.00 | 4500.00 | 22500.00 | 5500.00 | 27500.00 | 5000.00 | 25000.00 | 22500.00 | SRI BALAJI CONSULTANCY SERVICES
13.00 | RCC : Reinforced cement concrete (Type B1, 1:2:4 with 20 mm aggregates) in columns, pillars, piers, posts etc.Complete all as specified and directed. | 70.00 | Cum | 10.00 | 8500.00 | 595000.00 | 5000.00 | 350000.00 | 7500.00 | 525000.00 | 7800.00 | 546000.00 | 350000.00 | SRI BALAJI CONSULTANCY SERVICES
14.00 | REINFORCEMENT : Mild steel(TMT) bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips. Complete all as specified and directed. . | 5000.00 | Kg | 10.00 | 103.50 | 517500.00 | 110.00 | 550000.00 | 82.00 | 410000.00 | 79.00 | 395000.00 | 395000.00 | Samrat Engineering Works
15.00 | FORMWORK : Formwork to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter flat surfaces. Complete all as specified and directed. | 449.00 | Sqm | 10.00 | 400.00 | 179600.00 | 400.00 | 179600.00 | 450.00 | 202050.00 | 400.00 | 179600.00 | 179600.00 | Samrat Engineering Works, yaralagadda ramesh, SRI BALAJI CONSULTANCY SERVICES
16.00 | SCREED BED : Screed bed or bedding layer of mortar 15 mm thick for laying floor finishes with cement mortar 1:6. Complete all as specified and directed. | 240.00 | Sqm | 10.00 | 210.00 | 50400.00 | 500.00 | 120000.00 | 200.00 | 48000.00 | 180.00 | 43200.00 | 43200.00 | Samrat Engineering Works
17.00 | FLOOR TILES : Non - skid Ceramic coloured tiles 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match Make: Johnson/ Kajaria/ Somany/ RAK. Complete all as specified and directed. | 240.00 | Sqm | 10.00 | 910.00 | 218400.00 | 1100.00 | 264000.00 | 900.00 | 216000.00 | 1200.00 | 288000.00 | 216000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
18.00 | WATERPROOFING : Supply only of liquid waterproofing compound. Make: Dr. Fixit, BASF, SIKA | 10.00 | LTR | 10.00 | 200.00 | 2000.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 2000.00 | yaralagadda ramesh
19.00 | PVC DOOR : Factory Made Solid PVC Moulded Door Shutter, 28 to 30mm thick (stiles), with 2, 4, or 6 raised panel design with 2mm thick Moulded PVC Sheet on the front face & 2mm plain colour PVC sheet on back face, supplying & fixing in frame at site | 40.00 | Sqm | 10.00 | 3900.00 | 156000.00 | 3000.00 | 120000.00 | 4500.00 | 180000.00 | 5000.00 | 200000.00 | 120000.00 | SRI BALAJI CONSULTANCY SERVICES
20.00 | DOOR FRAME : Solid PVC Door Frame of size 50mm x 47mm made out of 5mm plain colour PVC sheet reinforced with M.S. Square tube, suppling & fixing in opening as per specification | 125.00 | Rm | 10.00 | 500.00 | 62500.00 | 250.00 | 31250.00 | 600.00 | 75000.00 | 460.00 | 57500.00 | 31250.00 | SRI BALAJI CONSULTANCY SERVICES
21.00 | UPVC VENTILATOR : Supply and fixing factory made uPVC white colour fixed glazed window/ventilator made of (small series) frame 47 x 50 mm mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension | 20.00 | Sqm | 100.00 | 4850.00 | 97000.00 | 3000.00 | 60000.00 | 6500.00 | 130000.00 | 6800.00 | 136000.00 | 60000.00 | SRI BALAJI CONSULTANCY SERVICES
22.00 | PVC PARTITION : 40mm thick Solid PVC Sandwich Panel with lmm Plain PVC Sheet on both sides suitably fixed in M.S. angle frame work as per specification & drawing | 150.00 | Sqm | 10.00 | 3500.00 | 525000.00 | 2000.00 | 300000.00 | 5000.00 | 750000.00 | 3300.00 | 495000.00 | 300000.00 | SRI BALAJI CONSULTANCY SERVICES
23.00 | False Ceiling : S&F Exposed metal frame ceiling with calcium silicate board of siliceous and calcareous material 8 mm thk. reinforced with cellulose fibre for fixing in 600 mm x 600mm grid Make: Gyproc/ Lagyp | 200.00 | Sqm. | 10.00 | 450.00 | 90000.00 | 1400.00 | 280000.00 | 450.00 | 90000.00 | 450.00 | 90000.00 | 90000.00 | Samrat Engineering Works, yaralagadda ramesh, BANTUSURESHGOUD CIVIL CONTRACTOR
24.00 | Snap Grid : S&F Anodised aluminium snap grid frame work Size of grid 605 x 605mm for false ceiling all as specified | 200.00 | Sqm. | 10.00 | 550.00 | 110000.00 | 2200.00 | 440000.00 | 450.00 | 90000.00 | 500.00 | 100000.00 | 90000.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
25.00 | OBD ON WALLS : M&L :Distempering walls with distemper oil emulsion(2 coats), with a coat of clearcolle primer with colour matching with existing colour or as specified. Brand: Asian Paints Tractor Uno/Nerolac Beauty/ Berger Bison | 240.00 | Sqm | 100.00 | 110.00 | 26400.00 | 150.00 | 36000.00 | 70.00 | 16800.00 | 65.00 | 15600.00 | 15600.00 | Samrat Engineering Works
26.00 | WEATHERPROOF PAINT : Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm Make: Asian Paints Apex/ Berger Weathershield/ Nerolac Excel. | 240.00 | Sqm | 100.00 | 200.00 | 48000.00 | 250.00 | 60000.00 | 150.00 | 36000.00 | 120.00 | 28800.00 | 28800.00 | Samrat Engineering Works
27.00 | BRICKWORK: Brick work with sub class ‘B’ bricks straight or curved in plan with 1:4 cement mortar. Complete all as specified and directed. | 50.00 | Cum | 10.00 | 7200.00 | 360000.00 | 7000.00 | 350000.00 | 6000.00 | 300000.00 | 5800.00 | 290000.00 | 290000.00 | Samrat Engineering Works
28.00 | PLASTERING : Rendering of 10mm thick plastering with 1:6 cement mortar on fair faces of brick work or concrete surfaces. Complete in all respects as specified and directed. | 420.00 | Sqm | 10.00 | 205.00 | 86100.00 | 400.00 | 168000.00 | 250.00 | 105000.00 | 220.00 | 92400.00 | 86100.00 | yaralagadda ramesh
29.00 | MIRROR : 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers | 25.00 | Each | 10.00 | 600.00 | 15000.00 | 1500.00 | 37500.00 | 550.00 | 13750.00 | 560.00 | 14000.00 | 13750.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
30.00 | GRANITE : S&F Granite 25 mm thk (of any type) work (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. Complete all as specified and directed. | 10.00 | Sqm | 100.00 | 4500.00 | 45000.00 | 3000.00 | 30000.00 | 5000.00 | 50000.00 | 4600.00 | 46000.00 | 30000.00 | SRI BALAJI CONSULTANCY SERVICES
31.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC concealed conduit wiring, includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 82.00 | Per point | 100.00 | 980.00 | 80360.00 | 800.00 | 65600.00 | 1000.00 | 82000.00 | 950.00 | 77900.00 | 65600.00 | SRI BALAJI CONSULTANCY SERVICES
32.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab in PVC conduit ,includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 10.00 | Per point | 10.00 | 300.00 | 3000.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 285.00 | 2850.00 | 2850.00 | Samrat Engineering Works
33.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 6.00 | Per point | 10.00 | 1650.00 | 9900.00 | 800.00 | 4800.00 | 1900.00 | 11400.00 | 1150.00 | 6900.00 | 4800.00 | SRI BALAJI CONSULTANCY SERVICES
34.00 | ceiling rose :Supply and fixing of ceiling rose, PVC/Polycorbonate,3 phase terminal Make Anchor / Havells/Maru of ISI quality. | 82.00 | Each | 10.00 | 50.00 | 4100.00 | 200.00 | 16400.00 | 50.00 | 4100.00 | 68.00 | 5576.00 | 4100.00 | yaralagadda ramesh, BANTUSURESHGOUD CIVIL CONTRACTOR
35.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 18.00 | Each | 10.00 | 300.00 | 5400.00 | 500.00 | 9000.00 | 350.00 | 6300.00 | 370.00 | 6660.00 | 5400.00 | yaralagadda ramesh
36.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63 Amp. Make legrand/ Schneider /Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 1.00 | Each | 10.00 | 2500.00 | 2500.00 | 500.00 | 500.00 | 1900.00 | 1900.00 | 1350.00 | 1350.00 | 500.00 | SRI BALAJI CONSULTANCY SERVICES
37.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN, 6 way, 415 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/ Schneider/ Indoasian/ Havells complete all as specified by EIC. | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 700.00 | 700.00 | 4000.00 | 4000.00 | 3200.00 | 3200.00 | 700.00 | SRI BALAJI CONSULTANCY SERVICES
38.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab complete all as specified by the EIC | 50.00 | RM | 10.00 | 370.00 | 18500.00 | 400.00 | 20000.00 | 350.00 | 17500.00 | 400.00 | 20000.00 | 17500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
39.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/ Havells of ISI quality complete all as specifies by the EIC | 92.00 | Each | 10.00 | 180.00 | 16560.00 | 300.00 | 27600.00 | 200.00 | 18400.00 | 270.00 | 24840.00 | 16560.00 | yaralagadda ramesh
40.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1, 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 10.00 | Each | 100.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 345.00 | 3450.00 | 2500.00 | yaralagadda ramesh, SRI BALAJI CONSULTANCY SERVICES
41.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 6.00 | Each | 100.00 | 300.00 | 1800.00 | 250.00 | 1500.00 | 400.00 | 2400.00 | 350.00 | 2100.00 | 1500.00 | SRI BALAJI CONSULTANCY SERVICES
42.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1, 3 pin 6/16 amps 2/3 pin combined 2 modular type make Legrand/ Schneider/ Havells of ISI quality complete all as specified by the EIC | 6.00 | Each | 10.00 | 480.00 | 2880.00 | 250.00 | 1500.00 | 400.00 | 2400.00 | 560.00 | 3360.00 | 1500.00 | SRI BALAJI CONSULTANCY SERVICES
43.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 16.00 | Each | 10.00 | 220.00 | 3520.00 | 250.00 | 4000.00 | 200.00 | 3200.00 | 250.00 | 4000.00 | 3200.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
44.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 16.00 | Each | 10.00 | 180.00 | 2880.00 | 800.00 | 12800.00 | 200.00 | 3200.00 | 220.00 | 3520.00 | 2880.00 | yaralagadda ramesh
45.00 | LED DOWN LIGHT : Supply and fixing round shape 15 watt 220 volts AC recessed type with high efficiency PMMA diffuser down light 3 in 1 cool day light/warm light soft glare free light complete with drivers, holders,LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. Make: Philips/CG/Wipro/ Osram/Havells/ Orient/Halonix | 10.00 | Each | 100.00 | 950.00 | 9500.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 8000.00 | SRI BALAJI CONSULTANCY SERVICES
46.00 | LED DOWN LIGHT : Supply and fixing round shape 6 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light cool day light/ warm white light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 30.00 | Each | 100.00 | 650.00 | 19500.00 | 900.00 | 27000.00 | 1000.00 | 30000.00 | 1000.00 | 30000.00 | 19500.00 | yaralagadda ramesh
47.00 | LED LUMINAIRE :Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 20.00 | Each | 10.00 | 3500.00 | 70000.00 | 1000.00 | 20000.00 | 4000.00 | 80000.00 | 4500.00 | 90000.00 | 20000.00 | SRI BALAJI CONSULTANCY SERVICES
48.00 | Ceiling Fan(BLDC):Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) Make : CG/Havells/Orient/Usha | 12.00 | Each | 10.00 | 2600.00 | 31200.00 | 2800.00 | 33600.00 | 3000.00 | 36000.00 | 2700.00 | 32400.00 | 31200.00 | yaralagadda ramesh
49.00 | EARTHING : Earthing complete with galvanised steel earth plate electrode 60×60cm.× 6mm thick, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less'than 1.5 metres below normal ground level, connected to galvanised earth lead GI strip 25x4 mm by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including testing on completion | 2.00 | Each | 10.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 7200.00 | 14400.00 | 12000.00 | SRI BALAJI CONSULTANCY SERVICES
50.00 | Earth continuity conductor : Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required 25x4 mm GI strip | 30.00 | Rm | 10.00 | 210.00 | 6300.00 | 500.00 | 15000.00 | 150.00 | 4500.00 | 188.00 | 5640.00 | 4500.00 | BANTUSURESHGOUD CIVIL CONTRACTOR
51.00 | LED Street Light :Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 8.00 | Each | 10.00 | 2400.00 | 19200.00 | 2000.00 | 16000.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 16000.00 | SRI BALAJI CONSULTANCY SERVICES
52.00 | Switch board box with frame plate and cover plate, metal flush box16 module : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 16 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 6.00 | Each | 10.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 650.00 | 3900.00 | 680.00 | 4080.00 | 3000.00 | yaralagadda ramesh, SRI BALAJI CONSULTANCY SERVICES
| Total in Figures |  |  |  |  | 4129950.00 |  | 4726000.00 |  | 4251630.00 |  | 4035776.00
Lowest Amount Quoted BY: Samrat Engineering Works(4035776.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Rest Rooms for Industrial employees of FA shop inside factory area at OFMK Tender ID: 2024_AVNL_211429_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Samrat Engineering Works (BID ID -764643) | 4035776.00 | L1
| 2 | yaralagadda ramesh (BID ID -764916) | 4129950.00 | L2
| 3 | BANTUSURESHGOUD CIVIL CONTRACTOR (BID ID -764924) | 4251630.00 | L3
| 4 | SRI BALAJI CONSULTANCY SERVICES (BID ID -765023) | 4726000.00 | L4