## BoQ1
Government eProcurement System Created By: B SHANKAR LAL Created Date/Time: 02-Jan-2025 10:11 AM Tender Title: SPECIAL REPAIRS TO THE OFFICE ROOM ENCLOSURES, IEs REST ROOM AND STORES OF TOOL ROOM, OH(PDN), OH(A) SHOP AND PROVISION OF CAR PARKING / SCOOTER PARKING FOR OH(A) SHOP AT HVF, AVADI. Tender ID: 2024_AVNL_211926_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: SPECIAL REPAIRS TO THE OFFICE ROOM ENCLOSURES. IEs REST ROOM AND STORES OF TOOL ROOM, OH(PDN), OH(A) SHOP AND PROVISION OF CAR PARKING / SCOOTER PARKING FOR OH(A) SHOP AT HVF, AVADI.
Tender No: HVF/TE/13025/CEO/2024-25/42
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KUGANCONSTRUCTIONS (GSTN-27AESPN0007L1ZA) BID ID -764956 |  | Siva Enterprises (GSTN-NA) BID ID -764928 |  | JDN Construction (GSTN-NA) BID ID -764747 |  | HARI ENTERPRISES (GSTN-NA) BID ID -764590
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of false ceiling boards(fibre, pulp, insulation etc.,) or insulation boards/slabs. blankets of any thickness and removing to CE Stores as directed. | 1400.00 | SQM | 47.84 | 31.31 | 43834.00 | 45.00 | 63000.00 | 46.00 | 64400.00 | 25.00 | 35000.00 | 35000.00 | HARI ENTERPRISES
2.00 | Dismantling boarding, any description, fixed in any position with nails. | 850.00 | SQM | 40.25 | 29.29 | 24896.50 | 35.00 | 29750.00 | 39.00 | 33150.00 | 18.00 | 15300.00 | 15300.00 | HARI ENTERPRISES
3.00 | Dismantling structural steel work including doors, gates but excluding framed truss etc., | 102.00 | QUINTAL | 717.14 | 579.79 | 59138.58 | 775.00 | 79050.00 | 685.00 | 69870.00 | 250.00 | 25500.00 | 25500.00 | HARI ENTERPRISES
4.00 | Dismantling of Plain or corrugated steel sheeting, any gauge, thickness, including Nainital or similar pattern roof coverings. | 500.00 | SQM | 32.43 | 27.27 | 13635.00 | 35.00 | 17500.00 | 31.00 | 15500.00 | 35.00 | 17500.00 | 13635.00 | KUGANCONSTRUCTIONS
5.00 | Demolition of brickwork or stone/boulder masonery, built in cement motar. | 125.00 | CUM | 1888.23 | 1333.33 | 166666.25 | 1655.00 | 206875.00 | 650.00 | 81250.00 | 800.00 | 100000.00 | 81250.00 | JDN Construction
6.00 | Dismantling of asbestos cement (corrugated,semicorrugated, etc.) sheets in roof coverings. | 85.00 | SQM | 40.25 | 29.29 | 2489.65 | 45.00 | 3825.00 | 39.00 | 3315.00 | 55.00 | 4675.00 | 2489.65 | KUGANCONSTRUCTIONS
7.00 | Demolition of cement concrete (reinforced) in of any thickness including stering. | 2.00 | CUM | 2166.26 | 1550.50 | 3101.00 | 2155.00 | 4310.00 | 2070.00 | 4140.00 | 1250.00 | 2500.00 | 2500.00 | HARI ENTERPRISES
8.00 | Felling of tree exc. 30 cm girth including cutting of trunk, and branches and stacking of serviceable material and disposal of unserviceable material to a distance not exc. 50 m and clearing site Girth of tree exc 30 cm and not exc 100 cm. | 2.00 | EACH | 1435.20 | 999.99 | 1999.98 | 4555.00 | 9110.00 | 1373.00 | 2746.00 | 2500.00 | 5000.00 | 1999.98 | KUGANCONSTRUCTIONS
9.00 | M&L OF Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to removedust, etc & Brushing neat cement slurry with 3.0kg of cement per sq. metre. | 2000.00 | SQM | 64.40 | 47.47 | 94940.00 | 65.00 | 130000.00 | 62.00 | 124000.00 | 150.00 | 300000.00 | 94940.00 | KUGANCONSTRUCTIONS
10.00 | M &L for virified Ceramic light shade tiles 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 650.00 | SQM | 2035.14 | 1599.99 | 1039993.50 | 1655.00 | 1075750.00 | 1975.00 | 1283750.00 | 950.00 | 617500.00 | 617500.00 | HARI ENTERPRISES
11.00 | Material and labour for providing a cement concrete layer average thickness 40mm using B0 1:2:4 (12.5mm graded aggregate)type concrete and finishing the surface. | 1250.00 | SQM | 341.78 | 260.60 | 325750.00 | 355.00 | 443750.00 | 375.00 | 468750.00 | 450.00 | 562500.00 | 325750.00 | KUGANCONSTRUCTIONS
12.00 | M &L for industrial type virtified tiles 15 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 1250.00 | SQM | 2200.00 | 2190.99 | 2738737.50 | 2155.00 | 2693750.00 | 2450.00 | 3062500.00 | 1350.00 | 1687500.00 | 1687500.00 | HARI ENTERPRISES
13.00 | M&L for Excavating in post holes hard/dense (or similar holes) each n exc 0.5 cu. m, getting out, returning,filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25 cm. | 297.00 | EACH | 438.61 | 279.79 | 83097.63 | 455.00 | 135135.00 | 420.00 | 124740.00 | 200.00 | 59400.00 | 59400.00 | HARI ENTERPRISES
14.00 | M&L for sand filling under foundations, flooring, etc, including watering and consolidation. | 12.00 | CUM | 2270.45 | 2222.22 | 26666.64 | 2155.00 | 25860.00 | 2175.00 | 26100.00 | 2950.00 | 35400.00 | 25860.00 | Siva Enterprises
15.00 | M & L for P.C.C 1:4:8, D2 type using 40mm graded aggregated in foundation. | 12.00 | CUM | 6305.57 | 5151.51 | 61818.12 | 6155.00 | 73860.00 | 6030.00 | 72360.00 | 5150.00 | 61800.00 | 61800.00 | HARI ENTERPRISES
16.00 | M&L for cement concrete in foundation ,filling and mass concrete typeB2 1:2:4 using 20mm aggregate. | 98.00 | CUM | 7513.33 | 6111.11 | 598888.78 | 7855.00 | 769790.00 | 7860.00 | 770280.00 | 5650.00 | 553700.00 | 553700.00 | HARI ENTERPRISES
17.00 | M & L for providing reinforcement cement concrete (design mix A1 Type,M20 1:1.5:3 mix using 20mm graded aggregated) Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete | 5.00 | CUM | 8498.41 | 7111.11 | 35555.55 | 8450.00 | 42250.00 | 6820.00 | 34100.00 | 6850.00 | 34250.00 | 34100.00 | JDN Construction
18.00 | M&L for formwork to edges of concrete flats, breaks in floors, openings in concrete walls, floors and roofs and sides of RCC/PCC bands in walls, horizontal or sloping, in flat surfaces and similar work all exceeding 20cm wide. (Where RCC/PCC band in walls, spanning and opening, the flat surface formwork soffit only shall be paid for under item 07010) | 50.00 | SQM | 551.63 | 379.79 | 18989.50 | 525.00 | 26250.00 | 570.00 | 28500.00 | 400.00 | 20000.00 | 18989.50 | KUGANCONSTRUCTIONS
19.00 | Material and labour for brick work built in CM 1:6 using sub-class ''B'' bricks ,straight or curved on plain exc 6m mean radius. | 125.00 | CUM | 5606.25 | 5849.49 | 731186.25 | 6155.00 | 769375.00 | 5360.00 | 670000.00 | 6700.00 | 837500.00 | 670000.00 | JDN Construction
20.00 | M&L for Plastering with 1:4,15mm thick on faces of old brick work and concrete surfaces. | 1200.00 | SQM | 302.59 | 239.39 | 287268.00 | 325.00 | 390000.00 | 290.00 | 348000.00 | 425.00 | 510000.00 | 287268.00 | KUGANCONSTRUCTIONS
21.00 | S&F of mild steel reinforcement deformed or twisted bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips. | 1750.00 | KG | 94.15 | 81.81 | 143167.50 | 95.00 | 166250.00 | 90.00 | 157500.00 | 115.00 | 201250.00 | 143167.50 | KUGANCONSTRUCTIONS
22.00 | S&F of mild steel reinforcement deformed or twisted bars 6 to 8 mm dia , cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips. | 220.00 | KG | 96.47 | 83.83 | 18442.60 | 95.00 | 20900.00 | 93.00 | 20460.00 | 125.00 | 27500.00 | 18442.60 | KUGANCONSTRUCTIONS
23.00 | S&F Pre- painted galvatume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified. The sheet shall be curved shape required for the car parking area. The galvalume profile sheet shall be bent crimped of the required shape and brought to the site for fixing at the curved profile steel section. | 2400.00 | SQM | 882.06 | 766.66 | 1839984.00 | 855.00 | 2052000.00 | 845.00 | 2028000.00 | 900.00 | 2160000.00 | 1839984.00 | KUGANCONSTRUCTIONS
24.00 | S&FPre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified. | 100.00 | SQM | 824.56 | 757.57 | 75757.00 | 825.00 | 82500.00 | 845.00 | 84500.00 | 750.00 | 75000.00 | 75000.00 | HARI ENTERPRISES
25.00 | M & L for forming 12mm thick,100mm wide Expansion joints filled with pre-formed bituminous filler and top 30mm primed and sealed with sealing compound, Grade ‘A’ (Thick of slab -100 mm ) | 90.00 | 10 RM | 665.05 | 450.45 | 40540.50 | 655.00 | 58950.00 | 635.00 | 57150.00 | 1500.00 | 135000.00 | 40540.50 | KUGANCONSTRUCTIONS
26.00 | Supply and Fixing of mild steel flat 50mm width and 6 mm thick on the existing roof surfaces including cutting to shape, drilling holes for fixing 'J' Bolts 2 Nos Per Rafter (each one on both sides of each rafter,the rafter spacing is 4.00 metres) and the remaining distance between each rafter shall be fixed with self drilling / self tapping anti corrisive screws (not less than 2 Nos per RM of 55mm length screws) with EPDM seal and screw heads shall be applied with MS polymer (modified selaine) based sealant / adhesive to seal drilling holes in MS Flat / Galvalume sheet. complete all as directed by EIC. | 100.00 | RM | 260.00 | 255.55 | 25555.00 | 255.00 | 25500.00 | 1650.00 | 165000.00 | 250.00 | 25000.00 | 25000.00 | HARI ENTERPRISES
27.00 | Suppy and fixing of steel work in tubular trusses, square tube,rectungalar tube, hollow section including special shaped washer etc. complete using ERW or induction butt welded tubes on forming to I. S.1161- 1979 grade St.-240 . | 38000.00 | KG | 142.73 | 123.33 | 4686540.00 | 125.00 | 4750000.00 | 137.00 | 5206000.00 | 145.00 | 5510000.00 | 4686540.00 | KUGANCONSTRUCTIONS
28.00 | Supply & fixing of anodised aluminium frame for partition,doors, windows, ventilators with one or more rebates including joining cleat for fixing and powder coating ( minimum thickness of powder coating 50 micron) etc. complete all as specified. | 9800.00 | KG | 628.95 | 521.21 | 5107858.00 | 605.00 | 5929000.00 | 600.00 | 5880000.00 | 650.00 | 6370000.00 | 5107858.00 | KUGANCONSTRUCTIONS
29.00 | M&L for pre-laminated particle board of 12 mm thick with both sides with decorative choice lamination. | 1650.00 | SQM | 979.80 | 799.99 | 1319983.50 | 975.00 | 1608750.00 | 937.00 | 1546050.00 | 1150.00 | 1897500.00 | 1319983.50 | KUGANCONSTRUCTIONS
30.00 | S & F of 5.5 mm thick Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane. | 800.00 | SQM | 1385.72 | 1002.02 | 801616.00 | 1055.00 | 844000.00 | 1525.00 | 1220000.00 | 700.00 | 560000.00 | 560000.00 | HARI ENTERPRISES
31.00 | S&F of Anodised aluminium snap grid 605 x 605 mm frame work for false ceiling all as specified. | 2250.00 | SQM | 562.68 | 466.66 | 1049985.00 | 555.00 | 1248750.00 | 540.00 | 1215000.00 | 600.00 | 1350000.00 | 1049985.00 | KUGANCONSTRUCTIONS
32.00 | M&L for Exposed metal frame ceiling with 8 mm thick calcium silicate board of siliceous and calcareous material reinforcedwith cellulose fibre for fixing in 600 mm x 600mm grid (Frame work for ceiling shall be measured and paid separately) | 2250.00 | SQM | 518.88 | 444.44 | 999990.00 | 545.00 | 1226250.00 | 455.00 | 1023750.00 | 1450.00 | 3262500.00 | 999990.00 | KUGANCONSTRUCTIONS
33.00 | S & F of Anodised aluminium door shutters, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, ruber neoprene packing, handles 2 Nos in each door, hinges,anodised aluminum snap beading screws & powder coating ( thickness of powder coating not less than 50 micron) etc. complete all as specified. | 150.00 | SQM | 1662.62 | 1777.77 | 266665.50 | 1755.00 | 263250.00 | 1590.00 | 238500.00 | 3500.00 | 525000.00 | 238500.00 | JDN Construction
34.00 | S & F of Aluminium die cast Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 50.00 | EACH | 1497.30 | 1449.49 | 72474.50 | 1625.00 | 81250.00 | 1315.00 | 65750.00 | 1650.00 | 82500.00 | 65750.00 | JDN Construction
35.00 | M&Lfor double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass,other parts made of mild steel heavy duty and fixed. | 20.00 | EACH | 4294.10 | 3222.22 | 64444.40 | 4755.00 | 95100.00 | 15100.00 | 302000.00 | 10500.00 | 210000.00 | 64444.40 | KUGANCONSTRUCTIONS
36.00 | Material and labour for applying two coats of plastic emulsion paint with one coat primer on internal & exterior wall and new painted surfaces of any description over 10cm girth or width, not other wise described all complete. | 2800.00 | SQM | 164.68 | 129.29 | 362012.00 | 165.00 | 462000.00 | 145.00 | 406000.00 | 125.00 | 350000.00 | 350000.00 | HARI ENTERPRISES
37.00 | Material and labour for applying two coats of plastic emulsion paint with one coat primer on internal & exterior wall and old painted surfaces of any description over 10cm girth or width, not otherwise described all complete. | 500.00 | SQM | 173.54 | 144.44 | 72220.00 | 165.00 | 82500.00 | 165.00 | 82500.00 | 125.00 | 62500.00 | 62500.00 | HARI ENTERPRISES
38.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of red oxide primer including preparing new surfaces . | 1200.00 | SQM | 162.50 | 129.99 | 155988.00 | 165.00 | 198000.00 | 155.00 | 186000.00 | 100.00 | 120000.00 | 120000.00 | HARI ENTERPRISES
39.00 | Removal of debris (rocks) exceeding 1.5Km but not exceeding 5 km and depositing where directed. | 121.00 | CUM | 990.73 | 666.66 | 80665.86 | 655.00 | 79255.00 | 545.00 | 65945.00 | 1250.00 | 151250.00 | 65945.00 | JDN Construction
40.00 | Removal of soils exceeding 1.5Km but not exceeding 5 km and depositing where directed. | 65.00 | CUM | 787.29 | 555.55 | 36110.75 | 755.00 | 49075.00 | 476.00 | 30940.00 | 950.00 | 61750.00 | 30940.00 | JDN Construction
41.00 | One light point or one fan point wiring controlled by one switch with PVC single core cables 1.5 sq. mm size in PVC conduit. | 390.00 | POINT | 1191.30 | 907.77 | 354030.30 | 1255.00 | 489450.00 | 1090.00 | 425100.00 | 1250.00 | 487500.00 | 354030.30 | KUGANCONSTRUCTIONS
42.00 | Wiring for circuit / sub main wiring alongwith earth wire 2 X 2.5 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 2.5 Sq.mm.including PVC conduit & accessories. | 1640.00 | RM | 222.25 | 179.79 | 294855.60 | 245.00 | 401800.00 | 205.00 | 336200.00 | 450.00 | 738000.00 | 294855.60 | KUGANCONSTRUCTIONS
43.00 | Wiring for circuit / sub main wiring alongwith earth wire 2x4.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 4.0 Sq.mm.including PVC conduit & accessories. | 1375.00 | RM | 258.00 | 202.22 | 278052.50 | 275.00 | 378125.00 | 217.00 | 298375.00 | 650.00 | 893750.00 | 278052.50 | KUGANCONSTRUCTIONS
44.00 | Material & Labour for PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 350 x 300 x 50 mm deep | 160.00 | EACH | 207.84 | 165.65 | 26504.00 | 225.00 | 36000.00 | 190.00 | 30400.00 | 500.00 | 80000.00 | 26504.00 | KUGANCONSTRUCTIONS
45.00 | Supply and fixing of switch socket combination 2 in 1, 6 amp, flush type.240 volts, AC. (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or suitably equivalent make. | 101.00 | EACH | 446.64 | 373.33 | 37706.33 | 445.00 | 44945.00 | 410.00 | 41410.00 | 250.00 | 25250.00 | 25250.00 | HARI ENTERPRISES
46.00 | Supply and fixing of Switch socket combination 6A/16A, 5 in 1, flush type. (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or suitably equivalent make. | 410.00 | EACH | 354.36 | 288.88 | 118440.80 | 305.00 | 125050.00 | 325.00 | 133250.00 | 450.00 | 184500.00 | 118440.80 | KUGANCONSTRUCTIONS
47.00 | Supply and fixing of switch piano, flush type, 6 amps, single pole, one way. (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or suitably equivalent make. | 420.00 | EACH | 144.96 | 119.99 | 50395.80 | 115.00 | 48300.00 | 135.00 | 56700.00 | 85.00 | 35700.00 | 35700.00 | HARI ENTERPRISES
48.00 | Supply and fixing LED lights fitting 1x22 Watt, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. (Make: Philips/Havells/Osram) or suitably equivalent make. | 155.00 | EACH | 1614.74 | 1333.30 | 206661.50 | 1255.00 | 194525.00 | 1480.00 | 229400.00 | 1500.00 | 232500.00 | 194525.00 | Siva Enterprises
49.00 | Material & Labour for 3 phase/ PVC/ Polycorbonate, isolated ceiling rose . Make: (ANCHOR/HAVELS/ ZEN/ KUNDAN) or suitably equivalent make. | 500.00 | EACH | 78.84 | 60.60 | 30300.00 | 85.00 | 42500.00 | 72.00 | 36000.00 | 105.00 | 52500.00 | 30300.00 | KUGANCONSTRUCTIONS
50.00 | Demolition of concrete, unreinforced Concrete in ground floors and pavings n exc 15 cm thickness (below or above ground level) | 10.00 | CUM | 1655.40 | 1333.30 | 13333.00 | 1755.00 | 17550.00 | 1520.00 | 15200.00 | 1000.00 | 10000.00 | 10000.00 | HARI ENTERPRISES
51.00 | Supply and filling of cement concrete of wherever demolition work done work in surface channels and drains 40 mm graded aggregate. type B2 ( 1:2:4) | 10.00 | CUM | 7903.32 | 6399.99 | 63999.90 | 7455.00 | 74550.00 | 7245.00 | 72450.00 | 7000.00 | 70000.00 | 63999.90 | KUGANCONSTRUCTIONS
52.00 | Supplied & fixing of Double pole enclosure with a two pin and earth plug and socket complete with one single pole MCB 240 V 20amp (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or suitably equivalent make. | 51.00 | EACH | 2497.80 | 1999.99 | 101999.49 | 2455.00 | 125205.00 | 2290.00 | 116790.00 | 650.00 | 33150.00 | 33150.00 | HARI ENTERPRISES
53.00 | Supply & fixing of Four pole Isolater, 415V, 100A (Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM) or suitably equivalent make. | 50.00 | EACH | 2640.96 | 2099.99 | 104999.50 | 2955.00 | 147750.00 | 2420.00 | 121000.00 | 5500.00 | 275000.00 | 104999.50 | KUGANCONSTRUCTIONS
54.00 | Supplied & fixed 240V Isolator SP 40A, Make: STANDARD/HAVELS/SIEMENS/ LEGREND or suitably equivalent make. | 275.00 | EACH | 432.17 | 340.40 | 93610.00 | 415.00 | 114125.00 | 396.00 | 108900.00 | 2500.00 | 687500.00 | 93610.00 | KUGANCONSTRUCTIONS
55.00 | Supply & Fixing of sheet metal enclosures for DB'S when MCBs Double Door Supplied & fixed Triple pole & neutral 415 V, 12 way Make: (STANDARD/ HAWELS/ SIEMENS/ LEGREND) or suitably equivalent make. | 8.00 | EACH | 5499.96 | 4444.44 | 35555.52 | 5755.00 | 46040.00 | 5040.00 | 40320.00 | 12500.00 | 100000.00 | 35555.52 | KUGANCONSTRUCTIONS
56.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC). (Make: Crompton/ Bajaj/ Automberg/ Havells) or suitably equivalent make. | 111.00 | EACH | 3179.36 | 3155.55 | 350266.05 | 3255.00 | 361305.00 | 2915.00 | 323565.00 | 2750.00 | 305250.00 | 305250.00 | HARI ENTERPRISES
57.00 | Supply & fixing of GI Pipes heavy class, 25 mm dia. | 136.00 | RM | 408.00 | 300.30 | 40840.80 | 325.00 | 44200.00 | 375.00 | 51000.00 | 350.00 | 47600.00 | 40840.80 | KUGANCONSTRUCTIONS
58.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 8 way, 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND) or suitably equivalent make. | 10.00 | EACH | 4306.44 | 3444.44 | 34444.40 | 3255.00 | 32550.00 | 3950.00 | 39500.00 | 10500.00 | 105000.00 | 32550.00 | Siva Enterprises
59.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 6 way, 415 volt, AC. (Make: STANDARD/ HAWELS/ SIEMENS / LEGREND) or suitably equivalent make. | 12.00 | EACH | 3823.44 | 3055.55 | 36666.60 | 3755.00 | 45060.00 | 3505.00 | 42060.00 | 9500.00 | 114000.00 | 36666.60 | KUGANCONSTRUCTIONS
60.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 4 way, 415 volt, AC. (Make: STANDARD /HAWELS/ SIEMENS/ LEGREND) or suitably equivalent make. | 24.00 | EACH | 3171.24 | 2555.55 | 61333.20 | 3255.00 | 78120.00 | 2910.00 | 69840.00 | 6500.00 | 156000.00 | 61333.20 | KUGANCONSTRUCTIONS
61.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers. (Make : USHA/ HAVELLS/ BAJAJ/ CROMPTON) or suitably equivalent make. | 11.00 | EACH | 4258.31 | 3333.33 | 36666.63 | 4455.00 | 49005.00 | 3900.00 | 42900.00 | 3950.00 | 43450.00 | 36666.63 | KUGANCONSTRUCTIONS
62.00 | Taking down carefully copper / aluminum point wiring (light, fan, socket or power) complete, (fittings such us switches, ceiling roses, pendants, regulators, sockets etc. to be measured separately), removing materials to store for keeping inside safe custody for re – use at site and making good disturbed surfaces of walls, floors, etc | 120.00 | PER POINT | 282.72 | 199.99 | 23998.80 | 275.00 | 33000.00 | 260.00 | 31200.00 | 125.00 | 15000.00 | 15000.00 | HARI ENTERPRISES
63.00 | Taking down carefully unscrewing from boards/out-let boxes, fittings and fixtures such as switches sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for re-use at site or carrying to the store (To be measured only when found service cable in all respects complete for re-use). | 80.00 | PER POINT | 41.93 | 30.33 | 2426.40 | 45.00 | 3600.00 | 39.00 | 3120.00 | 150.00 | 12000.00 | 2426.40 | KUGANCONSTRUCTIONS
64.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete.(Make: Philips/Havells/Osram) or Suitably Equivalent make. | 90.00 | EACH | 5123.03 | 4005.50 | 360495.00 | 4755.00 | 427950.00 | 4700.00 | 423000.00 | 4500.00 | 405000.00 | 360495.00 | KUGANCONSTRUCTIONS
65.00 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 20 cm girth Brick walls. | 248.00 | RM | 66.72 | 49.49 | 12273.52 | 65.00 | 16120.00 | 60.00 | 14880.00 | 205.00 | 50840.00 | 12273.52 | KUGANCONSTRUCTIONS
66.00 | Materials & labour PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 35 sq. mm, 3½ core | 130.00 | RM | 282.32 | 211.11 | 27444.30 | 275.00 | 35750.00 | 260.00 | 33800.00 | 425.00 | 55250.00 | 27444.30 | KUGANCONSTRUCTIONS
| Total in Figures |  |  |  |  | 26375952.48 |  | 29725045.00 |  | 30404856.00 |  | 33836515.00
Lowest Amount Quoted BY: KUGANCONSTRUCTIONS(26375952.48)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO THE OFFICE ROOM ENCLOSURES, IEs REST ROOM AND STORES OF TOOL ROOM, OH(PDN), OH(A) SHOP AND PROVISION OF CAR PARKING / SCOOTER PARKING FOR OH(A) SHOP AT HVF, AVADI. Tender ID: 2024_AVNL_211926_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KUGANCONSTRUCTIONS (BID ID -764956) | 26375952.48 | L1
| 2 | Siva Enterprises (BID ID -764928) | 29725045.00 | L2
| 3 | JDN Construction (BID ID -764747) | 30404856.00 | L3
| 4 | HARI ENTERPRISES (BID ID -764590) | 33836515.00 | L4