## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 30-Jan-2025 10:22 AM Tender Title: REPAIRS / RENOVATION OF VIJAYANTHA INSTITUTE AT HVF ESTATE Tender ID: 2024_AVNL_212388_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HVF, AVADI, CHENNAI, 600 054
Name of Work: REPAIRS / RENOVATION OF VIJAYANTHA INSTITUTE AT HVF ESTATE
Tender No: HVF/TE/13025/CEO/2024-25/44
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -765009 |  | Siva Enterprises (GSTN-NA) BID ID -764939 |  | VIJAYALAKSHMI ENETERPRISES (GSTN-NA) BID ID -764959 |  | DEEPAM ENTERPRISES (GSTN-NA) BID ID -765010 |  | S VINAYAGAMURTHY (GSTN-NA) BID ID -765089
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down window frame with shutter not exceeding 1.50 SqM and removing to CE Stores. | 10.00 | Each | 261.36 | 2000.00 | 20000.00 | 255.00 | 2550.00 | 170.00 | 1700.00 | 192.00 | 1920.00 | 175.00 | 1750.00 | 1700.00 | VIJAYALAKSHMI ENETERPRISES
2.00 | Demolition of brick work or stone / boulder masonry built in cement mortar or cement lime mortar. | 2.00 | CuM | 1806.13 | 2387.00 | 4774.00 | 1455.00 | 2910.00 | 650.00 | 1300.00 | 1000.00 | 2000.00 | 620.00 | 1240.00 | 1240.00 | S VINAYAGAMURTHY
3.00 | Taking down plastering cement lime or cement mortar without removing lathing. | 75.00 | SqM | 31.74 | 150.00 | 11250.00 | 25.00 | 1875.00 | 35.00 | 2625.00 | 25.00 | 1875.00 | 31.00 | 2325.00 | 1875.00 | Siva Enterprises, DEEPAM ENTERPRISES
4.00 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust, etc. | 10.00 | SqM | 38.94 | 240.00 | 2400.00 | 35.00 | 350.00 | 38.00 | 380.00 | 35.00 | 350.00 | 39.00 | 390.00 | 350.00 | Siva Enterprises, DEEPAM ENTERPRISES
5.00 | Dismantling floor, hearth or wall tiling including cement mortar bedding. | 580.00 | SqM | 98.45 | 150.00 | 87000.00 | 95.00 | 55100.00 | 75.00 | 43500.00 | 90.00 | 52200.00 | 101.00 | 58580.00 | 43500.00 | VIJAYALAKSHMI ENETERPRISES
6.00 | Dismantling of false ceiling boards (fibre, pulp, insulation etc.,) or insulation boards/slabs/ blankets, of any thickness and removing to CE Stores as directed. | 85.00 | SqM | 45.76 | 190.00 | 16150.00 | 35.00 | 2975.00 | 45.00 | 3825.00 | 29.00 | 2465.00 | 45.00 | 3825.00 | 2465.00 | DEEPAM ENTERPRISES
7.00 | Dismantling structural steel work including doors, gates, windows but excluding framed truss etc. | 2.50 | Quintal | 685.96 | 2385.00 | 5962.50 | 725.00 | 1812.50 | 650.00 | 1625.00 | 600.00 | 1500.00 | 680.00 | 1700.00 | 1500.00 | DEEPAM ENTERPRISES
8.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 40.00 | SqM | 781.66 | 477.00 | 19080.00 | 745.00 | 29800.00 | 599.00 | 23960.00 | 675.00 | 27000.00 | 786.00 | 31440.00 | 19080.00 | Intex Space Solutions Private Limited
9.00 | Material and Labour for Gl frame work for seamless ceiling comprising of Gl perimeter channel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre / intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc. 1.2 m length) of 0.55mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre with Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceiling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia, 40mm long complete all as specified and as directed by EIC. | 270.00 | SqM | 654.75 | 1195.00 | 322650.00 | 595.00 | 160650.00 | 599.00 | 161730.00 | 435.00 | 117450.00 | 690.00 | 186300.00 | 117450.00 | DEEPAM ENTERPRISES
10.00 | Material and Labour for providing and fixing 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface with metal frame work and reinforced with G.I. wire mesh (Fillets, metal frame work and G.I. wire mesh paid separately) including for any raised or sunk moulding complete as directed by EIC and also making the provisions for electtrical fittings etc., by cutting the board as approved and complete. | 270.00 | SqM | 1732.92 | 720.00 | 194400.00 | 1655.00 | 446850.00 | 1200.00 | 324000.00 | 1325.00 | 357750.00 | 1460.00 | 394200.00 | 194400.00 | Intex Space Solutions Private Limited
11.00 | Material and Labour for providing cornice to the false ceiling at the corners of 15cm width and apply neeru finish/putty and one coat of primer and two coats of plastic emulsion complete as directed by EIC. | 140.00 | RM | 305.00 | 140.00 | 19600.00 | 325.00 | 45500.00 | 250.00 | 35000.00 | 270.00 | 37800.00 | 328.00 | 45920.00 | 19600.00 | Intex Space Solutions Private Limited
12.00 | Material and Labour for Vitrified Ceramic tiles (Dark shade/Double charged / Ultracharged) 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floors/wall etc., set and joint in neat cement slurry and pointed in white or coloured cement to match including plastering in CM 1:4 15mm thick on existing walls for fixing tiles. | 580.00 | SqM | 2403.58 | 1290.00 | 748200.00 | 1755.00 | 1017900.00 | 1999.00 | 1159420.00 | 2100.00 | 1218000.00 | 1900.00 | 1102000.00 | 748200.00 | Intex Space Solutions Private Limited
13.00 | Providing and fixing factory made uPVC white color Sliding window Two track made of extruded profiles with wall thickness of 2.3mm (± 0.2mm). Window profile with hollow section with multi chamber, Frame (60mm x 62mm). sash (42mm x 67mm). Sliding Interlock (One vertical length in each shutters) (45.5mm x 28mm). Glazing bead (24.5mm x 16mm) will be mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket 1.2 ± 0.2mm thick galvanized steel frame (30mm x 21.5mm), Sash (30mm x 18mm), profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware : [Touch Lock of zinc alloyed (white powder coated), steel roller system including 5mm thick glazing with selected quality glass, aluminum track on bottom rail for two track sliding frame, wool pine for Sliding sash and interlock.] (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose). (A) Area not exceeding 2.00 sqm each and includes all fittings as directed by EIC) | 40.00 | SqM | 10281.54 | 6200.00 | 248000.00 | 9455.00 | 378200.00 | 9750.00 | 390000.00 | 8450.00 | 338000.00 | 9500.00 | 380000.00 | 248000.00 | Intex Space Solutions Private Limited
14.00 | Providing and fixing factory made uPVC white colour fixed window made of extruded profiles with wall thickness of 2.3mm(± 0.2mm). Window profile with hollow section with multi chamber. Frame (60mm x 58mm). T profile (One vertical length in between two shutters) (60mm x 74mm). Glazing bead (35mm x 20mm) will be mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware, EPDM gasket. 1.2 ± 0.2mm thick, galvanized steel Frame (28mm x 21.5mm), T profile (27mm x 17 mm) to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners - 5mm thick glazing with selected quality glass. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories Net opening will be measured for payment purpose.) (A) Area not exceeding 1.00 sqm each | 40.00 | SqM | 11640.62 | 6200.00 | 248000.00 | 9255.00 | 370200.00 | 9990.00 | 399600.00 | 9450.00 | 378000.00 | 11000.00 | 440000.00 | 248000.00 | Intex Space Solutions Private Limited
15.00 | Providing and fixing factory made uPVC white colour casement (Openable) Door made of extruded profile with wall thickness of 2.3mm ( ± 0.2mm). Window profile with hollow section with multi chamber, frame (60mm x 58mm), sash (60mm x 78mm). T profile (One vertical length in between two shutters) (60mm x74mm). Glazing bead (35mm x 20mm) will be mitered cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket 1.2 ± 0.2mm thick galvanized steel Frame (28mm x 21.5mm), sash (31mm x 27mm), T profile (27mm x 17mm) to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fasteners. Hardware: [casement door handle made of zinc alloyed (white powder coated). Corner striker. Secondary Strikers. Cylinder. Door transmission gear made of mild sleel with multi point locking system with strikes. 3D Hinges of zinc alloyed (white powder coated)] and 5mm thick glazing with selected quality glass. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose). | 5.00 | SqM | 12282.73 | 10000.00 | 50000.00 | 9955.00 | 49775.00 | 11000.00 | 55000.00 | 10875.00 | 54375.00 | 12590.00 | 62950.00 | 49775.00 | Siva Enterprises
16.00 | Supply and fixing of Sheet glass ordinary quality 5.50mm thick and glazing with oil putty in square not exceeding 0.5 sq.m in each pane. | 85.00 | SqM | 1019.59 | 1520.00 | 129200.00 | 1045.00 | 88825.00 | 975.00 | 82875.00 | 906.00 | 77010.00 | 1010.00 | 85850.00 | 77010.00 | DEEPAM ENTERPRISES
17.00 | Providing and fixing of Glass Film stickering of Generic Forest landscape, any scenery, god /goddess etc., as approved and as directed with warranty as per the manufacturer specification and instructions. | 85.00 | SqM | 1550.00 | 880.00 | 74800.00 | 1655.00 | 140675.00 | 1625.00 | 138125.00 | 1400.00 | 119000.00 | 1590.00 | 135150.00 | 74800.00 | Intex Space Solutions Private Limited
18.00 | Providing and fixing Zebra blinds with fabric Finish with approved texture with top fixing brackets roller chains and finish as required at site. | 20.00 | Each | 1600.00 | 8000.00 | 160000.00 | 1755.00 | 35100.00 | 1800.00 | 36000.00 | 1600.00 | 32000.00 | 1745.00 | 34900.00 | 32000.00 | DEEPAM ENTERPRISES
19.00 | Providing and fixing solid First class Teak wood door with wooden door frames of size of 5"x 4" with teak wood designer beeding wide 6"x 20mm thick around the frame, Providing 40 mm door Shutter single leaf with engraving as directed. Size of the Door shall be ( 3 1/2' x 7') with 4 Nos of 5" door Brass hinges, 300 mm ornamental brass handles two numbers, Brass tower bolts 200mm two numbers, 250mm Brass Aldrop bolt one number,with Brass Door stopper and finished with one coat of wooden seelar and two coat of wooden polish matt / Glossy finish as directed. | 1.00 | Each | 125000.00 | 57000.00 | 57000.00 | 85000.00 | 85000.00 | 14000.00 | 14000.00 | 122000.00 | 122000.00 | 134567.00 | 134567.00 | 14000.00 | VIJAYALAKSHMI ENETERPRISES
20.00 | Supply and fixing of ACP Panels Wooden Finish/Dark Colour with Necessary Aluminium Frame work as approved and as directed by EIC. | 70.00 | SqM | 8000.00 | 4775.00 | 334250.00 | 6455.00 | 451850.00 | 7800.00 | 546000.00 | 8000.00 | 560000.00 | 7950.00 | 556500.00 | 334250.00 | Intex Space Solutions Private Limited
21.00 | Supply and fixing of Aluminium Rectangular Tubes of size 50x25 mm Powder coating wood Finish as approved and as directed by EIC. | 250.00 | RM | 400.00 | 280.00 | 70000.00 | 425.00 | 106250.00 | 400.00 | 100000.00 | 380.00 | 95000.00 | 405.00 | 101250.00 | 70000.00 | Intex Space Solutions Private Limited
22.00 | Material and Labour for Providing Anti-termite along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear meter including drilling and plugging holes, etc., in apron complete all as directed by EIC. | 250.00 | RM | 98.12 | 280.00 | 70000.00 | 95.00 | 23750.00 | 90.00 | 22500.00 | 75.00 | 18750.00 | 85.00 | 21250.00 | 18750.00 | DEEPAM ENTERPRISES
23.00 | Material and Labour for providing Anti-termite treatment of soil under existing floors using emulsion @ one litre per hole, 300mm apart including drilling and plugging 12mm dia holes with cement mortar 1:2 (1 cement: 2 coarse sand) to match the existing floors. | 580.00 | SqM | 232.10 | 470.00 | 272600.00 | 195.00 | 113100.00 | 200.00 | 116000.00 | 200.00 | 116000.00 | 230.00 | 133400.00 | 113100.00 | Siva Enterprises
24.00 | Dismantling of AC sheet (corrugated,semicorrugated, etc.) in roofing covering as directed by EIC. | 35.00 | SqM | 38.50 | 850.00 | 29750.00 | 45.00 | 1575.00 | 35.00 | 1225.00 | 30.00 | 1050.00 | 38.00 | 1330.00 | 1050.00 | DEEPAM ENTERPRISES
25.00 | Supply and Fixing of (Fe 410 -W (Gde- E- 250) quality-A Roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. | 1725.00 | Kg | 138.67 | 190.00 | 327750.00 | 145.00 | 250125.00 | 135.00 | 232875.00 | 130.00 | 224250.00 | 148.00 | 255300.00 | 224250.00 | DEEPAM ENTERPRISES
26.00 | Supply and Fixing of pre-painted galvalume aluminium zinc coating GI based corrugated steel sheet 0.50mm (TCT) thick of any colour having tensile strength of 550 Mpa as in roof covering /cladding to wall fixed with self-tapping screws as specified. | 310.00 | SqM | 843.71 | 1050.00 | 325500.00 | 855.00 | 265050.00 | 799.00 | 247690.00 | 800.00 | 248000.00 | 875.00 | 271250.00 | 247690.00 | VIJAYALAKSHMI ENETERPRISES
27.00 | Supply of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level, white, Flush pipe of polyethylene of low or high density or PVC 32 mm dia, for low level cistern with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom and cover and mild steel chromium plated or aluminised hinging device etc., | 2.00 | Each | 6144.41 | 5767.00 | 11534.00 | 5955.00 | 11910.00 | 5000.00 | 10000.00 | 4600.00 | 9200.00 | 6700.00 | 13400.00 | 9200.00 | DEEPAM ENTERPRISES
28.00 | Providing and fixing in position Toilet Health Facet with chromed flexible hose & Wall Bracket. Make : JAGUAR / KOHLER /DURAVIT or Suitably Equivalent make as approved by EIC. | 2.00 | Each | 1600.00 | 1145.00 | 2290.00 | 1655.00 | 3310.00 | 1650.00 | 3300.00 | 1550.00 | 3100.00 | 1755.00 | 3510.00 | 2290.00 | Intex Space Solutions Private Limited
29.00 | Supply and Fixing of Vitreous China bowl (465X355X265) urinal flat back white, with grating and union for discharge pipe (excluding flushing cistern, but including flush pipe and waste pipe) including providing and fixing plugs, bedding urinal against wall in CM 1:2, fixed in repairs. | 2.00 | Each | 1996.21 | 5600.00 | 11200.00 | 2055.00 | 4110.00 | 2500.00 | 5000.00 | 1700.00 | 3400.00 | 2150.00 | 4300.00 | 3400.00 | DEEPAM ENTERPRISES
30.00 | Supply and fixing of urinal partition white of size 310 X 700 mm. | 1.00 | Each | 2138.62 | 5700.00 | 5700.00 | 2155.00 | 2155.00 | 2750.00 | 2750.00 | 1826.00 | 1826.00 | 2190.00 | 2190.00 | 1826.00 | DEEPAM ENTERPRISES
31.00 | Providing and fixing 600mm wide Wash basin of polished 19mm thick granite slab top of approved shade, Provide 200mm high front facia & band above the counter top of same shade granite. All exposed surfaces of platform to be finished in same granite slab and all cut-out, exposed edges to be bull nosed with mirror polished. Also include making necessary cut-outs through counter top. Cost to also include Removing old and making necessary cut-outs for taking drainage pipes and Nahni traps in raised platform with supporting frame and Fancy Type Pillar cock, stop cock all complete and finished to satisfactory conditions. The shades / make of wash basin and Granite will be as per the directives of E-I-C. | 2.00 | Each | 19250.00 | 5253.00 | 10506.00 | 21545.00 | 43090.00 | 20000.00 | 40000.00 | 17500.00 | 35000.00 | 21015.00 | 42030.00 | 10506.00 | Intex Space Solutions Private Limited
32.00 | Supply and Fixing of vitreous china wash basin 580x450 mm including long body pillar cock 15mm dia waste chain and plug 32 mm dia and porcelian stopper and removal of old one from the site. | 4.00 | Each | 2637.86 | 3450.00 | 13800.00 | 2755.00 | 11020.00 | 3500.00 | 14000.00 | 2225.00 | 8900.00 | 2890.00 | 11560.00 | 8900.00 | DEEPAM ENTERPRISES
33.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock, concealed type of size 15mm. | 10.00 | Each | 240.09 | 900.00 | 9000.00 | 255.00 | 2550.00 | 850.00 | 8500.00 | 450.00 | 4500.00 | 255.00 | 2550.00 | 2550.00 | Siva Enterprises, S VINAYAGAMURTHY
34.00 | Supply and Fixing of fancy type chromium plated cast copper alloy long body bib cock of size 15mm. | 10.00 | Each | 668.33 | 670.00 | 6700.00 | 655.00 | 6550.00 | 950.00 | 9500.00 | 600.00 | 6000.00 | 710.00 | 7100.00 | 6000.00 | DEEPAM ENTERPRISES
35.00 | Material and Labour for fixing Looking Mirror 600 x 450mm beveled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers with Fixing only glass shelf assembly. | 5.00 | Each | 776.27 | 3820.00 | 19100.00 | 755.00 | 3775.00 | 800.00 | 4000.00 | 645.00 | 3225.00 | 840.00 | 4200.00 | 3225.00 | DEEPAM ENTERPRISES
36.00 | Supply and Fixing of Rotational moulded polyethylene water storage tanks 1000 Lit (cylindrical vertical with closed top) hoisted and fixed in position including all fittings such as nipple, ball valve etc., all as specified in SSR Part - I. | 3.00 | Each | 9016.11 | 15000.00 | 45000.00 | 9455.00 | 28365.00 | 9000.00 | 27000.00 | 7950.00 | 23850.00 | 9750.00 | 29250.00 | 23850.00 | DEEPAM ENTERPRISES
37.00 | Supply and Fixing of Gun-metal, globe or gate valves 32mm, with iron wheel head, screwed both ends for iron pipe and fixed. | 3.00 | Each | 737.29 | 1145.00 | 3435.00 | 755.00 | 2265.00 | 990.00 | 2970.00 | 610.00 | 1830.00 | 780.00 | 2340.00 | 1830.00 | DEEPAM ENTERPRISES
38.00 | Material and Labour for 25mm Ball brass valves, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed. | 3.00 | Each | 537.10 | 760.00 | 2280.00 | 605.00 | 1815.00 | 750.00 | 2250.00 | 470.00 | 1410.00 | 590.00 | 1770.00 | 1410.00 | DEEPAM ENTERPRISES
39.00 | Taking up or down 25 or 32 mm steel tubing and connections and handing over to CE(E) Stores. | 50.00 | RM | 44.22 | 60.00 | 3000.00 | 45.00 | 2250.00 | 45.00 | 2250.00 | 24.00 | 1200.00 | 35.00 | 1750.00 | 1200.00 | DEEPAM ENTERPRISES
40.00 | Supply and Laying of CPVC 20mm dia pipes SD 11 & Plain CPVC SDR 11 fittings in Walls / Ceiling, complete all as specified. | 50.00 | RM | 269.06 | 115.00 | 5750.00 | 275.00 | 13750.00 | 225.00 | 11250.00 | 239.00 | 11950.00 | 268.00 | 13400.00 | 5750.00 | Intex Space Solutions Private Limited
41.00 | Supply and Fixing of Unplasticiscd PVC pipes 32mm dia of pressure rating 10 kgf/cm2 laid in trenches. | 30.00 | RM | 199.58 | 60.00 | 1800.00 | 195.00 | 5850.00 | 100.00 | 3000.00 | 110.00 | 3300.00 | 202.00 | 6060.00 | 1800.00 | Intex Space Solutions Private Limited
42.00 | Supply and fixing of PVC(SWR) pipe 110mm bend with access door. | 8.00 | Each | 187.00 | 460.00 | 3680.00 | 195.00 | 1560.00 | 200.00 | 1600.00 | 155.00 | 1240.00 | 165.00 | 1320.00 | 1240.00 | DEEPAM ENTERPRISES
43.00 | Supply and fixing of PVC(SWR) pipe 75mm bend with access door. | 5.00 | Each | 159.50 | 240.00 | 1200.00 | 155.00 | 775.00 | 175.00 | 875.00 | 130.00 | 650.00 | 151.00 | 755.00 | 650.00 | DEEPAM ENTERPRISES
44.00 | Supply and Fixing of PVC(SWR) pipes single socketed of 75 mm dia, laid in trenches including or in floors including all fittings complete as directed. | 30.00 | RM | 257.44 | 270.00 | 8100.00 | 255.00 | 7650.00 | 200.00 | 6000.00 | 195.00 | 5850.00 | 265.00 | 7950.00 | 5850.00 | DEEPAM ENTERPRISES
45.00 | Supply and Fixing of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 60.00 | RM | 444.00 | 307.00 | 18420.00 | 455.00 | 27300.00 | 235.00 | 14100.00 | 375.00 | 22500.00 | 460.00 | 27600.00 | 14100.00 | VIJAYALAKSHMI ENETERPRISES
46.00 | Supply and Fixing of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints fixed to walls. | 18.00 | RM | 522.24 | 307.00 | 5526.00 | 455.00 | 8190.00 | 240.00 | 4320.00 | 395.00 | 7110.00 | 515.00 | 9270.00 | 4320.00 | VIJAYALAKSHMI ENETERPRISES
47.00 | Supply and Fixing of PVC (SWR) junction single, (Single T) equal or unequal 110mm dia any radius. | 8.00 | Each | 554.43 | 307.00 | 2456.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 415.00 | 3320.00 | 490.00 | 3920.00 | 2456.00 | Intex Space Solutions Private Limited
48.00 | Supply and Fixing of PVC floor trap 75mm dia outlet with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete. | 5.00 | Each | 247.50 | 370.00 | 1850.00 | 255.00 | 1275.00 | 250.00 | 1250.00 | 215.00 | 1075.00 | 240.00 | 1200.00 | 1075.00 | DEEPAM ENTERPRISES
49.00 | Supply and Fixing of PVC (SWR) gully trap 125/110 mm, setting and jointing with neat cement solvent. | 2.00 | Each | 291.50 | 400.00 | 800.00 | 255.00 | 510.00 | 300.00 | 600.00 | 200.00 | 400.00 | 285.00 | 570.00 | 400.00 | DEEPAM ENTERPRISES
50.00 | Material and Labour for Brick wall Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc., and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth. | 30.00 | RM | 55.50 | 85.00 | 2550.00 | 55.00 | 1650.00 | 55.00 | 1650.00 | 50.00 | 1500.00 | 58.00 | 1740.00 | 1500.00 | DEEPAM ENTERPRISES
51.00 | Supply and Fixing of solid PVC door frame of size 50mm X 47mm made out of 5mm plain colour PVC sheet reinforced with M.S. square tube, supply and fixing in opening as per specification should be approved by E-I-C. | 22.00 | RM | 498.30 | 477.00 | 10494.00 | 455.00 | 10010.00 | 450.00 | 9900.00 | 409.00 | 8998.00 | 510.00 | 11220.00 | 8998.00 | DEEPAM ENTERPRISES
52.00 | Supply and Fixing of solid PVC door shutter 30mm thick (style) consisting of frame made of M.S. tubes for top & bottom rail. M.S.frame shall be covered with heat moulded plain colour PVC 'C channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for top rail, lock rail & bottom rail on either side & as gap insert for top rail & bottom rail; paneling of plain colour PVC sheet to be fitted in the M.S. frame welded/sealed to the stiles & rails with suitable PVC sheet beading, and joined together with solvent cement, supply and fixing in the frame at site as approved by E-I-C. | 5.50 | SqM | 2638.46 | 2390.00 | 13145.00 | 2455.00 | 13502.50 | 2500.00 | 13750.00 | 2105.00 | 11577.50 | 2670.00 | 14685.00 | 11577.50 | DEEPAM ENTERPRISES
53.00 | Erection and Fixing only of framed work using Fe 410 -W, A quality mild rolled steel tube, angles, plates etc., including cutting, welding and grouting in the brick work etc., complete. | 350.00 | Kg | 26.41 | 140.00 | 49000.00 | 25.00 | 8750.00 | 135.00 | 47250.00 | 20.00 | 7000.00 | 27.00 | 9450.00 | 7000.00 | DEEPAM ENTERPRISES
54.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning, filling in and ramming earth or broken rubble mixed with earth around in layers not exceeding 25cm. | 10.00 | Each | 419.54 | 3340.00 | 33400.00 | 425.00 | 4250.00 | 400.00 | 4000.00 | 375.00 | 3750.00 | 410.00 | 4100.00 | 3750.00 | DEEPAM ENTERPRISES
55.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 7.00 | CuM | 742.50 | 668.00 | 4676.00 | 755.00 | 5285.00 | 650.00 | 4550.00 | 545.00 | 3815.00 | 805.00 | 5635.00 | 3815.00 | DEEPAM ENTERPRISES
56.00 | Material and labour for Earth work excavation in hard/ dense soil for foundation width and depth exceeding 1.50m and not exce 3m and getting out. | 2.00 | CuM | 917.07 | 300.00 | 600.00 | 855.00 | 1710.00 | 785.00 | 1570.00 | 725.00 | 1450.00 | 930.00 | 1860.00 | 600.00 | Intex Space Solutions Private Limited
57.00 | Material and labour for sand filling in foundation including watering and consolidation. | 20.00 | CuM | 2171.73 | 4300.00 | 86000.00 | 2155.00 | 43100.00 | 2000.00 | 40000.00 | 1800.00 | 36000.00 | 1950.00 | 39000.00 | 36000.00 | DEEPAM ENTERPRISES
58.00 | Material and Labour for P.C.C 1:4:8, D2 type using 40mm graded aggregate in foundation. | 50.00 | CuM | 6031.41 | 5253.00 | 262650.00 | 5655.00 | 282750.00 | 5700.00 | 285000.00 | 5200.00 | 260000.00 | 5900.00 | 295000.00 | 260000.00 | DEEPAM ENTERPRISES
59.00 | Material and Labour for R.C.C A1 Type, 1: 1.5: 3 mix, M-20 (20mm graded aggregate) in foundations, including rafts, footings, column, beam, plinth beams, basement slab etc., | 2.00 | CuM | 8128.91 | 6920.00 | 13840.00 | 7955.00 | 15910.00 | 8250.00 | 16500.00 | 6650.00 | 13300.00 | 7800.00 | 15600.00 | 13300.00 | DEEPAM ENTERPRISES
60.00 | Material and Labour for R.C.C A1 Type, 1: 1.5: 3 mix, M-20 (20mm graded aggregate) in columns, pillars, piers, posts and struts etc. | 2.00 | CuM | 9131.21 | 7160.00 | 14320.00 | 8655.00 | 17310.00 | 9000.00 | 18000.00 | 7385.00 | 14770.00 | 8600.00 | 17200.00 | 14320.00 | Intex Space Solutions Private Limited
61.00 | Material and Labour for R.C.C A1 Type, 1: 1.5: 3 mix, M-20 (20mm graded aggregate) in Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like, etc. | 2.50 | CuM | 7851.47 | 6921.00 | 17302.50 | 8255.00 | 20637.50 | 7990.00 | 19975.00 | 6800.00 | 17000.00 | 7749.00 | 19372.50 | 17000.00 | DEEPAM ENTERPRISES
62.00 | Material and labour for deformed or twisted mild steel bars 10 mm dia and over cut to length bent to shape required including cranking, bending, spirally for hooping for columns, hooking ends and binding with and including mild stee wire not less than 0.9 mm dia or securing with clips. | 350.00 | Kg | 90.06 | 92.00 | 32200.00 | 95.00 | 33250.00 | 90.00 | 31500.00 | 78.00 | 27300.00 | 91.00 | 31850.00 | 27300.00 | DEEPAM ENTERPRISES
63.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 6mm to 8mm dia including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Use RINL-VIZAG Steel / SAIL / TATA - TISCON / "BIS"MARKED / or Suitably Equivalent Make as approved by EIC. | 250.00 | Kg | 92.28 | 92.00 | 23000.00 | 95.00 | 23750.00 | 92.00 | 23000.00 | 75.00 | 18750.00 | 92.00 | 23000.00 | 18750.00 | DEEPAM ENTERPRISES
64.00 | Material and Labour for form work to side of RCC Member Square, rectangular or polygonal such as columns, pillars etc., and the finishing shall be of fair finished surface. | 20.00 | SqM | 746.32 | 660.00 | 13200.00 | 655.00 | 13100.00 | 599.00 | 11980.00 | 550.00 | 11000.00 | 699.00 | 13980.00 | 11000.00 | DEEPAM ENTERPRISES
65.00 | Material and Labour for form work to Flat sides and soffits of floor or roof beam, beam, lintels, cantilevers, shelves, columns, slabs including supports, overhangs etc., and the finishing shall be of fair finished surface. | 15.00 | SqM | 597.51 | 660.00 | 9900.00 | 545.00 | 8175.00 | 500.00 | 7500.00 | 520.00 | 7800.00 | 563.00 | 8445.00 | 7500.00 | VIJAYALAKSHMI ENETERPRISES
66.00 | Material and Labour for form work to soffits rough finish Flat surfaces of suspended slabs such as roof slabs, floor slabs, landings and similar work not exceeding 200mm thick (Horizontal or sloping) and the finishing shall be of fair finished surface. | 25.00 | SqM | 633.22 | 654.00 | 16350.00 | 575.00 | 14375.00 | 525.00 | 13125.00 | 535.00 | 13375.00 | 610.00 | 15250.00 | 13125.00 | VIJAYALAKSHMI ENETERPRISES
67.00 | Material and Labour for Brick work built in CM.1:6 using Sub-Class “B” Bricks. | 22.00 | CuM | 6950.00 | 8844.00 | 194568.00 | 7255.00 | 159610.00 | 7000.00 | 154000.00 | 7000.00 | 154000.00 | 7002.00 | 154044.00 | 154000.00 | VIJAYALAKSHMI ENETERPRISES, DEEPAM ENTERPRISES
68.00 | Material and Labour for half Brick wall built in CM.1:4 using Sub-Class “B” Bricks. | 10.00 | SqM | 739.85 | 1145.00 | 11450.00 | 755.00 | 7550.00 | 700.00 | 7000.00 | 660.00 | 6600.00 | 755.00 | 7550.00 | 6600.00 | DEEPAM ENTERPRISES
69.00 | Material and Labour for Dubbing out average10mm thick on irregularface of walls (when specifically ordered in writing) Cement plaster 1:6. | 60.00 | SqM | 174.69 | 382.00 | 22920.00 | 155.00 | 9300.00 | 200.00 | 12000.00 | 155.00 | 9300.00 | 178.00 | 10680.00 | 9300.00 | Siva Enterprises, DEEPAM ENTERPRISES
70.00 | Material and Labour for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 250.00 | SqM | 289.43 | 477.00 | 119250.00 | 305.00 | 76250.00 | 290.00 | 72500.00 | 247.00 | 61750.00 | 315.00 | 78750.00 | 61750.00 | DEEPAM ENTERPRISES
71.00 | Material and Labour for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 15.00 | SqM | 279.08 | 430.00 | 6450.00 | 305.00 | 4575.00 | 275.00 | 4125.00 | 240.00 | 3600.00 | 305.00 | 4575.00 | 3600.00 | DEEPAM ENTERPRISES
72.00 | Material and labour fo PCC 1:2:4, B2 type using 20mm graded aggregate in foundation and flooring as directed by EIC. | 6.00 | CuM | 7186.66 | 7600.00 | 45600.00 | 6755.00 | 40530.00 | 7000.00 | 42000.00 | 6050.00 | 36300.00 | 7150.00 | 42900.00 | 36300.00 | DEEPAM ENTERPRISES
73.00 | Supply and Fixing of Vitrifield ceramic tiles 10mm thick light colour (square / rectangular), area of each tiles not exceeding 0.36 sqm in floors etc., Set and jointed in neat cement slurry and pointed in white or coloured cement to match, including Screed bedding 1:4, 15mm thick for laying floor finishes. | 15.00 | SqM | 1862.49 | 1290.00 | 19350.00 | 1755.00 | 26325.00 | 1750.00 | 26250.00 | 1550.00 | 23250.00 | 1780.00 | 26700.00 | 19350.00 | Intex Space Solutions Private Limited
74.00 | Supply and Fixing of Glazed colored ceramic tiles in vertical surface 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or colour cement to match. | 100.00 | SqM | 1472.24 | 1195.00 | 119500.00 | 1655.00 | 165500.00 | 1100.00 | 110000.00 | 1100.00 | 110000.00 | 1350.00 | 135000.00 | 110000.00 | VIJAYALAKSHMI ENETERPRISES, DEEPAM ENTERPRISES
75.00 | Material and labour for providing a cement concrete layer average thickness 40mm using B-0 1:2:4(12.5mm Grade) type concrete and finishing the surface even and smooth without using extra cement. | 5.00 | SqM | 362.01 | 7640.00 | 38200.00 | 355.00 | 1775.00 | 400.00 | 2000.00 | 295.00 | 1475.00 | 335.00 | 1675.00 | 1475.00 | DEEPAM ENTERPRISES
76.00 | Material and Labour for filling of moorum/red bajiri in floors or pavings, laid in layers not exceeding 15cm thick, spread, leveled and rammed including watering where directed. | 75.00 | CuM | 1364.11 | 2865.00 | 214875.00 | 1355.00 | 101625.00 | 1500.00 | 112500.00 | 1100.00 | 82500.00 | 1190.00 | 89250.00 | 82500.00 | DEEPAM ENTERPRISES
77.00 | Materilal and Labour for Machine pressed precast concrete interlocking paver block of any shape and size with grey cement and pigment confirming to IS 15668-2006 of 60mm thickness M-35 grade all complete as directed by EIC. | 240.00 | SqM | 851.84 | 860.00 | 206400.00 | 825.00 | 198000.00 | 830.00 | 199200.00 | 1050.00 | 252000.00 | 780.00 | 187200.00 | 187200.00 | S VINAYAGAMURTHY
78.00 | Supply and Fixing of Machine cut Kota stone slab 20-25mm thick in riser of steps, skirting, dado and pillar laid over cement screed and jointed in neat cement slurry and pointed in white or colored cement to match including screed bed in cement mortar 1:4, 15mm thick including polishing complete. | 75.00 | SqM | 1416.44 | 1600.00 | 120000.00 | 1355.00 | 101625.00 | 1400.00 | 105000.00 | 1155.00 | 86625.00 | 1275.00 | 95625.00 | 86625.00 | DEEPAM ENTERPRISES
79.00 | Material and labour for making nosing /Rounding to edges of Granite stone slabs one edge, such as in steps, platform, skirts, and othersimilar situations complete as direction by EIC. | 110.00 | RM | 140.00 | 180.00 | 19800.00 | 155.00 | 17050.00 | 150.00 | 16500.00 | 95.00 | 10450.00 | 155.00 | 17050.00 | 10450.00 | DEEPAM ENTERPRISES
80.00 | Material & Labour for providing and fixing stainless steel (Grade 304) railing made of hollow tubes,channels, plates etc., including welding, grinding, buffing, polishing and making curvature (where ever required) and fitting the same with necessary stainless steel nuts and bolts complete, including fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts, etc., of required size, on the top of floor or the side of waist slab with suitable arrangement. | 200.00 | kg | 555.92 | 715.00 | 143000.00 | 575.00 | 115000.00 | 650.00 | 130000.00 | 503.00 | 100600.00 | 540.00 | 108000.00 | 100600.00 | DEEPAM ENTERPRISES
81.00 | Material and Labour for Demolition and breaking up drain pipes (Salt glazed ware, AC or Reinforced concrete) set in cement mortar. (100 mm) | 40.00 | RM | 53.35 | 230.00 | 9200.00 | 55.00 | 2200.00 | 52.00 | 2080.00 | 35.00 | 1400.00 | 25.00 | 1000.00 | 1000.00 | S VINAYAGAMURTHY
82.00 | Material and Labour for Concrete bed to drain pipes (150mm) in PCC Type C2 1:3:6 Including packing under, and haunching against the sides of pipes after they are laid and tested; | 115.00 | RM | 513.58 | 860.00 | 98900.00 | 475.00 | 54625.00 | 400.00 | 46000.00 | 415.00 | 47725.00 | 450.00 | 51750.00 | 46000.00 | VIJAYALAKSHMI ENETERPRISES
83.00 | Material and Labour for 150mm Salt-glazed stoneware drain pipes laid in trenches and jointed as specified. | 100.00 | RM | 493.38 | 574.00 | 57400.00 | 525.00 | 52500.00 | 499.00 | 49900.00 | 450.00 | 45000.00 | 450.00 | 45000.00 | 45000.00 | DEEPAM ENTERPRISES, S VINAYAGAMURTHY
84.00 | Material and labour for precast cement concrete type B1 1:2:4 20 mm graded aggregate set in cement mortar 1:6 in landings, cover slabs, manholes, chullas hoods, chajjas water groughs, mangers, shelves and similar articles with plain faces. | 2.00 | CuM | 12140.48 | 10500.00 | 21000.00 | 9455.00 | 18910.00 | 9999.00 | 19998.00 | 10300.00 | 20600.00 | 10400.00 | 20800.00 | 18910.00 | Siva Enterprises
85.00 | Supply and fixing of Cement concrete Tiles 20cm x 20cm x 20mm thick with grey cement and pigment machine pressed with screed bed or bedding layer in CM 1:3 , 15mm thick and pointed in neat cement slurry in floors and cut polished. | 48.00 | SqM | 1452.83 | 1245.00 | 59760.00 | 1155.00 | 55440.00 | 1250.00 | 60000.00 | 1270.00 | 60960.00 | 1520.00 | 72960.00 | 55440.00 | Siva Enterprises
86.00 | Material and Labour for 20mm thick Granite (of any type) work (table rubbed and polished) for wall lining (veneering to wall) 12mm thick in cement mortar (1:3) and pointing with white cement (1:2) using marble dust with admixture of pigment to match with shade of granite. | 10.00 | SqM | 5041.96 | 5730.00 | 57300.00 | 4955.00 | 49550.00 | 4500.00 | 45000.00 | 4370.00 | 43700.00 | 5300.00 | 53000.00 | 43700.00 | DEEPAM ENTERPRISES
87.00 | Supply and Fixing of Fe 410-W (Gde-E-250), Quality-A, Framed work as in doors or gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete,at site as per design/model approved by E-I-C. | 450.00 | Kg | 129.47 | 115.00 | 51750.00 | 125.00 | 56250.00 | 135.00 | 60750.00 | 110.00 | 49500.00 | 131.00 | 58950.00 | 49500.00 | DEEPAM ENTERPRISES
88.00 | Material and Labour for metallic painting of steel surfaces with two coats of synthetic enamel paint and painting a coat of red chrome or zinc chromate primer over the steel surfaces including preparation of new surfaces. | 10.00 | SqM | 405.00 | 230.00 | 2300.00 | 445.00 | 4450.00 | 425.00 | 4250.00 | 370.00 | 3700.00 | 365.00 | 3650.00 | 2300.00 | Intex Space Solutions Private Limited
89.00 | Material and Labour for white washing on ceiling with two coats including preparation of old ceiling surfaces. | 20.00 | SqM | 24.42 | 190.00 | 3800.00 | 25.00 | 500.00 | 20.00 | 400.00 | 20.00 | 400.00 | 24.00 | 480.00 | 400.00 | VIJAYALAKSHMI ENETERPRISES, DEEPAM ENTERPRISES
90.00 | Material and labour for applying one coat of primer and two coat of white cement based wall care putty 3mm in new walls / ceiling including removal of loose/peel off existing treatment, if any and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4. (Make shall be of JK white putty or Birla white wall care putty or suitably Equivalent make as approved by EIC). | 150.00 | SqM | 221.74 | 190.00 | 28500.00 | 185.00 | 27750.00 | 125.00 | 18750.00 | 160.00 | 24000.00 | 225.00 | 33750.00 | 18750.00 | VIJAYALAKSHMI ENETERPRISES
91.00 | PLASTIC EMULSION: Material and Labour for rendering plastic emulsion/interior emulsion on new walls over fair finished plaster/concrete surface over 10 cm width or girth two coat on decorated wall and including preparation of new surfaces (ASIAN/NEROLAC/ BERGER or suitably Equivalent make as approved by EIC. | 60.00 | SqM | 121.66 | 190.00 | 11400.00 | 105.00 | 6300.00 | 110.00 | 6600.00 | 97.00 | 5820.00 | 130.00 | 7800.00 | 5820.00 | DEEPAM ENTERPRISES
92.00 | PLASTIC EMULSION: Material and Labour for rendering plastic emulsion/interior emulsion on old walls over fair finished plaster/concrete surface over 10 cm width or girth two coat on decorated wall and including preparation of old surfaces (ASIAN/NEROLAC/BERGER or Suitably Equivalent make as approved by EIC. | 105.00 | SqM | 130.13 | 190.00 | 19950.00 | 105.00 | 11025.00 | 125.00 | 13125.00 | 105.00 | 11025.00 | 138.00 | 14490.00 | 11025.00 | Siva Enterprises, DEEPAM ENTERPRISES
93.00 | Material and Labour for Distempering walls with distemper oil emulsion, preparing the old painted surfaces. (ASIAN/NEROLAC/BERGER or Suitably Equivalent make as approved by EIC. | 30.00 | SqM | 75.02 | 150.00 | 4500.00 | 75.00 | 2250.00 | 75.00 | 2250.00 | 60.00 | 1800.00 | 75.00 | 2250.00 | 1800.00 | DEEPAM ENTERPRISES
94.00 | Material and Labour for painting two coats of exterior emulsion Surfaces of any description over 10cm girth or width, (Make APEX ULTIMA of ASIAN PAINTS or Suitably Equivalent make as approved by EIC. ) includings one coat of priming paint applies after preparation of the old existing treatment. (two storey building ) all complete. | 350.00 | SqM | 165.99 | 290.00 | 101500.00 | 165.00 | 57750.00 | 140.00 | 49000.00 | 130.00 | 45500.00 | 155.00 | 54250.00 | 45500.00 | DEEPAM ENTERPRISES
95.00 | Material and Labour for painting of steel surfaces with two coats of synthetic enamel paint one coat of primer (red Oxide Zinc Chrome) including preparation of old steel painted surfaces, over 10cm in width or girth. | 50.00 | SqM | 167.31 | 230.00 | 11500.00 | 155.00 | 7750.00 | 120.00 | 6000.00 | 110.00 | 5500.00 | 157.00 | 7850.00 | 5500.00 | DEEPAM ENTERPRISES
96.00 | Supply and Fixing of Granite Stone, including grinding and polishing complete with Engraved Golden/coloured Letters of any numbers and any size Include mounted on wall position in site all complete as directed by EIC | 1.00 | Each | 8000.00 | 42500.00 | 42500.00 | 8500.00 | 8500.00 | 9000.00 | 9000.00 | 7500.00 | 7500.00 | 8500.00 | 8500.00 | 7500.00 | DEEPAM ENTERPRISES
97.00 | Supply, Installation, testing and Commissioning of 1.5 TR, 3Star rated, split wall mounted cordless remote air conditioners with hermetically sealed rotary compressor of Inverter technology with independent indoor and out door unit including outer door unit stand and copper core coil. Make :-Blue star,LG,Carrier & Voltas or Suitably Equivalent Make as approved by EIC) with all accessories including 4KVA stabilizer. | 10.00 | Set | 56500.00 | 50000.00 | 500000.00 | 54500.00 | 545000.00 | 54000.00 | 540000.00 | 49900.00 | 499000.00 | 57300.00 | 573000.00 | 499000.00 | DEEPAM ENTERPRISES
98.00 | Supply and Fixing of 4 Feet Air curtain (Make: Midlink, usha, almonard, air beam or Suitably Equivalent Make as approved by EIC). | 4.00 | Each | 38500.00 | 21000.00 | 84000.00 | 41500.00 | 166000.00 | 40000.00 | 160000.00 | 33900.00 | 135600.00 | 36500.00 | 146000.00 | 84000.00 | Intex Space Solutions Private Limited
99.00 | Material and Labour for applying interior decorative texture finish on wall surfaces using Asian paints royale play (or) Interior Decorative Wall Texture pattern work like Rustic Indian/Italian/Innovative Textures. The minimum painted thickness should not be less than 1mm. The texture and effects of decorative finish will be finalised by EIC. The cost includes labour, emulsion, scaffolding, plaster of paris etc., all complete as directed by EIC. | 30.00 | SqM | 1750.00 | 477.00 | 14310.00 | 1855.00 | 55650.00 | 1800.00 | 54000.00 | 1600.00 | 48000.00 | 1805.00 | 54150.00 | 14310.00 | Intex Space Solutions Private Limited
100.00 | Returning / refilling of Soft / loose Soil including spreading, leveling, watering and well ramming in layers not exceeding 25 cm. | 4.00 | CuM | 153.01 | 1720.00 | 6880.00 | 145.00 | 580.00 | 175.00 | 700.00 | 100.00 | 400.00 | 110.00 | 440.00 | 400.00 | DEEPAM ENTERPRISES
101.00 | Removal of excavated soils exceeding 250m but not exceeding 500m and depositing where directed. | 5.00 | CuM | 640.86 | 2100.00 | 10500.00 | 255.00 | 1275.00 | 350.00 | 1750.00 | 160.00 | 800.00 | 450.00 | 2250.00 | 800.00 | DEEPAM ENTERPRISES
102.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 1.6 mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG/1.5 sqmm bare/multistrand copper earth continuity wire. a)one light point controlled by one switch light/fan | 115.00 | Point | 1141.66 | 860.00 | 98900.00 | 1155.00 | 132825.00 | 900.00 | 103500.00 | 900.00 | 103500.00 | 1040.00 | 119600.00 | 98900.00 | Intex Space Solutions Private Limited
103.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 1.6 mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG/1.5 sqmm bare/ multistrand copper earth continuity wire. b)One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable | 38.00 | Point | 334.42 | 580.00 | 22040.00 | 355.00 | 13490.00 | 200.00 | 7600.00 | 240.00 | 9120.00 | 340.00 | 12920.00 | 7600.00 | VIJAYALAKSHMI ENETERPRISES
104.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 1.6 mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG/1.5 sqmm bare/ multistrand copper earth continuity wire. c)One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable | 10.00 | Point | 1301.10 | 910.00 | 9100.00 | 1355.00 | 13550.00 | 990.00 | 9900.00 | 1100.00 | 11000.00 | 1323.00 | 13230.00 | 9100.00 | Intex Space Solutions Private Limited
105.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 175.00 | Each | 299.58 | 95.00 | 16625.00 | 315.00 | 55125.00 | 200.00 | 35000.00 | 220.00 | 38500.00 | 305.00 | 53375.00 | 16625.00 | Intex Space Solutions Private Limited
106.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 42.00 | Each | 391.62 | 286.00 | 12012.00 | 375.00 | 15750.00 | 350.00 | 14700.00 | 210.00 | 8820.00 | 390.00 | 16380.00 | 8820.00 | DEEPAM ENTERPRISES
107.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 20.00 | Each | 395.26 | 286.00 | 5720.00 | 395.00 | 7900.00 | 350.00 | 7000.00 | 297.00 | 5940.00 | 395.00 | 7900.00 | 5720.00 | Intex Space Solutions Private Limited
108.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module(Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 32.00 | Each | 607.66 | 430.00 | 13760.00 | 545.00 | 17440.00 | 550.00 | 17600.00 | 420.00 | 13440.00 | 575.00 | 18400.00 | 13440.00 | DEEPAM ENTERPRISES
109.00 | Supply, fixing & connecting of Fan step regulator modular type 120W, 2 module (Make:,LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 17.00 | Each | 1170.64 | 345.00 | 5865.00 | 955.00 | 16235.00 | 950.00 | 16150.00 | 970.00 | 16490.00 | 1100.00 | 18700.00 | 5865.00 | Intex Space Solutions Private Limited
110.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS make or Suitably equivalent make as approved by EIC. | 45.00 | Each | 75.56 | 95.00 | 4275.00 | 65.00 | 2925.00 | 65.00 | 2925.00 | 55.00 | 2475.00 | 71.00 | 3195.00 | 2475.00 | DEEPAM ENTERPRISES
111.00 | Supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant/straight/slanding fittings. | 2.00 | Each | 150.42 | 95.00 | 190.00 | 125.00 | 250.00 | 150.00 | 300.00 | 105.00 | 210.00 | 110.00 | 220.00 | 190.00 | Intex Space Solutions Private Limited
112.00 | Supply & fixing of modular white cover plate with frame 2 module | 40.00 | Each | 225.17 | 65.00 | 2600.00 | 155.00 | 6200.00 | 200.00 | 8000.00 | 175.00 | 7000.00 | 220.00 | 8800.00 | 2600.00 | Intex Space Solutions Private Limited
113.00 | Supply & fixing of metal flush box for 2 module plate | 40.00 | Each | 205.97 | 90.00 | 3600.00 | 195.00 | 7800.00 | 175.00 | 7000.00 | 150.00 | 6000.00 | 205.00 | 8200.00 | 3600.00 | Intex Space Solutions Private Limited
114.00 | Supply & fixing of 4 module modular white cover plate with frame | 10.00 | Each | 284.17 | 140.00 | 1400.00 | 255.00 | 2550.00 | 250.00 | 2500.00 | 220.00 | 2200.00 | 285.00 | 2850.00 | 1400.00 | Intex Space Solutions Private Limited
115.00 | Supply & fixing of metal flush box for 4 module plate | 10.00 | Each | 245.41 | 170.00 | 1700.00 | 245.00 | 2450.00 | 225.00 | 2250.00 | 178.00 | 1780.00 | 245.00 | 2450.00 | 1700.00 | Intex Space Solutions Private Limited
116.00 | Supply & fixing of 6 module modular white cover plate with frame | 10.00 | Each | 356.04 | 145.00 | 1450.00 | 285.00 | 2850.00 | 350.00 | 3500.00 | 270.00 | 2700.00 | 370.00 | 3700.00 | 1450.00 | Intex Space Solutions Private Limited
117.00 | Supply & fixing of metal flush box for 6 module plate | 10.00 | Each | 326.72 | 190.00 | 1900.00 | 325.00 | 3250.00 | 325.00 | 3250.00 | 260.00 | 2600.00 | 300.00 | 3000.00 | 1900.00 | Intex Space Solutions Private Limited
118.00 | Supply & fixing of 8 module white cover plate with frame | 5.00 | Each | 438.61 | 170.00 | 850.00 | 395.00 | 1975.00 | 400.00 | 2000.00 | 320.00 | 1600.00 | 410.00 | 2050.00 | 850.00 | Intex Space Solutions Private Limited
119.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used single pole & neutral 8 way with 200 Amps rated busbar, 240V (Make: Legrand / Havells / ABB or Suitably equivalent make as approved by EIC. | 1.00 | Each | 2199.61 | 4300.00 | 4300.00 | 2155.00 | 2155.00 | 1800.00 | 1800.00 | 1850.00 | 1850.00 | 2200.00 | 2200.00 | 1800.00 | VIJAYALAKSHMI ENETERPRISES
120.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar,415V (Make: Legrand/Havells/ Hager/ABB or Suitably equivalent make as approved by EIC. | 3.00 | Each | 3039.11 | 6200.00 | 18600.00 | 2855.00 | 8565.00 | 3500.00 | 10500.00 | 2550.00 | 7650.00 | 3050.00 | 9150.00 | 7650.00 | DEEPAM ENTERPRISES
121.00 | Supply & fixing of MCCB 3 pole 415 Volt, fixed type 125 Amps, with breaking capacity 16KA. Make:Legrand/ Havells/ ABB or Suitably equivalent make as approved by EIC. | 1.00 | Each | 4125.17 | 9550.00 | 9550.00 | 4155.00 | 4155.00 | 4250.00 | 4250.00 | 3500.00 | 3500.00 | 3755.00 | 3755.00 | 3500.00 | DEEPAM ENTERPRISES
122.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: ABB/Legrand/ Havells/Hager or Suitably equivalent make as approved by EIC. | 72.00 | Each | 326.83 | 230.00 | 16560.00 | 225.00 | 16200.00 | 250.00 | 18000.00 | 220.00 | 15840.00 | 330.00 | 23760.00 | 15840.00 | DEEPAM ENTERPRISES
123.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. SPN 40 to 63 AMP (Make: ABB/Legrand/ Havells/Hager or Suitably equivalent make as approved by EIC. | 1.00 | Each | 1529.95 | 4640.00 | 4640.00 | 1250.00 | 1250.00 | 1650.00 | 1650.00 | 1200.00 | 1200.00 | 1450.00 | 1450.00 | 1200.00 | DEEPAM ENTERPRISES
124.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP (Triple pole) 25 To 63 AMP (Make: legrand/ havells/ ABB or Suitably equivalent make as approved by EIC. | 4.00 | Each | 1952.24 | 4775.00 | 19100.00 | 1455.00 | 5820.00 | 1850.00 | 7400.00 | 1450.00 | 5800.00 | 1860.00 | 7440.00 | 5800.00 | DEEPAM ENTERPRISES
125.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or Suitably equivalent make as approved by EIC. a) 2x1.5 sq.mm+1x1.5 sq.mm earth wire | 70.00 | RM | 187.82 | 180.00 | 12600.00 | 185.00 | 12950.00 | 185.00 | 12950.00 | 145.00 | 10150.00 | 189.00 | 13230.00 | 10150.00 | DEEPAM ENTERPRISES
126.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or Suitably equivalent make as approved by EIC. b) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 175.00 | RM | 212.99 | 190.00 | 33250.00 | 205.00 | 35875.00 | 200.00 | 35000.00 | 180.00 | 31500.00 | 219.00 | 38325.00 | 31500.00 | DEEPAM ENTERPRISES
127.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or Suitably equivalent make as approved by EIC. c) 2x4.0 sq.mm+1x4.0 sq.mm earth wire | 165.00 | RM | 247.25 | 380.00 | 62700.00 | 235.00 | 38775.00 | 220.00 | 36300.00 | 207.00 | 34155.00 | 235.00 | 38775.00 | 34155.00 | DEEPAM ENTERPRISES
128.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan or Suitably equivalent make as approved by EIC. d)4x10.0 sq.mm+1x10.0 sq.mm earth wire | 30.00 | RM | 650.65 | 700.00 | 21000.00 | 595.00 | 17850.00 | 599.00 | 17970.00 | 510.00 | 15300.00 | 640.00 | 19200.00 | 15300.00 | DEEPAM ENTERPRISES
129.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 230.00 | RM | 59.92 | 240.00 | 55200.00 | 55.00 | 12650.00 | 55.00 | 12650.00 | 78.00 | 17940.00 | 58.00 | 13340.00 | 12650.00 | Siva Enterprises, VIJAYALAKSHMI ENETERPRISES
130.00 | Demolition of cement concrete of any description and in any position | 2.00 | CuM | 1876.00 | 2390.00 | 4780.00 | 1855.00 | 3710.00 | 1450.00 | 2900.00 | 1200.00 | 2400.00 | 1700.00 | 3400.00 | 2400.00 | DEEPAM ENTERPRISES
131.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 2.00 | CuM | 7513.33 | 7640.00 | 15280.00 | 7155.00 | 14310.00 | 7000.00 | 14000.00 | 5200.00 | 10400.00 | 8150.00 | 16300.00 | 10400.00 | DEEPAM ENTERPRISES
132.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 96.00 | CuM | 776.25 | 600.00 | 57600.00 | 755.00 | 72480.00 | 599.00 | 57504.00 | 460.00 | 44160.00 | 805.00 | 77280.00 | 44160.00 | DEEPAM ENTERPRISES
133.00 | Material & labour for sand filling for cushioning on U.G cable | 20.00 | CuM | 2270.45 | 3800.00 | 76000.00 | 2155.00 | 43100.00 | 2000.00 | 40000.00 | 1750.00 | 35000.00 | 2150.00 | 43000.00 | 35000.00 | DEEPAM ENTERPRISES
134.00 | Materal &labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 3.00 | Numbers in 1000 | 6384.66 | 15000.00 | 45000.00 | 6055.00 | 18165.00 | 6250.00 | 18750.00 | 6000.00 | 18000.00 | 6600.00 | 19800.00 | 18000.00 | DEEPAM ENTERPRISES
135.00 | Returing, refilling of hard dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cml. | 96.00 | CuM | 159.97 | 480.00 | 46080.00 | 125.00 | 12000.00 | 125.00 | 12000.00 | 110.00 | 10560.00 | 147.00 | 14112.00 | 10560.00 | DEEPAM ENTERPRISES
136.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 25 sqmm, 4 core.(Make: Gloster/ KEI/ Finolux/ Havells / Polycab / orbit or Suitably equivalent make as approved by EIC. | 50.00 | RM | 238.04 | 430.00 | 21500.00 | 225.00 | 11250.00 | 245.00 | 12250.00 | 198.00 | 9900.00 | 215.00 | 10750.00 | 9900.00 | DEEPAM ENTERPRISES
137.00 | Supply & fixing of galvanised steel tubes, medium grade 80mm dia | 12.00 | RM | 633.88 | 1720.00 | 20640.00 | 655.00 | 7860.00 | 700.00 | 8400.00 | 485.00 | 5820.00 | 650.00 | 7800.00 | 5820.00 | DEEPAM ENTERPRISES
138.00 | Taking down copper/aluminium point wiring (light,fan,socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendents, regulators, sockets, light fitting, exhaust fan etc removing materilas to store for keeping in safe custody . | 60.00 | Point | 174.80 | 480.00 | 28800.00 | 115.00 | 6900.00 | 75.00 | 4500.00 | 35.00 | 2100.00 | 160.00 | 9600.00 | 2100.00 | DEEPAM ENTERPRISES
139.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: PHILIPS / CG /Havells / Wipro / Klite/ Bajaj/ Luker or Suitably equivalent make as approved by EIC. | 34.00 | Each | 1501.21 | 850.00 | 28900.00 | 1255.00 | 42670.00 | 1200.00 | 40800.00 | 1200.00 | 40800.00 | 1450.00 | 49300.00 | 28900.00 | Intex Space Solutions Private Limited
140.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. Make: PHILIPS / CG /Havells / Wipro/ Klite/ Bajaj / Luker or Suitably equivalent make as approved by EIC. | 2.00 | Each | 1558.03 | 850.00 | 1700.00 | 1255.00 | 2510.00 | 1300.00 | 2600.00 | 1250.00 | 2500.00 | 1510.00 | 3020.00 | 1700.00 | Intex Space Solutions Private Limited
141.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum housing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: PHILIPS /GE/ WIPRO /CG/ OSRAM / BAJAJ/ HAVELLS/ SYSKA or Suitably equivalent make as approved by EIC. | 12.00 | Each | 6833.42 | 15000.00 | 180000.00 | 5455.00 | 65460.00 | 5750.00 | 69000.00 | 5550.00 | 66600.00 | 7070.00 | 84840.00 | 65460.00 | Siva Enterprises
142.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC), 3 Years onsite Warranty.IS 374-2019 Make : Crompton - Energion Riviera/ Atomberg - Renesa Alpha/ Havells - Efficiencia Neo /orient - Hectre 500 / Luker - Eco 30 Neo / Luminous - Triana or Suitably equivalent make as approved by EIC. | 10.00 | Each | 3046.89 | 4300.00 | 43000.00 | 2955.00 | 29550.00 | 3300.00 | 33000.00 | 2650.00 | 26500.00 | 3175.00 | 31750.00 | 26500.00 | DEEPAM ENTERPRISES
143.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers (Make: Almonard/ Kaithan/ Crompton or Suitably equivalent make as approved by EIC. | 6.00 | Each | 4080.88 | 2380.00 | 14280.00 | 3455.00 | 20730.00 | 3250.00 | 19500.00 | 3400.00 | 20400.00 | 4200.00 | 25200.00 | 14280.00 | Intex Space Solutions Private Limited
144.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 16 sq. mm nominal cross section in service connections 4 core stranded conductor. (Make:Orbit/ Finolex/ Havells / Gloster / Polycab/ Paragon or Suitably equivalent make as approved by EIC. | 450.00 | RM | 247.25 | 250.00 | 112500.00 | 225.00 | 101250.00 | 220.00 | 99000.00 | 210.00 | 94500.00 | 169.00 | 76050.00 | 76050.00 | S VINAYAGAMURTHY
145.00 | Supply and fixing of LED flood light 210 watt 230 V AC outdoor type with thermal management in multiple optics and equipped with IP66 protection, with impact and corrosion resistant complete with driver and lamp. (Make: PHILIPS /GE/ WIPRO /CG/ HAVELLS or Suitably equivalent make as approved by EIC. | 4.00 | Each | 23290.51 | 2865.00 | 11460.00 | 18455.00 | 73820.00 | 18000.00 | 72000.00 | 19500.00 | 78000.00 | 24000.00 | 96000.00 | 11460.00 | Intex Space Solutions Private Limited
146.00 | Supply and fixing of Decorative type Wall mounting fan with all accessories 400mm sweep (Make:Orient/Usha /Bajaj/CG or Suitably equivalent make as approved by EIC). | 18.00 | Each | 2700.00 | 3340.00 | 60120.00 | 2755.00 | 49590.00 | 3000.00 | 54000.00 | 2700.00 | 48600.00 | 2900.00 | 52200.00 | 48600.00 | DEEPAM ENTERPRISES
147.00 | Supply, Installation and testing of LED strip light with adaptor, End holder and all accessories complete as required as per site conditions. | 40.00 | RM | 855.00 | 720.00 | 28800.00 | 825.00 | 33000.00 | 850.00 | 34000.00 | 800.00 | 32000.00 | 903.00 | 36120.00 | 28800.00 | Intex Space Solutions Private Limited
148.00 | Supply and fxing of LED Gate light fitting complete with 30 watts LED lamp and accessories. (dia.425mm x 325mm) Make:Klite. (Cat.no.4975 or equivalent model of HAVELLS, PHILLIPS, CG, WIPRO) | 2.00 | Each | 9255.00 | 3350.00 | 6700.00 | 9455.00 | 18910.00 | 9990.00 | 19980.00 | 8700.00 | 17400.00 | 9750.00 | 19500.00 | 6700.00 | Intex Space Solutions Private Limited
149.00 | Supply & fixing of MCBDB 4 way(DPX160+12) legrand make as per legrand 2022 catlogue No.507745 or Suitably equivalent make as approved by EIC. | 2.00 | Each | 10250.00 | 5253.00 | 10506.00 | 10525.00 | 21050.00 | 11000.00 | 22000.00 | 10100.00 | 20200.00 | 11110.00 | 22220.00 | 10506.00 | Intex Space Solutions Private Limited
150.00 | Supply and fxing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessories,Wattage 24 to 30 watts and minimum system output 1800 lumens. Make: PHILIPS / Bajaj /CG /Havells / Wipro or Suitably equivalent make as approved by EIC. | 50.00 | Each | 3755.00 | 1430.00 | 71500.00 | 3455.00 | 172750.00 | 3250.00 | 162500.00 | 3600.00 | 180000.00 | 4075.00 | 203750.00 | 71500.00 | Intex Space Solutions Private Limited
151.00 | Supply of Recessed Mounted circle/square type Luminarie, 15 Watts with suitable LED lamp and accessories, minimum system output: 1000 lumens. Make: PHILIPS or equivalent of Bajaj/CG/Havells/Wipro or Suitably equivalent make as approved by EIC. | 10.00 | Each | 1755.00 | 1150.00 | 11500.00 | 1825.00 | 18250.00 | 1750.00 | 17500.00 | 1650.00 | 16500.00 | 1850.00 | 18500.00 | 11500.00 | Intex Space Solutions Private Limited
152.00 | Supply, fixing and connecting to the system modular type switch one way 20A, Single pole 2 module. (Make:LEGRAND MYRIUS/ Litaski/ Crabtree or Suitably equivalent make as approved by EIC. | 16.00 | Each | 310.00 | 430.00 | 6880.00 | 325.00 | 5200.00 | 400.00 | 6400.00 | 600.00 | 9600.00 | 339.00 | 5424.00 | 5200.00 | Siva Enterprises
153.00 | Supply & fixing metal flush box for 8 module plate | 5.00 | Each | 125.00 | 310.00 | 1550.00 | 115.00 | 575.00 | 150.00 | 750.00 | 129.00 | 645.00 | 135.00 | 675.00 | 575.00 | Siva Enterprises
154.00 | Supply & fixing of 12 module plate with frame and metal flush box | 12.00 | Each | 455.00 | 1145.00 | 13740.00 | 425.00 | 5100.00 | 475.00 | 5700.00 | 400.00 | 4800.00 | 490.00 | 5880.00 | 4800.00 | DEEPAM ENTERPRISES
155.00 | Supply & fixing of 16 module plate with frame and metal flush box | 4.00 | Each | 1440.00 | 1430.00 | 5720.00 | 1445.00 | 5780.00 | 1500.00 | 6000.00 | 1100.00 | 4400.00 | 1540.00 | 6160.00 | 4400.00 | DEEPAM ENTERPRISES
156.00 | Supply & fixing of modular type Dummy plate | 75.00 | Nos | 25.00 | 28.00 | 2100.00 | 25.00 | 1875.00 | 20.00 | 1500.00 | 25.00 | 1875.00 | 25.00 | 1875.00 | 1500.00 | VIJAYALAKSHMI ENETERPRISES
157.00 | Supply, fixing & connecting of the system cable end termination of size 25 sqmm 4 core including with suitable cable gland & lugs. | 2.00 | Set | 334.00 | 240.00 | 480.00 | 355.00 | 710.00 | 350.00 | 700.00 | 170.00 | 340.00 | 340.00 | 680.00 | 340.00 | DEEPAM ENTERPRISES
158.00 | Supply, fixing & connecting of the system cable end termination of size 16 sqmm 4 core including with suitable cable gland & lugs. | 12.00 | Each | 100.00 | 192.00 | 2304.00 | 95.00 | 1140.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 105.00 | 1260.00 | 1140.00 | Siva Enterprises
159.00 | Supply & Fixing of OUT DOOR FPB consisting of 200A MCCB-1 No for incoming, outgoing feeders ar 63A MCCB-4 Nos. Specification sheet enclosed as Annexure-1 (1.0.1 to 1.0.9.5). | 1.00 | Set | 87600.00 | 176100.00 | 176100.00 | 78545.00 | 78545.00 | 89000.00 | 89000.00 | 140000.00 | 140000.00 | 94545.00 | 94545.00 | 78545.00 | Siva Enterprises
| Total in Figures |  |  |  |  | 8687391.00 |  | 8445307.50 |  | 8339627.00 |  | 8141806.50 |  | 8842654.50
Lowest Amount Quoted BY: DEEPAM ENTERPRISES(8141806.50)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS / RENOVATION OF VIJAYANTHA INSTITUTE AT HVF ESTATE Tender ID: 2024_AVNL_212388_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAM ENTERPRISES (BID ID -765010) | 8141806.50 | L1
| 2 | VIJAYALAKSHMI ENETERPRISES (BID ID -764959) | 8339627.00 | L2
| 3 | Siva Enterprises (BID ID -764939) | 8445307.50 | L3
| 4 | Intex Space Solutions Private Limited (BID ID -765009) | 8687391.00 | L4
| 5 | S VINAYAGAMURTHY (BID ID -765089) | 8842654.50 | L5