## BoQ1
Government eProcurement System Created By: AKSHAYA KUMAR NAYAK Created Date/Time: 17-Jan-2025 11:58 AM Tender Title: Rewiring of Firing Tunnel A and B Magazine and DSC security post at OFMK (Bld. No.101,102 and 105) Tender ID: 2024_AVNL_216141_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Rewiring of Firing Tunnel A & B Magazine and DSC security post at OFMK (Bld. No.101,102 &105)
Contract No: 76026/ TE-18/OFMK/EOC/Rewiring Firing Tunnel A&B/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | yaralagadda ramesh (GSTN-37AEFPY3314J1Z7) BID ID -788379 |  | GAYATHRI ENGINEERS (GSTN-NA) BID ID -787599
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | TAKING DOWN : Taking Down carefully copper/Aluminium point wiring (light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 300.00 | Per point | 100.00 | 235.60 | 70680.00 | 146.68 | 44004.00 | 44004.00 | GAYATHRI ENGINEERS
2.00 | TAKING DOWN : Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 500.00 | Per point | 100.00 | 50.00 | 25000.00 | 30.88 | 15440.00 | 15440.00 | GAYATHRI ENGINEERS
3.00 | POINT WIRING: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cableMake Finolex/Havells/polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 70.00 | Per point | 10.00 | 992.75 | 69492.50 | 901.89 | 63132.30 | 63132.30 | GAYATHRI ENGINEERS
4.00 | POINT WIRING: Supply and fixing /Drawing of cables in steel conduite pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cableMake Finolex/ Havells/ polycab/ L&T in steel conduit pipe concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 250.00 | Per point | 10.00 | 1160.00 | 290000.00 | 1154.23 | 288557.50 | 288557.50 | GAYATHRI ENGINEERS
5.00 | POINT WIRING: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable concealed conduit wiring Make Finolex/Havells/ polycab /L&T as specified by EIC. | 42.00 | Per point | 10.00 | 340.00 | 14280.00 | 255.08 | 10713.36 | 10713.36 | GAYATHRI ENGINEERS
6.00 | POINT WIRING: Supply and fixing /Drawing of cables in steel conduit pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab/L&T in steel conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 31.00 | Per point | 100.00 | 1267.50 | 39292.50 | 1154.23 | 35781.13 | 35781.13 | GAYATHRI ENGINEERS
7.00 | POINT WIRING: Supply and fixing /Drawing of cables in steel conduite pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/ Havells/ polycab/ L&T in steel concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC | 40.00 | Per point | 100.00 | 2270.00 | 90800.00 | 2131.74 | 85269.60 | 85269.60 | GAYATHRI ENGINEERS
8.00 | POINT WIRING: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/ Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC | 10.00 | Per point | 10.00 | 1900.00 | 19000.00 | 1758.23 | 17582.30 | 17582.30 | GAYATHRI ENGINEERS
9.00 | CEILING ROSE :Supply and fixing of ceiling rose, PVC/Polycorbonate,3 phase terminal Make Anchor / Havells/ Maru/ Cona of ISI quality. complete all as specified by the EIC | 393.00 | Each | 10.00 | 55.00 | 21615.00 | 59.21 | 23269.53 | 21615.00 | yaralagadda ramesh
10.00 | BUZZER:Ding dong buzzer of AC 230Volt. Make:Legrand/ Schneider/ Havells/ Anchor/ GM complete all as specified by the EIC | 5.00 | Each | 10.00 | 430.40 | 2152.00 | 391.73 | 1958.65 | 1958.65 | GAYATHRI ENGINEERS
11.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/ Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections. complete all as specified by the EIC | 270.00 | Each | 100.00 | 350.00 | 94500.00 | 327.96 | 88549.20 | 88549.20 | GAYATHRI ENGINEERS
12.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 Amp. Make legrand/ Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections. complete all as specified by the EIC | 40.00 | Each | 100.00 | 550.00 | 22000.00 | 466.43 | 18657.20 | 18657.20 | GAYATHRI ENGINEERS
13.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make: legrand/ Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections. complete all as specified by the EIC | 12.00 | Each | 10.00 | 1300.00 | 15600.00 | 1184.30 | 14211.60 | 14211.60 | GAYATHRI ENGINEERS
14.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way,240 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make: legrand/ Schneider/ Indoasian/ Havells complete all as specified by EIC. | 17.00 | Each | 10.00 | 2000.00 | 34000.00 | 1730.90 | 29425.30 | 29425.30 | GAYATHRI ENGINEERS
15.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN, 8 way,4105V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make: legrand/ Schneider/ Indoasian/ Havells complete all as specified by EIC. | 7.00 | Each | 10.00 | 3500.00 | 24500.00 | 11888.55 | 83219.85 | 24500.00 | yaralagadda ramesh
16.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 160 Amps with breaking capacity 36 KA Make: legrand/Schneider/ Indoasian/ Havells/ L&T complete all as specified by the EIC | 3.00 | Each | 10.00 | 9000.00 | 27000.00 | 13047.37 | 39142.11 | 27000.00 | yaralagadda ramesh
17.00 | INDUSTRIAL SOCKET PLUG: Supply and fixing of Single pole and neutral, 240 V, 20 amps, enclosure with a two pin and earth plug and socket complete with one single pole MCB Make: Schneider/ Indoasian/ Legrand/ ABB complete all as specified by the EIC | 4.00 | Each | 10.00 | 2250.00 | 9000.00 | 1466.86 | 5867.44 | 5867.44 | GAYATHRI ENGINEERS
18.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x10.0 Sq.mm + 1x10 sq.mm earth wire in steel conduit pipe concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 300.00 | RM | 10.00 | 585.00 | 175500.00 | 639.52 | 191856.00 | 175500.00 | yaralagadda ramesh
19.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/ Havells /polycab/L&T complete all as specified by the EIC | 600.00 | RM | 10.00 | 240.00 | 144000.00 | 177.64 | 106584.00 | 106584.00 | GAYATHRI ENGINEERS
20.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x1.5 Sq.mm + 1x1.5 sq.mm earth wire in Steel Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 200.00 | RM | 10.00 | 250.00 | 50000.00 | 145.76 | 29152.00 | 29152.00 | GAYATHRI ENGINEERS
21.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x2.5 Sq.mm + 1x2.5 sq.mm earth wire in Steel Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 600.00 | RM | 100.00 | 265.00 | 159000.00 | 191.31 | 114786.00 | 114786.00 | GAYATHRI ENGINEERS
22.00 | MODULAR BELL PUSH: Supply and Fixing of modular bell push 6 amps Modular type Make:Legrand/ Schneider/ Havells complete all as specified by the EIC | 5.00 | Each | 10.00 | 300.00 | 1500.00 | 123.62 | 618.10 | 618.10 | GAYATHRI ENGINEERS
23.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 6 amps make Legrand/ Schneider/ Havells of ISI quality complete all as specifies by the EIC | 393.00 | Each | 10.00 | 235.00 | 92355.00 | 68.32 | 26849.76 | 26849.76 | GAYATHRI ENGINEERS
24.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/ Schneider/ Havells of ISI quality complete all as specified by the EIC | 73.00 | Each | 10.00 | 300.00 | 21900.00 | 145.12 | 10593.76 | 10593.76 | GAYATHRI ENGINEERS
25.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/ Havells of ISI quality complete all as specifies by the EIC | 50.00 | Each | 100.00 | 350.00 | 17500.00 | 123.63 | 6181.50 | 6181.50 | GAYATHRI ENGINEERS
26.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps 2/3 pin combined 2 modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 50.00 | Each | 100.00 | 528.40 | 26420.00 | 481.00 | 24050.00 | 24050.00 | GAYATHRI ENGINEERS
27.00 | COVERING PLATES WITH FRAME Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 86.00 | Each | 10.00 | 250.00 | 21500.00 | 193.00 | 16598.00 | 16598.00 | GAYATHRI ENGINEERS
28.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 86.00 | Each | 10.00 | 210.00 | 18060.00 | 142.82 | 12282.52 | 12282.52 | GAYATHRI ENGINEERS
29.00 | METAL FLUSH BOX : Supply and Fixing of 8 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 50.00 | Each | 10.00 | 320.00 | 16000.00 | 346.18 | 17309.00 | 16000.00 | yaralagadda ramesh
30.00 | LED STREET LIGHT FITTING : Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: Philips/ CG/ Wipro/ Osram/ Havells/ Orient/ Halonix complete all as specified by the EIC | 60.00 | Each | 100.00 | 2000.00 | 120000.00 | 2696.56 | 161793.60 | 120000.00 | yaralagadda ramesh
31.00 | CUTTING CHASES: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 800.00 | RM | 100.00 | 63.00 | 50400.00 | 45.55 | 36440.00 | 36440.00 | GAYATHRI ENGINEERS
32.00 | CHALK WHITENING: M&L Chalk whitening of plastered surfaces as preparatory to distempering. complete all as specified & directed. | 200.00 | Sq.M | 10.00 | 15.00 | 3000.00 | 11.84 | 2368.00 | 2368.00 | GAYATHRI ENGINEERS
33.00 | WHITE WASH ON WALLS: M&L White washing on walls - on old decorated surfaces- including preparation of surfaces- TWO coats of white wash complete all as directed | 1200.00 | Sq.M | 10.00 | 15.00 | 18000.00 | 16.39 | 19668.00 | 18000.00 | yaralagadda ramesh
34.00 | OBD: M&L Rendering oil bond distempering on old surface including preparation of surfaces on two coat of OBD complete all as directed Make: Asian/ Berger | 450.00 | Sq.M | 10.00 | 55.00 | 24750.00 | 61.94 | 27873.00 | 24750.00 | yaralagadda ramesh
35.00 | LED TUBE LIGHT: Supply and fixing LED lights fitting 1x 20W, 220V,AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper onductor cable of suitable size from ceiling rose complete. Make: syska/ Orient/ CG /wipro/ osram/ surya/ halonex/ philips /havells. complete all as specified by the EIC | 200.00 | Each | 10.00 | 1290.00 | 258000.00 | 501.05 | 100210.00 | 100210.00 | GAYATHRI ENGINEERS
36.00 | FLAME PROOF LIGHT FITTINGS: Supply and Fixing of Flameproof cum Waterproof LED Bulk Head light fitting of 15W, IP66 protection of Cast Aluminum alloy material and Heat and Impact resistance toughen 'A' clear glass having Anti corrosive epoxy powder coated finish omplete with all accessories pre wired and including connecting up with three core flexible copper conductor cable with suitable size. Make: CG/ Havells/ Wipro/ Orient/ Phillips/ Bajaj/ Syska/ complete all as specified by the EIC | 10.00 | Each | 10.00 | 3000.00 | 30000.00 | 5150.79 | 51507.90 | 30000.00 | yaralagadda ramesh
37.00 | FLAME PROOF SWITCH: Switch flame proof rotary type with termination box in LM6, 16A, single pole 250V Make: CG/ Havells/ Wipro/ Orient/ Phillips/ Bajaj/ Syska/ complete all as specified by the EIC | 10.00 | Each | 10.00 | 1609.00 | 16090.00 | 2277.50 | 22775.00 | 16090.00 | yaralagadda ramesh
38.00 | EXHAUST FAN: Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers Make: Almonard/ Usha / CG / Bajaj/ Havells/ Orient. complete all as specified by the EIC | 65.00 | Each | 10.00 | 2400.00 | 156000.00 | 3232.22 | 210094.30 | 156000.00 | yaralagadda ramesh
39.00 | ARMOURED CABLE: Supply and laying of PVC insulated, armoured, heavy duty electric cable 3 1/2core with aluminium conductor, 1100 volts grade, cross-sectional area 120 SQ.MM.Make: Finolex/ Havells/ Polycab complete all as specified by the EIC | 300.00 | RM | 10.00 | 590.00 | 177000.00 | 724.24 | 217272.00 | 177000.00 | yaralagadda ramesh
40.00 | ARMOURED CABLE: Supply and laying of PVC insulated, armoured, heavy duty electric cable 3 1/2 core with aluminium conductor, 1100 volts grade, cross-sectional area 70 SQ.MM.Make: Finolex/ Havells/ Polycab complete all as specified by the EIC | 400.00 | RM | 100.00 | 470.00 | 188000.00 | 463.24 | 185296.00 | 185296.00 | GAYATHRI ENGINEERS
41.00 | ARMOURED CABLE: Supply and laying of PVC insulated, armoured, heavy duty electric cable 2 core with aluminium conductor, 1100 volts grade, cross-sectional area 25 SQ.MM.Make: Finolex/ Havells/ Polycab complete all as specified by the EIC | 800.00 | RM | 10.00 | 210.00 | 168000.00 | 167.62 | 134096.00 | 134096.00 | GAYATHRI ENGINEERS
42.00 | STEEL TUBULAR POLES: Supply and fixing of Steel tubular swaged poles complete with cast iron base plate, finial taper plug, bolts, nuts & screws as specified type 410 SP-31 (9.00 metres long) complete all as specified by the EIC | 15.00 | EACH | 10.00 | 9000.00 | 135000.00 | 14576.00 | 218640.00 | 135000.00 | yaralagadda ramesh
43.00 | EXCAVATION: Earth work in excavation by mechanical means (Hydraulic excavator) / in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. complete all as specified by the EIC | 400.00 | CU. M | 10.00 | 210.00 | 84000.00 | 207.70 | 83080.00 | 83080.00 | GAYATHRI ENGINEERS
44.00 | RETURN FILLING: Returning, filling in, including spreading, levelling, watering and well ramming in layers not exc 25 cm. hard/ dense soil. complete all as specified by the EIC | 400.00 | CU. M | 100.00 | 133.00 | 53200.00 | 126.62 | 50648.00 | 50648.00 | GAYATHRI ENGINEERS
45.00 | CELING FAN(BLDC): Supply and fixing of ceiling fan complete with blades, down rods, electronic regulator and accessories,230 V, 1200 mm sweep, minimum air delivery 210 CFM with service value 6.00 BEE 5 star rated with brush less DC motor(BLDC) Make Usha/ Orient/CG/ Havells. complete all as specified by the EIC | 12.00 | Each | 100.00 | 2650.00 | 31800.00 | 2550.80 | 30609.60 | 30609.60 | GAYATHRI ENGINEERS
46.00 | EARTHING: Earthing complete with galvanised steel earth plate electrode 60×60cm.× 6mm thick, buried directly in ground (earth pit not less than 2.25 metres deep below ground level) with top edge of the plate not less'than 1.5 metres below normal ground level, connected to galvanised earth lead wire 4.0mm dia by means of bolts, nuts, check nuts and washers of galvanised iron or steel all as shown in electrical plate No. 3 connected to earthing test point all as specified or indicated including testing on completion but using galvanised iron strip 25×4mm as earthing lead. complete all as specified by the EIC | 9.00 | each | 10.00 | 7500.00 | 67500.00 | 8654.50 | 77890.50 | 67500.00 | yaralagadda ramesh
47.00 | EARTH CONTINUITY CONDUCTOR: Earth continuity conductor or main earthing lead fixed to wall on batten or recess chase or buried in ground or drawn in conduit /pipe or fixed to pole or any other indicated situation for loop earthing etc,as required 25x4 mm gi strip or main earthing lead fixed to wall on batten or recess chase or buried in ground or drawn in conduit /pipe or fixed to pole or any other indicated situation for loop earthing etc,as required 25x4 mm GI strip. complete all as specified by the EIC | 200.00 | RM | 10.00 | 210.00 | 42000.00 | 163.98 | 32796.00 | 32796.00 | GAYATHRI ENGINEERS
48.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 40 mm dia medium grade complete all as specified by the EIC | 18.00 | RM | 10.00 | 431.00 | 7758.00 | 439.10 | 7903.80 | 7758.00 | yaralagadda ramesh
49.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 20 mm dia medium grade complete all as specified by the EIC | 18.00 | RM | 100.00 | 300.00 | 5400.00 | 243.23 | 4378.14 | 4378.14 | GAYATHRI ENGINEERS
50.00 | EXCAVATION: Excavating in trenches in hard/dense soil not exceeding 1.5 metre wide and not exceeding 1.5 metre depth over areas in Hard/Dense soil getting out complete all as specified by the EIC. | 30.00 | cu.m | 100.00 | 650.00 | 19500.00 | 614.92 | 18447.60 | 18447.60 | GAYATHRI ENGINEERS
51.00 | CEMENT CONCRETE: Providing cement concrete cast in situ for each pit chamber slightly rounded or chamfere angles including finisheing by using type B1 1:2:4 (20mm graded aggregate) complete all as specified by the EIC. | 7.00 | cu.m | 10.00 | 8050.00 | 56350.00 | 7625.07 | 53375.49 | 53375.49 | GAYATHRI ENGINEERS
52.00 | PRECAST CEMENT CONCREATE: B1 1:2:4 set in cement morter 1:6 (20mm graded aggregate) in covers slabs for earth pits with faces complete all as specified and directed by the EIC. | 3.00 | cu.m | 100.00 | 10500.00 | 31500.00 | 10066.55 | 30199.65 | 30199.65 | GAYATHRI ENGINEERS
53.00 | MILD STEEL BAR: 8 mm dia over cut to length ,bend to shape for hooking quality conforming to GD 1 ,IS 432(pt .1 ) complete all as specified by the EIC. | 60.00 | kg | 100.00 | 100.00 | 6000.00 | 74.70 | 4482.00 | 4482.00 | GAYATHRI ENGINEERS
54.00 | SYNTHETIC PANEL PAINTING TO PLASTERED SURFACES: Surfaces of any description over 10 cm girth or width. Synthetic enamel (ordinary tint each coat). complete all as specified by the EIC | 15.00 | sq.m. | 10.00 | 47.00 | 705.00 | 42.81 | 642.15 | 642.15 | GAYATHRI ENGINEERS
55.00 | WRITING LETTERS: Writing letters or figures (Block, Roman, italic or Indian) n exc 30cm high. complete all as specified by the EIC | 40.00 | per 10Nos (per cm of height) | 10.00 | 54.00 | 2160.00 | 49.19 | 1967.60 | 1967.60 | GAYATHRI ENGINEERS
56.00 | LIGHTENING PROTECTION: Material & Labour of Air termination single pointed copper rod 12mm dia and 300mm long complete all as specified | 4.00 | Each | 10.00 | 454.00 | 1816.00 | 1093.20 | 4372.80 | 1816.00 | yaralagadda ramesh
57.00 | LP SYSTEM TEST POINT TERMINAL BLOCK: Material & Labour for test point terminal block made of Gun metal or Phosporus bronze size 75x75x25 mm drilled and screwed including 3 nos 8 mm dia 25mm long hexahead screws complete all as specified bu EIC | 4.00 | Each | 100.00 | 690.00 | 2760.00 | 628.59 | 2514.36 | 2514.36 | GAYATHRI ENGINEERS
58.00 | ALUMINIUM STRIP:Aluminium strip 25 x 3.15mm with saddles and fixing screws etc. for roof conductors and down conductors above ground. complete all as specified by the EIC | 250.00 | RM | 100.00 | 100.00 | 25000.00 | 113.87 | 28467.50 | 25000.00 | yaralagadda ramesh
59.00 | PANEL:supply and fixing of LT Distribution panel with powder coated 2mm thickness CRCA sheet with 250Amps, 36KA, 4 pole MCCB in coming, 3 ph and neural bus(Aluminium) bar(300Amps) and Supply and fixing of 125A,36 KA 3 pole MCCB 3 nos and 100 A, 36KA 3 pole MCCB 6 Nos with digital volt meter and Ammeter and Multi function meter indication lamps, selector switch including all, MCCBs Make L&T/Schneider/Siemens complete all as specified by the EIC | 1.00 | Each | 10.00 | 70000.00 | 70000.00 | 204975.00 | 204975.00 | 70000.00 | yaralagadda ramesh
60.00 | LED FLOOD LIGHT: Supply of LED flood light luminaires of 150 Watts Make: Orient/ CG / Surya/ Havells/ Wipro/ Philips | 20.00 | EACH | 10.00 | 5500.00 | 110000.00 | 5393.12 | 107862.40 | 107862.40 | GAYATHRI ENGINEERS
61.00 | FIXING OF LED FLOOD LIGHT: Fixing of LED flood light 150Watts complete all as specified by the EIC | 20.00 | EACH | 10.00 | 144.00 | 2880.00 | 583.04 | 11660.80 | 2880.00 | yaralagadda ramesh
62.00 | FRP STREET LIGHT POLE JUNCTION BOX: Supply and fixing of Hot moulded FRP(Fibre glass reinforced polyester) street light pole boxes suitable for out door along with non deteriorating neoprene sponge rubber gasket for dust and vermin proof as per Annexure- B complete all as specified by the EIC | 25.00 | EACH | 100.00 | 800.00 | 20000.00 | 2473.36 | 61834.00 | 20000.00 | yaralagadda ramesh
63.00 | SINGLE ARM FOR STEEL TUBULAR POLES: Supply and fixing of single arm Steel tubular 1.5 M length B class for 9 meters pole. complete all as specified by the EIC | 15.00 | EACH | 100.00 | 500.00 | 7500.00 | 2578.13 | 38671.95 | 7500.00 | yaralagadda ramesh
64.00 | ARMOURED CABLE TERMINATION: Termination of 25 SQ.MM armoured cable in street light pole junction box with suitable brass double compresser gland, lugs, nut and bolts.. complete all as specified by the EIC | 25.00 | EACH | 10.00 | 300.00 | 7500.00 | 376.24 | 9406.00 | 7500.00 | yaralagadda ramesh
65.00 | INDUSTRIAL FAN WALL MOUNTING: Supply of Industrial Fan Wall mounting with 3 blade including wire guard and stand 24" (600 MM) , 950 RPM, single phase 230V AC with strater. Make : almounard/ EPC/ crompton greaves/ Orient/ Havells/ Bajaj/ Usha. complete all as specified by the EIC | 4.00 | Each | 10.00 | 9500.00 | 38000.00 | 10932.00 | 43728.00 | 38000.00 | yaralagadda ramesh
66.00 | FAN HOOK : Supply and Fixing of Fan hook with double anchor bolt complete all as specified by the EIC | 3.00 | Each | 10.00 | 150.00 | 450.00 | 115.80 | 347.40 | 347.40 | GAYATHRI ENGINEERS
67.00 | MCCB ENCLOSURE: Suppply and fixing of MCCB Enclosure suitable for 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand/ Schneider/ Indoasian/ Havells/ L&T. complete all as specified by the EIC | 3.00 | Each | 10.00 | 4000.00 | 12000.00 | 2733.00 | 8199.00 | 8199.00 | GAYATHRI ENGINEERS
68.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 8 MODULE :Supply and Fixing of 8 Module covering plate with frame of make Legrand/ Schneider /Havells compleate all as secified by the EIC | 50.00 | Each | 10.00 | 400.00 | 20000.00 | 191.31 | 9565.50 | 9565.50 | GAYATHRI ENGINEERS
69.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 16 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 16 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 30.00 | Each | 10.00 | 600.00 | 18000.00 | 501.05 | 15031.50 | 15031.50 | GAYATHRI ENGINEERS
| Total in Figures |  |  |  |  | 3700666.00 |  | 3752732.25
Lowest Amount Quoted BY: yaralagadda ramesh(3700666.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring of Firing Tunnel A and B Magazine and DSC security post at OFMK (Bld. No.101,102 and 105) Tender ID: 2024_AVNL_216141_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | yaralagadda ramesh (BID ID -788379) | 3700666.00 | L1
| 2 | GAYATHRI ENGINEERS (BID ID -787599) | 3752732.25 | L2