## BoQ1
Government eProcurement System Created By: AKSHAYA KUMAR NAYAK Created Date/Time: 15-Jan-2025 02:59 PM Tender Title: Minor daily repair works of factory production and non production buildings, office buildings, stores etc. in side factory area at OFMK Tender ID: 2024_AVNL_216176_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Minor daily repair works of factory production and non production buildings, office buildings, stores etc. in side factory area at OFMK.
Contract No: 76026/ TE-20/OFMK/EOC/Minor Daily/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | T VENKATASWAMY CIVIL CONTRACTORS (GSTN-NA) BID ID -788184 |  | SATYANARAYANA RAJU VEGESNA (GSTN-NA) BID ID -788158 |  | Samrat Engineering Works (GSTN-NA) BID ID -788887
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Surface dressing in hard dense soil, not exceeding 15 cm deep and getting out as directed. | 1200.00 | Sqm | 100.00 | 30.00 | 36000.00 | 29.00 | 34800.00 | 30.00 | 36000.00 | 34800.00 | SATYANARAYANA RAJU VEGESNA
2.00 | Surface excavation not exceeding 30 cm deep and averaging 15 cm deep in hard / dense soil and getting out. Complete all as specified and directed | 500.00 | sqm | 100.00 | 90.00 | 45000.00 | 90.00 | 45000.00 | 50.00 | 25000.00 | 25000.00 | Samrat Engineering Works
3.00 | Excavating in post holes in Hard dense soil (or similar holes) each n.exc 0.5 cu. m, getting out, returning, filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25 cm. Complete all as specified and directed | 75.00 | Each | 10.00 | 360.00 | 27000.00 | 400.00 | 30000.00 | 250.00 | 18750.00 | 18750.00 | Samrat Engineering Works
4.00 | Excavation over areas not exceeding 1.5m depth in hard/dense soils and getting out , Complete all as specified and directed | 60.00 | Cum | 10.00 | 440.00 | 26400.00 | 500.00 | 30000.00 | 250.00 | 15000.00 | 15000.00 | Samrat Engineering Works
5.00 | Excavating in trenches in hard / dense soils, n. exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out . Complete all as specified and directed | 60.00 | Cum | 10.00 | 750.00 | 45000.00 | 700.00 | 42000.00 | 450.00 | 27000.00 | 27000.00 | Samrat Engineering Works
6.00 | Site clearence | 3000.00 | Sqm | 100.00 | 10.00 | 30000.00 | 20.00 | 60000.00 | 15.00 | 45000.00 | 30000.00 | T VENKATASWAMY CIVIL CONTRACTORS
7.00 | Removal of excavated material - soils exceeding 250 m but not exceeding 500 mtrs. and deposited where directed. Complete all as specified and directed | 100.00 | Cum | 100.00 | 800.00 | 80000.00 | 600.00 | 60000.00 | 150.00 | 15000.00 | 15000.00 | Samrat Engineering Works
8.00 | S&L of Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering. Complete all as specified and directed | 30.00 | Cum | 10.00 | 1600.00 | 48000.00 | 1200.00 | 36000.00 | 1200.00 | 36000.00 | 36000.00 | SATYANARAYANA RAJU VEGESNA, Samrat Engineering Works
9.00 | Hard core : Hard core with broken stone/ boulders of gauge not exc. 63mm, deposited, spread leveled in layers not exceeding 15 cm thick, and watered consolidated to required gradient & camber including watering. Complete all as specified and directed. | 15.00 | Cum | 10.00 | 2500.00 | 37500.00 | 2000.00 | 30000.00 | 1500.00 | 22500.00 | 22500.00 | Samrat Engineering Works
10.00 | PCC : Plain Cement Concrete (1:4:8) Type D-2 using 40 mm graded aggregate in foundations, floors, filling and mass concrete, Complete all as specified and directed . | 8.00 | Cum | 10.00 | 7000.00 | 56000.00 | 5500.00 | 44000.00 | 4000.00 | 32000.00 | 32000.00 | Samrat Engineering Works
11.00 | PCC : Plain Cement Concrete (1:3:6) Type C-2 using 40 mm graded aggregate in foundations, floors, filling and mass concrete, Complete all as specified and directed . | 8.00 | Cum | 100.00 | 5800.00 | 46400.00 | 5800.00 | 46400.00 | 5000.00 | 40000.00 | 40000.00 | Samrat Engineering Works
12.00 | PCC : Plain Cement Concrete (1:2:4) Type B-2 using 40 mm graded aggregate in foundations, floors, filling and mass concrete, Complete all as specified and directed . | 15.00 | Cum | 100.00 | 9000.00 | 135000.00 | 6500.00 | 97500.00 | 6500.00 | 97500.00 | 97500.00 | SATYANARAYANA RAJU VEGESNA, Samrat Engineering Works
13.00 | RCC : Reinforced Cement Concrete (1:2:4) Type B-0 using 12.5 mm graded aggregate: Foundations, including rafts, footings, foundation beams; plinth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete. Complete all as specified and directed . | 7.00 | Cum | 10.00 | 8000.00 | 56000.00 | 6200.00 | 43400.00 | 7000.00 | 49000.00 | 43400.00 | SATYANARAYANA RAJU VEGESNA
14.00 | RCC : Reinforced Cement Concrete (1:2:4) Type B-1 using 20 mm graded aggregate on Slabs supported on walls, beams and columns in floors, roofs, landings, balconies, canopies, deck slabs and in shelves and the like. Complete all as specified and directed . | 7.00 | Cum | 10.00 | 9000.00 | 63000.00 | 7400.00 | 51800.00 | 6500.00 | 45500.00 | 45500.00 | Samrat Engineering Works
15.00 | Brick work with sub class ‘B’ bricks straight or curved in plan with (1:4) cement mortar , Complete all as specified and directed. | 20.00 | Cum | 10.00 | 7000.00 | 140000.00 | 5500.00 | 110000.00 | 6500.00 | 130000.00 | 110000.00 | SATYANARAYANA RAJU VEGESNA
16.00 | Stone Masonry : Walling of Squared Rubble regular coursed Stone masonry, well bonded, bedded and solidly hearted built in with 1:6 cement mortar, Complete in all respects as specified and directed. | 10.00 | Cum | 10.00 | 7000.00 | 70000.00 | 5600.00 | 56000.00 | 5500.00 | 55000.00 | 55000.00 | Samrat Engineering Works
17.00 | Stone Masonry Except stones: Walling of Squared Rubble regular coursed Stone masonry, well bonded, bedded and solidly hearted built in with 1:6 cement mortar, Complete in all respects as specified and directed. | 30.00 | Cum | 10.00 | 3300.00 | 99000.00 | 3300.00 | 99000.00 | 2000.00 | 60000.00 | 60000.00 | Samrat Engineering Works
18.00 | FORM WORK : Form work to sides of concrete foundations, footings, base of columns, raft or raft beams, sides of foundations and plinth beams and similar work, vertical or batter surfaces. Complete all as specified and directed. | 25.00 | Sqm | 10.00 | 300.00 | 7500.00 | 300.00 | 7500.00 | 350.00 | 8750.00 | 7500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
19.00 | Floor tiles : S&F of non skid Ceramic tiles, coloured, 7 to 8 mm thick (square/ rectangular) area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. of set and jointed in neat cement slurry and pointed in white or coloured cement to match. Complete all as specified and directed. | 25.00 | Sqm | 10.00 | 1100.00 | 27500.00 | 1200.00 | 30000.00 | 1100.00 | 27500.00 | 27500.00 | T VENKATASWAMY CIVIL CONTRACTORS, Samrat Engineering Works
20.00 | Wall tiles : S & F of Glazed ceramic coloured wall Tiles 350x250x7/450x350x7 mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match. Complete all as specified directed | 25.00 | Sqm | 10.00 | 1200.00 | 30000.00 | 1400.00 | 35000.00 | 1100.00 | 27500.00 | 27500.00 | Samrat Engineering Works
21.00 | Supply only of liquid water proofing compound for incorporating concrete. Make. BASF, SIKA | 40.00 | Lit | 100.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 200.00 | 8000.00 | 8000.00 | Samrat Engineering Works
22.00 | Rendering 15mm thick on fair faces of brick work or concrete surfaces in cement mortar (1:4) in patches in repairs not exc 3.0 sqm each as directed. Complete all as specified and directed. | 220.00 | Sqm | 10.00 | 250.00 | 55000.00 | 260.00 | 57200.00 | 200.00 | 44000.00 | 44000.00 | Samrat Engineering Works
23.00 | Screed Bed or bedding layer of mortar 20 mm thick for laying floor tiles in CM 1:4 for laying floor finishes. Complete all as specified directed. | 100.00 | Sqm | 10.00 | 275.00 | 27500.00 | 280.00 | 28000.00 | 100.00 | 10000.00 | 10000.00 | Samrat Engineering Works
24.00 | Providing precast cement concrete, Type B1 (1:2:4) using 20mm graded aggregate, in landings, cover slabs (for man holes etc.) chullah hoods, chajjas, water troughs, mangers, shelves and similar articles with plain faces and set jointed in CM 1: 6. Complete all as specified directed. | 5.00 | Cum | 10.00 | 10500.00 | 52500.00 | 11000.00 | 55000.00 | 6500.00 | 32500.00 | 32500.00 | Samrat Engineering Works
25.00 | Demolition of brick work/ stone masonry built in cement mortar for the portions order to be dismantled. Complete all as specified directed. | 35.00 | Cum | 100.00 | 750.00 | 26250.00 | 1800.00 | 63000.00 | 1000.00 | 35000.00 | 26250.00 | T VENKATASWAMY CIVIL CONTRACTORS
26.00 | Demolition of cement concrete of any description in any position not other wise described specifically provided for. Complete all directed at site. | 10.00 | Cum | 100.00 | 1600.00 | 16000.00 | 1600.00 | 16000.00 | 1200.00 | 12000.00 | 12000.00 | Samrat Engineering Works
27.00 | S&F of PVC (SWR) floor trap/Nahani trap, 75mm dia., plain with grating including jointing with solvent cement of approved make as directed. | 15.00 | Each | 10.00 | 200.00 | 3000.00 | 200.00 | 3000.00 | 500.00 | 7500.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
28.00 | S&F of PVC (SWR) gully trap 125/110 mm, setting and jointing with solvent cement of approved make as directed. | 15.00 | Each | 10.00 | 270.00 | 4050.00 | 300.00 | 4500.00 | 500.00 | 7500.00 | 4050.00 | T VENKATASWAMY CIVIL CONTRACTORS
29.00 | S&F of PVC (SWR) pipes 75 mm bore dia. single socketed in any length with rubber ring joints fixed to walls | 40.00 | Rm | 10.00 | 170.00 | 6800.00 | 290.00 | 11600.00 | 300.00 | 12000.00 | 6800.00 | T VENKATASWAMY CIVIL CONTRACTORS
30.00 | S&F of PVC (SWR) pipes 110 mm bore dia. single socketed in any length with rubber ring joints fixed to walls | 40.00 | Rm | 100.00 | 200.00 | 8000.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 8000.00 | T VENKATASWAMY CIVIL CONTRACTORS
31.00 | S&F of PVC (SWR) bends any radius for 110 mm dia. Bore pipes with rubber ring joints fixed to walls | 30.00 | each | 100.00 | 120.00 | 3600.00 | 100.00 | 3000.00 | 500.00 | 15000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
32.00 | SWG PIPE : Supply and fixing in Repairs of 100mm dia SWG drain pipe, including cutting & removing existing damaged pipe and join the new pipe in position as specified and directed. Complete all as specified and directed. | 50.00 | Rm | 10.00 | 280.00 | 14000.00 | 300.00 | 15000.00 | 380.00 | 19000.00 | 14000.00 | T VENKATASWAMY CIVIL CONTRACTORS
33.00 | SWG PIPE : Supply and Fixing in Repars of 150mm dia SWG drain pipe, including cutting & removing existing damaged pipe and join the new pipe in position as specified and directed. Complete all as specified and directed. | 50.00 | Rm | 10.00 | 440.00 | 22000.00 | 400.00 | 20000.00 | 420.00 | 21000.00 | 20000.00 | SATYANARAYANA RAJU VEGESNA
34.00 | IWC : S & F of vitreous China squatting pan, `Orissa` pattern, size 580 x 440 mm of make : Hindware/Cera/Parryware, with integral foot rests including P or S trap with necessary fittings for complete all including dismantling of existing water closet as specified and directed. | 10.00 | Each | 10.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 4000.00 | 40000.00 | 30000.00 | T VENKATASWAMY CIVIL CONTRACTORS
35.00 | EWC : S & F of Wash down water closet (Pedestal pattern) of make : Hindware/Cera/Parryware, of any colour and size including P or S trap with necessary fittings for complete including dismantling of existing water closet as specified and directed. | 10.00 | Each seat | 10.00 | 2100.00 | 21000.00 | 2200.00 | 22000.00 | 5500.00 | 55000.00 | 21000.00 | T VENKATASWAMY CIVIL CONTRACTORS
36.00 | Hand Wash basin : Supply & Fixing of vitreous china wash basin white, flat back or angle back type of size 550x400 mm including brackets including cutting for and pinning in ends of brackets, or erecting stand Make of wash basin: Parry ware or Hindware, Complete all as specified and directed. | 15.00 | Each | 10.00 | 1650.00 | 24750.00 | 1700.00 | 25500.00 | 4000.00 | 60000.00 | 24750.00 | T VENKATASWAMY CIVIL CONTRACTORS
37.00 | Urinal bowl : Supply & Fixing of vitreous china urinal bowl white, flat back of size 465x355x265 mm including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement, and union for discharge pipe fixed in repairs (excluding waste pipe, flush pipe and flushing cistern) Make of wash basin: Parry ware / Hindware / cera, Complete all as specified and directed. | 15.00 | Each | 10.00 | 1550.00 | 23250.00 | 1600.00 | 24000.00 | 4000.00 | 60000.00 | 23250.00 | T VENKATASWAMY CIVIL CONTRACTORS
38.00 | Urinal partition : Supply & Fixing of vitreous china urinal partition white, of size 310x700 mm, terminating 40 cm above floor level. Make of wash basin: Parry ware / Hindware / cera, Complete all as specified and directed. | 5.00 | Each | 10.00 | 2000.00 | 10000.00 | 1900.00 | 9500.00 | 2000.00 | 10000.00 | 9500.00 | SATYANARAYANA RAJU VEGESNA
39.00 | Door Shutter (S&F) : Supply and fixing Flush door shutters 30 mm thick, solid core construction, with block board core and plywood face panels, commercial type on both sides. complete all as specified and directed. | 20.00 | Sqm | 10.00 | 1600.00 | 32000.00 | 1600.00 | 32000.00 | 2000.00 | 40000.00 | 32000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
40.00 | S&F of Factory made solid panel PVC door shutter 30mm thick(style) consisting of frame made out of M.S. tubes for top and bottom rails. M.S. frame shall be covered with heat moulded plain colour PVC ‘C’ channel having a PVC sheet strip of 20mm width struck inside with solvent cement for stiles and plain colour PVC sheets for top rail, lock rail & bottom rail on either side & as gap insert for top rail & bottom rail. Paneling of plain colour PVC sheet to be fitted in the MS frame welded/sealed to the stiles & rails with suitable PVC sheet beading, and joined together with solvent cement, supplying and fixing in the frame at site including all hard ware items, ie. Tower bolts, handles, butt hinges etc.as per specification. Manufactured by Rajshri, syntex or Nandi are only acceptable. | 25.00 | Sqm | 100.00 | 2400.00 | 60000.00 | 2300.00 | 57500.00 | 200.00 | 5000.00 | 5000.00 | Samrat Engineering Works
41.00 | Shutter repair : Repairs to wooden shutters of any description exc. 1.00 Sqm but n. exc.2.00 Sqm each by resecuring or easing and adjusting without taking down including supply and fixing accessories like screws, nails. etc. complete all as specified and directed by EIC. | 150.00 | Per leaf | 10.00 | 95.00 | 14250.00 | 100.00 | 15000.00 | 150.00 | 22500.00 | 14250.00 | T VENKATASWAMY CIVIL CONTRACTORS
42.00 | Dismantling or Taking down of existing wooden door shutter any description of an area 1.0Sqm to 2.0 Sqm. | 100.00 | Per leaf | 10.00 | 90.00 | 9000.00 | 90.00 | 9000.00 | 150.00 | 15000.00 | 9000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
43.00 | Removing to or from store of door shutters of any description of area exc. 1.0 sqm but not exc. 2.0 sqm each. | 100.00 | Per leaf | 10.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 11000.00 | T VENKATASWAMY CIVIL CONTRACTORS
44.00 | Shutter fixing : Fixing only of Wooden/Flush /PVC door shutter of any description and thickness with other connected builders hardware issued by factory in position including all necessary accessories like screws, nails, etc., complete all as specified and directed. | 60.00 | Per leaf | 100.00 | 450.00 | 27000.00 | 400.00 | 24000.00 | 800.00 | 48000.00 | 24000.00 | SATYANARAYANA RAJU VEGESNA
45.00 | ALLUMINIUM TOWER BOLTS : Supplying and Fixing of size 200mm long Al. tower bolts, with bright bolt,including all necessary accessories like screws, nails, etc., complete all as specified and directed. | 50.00 | Each | 100.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 250.00 | 12500.00 | 4500.00 | T VENKATASWAMY CIVIL CONTRACTORS
46.00 | MS TOWER BOLTS : Supplying and Fixing of 200 mm long Mild steel barrel tower bolts, stove enamelled black, with bright bolt and fixed. including all necessary accessories like screws, nails, etc., complete all as specified and directed. | 50.00 | Each | 10.00 | 80.00 | 4000.00 | 80.00 | 4000.00 | 200.00 | 10000.00 | 4000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
47.00 | STEEL ALDROPS : Supplying and Fixing in repairs 250mm long mild steel sliding door bolts / aldrops plate type, stove enameled block with bright bolt not less then 12mm dia. With including a minimum of 06 bolts and nuts four on bolt plate & two on staple plate complete all as specified and directed | 25.00 | Each | 10.00 | 230.00 | 5750.00 | 300.00 | 7500.00 | 300.00 | 7500.00 | 5750.00 | T VENKATASWAMY CIVIL CONTRACTORS
48.00 | ALUMINIUM ALDROPS : Supplying and Fixing in repairs 150mm long aluminum anodized sliding door bolts/aldrops with hasp, staple and fixing clips of sheet not less then 12mm dia. With including a minimum of 06 bolts and nuts four on bolt plate & two on staple plate complete all as directed. | 30.00 | Each | 10.00 | 210.00 | 6300.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA, Samrat Engineering Works
49.00 | S & F of Hasp and staple, 100 mm long mild steel, wire type, stove enamelled black, including bolt to hinge plate and fixed with screws | 30.00 | Each | 100.00 | 80.00 | 2400.00 | 80.00 | 2400.00 | 300.00 | 9000.00 | 2400.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
50.00 | STEEL BUTT HINGES : Supplying and Fixing in repairs 125 mm mild steel medium weighty, cold rolled butt hinges, complete including welding if required all as specified and directed | 50.00 | Each | 100.00 | 90.00 | 4500.00 | 90.00 | 4500.00 | 120.00 | 6000.00 | 4500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
51.00 | STEEL BUTT HINGES : Supplying and Fixing in repairs 75 mm mild steel medium weighty, cold rolled butt hinges, complete including welding if required all as specified and directed | 40.00 | Each | 10.00 | 40.00 | 1600.00 | 60.00 | 2400.00 | 100.00 | 4000.00 | 1600.00 | T VENKATASWAMY CIVIL CONTRACTORS
52.00 | ALUMINIUM HANDLES : Supplying and Fixing in repairs 125mm long aluminum anodized cast type bow handles including screws complete all as specified and directed | 50.00 | Each | 100.00 | 75.00 | 3750.00 | 80.00 | 4000.00 | 120.00 | 6000.00 | 3750.00 | T VENKATASWAMY CIVIL CONTRACTORS
53.00 | Supply and Fixing of Mortice lock verticle type size 100 mm brass 2 levers including making hole in wooden shutter and welding hook to steel frame with all necessary accessories like screws etc., complete all as specified and directed | 40.00 | Each | 100.00 | 650.00 | 26000.00 | 700.00 | 28000.00 | 1000.00 | 40000.00 | 26000.00 | T VENKATASWAMY CIVIL CONTRACTORS
54.00 | DOOR STOPPERS: Supply & Fixing of Floor Door Stopper of Aluminium. alloy anodized body with hard drawn Steel spring with all necessary screws, - size 150mm, complete all as specified and directed | 100.00 | Each | 10.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 10000.00 | T VENKATASWAMY CIVIL CONTRACTORS
55.00 | Door closure : Supply and fixing of Door closer Aluminium extruded section body hydraulically regulated, designation No.3, universal type, suitable for door shutters of 1000 mm in width and of weight between 61 to 80 kg and fixed. complete all as specified and directed | 25.00 | Each | 10.00 | 1500.00 | 37500.00 | 1500.00 | 37500.00 | 1500.00 | 37500.00 | 37500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS, Samrat Engineering Works
56.00 | PLYWOOD : Supplying and Fixing plywood in repairs, 9 mm thick grade BWR, type BB fixed with screws to timber frame work including removal of removal of existing damaged sheets. Complete all as specified and directed | 50.00 | Sqm | 10.00 | 770.00 | 38500.00 | 700.00 | 35000.00 | 800.00 | 40000.00 | 35000.00 | SATYANARAYANA RAJU VEGESNA
57.00 | PLYWOOD : Supplying and Fixing plywood in repairs, 12 mm thick grade BWR, type BB fixed with screws to timber frame work including removal of removal of existing damaged sheets. Complete all as specified and directed | 50.00 | Sqm | 100.00 | 800.00 | 40000.00 | 900.00 | 45000.00 | 1000.00 | 50000.00 | 40000.00 | T VENKATASWAMY CIVIL CONTRACTORS
58.00 | PARTICLE BOARD : Supply only of Particle board 12 mm thick, medium density, flat pressed, single layer type or three layer type, BWR grade. Complete all as specified and directed | 15.00 | Sqm | 100.00 | 460.00 | 6900.00 | 400.00 | 6000.00 | 1000.00 | 15000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA
59.00 | Supply only of 12 mm thick Gypsum board for ceiling/ walling | 75.00 | Sqm | 10.00 | 300.00 | 22500.00 | 300.00 | 22500.00 | 300.00 | 22500.00 | 22500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS, Samrat Engineering Works
60.00 | SHEET GLASS: Supplying and Fixing in repairs 4mm thick sheet glass of area n. exc.0.5 Sqm cut to size as per site requirement and glazing with pins & oil putty at any height including removal of existing damaged glass. complete all as specified and directed. | 40.00 | Sqm | 10.00 | 700.00 | 28000.00 | 600.00 | 24000.00 | 800.00 | 32000.00 | 24000.00 | SATYANARAYANA RAJU VEGESNA
61.00 | SHEET GLASS: Supplying and Fixing in repairs 4mm thick figured glass, pin head type of area n. exc.0.5 Sqm cut to size as per site requirement and glazing with pins & oil putty at any height including removal of existing damaged glass. complete all as specified and directed. | 50.00 | Sqm | 10.00 | 700.00 | 35000.00 | 700.00 | 35000.00 | 800.00 | 40000.00 | 35000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
62.00 | SHEET GLASS (except glass): Fixing only in repairs to sheet glass of area n. exc.0.5 Sqm cut to size as per site requirement and glazing with pins & oil putty at any height including removal of existing damaged glass. complete all as specified and directed. | 50.00 | Sqm | 100.00 | 165.00 | 8250.00 | 170.00 | 8500.00 | 300.00 | 15000.00 | 8250.00 | T VENKATASWAMY CIVIL CONTRACTORS
63.00 | MIRROR : Supplying and Fixing of beveled edge minor of selected quality glass of mounted on 6mm thick. Plywood/ new wood board with PVC beading all around - size 600 mm x 450 mm fixed to wooden plugs with CP brass screw & cup washers complete all as directed. | 40.00 | Each | 100.00 | 550.00 | 22000.00 | 555.00 | 22200.00 | 1000.00 | 40000.00 | 22000.00 | T VENKATASWAMY CIVIL CONTRACTORS
64.00 | WINDOW HANDLES: Supplying and Fixing in repairs 150mm long mild steel window handles either left or right operative , including suitable nuts and bolts, complete all as specified and directed | 50.00 | Each | 10.00 | 61.00 | 3050.00 | 60.00 | 3000.00 | 100.00 | 5000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
65.00 | CURTAIN PIPES: Supply and fixing of Enameled Black Steel conduit pipes of size 20mm dia - cut to length according to the size of window/door to use as curtain pipes, complete all as specified and directed. | 250.00 | Rm | 10.00 | 60.00 | 15000.00 | 62.00 | 15500.00 | 100.00 | 25000.00 | 15000.00 | T VENKATASWAMY CIVIL CONTRACTORS
66.00 | steel wire cloth : Supplying and Fixing in repairs stainless steel wire cloth 0.36mm nominal dia.(Guage 28) of wire and width of aperture 1.4mm to wooden / steel doors/ windows, including fixing with and necessary screws, nut bolts,nails and removal of existing damaged cloth etc., complete all as specified and directed | 27.00 | Sqm | 10.00 | 750.00 | 20250.00 | 750.00 | 20250.00 | 1000.00 | 27000.00 | 20250.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
67.00 | Mild steel wire cloth : supply only of galvanised steel wire cloth 0.56 mm nominal dia. and average width of aperture 1.0 mm to wooden / steel doors/ windows, including fixing with and necessary screws, nut bolts,nails and removal of existing damaged cloth etc., complete all as specified and directed | 100.00 | Sqm | 10.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 800.00 | 80000.00 | 35000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
68.00 | Nails : Supply of Plain head, lost head, lath, mild steel wire nails, bright finished of different dia. and upto 150 long. | 20.00 | Kgs | 10.00 | 80.00 | 1600.00 | 80.00 | 1600.00 | 110.00 | 2200.00 | 1600.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
69.00 | Screws : supply of Mild steel wood screws, bright finished, with slotted countersunk head, designation 4 to 10 (2.74 to 4.88 mm nominal shank dia) n. exc 50 mm long . | 20.00 | 100 Nos | 10.00 | 65.00 | 1300.00 | 70.00 | 1400.00 | 150.00 | 3000.00 | 1300.00 | T VENKATASWAMY CIVIL CONTRACTORS
70.00 | Screws : supply of Mild steel wood screws, bright finished, with slotted countersunk head, designation 12 to 14 (5.59 to 6.30 mm, ditto), exc 50 mm but n. exc 100 mm long. | 20.00 | 100 Nos | 10.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 2000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
71.00 | Supply glue for fixing wood, Make: Fevicol in 1 kg pack | 5.00 | Kgs | 10.00 | 105.00 | 525.00 | 90.00 | 450.00 | 200.00 | 1000.00 | 450.00 | SATYANARAYANA RAJU VEGESNA
72.00 | Screw blots and nuts : S & F Mild steel screw bolts (machine made) with hexagonal or square heads at one end and screwed the other, or screwed both ends, each screwed end to be fitted with washers and one hexagonal or square nut, exc. 5 cm and not exc. 10 cm long and diameter of neck is 5 to 10 mm. | 15.00 | Kgs | 100.00 | 135.00 | 2025.00 | 130.00 | 1950.00 | 150.00 | 2250.00 | 1950.00 | SATYANARAYANA RAJU VEGESNA
73.00 | WOOD BEADING: Supplying and Fixing in repairs 2nd class hard wood beading section area exc. 3 sqcm and not exc. 6 sqcm, including removal of existing damaged beading and necessary screws, nails etc. complete all as specified and directed | 50.00 | Rm | 10.00 | 70.00 | 3500.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 3500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
74.00 | WOOD BEADING: Supplying and Fixing in repairs 2nd class hard wood beading section area not exc. 3 sqcm, including removal of existing damaged beading and necessary screws, nails etc. complete all as specified and directed | 50.92 | Rm | 10.00 | 50.00 | 2546.00 | 50.00 | 2546.00 | 150.00 | 7638.00 | 2546.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
75.00 | G.I. PIPE: Supply & fixing in repairs of G.I. pipes 20mm dia(medium grade) and connections including fixing and connection in new or old position at any height (walls, ceiling, floors etc.) including pipe fittings as per site requirement. Complete all as specified and directed. make Jindal or Tata | 120.00 | Rm | 10.00 | 170.00 | 20400.00 | 170.00 | 20400.00 | 200.00 | 24000.00 | 20400.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
76.00 | Supply of GI Tank adaptor / Nipple 25 mm dia | 30.00 | Each | 100.00 | 130.00 | 3900.00 | 130.00 | 3900.00 | 500.00 | 15000.00 | 3900.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
77.00 | BIB COCK: Supply and fixing of 15mm dia PVC bib cock / tap standard of PTMT any colour high pressure screwed for iron pipe and fixed in reapirs. (Minimum weight 90 gms) Make : prayag only, damaged tap is to be deposited in stores. Complete all as specified and directed | 200.00 | Each | 100.00 | 170.00 | 34000.00 | 180.00 | 36000.00 | 450.00 | 90000.00 | 34000.00 | T VENKATASWAMY CIVIL CONTRACTORS
78.00 | PILLAR COCK: Supply and fixing of 15mm dia cast copper alloy chromium plated pillar cock / tap of any type repairs, (make Ess, Parryware or Elvis ) damaged pillar cock is to be deposited in stores complete all as specified and directed. | 50.00 | Each | 10.00 | 380.00 | 19000.00 | 400.00 | 20000.00 | 1200.00 | 60000.00 | 19000.00 | T VENKATASWAMY CIVIL CONTRACTORS
79.00 | STOP COCK:/ ANGLE COCK: Supply and fixing of 15mm stop cock cast copper alloy internal / external threads in repairs, min. Weight of cock 400grms, damaged stop cock is to be deposited in stores complete all as specified and directed | 20.00 | Each | 10.00 | 400.00 | 8000.00 | 390.00 | 7800.00 | 800.00 | 16000.00 | 7800.00 | SATYANARAYANA RAJU VEGESNA
80.00 | FLOAT VALVE: Only fixing of 15mm / 20mm /25mm dia PVC float valve in repairs at any height damaged float valve is to be deposited in stores complete all as specified and directed (Float Volves will be supplied by Factory) | 50.00 | Each | 10.00 | 110.00 | 5500.00 | 120.00 | 6000.00 | 500.00 | 25000.00 | 5500.00 | T VENKATASWAMY CIVIL CONTRACTORS
81.00 | PVC D/E PIPE CONNECTION : Supply and fixing of PVC Double End Pipe connection. in repairs, size:15mm with end nuts & washers of length 450mm. Make : Kohinoor. Complete all as specified and directed. | 100.00 | Each | 100.00 | 140.00 | 14000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 14000.00 | T VENKATASWAMY CIVIL CONTRACTORS
82.00 | PVC D/E PIPE CONNECTION : Supply and fixing of PVC Double End Pipe connection. in repairs, size:15mm with end nuts & washers of length 600 mm. Make : Kohinoor. Complete all as specified and directed. | 30.00 | Each | 100.00 | 205.00 | 6150.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 6000.00 | SATYANARAYANA RAJU VEGESNA, Samrat Engineering Works
83.00 | WASTE COUPLING: Only fixing of waste coupling any size & any type in repairs, damaged waste coupling is to be deposited in stores complete all as specified and directed | 30.00 | Each | 10.00 | 70.00 | 2100.00 | 70.00 | 2100.00 | 100.00 | 3000.00 | 2100.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
84.00 | WASTE COUPLING: Supply and fixing of CP brass waste coupling any size 32mm dia. With all necessary fittings in repairs, damaged waste coupling is to be deposited in stores complete all as specified and directed | 50.00 | Each | 10.00 | 190.00 | 9500.00 | 180.00 | 9000.00 | 250.00 | 12500.00 | 9000.00 | SATYANARAYANA RAJU VEGESNA
85.00 | EWC SEAT COVERS : Supply and fixing of EWC plastic seat & cover in repairs, (Make: Parry ware or Hindware) to EWC Colour to match with existing damaged cover with CP or AL . hinging device. complete all as specified and directed | 50.00 | Each | 10.00 | 740.00 | 37000.00 | 800.00 | 40000.00 | 800.00 | 40000.00 | 37000.00 | T VENKATASWAMY CIVIL CONTRACTORS
86.00 | EWC SEAT COVERS : Fixing of EWC plastic seat & cover in repairs, (Make: Parry ware or Hindware) to EWC Colour to match with existing damaged cover with CP or AL . hinging device. complete all as specified and directed | 11.00 | Each | 10.00 | 90.00 | 990.00 | 80.00 | 880.00 | 200.00 | 2200.00 | 880.00 | SATYANARAYANA RAJU VEGESNA
87.00 | FLUSH TANK: Supply and fixing of PVC valveless, syphonic action type, flushing cistern/ flush tank in repairs, with all necessary fittings low level, with inlet, ball valve, float and handle including brackets including brackets. (Make: Parr ware or Hindware) Complete all as specified and directed | 50.00 | Each | 10.00 | 920.00 | 46000.00 | 900.00 | 45000.00 | 1500.00 | 75000.00 | 45000.00 | SATYANARAYANA RAJU VEGESNA
88.00 | Flush pipe / Bend pipe : Supply and fixing of polyethylene of low or high density or approved quality PVC bend pipe for flush tanks (either long or short) 32 mm dia, Complete all as specified and directed. | 100.00 | Each | 10.00 | 80.00 | 8000.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 8000.00 | T VENKATASWAMY CIVIL CONTRACTORS
89.00 | WASH BASIN: Only fixing of wash basin of any size & any type, including removal of existing and fixing suitable brackets & necessary connections complete all as specified and directed | 51.00 | Each | 10.00 | 650.00 | 33150.00 | 650.00 | 33150.00 | 500.00 | 25500.00 | 25500.00 | Samrat Engineering Works
90.00 | SHOWER ROSE: Supply and fixing of shower rose Brass CP of size 125mm & any type in repairs, including removal of existing and fixing necessary connections complete all as specified and directed. | 10.00 | Each | 10.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
91.00 | FLUSH TANK WASHER : Supply of approved quality rubber or fibre board gaskets / washers for flush tanks etc. up to 80 mm dia bore any type as directed. | 100.00 | Each | 100.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 25.00 | 2500.00 | 2500.00 | Samrat Engineering Works
92.00 | Ball valve : Supply and fixing of Ball brass valves for 15 mm dia bore pipe, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed. Complete all as specified and directed | 10.00 | Each | 10.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 4000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
93.00 | Ball valve : Supply and fixing of Ball brass valves for 20 mm dia bore pipe, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed. Complete all as specified and directed | 10.00 | Each | 10.00 | 460.00 | 4600.00 | 390.00 | 3900.00 | 700.00 | 7000.00 | 3900.00 | SATYANARAYANA RAJU VEGESNA
94.00 | Ball valve : Supply and fixing of Ball brass valves for 25 mm dia bore pipe, high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule and fixed. Complete all as specified and directed | 5.00 | Each | 10.00 | 550.00 | 2750.00 | 450.00 | 2250.00 | 1000.00 | 5000.00 | 2250.00 | SATYANARAYANA RAJU VEGESNA
95.00 | PVC tank : Supply and fixing 1000 lit capacity Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR Part I | 5.00 | Each | 100.00 | 8000.00 | 40000.00 | 8000.00 | 40000.00 | 6500.00 | 32500.00 | 32500.00 | Samrat Engineering Works
96.00 | PVC tank : Fixing only 1000 lit capacity Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR Part I | 15.00 | Each | 100.00 | 500.00 | 7500.00 | 570.00 | 8550.00 | 1000.00 | 15000.00 | 7500.00 | T VENKATASWAMY CIVIL CONTRACTORS
97.00 | Urinal spreader : Supply and fixing of Urinal spreader PTMT for fixing with 15mm dia pipe , Min. weight 60 gms, Make : Parryware only damaged tap is to be deposited in stores complete all as specified and directed | 40.00 | Each | 10.00 | 260.00 | 10400.00 | 270.00 | 10800.00 | 600.00 | 24000.00 | 10400.00 | T VENKATASWAMY CIVIL CONTRACTORS
98.00 | Health Faucet : Supply and fixing of Hand shower / Health Faucet along with flexible tube in chrome finish and wall hook including removal of damaged healh faucet, Complete all as specified and directed. Make : Cera, Hindware | 35.00 | Each | 10.00 | 650.00 | 22750.00 | 650.00 | 22750.00 | 1000.00 | 35000.00 | 22750.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
99.00 | CURTAIN BRACKETS : Only Fixing of Heavy duty M.S. powder coated wall mounting L Type Curtain Brackets (set of 2)suitable for 20/25 mm pipe including screws ,plugs complete all as specified and directed | 100.00 | Each | 10.00 | 35.00 | 3500.00 | 35.00 | 3500.00 | 50.00 | 5000.00 | 3500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
100.00 | CURTAIN BRACKETS : Supply & Fixing of Heavy duty M.S. powder coated wall mounting L Type Curtain Brackets (set of 2) suitable for 20/25 mm conduit pipe including screws , complete all as specified and directed | 100.00 | Each | 100.00 | 65.00 | 6500.00 | 65.00 | 6500.00 | 100.00 | 10000.00 | 6500.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
101.00 | GRATING : Supply and fixing of 100mm SS / CP grating in repairs, complete all as specified and directed | 46.00 | Each | 100.00 | 51.00 | 2346.00 | 50.00 | 2300.00 | 100.00 | 4600.00 | 2300.00 | SATYANARAYANA RAJU VEGESNA
102.00 | Soap dish : Supply and fixing of stainless steel soap dish. Complete all as specified and directed. | 30.00 | Each | 10.00 | 101.00 | 3030.00 | 120.00 | 3600.00 | 500.00 | 15000.00 | 3030.00 | T VENKATASWAMY CIVIL CONTRACTORS
103.00 | Supply and fixing of plain Galvnised M S Sheet of thick 0.31 mm / 30 guage fixing to Doors cut to size including necessary screws, nails complete all as specified and directed. | 10.00 | Sqm | 10.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 3000.00 | SATYANARAYANA RAJU VEGESNA
104.00 | SS TOWER BOLTS : Supplying and Fixing of size 10mm dia, 150mm long mild steel/SS barrel tower bolts, stove enameled block with bright bolt including welding of Hook, screws, nails etc. if necessary complete all as directed. | 50.00 | Each | 10.00 | 70.00 | 3500.00 | 90.00 | 4500.00 | 150.00 | 7500.00 | 3500.00 | T VENKATASWAMY CIVIL CONTRACTORS
105.00 | Screw blots and nuts : S & F stainless steel screw bolts (machine made) with hexagonal or square heads at one end and screwed the other, or screwed both ends, each screwed end to be fitted with washers and one hexagonal or square nut, exc. 5 cm and not exc. 10 cm long and diameter of neck is 5 to 10 mm. | 20.00 | Kgs | 100.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 150.00 | 3000.00 | 3000.00 | Samrat Engineering Works
106.00 | WASTE PIPE: Supply and Fixing of Waste pipe for Wash Basin or Sink of Heavy duty of Size 32mm/40mm including removing of damaged Waste pipe and fixing of new Waste pipe , complete all as specified and directed. | 751.00 | Each | 10.00 | 30.00 | 22530.00 | 30.00 | 22530.00 | 60.00 | 45060.00 | 22530.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
107.00 | M-SEAL: Supply of M-seal regular epoxy compound for sealing joints, fixures etc. in each 250gms pack | 30.00 | Kgs | 10.00 | 260.00 | 7800.00 | 250.00 | 7500.00 | 600.00 | 18000.00 | 7500.00 | SATYANARAYANA RAJU VEGESNA
108.00 | 2 way Bib cock : Supply and fixing of 15mm dia cast copper alloy (Brass) Chromium plated Long Body two way bib cock / tap (Make Elvis, Camay, Parryware only) in repairs, damaged tap is to be deposited in stores complete all as specified and directed | 18.00 | Each | 10.00 | 1400.00 | 25200.00 | 3900.00 | 70200.00 | 2300.00 | 41400.00 | 25200.00 | T VENKATASWAMY CIVIL CONTRACTORS
109.00 | Push cock : Supply and fixing of 15mm push cock cast copper alloy internal / external threads in repairs , Weight 400grms damaged cock is to be deposited in stores complete all as specified and directed | 30.00 | Each | 10.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 1000.00 | 30000.00 | 12000.00 | SATYANARAYANA RAJU VEGESNA, T VENKATASWAMY CIVIL CONTRACTORS
| Total in Figures |  |  |  |  | 2451092.00 |  | 2453006.00 |  | 2732848.00
Lowest Amount Quoted BY: T VENKATASWAMY CIVIL CONTRACTORS(2451092.00)

## BOQ Summary
BOQ Summary Details Tender Title: Minor daily repair works of factory production and non production buildings, office buildings, stores etc. in side factory area at OFMK Tender ID: 2024_AVNL_216176_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | T VENKATASWAMY CIVIL CONTRACTORS (BID ID -788184) | 2451092.00 | L1
| 2 | SATYANARAYANA RAJU VEGESNA (BID ID -788158) | 2453006.00 | L2
| 3 | Samrat Engineering Works (BID ID -788887) | 2732848.00 | L3