## BoQ1
Government eProcurement System Created By: TUSSAR SINGH Created Date/Time: 03-Apr-2024 04:49 PM Tender Title: RJ/B378-999-XH-MR-0435/288 Tender ID: 2024_GAIL_181277_1
Tender Inviting Authority: GM (SCM), ENGINEERS INDIA LIMITED, GURUGRAM-122001, HARYANA
Name of Work: BATTERIES-NICKLE CADMIUM, BATTERY CHARGERS
Contract No: RJ/B378-999-XH-MR-0435/288
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | CHHABI ELECTRICALS PRIVATE LIMITED (GSTN-27AABCC3660J1ZO) BID ID -671893 |  | Mass-Tech Controls Pvt.Ltd(GSTN-NA)--674634
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | GROUP-A1
1.01 | MR ITEM SR NO: 01.001 220V DC System in SS-03 for Steam Generation Package (DC motors) excluding battery.- 1 Lot MR ITEMS SR NO: - 01.001.01 150 Amps Battery Charger- 1 Set MR ITEM SR NO: 01.001.02 220V, 300Amps, DC Distribution Board- 1 Nos | 1.00 | Lot | DC-03703 [DC-03703.01] [DC-03703.02] | 1917647.50 | 1917647.50 | 2069291.66 | 2069291.66 | 1917647.50 | CHHABI ELECTRICALS PRIVATE LIMITED | 1917647.50 | CHHABI ELECTRICALS PRIVATE LIMITED
1.02 | MR ITEM SR NO: 01.002 Battery Bank with 30 minutes backup for DC-03703 (S.No. 01.001) above. MR ITEMS SR NO: - 01.002.01 220 V, 2x150 Ah (min.) Ni-Cd Battery - 1 Set MR ITEM SR NO: 01.002.02 Battery Isolator and accessories for battery set as per the datasheet. 1 Set | 1.00 | Lot | BT-03703 [BT-03703.01] [BT-03703.02] | 3218372.00 | 3218372.00 | 3519856.00 | 3519856.00 | 3218372.00 | CHHABI ELECTRICALS PRIVATE LIMITED | 3218372.00 | CHHABI ELECTRICALS PRIVATE LIMITED
1.03 | Block-G002
| Total in Figures |  |  |  | 5136019.50 | 5136019.50 | 5589147.66 | 5589147.66

## BOQ Summary
BOQ Summary Details Tender Title: RJ/B378-999-XH-MR-0435/288 Tender ID: 2024_GAIL_181277_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHHABI ELECTRICALS PRIVATE LIMITED | 5136019.50 | L1
| 2 | Mass-Tech Controls Pvt.Ltd | 5589147.66 | L2

## Preferential Bidder IW Summary
Preferential Bidder Itemwise BOQ Summary Details Tender Title: RJ/B378-999-XH-MR-0435/288 Tender ID: 2024_GAIL_181277_1
Sl.No | Sheet Name | Description of Work / Item(s) | Item Code | Units | No.of Qty | Estimated Rate | Bidder Name | Rate Without Tax | Tax/Duties (INR) | Rate With Tax | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
1 | BoQ1 | MR ITEM SR NO: 01.001 220V DC System in SS-03 for Steam Generation Package (DC motors) excluding battery.- 1 Lot MR ITEMS SR NO: - 01.001.01 150 Amps Battery Charger- 1 Set MR ITEM SR NO: 01.001.02 220V, 300Amps, DC Distribution Board- 1 Nos | DC-03703 [DC-03703.01] [DC-03703.02] | Lot | 1.00 | 0.00 | CHHABI ELECTRICALS PRIVATE LIMITED | 1917647.50 | 0.00 | 1917647.50 |  |  | 15.00% | MSME
[7 empty] | Mass-Tech Controls Pvt.Ltd | 2069291.66 | 0.00 | 2069291.66
2 | BoQ1 | MR ITEM SR NO: 01.002 Battery Bank with 30 minutes backup for DC-03703 (S.No. 01.001) above. MR ITEMS SR NO: - 01.002.01 220 V, 2x150 Ah (min.) Ni-Cd Battery - 1 Set MR ITEM SR NO: 01.002.02 Battery Isolator and accessories for battery set as per the datasheet. 1 Set | BT-03703 [BT-03703.01] [BT-03703.02] | Lot | 1.00 | 0.00 | CHHABI ELECTRICALS PRIVATE LIMITED | 3218372.00 | 0.00 | 3218372.00 |  |  | 15.00% | MSME
[7 empty] | Mass-Tech Controls Pvt.Ltd | 3519856.00 | 0.00 | 3519856.00