## BoQ1
Government eProcurement System Created By: Rajeev Tripathi Created Date/Time: 08-May-2024 09:57 AM Tender Title: TESTING OF PIPES AND COMPOUNDS Tender ID: 2024_GAIL_182550_1
Tender Inviting Authority: GAIL INDIA LIMITED
Name of Work: Third Party Testing of GAIL’s PE Compound and Pipes for the supply of gaseous fuels, PO52U003 (P52A003 Compound) and compliance certificate as per IS 14885: 2022
Contract No: GAIL/NOIDA/C&P/GPTC/23172 [E TENDER ID: 2024_GAIL_182550_1]
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ATMY ANALYTICAL LABS PVT LTD(GSTN-NA)--669894 |  | CIPET, AHMEDABAD(GSTN-NA)--670882
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Complete Test of Polyethylene Pipes for the supply of Gaseous Fuel as per IS 14885:2022 Designation/Colour/Dimensions/Finish Hydraulic Characteristics (Type Test-100 hrs & 1000 hrs & Acceptance Test -165 hrs (Plain & Notched Pipes) Reversion Test Density/MFR/Thermal Stability to oxidation(OIT)/Volatile Matter Content Tensile Test ( Tensile Strength at Yield & Elongation at Break) Slow Crack Growth Test Resistance to weathering (6 months, outdoor, manual): Elongation at break, Hydrostatic characteristics –1000 hrs, Thermal Stability to oxidation(OIT) Squeeze off test at 0 degree Celsus for 10 hrs Hydrostatic pressure test (Plain & Notched Pipes) With required Chemicals i.e n-decane & 1,3,5-trimethyl benzene for checking effect of gas constituents on the hydrostatic strength (i.e. Including chemical price-Gas constituents) Effect of gas constituents on the hydrostatic strength conditioning charges 1500 hrs at 23+2 degC Filling up of synthetic condensate and stand in air for 1500 hrs at 23+2 deg C Hydraulic Characteristics for 20 hrs at 80 degree celsus | 1.00 | Set |  | 345000.00 | 345000.00 | 93600.00 | 93600.00 | 93600.00 | CIPET, AHMEDABAD
2.00 | Complete Test of PE Compound (Raw Material) as per IS 14885:2022 Density/MFI/ Thermal Stability to oxidation(OIT)/Pigment Dispersion/Water Content | 1.00 | EA |  | 28500.00 | 28500.00 | 6100.00 | 6100.00 | 6100.00 | CIPET, AHMEDABAD
3.00 | Long term hydraulic characteristics Type Test of Polyethylene pipes for 10000 hrs at 20 degC as per IS 14885:2022 | 1.00 | EA |  | 155000.00 | 155000.00 | 400000.00 | 400000.00 | 155000.00 | ATMY ANALYTICAL LABS PVT LTD
4.00 | GST (CGST&SGST/UTGST or IGST) in percentage (%) on net Total Amount | 1.00 | % |  | 18.00 | 95130.00 | 18.00 | 89946.00 | 89946.00 | CIPET, AHMEDABAD
| Total in Figures |  |  |  |  | 623630.00 |  | 589646.00
Lowest Amount Quoted BY: CIPET, AHMEDABAD(589646.00)

## BOQ Summary
BOQ Summary Details Tender Title: TESTING OF PIPES AND COMPOUNDS Tender ID: 2024_GAIL_182550_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIPET, AHMEDABAD | 589646.00 | L1
| 2 | ATMY ANALYTICAL LABS PVT LTD | 623630.00 | L2

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: TESTING OF PIPES AND COMPOUNDS Tender ID: 2024_GAIL_182550_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | CIPET, AHMEDABAD | 589646.00
| 2 | ATMY ANALYTICAL LABS PVT LTD | 623630.00 | 33984.00 | 5.76% | 15.00% | MSME