## BoQ1
Government eProcurement System Created By: RAJEEV KUMAR Created Date/Time: 23-Feb-2024 02:17 PM Tender Title: RENOVATION AND UPLIFTMENT OF EX-HAZIRA TERMINALS AS MODEL TERMINALS AND ASSOCIATED WORKS Tender ID: 2024_GAIL_182792_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: RENOVATION AND UPLIFTMENT OF EX-HAZIRA TERMINALS AS A MODEL TERMINALS AND ASSOCIATED WORKS
Contract No: GAIL/HZR/C&P/117873/FL-60C/23-24 (GePNIC Tender No. 2023_GAIL_182792_1 dtd 23.01.2024)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | NAMRATA ENGINEERING(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CAIRN-MODEL TERMINAL & ASSOCIATED WORKS
1.01 | REMOVAL OF PAVER BLOCK:- Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within Plant/Industry premises as per direction of Engineer-in-Charge. | 650.00 | M2 |  | 65.00 | 42250.00 | 350.00 | 227500.00 | 42250.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.02 | LAYING OF OLD PAVER BLOCK:- Laying old cement concrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 80 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 650.00 | M2 |  | 240.00 | 156000.00 | 500.00 | 325000.00 | 156000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.03 | SUPPLY & LAYING OF PAVER BLOCK:- Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved colour design and pattern. | 80.00 | M2 |  | 800.00 | 64000.00 | 1250.00 | 100000.00 | 64000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.04 | CLEANING OF ROOF:- Cleaning of Roof Terrace as per Instruction of EIC. | 130.00 | M2 |  | 25.00 | 3250.00 | 550.00 | 71500.00 | 3250.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.05 | DEMOLITION OF R.C.C./BRICKS/STONE MASONARY: - Site clearance by Demolition of R.C.C./Brickwork/Stone Masonry/Stone Soling, Flexible pavements etc. along with removing the debris and disposal of unserviceable material to any lead and staking of serviceable materials, handing over serviceable material to concerned department if required as per technical specifications and direction of Engineer-in-charge. Note: 1. Rate includes cost of all labour, tools, tackles, hire charges, royalties, levies, leads, loading/unloading, transportation, water, electric power, illumination etc. complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. 2. Demolition of RCC/PCC/Brick Masonry/Road will be paid in NET CUM as demolished. | 20.00 | M3 |  | 1450.00 | 29000.00 | 1200.00 | 24000.00 | 24000.00 | NAMRATA ENGINEERING
1.06 | EARTHWORK EXCAVATION: - Earth work in Excavation manually or mechanically (JCB etc.) below ground level for all kinds of works in ALL TYPES OF SOILS for a depth up to 300 mm including removal of vegetation, shrubs and debris, cutting and dressing of sides in slopes, levelling, grading and ramming of bottoms, dewatering of accumulated water from any source and keeping the surface dry for subsequent works and disposal or stacking of excavated material within plant/industry premises, as directed including providing temporary supports to existing service lines like water pipes, sewage pipes, electric overhead and underground cables etc. Disposed soil to be levelled and neatly dressed in all kinds of soil. All kind of charges to execute the line item is in Contractor's scope. | 200.00 | M3 |  | 220.00 | 44000.00 | 950.00 | 190000.00 | 44000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.07 | BACKFILLING: -Backfilling after execution of the WORK to proper grade and level with selected materials from available excavated soil from spoil heaps within a lead of 100m, including re-excavating the deposited soil excavated earlier, breaking clods, laying at all depths and heights in layers of thickness not exceeding 15 cms. watering, rolling and ramming by manual methods/ mechanical compactors to achieve 90% laboratory maximum dry density, dressing, trimming etc. in foundations, plinths, trenches, pits etc. all complete. All kind of charges to execute the line item is in Contractor's scope. | 50.00 | M3 |  | 200.00 | 10000.00 | 950.00 | 47500.00 | 10000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.08 | SAND FILLING: - Supplying and filling Sand in maxim. 50 mm thick layers and compacting by flooding, watering, rolling, ramming, consolidating and dressing the surface including cost of sand (Zone-II/Zone-III sand only) complete in all respect as per scope of work, detailed construction drawings as per technical specifications and directions of the Engineer-in-charge. Note:- 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, cost of sand, right of way, cess, and backfilling using sand in all conditions, etc | 50.00 | M3 |  | 1350.00 | 67500.00 | 1550.00 | 77500.00 | 67500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.09 | SURFACE LEVELLING & COMPACTING: -Surface Grading & Levelling off the ground including removing vegetation and inequalities not exceeding 50 mm deep and proper disposal of rubbish, lead up to 100 m and lift up to 1.5 m, for all kind of soil. After levelling, clearing and stripping at filling areas, uprooting of vegetation, roots and disposal of the shrubs, bushes, roots etc., consolidating exposed natural soil to 90% of maximum laboratory dry density as per IS:2720 Part-VII, breaking clods, spreading in layers not exceeding 50 mm loose thickness, watering, ramming and compacting with manually or mechanically to give at least 90% of max. laboratory dry density as per IS:2720 Part-VII, providing testing apparatus and testing the degree of consolidation, dressing and levelling, etc. complete, including disposal of all unserviceable materials. All kind of charges to execute the line item is in Contractor's scope. | 700.00 | M2 |  | 50.00 | 35000.00 | 550.00 | 385000.00 | 35000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.10 | SCAFFOLDING: - Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm Dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer in-charge . The elevational area of the scaffolding shall be measured for payment purpose and it is not related to any other Line item. The payment will be made once irrespective of duration of scaffolding. | 500.00 | M2 |  | 300.00 | 150000.00 | 450.00 | 225000.00 | 150000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.11 | BRICK WORK MASONARY: - Providing and laying BRICK MASONRY WITH BRICKS OF CLASS 7.5 in cement mortar 1:6 (1 Cement : 6 Sand) in one or more brick thickness and in any shape (excluding circular/curved brick masonry) at all depths and height including the cost of materials, labour, scaffolding/ staging, sampling & testing, soaking of bricks, cutting and laying of bricks, providing recesses, making openings of any shape & size, finishing the joints flush below ground level and raking out the joints above ground level, sealing the gap between masonry and soffit of beam/slab, embedding the fittings & fixtures, curing, etc. all complete as per specifications. All kind of charges to execute the line item is in Contractor's scope. | 3.00 | M3 |  | 6100.00 | 18300.00 | 10500.00 | 31500.00 | 18300.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.12 | CEMENT PLASTERING: - Providing and applying Cement plaster in coarse sand to thickness 20 mm in patches including cutting the patch and plastering the surface of the walls complete with 1:3 (1 cement: 3 coarse sand) cement mortar. This is finished with a floating coat of net cement. It also contains repair of plaster if required. All kind of charges to execute the line item is in Contractor's scope. | 30.00 | M2 |  | 390.00 | 11700.00 | 550.00 | 16500.00 | 11700.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.13 | WHITE CEMENT PUTTY: - Providing and applying white cement-based putty of average thickness 1 mm, of approved brand and manufacture, over the plastered wall surface to prepare the surface even and smooth complete. All kind of charges to execute the line item is in Contractor's scope. | 10.00 | M2 |  | 150.00 | 1500.00 | 550.00 | 5500.00 | 1500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.14 | PLAIN CEMENT CONCRETE: - Providing and laying in position cement concrete of specified grade including cost of centring and shuttering #All work up to plinth level. (1cement:2coarse sand:4 graded stone aggregates 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 50.00 | M3 |  | 4100.00 | 205000.00 | 9500.00 | 475000.00 | 205000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.15 | STEEL REINFORCEMENT: - Steel reinforcement for R.C.C. work as directed by EIC, including straightening, cutting, bending, placing in position and binding all complete up to plinth level. Required thermo - mechanically treated bars of grade Fe-500D or more (Dia 8mm and above). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | Kg |  | 87.00 | 8700.00 | 120.00 | 12000.00 | 8700.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.16 | REINFORCED CEMENT CONCRETE: - Providing and laying in position specified grade of reinforced cement concrete, including cost of centring and shuttering finishing but excluding steel reinforcement which is mentioned in Line item. #All work up to plinth level (1cement:2coarse sand:4graded stone aggregate 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 5.00 | M3 |  | 5400.00 | 27000.00 | 12500.00 | 62500.00 | 27000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.17 | EXTERIOR WALL PAINTING: - Finishing walls (Including Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches, Crack filling with polymer modified shrinking material etc.) with Acrylic Smooth exterior paint of required shade, with two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm). (i) Main Surface: Morning Dream (Asian Paints) / Celestial Sun (Berger Paints), (ii) Projections / Patta: Terracotta-N (Asian Paints) / Rust Red (Berger Paints). It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | M2 |  | 160.00 | 16000.00 | 250.00 | 25000.00 | 16000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.18 | INTERIOR WALL PAINTING: - Distempering (Including Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches, Crack filling with polymer modified shrinking material etc.) with oil bound washable distemper of approved brand and manufacture to give an even shade, with two or more coats over and including water thinnable priming coat with cement primer. Main Surface: Summer Dew (Asian paints) / Airy Lemon (Berger Paints). It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | M2 |  | 125.00 | 12500.00 | 450.00 | 45000.00 | 12500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.19 | ALUMINIUM PAINTING: -Painting (Including proper surface preparation on old painting) with aluminium paint of approved brand and manufacture to give an even shade with two or more coats. It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 500.00 | M2 |  | 100.00 | 50000.00 | 250.00 | 125000.00 | 50000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.20 | SYNTHETIC ENAMEL PAINTING: - Painting (including proper surface preparation on old painting) with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade with two or more coats over an under coat of suitable shed with ordinary paint of approved brand and manufacture. It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. Number of Paint Colour will be decided by the EIC at the time of Execution. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 800.00 | M2 |  | 98.00 | 78400.00 | 400.00 | 320000.00 | 78400.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.21 | LETTER WRITING: - Letter Writing & LOGO over the prepared surface of synthetic Paint at gate & at the top front portion of C/R BLDG & any other location in pipe line in approved colour, pattern, in all size/height as per EIC items include the charge of labour, material, scaffolding & the cost of base coat etc to complete the job, Measurement will be done from outer border to outer border of finished lettering surface. All kind of charges to execute the line item is in Contractor's scope like of industrial standard etc. and as per tender documents. | 50.00 | M2 |  | 600.00 | 30000.00 | 500.00 | 25000.00 | 25000.00 | NAMRATA ENGINEERING
1.22 | HIRING OF TRUCK: - Transportation of material as per the instruction of EIC/SIC by Eicher Truck (17ft long long) or equivalent. Kilometres will be calculated after deployment at source site. Transportation, fuel and all other kind of charges included in this line item. No additional cost will be included. This shall be paid separately with the approval of EIC and not connected with any Existing SOR Line item. | 350.00 | Km |  | 50.00 | 17500.00 | 250.00 | 87500.00 | 17500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.23 | METAL STRUCTURE GROUTING: - Providing and laying metal structure grouting with the help of epoxy resin or non-shrink cementitious as per standard Industrial practice. All kind of charges to execute the line item is in Contractor's scope and EIC decision is final with respect to selection of material. | 10.00 | M3 |  | 11500.00 | 115000.00 | 1000.00 | 10000.00 | 10000.00 | NAMRATA ENGINEERING
1.24 | WATER LINE REPAIR: - Providing and fixing of chlorinated polyvinyl chloride (CPVC) pipes of 80 mm, having thermal stability for hot & cool water supply, including all CPVC plain & brass threated fitting, reducer or its pipe including fixing the pipe with clamps at 1.0 m spacing. It also includes GI fittings & pipe if required during repair. This includes jointing of pipes, float valves & all fittings with one step CPVC solvent cement and testing of joints complete as per direction of EIC. | 10.00 | M |  | 1600.00 | 16000.00 | 3200.00 | 32000.00 | 16000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.25 | SUPPLY OF STEEL, FABRICATION AND PIPE SUPPORTS: - Supply, cutting, grinding, fabrication and erection of pipe/ equipment supports (for all sizes/ thickness) including shoes, canopy structures, pipes, cross-overs, chequer plate, platforms, ladders, handle, railings etc. as required, cradles, end cap, turn buckles, T-posts for all types of guides, anchors, special supports for cold/hot insulated pipes etc. if applicable, all necessary equipment, consumables, labour etc. for completing all works including supply of bolts, nuts, washers, U-clamps, wooden blocks etc. as required for supporting, supply and application of paints and primers suitable for normal corrosive painting environment as defined in contract document, GAIL guideline and as per EIC instruction. All kind of charges to execute the line item is in Contractor's scope including transportation, alignment of the pipeline, welding, jacking and as per tender documents. | 1000.00 | Kg |  | 110.00 | 110000.00 | 80.00 | 80000.00 | 80000.00 | NAMRATA ENGINEERING
1.26 | SUPPLY & INSTALLATION OF RAIN CAP: -Supply and Installation of Brass Rain Cap including all necessary fabrication works, including providing all necessary equipment, labour, materials, consumables and inputs other than Owner supplied materials and performing all works as per drawings, data sheet, specifications enclosed with the Contract and directions of Engineer-in- Charge. Vent Pipe Size vary from 2 inch to 6 inch. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 6.00 | EA |  | 1600.00 | 9600.00 | 15500.00 | 93000.00 | 9600.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.27 | EARTHING OF STRUCTURES: - Supply and installation of Earthing jumpers, earthing through copper 10 sqmm cable (Armoured) of all structures like Boundary fencing, any structure, Equipment, skid etc. with copper base plate. Double Earthing of all the structures will be ensured. Natural Gas pipeline for copper earthing jumper may vary from 2 inch to 16 inch. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 150.00 | M |  | 690.00 | 103500.00 | 350.00 | 52500.00 | 52500.00 | NAMRATA ENGINEERING
1.28 | CABLE TRAY COVER: - Supply and Installation of 3mm thickness GI closed cover of 300 mm perforated Cable Tray with proper anchoring, fastening, clamps, installation accessories etc. as per Industrial standard. Scaffolding, labour charges etc items for the installation of cover are in contractor's scope. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 400.00 | M |  | 340.00 | 136000.00 | 1250.00 | 500000.00 | 136000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.29 | SUPPLY & INSTALLATION OF CABLE TRAY: - Supply and Installation of perforated cable tray (Hot dip galvanized and painted white with dimension 75 mm) with all necessary accessories such as bends, elbows, covers with clamps and installation accessories, including installation and mounting at site. Cable tray, cable tray cover and other accessories are in contractor's scope. Scaffolding, labour charges etc items for the installation of cover are in contractor's scope. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 50.00 | M |  | 600.00 | 30000.00 | 450.00 | 22500.00 | 22500.00 | NAMRATA ENGINEERING
1.30 | CABLE LAYING: - Installation and laying of underground Cable along the route provided by GAIL with all installation accessories, polyethylene cable duct of diameter 60mm to 150mm, excavation, backfilling etc. This line item is not linked with other items and ONLY cable will be provided by GAIL. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 100.00 | M |  | 320.00 | 32000.00 | 85.00 | 8500.00 | 8500.00 | NAMRATA ENGINEERING
1.31 | HYDROGEN DETECTOR: - Supply and installation of hydrogen detector complete with wiring, JB, requisite cables and accessories as per Industrial standard and EIC approval. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. MAKE & MODEL specified in the Tender. | 1.00 | EA |  | 160000.00 | 160000.00 | 300000.00 | 300000.00 | 160000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.32 | COLD INSULATION: - Supply and Installation of Cold Insulation as per ASTM standard on Natural Gas piping’s and fittings with light resin bonded (LRB) i.e., Poly Uretherane PUF of 50 kg/cm3 density, thickness 100 mm and cladding with Aluminium sheet of thickness 22 swg including all necessary materials like screws, wires, belts, joint packing, rivets, tools & tackles etc. Aluminium cladding of thickness 22 swg, felting/putty and line numbering, wording and directional arrows on insulation pipe lines etc. as per instruction of the EIC of the various thickness pipe lines and Equipment. Insulation shall be done on piping’s & fittings of diameter 12" or as per instruction of EIC. Surface preparation like paint removal/ painting/cleaning etc. (as per requirement of job) for piping’s wherever required. Scaffolding arrangements where ever required during work execution shall be in the scope of contractor which includes supply & erection of scaffolding for the whole height (Approx. 7 meters) of piping including supply of all material, manpower, tools & tackles, removal of scaffolding after completion of work etc. will also be in the scope of contractor. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 1000.00 | M2 |  | 2000.00 | 2000000.00 | 4300.00 | 4300000.00 | 2000000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.33 | INSULATION POCKET: - Fabrication & Fitting of Insulation Pocket Cover in the insulated surface of COLD Insulation of required dimensions. Job includes supply of all the materials required for making provision of pocket in the insulated surface. Installation and fabrication of Inspection pockets 100 MM Dia on 100 MM thickness insulated surface with all requisite materials. | 100.00 | EA |  | 300.00 | 30000.00 | 1000.00 | 100000.00 | 30000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.34 | DISMANTLING & REMOVAL LIGHT POLES: - Removing of light fittings on the pole and then dismantling the lighting poles of approx. 11 m height including any civil job, if required. The poles should be dismantled and removed from the site without causing disturbance to any nearby equipment/pipeline. The job shall be carried out with utmost safety and without causing any damage to the pole. After removing the poles, the vendor shall shift the poles from CAURN- Suvali to GAIL Hazira Compressor Station store. All the tools, vehicles like trucks or trailers and manpower required for dismantling, transportation, loading & unloading of poles and other material shall be in the scope of vendor. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 8.00 | EA |  | 4000.00 | 32000.00 | 2500.00 | 20000.00 | 20000.00 | NAMRATA ENGINEERING
1.35 | DISPLAY SAFETY BOARD: - Supply and installation of Display of Safety Boards (3mm ACP sheet, vinyl print with lamination including design) Contain of Boards: Prohibited Materials (2 Ft. X 3 Ft.), In case of Emergency (2 Ft. X 3 Ft.), MSDS (2 Ft. X 3 Ft.) and other SOPs of same dimension. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 4.00 | EA |  | 2500.00 | 10000.00 | 7500.00 | 30000.00 | 10000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.36 | VEGETATION CLEANING: - Removal of vegetation cleaning by cutting and remove grass, tree branches etc. from the terminal to dispose-off at the right place within the premises of respective Plant and as per direction of EIC. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 500.00 | M2 |  | 15.00 | 7500.00 | 250.00 | 125000.00 | 7500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
1.37 | DISPOSE OF RUBBISH/CONSTRUCTION WASTE/MALBA etc: - Disposal of building rubbish/malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. Note: - If Disposing-off already mentioned in other Line items then no payment shall be paid against this line item. | 100.00 | M3 |  | 330.00 | 33000.00 | 250.00 | 25000.00 | 25000.00 | NAMRATA ENGINEERING
1.38 | MISCELLANEOUS: - Reimbursement of unforeseen requirement for items purchased through vouchers/bills + 15% on account of contractor's profit & overhead for such items other than the tender items required under this contract. Note: This is the lump sum amount kept for purchasing of the material or for paying of cost of repairing, inspection of experts / mechanics / Architects / consultant or any other necessary expenditure which is required to run the contract successfully through-out the contract period. This line item will be executed for the items/services that are not available under above SOR. Bidder must provide three Quotations and after proper analysis, EIC will take final decision. The bidder shall take prior permission of Engineer In charge before executing this item. Payment shall be done on actual basis. | 100000.00 | EA |  | 1.00 | 100000.00 | 1.15 | 115000.00 | 100000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.00 | NTPC-MODEL TERMINAL & ASSOCIATED WORK
2.01 | REMOVAL OF PAVER BLOCK: - Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within Plant/Industry premises as per direction of Engineer-in-Charge. | 700.00 | M2 |  | 65.00 | 45500.00 | 300.00 | 210000.00 | 45500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.02 | LAYING OF OLD PAVER BLOCK: - Laying old cement concrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 80 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost). | 700.00 | M2 |  | 250.00 | 175000.00 | 900.00 | 630000.00 | 175000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.03 | SUPPLY & LAYING OF PAVER BLOCK: -Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved colour design and pattern. | 200.00 | M2 |  | 800.00 | 160000.00 | 1250.00 | 250000.00 | 160000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.04 | DEMOLITION OF R.C.C./BRICKS/STONE MASONARY: - Site clearance by demolition of R.C.C./Brickwork/Stone Masonry/Stone Soling etc. along with removing the debris and disposal of unserviceable material to any lead and staking of serviceable materials, handing over serviceable material to concerned department if required as per technical specifications and direction of Engineer-in-charge. Note: 1. Rate includes cost of all labour, tools, tackles, hire charges, royalties, levies, leads, loading/unloading, transportation, water, electric power, illumination etc. complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. 2. Removal of Demolished of RCC/PCC/Brick Masonry/Road will be paid in NET CUM as demolished. | 50.00 | M3 |  | 1300.00 | 65000.00 | 250.00 | 12500.00 | 12500.00 | NAMRATA ENGINEERING
2.05 | EARTHWORK EXCAVATION: - Earth work in Excavation manually or mechanically (JCB etc.) below ground level for all kinds of works in ALL TYPES OF SOILS for a depth up to 300 mm including removal of vegetation, shrubs and debris, cutting and dressing of sides in slopes, levelling, grading and ramming of bottoms, dewatering of accumulated water from any source and keeping the surface dry for subsequent works and disposal or stacking of excavated material within plant/industry premises, as directed including providing temporary supports to existing service lines like water pipes, sewage pipes, electric overhead and underground cables etc. Disposed soil to be levelled and neatly dressed in all kinds of soil. All kind of charges to execute the line item is in Contractor's scope. | 500.00 | M3 |  | 200.00 | 100000.00 | 250.00 | 125000.00 | 100000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.06 | BACKFILLING: -Backfilling after execution of the WORK to proper grade and level with selected materials from available excavated soil from spoil heaps within a lead of 100m, including re-excavating the deposited soil excavated earlier, breaking clods, laying at all depths and heights in layers of thickness not exceeding 15 cms. watering, rolling and ramming by manual methods/ mechanical compactors to achieve 90% laboratory maximum dry density, dressing, trimming etc. in foundations, plinths, trenches, pits etc. all complete. All kind of charges to execute the line item is in Contractor's scope. | 50.00 | M3 |  | 200.00 | 10000.00 | 200.00 | 10000.00 | 10000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED, NAMRATA ENGINEERING
2.07 | SAND FILLING: - Supplying and filling Sand in maxim. 50 mm thick layers and compacting by flooding, watering, rolling, ramming, consolidating and dressing the surface including cost of sand (Zone-II/Zone-III sand only) complete in all respect as per scope of work, detailed construction drawings as per technical specifications and directions of the Engineer-in-charge. Note:- 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, cost of sand, right of way, cess, and backfilling using sand in all conditions, etc. | 110.00 | M3 |  | 1200.00 | 132000.00 | 750.00 | 82500.00 | 82500.00 | NAMRATA ENGINEERING
2.08 | SURFACE LEVELLING & COMPACTING: -Surface Grading & Levelling off the ground including removing vegetation and inequalities not exceeding 50 mm deep and proper disposal of rubbish, lead up to 100 m and lift up to 1.5 m, for all kind of soil. After levelling, clearing and stripping at filling areas, uprooting of vegetation, roots and disposal of the shrubs, bushes, roots etc., consolidating exposed natural soil to 90% of maximum laboratory dry density as per IS:2720 Part-VII, breaking clods, spreading in layers not exceeding 50 mm loose thickness, watering, ramming and compacting with manually or mechanically to give at least 90% of max. laboratory dry density as per IS:2720 Part-VII, providing testing apparatus and testing the degree of consolidation, dressing and levelling, etc. complete, including disposal of all unserviceable materials. All kind of charges to execute the line item is in Contractor's scope. | 500.00 | M2 |  | 30.00 | 15000.00 | 500.00 | 250000.00 | 15000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.09 | BRICK WORK MASONARY: - Providing and laying BRICK MASONRY WITH BRICKS OF CLASS 7.5 in cement mortar 1:6 (1 Cement : 6 Sand) in one or more brick thickness and in any shape (excluding circular/curved brick masonry) at all depths and height including the cost of materials, labour, scaffolding/ staging, sampling & testing, soaking of bricks, cutting and laying of bricks, providing recesses, making openings of any shape & size, finishing the joints flush below ground level and raking out the joints above ground level, sealing the gap between masonry and soffit of beam/slab, embedding the fittings & fixtures, curing, etc. all complete as per specifications. All kind of charges to execute the line item is in Contractor's scope. | 10.00 | M3 |  | 6100.00 | 61000.00 | 6500.00 | 65000.00 | 61000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.10 | CEMENT PLASTERING: - Providing and applying Cement plaster in coarse sand to thickness 20 mm in patches including cutting the patch and plastering the surface of the walls complete with 1:3 (1 cement: 3 coarse sand) cement mortar. This is finished with a floating coat of net cement. It also contains repair of plaster if required. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | M2 |  | 350.00 | 35000.00 | 250.00 | 25000.00 | 25000.00 | NAMRATA ENGINEERING
2.11 | WHITE CEMENT PUTTY: - Providing and applying white cement-based putty of average thickness 1 mm, of approved brand and manufacture, over the plastered wall surface to prepare the surface even and smooth complete. All kind of charges to execute the line item is in Contractor's scope. | 30.00 | M2 |  | 140.00 | 4200.00 | 250.00 | 7500.00 | 4200.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.12 | PLAIN CEMENT CONCRETE: - Providing and laying in position cement concrete of specified grade including cost of centring and shuttering #All work up to plinth level. (1cement:2coarse sand:4 graded stone aggregates 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 50.00 | M3 |  | 4100.00 | 205000.00 | 6500.00 | 325000.00 | 205000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.13 | STEEL REINFORCEMENT: - Steel reinforcement for R.C.C. work as directed by EIC, including straightening, cutting, bending, placing in position and binding all complete up to plinth level. Required thermo - mechanically treated bars of grade Fe-500D or more (Dia 8mm and above). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 3500.00 | Kg |  | 82.00 | 287000.00 | 90.00 | 315000.00 | 287000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.14 | REINFORCED CEMENT CONCRETE: - Providing and laying in position specified grade of reinforced cement concrete, including cost of centring and shuttering finishing but excluding steel reinforcement which is mentioned in Line item. #All work upto plinth level (1cement:2coarse sand:4graded stone aggregate 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 10.00 | M3 |  | 5400.00 | 54000.00 | 9500.00 | 95000.00 | 54000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.15 | EXTERIOR WALL PAINTING: - Finishing walls (Including Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches, Crack filling with polymer modified shrinking material etc.) with Acrylic Smooth exterior paint of required shade, with two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm). (i) Main Surface: Morning Dream (Asian Paints) / Celestial Sun (Berger Paints), (ii) Projections / Patta: Terracotta-N (Asian Paints) / Rust Red (Berger Paints). It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | M2 |  | 160.00 | 16000.00 | 250.00 | 25000.00 | 16000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.16 | INTERIOR WALL PAINTING: - Distempering (Including Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches, Crack filling with polymer modified shrinking material etc.) with oil bound washable distemper of approved brand and manufacture to give an even shade, with two or more coats over and including water thinnable priming coat with cement primer. Main Surface: Summer Dew (Asian paints) / Airy Lemon (Berger Paints). It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 100.00 | M2 |  | 125.00 | 12500.00 | 300.00 | 30000.00 | 12500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.17 | ALUMINIUM PAINTING: - Painting (Including proper surface preparation on old painting) with aluminium paint of approved brand and manufacture to give an even shade with two or more coats. It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 500.00 | M2 |  | 98.00 | 49000.00 | 250.00 | 125000.00 | 49000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.18 | SYNTHETIC ENAMEL PAINTING: - Painting (including proper surface preparation on old painting) with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade with two or more coats over an under coat of suitable shed with ordinary paint of approved brand and manufacture. It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. Number of Paint Colour will be decided by the EIC at the time of Execution. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 200.00 | M2 |  | 98.00 | 19600.00 | 400.00 | 80000.00 | 19600.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.19 | LETTER WRITING: - Letter Writing & LOGO over the prepared surface of synthetic Paint at gate & at the top front portion of C/R BLDG & any other location in pipe line in approved colour, pattern, in all size/height as per EIC items include the charge of labour, material, scaffolding & the cost of base coat etc to complete the job, Measurement will be done from outer border to outer border of finished lettering surface. All kind of charges to execute the line item is in Contractor's scope like of industrial standard etc. and as per tender documents. | 50.00 | M2 |  | 700.00 | 35000.00 | 500.00 | 25000.00 | 25000.00 | NAMRATA ENGINEERING
2.20 | HIRING OF TRUCK: - Transportation of material as per the instruction of EIC/SIC by Eicher Truck (17ft long long) or equivalent. Kilometres will be calculated after deployment at source site. Transportation, fuel and all other kind of charges included in this line item. No additional cost will be included. This shall be paid separately with the approval of EIC and not connected with any Existing SOR Line item. | 300.00 | Km |  | 50.00 | 15000.00 | 250.00 | 75000.00 | 15000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.21 | VEGETATION CLEANING: - Removal of vegetation cleaning by cutting and remove grass, tree branches etc. from the terminal to dispose-off at the right place within the premises of respective Plant and as per direction of EIC. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 100.00 | M2 |  | 15.00 | 1500.00 | 100.00 | 10000.00 | 1500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.22 | METAL STRUCTURE GROUTING: - Providing and laying metal structure grouting with the help of epoxy resin or non-shrink cementitious as per standard Industrial practice. All kind of charges to execute the line item is in Contractor's scope and EIC decision is final with respect to selection of material. | 1.00 | M3 |  | 12000.00 | 12000.00 | 1000.00 | 1000.00 | 1000.00 | NAMRATA ENGINEERING
2.23 | CHAIN LINK FENCING WITH POST AND BARBED WIRE: - Supply & Installation of Chain link Fencing with post & Barbed wire. Chain link fencing shall be of 3 m height. Barbed wire fence of 0.6 m height shall be provided on top of chain link fencing. The material requirement shall conform to IS: 2721 latest edition. The chain link fencing shall be woven from 3.15 mm Dia wire with mesh size of 50 mm. The mesh wire shall not vary from the specified Dia by more than ± 0.05 mm. Cleats for eye bolts shall be of uniform size and shall consist of Mild Steel angle of 75 x 50 x 6mm. Stretcher bar shall consist of Mild Steel flats 25 mm x 4.75 mm. They shall be secured to the cleats by steel bolts. Droppers for barbed wire shall be of Mild Steel not less than 25mm x 4.75 mm thick with 38mm x 4.85mm half round staples for fastening the barbed wire to them. 1.8m high fencing with 2.4m angle iron 50x50x6 mm post placed every 3.0 m c/c, with suitable foundations at least 750mm below from FGL/NGL whichever is lower. Galvanized steel barbed wire of Type A-1 IS: 278 shall be made from two strands of galvanized, twisted 2.5 mm steel wire with 4 points of barbs. Each barb shall have two turns tightening around both line wires making altogether four complete turns. The barbs shall have a length of not less than 13mm and not more than 18mm. Measurement of one running meter includes one meter fencing plus one-meter barbed wire including post installation. This line item also includes dismantling and removal of old fencing and post from the site to a proper disposable place. Drawing is attached as Annexure in Tender Documents. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 100.00 | M |  | 1900.00 | 190000.00 | 1500.00 | 150000.00 | 150000.00 | NAMRATA ENGINEERING
2.24 | KERBSTONE INSTALLATION : -Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 10.00 | M3 |  | 8100.00 | 81000.00 | 250.00 | 2500.00 | 2500.00 | NAMRATA ENGINEERING
2.25 | SUPPLY OF STEEL, FABRICATION AND PIPE SUPPORTS: - Supply, cutting, grinding, fabrication and erection of pipe/ equipment supports (for all sizes/ thickness) including shoes, canopy structures, pipes, cross-overs, chequer plate, platforms, ladders, handle, railings etc. as required, cradles, end cap, turn buckles, T-posts for all types of guides, anchors, special supports for cold/hot insulated pipes etc. if applicable, all necessary equipment, consumables, labour etc. for completing all works including supply of bolts, nuts, washers, U-clamps, wooden blocks etc. as required for supporting, supply and application of paints and primers suitable for normal corrosive painting environment as defined in contract document, GAIL guideline and as per EIC instruction. All kind of charges to execute the line item is in Contractor's scope including transportation, alignment of the pipeline, welding, jacking and as per tender documents. | 1500.00 | Kg |  | 110.00 | 165000.00 | 90.00 | 135000.00 | 135000.00 | NAMRATA ENGINEERING
2.26 | SUPPLY & INSTALLATION OF RAIN CAP: -Supply and Installation of Brass Rain Cap including all necessary fabrication works, including providing all necessary equipment, labour, materials, consumables and inputs other than Owner supplied materials and performing all works as per drawings, data sheet, specifications enclosed with the Contract and directions of Engineer-in- Charge. Vent Pipe Size vary from 2 inch to 6 inch. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 6.00 | EA |  | 1600.00 | 9600.00 | 9500.00 | 57000.00 | 9600.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.27 | EARTHING OF STRUCTURES: - Supply and installation of Earthing jumpers, earthing through copper 10 sqmm cable (Armoured) of all structures like Boundary fencing, any structure, Equipment, skid etc. with copper base plate. Double Earthing of all the structures will be ensured. Natural Gas pipeline for copper earthing jumper may vary from 2 inch to 16 inch. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 150.00 | M |  | 690.00 | 103500.00 | 250.00 | 37500.00 | 37500.00 | NAMRATA ENGINEERING
2.28 | SUPPLY & INSTALLATION OF CABLE TRAY: - Supply and Installation of perforated cable tray (Hot dip galvanized and painted white with dimension 75 mm) with all necessary accessories such as bends, elbows, covers with clamps and installation accessories, including installation and mounting at site. Cable tray, cable tray cover and other accessories are in contractor's scope. Scaffolding, labour charges etc items for the installation of cover are in contractor's scope. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 50.00 | M |  | 600.00 | 30000.00 | 450.00 | 22500.00 | 22500.00 | NAMRATA ENGINEERING
2.29 | CABLE LAYING: - Installation and laying of underground Cable along the route provided by GAIL with all installation accessories, polyethylene cable duct of diameter 60mm to 150mm, excavation, backfilling etc. This line item is not linked with other items and cable will be provided by GAIL. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 100.00 | M |  | 320.00 | 32000.00 | 85.00 | 8500.00 | 8500.00 | NAMRATA ENGINEERING
2.30 | DISPLAY SAFETY BOARD: - Supply and installation of Display of Safety Boards (3mm ACP sheet, vinyl print with lamination including design) Contain of Boards: Prohibited Materials (2 Ft. X 3 Ft.), In case of Emergency (2 Ft. X 3 Ft.), MSDS (2 Ft. X 3 Ft.) and other SOPs of same dimension. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 4.00 | EA |  | 2500.00 | 10000.00 | 6500.00 | 26000.00 | 10000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.31 | DISPOSE OF RUBBISH/CONSTRUCTION WASTE/MALBA etc: - Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. Note: - If Disposing-off already mentioned in other Line items then no payment shall be paid against this line item. | 100.00 | M3 |  | 330.00 | 33000.00 | 500.00 | 50000.00 | 33000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
2.32 | GRANITE WORK: - Providing and fixing 18 mm thick gang saw cut, mirror polished, remoulded and pre-polished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels; Granite stone slab colour black, Cherry/Ruby red for Area of slab over 0.50 sqm. | 10.00 | M2 |  | 3800.00 | 38000.00 | 3500.00 | 35000.00 | 35000.00 | NAMRATA ENGINEERING
2.33 | SUPPLY & INSTALLATION OF PRE-COATED ROOF SHEET: - Providing & fixing pre- coated, steel sheets (for roofing, cladding etc matching with existing profile) made from cold rolled high tensile Zincalume/ Galvalume steel of 550 MPA yield stress conforming IS:513, IS:14246 and ASTM AS:1397: the substrate shall be hot dip metallic coating of aluminium zinc alloy (150 grams per sqm total on both side coating class AZ150 ): the bottom unexposed surface shall be provided with alkyd backer of minimum 7 microns: top exposed surface shall have SMP(Silicon Modified Polyester) paint system minimum 20 microns in approved shade applied over 5 micron primer: overall coated thickness of sheet not less than 0.5 mm. Necessary fasteners of approved quality anti corrosive polyester polymer coated, nuts, bolts, self-drilling screw/ fastener with Silicon washer, base wheels(wherever required) etc. ALL complete as per approved manufacturer's specification & as per directions of EIC. | 16.00 | M2 |  | 800.00 | 12800.00 | 350.00 | 5600.00 | 5600.00 | NAMRATA ENGINEERING
2.34 | MISCELLANEOUS: - Reimbursement of unforeseen requirement for items purchased through vouchers/bills + 15% on account of contractor's profit & overhead for such items other than the tender items required under this contract. Note: This is the lump sum amount kept for purchasing of the material or for paying of cost of repairing, inspection of experts / mechanics / Architects / consultant or any other necessary expenditure which is required to run the contract successfully through-out the contract period. This line item will be executed for the items/services that are not available under above SOR. Bidder must provide three Quotations and after proper analysis, EIC will take final decision. The bidder shall take prior permission of Engineer In charge before executing this item. Payment shall be done on actual basis. | 100000.00 | EA |  | 1.00 | 100000.00 | 1.15 | 115000.00 | 100000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.00 | KRIBHCO-MODEL TERMINAL & ASSOCIATED WORK
3.01 | DEMOLITION OF PAVER BLOCK/R.C.C./BRICKS/STONE MASONARY: - Site clearance by demolition of R.C.C./Brickwork /Stone Masonry/Stone Soling, Flexible pavements etc. along with removing the debris, surface levelling and disposal of unserviceable material to any lead and staking of serviceable materials, handing over serviceable material to concerned department if required as per technical specifications and direction of Engineer-in-charge.Note:1. Rate includes cost of all labour, tools, tackles, hire charges, royalties, levies, leads, loading/ unloading, transportation, water, electric power, illumination etc. complete in all respects as per scope of work, detailed construction drawings, technical specifications and direction of Engineer-in-charge. 2. Removal of Demolished RCC/PCC/Brick Masonry/Road will be paid in NET CUM as demolished. | 10.00 | M3 |  | 1500.00 | 15000.00 | 500.00 | 5000.00 | 5000.00 | NAMRATA ENGINEERING
3.02 | EARTHWORK EXCAVATION: - Earth work in Excavation manually or mechanically (JCB etc.) below ground level for all kinds of works in ALL TYPES OF SOILS for a depth upto 300 mm including removal of vegetation, shrubs and debris, cutting and dressing of sides in slopes, levelling, grading and ramming of bottoms, dewatering of accumulated water from any source and keeping the surface dry for subsequent works and disposal or stacking of excavated material within plant/industry premises, as directed including providing temporary supports to existing service lines like water pipes, sewage pipes, electric overhead and underground cables etc. Disposed soil to be levelled and neatly dressed in all kinds of soil. All kind of charges to execute the line item is in Contractor's scope. | 50.00 | M3 |  | 230.00 | 11500.00 | 500.00 | 25000.00 | 11500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.03 | SAND FILLING: - Supplying and filling Sand in maxim. 50 mm thick layers and compacting by flooding, watering, rolling, ramming, consolidating and dressing the surface including cost of sand (Zone-II/Zone-III sand only) complete in all respect as per scope of work, detailed construction drawings as per technical specifications and directions of the Engineer-in-charge. Note:- 1.Rate to include cost of all labour, tools, tackles, equipment, hire charges, cost of sand, right of way, cess, and backfilling using sand in all conditions, etc. | 8.00 | M3 |  | 1400.00 | 11200.00 | 650.00 | 5200.00 | 5200.00 | NAMRATA ENGINEERING
3.04 | SURFACE LEVELLING & COMPACTING: -Surface Grading & Levelling off the ground including removing vegetation and inequalities not exceeding 50 mm deep and proper disposal of rubbish, lead up to 100 m and lift up to 1.5 m, for all kind of soil. After levelling, clearing and stripping at filling areas, uprooting of vegetation, roots and disposal of the shrubs, bushes, roots etc., consolidating exposed natural soil to 90% of maximum laboratory dry density as per IS:2720 Part-VII, breaking clods, spreading in layers not exceeding 50 mm loose thickness, watering, ramming and compacting with manually or mechanically to give at least 90% of max. laboratory dry density as per IS:2720 Part-VII, providing testing apparatus and testing the degree of consolidation, dressing and levelling, etc. complete, including disposal of all unserviceable materials. All kind of charges to execute the line item is in Contractor's scope. | 150.00 | M2 |  | 30.00 | 4500.00 | 750.00 | 112500.00 | 4500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.05 | PLAIN CEMENT CONCRETE: - Providing and laying in position cement concrete of specified grade including cost of centring and shuttering #All work up to plinth level. (1cement:2coarse sand:4 graded stone aggregates 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 20.00 | M3 |  | 4200.00 | 84000.00 | 12500.00 | 250000.00 | 84000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.06 | STEEL REINFORCEMENT: - Steel reinforcement for R.C.C. work as directed by EIC, including straightening, cutting, bending, placing in position and binding all complete up to plinth level. Required thermo - mechanically treated bars of grade Fe-500D or more (Dia 8mm and above). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 2000.00 | Kg |  | 82.00 | 164000.00 | 100.00 | 200000.00 | 164000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.07 | REINFORCED CEMENT CONCRETE: - Providing and laying in position specified grade of reinforced cement concrete, including cost of centring and shuttering finishing but excluding steel reinforcement which is mentioned in Line item. #All work up to plinth level (1cement:2coarse sand:4graded stone aggregate 20mm nominal size). It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 22.00 | M3 |  | 5400.00 | 118800.00 | 10000.00 | 220000.00 | 118800.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.08 | ALUMINIUM PAINTING: - Painting (Including proper surface preparation on old painting) with aluminium paint of approved brand and manufacture to give an even shade with two or more coats. It includes all types of the charges like labour, material, scaffolding etc. to complete the job. All kind of charges to execute the line item is in Contractor's scope. | 700.00 | M2 |  | 100.00 | 70000.00 | 250.00 | 175000.00 | 70000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.09 | SYNTHETIC ENAMEL PAINTING: - Painting (including proper surface preparation on old painting) with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade with two or more coats over an under coat of suitable shed with ordinary paint of approved brand and manufacture. It includes all types of the charges like labour, material, scaffolding of industrial standard etc. to complete the job. Number of Paint Colour will be decided by the EIC at the time of Execution. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 200.00 | M2 |  | 100.00 | 20000.00 | 400.00 | 80000.00 | 20000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.10 | LETTER WRITING: - Letter Writing & LOGO over the prepared surface of synthetic Paint at gate & at the top front portion of C/R BLDG & any other location in pipe line in approved colour, pattern, in all size/height as per EIC items include the charge of labour, material, scaffolding & the cost of base coat etc to complete the job, Measurement will be done from outer border to outer border of finished lettering surface. All kind of charges to execute the line item is in Contractor's scope like of industrial standard etc. and as per tender documents. | 20.00 | M2 |  | 650.00 | 13000.00 | 500.00 | 10000.00 | 10000.00 | NAMRATA ENGINEERING
3.11 | METAL STRUCTURE GROUTING: - Providing and laying metal structure grouting with the help of epoxy resin or non-shrink cementitious as per standard Industrial practice. All kind of charges to execute the line item is in Contractor's scope and EIC decision is final with respect to selection of material. | 1.00 | M3 |  | 13000.00 | 13000.00 | 1000.00 | 1000.00 | 1000.00 | NAMRATA ENGINEERING
3.12 | SUPPLY OF STEEL, FABRICATION AND PIPE SUPPORTS: - Supply, cutting, grinding, fabrication and erection of pipe/ equipment supports (for all sizes/ thickness) including shoes, canopy structures, pipes, cross-overs, chequer plate, platforms, ladders, handle, railings etc. as required, cradles, end cap, turn buckles, T-posts for all types of guides, anchors, special supports for cold/hot insulated pipes etc. if applicable, all necessary equipment, consumables, labour etc. for completing all works including supply of bolts, nuts, washers, U-clamps, wooden blocks etc. as required for supporting, supply and application of paints and primers suitable for normal corrosive painting environment as defined in contract document, GAIL guideline and as per EIC instruction. All kind of charges to execute the line item is in Contractor's scope including transportation, alignment of the pipeline, welding, jacking and as per tender documents. | 1000.00 | Kg |  | 110.00 | 110000.00 | 90.00 | 90000.00 | 90000.00 | NAMRATA ENGINEERING
3.13 | SUPPLY & INSTALLATION OF RAIN CAP: -Supply and Installation of Brass Rain Cap including all necessary fabrication works, including providing all necessary equipment, labour, materials, consumables and inputs other than Owner supplied materials and performing all works as per drawings, data sheet, specifications enclosed with the Contract and directions of Engineer-in- Charge. Vent Pipe Size vary from 2 inch to 6 inch. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 3.00 | EA |  | 1600.00 | 4800.00 | 9500.00 | 28500.00 | 4800.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.14 | DISPLAY SAFETY BOARD: - Supply and installation of Display of Safety Boards (3mm ACP sheet, vinyl print with lamination including design) Contain of Boards: Prohibited Materials (2 Ft. X 3 Ft.), In case of Emergency (2 Ft. X 3 Ft.), MSDS (2 Ft. X 3 Ft.) and other SOPS of same dimensions. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 3.00 | EA |  | 2500.00 | 7500.00 | 7500.00 | 22500.00 | 7500.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.15 | HIRING OF TRUCK: - Transportation of material as per the instruction of EIC/SIC by Eicher Truck (17ft long long) or equivalent. Kilometres will be calculated after deployment at source site. Transportation, fuel and all other kind of charges included in this line item. No additional cost will be included. This shall be paid separately with the approval of EIC and not connected with any Existing SOR Line item. | 300.00 | Km |  | 50.00 | 15000.00 | 200.00 | 60000.00 | 15000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.16 | VEGETATION CLEANING: - Removal of vegetation cleaning by cutting and remove grass, tree branches etc. from the terminal to dispose-off at the right place within the premises of respective Plant and as per direction of EIC. All kind of charges to execute the line item is in Contractor's scope and as per tender documents. | 250.00 | M2 |  | 20.00 | 5000.00 | 50.00 | 12500.00 | 5000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
3.17 | SUPPLY & INSTALLATION OF PRE-COATED ROOF SHEET: - Providing & fixing pre- coated, steel sheets (for roofing, cladding etc matching with existing profile) made from cold rolled high tensile Zincalume/ Galvalume steel of 550 MPA yield stress conforming IS:513, IS:14246 and ASTM AS:1397: the substrate shall be hot dip metallic coating of aluminium zinc alloy (150 grams per sqm total on both side coating class AZ150 ): the bottom unexposed surface shall be provided with alkyd backer of minimum 7 microns: top exposed surface shall have SMP(Silicon Modified Polyester) paint system minimum 20 microns in approved shade applied over 5 micron primer: overall coated thickness of sheet not less than 0.5 mm. Necessary fasteners of approved quality anti corrosive polyester polymer coated, nuts, bolts, self-drilling screw/ fastener with Silicon washer, base wheels(wherever required) etc. ALL complete as per approved manufacturer's specification & as per directions of EIC. | 16.00 | M2 |  | 800.00 | 12800.00 | 350.00 | 5600.00 | 5600.00 | NAMRATA ENGINEERING
3.18 | MISCELLANEOUS: - Reimbursement of unforeseen requirement for items purchased through vouchers/bills + 15% on account of contractor's profit & overhead for such items other than the tender items required under this contract. Note: This is the lump sum amount kept for purchasing of the material or for paying of cost of repairing, inspection of experts / mechanics / Architects / consultant or any other necessary expenditure which is required to run the contract successfully throughout the contract period. This line item will be executed for the items/services that are not available under above SOR. Bidder must provide three Quotations and after proper analysis, EIC will take final decision. The bidder shall take prior permission of Engineer Incharge before executing this item. Payment shall be done on actual basis. | 50000.00 | EA |  | 1.00 | 50000.00 | 1.15 | 57500.00 | 50000.00 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7046500.00 |  | 13495400.00
Lowest Amount Quoted BY: BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED(7046500.00)

## BOQ Summary
BOQ Summary Details Tender Title: RENOVATION AND UPLIFTMENT OF EX-HAZIRA TERMINALS AS MODEL TERMINALS AND ASSOCIATED WORKS Tender ID: 2024_GAIL_182792_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BANYANWOODS CONSERVE & ENGINEERS PRIVATE LIMITED | 7046500.00 | L1
| 2 | NAMRATA ENGINEERING | 13495400.00 | L2