## BoQ1
Government eProcurement System Created By: NARASINGA RAO CH Created Date/Time: 29-Jun-2024 12:02 PM Tender Title: DESIGN SUPPLY INSTALLATION TESTING COMMISSIONING AND ONM OF ROOF TOP LAND TOP SOLAR ENERGY PLANTS AT VARIOUS LOCATIONS ALONG WITH VSPL Tender ID: 2024_GAIL_185932_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, VIZAG
Name of Work: DESIGN, SUPPLY, INSTALLATION, TESTING & COMMISSIONING AND O&M OF ROOF TOP & LAND TOP SOLAR ENERGY PLANTS AT VARIOUS LOCATIONS ALONG WITH VSPL
Tender No: GAIL/ VIZP116516/ELECT/SOLAR POWER/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Hyper Green Renewable Energy Pvt Ltd (GSTN-08AAECH5281K1Z9) BID ID -691554 |  | M/s. Green Secure Energy Private Limited (GSTN-36AAECG1079Q1Z3) BID ID -690250
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART-A: [BRIEF DESCRIPTION IS GIVEN BELOW; FOR DETAILED, REFER TENDER DOCUMENT]
1.01 | Supply of ROOF TOP SOLAR POWER SYSTEM AT DESPATCH TERMINAL, VISAKHAPATNAM OF 200 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS, PCUS/INVERTERS, DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 200.00 | KWP |  | 50025.00 | 10005000.00 | 41052.00 | 8210400.00 | 8210400.00 | M/s. Green Secure Energy Private Limited
1.02 | Supply of LAND TOP SOLAR POWER SYSTEM AT DESPATCH TERMINAL, VISAKHAPATNAM OF 300KWP GRID-TIED LAND TOP SOLAR P V POWER PLANT SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS, PCUS/INVERTERS, DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 440V AC, 50 HZ, POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 300.00 | KWP |  | 50025.00 | 15007500.00 | 43140.00 | 12942000.00 | 12942000.00 | M/s. Green Secure Energy Private Limited
1.03 | Supply of ROOF TOP SOLAR POWER SYSTEM OF 8.5 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS, PCUS/INVERTERS, DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender,PRESENT PREVAILING STANDARDS etc., | 8.50 | KWP |  | 46000.00 | 391000.00 | 50000.00 | 425000.00 | 391000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.04 | Supply of ROOF TOP SOLAR POWER SYSTEM OF 8.5 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS, PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender,PRESENT PREVAILING STANDARDS etc., | 8.50 | KWP |  | 46000.00 | 391000.00 | 50000.00 | 425000.00 | 391000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.05 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.06 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.07 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.08 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.09 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.10 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.11 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.12 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender,PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.13 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender,PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.14 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender,PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.15 | Supply, Installation, Testing & Commissioning of ROOF TOP SOLAR POWER SYSTEM OF 5.0 KWP GRID-TIED SYSTEM CONSISTING OF SOLAR PANELS/ARRAYS,PCUS/INVERTERS,DCDBS,ACDBS AND OTHER ACCESSORIES WITH NET METERING ARRANGEMENT GRID SYNCHRONISATION IS AT 3 PHASE 220/ 440V AC, 50 HZ POLY CRYSTALLINE SILICON SOLAR CELL MODULES SHALL BE AS PER IEC 61215/ IS 14286, standards mentioned in Tender, PRESENT PREVAILING STANDARDS etc., | 1.00 | EACH |  | 250000.00 | 250000.00 | 325000.00 | 325000.00 | 250000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
1.16 | Supply, Installation, Testing & Commissioning of Panel for accommodating the receipt of Solar Power 500 Kwp as per the tender specifications of tender document at dispatch terminal, Visakhapatnam. EXTENSION OF EXISTING L&T PMCC-301 Panel (Annexure-5) of Tender Document | 1.00 | EACH |  | 1200000.00 | 1200000.00 | 650000.00 | 650000.00 | 650000.00 | M/s. Green Secure Energy Private Limited
2.00 | PART-B: [BRIEF DESCRIPTION IS GIVEN BELOW; FOR DETAILED, REFER TENDER DOCUMENT]
2.01 | Operation and Maintenance of Roof Top 200KWp Solar system for 1st Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 800 considering 200KW plant for 4 Quarters in a year [200x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 800.00 | KW |  | 175.00 | 140000.00 | 150.00 | 120000.00 | 120000.00 | M/s. Green Secure Energy Private Limited
2.02 | Operation and Maintenance of Roof Top 200KWp Solar system for 2nd Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 800 considering 200KW plant for 4 Quarters in a year [200x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 800.00 | KW |  | 175.00 | 140000.00 | 165.00 | 132000.00 | 132000.00 | M/s. Green Secure Energy Private Limited
2.03 | Operation and Maintenance of Roof Top 200KWp Solar system for 3rd Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 800 considering 200KW plant for 4 Quarters in a year [200x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 800.00 | KW |  | 175.00 | 140000.00 | 180.00 | 144000.00 | 140000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.04 | Operation and Maintenance of Roof Top 200KWp Solar system for 4th Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 800 considering 200KW plant for 4 Quarters in a year [200x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 800.00 | KW |  | 175.00 | 140000.00 | 195.00 | 156000.00 | 140000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.05 | Operation and Maintenance of Roof Top 200KWp Solar system for 5th Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 800 considering 200KW plant for 4 Quarters in a year [200x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 800.00 | KW |  | 175.00 | 140000.00 | 210.00 | 168000.00 | 140000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.06 | Operation and Maintenance of Roof Top 300KWp Solar system for 1st Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 1200 considering 300KW plant for 4 Quarters in a year [300x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 1200.00 | KW |  | 175.00 | 210000.00 | 150.00 | 180000.00 | 180000.00 | M/s. Green Secure Energy Private Limited
2.07 | Operation and Maintenance of 300KWp Land Top Solar system at DT, Vizag, for 2nd Year. Operation and Maintenance of Roof Top 300KWp Solar system for 2nd Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. | 1200.00 | KW |  | 175.00 | 210000.00 | 165.00 | 198000.00 | 198000.00 | M/s. Green Secure Energy Private Limited
2.08 | Operation and Maintenance of Roof Top 300KWp Solar system for 3rd Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 1200 considering 300KW plant for 4 Quarters in a year [300x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 1200.00 | KW |  | 175.00 | 210000.00 | 180.00 | 216000.00 | 210000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.09 | Operation and Maintenance of Roof Top 300KWp Solar system for 4th Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 1200 considering 300KW plant for 4 Quarters in a year [300x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 1200.00 | KW |  | 175.00 | 210000.00 | 195.00 | 234000.00 | 210000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.10 | Operation and Maintenance of Roof Top 300KWp Solar system for 5th Year at DT, Vizag AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 1200 considering 300KW plant for 4 Quarters in a year [300x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 1200.00 | KW |  | 175.00 | 210000.00 | 210.00 | 252000.00 | 210000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.11 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 1st Year at IP-1(VEDRUPAKA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter. | 34.00 | KW |  | 800.00 | 27200.00 | 1000.00 | 34000.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.12 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 2nd Year at IP-1(VEDRUPAKA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1100.00 | 37400.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.13 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 3rd Year at IP-1(VEDRUPAKA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1200.00 | 40800.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.14 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 4th Year at IP-1(VEDRUPAKA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1300.00 | 44200.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.15 | Operation and Maintenance of Roof Top 8.5 KWp Solar system for 5th Year at IP-1(VEDRUPAKA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1400.00 | 47600.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.16 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 1st Year at SV-09 (GUMMAREGULA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1000.00 | 34000.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.17 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 2nd Year at SV-09 (GUMMAREGULA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1100.00 | 37400.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.18 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 3rd Year at SV-09 (GUMMAREGULA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1200.00 | 40800.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.19 | Operation and Maintenance of Roof Top 8.5KWp Solar system for 4th Year at SV-09 (GUMMAREGULA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1300.00 | 44200.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
2.20 | Operation and Maintenance of Roof Top 8.5 KWp Solar system for 5th Year at SV-09 (GUMMAREGULA, ANDHRA PRADESH)AS PER THE TENDER DOCUMENT. However payment will be released on quarterly basis on installed capacity BASIS as per the tender document and as per the Part-B payment Terms. Qty. is mentioned as 34 considering 8.5 KW plant for 4 Quarters in a year [8.5x4] O&M/AMC. Thus, Bidders is required to quote O&M/AMC charges per KW per Quarter | 34.00 | KW |  | 800.00 | 27200.00 | 1400.00 | 47600.00 | 27200.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.00 | PART-C: [BRIEF DESCRIPTION IS GIVEN BELOW; FOR DETAILED, REFER TENDER DOCUMENT]
3.01 | Services -Design, Installation & Commissioning of 200KWp Solar system at GAIL,DT,VIZAG. 200 KWp ROOF TOP SOLAR POWER PLANT | 200.00 | KW |  | 4600.00 | 920000.00 | 4800.00 | 960000.00 | 920000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.02 | Services -Design, Installation & Commissioning of 300KWp Solar system at GAIL,DT,VIZAG. 300 KWp LAND TOP SOLAR POWER PLANT | 300.00 | KW |  | 4600.00 | 1380000.00 | 4800.00 | 1440000.00 | 1380000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.03 | Services -Design, Installation & Commissioning of 8.5KWp SOLAR System at IP-01 (VEDRUPAKA, ANDHRA PRADESH) 8.5 KWp ROOF TOP SOLAR POWER PLANT | 8.50 | KW |  | 4000.00 | 34000.00 | 8000.00 | 68000.00 | 34000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.04 | Services -Design, Installation & Commissioning of 8.5KWp SOLAR SYSTEM at SV-09 (GUMMAREGULA, ANDHRA PRADESH) 8.5 KWp ROOF TOP SOLAR POWER PLANT | 8.50 | KW |  | 4000.00 | 34000.00 | 8000.00 | 68000.00 | 34000.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.05 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 9375.00 | SM3 |  | 85.00 | 796875.00 | 14.00 | 131250.00 | 131250.00 | M/s. Green Secure Energy Private Limited
3.06 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Hire and running charges of Hydraulic Excavator (3D) with driver and fuel include cost of services of operating staff, Cost of lubricating oil, diesel / Petrol/ Kerosene oil , other consumables for running the plant and machinery, contractor’s profit and over heads etc. Note:-The hire charges of plant machinery on per day basis are for single shift of eight working hours. | 10.00 | DAY |  | 20000.00 | 200000.00 | 10000.00 | 100000.00 | 100000.00 | M/s. Green Secure Energy Private Limited
3.07 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | 1000.00 | CUM |  | 400.00 | 400000.00 | 200.00 | 200000.00 | 200000.00 | M/s. Green Secure Energy Private Limited
3.08 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Construction of granular sub-base (GSB) by providing close graded Material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 625.00 | CUM |  | 950.00 | 593750.00 | 1600.00 | 1000000.00 | 593750.00 | M/s Hyper Green Renewable Energy Pvt Ltd
3.09 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including side shuttering , consolidation finishing and tamping complete as per specifications and directions of Engineer-in-Charge. | 156.59 | CUM |  | 9000.00 | 1409310.00 | 6600.00 | 1033494.00 | 1033494.00 | M/s. Green Secure Energy Private Limited
3.10 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | 200.00 | CUM |  | 1000.00 | 200000.00 | 350.00 | 70000.00 | 70000.00 | M/s. Green Secure Energy Private Limited
3.11 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size | 200.00 | CUM |  | 7000.00 | 1400000.00 | 6600.00 | 1320000.00 | 1320000.00 | M/s. Green Secure Energy Private Limited
3.12 | CIVIL JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 3192.00 | M2 |  | 80.00 | 255360.00 | 75.00 | 239400.00 | 239400.00 | M/s. Green Secure Energy Private Limited
3.13 | JOBS FOR 300 kwp LAND TOP POWER SYSTEM AT Despatch Terminal, Visakhapatnam. Follow up with respect to HSE Policy guidelines strictly from the Start to Finish of the Activity inside GAIL DT (Safety gadgets viz. Usage of all relevant standard PPEs by the workmen). Payment done on actual grounds based on the items procured for usage by the work men and retained by GAIL after completion of the work. | 1.00 | LS |  | 150000.00 | 150000.00 | 100000.00 | 100000.00 | 100000.00 | M/s. Green Secure Energy Private Limited
| Total in Figures |  |  |  |  | 39539795.00 |  | 35165544.00
Lowest Amount Quoted BY: M/s. Green Secure Energy Private Limited(35165544.00)

## BOQ Summary
BOQ Summary Details Tender Title: DESIGN SUPPLY INSTALLATION TESTING COMMISSIONING AND ONM OF ROOF TOP LAND TOP SOLAR ENERGY PLANTS AT VARIOUS LOCATIONS ALONG WITH VSPL Tender ID: 2024_GAIL_185932_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. Green Secure Energy Private Limited | 35165544.00 | L1
| 2 | M/s Hyper Green Renewable Energy Pvt Ltd | 39539795.00 | L2

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: DESIGN SUPPLY INSTALLATION TESTING COMMISSIONING AND ONM OF ROOF TOP LAND TOP SOLAR ENERGY PLANTS AT VARIOUS LOCATIONS ALONG WITH VSPL Tender ID: 2024_GAIL_185932_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | M/s. Green Secure Energy Private Limited | 35165544.00
| 2 | M/s Hyper Green Renewable Energy Pvt Ltd | 39539795.00