## BoQ1
Government eProcurement System Created By: TUSSAR SINGH Created Date/Time: 02-Jul-2024 02:47 PM Tender Title: RJ/B378-999-XR-MR-0515/304 Tender ID: 2024_GAIL_192744_1
Tender Inviting Authority: AGM (SCM), ENGINEERS INDIA LIMITED, GURUGRAM-122001, HARYANA
Name of Work: HAZ. AREA - BULK MATERIAL
Contract No: RJ/B378-999-XR-MR-0515/304
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | KAYSONS TECHNO EQUIPMENTS PVT. LTD. (GSTN-24AAACK7969B1ZK) BID ID -694044 |  | FLEXPRO ELECTRICALS PVT. LTD (GSTN-24AAACF3980B1Z2) BID ID -696648 |  | M/s. Sudhir Switchgears Private Limited (GSTN-27AAACS5777R1ZF) BID ID -697082
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Group A1
1.01 | MR ITEM SR NO: 01.001 Ex-nR, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 2800.00 | Nos | EX-LED-2A | 47908000.00 | 47908000.00 | 12508944.00 | 12508944.00 | 7764400.00 | 7764400.00 | 7764400.00 | M/s. Sudhir Switchgears Private Limited | 7764400.00 | M/s. Sudhir Switchgears Private Limited
1.02 | MR ITEM SR NO: 01.002 SAME AS ITEM NO. 01.001 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | 170.00 | Nos | EX-LED-2A-22 | 2908700.00 | 2908700.00 | 759471.60 | 759471.60 | 471410.00 | 471410.00 | 471410.00 | M/s. Sudhir Switchgears Private Limited | 471410.00 | M/s. Sudhir Switchgears Private Limited
1.03 | MR ITEM SR NO: 01.003 Ex-nR, CLASS T3, WELL GLASS, 10000-10500 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 5.00 | Nos | EX-LED-3A | 85550.00 | 85550.00 | 32703.70 | 32703.70 | 23600.00 | 23600.00 | 23600.00 | M/s. Sudhir Switchgears Private Limited | 23600.00 | M/s. Sudhir Switchgears Private Limited
1.04 | MR ITEM SR NO: 01.004 SAME AS ITEM NO. 01.003 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | 30.00 | Nos | EX-LED-3A-22 | 513300.00 | 513300.00 | 196222.20 | 196222.20 | 141600.00 | 141600.00 | 141600.00 | M/s. Sudhir Switchgears Private Limited | 141600.00 | M/s. Sudhir Switchgears Private Limited
1.05 | MR ITEM SR NO: 01.005 Ex-nR, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | 10.00 | Nos | EX-LED-5 | 239540.00 | 239540.00 | 66681.80 | 66681.80 | 47200.00 | 47200.00 | 47200.00 | M/s. Sudhir Switchgears Private Limited | 47200.00 | M/s. Sudhir Switchgears Private Limited
1.06 | MR ITEM SR NO: 01.006 Ex-d, GRP IIA/IIB, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 180.00 | Nos | FLP-LED-2 | 3079800.00 | 3079800.00 | 903974.40 | 903974.40 | 630828.00 | 630828.00 | 630828.00 | M/s. Sudhir Switchgears Private Limited | 630828.00 | M/s. Sudhir Switchgears Private Limited
1.07 | MR ITEM SR NO: 01.007 SAME AS ITEM NO. 01.006 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | 60.00 | Nos | FLP-LED-2-22 | 1026600.00 | 1026600.00 | 301324.80 | 301324.80 | 210276.00 | 210276.00 | 210276.00 | M/s. Sudhir Switchgears Private Limited | 210276.00 | M/s. Sudhir Switchgears Private Limited
1.08 | MR ITEM SR NO: 01.008 Ex-d,GRP IIA/IIB,ZONE-22, DUSTGRPIIIB,T4, WELLGLASS, 10000-10500LM,100 LM/W, LTG. FIX&ACCS.WITH LED. | 25.00 | Nos | FLP-LED-3-22 | 427750.00 | 427750.00 | 165672.00 | 165672.00 | 118000.00 | 118000.00 | 118000.00 | M/s. Sudhir Switchgears Private Limited | 118000.00 | M/s. Sudhir Switchgears Private Limited
1.09 | MR ITEM SR NO: 01.009 Ex-d, GRP IIA/IIB, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | 10.00 | Nos | FLP-LED-5 | 239540.00 | 239540.00 | 62327.60 | 62327.60 | 47200.00 | 47200.00 | 47200.00 | M/s. Sudhir Switchgears Private Limited | 47200.00 | M/s. Sudhir Switchgears Private Limited
1.10 | MR ITEM SR NO: 01.010 Ex-d, GRP IIC, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 700.00 | Nos | FLP-LED-2-IIC | 11977000.00 | 11977000.00 | 3641834.00 | 3641834.00 | 2453220.00 | 2453220.00 | 2453220.00 | M/s. Sudhir Switchgears Private Limited | 2453220.00 | M/s. Sudhir Switchgears Private Limited
1.11 | MR ITEM SR NO: 01.011 SAME AS ITEM NO. 01.010 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | 5.00 | Nos | FLP-LED-2IIC22 | 85550.00 | 85550.00 | 25600.10 | 25600.10 | 17523.00 | 17523.00 | 17523.00 | M/s. Sudhir Switchgears Private Limited | 17523.00 | M/s. Sudhir Switchgears Private Limited
1.12 | MR ITEM SR NO: 01.012 Ex-d, GRP IIC, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | 20.00 | Nos | FLP-LED-5-IIC | 460200.00 | 460200.00 | 150733.20 | 150733.20 | 94400.00 | 94400.00 | 94400.00 | M/s. Sudhir Switchgears Private Limited | 94400.00 | M/s. Sudhir Switchgears Private Limited
1.13 | MR ITEM SR NO: 01.013 Ex-d, GRP IIC, CLASST3, WELL GLASS, 4000-4500 LUMENS,100 LM/W, DC LTG. FIXTURE & ACCS. WITH LED. | 20.00 | Nos | FLP-LED-6-IIC | 342200.00 | 342200.00 | 78446.40 | 78446.40 | 63720.00 | 63720.00 | 63720.00 | M/s. Sudhir Switchgears Private Limited | 63720.00 | M/s. Sudhir Switchgears Private Limited
1.14 | MR ITEM SR NO: 01.014 Ex-d, GRP IIC, CLASS T3, WELL GLASS, 20000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 5.00 | Nos | FLP-LED-7-IIC | 85550.00 | 85550.00 | 79095.40 | 79095.40 | 123900.00 | 123900.00 | 79095.40 | FLEXPRO ELECTRICALS PVT. LTD | 79095.40 | FLEXPRO ELECTRICALS PVT. LTD
1.15 | MR ITEM SR NO: 01.015 Ex-d, GRP IIA/IIB, CLASS T3, WELL GLASS, 20000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | 20.00 | Nos | FLP-LED-7 | 342200.00 | 342200.00 | 316381.60 | 316381.60 | 495600.00 | 495600.00 | 316381.60 | FLEXPRO ELECTRICALS PVT. LTD | 316381.60 | FLEXPRO ELECTRICALS PVT. LTD
1.16 | MR No 1.0003 Ultrasonic Flowmeter | 1.00 | Set | 101-FT-91101D | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted
1.17 | MR No 1.0004 Ultrasonic Flowmeter | 1.00 | Lot | 101-FT-91101F | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted
1.18 | MR No 1.0003 Ultrasonic Flowmeter | 1.00 | Set | 101-FT-91101G | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted
1.19 | MR No 1.0004 Ultrasonic Flowmeter | 1.00 | Lot | 101-FT-91101H | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted
1.20 | MR No 1.0003 Ultrasonic Flowmeter | 1.00 | Set | 101-FT-91101I | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted
1.21 | Group A2
1.22 | MR ITEM SR NO: 01.016 Ex-d, GRP IIC, CLASS T3, 240/24V, 100VA TRANSFORMER UNIT | 80.00 | Nos | TRAFO UNIT IIC | 3455040.00 | 3455040.00 | 645696.00 | 645696.00 | 566400.00 | 566400.00 | 566400.00 | M/s. Sudhir Switchgears Private Limited | 566400.00 | M/s. Sudhir Switchgears Private Limited
1.23 | MR ITEM SR NO: 01.017 Ex-d, GRP IIC, CLASS T3, 2200 LUMENS, 100 LM/W, 24V LED HANDLAMP | 15.00 | Nos | HANDLAMP IIC | 185850.00 | 185850.00 | 66021.00 | 66021.00 | 58410.00 | 58410.00 | 58410.00 | M/s. Sudhir Switchgears Private Limited | 58410.00 | M/s. Sudhir Switchgears Private Limited
1.24 | Group A3
1.25 | MR ITEM SR NO: 01.018 Ex-d, GRP IIA/IIB, CLASS T3, 4 WAY JUNCTION BOX FOR PLATFORM & GROUND MOUNTED POLES LTG FIX. | 50.00 | Nos | JB-4 WAY | 1032500.00 | 1032500.00 | 63543.00 | 63543.00 | 56640.00 | 56640.00 | 56640.00 | M/s. Sudhir Switchgears Private Limited | 56640.00 | M/s. Sudhir Switchgears Private Limited
1.26 | MR ITEM SR NO: 01.019 Ex-d, GRP IIC, CLASS T3, 4 WAY JUNCTION BOX FOR PLATFORM & GROUND MOUNTED POLES LTG FIX. | 1500.00 | Nos | JB4-IIC | 30975000.00 | 30975000.00 | 1906290.00 | 1906290.00 | 1858500.00 | 1858500.00 | 1858500.00 | M/s. Sudhir Switchgears Private Limited | 1858500.00 | M/s. Sudhir Switchgears Private Limited
1.27 | MR ITEM SR NO: 01.020 SAME AS ITEM NO. 01.019 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | 15.00 | Nos | JB4-IIC-22 | 309750.00 | 309750.00 | 19062.90 | 19062.90 | 18585.00 | 18585.00 | 18585.00 | M/s. Sudhir Switchgears Private Limited | 18585.00 | M/s. Sudhir Switchgears Private Limited
1.28 | MR ITEM SR NO: 01.027 Ex-d, GRP IIC, CLASS T3, 220V DCJB, 15 A, 20 TERMINALS, 1 NO. I/C, 6 NOS. O/G | 3.00 | Nos | FLP-DCJB-IIC | 79650.00 | 79650.00 | 12726.30 | 12726.30 | 17700.00 | 17700.00 | 12726.30 | FLEXPRO ELECTRICALS PVT. LTD | 12726.30 | FLEXPRO ELECTRICALS PVT. LTD
1.29 | MR ITEM SR NO: 01.040 Ex-d, GRP IIC, CLASS T3, JUNCTION BOX, I/Ccable: 1Rx3Cx50 to 1Rx3Cx95, O/Gcable:1Rx3Cx25 to 1Rx3Cx35 | 4.00 | Nos | IJB1-IIC | 358720.00 | 358720.00 | 44254.72 | 44254.72 | 75992.00 | 75992.00 | 44254.72 | FLEXPRO ELECTRICALS PVT. LTD | 44254.72 | FLEXPRO ELECTRICALS PVT. LTD
1.30 | MR ITEM SR NO: 01.041 Ex-d, GRP IIC, CLASS T3, JUNCTION BOX, I/Ccable:1Rx3Cx120 to 1Rx3Cx150, O/Gcable:1Rx3Cx50 to1Rx3Cx70 | 2.00 | Nos | IJB2-IIC | 179360.00 | 179360.00 | 37063.80 | 37063.80 | 77880.00 | 77880.00 | 37063.80 | FLEXPRO ELECTRICALS PVT. LTD | 37063.80 | FLEXPRO ELECTRICALS PVT. LTD
1.31 | Group A4
1.32 | MR ITEM SR NO: 01.021 Ex-d, GRP IIA/IIB, CLASS T3, SOCKETS, 240V- 3 PIN- 15A | 40.00 | Nos | SOCKET3IIA/IIB | 472000.00 | 472000.00 | 118708.00 | 118708.00 | 99120.00 | 99120.00 | 99120.00 | M/s. Sudhir Switchgears Private Limited | 99120.00 | M/s. Sudhir Switchgears Private Limited
1.33 | MR ITEM SR NO: 01.022 Ex-d, GRP IIA/IIB, CLASS T3, PLUGS, 240V-3 PIN- 15A | 40.00 | Nos | PLUG3-IIA/IIB | 141600.00 | 141600.00 | 24921.60 | 24921.60 | 18880.00 | 18880.00 | 18880.00 | M/s. Sudhir Switchgears Private Limited | 18880.00 | M/s. Sudhir Switchgears Private Limited
1.34 | MR ITEM SR NO: 01.023 Ex-d, GRP IIC, CLASS T3, SOCKETS, 240V- 3 PIN- 15A | 150.00 | Nos | SOCKET3-IIC | 1770000.00 | 1770000.00 | 445155.00 | 445155.00 | 371700.00 | 371700.00 | 371700.00 | M/s. Sudhir Switchgears Private Limited | 371700.00 | M/s. Sudhir Switchgears Private Limited
1.35 | MR ITEM SR NO: 01.024 Ex-d, GRP IIC, CLASS T3, PLUGS, 240V- 3 PIN- 15A | 150.00 | Nos | PLUG3-IIC | 531000.00 | 531000.00 | 93456.00 | 93456.00 | 70800.00 | 70800.00 | 70800.00 | M/s. Sudhir Switchgears Private Limited | 70800.00 | M/s. Sudhir Switchgears Private Limited
1.36 | MR ITEM SR NO: 01.025 Ex-d, GRP IIC, CLASS T3, SOCKETS, 415V- 5 PIN- 63A | 30.00 | Nos | SOCKET5- IIC | 0.00 | 0.00 | 422711.40 | 422711.40 | 279660.00 | 279660.00 | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD.
1.37 | MR ITEM SR NO: 01.026 Ex-d, GRP IIC, CLASS T3, PLUGS, 415V- 5 PIN- 63A | 30.00 | Nos | PLUG5-IIC | 0.00 | 0.00 | 66587.40 | 66587.40 | 74340.00 | 74340.00 | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD.
1.38 | Group A5
1.39 | MR ITEM SR NO: 01.028 Ex-d, GRP IIA/IIB, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 6 NOS. SPN O/G FDRS | 3.00 | Nos | LP-6WAY | 421104.24 | 421104.24 | 158220.30 | 158220.30 | 223020.00 | 223020.00 | 158220.30 | FLEXPRO ELECTRICALS PVT. LTD | 158220.30 | FLEXPRO ELECTRICALS PVT. LTD
1.40 | MR ITEM SR NO: 01.029 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 12 NOS. SPN O/G FDRS | 5.00 | Nos | LP-12WAY-IIC | 1554319.60 | 1554319.60 | 427136.40 | 427136.40 | 578200.00 | 578200.00 | 427136.40 | FLEXPRO ELECTRICALS PVT. LTD | 427136.40 | FLEXPRO ELECTRICALS PVT. LTD
1.41 | MR ITEM SR NO: 01.030 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 18 NOS. SPN O/G FDRS | 3.00 | Nos | LP-18WAY-IIC | 1253836.14 | 1253836.14 | 357936.48 | 357936.48 | 477900.00 | 477900.00 | 357936.48 | FLEXPRO ELECTRICALS PVT. LTD | 357936.48 | FLEXPRO ELECTRICALS PVT. LTD
1.42 | MR ITEM SR NO: 01.031 Ex-d, GRP IIA/IIB, CLASS T3, 415V, 63 A, 25kA (1Sec)TPN MOV DB WITH 2 NOs MB AS PER INST TO BIDDER | 1.00 | Nos | MOV PANEL-6P | 1102103.48 | 1102103.48 | 384662.30 | 384662.30 | 413000.00 | 413000.00 | 384662.30 | FLEXPRO ELECTRICALS PVT. LTD | 384662.30 | FLEXPRO ELECTRICALS PVT. LTD
1.43 | MR ITEM SR NO: 01.032 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 6 NOS. SPN O/G FDRS | 7.00 | Nos | LP-6WAY-IIC | 1151716.58 | 1151716.58 | 369180.70 | 369180.70 | 520380.00 | 520380.00 | 369180.70 | FLEXPRO ELECTRICALS PVT. LTD | 369180.70 | FLEXPRO ELECTRICALS PVT. LTD
1.44 | Group A6
1.45 | MR ITEM SR NO: 01.033 Ex-d, GRP IIC, CLASS T3, STOP PB, SUITABLE FOR 1PX2.5MM2 | 3.00 | Nos | PB A2 IIC | 53882.34 | 53882.34 | 15554.76 | 15554.76 | 12390.00 | 12390.00 | 12390.00 | M/s. Sudhir Switchgears Private Limited | 12390.00 | M/s. Sudhir Switchgears Private Limited
1.46 | MR ITEM SR NO: 01.034 Ex-d, GRP IIA/IIB, CLASS T3, START PB, STOP PB, L-O-R SEL SWITCH SUITABLE FOR 6PX2.5MM2 | 5.00 | Nos | PB D1 IIA/IIB | 134195.50 | 134195.50 | 48073.20 | 48073.20 | 35400.00 | 35400.00 | 35400.00 | M/s. Sudhir Switchgears Private Limited | 35400.00 | M/s. Sudhir Switchgears Private Limited
1.47 | MR ITEM SR NO: 01.035 Ex-d, GRP IIC, CLASS T3, IP-65, 2 POSITION SELECTOR SWITCH AS PER INST TO BIDDER | 7.00 | Nos | FLP-SS2A | 158980.22 | 158980.22 | 33535.60 | 33535.60 | 25606.00 | 25606.00 | 25606.00 | M/s. Sudhir Switchgears Private Limited | 25606.00 | M/s. Sudhir Switchgears Private Limited
1.48 | MR ITEM SR NO: 01.036 Ex-d, GRP IIC, CLASS T3, IP-65, EMG PUSH BUTTON AS PER INST TO BIDDER | 42.00 | Nos | FLP-EMG PB | 877013.76 | 877013.76 | 227728.20 | 227728.20 | 173460.00 | 173460.00 | 173460.00 | M/s. Sudhir Switchgears Private Limited | 173460.00 | M/s. Sudhir Switchgears Private Limited
1.49 | MR ITEM SR NO: 01.037 Ex-d, GRP IIC, CLASS T3, IP-65, OPEN/CLOSE PUSH BUTTON AS PER INST TO BIDDER | 10.00 | Nos | FLP-EMG O/C | 202960.00 | 202960.00 | 49477.40 | 49477.40 | 41300.00 | 41300.00 | 41300.00 | M/s. Sudhir Switchgears Private Limited | 41300.00 | M/s. Sudhir Switchgears Private Limited
1.50 | MR ITEM SR NO: 01.038 Ex-d, GRP IIC, CLASS T3, IP-65, PUSH BUTTON AS PER INST TO BIDDER | 58.00 | Nos | FLP-FMRPB | 1177168.00 | 1177168.00 | 282451.88 | 282451.88 | 280604.00 | 280604.00 | 280604.00 | M/s. Sudhir Switchgears Private Limited | 280604.00 | M/s. Sudhir Switchgears Private Limited
1.51 | MR ITEM SR NO: 01.039 Ex-d, GRP IIC, CLASS T3, IP-65, WITH 1NO. RED INDICATION LAMP AS PER INST TO BIDDER | 26.00 | Nos | FLP-LS-02 | 527696.00 | 527696.00 | 110386.64 | 110386.64 | 92040.00 | 92040.00 | 92040.00 | M/s. Sudhir Switchgears Private Limited | 92040.00 | M/s. Sudhir Switchgears Private Limited
| Total in Figures |  |  |  | 117826925.86 | 117826925.86 | 25719953.78 | 25719953.78 | 19220784.00 | 19220784.00

## BOQ Summary
BOQ Summary Details Tender Title: RJ/B378-999-XR-MR-0515/304 Tender ID: 2024_GAIL_192744_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. Sudhir Switchgears Private Limited | 19220784.00 | L1
| 2 | FLEXPRO ELECTRICALS PVT. LTD | 25719953.78 | L2
| 3 | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 117826925.86 | L3

## Preferential Bidder IW Summary
Preferential Bidder Itemwise BOQ Summary Details Tender Title: RJ/B378-999-XR-MR-0515/304 Tender ID: 2024_GAIL_192744_1
Sl.No | Sheet Name | Description of Work / Item(s) | Item Code | Units | No.of Qty | Estimated Rate | Bidder Name | Rate Without Tax | Tax/Duties (INR) | Rate With Tax | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
1 | BoQ1 | MR ITEM SR NO: 01.001 Ex-nR, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | EX-LED-2A | Nos | 2800.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 7764400.00 | 0.00 | 7764400.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 12508944.00 | 0.00 | 12508944.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 47908000.00 | 0.00 | 47908000.00 | 40143600.00 | 517.02% | 15.00% | MSME
2 | BoQ1 | MR ITEM SR NO: 01.002 SAME AS ITEM NO. 01.001 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | EX-LED-2A-22 | Nos | 170.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 471410.00 | 0.00 | 471410.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 759471.60 | 0.00 | 759471.60
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 2908700.00 | 0.00 | 2908700.00 | 2437290.00 | 517.02% | 15.00% | MSME
3 | BoQ1 | MR ITEM SR NO: 01.003 Ex-nR, CLASS T3, WELL GLASS, 10000-10500 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | EX-LED-3A | Nos | 5.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 23600.00 | 0.00 | 23600.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 32703.70 | 0.00 | 32703.70
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 85550.00 | 0.00 | 85550.00 | 61950.00 | 262.50% | 15.00% | MSME
4 | BoQ1 | MR ITEM SR NO: 01.004 SAME AS ITEM NO. 01.003 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | EX-LED-3A-22 | Nos | 30.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 141600.00 | 0.00 | 141600.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 196222.20 | 0.00 | 196222.20
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 513300.00 | 0.00 | 513300.00 | 371700.00 | 262.50% | 15.00% | MSME
5 | BoQ1 | MR ITEM SR NO: 01.005 Ex-nR, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | EX-LED-5 | Nos | 10.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 47200.00 | 0.00 | 47200.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 66681.80 | 0.00 | 66681.80
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 239540.00 | 0.00 | 239540.00 | 192340.00 | 407.50% | 15.00% | MSME
6 | BoQ1 | MR ITEM SR NO: 01.006 Ex-d, GRP IIA/IIB, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-2 | Nos | 180.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 630828.00 | 0.00 | 630828.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 903974.40 | 0.00 | 903974.40
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 3079800.00 | 0.00 | 3079800.00 | 2448972.00 | 388.22% | 15.00% | MSME
7 | BoQ1 | MR ITEM SR NO: 01.007 SAME AS ITEM NO. 01.006 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | FLP-LED-2-22 | Nos | 60.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 210276.00 | 0.00 | 210276.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 301324.80 | 0.00 | 301324.80
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1026600.00 | 0.00 | 1026600.00 | 816324.00 | 388.22% | 15.00% | MSME
8 | BoQ1 | MR ITEM SR NO: 01.008 Ex-d,GRP IIA/IIB,ZONE-22, DUSTGRPIIIB,T4, WELLGLASS, 10000-10500LM,100 LM/W, LTG. FIX&ACCS.WITH LED. | FLP-LED-3-22 | Nos | 25.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 118000.00 | 0.00 | 118000.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 165672.00 | 0.00 | 165672.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 427750.00 | 0.00 | 427750.00 | 309750.00 | 262.50% | 15.00% | MSME
9 | BoQ1 | MR ITEM SR NO: 01.009 Ex-d, GRP IIA/IIB, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-5 | Nos | 10.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 47200.00 | 0.00 | 47200.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 62327.60 | 0.00 | 62327.60
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 239540.00 | 0.00 | 239540.00 | 192340.00 | 407.50% | 15.00% | MSME
10 | BoQ1 | MR ITEM SR NO: 01.010 Ex-d, GRP IIC, CLASS T3, WELL GLASS, 6500-7000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-2-IIC | Nos | 700.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 2453220.00 | 0.00 | 2453220.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 3641834.00 | 0.00 | 3641834.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 11977000.00 | 0.00 | 11977000.00 | 9523780.00 | 388.22% | 15.00% | MSME
11 | BoQ1 | MR ITEM SR NO: 01.011 SAME AS ITEM NO. 01.010 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | FLP-LED-2IIC22 | Nos | 5.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 17523.00 | 0.00 | 17523.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 25600.10 | 0.00 | 25600.10
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 85550.00 | 0.00 | 85550.00 | 68027.00 | 388.22% | 15.00% | MSME
12 | BoQ1 | MR ITEM SR NO: 01.012 Ex-d, GRP IIC, CLASS T3,FLOOD LIGHT, 10000-10500 LUMENS, 100 LM/W,LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-5-IIC | Nos | 20.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 94400.00 | 0.00 | 94400.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 150733.20 | 0.00 | 150733.20
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 460200.00 | 0.00 | 460200.00 | 365800.00 | 387.50% | 15.00% | MSME
13 | BoQ1 | MR ITEM SR NO: 01.013 Ex-d, GRP IIC, CLASST3, WELL GLASS, 4000-4500 LUMENS,100 LM/W, DC LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-6-IIC | Nos | 20.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 63720.00 | 0.00 | 63720.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 78446.40 | 0.00 | 78446.40
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 342200.00 | 0.00 | 342200.00 | 278480.00 | 437.04% | 15.00% | MSME
14 | BoQ1 | MR ITEM SR NO: 01.014 Ex-d, GRP IIC, CLASS T3, WELL GLASS, 20000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-7-IIC | Nos | 5.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 79095.40 | 0.00 | 79095.40
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 85550.00 | 0.00 | 85550.00 | 6454.60 | 8.16% | 15.00% | MSME
[7 empty] | M/s. Sudhir Switchgears Private Limited | 123900.00 | 0.00 | 123900.00
15 | BoQ1 | MR ITEM SR NO: 01.015 Ex-d, GRP IIA/IIB, CLASS T3, WELL GLASS, 20000 LUMENS,100 LM/W, LTG. FIXTURE & ACCS. WITH LED. | FLP-LED-7 | Nos | 20.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 316381.60 | 0.00 | 316381.60
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 342200.00 | 0.00 | 342200.00 | 25818.40 | 8.16% | 15.00% | MSME
[7 empty] | M/s. Sudhir Switchgears Private Limited | 495600.00 | 0.00 | 495600.00
16 | BoQ1 | MR ITEM SR NO: 01.016 Ex-d, GRP IIC, CLASS T3, 240/24V, 100VA TRANSFORMER UNIT | TRAFO UNIT IIC | Nos | 80.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 566400.00 | 0.00 | 566400.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 645696.00 | 0.00 | 645696.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 3455040.00 | 0.00 | 3455040.00 | 2888640.00 | 510.00% | 15.00% | MSME
17 | BoQ1 | MR ITEM SR NO: 01.017 Ex-d, GRP IIC, CLASS T3, 2200 LUMENS, 100 LM/W, 24V LED HANDLAMP | HANDLAMP IIC | Nos | 15.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 58410.00 | 0.00 | 58410.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 66021.00 | 0.00 | 66021.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 185850.00 | 0.00 | 185850.00 | 127440.00 | 218.18% | 15.00% | MSME
18 | BoQ1 | MR ITEM SR NO: 01.018 Ex-d, GRP IIA/IIB, CLASS T3, 4 WAY JUNCTION BOX FOR PLATFORM & GROUND MOUNTED POLES LTG FIX. | JB-4 WAY | Nos | 50.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 56640.00 | 0.00 | 56640.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 63543.00 | 0.00 | 63543.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1032500.00 | 0.00 | 1032500.00 | 975860.00 | 1722.92% | 15.00% | MSME
19 | BoQ1 | MR ITEM SR NO: 01.019 Ex-d, GRP IIC, CLASS T3, 4 WAY JUNCTION BOX FOR PLATFORM & GROUND MOUNTED POLES LTG FIX. | JB4-IIC | Nos | 1500.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 1858500.00 | 0.00 | 1858500.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 1906290.00 | 0.00 | 1906290.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 30975000.00 | 0.00 | 30975000.00 | 29116500.00 | 1566.67% | 15.00% | MSME
20 | BoQ1 | MR ITEM SR NO: 01.020 SAME AS ITEM NO. 01.019 AND SUITABLE FOR ZONE-22, DUST GRP IIIB, CLASS T4 | JB4-IIC-22 | Nos | 15.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 18585.00 | 0.00 | 18585.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 19062.90 | 0.00 | 19062.90
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 309750.00 | 0.00 | 309750.00 | 291165.00 | 1566.67% | 15.00% | MSME
21 | BoQ1 | MR ITEM SR NO: 01.027 Ex-d, GRP IIC, CLASS T3, 220V DCJB, 15 A, 20 TERMINALS, 1 NO. I/C, 6 NOS. O/G | FLP-DCJB-IIC | Nos | 3.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 12726.30 | 0.00 | 12726.30
[7 empty] | M/s. Sudhir Switchgears Private Limited | 17700.00 | 0.00 | 17700.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 79650.00 | 0.00 | 79650.00 | 66923.70 | 525.87% | 15.00% | MSME
22 | BoQ1 | MR ITEM SR NO: 01.040 Ex-d, GRP IIC, CLASS T3, JUNCTION BOX, I/Ccable: 1Rx3Cx50 to 1Rx3Cx95, O/Gcable:1Rx3Cx25 to 1Rx3Cx35 | IJB1-IIC | Nos | 4.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 44254.72 | 0.00 | 44254.72
[7 empty] | M/s. Sudhir Switchgears Private Limited | 75992.00 | 0.00 | 75992.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 358720.00 | 0.00 | 358720.00 | 314465.28 | 710.58% | 15.00% | MSME
23 | BoQ1 | MR ITEM SR NO: 01.041 Ex-d, GRP IIC, CLASS T3, JUNCTION BOX, I/Ccable:1Rx3Cx120 to 1Rx3Cx150, O/Gcable:1Rx3Cx50 to1Rx3Cx70 | IJB2-IIC | Nos | 2.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 37063.80 | 0.00 | 37063.80
[7 empty] | M/s. Sudhir Switchgears Private Limited | 77880.00 | 0.00 | 77880.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 179360.00 | 0.00 | 179360.00 | 142296.20 | 383.92% | 15.00% | MSME
24 | BoQ1 | MR ITEM SR NO: 01.021 Ex-d, GRP IIA/IIB, CLASS T3, SOCKETS, 240V- 3 PIN- 15A | SOCKET3IIA/IIB | Nos | 40.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 99120.00 | 0.00 | 99120.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 118708.00 | 0.00 | 118708.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 472000.00 | 0.00 | 472000.00 | 372880.00 | 376.19% | 15.00% | MSME
25 | BoQ1 | MR ITEM SR NO: 01.022 Ex-d, GRP IIA/IIB, CLASS T3, PLUGS, 240V-3 PIN- 15A | PLUG3-IIA/IIB | Nos | 40.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 18880.00 | 0.00 | 18880.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 24921.60 | 0.00 | 24921.60
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 141600.00 | 0.00 | 141600.00 | 122720.00 | 650.00% | 15.00% | MSME
26 | BoQ1 | MR ITEM SR NO: 01.023 Ex-d, GRP IIC, CLASS T3, SOCKETS, 240V- 3 PIN- 15A | SOCKET3-IIC | Nos | 150.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 371700.00 | 0.00 | 371700.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 445155.00 | 0.00 | 445155.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1770000.00 | 0.00 | 1770000.00 | 1398300.00 | 376.19% | 15.00% | MSME
27 | BoQ1 | MR ITEM SR NO: 01.024 Ex-d, GRP IIC, CLASS T3, PLUGS, 240V- 3 PIN- 15A | PLUG3-IIC | Nos | 150.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 70800.00 | 0.00 | 70800.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 93456.00 | 0.00 | 93456.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 531000.00 | 0.00 | 531000.00 | 460200.00 | 650.00% | 15.00% | MSME
28 | BoQ1 | MR ITEM SR NO: 01.025 Ex-d, GRP IIC, CLASS T3, SOCKETS, 415V- 5 PIN- 63A | SOCKET5- IIC | Nos | 30.00 | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 0.00 | 0.00 | 0.00 |  |  | 15.00% | MSME
[7 empty] | M/s. Sudhir Switchgears Private Limited | 279660.00 | 0.00 | 279660.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 422711.40 | 0.00 | 422711.40
29 | BoQ1 | MR ITEM SR NO: 01.026 Ex-d, GRP IIC, CLASS T3, PLUGS, 415V- 5 PIN- 63A | PLUG5-IIC | Nos | 30.00 | 0.00 | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 0.00 | 0.00 | 0.00 |  |  | 15.00% | MSME
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 66587.40 | 0.00 | 66587.40
[7 empty] | M/s. Sudhir Switchgears Private Limited | 74340.00 | 0.00 | 74340.00
30 | BoQ1 | MR ITEM SR NO: 01.028 Ex-d, GRP IIA/IIB, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 6 NOS. SPN O/G FDRS | LP-6WAY | Nos | 3.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 158220.30 | 0.00 | 158220.30
[7 empty] | M/s. Sudhir Switchgears Private Limited | 223020.00 | 0.00 | 223020.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 421104.24 | 0.00 | 421104.24 | 262883.94 | 166.15% | 15.00% | MSME
31 | BoQ1 | MR ITEM SR NO: 01.029 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 12 NOS. SPN O/G FDRS | LP-12WAY-IIC | Nos | 5.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 427136.40 | 0.00 | 427136.40
[7 empty] | M/s. Sudhir Switchgears Private Limited | 578200.00 | 0.00 | 578200.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1554319.60 | 0.00 | 1554319.60 | 1127183.20 | 263.89% | 15.00% | MSME
32 | BoQ1 | MR ITEM SR NO: 01.030 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 18 NOS. SPN O/G FDRS | LP-18WAY-IIC | Nos | 3.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 357936.48 | 0.00 | 357936.48
[7 empty] | M/s. Sudhir Switchgears Private Limited | 477900.00 | 0.00 | 477900.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1253836.14 | 0.00 | 1253836.14 | 895899.66 | 250.30% | 15.00% | MSME
33 | BoQ1 | MR ITEM SR NO: 01.031 Ex-d, GRP IIA/IIB, CLASS T3, 415V, 63 A, 25kA (1Sec)TPN MOV DB WITH 2 NOs MB AS PER INST TO BIDDER | MOV PANEL-6P | Nos | 1.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 384662.30 | 0.00 | 384662.30
[7 empty] | M/s. Sudhir Switchgears Private Limited | 413000.00 | 0.00 | 413000.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1102103.48 | 0.00 | 1102103.48 | 717441.18 | 186.51% | 15.00% | MSME
34 | BoQ1 | MR ITEM SR NO: 01.032 Ex-d, GRP IIC, CLASS T3, LTG & PWR PNLS, 1 NO. TPN I/C, 6 NOS. SPN O/G FDRS | LP-6WAY-IIC | Nos | 7.00 | 0.00 | FLEXPRO ELECTRICALS PVT. LTD | 369180.70 | 0.00 | 369180.70
[7 empty] | M/s. Sudhir Switchgears Private Limited | 520380.00 | 0.00 | 520380.00
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1151716.58 | 0.00 | 1151716.58 | 782535.88 | 211.97% | 15.00% | MSME
35 | BoQ1 | MR ITEM SR NO: 01.033 Ex-d, GRP IIC, CLASS T3, STOP PB, SUITABLE FOR 1PX2.5MM2 | PB A2 IIC | Nos | 3.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 12390.00 | 0.00 | 12390.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 15554.76 | 0.00 | 15554.76
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 53882.34 | 0.00 | 53882.34 | 41492.34 | 334.89% | 15.00% | MSME
36 | BoQ1 | MR ITEM SR NO: 01.034 Ex-d, GRP IIA/IIB, CLASS T3, START PB, STOP PB, L-O-R SEL SWITCH SUITABLE FOR 6PX2.5MM2 | PB D1 IIA/IIB | Nos | 5.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 35400.00 | 0.00 | 35400.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 48073.20 | 0.00 | 48073.20
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 134195.50 | 0.00 | 134195.50 | 98795.50 | 279.08% | 15.00% | MSME
37 | BoQ1 | MR ITEM SR NO: 01.035 Ex-d, GRP IIC, CLASS T3, IP-65, 2 POSITION SELECTOR SWITCH AS PER INST TO BIDDER | FLP-SS2A | Nos | 7.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 25606.00 | 0.00 | 25606.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 33535.60 | 0.00 | 33535.60
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 158980.22 | 0.00 | 158980.22 | 133374.22 | 520.87% | 15.00% | MSME
38 | BoQ1 | MR ITEM SR NO: 01.036 Ex-d, GRP IIC, CLASS T3, IP-65, EMG PUSH BUTTON AS PER INST TO BIDDER | FLP-EMG PB | Nos | 42.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 173460.00 | 0.00 | 173460.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 227728.20 | 0.00 | 227728.20
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 877013.76 | 0.00 | 877013.76 | 703553.76 | 405.60% | 15.00% | MSME
39 | BoQ1 | MR ITEM SR NO: 01.037 Ex-d, GRP IIC, CLASS T3, IP-65, OPEN/CLOSE PUSH BUTTON AS PER INST TO BIDDER | FLP-EMG O/C | Nos | 10.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 41300.00 | 0.00 | 41300.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 49477.40 | 0.00 | 49477.40
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 202960.00 | 0.00 | 202960.00 | 161660.00 | 391.43% | 15.00% | MSME
40 | BoQ1 | MR ITEM SR NO: 01.038 Ex-d, GRP IIC, CLASS T3, IP-65, PUSH BUTTON AS PER INST TO BIDDER | FLP-FMRPB | Nos | 58.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 280604.00 | 0.00 | 280604.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 282451.88 | 0.00 | 282451.88
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 1177168.00 | 0.00 | 1177168.00 | 896564.00 | 319.51% | 15.00% | MSME
41 | BoQ1 | MR ITEM SR NO: 01.039 Ex-d, GRP IIC, CLASS T3, IP-65, WITH 1NO. RED INDICATION LAMP AS PER INST TO BIDDER | FLP-LS-02 | Nos | 26.00 | 0.00 | M/s. Sudhir Switchgears Private Limited | 92040.00 | 0.00 | 92040.00
[7 empty] | FLEXPRO ELECTRICALS PVT. LTD | 110386.64 | 0.00 | 110386.64
[7 empty] | KAYSONS TECHNO EQUIPMENTS PVT. LTD. | 527696.00 | 0.00 | 527696.00 | 435656.00 | 473.33% | 15.00% | MSME