## BoQ1
Government eProcurement System Created By: Rajeev Tripathi Created Date/Time: 08-Aug-2024 03:33 PM Tender Title: SERVICES OF OPERATION AND MAINTENANCE OF GEG VAM AND DEG AND ASSOCIATED ELECTRICAL SYSTEMS AND AUXILIARY EQUIPMENT Tender ID: 2024_GAIL_198282_1
Tender Inviting Authority: GAIL (INDIA) LIMITED, NOIDA
Name of Work: SERVICES OF OPERATION & MAINTENANCE OF GEG, VAM & DEG AND ASSOCIATED ELECTRICAL SYSTEMS AND AUXILIARY EQUIPMENTS OF ENERGY CENTER INSTALLED AT GAIL JUBILEE TOWER (NOIDA), FOR A PERIOD OF 2 YEARS
Tender No: GAIL/NOIDA/C&P/ELECT/24035
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GREEN POWER INTERNATIONAL PVT. LTD.(GSTN-NA)--717574
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
2.00 | PART-A
3.00 | PART-A Providing Services for Operation & Maintenance of 2 x 800 KW GEG (Gas Engine Generator), 2 x 220TR VAM (Vapour Absorption Machine), 1 x 1010KVA DEG (Diesel Engine Generator) including Cooling Tower, Pumps, Valvs, Water Pipeline Electrical System and other auxilaries/ associated facality installed at GAIL Jubilee Tower, Noida. Comprehensive Service shall include day to day maintenance, troubleshooting break down,routine maintenance & Periodical schedule maintenance including supply and replacement of all the required spares and consumables for scheduled maintenance of 2x800 KW GEG, 2x220TR VAM, 1x1010KVA DEG . O&M Services shall be round the clock(24Hrsx365 Days) including holidays. a) GEG SCOPE- E10/20/30/40, DEG SCOPE- A/B/C checks as applicable, VAM Annual Maint. and Quarterly Health Check- all these are including scheduled maint. Spares and Consumables. b) Cooling tower- chemical dosing, water testing, fills replacement, cleaning, descaling, etc. c) Balance of plant- battery replacement, cleaning of panels, testing of all relays, breakers etc, SPM/vibration, cleaning, bearing lubrication/greasing work, insulation repair, valve dropping/ cleaning/descaling , routine maint. of pumps and motors and other equipment etc. as per requirement. | 24.00 | MON |  | 1299630.80 | 36805544.26 | 36805544.26 | GREEN POWER INTERNATIONAL PVT. LTD.
4.00 | Part-B Un-scheduled Repair and Maintenance of 2 Nos. GEG, 2 Nos. VAM and 1 Nos. DEG Set along with the Auxiliary Equipments/Balance of Plant/Panels, Motors, Pumps etc. as per SCC/SOW.
5.00 | Part-B1 Unscheduled Repair and Maintenance of 2 Nos. GEG of MWM Make
6.00 | Bus Coupler (Part No. 1250 1531) | 1.00 | EA |  | 136305.00 | 160839.90 | 160839.90 | GREEN POWER INTERNATIONAL PVT. LTD.
7.00 | DIMS (Digital Input Card) (Part No. 1250 1533) | 5.00 | EA |  | 109863.00 | 648191.70 | 648191.70 | GREEN POWER INTERNATIONAL PVT. LTD.
8.00 | DOMB (Digital Output Card) (Part No. 1250 1535) | 2.00 | EA |  | 126945.00 | 299590.20 | 299590.20 | GREEN POWER INTERNATIONAL PVT. LTD.
9.00 | AIM2 (Analogue Input) (Part No. 1250 1537) | 2.00 | EA |  | 198315.00 | 468023.40 | 468023.40 | GREEN POWER INTERNATIONAL PVT. LTD.
10.00 | PM1S (Power Supply Card) (Part No. 1250 1541) | 1.00 | EA |  | 24687.00 | 29130.66 | 29130.66 | GREEN POWER INTERNATIONAL PVT. LTD.
11.00 | Can Connector (Part No. 1250 1557) | 1.00 | EA |  | 26208.00 | 30925.44 | 30925.44 | GREEN POWER INTERNATIONAL PVT. LTD.
12.00 | Adjusting Screw (Part No. 1234 4158) | 5.00 | EA |  | 2761.20 | 16291.08 | 16291.08 | GREEN POWER INTERNATIONAL PVT. LTD.
13.00 | Hexagon Nut (Part No. 0111 2852) | 5.00 | EA |  | 86.95 | 513.01 | 513.01 | GREEN POWER INTERNATIONAL PVT. LTD.
14.00 | HOSE ASSEMBLY (Part No. 1245 0808) | 2.00 | EA |  | 26091.00 | 61574.76 | 61574.76 | GREEN POWER INTERNATIONAL PVT. LTD.
15.00 | HOSE ASSEMBLY (Part No. 1245 0809) | 2.00 | EA |  | 32058.00 | 75656.88 | 75656.88 | GREEN POWER INTERNATIONAL PVT. LTD.
16.00 | SHAPED PACKING (Part No. 1227 6602) | 2.00 | EA |  | 14625.00 | 34515.00 | 34515.00 | GREEN POWER INTERNATIONAL PVT. LTD.
17.00 | CONNECTING ROD (Part No. 1231 9561) | 1.00 | EA |  | 108810.00 | 128395.80 | 128395.80 | GREEN POWER INTERNATIONAL PVT. LTD.
18.00 | PISTON (Part No. 1227 8009) | 1.00 | EA |  | 70200.00 | 82836.00 | 82836.00 | GREEN POWER INTERNATIONAL PVT. LTD.
19.00 | CYLINDER LINER (Part No. 1234 2162) | 2.00 | EA |  | 29835.00 | 70410.60 | 70410.60 | GREEN POWER INTERNATIONAL PVT. LTD.
20.00 | O-SEAL (Part No. 1252 4115) | 4.00 | EA |  | 1918.80 | 9056.74 | 9056.74 | GREEN POWER INTERNATIONAL PVT. LTD.
21.00 | PLUG (1231 9316) (Part No. 1234 2152 ) | 2.00 | EA |  | 6610.50 | 15600.78 | 15600.78 | GREEN POWER INTERNATIONAL PVT. LTD.
22.00 | COMPENSATOR (Part No. 1245 3853) | 4.00 | EA |  | 43875.00 | 207090.00 | 207090.00 | GREEN POWER INTERNATIONAL PVT. LTD.
23.00 | GASKET (Part No. 1231 4060) | 10.00 | EA |  | 3779.10 | 44593.38 | 44593.38 | GREEN POWER INTERNATIONAL PVT. LTD.
24.00 | THERMOCOUPLE (Part No. 1232 2279) | 2.00 | EA |  | 32409.00 | 76485.24 | 76485.24 | GREEN POWER INTERNATIONAL PVT. LTD.
25.00 | GASKET SET (Part No. 1221 7721) | 2.00 | EA |  | 54873.00 | 129500.28 | 129500.28 | GREEN POWER INTERNATIONAL PVT. LTD.
26.00 | O-SEAL (Part No. 1252 4025) | 2.00 | EA |  | 6669.00 | 15738.84 | 15738.84 | GREEN POWER INTERNATIONAL PVT. LTD.
27.00 | O-SEAL (Part No. 0115 3818) | 2.00 | EA |  | 4516.20 | 10658.23 | 10658.23 | GREEN POWER INTERNATIONAL PVT. LTD.
28.00 | GASKET SET ASS15 (Part No. 1221 7671) | 1.00 | EA |  | 34164.00 | 40313.52 | 40313.52 | GREEN POWER INTERNATIONAL PVT. LTD.
29.00 | SHAPED PACKING (Part No. 1251 5568 ) (1231 9711) | 4.00 | EA |  | 28431.00 | 134194.32 | 134194.32 | GREEN POWER INTERNATIONAL PVT. LTD.
30.00 | BIG END BOLT (Part No. 1216 1131) | 10.00 | EA |  | 2258.10 | 26645.58 | 26645.58 | GREEN POWER INTERNATIONAL PVT. LTD.
31.00 | SMALL END BEARING (Part No. 1234 3081) (1218 8037) | 2.00 | EA |  | 5452.20 | 12867.19 | 12867.19 | GREEN POWER INTERNATIONAL PVT. LTD.
32.00 | BIG END BEARING (Part No. 1231 6247) | 2.00 | EA |  | 20826.00 | 49149.36 | 49149.36 | GREEN POWER INTERNATIONAL PVT. LTD.
33.00 | SET OF PIST. RINGS (Part No. 1221 3242) | 2.00 | EA |  | 16731.00 | 39485.16 | 39485.16 | GREEN POWER INTERNATIONAL PVT. LTD.
34.00 | CF Card *Upgraded Kit . 12216838) | 1.00 | EA |  | 42606.00 | 50275.08 | 50275.08 | GREEN POWER INTERNATIONAL PVT. LTD.
35.00 | Gasket Set (Part No. 1221 7738) | 10.00 | EA |  | 34281.00 | 404515.80 | 404515.80 | GREEN POWER INTERNATIONAL PVT. LTD.
36.00 | Spring Cap (Part No. 1216 4645) | 16.00 | EA |  | 1035.45 | 19549.30 | 19549.30 | GREEN POWER INTERNATIONAL PVT. LTD.
37.00 | Washer (Part No. 1216 7040) | 16.00 | EA |  | 286.65 | 5411.95 | 5411.95 | GREEN POWER INTERNATIONAL PVT. LTD.
38.00 | Valve Collet (Part No. 1216 4698) | 32.00 | EA |  | 48.83 | 1843.82 | 1843.82 | GREEN POWER INTERNATIONAL PVT. LTD.
39.00 | Compression Spring (Part No. 0122 2051) | 16.00 | EA |  | 1684.80 | 31809.02 | 31809.02 | GREEN POWER INTERNATIONAL PVT. LTD.
40.00 | Compression Spring (Part No. 0122 2009) | 16.00 | EA |  | 1240.20 | 23414.98 | 23414.98 | GREEN POWER INTERNATIONAL PVT. LTD.
41.00 | Valve Guide (12189512) (Part No. 1234 3223) | 16.00 | EA |  | 2901.60 | 54782.21 | 54782.21 | GREEN POWER INTERNATIONAL PVT. LTD.
42.00 | Valve Seat Insert (Part No. 1231 9947) | 8.00 | EA |  | 3346.20 | 31588.13 | 31588.13 | GREEN POWER INTERNATIONAL PVT. LTD.
43.00 | Valve Seat Insert (Part No. 1231 9866) | 8.00 | EA |  | 14157.00 | 133642.08 | 133642.08 | GREEN POWER INTERNATIONAL PVT. LTD.
44.00 | Inlet Valve (Part No. 1231 9913) | 8.00 | EA |  | 6318.00 | 59641.92 | 59641.92 | GREEN POWER INTERNATIONAL PVT. LTD.
45.00 | Exhaust Valve (Part No. 1231 9916) | 8.00 | EA |  | 10413.00 | 98298.72 | 98298.72 | GREEN POWER INTERNATIONAL PVT. LTD.
46.00 | Lube Oil Pump (Part No. 1231 6235) | 1.00 | EA |  | 195390.00 | 230560.20 | 230560.20 | GREEN POWER INTERNATIONAL PVT. LTD.
47.00 | Rubber Coupling (Part No. 1221 7702) | 1.00 | EA |  | 465660.00 | 549478.80 | 549478.80 | GREEN POWER INTERNATIONAL PVT. LTD.
48.00 | Set of Parts (Part No. 1221 7969) | 1.00 | EA |  | 180765.00 | 213302.70 | 213302.70 | GREEN POWER INTERNATIONAL PVT. LTD.
49.00 | GRUNDFOS 11KW, MMG 160 MA 2.42FF 300-F2, 50HZ, 380-415V, 22.4A, 0.88PF, 2930RPM, INSULATION CLASS F PUMP MAKE GRUNDFOS, TYPE : CR64-2-1 A-F -A-E HQQE, MODEL : A 96568502 P11 218, 50HZ, 2924RPM, 37.2H | 1.00 | EA |  | 247800.00 | 292404.00 | 292404.00 | GREEN POWER INTERNATIONAL PVT. LTD.
50.00 | GRUNDFOS, MMG 090 S.2 24FT 115-E2, 1.5KW, 50HZ, 380-415V, 3.25A, 0.81PF, 2860RPM, INSULATION CLASS F PUMP MAKE GRUNDFOS, TYPE : CRCM 10-04 A-FJ-A-E HQQE, MODEL : A 9656 85-OP 11219, 50HZ, 1.5KW, 2896RPM, H : 40.8 | 1.00 | EA |  | 78600.00 | 92748.00 | 92748.00 | GREEN POWER INTERNATIONAL PVT. LTD.
51.00 | Grease Kluber 72-72 (Part No. KLUBER72- 72GREESE(GG)) | 1.00 | EA |  | 38400.00 | 45312.00 | 45312.00 | GREEN POWER INTERNATIONAL PVT. LTD.
52.00 | UPS for Control panel (INPUT 220V/2.9A AC, 50HZ. 1PH, CAPACITY-625VA/500W) | 1.00 | EA |  | 4800.00 | 5664.00 | 5664.00 | GREEN POWER INTERNATIONAL PVT. LTD.
53.00 | SMPS (40 Amps. 24 vdc output, 3 phase AC Input), Phoenix make Essential model No. ESSENTIALPS/3AC/24DC/960W/EE, PART NO. 1018294 | 1.00 | EA |  | 36000.00 | 42480.00 | 42480.00 | GREEN POWER INTERNATIONAL PVT. LTD.
54.00 | SMPS Phoenix" Make Power Supply Unit, SMPS, Input 415V AC, Output -24 VDC, 20A Model: TRIOPS-2G/3AC/24DC/20, Part No. 2903155 | 1.00 | EA |  | 26400.00 | 31152.00 | 31152.00 | GREEN POWER INTERNATIONAL PVT. LTD.
55.00 | Part-B2 Unscheduled Repair and Maintenance of 2 Nos. VAM of Thermax Make
56.00 | Temperature Sensor Exhaust (Make : Nutech Engineers, range PT 1000, P/N P44TE2011N) | 2.00 | EA |  | 12240.00 | 28886.40 | 28886.40 | GREEN POWER INTERNATIONAL PVT. LTD.
57.00 | Vaccum Pump, VAM (Model - IVP/T 180 M, Sr. no -18-12-03-3504) | 1.00 | EA |  | 168480.00 | 198806.40 | 198806.40 | GREEN POWER INTERNATIONAL PVT. LTD.
58.00 | Flame sensor (SIEMENS : QRA 2) | 1.00 | EA |  | 30000.00 | 35400.00 | 35400.00 | GREEN POWER INTERNATIONAL PVT. LTD.
59.00 | HMI VAM DISPLAY (MAKE: SIEMENS TP700 (with modified software)) | 1.00 | EA |  | 158400.00 | 186912.00 | 186912.00 | GREEN POWER INTERNATIONAL PVT. LTD.
60.00 | DAMPER VALVE (LIBR FLOW) Thermax P/N C007070200, Size 40NB) | 1.00 | EA |  | 18600.00 | 21948.00 | 21948.00 | GREEN POWER INTERNATIONAL PVT. LTD.
61.00 | Temperature sensor Hot water for VAM (Make : THERMAX , Model: EJG 30ATRU) | 1.00 | EA |  | 6336.00 | 7476.48 | 7476.48 | GREEN POWER INTERNATIONAL PVT. LTD.
62.00 | Servo Motor (Make- Siemens. Model - SQM10.16502, Series03, 220 - 240V, 50 HZ, 42S/130*, 10 NM, 9 VA) | 1.00 | EA |  | 302400.00 | 356832.00 | 356832.00 | GREEN POWER INTERNATIONAL PVT. LTD.
63.00 | Temperature sensor Furnace VAM (Make:Nutech Engineers, SR. NO - 23792-22TR, PT 1000), P/N P44TE2011N | 2.00 | EA |  | 12240.00 | 28886.40 | 28886.40 | GREEN POWER INTERNATIONAL PVT. LTD.
64.00 | Pressure Gauge (Make : H Guru, 0 to 16 kg/cm2) | 5.00 | EA |  | 2280.00 | 13452.00 | 13452.00 | GREEN POWER INTERNATIONAL PVT. LTD.
65.00 | Pressure Gauge (Make : H Guru, 0 to 10 kg/cm3) | 5.00 | EA |  | 2280.00 | 13452.00 | 13452.00 | GREEN POWER INTERNATIONAL PVT. LTD.
66.00 | Pressure Gauge (Make : H Guru, 0 to 6 kg/cm4) | 5.00 | EA |  | 2280.00 | 13452.00 | 13452.00 | GREEN POWER INTERNATIONAL PVT. LTD.
67.00 | Temperature Gauge (Make : H Guru, 0 to 120 C) | 10.00 | EA |  | 5100.00 | 60180.00 | 60180.00 | GREEN POWER INTERNATIONAL PVT. LTD.
68.00 | Flot valves for cooling towers (1.5" INCH) | 5.00 | EA |  | 3000.00 | 17700.00 | 17700.00 | GREEN POWER INTERNATIONAL PVT. LTD.
69.00 | Syphon & valves for pressure gauges (DN15, L&T VALVES, SYPHON SIZE - 3/8") | 20.00 | EA |  | 2400.00 | 56640.00 | 56640.00 | GREEN POWER INTERNATIONAL PVT. LTD.
70.00 | Level eloctrode (Make : THERMAX , Model: EJG 30ATRU) | 3.00 | EA |  | 24720.00 | 87508.80 | 87508.80 | GREEN POWER INTERNATIONAL PVT. LTD.
71.00 | Power Supply 24V DC (Make- SIEMENS, DC24V/10A, Model: SITOP PSU100 S, P/N P55PS1002B) | 1.00 | EA |  | 40020.00 | 47223.60 | 47223.60 | GREEN POWER INTERNATIONAL PVT. LTD.
72.00 | Card CM 1241 RS422/485, P/N P55EM1040B | 1.00 | EA |  | 19200.00 | 22656.00 | 22656.00 | GREEN POWER INTERNATIONAL PVT. LTD.
73.00 | CPU SIMATIC S7-1200 (CPU 1215C DC, P/N P55CP1015B) | 1.00 | EA |  | 126000.00 | 148680.00 | 148680.00 | GREEN POWER INTERNATIONAL PVT. LTD.
74.00 | CARD SM 1223 (P/N P55EM1044B) | 1.00 | EA |  | 43200.00 | 50976.00 | 50976.00 | GREEN POWER INTERNATIONAL PVT. LTD.
75.00 | CARD SM1231 (RTD) (RTD, P/N P55EM1037B) | 1.00 | EA |  | 65520.00 | 77313.60 | 77313.60 | GREEN POWER INTERNATIONAL PVT. LTD.
76.00 | SM1234 (AI/AQ, P/N P55EM1039B) | 1.00 | EA |  | 31288.00 | 36919.84 | 36919.84 | GREEN POWER INTERNATIONAL PVT. LTD.
77.00 | LIBR THERMAX MAKE (P620910023 ) | 200.00 | KG |  | 4263.00 | 1006068.00 | 1006068.00 | GREEN POWER INTERNATIONAL PVT. LTD.
78.00 | DP Switch Chilled Water (P46DP10010) P/N P33DV1009S | 1.00 | EA |  | 33600.00 | 39648.00 | 39648.00 | GREEN POWER INTERNATIONAL PVT. LTD.
79.00 | Seamless Nipple 1/2'*4' | 12.00 | EA |  | 1800.00 | 25488.00 | 25488.00 | GREEN POWER INTERNATIONAL PVT. LTD.
80.00 | 1/2' Ball valve | 12.00 | EA |  | 5400.00 | 76464.00 | 76464.00 | GREEN POWER INTERNATIONAL PVT. LTD.
81.00 | PVC Pipe flexible, size 1", heavy duty, Color - transperant pack size: 30 mtr / roll | 40.00 | Mtr. |  | 120.00 | 5664.00 | 5664.00 | GREEN POWER INTERNATIONAL PVT. LTD.
82.00 | DM WATER for VAM Cleaning | 4000.00 | Ltrs. |  | 12.00 | 56640.00 | 56640.00 | GREEN POWER INTERNATIONAL PVT. LTD.
83.00 | Vam Expansion tank, MWM 140 LTR, 6BAR (-10/120C) | 1.00 | EA |  | 66690.00 | 78694.20 | 78694.20 | GREEN POWER INTERNATIONAL PVT. LTD.
84.00 | AC Drive (mincrmaster 440AC Siemens) Micro master 440AC SIEMENS, P/N P53VF2062B | 1.00 | EA |  | 216960.00 | 256012.80 | 256012.80 | GREEN POWER INTERNATIONAL PVT. LTD.
85.00 | Butterfly pneumatic valves Child Water (Make - Stafford controls limited, DN-150, Seat /pr EPDM/PN 10, Aotuator size-2V-115 SR) | 1.00 | EA |  | 120000.00 | 141600.00 | 141600.00 | GREEN POWER INTERNATIONAL PVT. LTD.
86.00 | Part-B3 Unscheduled Repair and Maintenance of 1 No. DEG of Cummins Make
87.00 | HOSE FOR WATER (P/n - 4104833) | 1.00 | EA |  | 2370.00 | 2796.60 | 2796.60 | GREEN POWER INTERNATIONAL PVT. LTD.
88.00 | HOSE FOR WATER (P/n - 4104832) | 1.00 | EA |  | 1849.20 | 2182.06 | 2182.06 | GREEN POWER INTERNATIONAL PVT. LTD.
89.00 | HOSE FOR DIESEL LINE (P/n - AK1602000SS) | 1.00 | EA |  | 4352.40 | 5135.83 | 5135.83 | GREEN POWER INTERNATIONAL PVT. LTD.
90.00 | HOSE FOR DIESEL LINE (P/n - AK1006500MS) | 1.00 | EA |  | 4555.20 | 5375.14 | 5375.14 | GREEN POWER INTERNATIONAL PVT. LTD.
91.00 | HOSE FOR WATER LINE (P/n - AK0502000SS) | 2.00 | EA |  | 1473.60 | 3477.70 | 3477.70 | GREEN POWER INTERNATIONAL PVT. LTD.
92.00 | HOSE FOR DIESEL LINE (P/n - 20/3632024) | 1.00 | EA |  | 4909.20 | 5792.86 | 5792.86 | GREEN POWER INTERNATIONAL PVT. LTD.
93.00 | HOSE FOR DIESEL LINE (P/n - 20/3632027) | 1.00 | EA |  | 2767.20 | 3265.30 | 3265.30 | GREEN POWER INTERNATIONAL PVT. LTD.
94.00 | HOSE FOR DIESEL LINE (P/n - 20/3633789) | 1.00 | EA |  | 7920.00 | 9345.60 | 9345.60 | GREEN POWER INTERNATIONAL PVT. LTD.
95.00 | HOSE FOR DIESEL LINE (P/n - 20/3632025) | 1.00 | EA |  | 10471.20 | 12356.02 | 12356.02 | GREEN POWER INTERNATIONAL PVT. LTD.
96.00 | HOSE FOR LUBE LINE (P/n - 4071908) | 1.00 | EA |  | 1905.60 | 2248.61 | 2248.61 | GREEN POWER INTERNATIONAL PVT. LTD.
97.00 | HOSE FOR LUBE LINE (P/n - 4071909) | 1.00 | EA |  | 1648.80 | 1945.58 | 1945.58 | GREEN POWER INTERNATIONAL PVT. LTD.
98.00 | HOSE FOR LUBE LINE (P/n - 4071913) | 1.00 | EA |  | 1704.00 | 2010.72 | 2010.72 | GREEN POWER INTERNATIONAL PVT. LTD.
99.00 | Part-B4 Unscheduled Repair and Maintenance of Auxillary/Balance of Plant Equipments for GEG/DEG/VAM Machines
100.00 | Mechanical seal (KSB PUMP, MODEL MEGA GBM-125-250) | 5.00 | EA |  | 12000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
101.00 | Mechanical seal (KSB PUMP, MODEL MEGA GBM-100-250) | 5.00 | EA |  | 12000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
102.00 | Mechanical seal (KSB PUMP, MODEL MEGA GBM-80-400) | 5.00 | EA |  | 12000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
103.00 | Mechanical seal (KSB PUMP, MODEL MEGA GBM-65-315) | 5.00 | EA |  | 12000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
104.00 | LT PHE Plate gaskit (Type M6-MF8, Sr. no - 30115-59-062, Make- Alfa Lavel) | 10.00 | EA |  | 1800.00 | 21240.00 | 21240.00 | GREEN POWER INTERNATIONAL PVT. LTD.
105.00 | HT PHE Plate gaskit (Type M 10 - MFG, Sr. no - 30115-59-283, Make- Alfa Lavel) | 20.00 | EA |  | 3600.00 | 84960.00 | 84960.00 | GREEN POWER INTERNATIONAL PVT. LTD.
106.00 | Butter fly valve (DG COW Line, size- 100mm, Pr. -16Kg/Cm2, Body -CI, seat-NBR/EPDM, Temp- 90DegC, Disc- SS, Seat - NBR, Make-C & R Pumps) | 2.00 | EA |  | 6600.00 | 15576.00 | 15576.00 | GREEN POWER INTERNATIONAL PVT. LTD.
107.00 | Butter fly valve (GG COW Line, size- 125mm, Pr. -16Kg/Cm2, Body -CI, seat-NBR/EPDM, Temp- 90DegC, Disc- SS, Seat - NBR, Make-C & R Pumps) | 2.00 | EA |  | 7440.00 | 17558.40 | 17558.40 | GREEN POWER INTERNATIONAL PVT. LTD.
108.00 | Butter fly valve with gear box (VAM COW Line, size- 250mm, Pr. -16Kg/Cm2, Body -CI, seat-NBR/EPDM, Temp- 90DegC, Disc- SS, Seat - NBR, Make-C & R Pumps) | 2.00 | EA |  | 28200.00 | 66552.00 | 66552.00 | GREEN POWER INTERNATIONAL PVT. LTD.
109.00 | Butter fly valve (VAM CHW Line, size- 150mm, Pr. -16Kg/Cm2, Body -CI, seat-NBR/EPDM, Temp- 90DegC, Disc- SS, Seat - NBR, Make-C & R Pumps) | 4.00 | EA |  | 9720.00 | 45878.40 | 45878.40 | GREEN POWER INTERNATIONAL PVT. LTD.
110.00 | Bearing for GG COW motor (6308ZZ/C3 Make - SKF) | 10.00 | EA |  | 1332.00 | 15717.60 | 15717.60 | GREEN POWER INTERNATIONAL PVT. LTD.
111.00 | Bearing for GG COW motor (6307ZZ/C3 Make - SKF) | 10.00 | EA |  | 913.20 | 10775.76 | 10775.76 | GREEN POWER INTERNATIONAL PVT. LTD.
112.00 | Bearing for VAM COW motor (6310ZZ/C3 Make - SKF) | 6.00 | EA |  | 2084.40 | 14757.55 | 14757.55 | GREEN POWER INTERNATIONAL PVT. LTD.
113.00 | Bearing for VAM COW motor (6309ZZ/C3 Make - SKF) | 6.00 | EA |  | 2097.60 | 14851.01 | 14851.01 | GREEN POWER INTERNATIONAL PVT. LTD.
114.00 | V-BELTS (Make - Fenner, Size B-86) (FENNER) | 5.00 | EA |  | 1116.00 | 6584.40 | 6584.40 | GREEN POWER INTERNATIONAL PVT. LTD.
115.00 | V-BELTS (Make - Fenner, Size B-1694L p /B65) (HI TECH) | 3.00 | EA |  | 766.80 | 2714.47 | 2714.47 | GREEN POWER INTERNATIONAL PVT. LTD.
116.00 | Coupling with Rubber (Cooling water pump, size - RRL 150 /100) | 15.00 | EA |  | 5640.00 | 99828.00 | 99828.00 | GREEN POWER INTERNATIONAL PVT. LTD.
117.00 | Coupling With Rubber (CHW secoundry Pump) size - RRS 190/140 | 5.00 | EA |  | 9600.00 | 56640.00 | 56640.00 | GREEN POWER INTERNATIONAL PVT. LTD.
118.00 | Rubber Bellow (DG COW Line, Size- 100 NB, Temp 60.C Pressure 20 Kg/cm2, Make - Resistoflex) | 3.00 | EA |  | 10800.00 | 38232.00 | 38232.00 | GREEN POWER INTERNATIONAL PVT. LTD.
119.00 | Rubber Bellow (VAM CHW Line, Size-150NB, Temp 60.C Pressure 20 Kg/cm2, Make-Resistoflex) | 5.00 | EA |  | 13200.00 | 77880.00 | 77880.00 | GREEN POWER INTERNATIONAL PVT. LTD.
120.00 | Rubber Bellow (GG COW Line, REJ- TISA 125 PN16N/CU) | 3.00 | EA |  | 12000.00 | 42480.00 | 42480.00 | GREEN POWER INTERNATIONAL PVT. LTD.
121.00 | Rubber Bellow (VAM COW Line, size-250mm, Temp.60 Pressure 20 Kg/cm2 , Make-Resistoflex) | 4.00 | EA |  | 19200.00 | 90624.00 | 90624.00 | GREEN POWER INTERNATIONAL PVT. LTD.
122.00 | Seamless Nipple 1/2'*4' | 10.00 | EA |  | 1800.00 | 21240.00 | 21240.00 | GREEN POWER INTERNATIONAL PVT. LTD.
123.00 | 1/2' Ball valve Type : | 10.00 | EA |  | 5760.00 | 67968.00 | 67968.00 | GREEN POWER INTERNATIONAL PVT. LTD.
124.00 | NRV 100 mm | 2.00 | EA |  | 6600.00 | 15576.00 | 15576.00 | GREEN POWER INTERNATIONAL PVT. LTD.
125.00 | NRV 125 mm | 2.00 | EA |  | 7320.00 | 17275.20 | 17275.20 | GREEN POWER INTERNATIONAL PVT. LTD.
126.00 | NRV 150 mm | 3.00 | EA |  | 10800.00 | 38232.00 | 38232.00 | GREEN POWER INTERNATIONAL PVT. LTD.
127.00 | NRV 250 mm | 2.00 | EA |  | 24000.00 | 56640.00 | 56640.00 | GREEN POWER INTERNATIONAL PVT. LTD.
128.00 | Chilled Water Shut of Valve (Make Safford Controls Limited, Chennai, SR No. 1252-02 Valve Size DN-150, Body/Disc CL/DP, Seat /PR-EPDM PN10, Actuator Size 2V-115SR, Minimum Air Pressure - 4BAR | 1.00 | EA |  | 120000.00 | 141600.00 | 141600.00 | GREEN POWER INTERNATIONAL PVT. LTD.
129.00 | Bearing 6209/2Z/C3 | 10.00 | EA |  | 960.00 | 11328.00 | 11328.00 | GREEN POWER INTERNATIONAL PVT. LTD.
130.00 | V Belt For Vaccum Pump (Make: Optidrive, A849Lp/A32 - H14 27) | 4.00 | EA |  | 600.00 | 2832.00 | 2832.00 | GREEN POWER INTERNATIONAL PVT. LTD.
131.00 | HTG Service Valve with HTG Pressure Switch | 1.00 | EA |  | 90000.00 | 106200.00 | 106200.00 | GREEN POWER INTERNATIONAL PVT. LTD.
132.00 | Air Pressure Switch (MAKE-ANEST IWATA MOTHERSON, MODEL -PSM-530-9U , ITEM CODE 1692141 RANGE 2.5-9.5 BAR SR NO.90013Z59) | 1.00 | EA |  | 3000.00 | 3540.00 | 3540.00 | GREEN POWER INTERNATIONAL PVT. LTD.
133.00 | Ventilation Motor Pump (1 HP) 3 Phase | 2.00 | EA |  | 18000.00 | 42480.00 | 42480.00 | GREEN POWER INTERNATIONAL PVT. LTD.
134.00 | DG HMI | 1.00 | EA |  | 120000.00 | 141600.00 | 141600.00 | GREEN POWER INTERNATIONAL PVT. LTD.
135.00 | Gear Box Oil | 60.00 | L |  | 420.00 | 29736.00 | 29736.00 | GREEN POWER INTERNATIONAL PVT. LTD.
136.00 | Part-B5 Unscheduled Repair and Maintenance of 5 Nos. Cooling Towers
137.00 | CT fan Assly for VAM (VAM cooling tower model - CM 20/ 9D/15 without basin, FRP Fan Assembly size 2700mm, Motor- Cromption Greaves, Model - ND 160 M, KW- 11, PRM- 1460) | 1.00 | EA |  | 135600.00 | 160008.00 | 160008.00 | GREEN POWER INTERNATIONAL PVT. LTD.
138.00 | CT fan Assly for GG (GG cooling tower, Make Mihir, Model- CM6 /7.5D/5 without basin, FRP Fan assembly size 1450mm, motor- Cromption Greaves, Model - ND 132 M, KW- 3.5, PRM- 710) | 1.00 | EA |  | 51600.00 | 60888.00 | 60888.00 | GREEN POWER INTERNATIONAL PVT. LTD.
139.00 | Hot water control valve (actuator Valve) (Make Siemans SKD62 (AC 24 V , 17va,Y:DC 0 to10v/4 to 20mA)) | 1.00 | EA |  | 48000.00 | 56640.00 | 56640.00 | GREEN POWER INTERNATIONAL PVT. LTD.
140.00 | Part-B6 Unscheduled Repair And Maintenance of Altenator Repair Charges
141.00 | DE Bearing (6324-C3) | 1.00 | EA |  | 60000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
142.00 | NDE Bearing (6318-C3) | 1.00 | EA |  | 18000.00 | 21240.00 | 21240.00 | GREEN POWER INTERNATIONAL PVT. LTD.
143.00 | Grease Kluberquiet BQ 72-72 | 3.00 | KG |  | 38400.00 | 135936.00 | 135936.00 | GREEN POWER INTERNATIONAL PVT. LTD.
144.00 | Alternator Overhauling and Servicing Job | 1.00 | EA |  | 210000.00 | 247800.00 | 247800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
145.00 | Part-B7 Unscheduled Repair And Maintenance of 1 No. GEG (Turbo Charger Maintenance)
146.00 | Seal (Part No. 12278839) | 1.00 | EA |  | 20826.00 | 24574.68 | 24574.68 | GREEN POWER INTERNATIONAL PVT. LTD.
147.00 | Round Sealing Ring (Part No. 12524033) | 5.00 | EA |  | 2351.70 | 13875.03 | 13875.03 | GREEN POWER INTERNATIONAL PVT. LTD.
148.00 | Clip (Part No. 12523851) | 2.00 | EA |  | 7078.50 | 16705.26 | 16705.26 | GREEN POWER INTERNATIONAL PVT. LTD.
149.00 | O-SEAL (0118 2782) | 1.00 | EA |  | 702.00 | 828.36 | 828.36 | GREEN POWER INTERNATIONAL PVT. LTD.
150.00 | ROUND SEALING RING (0116 0615) | 1.00 | EA |  | 391.95 | 462.50 | 462.50 | GREEN POWER INTERNATIONAL PVT. LTD.
151.00 | ROUND SEALING RING (12524025) | 1.00 | EA |  | 6669.00 | 7869.42 | 7869.42 | GREEN POWER INTERNATIONAL PVT. LTD.
152.00 | ROUND SEALING RING (01166180) | 2.00 | EA |  | 813.15 | 1919.03 | 1919.03 | GREEN POWER INTERNATIONAL PVT. LTD.
153.00 | Service Kit 1 (Part No. 97070) | 1.00 | EA |  | 75830.40 | 89479.87 | 89479.87 | GREEN POWER INTERNATIONAL PVT. LTD.
154.00 | Service Kit 2 (High Temp. Resistance) (97076) | 1.00 | EA |  | 73526.40 | 86761.15 | 86761.15 | GREEN POWER INTERNATIONAL PVT. LTD.
155.00 | Service Kit (Radial Bearing Change) (97081) | 1.00 | EA |  | 143212.80 | 168991.10 | 168991.10 | GREEN POWER INTERNATIONAL PVT. LTD.
156.00 | Service Kit (Axial Bearing Change) (97084) | 1.00 | EA |  | 334034.40 | 394160.59 | 394160.59 | GREEN POWER INTERNATIONAL PVT. LTD.
157.00 | E-45 Turbo Charger Dynamic Balancing & Maintenance Charges | 1.00 | EA |  | 301736.00 | 356048.48 | 356048.48 | GREEN POWER INTERNATIONAL PVT. LTD.
158.00 | Part-B8 Unscheduled Repair and Maintenance of Motors & Miscellaneous Services
159.00 | Rewinding of motor including lifting/shifting/testing/painting of body/repair of motor terminal and installation at site/coupling etc. with warranty of 6 months of following capacities, Shaft and key developing work added (Upto 5 HP) | 2.00 | EA |  | 10800.00 | 25488.00 | 25488.00 | GREEN POWER INTERNATIONAL PVT. LTD.
160.00 | Rewinding of motor including lifting/shifting/testing/painting of body/repair of motor terminal and installation at site/coupling etc. with warranty of 6 months of following capacities, Shaft and key developing work added (Above 5 HP to 12.5 HP) | 2.00 | EA |  | 18000.00 | 42480.00 | 42480.00 | GREEN POWER INTERNATIONAL PVT. LTD.
161.00 | Rewinding of motor including lifting/shifting/testing/painting of body/repair of motor terminal and installation at site/coupling etc. with warranty of 6 months of following capacities, Shaft and key developing work added (Above 12.5 HP to 15 HP) | 2.00 | EA |  | 21600.00 | 50976.00 | 50976.00 | GREEN POWER INTERNATIONAL PVT. LTD.
162.00 | Rewinding of motor including lifting/shifting/testing/painting of body/repair of motor terminal and installation at site/coupling etc. with warranty of 6 months of following capacities, Shaft and key developing work added (Above 15 HP to 25 HP) | 2.00 | EA |  | 30000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
163.00 | Self starter repairing/service including all required spares | 1.00 | EA |  | 210000.00 | 247800.00 | 247800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
164.00 | CT Fan gear box and hosing repairing job, shaft and KEY developing | 1.00 | EA |  | 60000.00 | 70800.00 | 70800.00 | GREEN POWER INTERNATIONAL PVT. LTD.
| Total in Figures |  |  |  |  | 49520832.82
Lowest Amount Quoted BY: GREEN POWER INTERNATIONAL PVT. LTD.(49520832.82)

## BOQ Summary
BOQ Summary Details Tender Title: SERVICES OF OPERATION AND MAINTENANCE OF GEG VAM AND DEG AND ASSOCIATED ELECTRICAL SYSTEMS AND AUXILIARY EQUIPMENT Tender ID: 2024_GAIL_198282_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GREEN POWER INTERNATIONAL PVT. LTD. | 49520832.82 | L1