## BoQ1
Government eProcurement System Created By: Sandesh Yadav Created Date/Time: 25-Sep-2024 03:54 PM Tender Title: SITC OF GI LIGHTING POLE WITH LED LIGHTING Tender ID: 2024_GAIL_203891_1
Tender Inviting Authority: GAIL (India) Limited Hazira Compressor Station, Icchapore Magdalla Road, PO-ONGC, Dist. Surat-394518, Gujarat
Name of Work: FOR SITC OF GI OCTAGONAL LIGHTING POLE WITH LED LIGHTING FIXTURES AT GAIL HAZIRA COMPRESSOR STATION.
Contract No: GAIL/HZR/C&P/120552/FL-11C/24-25 (NIC Tender No. 2024_GAIL_203891_1 dtd. 06.08.2024)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Adarsh electric works (GSTN-24ABOFA4210B1Z4) BID ID -735611 |  | Pyrotech Electronics Pvt. Ltd. Unit-1 (GSTN-08AABCP2186Q1ZU) BID ID -736851 |  | ALDEN ELECTRICALS(GSTN-NA)--736758 |  | EMERSION ENTERPRISE(GSTN-NA)--735246 |  | M/s.Mitra Contractors(GSTN-NA)--736830 |  | Nishico(GSTN-NA)--735630
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUPPLY PORTION :-
1.01 | Supply of Octagonal GI lighting poles of 9 meter single section as per SCC and SOW | 18.00 | NOS |  | 18500.00 | 333000.00 | 16490.00 | 296820.00 | 14560.00 | 262080.00 | 12660.00 | 227880.00 | 43129.00 | 776322.00 | 19450.00 | 350100.00 | 227880.00 | EMERSION ENTERPRISE
1.02 | Supply of LED Lighting Fixture of 150 watt as per SCC and SOW | 36.00 | NOS |  | 6500.00 | 234000.00 | 2070.00 | 74520.00 | 4600.00 | 165600.00 | 5150.00 | 185400.00 | 9899.00 | 356364.00 | 7500.00 | 270000.00 | 74520.00 | Pyrotech Electronics Pvt. Ltd. Unit-1
1.03 | Supply of Single arm Brackets as per SCC and SOW | 21.00 | NOS |  | 1800.00 | 37800.00 | 2360.00 | 49560.00 | 950.00 | 19950.00 | 1250.00 | 26250.00 | 2499.00 | 52479.00 | 2350.00 | 49350.00 | 19950.00 | ALDEN ELECTRICALS
1.04 | Supply of 4CX16 sq. mm Aluminum cable Power cable , 1.1 KV, XLPE insulated. PVC sheathed, aluminum conductor, armored conforming to IS standards as per SCC and SOW | 700.00 | MTR |  | 195.00 | 136500.00 | 169.00 | 118300.00 | 138.00 | 96600.00 | 160.00 | 112000.00 | 309.00 | 216300.00 | 195.00 | 136500.00 | 96600.00 | ALDEN ELECTRICALS
1.05 | Supply of 3C X 2.5 sq. mm flexible cable Power cable, 1.1 KV, copper conductor, conforming to IS standards as per SCC and SOW. | 390.00 | MTR |  | 200.00 | 78000.00 | 110.00 | 42900.00 | 80.00 | 31200.00 | 125.00 | 48750.00 | 149.00 | 58110.00 | 102.00 | 39780.00 | 31200.00 | ALDEN ELECTRICALS
2.00 | SERVICE PORTION :-
2.01 | Dismantling Of old existing lighting pole, (Inclusive removal of concreting foundation, connection & earthing) as per SCC and SOW | 27.00 | NOS |  | 6000.00 | 162000.00 | 1920.00 | 51840.00 | 2250.00 | 60750.00 | 3700.00 | 99900.00 | 2011.00 | 54297.00 | 4000.00 | 108000.00 | 51840.00 | Pyrotech Electronics Pvt. Ltd. Unit-1
2.02 | Installation, testing, commissioning of Octagonal GI lighting poles with fixture of 9 meter (double and single arm) as per scope of work and SCC. | 39.00 | NOS |  | 8500.00 | 331500.00 | 12840.00 | 500760.00 | 7100.00 | 276900.00 | 7390.00 | 288210.00 | 11156.00 | 435084.00 | 11500.00 | 448500.00 | 276900.00 | ALDEN ELECTRICALS
2.03 | Laying and Termination of 4C x 16 sq. mm cable by excavation as per the details provided in SCC and SOW | 700.00 | MTR |  | 265.00 | 185500.00 | 190.00 | 133000.00 | 230.00 | 161000.00 | 315.00 | 220500.00 | 179.00 | 125300.00 | 280.00 | 196000.00 | 125300.00 | M/s.Mitra Contractors
2.04 | Installation, testing & commissioning of 3C x 2.5 sq. mm cable as per SCC and SOW | 390.00 | MTR |  | 50.00 | 19500.00 | 32.00 | 12480.00 | 8.00 | 3120.00 | 29.00 | 11310.00 | 29.00 | 11310.00 | 90.00 | 35100.00 | 3120.00 | ALDEN ELECTRICALS
2.05 | Laying of cable through GI pipe/conduit by RCC breaking as per the details provided in SCC and SOW | 50.00 | MTR |  | 450.00 | 22500.00 | 1280.00 | 64000.00 | 650.00 | 32500.00 | 2460.00 | 123000.00 | 599.00 | 29950.00 | 250.00 | 12500.00 | 12500.00 | Nishico
2.06 | Supply and installation of 25X3 mm G.I EARTH STRIP as per SCC and SOW | 1500.00 | MTR |  | 175.00 | 262500.00 | 90.00 | 135000.00 | 90.00 | 135000.00 | 105.00 | 157500.00 | 129.00 | 193500.00 | 150.00 | 225000.00 | 135000.00 | ALDEN ELECTRICALS, Pyrotech Electronics Pvt. Ltd. Unit-1
2.07 | Supply and Laying of single core 6 sq. mm insulated copper cable as per the details provided in SCC and SOW | 100.00 | MTR |  | 150.00 | 15000.00 | 120.00 | 12000.00 | 95.00 | 9500.00 | 95.00 | 9500.00 | 89.00 | 8900.00 | 85.00 | 8500.00 | 8500.00 | Nishico
2.08 | Construction of new Earth Pits as per the details provided in SCC and SOW | 15.00 | NOS |  | 18000.00 | 270000.00 | 10900.00 | 163500.00 | 11250.00 | 168750.00 | 12300.00 | 184500.00 | 7145.00 | 107175.00 | 25000.00 | 375000.00 | 107175.00 | M/s.Mitra Contractors
| Total in Figures |  |  |  |  | 2087800.00 |  | 1654680.00 |  | 1422950.00 |  | 1694700.00 |  | 2425091.00 |  | 2254330.00
Lowest Amount Quoted BY: ALDEN ELECTRICALS(1422950.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC OF GI LIGHTING POLE WITH LED LIGHTING Tender ID: 2024_GAIL_203891_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ALDEN ELECTRICALS | 1422950.00 | L1
| 2 | Pyrotech Electronics Pvt. Ltd. Unit-1 | 1654680.00 | L2
| 3 | EMERSION ENTERPRISE | 1694700.00 | L3
| 4 | Adarsh electric works | 2087800.00 | L4
| 5 | Nishico | 2254330.00 | L5
| 6 | M/s.Mitra Contractors | 2425091.00 | L6