## BoQ1
Government eProcurement System Created By: Twinkle Gour Created Date/Time: 26-Mar-2025 03:36 PM Tender Title: ELECTRICAL RENOVATION JOB IN AASHIYANA GUEST HOUSE AND BEAUTIFICATION OF PUBLIC Tender ID: 2024_GAIL_210997_1
Tender Inviting Authority: GAIL INDIA LTD PATA TWINKLE GOUR
Name of Work:ELECTRICAL RENOVATION JOB IN AASHIYANA GUEST HOUSE & BEAUTIFICATION OF PUBLIC BUILDING IN GAIL GAON DIBIYAPUR
REF.NIC TENDER No: GAIL/PA24/20121446/341/TG( NIC TENDER ID-2024_GAIL_210997_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DQBYDT PVT LTD (GSTN-09AAFCD6296H1Z8) BID ID -777486 |  | EVERCREST PROJECTS PVT LTD (GSTN-24AADCE7826L1ZE) BID ID -783016 |  | UNICBASE INFRATECH INDIA LLP (GSTN-07AAHFU0776G1Z0) BID ID -783194 |  | AYK ENGINEERS AND CONSTRUCTION LLP (GSTN-NA) BID ID -782365 |  | M/SSATYASHANTI INFRATECH LLP (GSTN-NA) BID ID -782917
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1 CONDUIT
2.00 | 1A CONDUIT | 1250.00 | Mtr. |  | 161.00 | 237475.00 | 251.00 | 370225.00 | 250.00 | 368750.00 | 200.00 | 295000.00 | 200.00 | 295000.00 | 237475.00 | DQBYDT PVT LTD
3.00 | 1B CONDUIT | 100.00 | Mtr. |  | 336.00 | 39648.00 | 662.00 | 78116.00 | 450.00 | 53100.00 | 400.00 | 47200.00 | 300.00 | 35400.00 | 35400.00 | M/SSATYASHANTI INFRATECH LLP
4.00 | 2 WIRING/ MODULAR SWITCH | 600.00 | Point |  | 1210.00 | 856680.00 | 861.00 | 609588.00 | 850.00 | 601800.00 | 450.00 | 318600.00 | 1200.00 | 849600.00 | 318600.00 | AYK ENGINEERS AND CONSTRUCTION LLP
5.00 | 3 WIRING/ MODULAR SWITCH | 20.00 | Point |  | 1613.00 | 38066.80 | 1564.00 | 36910.40 | 900.00 | 21240.00 | 800.00 | 18880.00 | 1300.00 | 30680.00 | 18880.00 | AYK ENGINEERS AND CONSTRUCTION LLP
6.00 | 4 WIRING/ CABLE
7.00 | 4A WIRING/ CABLE | 300.00 | Meter |  | 314.00 | 111156.00 | 92.00 | 32568.00 | 120.00 | 42480.00 | 150.00 | 53100.00 | 90.00 | 31860.00 | 31860.00 | M/SSATYASHANTI INFRATECH LLP
8.00 | 4B WIRING/ CABLE | 600.00 | Meter |  | 370.00 | 261960.00 | 139.00 | 98412.00 | 125.00 | 88500.00 | 300.00 | 212400.00 | 120.00 | 84960.00 | 84960.00 | M/SSATYASHANTI INFRATECH LLP
9.00 | 4C WIRING/ CABLE | 2570.00 | Meter |  | 449.00 | 1361637.40 | 189.00 | 573161.40 | 350.00 | 1061410.00 | 400.00 | 1213040.00 | 205.00 | 621683.00 | 573161.40 | EVERCREST PROJECTS PVT LTD
10.00 | 4D WIRING/ CABLE | 1400.00 | Meter |  | 766.00 | 1265432.00 | 372.00 | 614544.00 | 420.00 | 693840.00 | 600.00 | 991200.00 | 260.00 | 429520.00 | 429520.00 | M/SSATYASHANTI INFRATECH LLP
11.00 | 4E WIRING/ CABLE | 50.00 | Meter |  | 721.00 | 42539.00 | 332.00 | 19588.00 | 550.00 | 32450.00 | 600.00 | 35400.00 | 310.00 | 18290.00 | 18290.00 | M/SSATYASHANTI INFRATECH LLP
12.00 | 4F WIRING/ CABLE | 200.00 | Meter |  | 1835.00 | 433060.00 | 979.00 | 231044.00 | 600.00 | 141600.00 | 800.00 | 188800.00 | 350.00 | 82600.00 | 82600.00 | M/SSATYASHANTI INFRATECH LLP
13.00 | 5 SWITCH/ SOCKET | 329.00 | Each |  | 775.00 | 300870.50 | 488.00 | 189451.36 | 620.00 | 240696.40 | 700.00 | 271754.00 | 800.00 | 310576.00 | 189451.36 | EVERCREST PROJECTS PVT LTD
14.00 | 6 SWITCH/ SOCKET | 205.00 | EA |  | 922.00 | 223031.80 | 579.00 | 140060.10 | 720.00 | 174168.00 | 1000.00 | 241900.00 | 1200.00 | 290280.00 | 140060.10 | EVERCREST PROJECTS PVT LTD
15.00 | 7 SWITCH/ SOCKET | 48.00 | EA |  | 2486.00 | 140807.04 | 2115.00 | 119793.60 | 2500.00 | 141600.00 | 750.00 | 42480.00 | 1520.00 | 86092.80 | 42480.00 | AYK ENGINEERS AND CONSTRUCTION LLP
16.00 | 8 SWITCH/ SOCKET | 54.00 | EA |  | 538.00 | 34281.36 | 539.00 | 34345.08 | 660.00 | 42055.20 | 550.00 | 35046.00 | 380.00 | 24213.60 | 24213.60 | M/SSATYASHANTI INFRATECH LLP
17.00 | 9 SWITCH/ SOCKET | 500.00 | EA |  | 20.00 | 11800.00 | 64.00 | 37760.00 | 25.00 | 14750.00 | 25.00 | 14750.00 | 30.00 | 17700.00 | 11800.00 | DQBYDT PVT LTD
18.00 | 10 SWITCH/ SOCKET | 48.00 | EA |  | 538.00 | 30472.32 | 503.00 | 28489.92 | 500.00 | 28320.00 | 650.00 | 36816.00 | 70.00 | 3964.80 | 3964.80 | M/SSATYASHANTI INFRATECH LLP
19.00 | 11 SWITCH/ SOCKET | 48.00 | EA |  | 1008.00 | 57093.12 | 1943.00 | 110051.52 | 300.00 | 16992.00 | 750.00 | 42480.00 | 2800.00 | 158592.00 | 16992.00 | UNICBASE INFRATECH INDIA LLP
20.00 | 12 SWITCH/ SOCKET | 60.00 | EA |  | 672.00 | 47577.60 | 1146.00 | 81136.80 | 3500.00 | 247800.00 | 550.00 | 38940.00 | 1500.00 | 106200.00 | 38940.00 | AYK ENGINEERS AND CONSTRUCTION LLP
21.00 | 13 SWITCH/ SOCKET | 48.00 | EA |  | 672.00 | 38062.08 | 274.00 | 15519.36 | 250.00 | 14160.00 | 550.00 | 31152.00 | 270.00 | 15292.80 | 14160.00 | UNICBASE INFRATECH INDIA LLP
22.00 | 14 CEILING FAN | 72.00 | EA |  | 5376.00 | 456744.96 | 3287.00 | 279263.52 | 4000.00 | 339840.00 | 4500.00 | 382320.00 | 1800.00 | 152928.00 | 152928.00 | M/SSATYASHANTI INFRATECH LLP
23.00 | 15 CEILING FAN | 10.00 | EA |  | 6048.00 | 71366.40 | 7968.00 | 94022.40 | 3000.00 | 35400.00 | 4500.00 | 53100.00 | 5000.00 | 59000.00 | 35400.00 | UNICBASE INFRATECH INDIA LLP
24.00 | 16 WALL FANS | 7.00 | EA |  | 6182.00 | 51063.32 | 4416.00 | 36476.16 | 2500.00 | 20650.00 | 5500.00 | 45430.00 | 3200.00 | 26432.00 | 20650.00 | UNICBASE INFRATECH INDIA LLP
25.00 | 17 EXHAUST FANS | 54.00 | EA |  | 2688.00 | 171279.36 | 1319.00 | 84046.68 | 1500.00 | 95580.00 | 2500.00 | 159300.00 | 1800.00 | 114696.00 | 84046.68 | EVERCREST PROJECTS PVT LTD
26.00 | 18 GEYSERS | 50.00 | EA |  | 12096.00 | 713664.00 | 7652.00 | 451468.00 | 12000.00 | 708000.00 | 11000.00 | 649000.00 | 14000.00 | 826000.00 | 451468.00 | EVERCREST PROJECTS PVT LTD
27.00 | 19 Window AC | 40.00 | EA |  | 52416.00 | 2474035.20 | 35028.00 | 1653321.60 | 55000.00 | 2816000.00 | 36000.00 | 1699200.00 | 32000.00 | 1510400.00 | 1510400.00 | M/SSATYASHANTI INFRATECH LLP
28.00 | 20 Split AC | 5.00 | EA |  | 63168.00 | 372691.20 | 48519.00 | 286262.10 | 48000.00 | 307200.00 | 58000.00 | 342200.00 | 37000.00 | 218300.00 | 218300.00 | M/SSATYASHANTI INFRATECH LLP
29.00 | 21 Tower AC | 4.00 | EA |  | 168000.00 | 792960.00 | 122699.00 | 579139.28 | 225000.00 | 1152000.00 | 265000.00 | 1250800.00 | 150650.00 | 711068.00 | 579139.28 | EVERCREST PROJECTS PVT LTD
30.00 | 18 W BATTEN SL NO. 22 | 435.00 | EA |  | 538.00 | 276155.40 | 424.00 | 217639.20 | 800.00 | 410640.00 | 550.00 | 282315.00 | 600.00 | 307980.00 | 217639.20 | EVERCREST PROJECTS PVT LTD
31.00 | 10W BATTEN SL NO 23 | 54.00 | EA |  | 403.00 | 25679.16 | 318.00 | 20262.96 | 700.00 | 44604.00 | 450.00 | 28674.00 | 1200.00 | 76464.00 | 20262.96 | EVERCREST PROJECTS PVT LTD
32.00 | 24 SURFACE D/L | 120.00 | EA |  | 941.00 | 133245.60 | 878.00 | 124324.80 | 1250.00 | 177000.00 | 800.00 | 113280.00 | 700.00 | 99120.00 | 99120.00 | M/SSATYASHANTI INFRATECH LLP
33.00 | 25 RECESS D/L | 258.00 | EA |  | 941.00 | 286478.04 | 800.00 | 243552.00 | 850.00 | 258774.00 | 650.00 | 197886.00 | 750.00 | 228330.00 | 197886.00 | AYK ENGINEERS AND CONSTRUCTION LLP
34.00 | 26 RECESS D/L COLOUR CHANGING PANEL | 48.00 | EA |  | 1075.00 | 60888.00 | 990.00 | 56073.60 | 1800.00 | 101952.00 | 980.00 | 55507.20 | 1100.00 | 62304.00 | 55507.20 | AYK ENGINEERS AND CONSTRUCTION LLP
35.00 | 27 STEP/ FOOT LIGHTS | 144.00 | EA |  | 1344.00 | 228372.48 | 1998.00 | 339500.16 | 1550.00 | 263376.00 | 600.00 | 101952.00 | 1010.00 | 171619.20 | 101952.00 | AYK ENGINEERS AND CONSTRUCTION LLP
36.00 | 28 WALL MOUNTED FIXTURE | 132.00 | EA |  | 1478.00 | 230213.28 | 463.00 | 72116.88 | 2250.00 | 350460.00 | 750.00 | 116820.00 | 1505.00 | 234418.80 | 72116.88 | EVERCREST PROJECTS PVT LTD
37.00 | 150W FLOOD LIGHT SOR NO 29 | 12.00 | EA |  | 6720.00 | 95155.20 | 5208.00 | 73745.28 | 7000.00 | 99120.00 | 6500.00 | 92040.00 | 12000.00 | 169920.00 | 73745.28 | EVERCREST PROJECTS PVT LTD
38.00 | 30 POST TOP | 20.00 | EA |  | 40320.00 | 951552.00 | 13093.00 | 308994.80 | 8000.00 | 188800.00 | 3500.00 | 82600.00 | 25000.00 | 590000.00 | 82600.00 | AYK ENGINEERS AND CONSTRUCTION LLP
39.00 | 31 BOLLARD LIGHT | 100.00 | EA |  | 7392.00 | 872256.00 | 4585.00 | 541030.00 | 9500.00 | 1121000.00 | 5500.00 | 649000.00 | 12000.00 | 1416000.00 | 541030.00 | EVERCREST PROJECTS PVT LTD
40.00 | 32 FAÇADE LIGHTING | 260.00 | EA |  | 4704.00 | 1443187.20 | 22870.00 | 7016516.00 | 9500.00 | 2914600.00 | 6500.00 | 1994200.00 | 12000.00 | 3681600.00 | 1443187.20 | DQBYDT PVT LTD
41.00 | 33 VINTAGE POLES | 50.00 | EA |  | 20160.00 | 1189440.00 | 62573.00 | 3691807.00 | 2500.00 | 147500.00 | 35000.00 | 2065000.00 | 10300.00 | 607700.00 | 147500.00 | UNICBASE INFRATECH INDIA LLP
42.00 | 34 GI PIPE | 100.00 | M |  | 1075.00 | 126850.00 | 1359.00 | 160362.00 | 280.00 | 33040.00 | 1000.00 | 118000.00 | 400.00 | 47200.00 | 33040.00 | UNICBASE INFRATECH INDIA LLP
43.00 | 35 CABLE DP TO LIGHTS | 1000.00 | M |  | 242.00 | 285560.00 | 294.00 | 346920.00 | 520.00 | 613600.00 | 500.00 | 590000.00 | 200.00 | 236000.00 | 236000.00 | M/SSATYASHANTI INFRATECH LLP
44.00 | 36 CABLE FP TO DP | 1000.00 | M |  | 282.00 | 332760.00 | 332.00 | 391760.00 | 560.00 | 660800.00 | 650.00 | 767000.00 | 230.00 | 271400.00 | 271400.00 | M/SSATYASHANTI INFRATECH LLP
45.00 | 37 DISTRIBUTION BOARDS | 20.00 | EA |  | 16128.00 | 380620.80 | 9496.00 | 224105.60 | 15000.00 | 354000.00 | 7500.00 | 177000.00 | 19000.00 | 448400.00 | 177000.00 | AYK ENGINEERS AND CONSTRUCTION LLP
46.00 | 38 DISTRIBUTION BOARDS | 2.00 | EA |  | 33600.00 | 79296.00 | 36109.00 | 85217.24 | 15000.00 | 35400.00 | 20000.00 | 47200.00 | 22000.00 | 51920.00 | 35400.00 | UNICBASE INFRATECH INDIA LLP
47.00 | 39 DISTRIBUTION BOARDS | 20.00 | EA |  | 2688.00 | 63436.80 | 4225.00 | 99710.00 | 3000.00 | 70800.00 | 6000.00 | 141600.00 | 24000.00 | 566400.00 | 63436.80 | DQBYDT PVT LTD
48.00 | 40 DISTRIBUTION BOARDS | 4.00 | EA |  | 20160.00 | 95155.20 | 11642.00 | 54950.24 | 13000.00 | 61360.00 | 25000.00 | 118000.00 | 20000.00 | 94400.00 | 54950.24 | EVERCREST PROJECTS PVT LTD
49.00 | 41 DISTRIBUTION BOARDS | 42.00 | EA |  | 21504.00 | 1065738.24 | 11988.00 | 594125.28 | 12000.00 | 594720.00 | 13000.00 | 644280.00 | 18000.00 | 892080.00 | 594125.28 | EVERCREST PROJECTS PVT LTD
50.00 | 42 KEY TAGSWITCH | 48.00 | EA |  | 1344.00 | 76124.16 | 377.00 | 21353.28 | 800.00 | 45312.00 | 5000.00 | 283200.00 | 800.00 | 38400.00 | 21353.28 | EVERCREST PROJECTS PVT LTD
51.00 | 43 EARTHING | 20.00 | EA |  | 13440.00 | 317184.00 | 11223.00 | 264862.80 | 10000.00 | 236000.00 | 23000.00 | 542800.00 | 8000.00 | 188800.00 | 188800.00 | M/SSATYASHANTI INFRATECH LLP
52.00 | 44 EARTHING | 2000.00 | M |  | 202.00 | 476720.00 | 172.00 | 405920.00 | 450.00 | 1062000.00 | 400.00 | 944000.00 | 160.00 | 377600.00 | 377600.00 | M/SSATYASHANTI INFRATECH LLP
53.00 | 45 EARTHING | 100.00 | M |  | 202.00 | 23836.00 | 187.00 | 22066.00 | 400.00 | 47200.00 | 1050.00 | 123900.00 | 510.00 | 60180.00 | 22066.00 | EVERCREST PROJECTS PVT LTD
54.00 | 46 EARTHING | 100.00 | M |  | 202.00 | 23836.00 | 172.00 | 20296.00 | 300.00 | 35400.00 | 550.00 | 64900.00 | 110.00 | 12980.00 | 12980.00 | M/SSATYASHANTI INFRATECH LLP
55.00 | 47 DISTRIBUTION PANEL | 8.00 | EA |  | 43008.00 | 405995.52 | 74240.00 | 700825.60 | 120000.00 | 1132800.00 | 55000.00 | 519200.00 | 15500.00 | 146320.00 | 146320.00 | M/SSATYASHANTI INFRATECH LLP
| Total in Figures |  |  |  |  | 20181189.54 |  | 22982801.00 |  | 20560639.60 |  | 19570642.20 |  | 18188865.00
Lowest Amount Quoted BY: M/SSATYASHANTI INFRATECH LLP(18188865.00)

## BOQ Summary
BOQ Summary Details Tender Title: ELECTRICAL RENOVATION JOB IN AASHIYANA GUEST HOUSE AND BEAUTIFICATION OF PUBLIC Tender ID: 2024_GAIL_210997_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/SSATYASHANTI INFRATECH LLP (BID ID -782917) | 18188865.00 | L1
| 2 | AYK ENGINEERS AND CONSTRUCTION LLP (BID ID -782365) | 19570642.20 | L2
| 3 | DQBYDT PVT LTD (BID ID -777486) | 20181189.54 | L3
| 4 | UNICBASE INFRATECH INDIA LLP (BID ID -783194) | 20560639.60 | L4
| 5 | EVERCREST PROJECTS PVT LTD (BID ID -783016) | 22982801.00 | L5

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: ELECTRICAL RENOVATION JOB IN AASHIYANA GUEST HOUSE AND BEAUTIFICATION OF PUBLIC Tender ID: 2024_GAIL_210997_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | M/SSATYASHANTI INFRATECH LLP (BID ID -782917) | 18188865.00
| 2 | AYK ENGINEERS AND CONSTRUCTION LLP (BID ID -782365) | 19570642.20
| 3 | DQBYDT PVT LTD (BID ID -777486) | 20181189.54
| 4 | UNICBASE INFRATECH INDIA LLP (BID ID -783194) | 20560639.60
| 5 | EVERCREST PROJECTS PVT LTD (BID ID -783016) | 22982801.00