## BoQ1
Government eProcurement System Created By: RAHUL INGLE Created Date/Time: 26-May-2025 02:42 PM Tender Title: PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR Tender ID: 2024_GAIL_211475_1
Tender Inviting Authority: SUMAN KUMAR MANDAL
Name of Work: PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR
Contract No: SKM/ B378-000-DC-T-8901/1049
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JIL Information Technology Ltd (GSTN-07AAACJ8827B2ZP) BID ID -791572 |  | Enrich Data Services Pvt. Ltd. (GSTN-NA) BID ID -825689
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR
1.00 | INFORMATION TECHNOLOGY SERVICES
2.00 | Tools & tackles
3.00 | Supply of new Tools and tackles comprising of Crimping tool, LAN tester, OFC cable tester, OFC cable power meter, Splicing Machine, OTDR machine with connector adapter kit, Digital multimeter, Tongue tester, special tools & tackles as a minimum. | 2.00 | Set |  | 532350.00 | 1064700.00 | 180000.00 | 360000.00 | 360000.00 | Enrich Data Services Pvt. Ltd.
4.00 | UPS with inbuilt battery and related accessories
5.00 | Supply, installation, testing and commissioning of UPS with inbuilt battery and related accessories including all labour and materials including following items as per approved drawings, specifications of this tender and directions of engineer-in-charge.
6.00 | 5 KVA UPS with inbuilt battery | 1.00 | nos |  | 174218.75 | 174218.75 | 190869.44 | 190869.44 | 174218.75 | JIL Information Technology Ltd
7.00 | 2 KVA UPS with inbuilt battery | 6.00 | nos |  | 76681.25 | 460087.50 | 80152.96 | 480917.76 | 460087.50 | JIL Information Technology Ltd
8.00 | Copper power cable for UPS input and output with MCB, Power socket etc | 1.00 | Lot |  | 64125.00 | 64125.00 | 50000.00 | 50000.00 | 50000.00 | Enrich Data Services Pvt. Ltd.
9.00 | Structured UTP LAN CABLING
10.00 | Supply, installation, testing (Penta Scanning) and commissioning of Structured UTP LAN Cabling including all labour and materials (Cable, Conduit, Channel), including following items as per approved drawings, specifications of this tender and directions of engineer-in-charge:
11.00 | CAT-6A LSZH-FR | 1.00 | Box |  | 24437.50 | 24437.50 | 22922.63 | 22922.63 | 22922.63 | Enrich Data Services Pvt. Ltd.
12.00 | 24-port CAT-6A Jack Panel (fully loaded with 24 Nos. I/Os) | 1.00 | nos |  | 22312.50 | 22312.50 | 11994.99 | 11994.99 | 11994.99 | Enrich Data Services Pvt. Ltd.
13.00 | 48-port CAT-6A Jack Panel (fully loaded with 48 Nos. I/Os) | 1.00 | nos |  | 45500.00 | 45500.00 | 26378.81 | 26378.81 | 26378.81 | Enrich Data Services Pvt. Ltd.
14.00 | 1-m long CAT-6A Patch Cord | 10.00 | nos |  | 693.75 | 6937.50 | 432.02 | 4320.20 | 4320.20 | Enrich Data Services Pvt. Ltd.
15.00 | 2-m long CAT-6A Patch Cord | 30.00 | nos |  | 743.75 | 22312.50 | 516.73 | 15501.90 | 15501.90 | Enrich Data Services Pvt. Ltd.
16.00 | 3-m long CAT-6A Patch Cord | 10.00 | nos |  | 825.00 | 8250.00 | 736.98 | 7369.80 | 7369.80 | Enrich Data Services Pvt. Ltd.
17.00 | CAT-6A I/O, Faceplates, Gang-box | 10.00 | nos |  | 1012.50 | 10125.00 | 499.79 | 4997.90 | 4997.90 | Enrich Data Services Pvt. Ltd.
18.00 | Structured OFC Cabling
19.00 | Supply, installation, testing and commissioning of Structured OFC Cabling including all labour and materials including following items as per approved drawings, specifications of this tender and directions of engineer-in-charge.
20.00 | OFC - 6-Core, Single-mode, LSZH, Indoor/Outdoor, Armoured | 5000.00 | m |  | 142.00 | 710000.00 | 177.56 | 887800.00 | 710000.00 | JIL Information Technology Ltd
21.00 | OFC - 12-Core, Single-mode, LSZH, Indoor/Outdoor, Armoured | 1000.00 | m |  | 158.00 | 158000.00 | 197.89 | 197890.00 | 158000.00 | JIL Information Technology Ltd
22.00 | OFC - 48-Core, Single-mode, LSZH, Indoor/Outdoor, Armoured | 10500.00 | m |  | 270.00 | 2835000.00 | 262.27 | 2753835.00 | 2753835.00 | Enrich Data Services Pvt. Ltd.
23.00 | OFC - 96-Core, Single-mode, LSZH, Indoor/Outdoor, Armoured | 6000.00 | m |  | 290.00 | 1740000.00 | 299.54 | 1797240.00 | 1740000.00 | JIL Information Technology Ltd
24.00 | Supply, installation, testing and commissioning of Fiber Optic Patch Panel including all accessories for terminating, Pigtails with Connectors, splicing sleeves and splice tray including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in Charge
25.00 | Fiber Optic Patch Panel
26.00 | No. of Cores 12 nos Mode Single-Mode | 50.00 | nos |  | 16625.00 | 831250.00 | 12706.57 | 635328.50 | 635328.50 | Enrich Data Services Pvt. Ltd.
27.00 | No. of Cores 48 nos Mode Single-Mode | 12.00 | nos |  | 64250.00 | 771000.00 | 26141.62 | 313699.44 | 313699.44 | Enrich Data Services Pvt. Ltd.
28.00 | No. of Cores 24 nos Mode Single-Mode | 5.00 | nos |  | 27125.00 | 135625.00 | 16094.97 | 80474.85 | 80474.85 | Enrich Data Services Pvt. Ltd.
29.00 | No. of Cores 96 nos Mode Single-Mode | 2.00 | nos |  | 154743.75 | 309487.50 | 48284.92 | 96569.84 | 96569.84 | Enrich Data Services Pvt. Ltd.
30.00 | Supply, Installation of LSZH Patch Cord as per the specifications of this tender and directions of the Engineer-in-Charge.
31.00 | Fiber Optic Patch cord
32.00 | Fiber Optic patch cord, LC-LC, Single mode, 3 metre | 240.00 | nos |  | 1575.00 | 378000.00 | 1778.92 | 426940.80 | 378000.00 | JIL Information Technology Ltd
33.00 | Fiber Optic patch cord, LC-LC, Single mode, 10 metre | 10.00 | nos |  | 3225.00 | 32250.00 | 2626.02 | 26260.20 | 26260.20 | Enrich Data Services Pvt. Ltd.
34.00 | Supply, Installation, Laying of pre-lubricated HDPE conduits by direct burial / through cable trays / through ducts / through already available RCC Trench including civil work like weeding out vegetation, excavation upto 1m, conduit laying, pressing and backfilling of soil etc. and laying of OFC in HDPE as per the specifications of this tender and directions of the Engineer-in-Charge
35.00 | Pre lubricated HDPE
36.00 | OD 40 mm | 15000.00 | m |  | 220.00 | 3300000.00 | 79.69 | 1195350.00 | 1195350.00 | Enrich Data Services Pvt. Ltd.
37.00 | Supply, installation of OFC joint pits as per the specifications of this tender and directions of the Engineer-in-Charge
38.00 | OFC Joint Pits | 10.00 | nos |  | 18187.50 | 181875.00 | 17789.18 | 177891.80 | 177891.80 | Enrich Data Services Pvt. Ltd.
39.00 | Supply, installation of OFC Building Distribution Enclosure as per the specifications of this tender and directions of the Engineer-in-Charge
40.00 | OFC Building Distribution Enclosure | 45.00 | nos |  | 25000.00 | 1125000.00 | 17545.21 | 789534.45 | 789534.45 | Enrich Data Services Pvt. Ltd.
41.00 | Equipment Rack - Networking, Server
42.00 | Supply, installation, testing and commissioning of Network Racks including all labour and materials (including Horizontal and Vertical Cable Managers) of varying sizes, as per approved drawings, specifications of this tender and directions of engineer-in-charge.
43.00 | Floor-standing Network Rack
44.00 | Height 42 u Width 19 Inch | 6.00 | nos |  | 55625.00 | 333750.00 | 69894.54 | 419367.24 | 333750.00 | JIL Information Technology Ltd
45.00 | Wall-mounted Network Rack
46.00 | Height 15 u Width 19 Inch | 1.00 | nos |  | 14937.50 | 14937.50 | 15442.70 | 15442.70 | 14937.50 | JIL Information Technology Ltd
47.00 | Supply and Laying of PVC conduits pipe
48.00 | Supply and Laying of PVC conduits as per the specifications of this tender and directions of the Engineer-in-Charge.
49.00 | Supply and Laying of PVC conduits of sizes OD 25 mm | 5000.00 | m |  | 45.00 | 225000.00 | 28.80 | 144000.00 | 144000.00 | Enrich Data Services Pvt. Ltd.
50.00 | Fiber Pathway System
51.00 | Supply and Laying / installation of Fiber Pathway System as per the specifications of this tender and directions of the Engineer-in-Charge.
52.00 | Fiber Pathway System | 20.00 | m |  | 35766.25 | 715325.00 | 20000.00 | 400000.00 | 400000.00 | Enrich Data Services Pvt. Ltd.
53.00 | PVC Duct cable management system
54.00 | Supply and Laying of PVC duct cable management system as per the specifications of this tender and directions of the Engineer-in-Charge.
55.00 | PVC duct cable management system 100 x 50 mm | 100.00 | m |  | 256.25 | 25625.00 | 700.00 | 70000.00 | 25625.00 | JIL Information Technology Ltd
56.00 | Network Active Components
57.00 | Supply, installation, mounting, testing and commissioning of Ethernet Core Switch (s) including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in charge
58.00 | No. of Fiber Ports 32 | 2.00 | nos |  | 4199809.10 | 8399618.20 | 3094441.11 | 6188882.22 | 6188882.22 | Enrich Data Services Pvt. Ltd.
59.00 | Supply, installation, mounting, testing and commissioning of Ethernet Distribution Switch(s) including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in charge
60.00 | No. of Fiber Ports 24 nos | 10.00 | nos |  | 707658.04 | 7076580.40 | 1250487.88 | 12504878.80 | 7076580.40 | JIL Information Technology Ltd
61.00 | Supply, installation, mounting, testing and commissioning of Ethernet Edge Switch(s) including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in charge
62.00 | POE Ethernet Switch
63.00 | Total No. of Gigabit UTP Ports 24 No. of POE Ports 24 No. of Fiber Ports 4 | 34.00 | nos |  | 199250.12 | 6774504.08 | 439577.00 | 14945618.00 | 6774504.08 | JIL Information Technology Ltd
64.00 | Total No. of Gigabit UTP Ports 48 No. of POE Ports 48 No. of Fiber Ports 4 | 36.00 | nos |  | 231959.50 | 8350542.00 | 553089.35 | 19911216.60 | 8350542.00 | JIL Information Technology Ltd
65.00 | Supply, installation, mounting, testing and commissioning of 10G SFP+ LR including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in charge
66.00 | 10G SFP+ LR upto 10 Km | 200.00 | nos |  | 9352.68 | 1870536.00 | 26473.36 | 5294672.00 | 1870536.00 | JIL Information Technology Ltd
67.00 | Supply, installation, mounting, testing and commissioning of Central controller for Ethernet switches including all labour and materials, as per approved drawings, specifications of this tender and directions of engineer in charge
68.00 | Central controller for Ethernet switches | 1.00 | nos |  | 2398000.00 | 2398000.00 | 1800000.00 | 1800000.00 | 1800000.00 | Enrich Data Services Pvt. Ltd.
69.00 | Supply, installation, testing and commissioning of Laptop including all labour and materials as per approved drawings, specifications of this tender and directions of engineer-in-charge.
70.00 | Laptop as per specification mentioned in tender | 1.00 | nos |  | 125000.00 | 125000.00 | 110000.13 | 110000.13 | 110000.13 | Enrich Data Services Pvt. Ltd.
71.00 | Applicable GST Rate for above SOR items
| Total in Figures |  |  |  |  | 50719911.93 |  | 72358166.00
Lowest Amount Quoted BY: JIL Information Technology Ltd(50719911.93)

## BoQ2
Government eProcurement System Created By: RAHUL INGLE Created Date/Time: 26-May-2025 02:42 PM Tender Title: PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR Tender ID: 2024_GAIL_211475_1
Tender Inviting Authority: SUMAN KUMAR MANDAL
Name of Work: PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR
Contract No: SKM/ B378-000-DC-T-8901/1049
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JIL Information Technology Ltd (GSTN-07AAACJ8827B2ZP) BID ID -791572 |  | Enrich Data Services Pvt. Ltd. (GSTN-NA) BID ID -825689
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR
1.00 | Comprehensive Post Warranty Annual Maintenance Contract (CPWAMC) as per terms and condition of the Bidding Document
2.00 | Comprehensive Post Warranty Annual Maintenance Contract (CPWAMC) | 1.00 | year |  | 3000000.00 | 3000000.00 | 1250000.00 | 1250000.00 | 1250000.00 | Enrich Data Services Pvt. Ltd.
3.00 | Comprehensive Post Warranty Annual Maintenance Contract (CPWAMC) | 1.00 | year |  | 3500000.00 | 3500000.00 | 1250000.00 | 1250000.00 | 1250000.00 | Enrich Data Services Pvt. Ltd.
4.00 | Applicable GST Rate for above CPWAMC items
| Total in Figures |  |  |  |  | 6500000.00 |  | 2500000.00
Lowest Amount Quoted BY: Enrich Data Services Pvt. Ltd.(2500000.00)

## BOQ Summary
BOQ Summary Details Tender Title: PLANTWIDE LAN SYSTEM FOR GAIL PDH-PP PROJECT USAR Tender ID: 2024_GAIL_211475_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JIL Information Technology Ltd (BID ID -791572) | 50719911.93 | L1
| 2 | Enrich Data Services Pvt. Ltd. (BID ID -825689) | 72358166.00 | L2
BoQ2 | 1 | Enrich Data Services Pvt. Ltd. (BID ID -825689) | 2500000.00 | L1
| 2 | JIL Information Technology Ltd (BID ID -791572) | 6500000.00 | L2