## BoQ1
Government eProcurement System Created By: SIDDHARTH KUMAR Created Date/Time: 16-Dec-2024 11:59 AM Tender Title: Tender for the Design Supply Installation Testing and Commissioning of Weather Monitoring Station for GAIL 05 MW Ground Mounted Solar Power Plant at Ramgarh Tender ID: 2024_GAIL_212724_1
Tender Inviting Authority: GAIL (INDIA) LIMITED
Name of Work: Tender for the Design, Supply, Installation, Testing and Commissioning of Weather Monitoring Station for GAIL's 05 MW Ground Mounted Solar Power Plant at Ramgarh, Jaisalmer
Contract No: GAIL/C&P/ JPR24BP156/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MB Control and Systems Pvt Ltd (GSTN-19AABCM7980K1ZU) BID ID -765983
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & Installation of Pyranometer for GHI as per technical specification | 1.00 | EA | 0.00 | 159300.00 | 159300.00 | 159300.00 | MB Control and Systems Pvt Ltd
2.00 | Supply & Installation of Pyranometer for GII as per technical specification | 1.00 | EA | 0.00 | 165200.00 | 165200.00 | 165200.00 | MB Control and Systems Pvt Ltd
3.00 | Supply & Installation Ambient Temperature, Relative Humidity, Barometric Pressure, Dew Point Sensor with Radiation Shield as per technical specification | 1.00 | EA | 0.00 | 25960.00 | 25960.00 | 25960.00 | MB Control and Systems Pvt Ltd
4.00 | Supply & Installation of Wind Speed and Direction Sensor as per technical specification | 1.00 | EA | 0.00 | 43530.00 | 43530.00 | 43530.00 | MB Control and Systems Pvt Ltd
5.00 | Supply & Installation of PV Module Temperature Sensor as per technical specification | 1.00 | EA | 0.00 | 18880.00 | 18880.00 | 18880.00 | MB Control and Systems Pvt Ltd
6.00 | Supply & Installation of Data-logger as per technical specification | 1.00 | EA | 0.00 | 47153.00 | 47153.00 | 47153.00 | MB Control and Systems Pvt Ltd
7.00 | Supply & Installation of junction Box & data logger enclosure with all necessary mountings for SPDs, MCB etc. as per technical specifications | 1.00 | EA | 0.00 | 37760.00 | 37760.00 | 37760.00 | MB Control and Systems Pvt Ltd
8.00 | Supply & Installation of power supply for Weather mouting system as per technical specification | 1.00 | EA | 0.00 | 41300.00 | 41300.00 | 41300.00 | MB Control and Systems Pvt Ltd
9.00 | Supply & Installation of WMS mounting strcutre as per technical specification including SITC of earth pits and all required civil works. | 1.00 | EA | 0.00 | 21240.00 | 21240.00 | 21240.00 | MB Control and Systems Pvt Ltd
10.00 | Erection,Installation,testing,Commissioning,Interfacing & training for supplied Weather monitoring station. | 1.00 | EA | 0.00 | 159300.00 | 159300.00 | 159300.00 | MB Control and Systems Pvt Ltd
| Total in Figures |  |  |  |  | 719623.00
Lowest Amount Quoted BY: MB Control and Systems Pvt Ltd(719623.00)

## BOQ Summary
BOQ Summary Details Tender Title: Tender for the Design Supply Installation Testing and Commissioning of Weather Monitoring Station for GAIL 05 MW Ground Mounted Solar Power Plant at Ramgarh Tender ID: 2024_GAIL_212724_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MB Control and Systems Pvt Ltd (BID ID -765983) | 719623.00 | L1