## BoQ1
Government eProcurement System Created By: Utpal Saha Created Date/Time: 04-Mar-2025 04:06 PM Tender Title: PROCUREMENT OF 1200 SCMH GAS ENGINE DRIVEN CNG COMPRESSORS (12 MONTHS ARC) FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2024_GAIL_215369_1
Tender Inviting Authority: GAIL INDIA LTD
Name of Work: PROCUREMENT OF 1200 SCMH GAS ENGINE DRIVEN CNG COMPRESSORS (12 MONTHS ARC) FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs)
Tender Reference No: GAIL/BNR/PROJ/PROC/24-07 (Tender ID: 2024_GAIL_215369_1 )
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV (GSTN-NA) BID ID -807422 |  | Kirloskar Pneumatic Company Limited (GSTN-NA) BID ID -792603 |  | TULIP COMPRESSION PRIVATE LIMITED (GSTN-NA) BID ID -803173
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | GAS ENGINE DRIVEN 1200 SCMH CNG COMPRESSORS AND ITS ASSOCIATED AUXILIARIES (SUPPLY)
2.00 | Design, Engineering, Manufacturing, String test, Supply including packaging and forwarding, insurance, loading and unloading of Skid mounted Gas Engine Driven Reciprocating compressor package with discharge flow capacity of 1200 SCMH at the specified conditions (as per technical specification and scope of work) with explosion proof electric & control panel complete withpower, control cable & 5 nos. of ESDs having suction pressure of 16 kg/cm2(g), inlet line gas pressure range of 14 – 49 kg/cm2(g) (performance range 14 to 19 kg/cm2(g) with discharge pressure 250 kg/cm2(g) with 9 bank Priority panel along with all special tools and tackles required for erection and commissioning along with CO2 flooding system etc. The package shall be inclusive of: a) String test of complete compressor package along with gas engine and accessories at packager’s factory including TPIA (Third Party Inspection Agency)Charges. b) Design, Engineering, Manufacturing, Supply including packaging and forwarding, insurance, custom clearance, handling, loading and unloading of air compressor of 7.5KW capacity (approx) discharge pressure approx 16 kg/cm2g, 1000 Water liter capacity air receiver for instrumentation air, air dryer along with all accessories and auxiliaries. (excluding SCOPE OF TRANSPORTATION CHARGES for this item, which is to be quoted separately at ITEM No. A.1.1.1 BELOW) | 12.00 | NOS |  | 11800000.00 | 25488000.00 | 13000000.00 | 28080000.00 | 12000000.00 | 25920000.00 | 25488000.00 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
3.00 | Inland Transportation upto Delivery location and other cost incidental to delivery of goods at Item Code A.1.1 (Compressor) Note: (i) GAIL's GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar. The tentative quantity-wise delivery locations are mentioned in the notes to MR of the tender document (Vol-II of II), for reference only. However, the actual delivery locations will be mentioned/confirmed at the time of the released order/P.O. (ii) 1500 Km per Compressor has been considered for the purpose of evaluation only. However, the Inland transportation Charges shall be paid for actual distance based on quoted per KM per Compressor (machine) rate. (iii) The distance between the Vendor work/warehouse and delivery location shall be derived on the basis of shortest distance available in Google map / MapmyIndia website. Refer tender for details. Refer tender for details. (iv) *Unit refers to 1 no. of Compressor | 18000.00 | per km per unit* |  | 800.00 | 2592000.00 | 150.00 | 486000.00 | 75.00 | 243000.00 | 243000.00 | TULIP COMPRESSION PRIVATE LIMITED
4.00 | LCV Trailer Panels Supply & Delivery of LCV trailer panel complete with mass flow meter (with internal local display) based on Coriolis principle of Micro motion, USA (Model CNG 50 with 2700 transmitter, cabling, suitable for hazardous area classification. Panel shall be weather proof. Sheet metal work shall be SS 304. LCV trailer panel shall be mounted / installed near LCV stand. Purchaser shall arrange SS316 tubing from compressor to trailer panel and from trailer panel to LCV filling point with hose and fittings. Hose & fittings shall be in bidder’s scope. Hose shall be 5 feet in length along with breakaway coupling & fitting (quick connector coupler & Stem) should have provision of NRV. Dispatch of LCV panels shall be as intimated during dispatch clearance. Note: GAIL's GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar. The quantity-wise delivery locations for LCV Trailer Panels in aforesaid GA Locations shall be confirmed at the time of Released Order (RO). Bidder to quote the charges for Inland Transportation upto Delivery location and other cost incidental to delivery of goods of this Item (LCV Trailer Panel) including rate of its Ex-works Supply. Thus, Cost of Transportation Charges against this item is included in this scope. No separate payment towards Transportation Charges shall be paid against delivery of LCV Trailer Panels at any of aforementioned 6 GA Locations of GAIL. | 4.00 | NOS |  | 1000.00 | 720.00 | 400000.00 | 288000.00 | 300000.00 | 216000.00 | 720.00 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
5.00 | INSTALLATION, COMMISSIONING, TESTING
6.00 | Installation, commissioning & Field performance test of Compressor Package including all accessories/ equipment(s) i.e. air compressor, CO2 flooding system etc. system at site. | 12.00 | NOS |  | 1000.00 | 2160.00 | 200000.00 | 432000.00 | 1200000.00 | 2592000.00 | 2160.00 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
7.00 | Total amount for Supply, Installation/Erection, Testing, Commissioning, Inland Transportation (for 1500 Km) (inclusive of taxes) based on quoted price
8.00 | SERVICES FOR OPERATIONS & COMPREHENSIVE MAINTENANCE
9.00 | ITEMS FOR OPERATIONS [Bidder to quote Percentage Rate for the following in Cell M22, M23, M24, M25 & M26] (Note: Bidder to enter percentage rate for Operation charges in NUMBERS, without affixing the % symbol. For Example, if bidder wants to quote 0.00998% then enter 0.00998, if bidder wants to quote 0.01% then enter 0.01 etc. Total Value will be automatically calculated based on the same)
10.00 | Operation charges for 1st year i.e. during Warranty period per shift of 8hrs (12 packages X 3 shifts X 365 days) Note: The quoted percentage(%) rate (for 1 No. of shift) for this item must be equal to or more than 0.00998% of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 13140.00 | No of Shifts |  | .01 | 3286717.87 | .01 | 3620960.37 | .01 | 3429502.16 | 3286717.87 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
11.00 | Operation charges for 2nd year i.e. after Warranty period per shift of 8hrs (12 packages X 3 shifts X 365 days) Note: The quoted percentage(%) rate (for 1 No. of shift) for this item must be equal to or more than 0.01048% of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 13140.00 | No of Shifts |  | .01 | 3451383.10 | .01 | 3802371.21 | .01 | 3546721.47 | 3451383.10 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
12.00 | Operation charges for 3rd year i.e. after Warranty period per shift of 8hrs (12 packages X 3 shifts X 365 days) Note: The quoted percentage(%) rate (for 1 No. of shift) for this item must be equal to or more than 0.01100% of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 13140.00 | No of Shifts |  | .01 | 3622634.93 | .01 | 3991038.48 | .01 | 3690733.77 | 3622634.93 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
13.00 | Operation charges for 4th year i.e. after Warranty period per shift of 8hrs (12 packages X 3 shifts X 365 days) Note: The quoted percentage(%) rate (for 1 No. of shift) for this item must be equal to or more than 0.01154% of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 13140.00 | No of Shifts |  | .01 | 3800473.37 | .01 | 4186962.19 | .01 | 3901728.53 | 3800473.37 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
14.00 | Operation charges for 5th year i.e. after Warranty period per shift of 8hrs (12 packages X 3 shifts X 365 days) Note: The quoted percentage(%) rate (for 1 No. of shift) for this item must be equal to or more than 0.01213% of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 13140.00 | No of Shifts |  | .01 | 3994778.33 | .01 | 4401026.98 | .01 | 4069184.69 | 3994778.33 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
15.00 | Total amount for OPERATIONS (inclusive of taxes) based on quoted price
16.00 | ITEMS FOR COMPREHENSIVE MAINTENANCE [Bidder to quote Percentage Rate for the following in Cell M29, M31, M32, M33 & M34] (Note: Bidder to enter percentage rate for Comprehensive Maintenance charges in NUMBERS, without affixing the % symbol. For Example, if bidder wants to quote 0.40% then enter 0.40, if bidder wants to quote 1.36% then enter 1.36 etc. Total Value will be automatically calculated based on the same)
17.00 | Lump sum Repair & Comprehensive Maintenance charges (excluding the scope covers under warrantee) per Compressor Package including air compressor for 1st year during warrantee period in all Geographical Areas of GAIL inclusive of all manpower, spare parts, lubricants and consumables etc. (12 packages X 12 Months) Note: The quoted percentage (%) rate (for 1 Machine Month) for this item must be equal to or more than 0.40% (maximum 1.5%) of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 144.00 | Machine Months |  | .40 | 1443640.32 | .40 | 1590451.20 | .40 | 1468108.80 | 1443640.32 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
18.00 | Lump sum Repair & comprehensive maintenance charges (including major overhaul) per Compressor Package including air compressor in all Geographical Area’s under GAIL periphery inclusive of all manpower, spare parts, lubricants and consumables etc. For the below mentioned years (12 packages X 12 Months)
19.00 | For 2nd Year Note: The quoted percentage (%) rate (for 1 Machine Month) for this item must be equal to or more than 0.50% (maximum 1.5%) of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 144.00 | Machine Months |  | .50 | 1804550.40 | .50 | 1988064.00 | .50 | 1835136.00 | 1804550.40 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
20.00 | For 3rd year Note: The quoted percentage (%) rate (for 1 Machine Month) for this item must be equal to or more than 0.55% (maximum 1.5%) of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 144.00 | Machine Months |  | .55 | 1985005.44 | .55 | 2186870.40 | .55 | 2018649.60 | 1985005.44 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
21.00 | For 4th Year Note: The quoted percentage (%) rate (for 1 Machine Month) for this item must be equal to or more than 0.61% (maximum 1.5%) of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 144.00 | Machine Months |  | .61 | 2201551.49 | .61 | 2425438.08 | .61 | 2238865.92 | 2201551.49 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
22.00 | For 5th Year Note: The quoted percentage (%) rate (for 1 Machine Month) for this item must be equal to or more than 0.67% (maximum 1.5%) of unit price of MR Item no. A.1.1 (incl. GST) quoted by the bidder. | 144.00 | Machine Months |  | .67 | 2418097.54 | .67 | 2664005.76 | .67 | 2459082.24 | 2418097.54 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
23.00 | Total amount for COMPREHENSIVE MAINTENANCE (inclusive of taxes) based on quoted price
24.00 | A. PACKAGE GAS LOSS: [Bidder to quote Percentage Rate for the following in Cell M38, M39, M40, M41 & M42] (Note: Bidder to enter percentage rate for "Vent/Leakage rate" for Package Gas Loss in NUMBERS, without affixing the % symbol. For Example, if bidder wants to quote 0.98% then enter 0.98, if bidder wants to quote 1% then enter 1.00 etc. Total Value will be automatically calculated based on the same.) [Bidder to quote fixed value 18.00 only in Cell N38, N39, N40, N41 & N42]
25.00 | The bidder shall design the compressor package so that no venting and leakage of gas takes place. Bidder shall indicate actual vent & leakage losses through the compressor package. If package loss is quoted more than 1% of suction capacity gas consumption then bid shall be rejected. This quoted figure will be used for evaluation and total quoted price for all compressors towards supply, special tools and tackles, transportation, erection & commissioning, operations and comprehensive maintenance will be calculated as per following formulas: F = G * H * I * N * W Where, F = amount in Rs. G = Vent/Leakage rate quoted in percentage H = Cost of Natural Gas per Kg @ Rs. 48/- per kg I = Avg. no. of running hours per year i.e. @ 3650 hours N = Number of machines W = 903 kg/hr for 1200 SCMH Notes: 1) The amount (F) as per the above calculations for 5 years shall be considered on NPV basis with discount factor @9% p.a. Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol).
26.00 | Package Gas Loss for 1st year Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol) | 12.00 | NOS |  | 0.00 | 0.00 | .01 | 34172.41 | 0.00 | 0.00 | 0.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
27.00 | Package Gas Loss for 2nd year Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol) | 12.00 | NOS |  | 0.00 | 0.00 | .01 | 34172.41 | 0.00 | 0.00 | 0.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
28.00 | Package Gas Loss for 3rd year Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol) | 12.00 | NOS |  | 0.00 | 0.00 | .01 | 34172.41 | 0.00 | 0.00 | 0.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
29.00 | Package Gas Loss for 4th year Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol) | 12.00 | NOS |  | 0.00 | 0.00 | .01 | 34172.41 | 0.00 | 0.00 | 0.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
30.00 | Package Gas Loss for 5th year Under coloumn 'M', bidder to quote 'G = Vent/Leakage rate in percentage' (without affixing % symbol) | 12.00 | NOS |  | 0.00 | 0.00 | .01 | 34172.41 | 0.00 | 0.00 | 0.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
31.00 | B. ENGINE FUEL CONSUMPTION: [Bidder to quote Gas consumption rate for the following in Cell M45, M46, M47, M48 & M49] (Note: Bidder to enter "Gas consumption rate in Kg/hr for every 1200SCMH (903 Kg) of CNG produced" in NUMBERS for Engine Fuel Consumption, without affixing the Kg/hr unit. For Example, if bidder wants to quote 30 Kg/hr then enter 30, if bidder wants to quote 30.5 Kg/hr then enter 30.50 etc. Total Value will be automatically calculated based on the same.) [Bidder to quote fixed value 18.00 only in Cell N45, N46, N47, N48 & N49]
32.00 | The compressor package shall be designed in such a way that Gas Consumption of engine (Kg/Hr) should be minimum for production of CNG. Bidder shall indicate actual gas consumption for their compressor package. This quoted figure will be used for evaluation and total quoted price for all compressors towards supply, special tools & tackles, erection and commissioning will be calculated as per following formulas: F = G x H x I x N Where, F = amount in Rs. G = Bidder’s Gas consumption rate quoted in Kg/hr for every 1200SCMH (903 Kg) of CNG produced H = Cost of Natural Gas per Kg @ Rs. 48/- per kg I = Avg. no. of running hours per year i.e. @ 3650 hours N = Number of machines Notes: 1. Fuel Consumption quoted by the bidder under guaranteed parameters shall lie within the range of 30 to 33 Kg/hr for 1200 SCMH. No benefit will be given below 30 Kg/hr for 1200 SCMH. In case the fuel consumption quoted by the bidder exceeds the upper limit i.e. 33 Kg/hr for 1200 SCMH the bid will be rejected. Further, necessary price loading shall be done for fuel consumption in the range of 30 to 33 Kg/hr for 1200 SCMH. 2) The amount (F) as per the above calculations for 5 years shall be considered on NPV basis with discount factor @9% p.a. Under coloumn 'M', bidder to quote ''Bidder’s Gas consumption rate in Kg/hr for every 1200SCMH (903 Kg) of CNG produced"
33.00 | Engine Fuel Consumption for 1st year | 12.00 | NOS |  | 30.00 | 11352960.00 | 32.00 | 12109824.00 | 30.00 | 11352960.00 | 11352960.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
34.00 | Engine Fuel Consumption for 2nd year | 12.00 | NOS |  | 30.00 | 11352960.00 | 32.00 | 12109824.00 | 30.00 | 11352960.00 | 11352960.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
35.00 | Engine Fuel Consumption for 3rd year | 12.00 | NOS |  | 30.00 | 11352960.00 | 32.00 | 12109824.00 | 30.00 | 11352960.00 | 11352960.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
36.00 | Engine Fuel Consumption for 4th year | 12.00 | NOS |  | 30.00 | 11352960.00 | 32.00 | 12109824.00 | 30.00 | 11352960.00 | 11352960.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
37.00 | Engine Fuel Consumption for 5th year | 12.00 | NOS |  | 30.00 | 11352960.00 | 32.00 | 12109824.00 | 30.00 | 11352960.00 | 11352960.00 | TULIP COMPRESSION PRIVATE LIMITED, ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV
38.00 | Net Present Value (NPV) of Annual Operation, Comprehensive Maintenance, Gas Loss & Engine Fuel Consumption including GST for five years based on NPV CALCULATION
39.00 | Notes: i) GAIL's GA locations are Varanasi, Patna, Ranchi, Jamshedpur, Cuttack, and Bhubaneswar. The location wise quantities may vary considering project requirement. ii) The actual delivery location will be mentioned at the time of the released order (RO)/P.O. However, GA locations-wise tentative quantity distribution for 1200 SCMH Compressors are furnished in MR (Vol-II of II), for reference only. The same may change at the time of released order (RO). iii) Amount towards transportation shall be payable based on quantities actually transported to various locations/GA’s and the rate quoted. iv) Considering large size of GAs, as per requirement, supplies shall be made to designated sites/ stores which may be located anywhere within the GA. Exact location of stores shall be intimated prior to dispatch of material. The bidder is advised to quote single freight charges for each item per km, irrespective of number of designated locations of storage yard. iv) Inspection shall be carried out by Owner or its authorized consultant/ TPI. v) Inlet piping shall be of class 300# (filter, inlet valve and 3-way valve). vi) Maximum limit to quote charges for Repair & Comprehensive Maintenance for 1 Machine Months shall be 1.5% of unit Ex-works price of Sr. No. 2, failing which will be liable for rejection of bid. vii) For SOR Sr. No. 09, Bidder to ensure the minimum wages of Semi-skilled labour/worker for construction industries per day (in Rupees) of respective state/ Central (whichever is higher). viii) Deployment of Bidder personal/Resources for Operation will be as per the direction of Engineer In Charge/GAIL representative/GA in-charge with prior information of minimum one month. In case of installation of 2 nos compressors at a particular CNG Station/Mother station i.e. in same premises, EIC may ask the supplier/Bidder to deploy one personnel for operations of both compressors and payment will be done for one personnel/Resource only. ix) The rate mentioned for items in Sl. No. 10 to 14 shall be for a 3-shift per day duty. If, in any case, the EIC decides to operate the annual operation in 2 shifts per day as per site conditions, the billed amount shall be charged on a pro-rata basis.
40.00 | Total Price for Supply, Installation/Erection, Testing, Commissioning, Inland Transportation (for 1500 Km) including charges for OPERATIONS & COMPREHENSIVE MAINTENANCE for 5 years (inclusive of taxes) based on quoted price (without NPV calculation) is given in Cell BE52 and corresponding GST amount in BD52.. Note: Total Evaluated Bid Value (EBV) (inclusive of taxes) as per tender condition i.e., based on NPV calculations for cost heads (wherever applicable, as per tender) is given at row below in Cell BB53. However, detailed Evaluation Methodology is given in Section - II (Volume I of II of the tender document). Tender shall be evaluated accordingly.
| Total in Figures |  |  |  |  | 112856512.79 |  | 120863170.72 |  | 114393513.18
Lowest Amount Quoted BY: ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV(112856512.79)

## BOQ Summary
BOQ Summary Details Tender Title: PROCUREMENT OF 1200 SCMH GAS ENGINE DRIVEN CNG COMPRESSORS (12 MONTHS ARC) FOR CGD PROJECT AT SIX GEOGRAPHICAL AREAS (GAs) Tender ID: 2024_GAIL_215369_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ATLAS COPCO INDIA LTD, CHICAGO PNEUMATIC COMPRESSOR DIV (BID ID -807422) | 112856512.79 | L1
| 2 | TULIP COMPRESSION PRIVATE LIMITED (BID ID -803173) | 114393513.18 | L2
| 3 | Kirloskar Pneumatic Company Limited (BID ID -792603) | 120863170.72 | L3