## BoQ1
Government eProcurement System Created By: Bharti . Created Date/Time: 02-Feb-2024 03:21 PM Tender Title: NCRTC/Ventilation System/LT/116 Tender ID: 2024_IRCON_182696_1
Tender Inviting Authority: CHIEF GENERAL MANAGER/ELECTRICAL
Name of Work: Design, Supply, Erection, Testing & Commissioning of Ventilation and Air Conditioning System for Shatabdi Nagar, Modipuram and Sarai Kale Khan RSS in connection with Delhi – Ghaziabad – Meerut RRTS Corridor of NCRTC (Package-19 Lot-1 & Lot-2)
Contract No: IRCON/ELECT/5037-5038/NCRTC/Ventilation System/LT/116
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Utility Services(GSTN-06AABFU8051C1ZG) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Bliss Refrigeration Pvt. Ltd.(GSTN-07AAECB0249F1Z2) |  | manas aircon(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Air Conditioning System
2.00 | Supply of VRV/VRF modular type Air Conditioning System of Make Daikin/Hitachi/As approved, suitable for cooling/heating by Inverter driven capacity control compressor complete with indoor and outdoor units with individual controller with fittings etc, as per quantity given below i/c full charging of R-410 A refrigerant gas complete with duly powder coated and outdoor unit.
2.01 | Outdoor unit - 6 HP | 10.00 | Nos. | 100.00 | 115500.00 | 1226610.00 | 200000.00 | 2124000.00 | 140219.00 | 1489125.78 | 155000.00 | 1646100.00 | 1226610.00 | Utility Services
2.02 | Indoor Unit-CRP Room- 2.56 TR roof mounted Round flow Cassette AC with cordless remote | 1500.00 | Nos. | 10.00 | 31500.00 | 223020.00 | 45000.00 | 318600.00 | 34638.00 | 245237.04 | 47000.00 | 332760.00 | 223020.00 | Utility Services
2.03 | Indoor Unit-Control Room- 2.56 TR Roof mounted Round flow Cassette AC with Cordless remote | 12.00 | Nos. | 10.00 | 31500.00 | 223020.00 | 45000.00 | 318600.00 | 34638.00 | 245237.04 | 47000.00 | 332760.00 | 223020.00 | Utility Services
2.04 | Indoor Unit-Office Meeting Room - 2.56 TR Roof mounted Round Flow Cassette AC with Cordless remote | 1.00 | Nos. | 10.00 | 31500.00 | 223020.00 | 45000.00 | 318600.00 | 34638.00 | 245237.04 | 47000.00 | 332760.00 | 223020.00 | Utility Services
3.00 | Remote Controller
3.01 | Cordless Remote Control for indoor units (Receiver + Handset) | 1.00 | Nos. | 10.00 | 2625.00 | 55755.00 | 3000.00 | 63720.00 | 3422.00 | 72683.28 | 2000.00 | 42480.00 | 42480.00 | manas aircon
3.02 | I-touch Controller | 1.00 | Nos. | 10.00 | 18900.00 | 66906.00 | 30000.00 | 106200.00 | 76507.00 | 270834.78 | 5000.00 | 17700.00 | 17700.00 | manas aircon
4.00 | Refrigerant 'Y' joint required for distribution of refrigerant in copper piping etc complete as per specification | 1.00 | Nos. | 10.00 | 2310.00 | 24532.20 | 3000.00 | 31860.00 | 3091.00 | 32826.42 | 6000.00 | 63720.00 | 24532.20 | Utility Services
5.00 | Supply of Ventilation System
5.01 | 13800 CFM AHU 70 mm SP (1W+1S) for GIS Hall | 1.00 | Nos. | 10.00 | 181102.00 | 1282202.16 | 500000.00 | 3540000.00 | 378782.00 | 2681776.56 | 396000.00 | 2803680.00 | 1282202.16 | Utility Services
5.02 | Supply Air Tube Axial Fan 5000 CFM 35 mm SP with cowl and Bird Screen for AMS Room | 1.00 | Nos. | 10.00 | 49021.00 | 173534.34 | 60000.00 | 212400.00 | 43641.00 | 154489.14 | 55000.00 | 194700.00 | 154489.14 | Bliss Refrigeration Pvt. Ltd.
5.03 | Exhaust Air Tube Axial Fan 1500 CFM 5 mm SP with Cowl and Bird Screen for AMS Room | 1.00 | Nos. | 10.00 | 35674.00 | 126285.96 | 50000.00 | 177000.00 | 30664.00 | 108550.56 | 40000.00 | 141600.00 | 108550.56 | Bliss Refrigeration Pvt. Ltd.
5.04 | Supply Air Tube Axial Fan 7600 CFM 40 mm SP with Pre Filter and Freash Air Louver for Cellar Room | 1.00 | Nos. | 10.00 | 64302.00 | 227629.08 | 80000.00 | 283200.00 | 54387.00 | 192529.98 | 70000.00 | 247800.00 | 192529.98 | Bliss Refrigeration Pvt. Ltd.
5.05 | Exhaust Air Tube Axial Fan of 1500 CFM 15 mm SP with Cowl and Bird Screen for Battery Room | 1.00 | Nos. | 10.00 | 31788.00 | 112529.52 | 50000.00 | 177000.00 | 30664.00 | 108550.56 | 40000.00 | 141600.00 | 108550.56 | Bliss Refrigeration Pvt. Ltd.
5.06 | Exhaust Air Propeller fan with gravity louver 500 CFM for toilets | 1.00 | Nos. | 10.00 | 11412.00 | 80796.96 | 10000.00 | 70800.00 | 10879.00 | 77023.32 | 5000.00 | 35400.00 | 35400.00 | manas aircon
6.00 | Supply of Ducting and Grill
6.01 | Ducting GI Sheet | 1.00 | Sqm | 10.00 | 744.00 | 790128.00 | 750.00 | 796500.00 | 1025.00 | 1088550.00 | 1600.00 | 1699200.00 | 790128.00 | Utility Services
6.02 | Supply Air Grills | 1.00 | Sqm | 10.00 | 3985.00 | 211603.50 | 5000.00 | 265500.00 | 11700.00 | 621270.00 | 6000.00 | 318600.00 | 211603.50 | Utility Services
6.03 | Exaust Air Louver with Automatic Sensor for GIS | 1.00 | Nos | 10.00 | 5579.00 | 39499.32 | 5000.00 | 35400.00 | 35750.00 | 253110.00 | 16500.00 | 116820.00 | 35400.00 | VOLKS ENERGIE PVT LTD
6.04 | Fresh Air Louver for Cellar Room | 1.00 | Nos | 10.00 | 5579.00 | 39499.32 | 5000.00 | 35400.00 | 12805.00 | 90659.40 | 10000.00 | 70800.00 | 35400.00 | VOLKS ENERGIE PVT LTD
6.05 | Exhaust Air Gravity Louver for Cellar Room | 1.00 | Nos | 10.00 | 5579.00 | 39499.32 | 5000.00 | 35400.00 | 7800.00 | 55224.00 | 10000.00 | 70800.00 | 35400.00 | VOLKS ENERGIE PVT LTD
6.06 | Canvas Connection | 1.00 | mtr | 10.00 | 1860.00 | 131688.00 | 1000.00 | 70800.00 | 1500.00 | 106200.00 | 2000.00 | 141600.00 | 70800.00 | VOLKS ENERGIE PVT LTD
7.00 | Installation, Testing and Commissioning
7.01 | Installation, Testing & Commissioning of VRV/VRF Type Air Conditioning System of Make Daikin/Hitachi/As approved, complete including following: (i) Premium Class Copper refrigerant piping with insulation (ii) Communication cable between IDU & ODU (iii) Power Cable between Outdoor & Indoor Unit (iv) PVC Drain pipe with Nitrile Insulation (v) ELCB & MCB 3 Phase with TPN Box for ODU (vi) MCB 1-Phase for IDU (vii) ODU Stand (viii) Anti Corrosion coating with ODUs (ix) Transportation, Loading/Unloading, shifting of all VRV AC material at site. (x) Nitrogen Reprocessing and Vacumising of all units (xi) Installation, Testing and commissioning of AC Units with all accessories (xii) Topping of Refrigeration in VRV systems. (xiii) Hot dip galvanised Perforated cable trays (xiv) Minor Civil works- wall chiselling & making holes and makeup in good conditions (xv) Any other activity not mentioned but required for completion of work. | 1.00 | Lot | 10.00 | 682012.00 | 2414322.48 | 550000.00 | 1947000.00 | 374710.00 | 1326473.40 | 650000.00 | 2301000.00 | 1326473.40 | Bliss Refrigeration Pvt. Ltd.
7.02 | Fixing of Ventilation System (AHU, Ducting, Ventilation Fans and accessories) | 1.00 | Lot | 10.00 | 253306.00 | 896703.24 | 200000.00 | 708000.00 | 156516.00 | 554066.64 | 400000.00 | 1416000.00 | 554066.64 | Bliss Refrigeration Pvt. Ltd.
| Total in Figures |  |  |  |  | 8608784.40 |  | 11635980.00 |  | 10019654.94 |  | 12467880.00
Lowest Amount Quoted BY: Utility Services(8608784.40)

## BOQ Summary
BOQ Summary Details Tender Title: NCRTC/Ventilation System/LT/116 Tender ID: 2024_IRCON_182696_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Utility Services | 8608784.40 | L1
| 2 | Bliss Refrigeration Pvt. Ltd. | 10019654.94 | L2
| 3 | VOLKS ENERGIE PVT LTD | 11635980.00 | L3
| 4 | manas aircon | 12467880.00 | L4