## BoQ1
Government eProcurement System Created By: Jayakrishnan C Created Date/Time: 06-Aug-2024 04:46 PM Tender Title: IRCON/ELECT/BD/2X25 KV/EOI/2024 Tender ID: 2024_IRCON_202367_1
Tender Inviting Authority: CGM/Electrical, IRCON International Limited
Name of Work: Expression of Interest (EOI) from Willing Vendors for Pre-Bid tie up with IRCON for the following upcoming work of 220/132 KV Traction Substation, Sectioning post (SPs), and Sub sectioning post (SSPs) in 2x25KV System for Indian Railways.
Contract No: IRCON/ELECT/BD/2X25 KV/EOI/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | CONCORD CONTROL SYSTEMS LIMITED(GSTN-NA)--728663 |  | VANS ELECTROENGINEERINGS PVT. LTD.(GSTN-NA)--727112 |  | Synergy Systems and Solutions(GSTN-NA)--729089 |  | HIGH VOLT ELECTRICALS PVT. LTD.(GSTN-NA)--728442 |  | Vishvas Power Engineering Services Pvt Ltd(GSTN-NA)--727715
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Item Description
1.01 | 60/84/100MVA, 132kV/2X55kV Scott Connected Traction Power Transformer | 6.00 | Nos | Item 01 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.02 | 60/84/100MVA, 220kV/2X55kV Scott Connected Traction Power Transformer | 2.00 | Nos | Item 02 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.03 | 38/53/63MVA,132kV/2X27.5kV Single Phase Dual LV Winding Traction Power Transformer | 24.00 | Nos | Item 03 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 1127136000.00 | 1127136000.00 | 1127136000.00 | Vishvas Power Engineering Services Pvt Ltd | 1127136000.00 | Vishvas Power Engineering Services Pvt Ltd
1.04 | 8 MVA, 55/27.5 kV Auto Transformer | 36.00 | Nos | Item 04 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 333468000.00 | 333468000.00 | 333468000.00 | Vishvas Power Engineering Services Pvt Ltd | 333468000.00 | Vishvas Power Engineering Services Pvt Ltd
1.05 | 12.3 MVA, 55/27.5 kV Auto Transformer | 16.00 | Nos | Item 05 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 131200000.00 | 131200000.00 | 178416000.00 | 178416000.00 | 131200000.00 | HIGH VOLT ELECTRICALS PVT. LTD. | 131200000.00 | HIGH VOLT ELECTRICALS PVT. LTD.
1.06 | 16.5 MVA, 55/27.5 kV Auto Transformer | 107.00 | Nos | Item 06 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 1369921000.00 | 1369921000.00 | 1369921000.00 | Vishvas Power Engineering Services Pvt Ltd | 1369921000.00 | Vishvas Power Engineering Services Pvt Ltd
1.07 | 220KV SF6 Circuit Breaker (3 POLE) | 2.00 | Nos | Item 07 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.08 | 132KV SF6 Circuit Breaker (3 POLE) | 6.00 | Nos | Item 08 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.09 | 132KV SF6 Circuit Breaker (2 POLE) | 24.00 | Nos | Item 09 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.10 | 50 kV Double pole SF6 Circuit Breaker (2000A) | 74.00 | Nos | Item 10 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.11 | 25 kV Double Pole Vacuum Circuit Breaker | 235.00 | Nos | Item 11 | Not Quoted | Not Quoted | 216294000.00 | 216294000.00 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.12 | 25 kV Double Pole Interrupter | 382.00 | Nos | Item 12 | Not Quoted | Not Quoted | 351592800.00 | 351592800.00 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.13 | 25 kV Single Pole Interrupter | 32.00 | Nos | Item 13 | Not Quoted | Not Quoted | 14160000.00 | 14160000.00 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.14 | Steel-Fabricated and Galvanized Steel Structure | 2658.00 | MT | Item 14 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.15 | Control and Relay Panel Including Numerical type protection relays for Scott-connected Traction Transformers, OHE protection, 55 kV AT Protection & Shunt Capacitor Bank Protection for 2x25 kV Traction Sub-station, Sectioning and Paralleling Post, Sub-Sectioning & Paralleling Post and Auto Transformer Post of 2X25 KV PSI Works for Pachora-Badnera Sections of Central Railway | 1.00 | LS | Item 15 | 27895200.00 | 27895200.00 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.16 | Control and Relay Panel Including Numerical type protection relays for V-Connected Single-Phase Traction Transformers, OHE protection, 55 kV AT Protection & Shunt Capacitor Bank Protection for 2x25 kV Traction Sub-station, Sectioning and Paralleling Post, Sub-Sectioning & Paralleling Post and Auto Transformer Post of 2X25 KV PSI Works for Mathura-Dholpur-Antari-Bina Section of North Central Railway | 1.00 | LS | Item 16 | 23647200.00 | 23647200.00 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
1.17 | Supervisory Control and Data Acquisition System for 25kV and 2x25 kV Single Phase 50Hz ac Traction Power Supply as per Tender Doc. of 2X25 KV PSI Works for Mathura-Dholpur-Antari-Bina Section of North Central Railway | 1.00 | LS | Item 17 | Not Quoted | Not Quoted | Not Quoted | Not Quoted | 163985719.50 | 163985719.50 | Not Quoted | Not Quoted | 0.00 | 0.00 | 0.00 | Vishvas Power Engineering Services Pvt Ltd | 0.00 | Vishvas Power Engineering Services Pvt Ltd
| Total in Figures |  |  |  | 51542400.00 | 51542400.00 | 582046800.00 | 582046800.00 | 163985719.50 | 163985719.50 | 131200000.00 | 131200000.00 | 3008941000.00 | 3008941000.00

## BOQ Summary
BOQ Summary Details Tender Title: IRCON/ELECT/BD/2X25 KV/EOI/2024 Tender ID: 2024_IRCON_202367_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CONCORD CONTROL SYSTEMS LIMITED | 51542400.00 | L1
| 2 | HIGH VOLT ELECTRICALS PVT. LTD. | 131200000.00 | L2
| 3 | Synergy Systems and Solutions | 163985719.50 | L3
| 4 | VANS ELECTROENGINEERINGS PVT. LTD. | 582046800.00 | L4
| 5 | Vishvas Power Engineering Services Pvt Ltd | 3008941000.00 | L5