## BoQ1
eProcurement System Government of India Created By: Khalid Saifullah Created Date/Time: 27-Jun-2024 03:44 PM Tender Title: Tender for Supply, Installation and Repairing of Fire Hydrant System at IWAI Pandu Port Complex, Guwahati Tender ID: 2024_IWAI_808731_1
Tender Inviting Authority: INLAND WATERWAYS AUTHORITY OF INDIA
Name of Work: Supply, Installation & Repairing of Fire Hydrant System at IWAI, Guwahati
Contract No: IWAI/GHY/3(13)/PP/FHS/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHIVAM HOUSE OF ENTERPRISE (GSTN-18ADPFS6798D1Z9) BID ID -3027642 |  | PULAKESH DUTTA(GSTN-NA)--3027681
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fire Hydrant system with all accessories
1.01 | Providing Single headed hydrant valve as per IS-5290 with 80mm dia hydrant painting underground protection, complete with including rubber gaskets, nuts, bolts, washers etc (Brand:Agni/Newage/Axis Fire Protection ) | 25.00 | nos | 6200.00 | 3800.00 | 95000.00 | 5580.00 | 139500.00 | 95000.00 | SHIVAM HOUSE OF ENTERPRISE
1.02 | Providing and fixing in position MS hose box 16 gauge MS hose box for canvas hose with locking arrangement complete including applying 2 coats of enamel paint of approved shade(Post office red) over a coat of primer (Brand:Agni/Newage/ KK Industries ) | 25.00 | nos | 6500.00 | 1900.00 | 47500.00 | 5850.00 | 146250.00 | 47500.00 | SHIVAM HOUSE OF ENTERPRISE
1.03 | Supplying branch pipe with nozzle as per IS 903 complete as specified. (Brand:Agni/Newage/Sainath Fire ) | 25.00 | nos | 2200.00 | 2000.00 | 50000.00 | 1980.00 | 49500.00 | 49500.00 | PULAKESH DUTTA
1.04 | Providing of CI double flanged Wafer type butterfly Valve of approved make end and tested to 15 kg/sq cm CI body and working parts companion flanges and rubber gasket packing, bolts, nuts, washers, etc (PM 20) 150mm.(Brand: Agni/ Newage/Supra Enterprise/ A S Trading ) | 2.00 | nos | 12500.00 | 6800.00 | 13600.00 | 11250.00 | 22500.00 | 13600.00 | SHIVAM HOUSE OF ENTERPRISE
1.05 | Providing fire Services inlet connection fabricated from G.I. Pipe with 2 nos. 63mm.dia.SS male hydrant connection for the wet riser (Brand:Agni/Newage ) | 4.00 | nos | 6200.00 | 3500.00 | 14000.00 | 5580.00 | 22320.00 | 14000.00 | SHIVAM HOUSE OF ENTERPRISE
1.06 | Diesel Pump Service (Oil filter, Air Filter, Engine Oil and Service Charges) | 1.00 | job | 32000.00 | 35000.00 | 35000.00 | 28800.00 | 28800.00 | 28800.00 | PULAKESH DUTTA
1.07 | Repairing, Fabrication & Design of MS Pipe for hydrant system& Fire Pump. (Brand: Agni/Newage) | 1.00 | job | 250000.00 | 50000.00 | 50000.00 | 225000.00 | 225000.00 | 50000.00 | SHIVAM HOUSE OF ENTERPRISE
1.08 | Modular Type Fire extinguisher (Brand: A-Hunt/Newage/Usha Fire safety equipments Pvt. Ltd/safex fire Services Ltd/ ABC fire INDIA) | 10.00 | nos | 4200.00 | 1600.00 | 16000.00 | 3780.00 | 37800.00 | 16000.00 | SHIVAM HOUSE OF ENTERPRISE
1.09 | Water and Foam Monitor (Brand: A-Hunt/Newage/ Sainath Fire/ Axis fire protection/Shiva Trading Coorparation) | 2.00 | nos | 32500.00 | 7500.00 | 15000.00 | 29250.00 | 58500.00 | 15000.00 | SHIVAM HOUSE OF ENTERPRISE
1.10 | International Share connection (Brand: A-Hunt/Newage )) | 2.00 | nos | 12200.00 | 5000.00 | 10000.00 | 10980.00 | 21960.00 | 10000.00 | SHIVAM HOUSE OF ENTERPRISE
1.11 | Fire Detector (Brand: A-Hunt/Siemens/Honeywell/Bosch) | 120.00 | nos | 1450.00 | 1140.00 | 136800.00 | 1305.00 | 156600.00 | 136800.00 | SHIVAM HOUSE OF ENTERPRISE
1.12 | Fire Panel (Brand: A-Hunt /Apollo/ Firelay) | 2.00 | nos | 12500.00 | 22000.00 | 44000.00 | 11250.00 | 22500.00 | 22500.00 | PULAKESH DUTTA
1.13 | AMC Charges to be quote by the bidder and if requires the separate work order shall be issued to the agency after expire of Defect Liability Period (DLP) of 12 months from date of completion of entire work as per specification in all respect. During AMC period spare parts required for Fire Hydrant System will be provided by IWAI. | 1.00 | job | 0.00 | 100000.00 | 100000.00 | 250000.00 | 250000.00 | 100000.00 | SHIVAM HOUSE OF ENTERPRISE
| Total in Figures |  |  |  |  | 626900.00 |  | 1181230.00
Lowest Amount Quoted BY: SHIVAM HOUSE OF ENTERPRISE(626900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Tender for Supply, Installation and Repairing of Fire Hydrant System at IWAI Pandu Port Complex, Guwahati Tender ID: 2024_IWAI_808731_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHIVAM HOUSE OF ENTERPRISE | 626900.00 | L1
| 2 | PULAKESH DUTTA | 1181230.00 | L2