## BoQ1
eProcurement System Government of India Created By: Vinay Kumar Created Date/Time: 24-Jul-2024 10:58 AM Tender Title: Annual Afloat repair of Anchor Pontoon VII in Assam (NW-2) for the year 2024-25 Tender ID: 2024_IWAI_815370_2
Tender Inviting Authority: Inland Waterways Authority of India
Name of Work: Annual Afloat repair of Anchor Pontoon VII for the year 2024-25
Contract No: IWAI/GHY/Anchor Pontoon/4(77)/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Das Consultancy And Agency Services (GSTN-18AAGFD9481L1ZS) BID ID -3050148 |  | GHOSH ENTERPRISE (GSTN-19ADOPG8500A1ZT) BID ID -3053708 |  | Maa Vindhyawasni Enterprises(GSTN-NA)--3049292
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Silencer of diesel generator was damaged, the same has to be restored. B-check of engine, Power - 10 HP; to be carried out as required as per direction of EIC/Surveyor.
1.01 | Labour charges | 1.00 | No. |  | 49000.00 | 49000.00 | 50000.00 | 50000.00 | 20000.00 | 20000.00 | 20000.00 | Maa Vindhyawasni Enterprises
1.02 | Cost of spares/material ( Actual bill/invoice + 10%)
2.00 | The alternator Make : Kirloskar, 7.5 KVA has to be serviced with exciter & AVR check, heat varnishing, megger testing and insulation checking as required as per direction of EIC/ Surveyor.
2.01 | Labour charges | 1.00 | No. |  | 25806.00 | 25806.00 | 35000.00 | 35000.00 | 25000.00 | 25000.00 | 25000.00 | Maa Vindhyawasni Enterprises
2.02 | Cost of spares/material ( Actual bill/invoice + 10%)
3.00 | Installation of reputed make cover at genset, alternator, winch motor, winch box and panel board(2) as required as per direction of EIC/surveyor.
3.01 | Labour charges | 1.00 | Comp. Job |  | 1000.00 | 1000.00 | 35000.00 | 35000.00 | 12000.00 | 12000.00 | 1000.00 | Das Consultancy And Agency Services
3.02 | Cost of spares ( Actual bill/invoice + 10%)
4.00 | Entire line and wiring of both panel boards including MCB, indicator light, meter, lever and switches are to be checked and rectified. Both panel board was rusted, bend and poor lock system, the same has to be rectified and paint has to made in & out as required as per direction of EIC.
4.01 | Labour charges | 1.00 | Comp. Job |  | 30340.00 | 30340.00 | 40000.00 | 40000.00 | 20000.00 | 20000.00 | 20000.00 | Maa Vindhyawasni Enterprises
4.02 | Cost of spares ( Actual bill/invoice + 10%)
5.00 | 2 nos. air vent was damaged, the same has to be renewed. Reverse U clamps to be welded in stbd & port side. Necessary arrangement for fitment of 50 HP OBM at the aft side of pontoon and a non skiddy platform for the operator for standing and operating the OBM (The complete arrangement are attached with hinges and removable when required) including materials and welding work as per direction of EIC. | 1.00 | Comp. Job |  | 49500.00 | 49500.00 | 40000.00 | 40000.00 | 85000.00 | 85000.00 | 40000.00 | GHOSH ENTERPRISE
6.00 | Servicing of winch system including gearbox and motor as required as per direction of EIC.
6.01 | Labour charges | 1.00 | Comp. Job |  | 29000.00 | 29000.00 | 45000.00 | 45000.00 | 35000.00 | 35000.00 | 29000.00 | Das Consultancy And Agency Services
6.02 | Cost of spares ( Actual bill/invoice + 10%)
| Total in Figures |  |  |  |  | 184646.00 |  | 245000.00 |  | 197000.00
Lowest Amount Quoted BY: Das Consultancy And Agency Services(184646.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Afloat repair of Anchor Pontoon VII in Assam (NW-2) for the year 2024-25 Tender ID: 2024_IWAI_815370_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Das Consultancy And Agency Services | 184646.00 | L1
| 2 | Maa Vindhyawasni Enterprises | 197000.00 | L2
| 3 | GHOSH ENTERPRISE | 245000.00 | L3