## BoQ1
eProcurement System Government of India Created By: Ranjita Rani Singha Created Date/Time: 21-Feb-2025 05:25 PM Tender Title: Construction of Inspection Bunglow cum Conference Hall (G Plus 1) at Mangaldai Bypass under contingency provision of Job no-15/AS/2021-22/234 under PWD Rangia NH Division Rangia in the state of Assam Tender ID: 2024_MoRTH_841771_1
Tender Inviting Authority: O/O The Chief Engineer PWD (NH Works), Chandmari Guwahati-3
Name of Work: Construction of Inspection Bunglow cum Conference Hall (G+1) at Mangaldai Bypass under contingency provision of Job no-15/AS/2021-22/234 under PWD Rangia NH Division Rangia in the state of Assam
Contract No: Job no-15/AS/2021-22/234
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABDUR REKIB (GSTN-NA) BID ID -3156845
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Item No.1: (2.6.1) Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. | 117.60 | Cum | 0.00 | 180.00 | 21168.00 | 21168.00 | ABDUR REKIB
2.00 | Item No 2- (6.12.1) Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 163.09 | Sqm | 0.00 | 754.07 | 122977.82 | 122977.82 | ABDUR REKIB
3.00 | Item No 3- (2.27) Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 55.59 | Cum | 0.00 | 1945.08 | 108127.00 | 108127.00 | ABDUR REKIB
4.00 | Item No 4- (4.1.3) Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.05 | Cum | 0.00 | 6628.63 | 33501.12 | 33501.12 | ABDUR REKIB
5.00 | Item No 5- (4.20.1.4) Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | 18.60 | Cum | 0.00 | 7548.43 | 140421.27 | 140421.27 | ABDUR REKIB
6.00 | Item No 6- (4.20.2.4) Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | 23.48 | Cum | 0.00 | 9008.55 | 211547.33 | 211547.33 | ABDUR REKIB
7.00 | Item No 7- (5.9) FORM WORK Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 54.32 | Sqm | 0.00 | 277.15 | 15055.06 | 15055.06 | ABDUR REKIB
8.00 | Item No 7.02 (5.9.5)Lintels, beams, plinth beams, girders, bressumers and cantilevers | 153.82 | Sqm | 0.00 | 547.51 | 84219.30 | 84219.30 | ABDUR REKIB
9.00 | Item No 7.03 (5.9.6)Columns, Pillars, Piers, Abutments, Posts and Struts | 64.68 | Sqm | 0.00 | 723.83 | 46817.00 | 46817.00 | ABDUR REKIB
10.00 | Item No 7.04 (5.9.3)Suspended floors, roofs, landings, balconies and access platform | 65.43 | Sqm | 0.00 | 689.89 | 45139.83 | 45139.83 | ABDUR REKIB
11.00 | Item No 8- (5.22.6) Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. b) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6147.63 | Kg | 0.00 | 80.69 | 496021.45 | 496021.45 | ABDUR REKIB
12.00 | Item No 9: (4.10) Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 20.14 | Sqm | 0.00 | 333.77 | 6721.03 | 6721.03 | ABDUR REKIB
13.00 | Item No 10- (6.1.1) Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.82 | Cum | 0.00 | 6193.80 | 36021.28 | 36021.28 | ABDUR REKIB
14.00 | Item No 11- (6.4.1) Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 20.26 | Cum | 0.00 | 7660.89 | 155196.61 | 155196.61 | ABDUR REKIB
15.00 | Item No 12- (11.5) 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 113.03 | Sqm | 0.00 | 835.78 | 94469.61 | 94469.61 | ABDUR REKIB
16.00 | Item No 13- (13.12) 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. | 524.48 | Sqm | 0.00 | 415.67 | 218006.32 | 218006.32 | ABDUR REKIB
17.00 | Item No 14: (11.41A.3.5) Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed vitrified floor tiles polished finish of size, Size of Tile 600 x 600 mm | 95.83 | Sqm | 0.00 | 1223.28 | 117228.15 | 117228.15 | ABDUR REKIB
18.00 | Item No 15: (8.31) Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 43.81 | Sqm | 0.00 | 957.11 | 41932.68 | 41932.68 | ABDUR REKIB
19.00 | Item No 16: (11.56.1) Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 14.50 | Sqm | 0.00 | 3517.92 | 51016.88 | 51016.88 | ABDUR REKIB
20.00 | Item No 17: (21.1.1.2) Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminum (minimum thickness of powder coating 50 micron) | 217.62 | Kg | 0.00 | 419.67 | 91328.59 | 91328.59 | ABDUR REKIB
21.00 | Item No 18: (21.3.2) Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 18.14 | Sqm | 0.00 | 1192.99 | 21634.96 | 21634.96 | ABDUR REKIB
22.00 | Item No 19: (4.17) Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation,levelling & dressing & finishing the top smooth. | 20.10 | Sqm | 0.00 | 613.49 | 12329.21 | 12329.21 | ABDUR REKIB
23.00 | Item No 20- (9.1.1) Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | .27 | Cum | 0.00 | 118419.26 | 32372.86 | 32372.86 | ABDUR REKIB
24.00 | Item No 21: (9.6.3) Providing and fixing 35 mm thick factory made laminated veneer lumber door shutter conforming to IS : 14616 and TADS 15:2001 (Part B), fixing with butt hinges of required size with necessary screws, all complete as per directions of Engineer- in-charge and panelling with panels of : (Note:- Butt hinges and necessary screws shall be paid separately) | 14.80 | Sqm | 0.00 | 2763.05 | 40906.88 | 40906.88 | ABDUR REKIB
25.00 | Item No 1- (4.20.2.4) Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth and upto floor V level Concrete of M20 grade with minimum cement content of 270 kg /cum | 27.49 | Cum | 0.00 | 9008.55 | 247665.31 | 247665.31 | ABDUR REKIB
26.00 | Item No 2- (5.9) FORM WORK Centering and shuttering including strutting, propping etc. and removal of form for Item No 2.01 (5.9.5)Lintels, beams, plinth beams, girders, bressumers and cantilevers | 95.98 | Sqm | 0.00 | 547.51 | 52549.39 | 52549.39 | ABDUR REKIB
27.00 | Item No 2.02 (5.9.6)Columns, Pillars, Piers, Abutments, Posts and Struts | 64.68 | Sqm | 0.00 | 723.83 | 46817.00 | 46817.00 | ABDUR REKIB
28.00 | Item No 2.03 (5.9.3)Suspended floors, roofs, landings, balconies and access platform | 97.18 | Sqm | 0.00 | 689.89 | 67046.34 | 67046.34 | ABDUR REKIB
29.00 | Item No 3- (5.22.6) Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. b) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4431.30 | Kg | 0.00 | 80.69 | 357539.16 | 357539.16 | ABDUR REKIB
30.00 | Item No 4- (6.4.1) Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 25.30 | Cum | 0.00 | 7660.89 | 193834.40 | 193834.40 | ABDUR REKIB
31.00 | Item No 5- (13.12) 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. | 705.15 | Sqm | 0.00 | 415.67 | 293106.17 | 293106.17 | ABDUR REKIB
32.00 | Item No 6: (11.41A.3.5) Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed vitrified floor tiles polished finish of size Size of Tile 600 x 600 mm | 101.91 | Sqm | 0.00 | 1223.28 | 124668.13 | 124668.13 | ABDUR REKIB
33.00 | Item No 7: (8.31) Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 70.14 | Sqm | 0.00 | 957.11 | 67128.47 | 67128.47 | ABDUR REKIB
34.00 | Item No 8: (11.56.1) Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 14.88 | Sqm | 0.00 | 3517.92 | 52346.65 | 52346.65 | ABDUR REKIB
35.00 | Item No 9: (21.1.1.2) Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminum (minimum thickness of powder coating 50 micron) | 224.10 | Kg | 0.00 | 419.67 | 94048.05 | 94048.05 | ABDUR REKIB
36.00 | Item No 10: (21.3.2) Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 18.68 | Sqm | 0.00 | 1192.99 | 22279.18 | 22279.18 | ABDUR REKIB
37.00 | Item No 11- (9.1.1) Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | .35 | Cum | 0.00 | 118419.26 | 41431.94 | 41431.94 | ABDUR REKIB
38.00 | Item No 12: (9.6.3) Providing and fixing 35 mm thick factory made laminated veneer lumber door shutter conforming to IS : 14616 and TADS 15:2001 (Part B), fixing with butt hinges of required size with necessary screws, all complete as per directions of Engineer- in-charge and panelling with panels of : (Note:- Butt hinges and necessary screws shall be paid separately) | 18.59 | Sqm | 0.00 | 2763.05 | 51351.19 | 51351.19 | ABDUR REKIB
39.00 | Item No.1: (2.6.1) Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. | 36.45 | Cum | 0.00 | 184.90 | 6739.79 | 6739.79 | ABDUR REKIB
40.00 | Item No 2- (6.12.1) Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 7.60 | Sqm | 0.00 | 754.07 | 5730.89 | 5730.89 | ABDUR REKIB
41.00 | Item No 3- (4.1.3) Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | .65 | Cum | 0.00 | 6628.63 | 4295.36 | 4295.36 | ABDUR REKIB
42.00 | Item No 4- (4.20.1.3) Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. Concrete of M20 grade with minimum cement content of 270 kg /cum | 2.09 | Cum | 0.00 | 7739.55 | 16183.40 | 16183.40 | ABDUR REKIB
43.00 | Item No 5- (5.9) FORM WORK Centering and shuttering including strutting, propping etc. and removal of form for Item No 5.01 (5.9.1)Foundations, footings, bases of columns, etc. for mass concrete | 1.62 | Sqm | 0.00 | 277.15 | 448.99 | 448.99 | ABDUR REKIB
44.00 | Item No 5.02 (5.9.6)Columns, Pillars, Piers, Abutments, Posts and Struts | 8.40 | Sqm | 0.00 | 723.83 | 6080.13 | 6080.13 | ABDUR REKIB
45.00 | Item No 5.03 (5.9.3)Suspended floors, roofs, landings, balconies and access platform | 8.73 | Sqm | 0.00 | 689.89 | 6022.78 | 6022.78 | ABDUR REKIB
46.00 | Item No 6- (5.22.6) Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. b) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 343.14 | Kg | 0.00 | 80.69 | 27686.49 | 27686.49 | ABDUR REKIB
47.00 | Item No 7- (6.1.1) Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 3.77 | Cum | 0.00 | 6193.80 | 23366.11 | 23366.11 | ABDUR REKIB
48.00 | Item No 8- (13.12) 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. | 39.24 | Sqm | 0.00 | 415.67 | 16310.69 | 16310.69 | ABDUR REKIB
49.00 | 1/17.81..Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/ make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 5.00 | Each | 0.00 | 14490.36 | 72451.80 | 72451.80 | ABDUR REKIB
50.00 | 2/17.79..Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | 1.00 | Each | 0.00 | 14371.78 | 14371.78 | 14371.78 | ABDUR REKIB
51.00 | 3/17.24...Providing and fixing white vitreous china squatting plate urinal with integral rim longitudinal flush pipe. | 1.00 | Each | 0.00 | 3050.41 | 3050.41 | 3050.41 | ABDUR REKIB
52.00 | 4/17.10..Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 225 mm each | 1.00 | Each | 0.00 | 6009.66 | 6009.66 | 6009.66 | ABDUR REKIB
53.00 | 5/17.31..Providing and fixing 600x450 mm beveled edge mirror of superiorglass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. each | 5.00 | Each | 0.00 | 1270.04 | 6350.18 | 6350.18 | ABDUR REKIB
54.00 | 6/17.33..Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | 5.00 | Each | 0.00 | 847.93 | 4239.67 | 4239.67 | ABDUR REKIB
55.00 | 7/17.71..Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 5.00 | Each | 0.00 | 131.67 | 658.35 | 658.35 | ABDUR REKIB
56.00 | 8/17.73..Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 5.00 | Each | 0.00 | 540.32 | 2701.58 | 2701.58 | ABDUR REKIB
57.00 | 9/17.34.1..C.P. brass each | 5.00 | Each | 0.00 | 612.72 | 3063.60 | 3063.60 | ABDUR REKIB
58.00 | 10/17.34..Providing and fixing toilet paper holder : | 5.00 | Each | 0.00 | 98.73 | 493.65 | 493.65 | ABDUR REKIB
59.00 | 11/17.70.1..Providing and fixing PTMT Bottle Trap for Wash basin and sink. Bottle trap 31mm single piece moulded with height of 270 mm, effective length of tail pipe 260 mm from the centre of the waste coupling, 77 mm breadth with 25 mm minimum water seal, weighing not less than 260 gms | 5.00 | Each | 0.00 | 292.59 | 1462.95 | 1462.95 | ABDUR REKIB
60.00 | 12/18.7..Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge." 32 mm nominal dia Pipes | 45.00 | Mtr | 0.00 | 450.86 | 20288.48 | 20288.48 | ABDUR REKIB
61.00 | 40 mm nominal dia Pipes | 35.00 | Mtr | 0.00 | 606.91 | 21242.02 | 21242.02 | ABDUR REKIB
62.00 | 13/18.8..Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc." 15 mm nominal dia Pipes. | 40.00 | Mtr | 0.00 | 397.03 | 15881.40 | 15881.40 | ABDUR REKIB
63.00 | 20 mm nominal dia Pipes | 18.00 | Mtr | 0.00 | 462.38 | 8322.75 | 8322.75 | ABDUR REKIB
64.00 | 14/17.70.1..Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 5.00 | Each | 0.00 | 4088.16 | 20440.80 | 20440.80 | ABDUR REKIB
65.00 | 15/17.22B..Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. | 7.00 | Each | 0.00 | 5507.23 | 38550.64 | 38550.64 | ABDUR REKIB
66.00 | 16/17.16A..Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 7.00 | Each | 0.00 | 269.42 | 1885.91 | 1885.91 | ABDUR REKIB
67.00 | 17/18.5..Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 20.00 | Each | 0.00 | 643.54 | 12870.90 | 12870.90 | ABDUR REKIB
68.00 | 18/18.16..Providing and fixing brass stop cock of approved quality : 15 mm nominal bore | 15.00 | Each | 0.00 | 273.47 | 4101.98 | 4101.98 | ABDUR REKIB
69.00 | 20 mm nominal bore | 15.00 | Each | 0.00 | 295.15 | 4427.32 | 4427.32 | ABDUR REKIB
70.00 | 19/18.56..Providing and fixing PTMT pillar cock of approved quality and colour. 15 mm nominal bore, 125 mm long foam flow, weighing not less than 120 gms | 15.00 | Each | 0.00 | 174.74 | 2621.03 | 2621.03 | ABDUR REKIB
71.00 | 20/18.48..Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings | 3000.00 | Liter | 0.00 | 8.73 | 26190.00 | 26190.00 | ABDUR REKIB
72.00 | 1/1.7..Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 250.00 | Rm | 0.00 | 294.30 | 73575.00 | 73575.00 | ABDUR REKIB
73.00 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 150.00 | Rm | 0.00 | 530.10 | 79515.00 | 79515.00 | ABDUR REKIB
74.00 | 2/1.23..Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 80.00 | Each | 0.00 | 92.70 | 7416.00 | 7416.00 | ABDUR REKIB
75.00 | 15/16 amps switch | 10.00 | Each | 0.00 | 140.40 | 1404.00 | 1404.00 | ABDUR REKIB
76.00 | 3 pin 5/6 A socket outlet | 25.00 | Each | 0.00 | 109.80 | 2745.00 | 2745.00 | ABDUR REKIB
77.00 | 6 pin 15/16 A socket outlet | 8.00 | Each | 0.00 | 177.30 | 1418.40 | 1418.40 | ABDUR REKIB
78.00 | 3/1.3..Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 5.00 | Each | 0.00 | 1119.60 | 5598.00 | 5598.00 | ABDUR REKIB
79.00 | MODULAR SWITCH 4/1.28..Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 4 Module | 16.00 | Each | 0.00 | 142.20 | 2275.20 | 2275.20 | ABDUR REKIB
80.00 | 6 Module | 11.00 | Each | 0.00 | 163.80 | 1801.80 | 1801.80 | ABDUR REKIB
81.00 | 8 Module | 4.00 | Each | 0.00 | 189.90 | 759.60 | 759.60 | ABDUR REKIB
82.00 | 12 Module | 15.00 | Each | 0.00 | 244.80 | 3672.00 | 3672.00 | ABDUR REKIB
83.00 | 5/1.24..Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. TV antenna socket outlet | 6.00 | Each | 0.00 | 133.20 | 799.20 | 799.20 | ABDUR REKIB
84.00 | Telephone socket outlet | 6.00 | Each | 0.00 | 133.20 | 799.20 | 799.20 | ABDUR REKIB
85.00 | 6/1.31..Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 20.00 | Each | 0.00 | 429.30 | 8586.00 | 8586.00 | ABDUR REKIB
86.00 | 7/1.32..Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | 14.00 | Each | 0.00 | 527.40 | 7383.60 | 7383.60 | ABDUR REKIB
87.00 | 8/1.25..Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | Each | 0.00 | 332.10 | 3321.00 | 3321.00 | ABDUR REKIB
88.00 | 9/1.24..Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Bell push | 6.00 | Each | 0.00 | 126.00 | 756.00 | 756.00 | ABDUR REKIB
89.00 | FITTINGS AND ACCESSORIES 10/1.45..Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 10.00 | Each | 0.00 | 305.10 | 3051.00 | 3051.00 | ABDUR REKIB
90.00 | MCB DB 11/2.3..Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/Isolator) 6 way , Double door | 1.00 | Each | 0.00 | 7667.94 | 7667.94 | 7667.94 | ABDUR REKIB
91.00 | 8 way , Double door | 2.00 | Each | 0.00 | 2315.70 | 4631.40 | 4631.40 | ABDUR REKIB
92.00 | 16 way , Double door | 2.00 | Each | 0.00 | 2826.90 | 5653.80 | 5653.80 | ABDUR REKIB
93.00 | 12/2.10..Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 5.00 | Each | 0.00 | 230.40 | 1152.00 | 1152.00 | ABDUR REKIB
94.00 | Double pole | 15.00 | Each | 0.00 | 590.40 | 8856.00 | 8856.00 | ABDUR REKIB
95.00 | 13/2.15..Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 A | 9.00 | Each | 0.00 | 2869.20 | 25822.80 | 25822.80 | ABDUR REKIB
96.00 | 14/2.14..Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25 A | 2.00 | Each | 0.00 | 1825.20 | 3650.40 | 3650.40 | ABDUR REKIB
97.00 | EARTHING 15/5.2..Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 1.00 | Each | 0.00 | 6041.32 | 6041.32 | 6041.32 | ABDUR REKIB
98.00 | 16/5.6..Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 1.00 | Set | 0.00 | 11359.80 | 11359.80 | 11359.80 | ABDUR REKIB
99.00 | 17/5.7..Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 6.00 | Metre | 0.00 | 45.90 | 275.40 | 275.40 | ABDUR REKIB
100.00 | 18/5.8..Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 10.00 | Metre | 0.00 | 850.00 | 8500.00 | 8500.00 | ABDUR REKIB
| Total in Figures |  |  |  |  | 4649000.00
Lowest Amount Quoted BY: ABDUR REKIB(4649000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Inspection Bunglow cum Conference Hall (G Plus 1) at Mangaldai Bypass under contingency provision of Job no-15/AS/2021-22/234 under PWD Rangia NH Division Rangia in the state of Assam Tender ID: 2024_MoRTH_841771_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABDUR REKIB (BID ID -3156845) | 4649000.00 | L1