## BoQ1
Government eProcurement System Created By: Shashikant Songire Created Date/Time: 30-Jul-2024 10:18 AM Tender Title: Annual Maintenance of Civil and PH works for main plant buildings and other facilities at TAPS 3 and4 site for the year 2024- 2026. Tender ID: 2024_NPCIL_189814_1
Tender Inviting Authority: Chief Superintendent, Tarapur Atomic Power Station-3 & 4
Name of Work: Annual Maintenance of Civil & PH works for main plant buildings and other facilities at TAPS 3&4 site for the year 2024- 2026.
Tender No: TMS/C&MM-WORKS/CIVIL-3&4/2024/2522
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VIJAYS S PIMPLE(GSTN-NA)--696235
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork
1.01 | Earth work excavation by mechanical means (Hydraulic excavator) / manual means in foundation, in all types of soil other than soft and hard rock, dressing the sides of foundation, ramming of bottom etc. including shoring and dewatering (if necessary) and refilling with selected excavated earth in layers of not more than 500 mm thick, each layer well rammed and consolidated including disposing the surplus earth within a distance of 200 m all as per specifications including cleaning Jungle, uprooting of vegetation, grass, etc. complete and as directed by the Engineer-in-charge. (a) From 0.00 to 1.50 m depth from Average Ground Level. | 850.00 | Cu.m |  | 580.00 | 493000.00 | 493000.00 | VIJAYS S PIMPLE
1.02 | Earth work excavation in foundation in Hard Rock by Chiselling and / or by mechanical means (Hydraulic excavator) / Manual means including dewatering if necessary, dressing the sides, ramming the bottom, and stacking and / or disposing within a distance of 200 m and filling the sides of foundation with available selected excavated earth in layers not exceeding 500 mm in depth, each layer well rammed and consolidated etc.complete all as per specifications and as directed by the Engineer-in-Charge. (a) From 0.00 to 1.50 m depth from Average Ground Level | 35.00 | Cu.m |  | 1900.00 | 66500.00 | 66500.00 | VIJAYS S PIMPLE
1.03 | Lead charges for 1st 1 KM or part thereof, by mechanical transport including loading unloading, stacking / levelling etc. (i) Soil Note: The rates in respect of Item is applicable for NET Quantities arrived at after making deduction for voids @ 20% in respect of soil and @ 50% in respect of Rock from corresponding STACK / TRUCK Measurement | 150.00 | Cu.m |  | 290.00 | 43500.00 | 43500.00 | VIJAYS S PIMPLE
1.04 | Lead charges for 1st 1 KM or part thereof, by mechanical transport including loading unloading, stacking / levelling etc. (i) Rock Note: The rates in respect of Item is applicable for NET Quantities arrived at after making deduction for voids @ 20% in respect of soil and @ 50% in respect of Rock from corresponding STACK / TRUCK Measurement | 15.00 | Cu.m |  | 435.00 | 6525.00 | 6525.00 | VIJAYS S PIMPLE
1.05 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared | 5000.00 | Sq.m |  | 15.90 | 79500.00 | 79500.00 | VIJAYS S PIMPLE
1.06 | Hire charges for Hydraulic Excavator with fuel and driver | 100.00 | days |  | 9970.00 | 997000.00 | 997000.00 | VIJAYS S PIMPLE
2.00 | Cement Concrete
2.01 | Providing and laying in position cement concrete of 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of nominal size 20 mm) including consolidation, finishing, curing etc. complete as per specification and drawings but excluding the cost of Formwork shuttering, centering and steel reinforcement at all Levels | 250.00 | Cu.m |  | 7410.00 | 1852500.00 | 1852500.00 | VIJAYS S PIMPLE
2.02 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 100.00 | Cu.m |  | 11090.00 | 1109000.00 | 1109000.00 | VIJAYS S PIMPLE
2.03 | Providing and laying in position Reinforced Cement Concrete (RCC) of grade M-30 using 20mm maximum size aggregates and crushed sand of approved quality including admixtures of approved brand and quality plasticiser or super plasticiser) if required, including weigh batching, mechanical mixing, transporting, placing, vibrating, consolidation, finishing, curing etc. complete but excluding the cost of centering, shuttering and reinforcement complete as per specifications at all Levels. | 180.00 | Cu.m |  | 8960.00 | 1612800.00 | 1612800.00 | VIJAYS S PIMPLE
2.04 | Extra for RCC all grades in superstructure upto 20.00 metre height | 20.00 | Cu.m |  | 1165.00 | 23300.00 | 23300.00 | VIJAYS S PIMPLE
3.00 | Steel
3.01 | Providing Reinforcement Steel for reinforced cement concrete at all levels including supplying, preparation of bar bending schedules, cutting, bending, transporting, fixing, tieing in position with PVC coated G.I binding wire, all labour charges, cost of cover blocks in specified grade of concrete etc. complete as per specifications and drawings. Steel supplied by the contractor Using TMT bars of specified grades of all sizes. TMT bars to be supplied by the contractor from the own plants or vendors of SAIL, RINL or TATA make only using virgin materials | 21.00 | MT |  | 88740.00 | 1863540.00 | 1863540.00 | VIJAYS S PIMPLE
3.02 | Providing Structural steel work using angles, channels, joists, MS hollow / circular / square / rectangular tubular sections, nuts/bolts/washers of required size and grade and other sections, welded and / or bolted in built up sections for trusses , structural steel floors, frame works, monorails and other structures including supplying, cutting, welding, fabricating, hoisting, fixing in position, applying a priming coat of approved steel primer etc. complete all as per specifications, drawings and as directed by the Engineer in charge Up to and including 300 mm Joists, 350 mm channels, and below sections using materials produced by SAIL / RINL (Vizag Steel) / TATA. All test reports to be provided along with the supply of the materials | 37.00 | MT |  | 111820.00 | 4137340.00 | 4137340.00 | VIJAYS S PIMPLE
3.03 | Extra for hot dip galvanising galvanizing minimum 80 micron thick galvanised coating on structural steel work including all charges etc. as directed by the Engineer-in-charge | 35.00 | MT |  | 30930.00 | 1082550.00 | 1082550.00 | VIJAYS S PIMPLE
3.04 | Labour charges only for fabricating structural steel work including plates at all levels including transporting to site of work from Dept. Stores, cutting to required size, fabricating including welding as required, erecting in position, cost of electrodes, gas, necessary scaffolding, painting two coats with synthetic enamel paint over a coat of approved steel primer etc. complete (Structural steel will be supply by department.) | 2000.00 | kg |  | 39.50 | 79000.00 | 79000.00 | VIJAYS S PIMPLE
4.00 | Masonry
4.01 | Provding and constructing brick work in Cement mortar using standard bricks of approved class/ quality, make or brand at all levels including in foundation and plinth including curing, raking out joints, simultaneous pointing below plinth level if specified, complete as per drawings, specifications and as directed by the Engineer-in- charge Brick work in C.M 1:4 using crushed sand. | 100.00 | Cu.m |  | 7450.00 | 745000.00 | 745000.00 | VIJAYS S PIMPLE
4.02 | Providing and constructing Random Rubble masonry using approved Rubble stone in foundation/plinth/ super structure (above plinth) in C.M 1:6 (using crushed sand) including raking out joints or simultaneous flush pointing upto or above ground level / plinth level and up to and including 20 m height including scaffolding, curing etc. complete as per drawings and specifications Note: If rubble supply by Dept. will be recover @ Rs.850 per Cu.M. | 350.00 | Cu.m |  | 6350.00 | 2222500.00 | 2222500.00 | VIJAYS S PIMPLE
4.03 | Providing 12 mm thick Internal plaster in cement mortar 1:4 without cement punning (using Crushed Sand) finished smooth, including sieving of sand to required fineness, preparation of the surface, scaffolding , curing all as per specifications, drawings and as directed at site complete. | 600.00 | Sq.m |  | 330.00 | 198000.00 | 198000.00 | VIJAYS S PIMPLE
4.04 | Providing 20 mm thick External plastering in two coats under layer 12 mm thick with C.M 1:4 (using crushed sand) finished with a top layer 8 mm thick in C. M 1:3 (using crushed sand) including approved water proofing compound @ 2% by weight of cement or as per manufacturer's specifications, sieving of sand to required fineness, scaffolding up to 10 metres height, finishing, curing etc. complete as per specifications. and as directed by the Engineer-in- charge | 600.00 | Sq.m |  | 365.00 | 219000.00 | 219000.00 | VIJAYS S PIMPLE
4.05 | Providing Raised and cut pointing on stone with cement mortar 1:3 using crushed sand as per specifications and as directed at site by the Engineer-in-charge. | 400.00 | Sq.m |  | 435.00 | 174000.00 | 174000.00 | VIJAYS S PIMPLE
4.06 | Supplying, stacking and laying of 230 mm thick rubble soling stones as under floor base including packing with smaller stone and compacting, ramming including spreading and consolidation of binding material, moorum etc.complete all as per specifications and as directed by the Engineer-in-charge | 50.00 | Sq.m |  | 501.00 | 25050.00 | 25050.00 | VIJAYS S PIMPLE
5.00 | Flooring
5.01 | Providing and laying (IPS Flooring) cement concrete flooring 1:2:4, using crushed sand 50 mm thick finished smooth to the required level, finishing with a floating coat of neat cement including cement slurry, curing, cleaning the surface neatly at the time of handing over the area complete as per specifications and drawings as directed by the Engineer in charge | 100.00 | sq.m |  | 570.00 | 57000.00 | 57000.00 | VIJAYS S PIMPLE
5.02 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS 15622 of approved make. shade and colour of size ranging from 300 - 600 mm long and 300 mm - 600 mm wide and thickness not less than 6 mm as approved by Engineer-in- charge in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (using crushed sand), setting the tiles in cement slurry and pointing the joints with matching colour Tile grout of approved make of matching shade including using PVC tile trim in the exposed corners, complete as per drawings, patterns and specifications complete as directed by the Engineer-in-charge. | 50.00 | Sq.m |  | 1470.00 | 73500.00 | 73500.00 | VIJAYS S PIMPLE
5.03 | Providing and fixing 1st quality ceramic glazed floor tiles of minimum 300 - 600 mm long and 300 - 600 mm wide and thickness not less than 6 mm conforming to IS 15622 of approved make in all colours and shades as approved by Engineer-in-charge over a bed of 20 mm thick bed of cement mortar 1:4 (using crushed sand) and jointing with grey cement slurry including pointing with white cement based Tile grout of approved make and matching shade complete as per patterns, drawings and specifications complete as directed by the Enginner-in-charge | 100.00 | Sq.m |  | 1345.00 | 134500.00 | 134500.00 | VIJAYS S PIMPLE
5.04 | Providing and fixing Minimum 17 mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut Granite of Telephone black colour for kitchen platforms, vanitiy counters, Wash basin Counters, Door Frames, window sills, facias and similar locations of required size, colour and texture laid over 20mm thick base cement mortar 1:4 (using crushed sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing the edges to give high gloss finish etc. complete as directed by the Engineer-in-charge at all levels | 30.00 | Sq.m |  | 5250.00 | 157500.00 | 157500.00 | VIJAYS S PIMPLE
5.05 | Supplying , laying & fixing approved quality hesian based Tarfelt type II grade - I at all heights as directed by Engineer in charge | 1000.00 | Rm |  | 165.00 | 165000.00 | 165000.00 | VIJAYS S PIMPLE
5.06 | Providing and fixing 15 mm thick flooring with acid and alkali resistant tiles of approved make and colour as per IS 4457 using acid and / or alkali resistant mortar bedding and joints filled with acid and / or alkali resisting Epoxy for 5 to 8 mm depth over a bed of Bitumastic compound 8 to 10 mm layer and bitumastic primer complete as per the direction of the Engineer-in-charge In flooring over a bed of minimum 10 mm thick acid proof mortar with acid and / or alkali resistant tiles of required size of approved colour incliding providing required slopes and levels ( this work to be carried out through approved specialized agency) complete as per specifications and as directed by the Engineer-in- charge | 30.00 | Sq.m |  | 3150.00 | 94500.00 | 94500.00 | VIJAYS S PIMPLE
5.07 | Providing and fixing 10 mm thick skirting / Dadooing with acid and alkali resistant tiles of approved make and colour as per IS 4457 using acid and / or alkali resistant mortar bedding and joints filled with acid and / or alkali resisting Epoxy for 5 to 8 mm depth over a bed of Bitumastic compound 8 to 10 mm layer and bitumastic primer complete as per the direction of the Engineer-in-charge In flooring over a bed of minimum 10 mm thick acid proof mortar with acid and / or alkali resistant tiles of required size of approved colour incliding providing required slopes and levels (this work to be carried out through approved specialized agency) complete as per specifications and as directed by the Engineer-in- charge | 20.00 | Sq.m |  | 2655.00 | 53100.00 | 53100.00 | VIJAYS S PIMPLE
6.00 | Painting
6.01 | Providing and painting old walls (Two or more coat) over existing cement paint surface on plain / sand face plaster & concrete surfaces with premium acrylic smooth exterior paint of approved make, required shade and colour complete, as per manufacturer's specification, including preparation of the surfaces, scaffolding, including a coat of approved primer complete. as per specifications to give an even shade and as directed by the Engineer-in-charge. | 1000.00 | Sq.m |  | 195.00 | 195000.00 | 195000.00 | VIJAYS S PIMPLE
6.02 | Providing and Painting with 1st quality acrylic washable distemper (ready made) of approved make and required shade with one coats on old work of approved make and manufacturer and of required shade and colour, including scaffolding, filling up minor cracks on plaster/concrete walls surfaces , minor repairs with cement, and making good the damaged & rough surfaces , providing and applying white cement based wall putty of approved make over concrete or Plastered surface to get uniform surface free from undulation including complete preparation of the surfaces , cost of all materials, labour, tools & tackles, cleaning of dirt, dripped mortar preparing the surfaces; cleaning of doors, windows, ventilators, etc. after the completion of painting work etc. , complete as per manufacturer's specifications and as directed by the Engineer-in-charge. | 3000.00 | Sq.m |  | 78.00 | 234000.00 | 234000.00 | VIJAYS S PIMPLE
6.03 | Providing and painting two (or) more coats with Epoxy paint at all locations prepared and applied as per manufacturer' specifications including a priming coat if specified by the manufacturer, preparation of surface by cleaning with wire brush and rubbing with sand paper to remove dust, dirt etc, after first coat Epoxy based trowelling compound if required, including preparation of the surface by scrapping, applying sand paper,by cleaning with wire brush and rubbing, making free of rust, dirt etc. filling the holes, joints, cracks if any etc. complete.all as per manufacturers technical data and as directed at site to acheive 200 micron film thickness (50 micron primer coat + 150 micron finishing coat). | 3000.00 | Sq.m |  | 425.00 | 1275000.00 | 1275000.00 | VIJAYS S PIMPLE
6.04 | Providing and Painting with 1st quality acrylic washable distemper (ready made) with Two coats on new work of approved make and manufacturer and of required shade and colour, including scaffolding, preparation of the surfaces ,etc., including a coat of approved primer.as per manufacturer's specifications to give an even shade and as directed by the Engineer-in-charge. | 2000.00 | Sq.m |  | 140.00 | 280000.00 | 280000.00 | VIJAYS S PIMPLE
6.05 | Providing , painting and finishing walls with two coats of exterior emulusion paint (Two or more coat ) of approved make on sand face plaster/ plain plaster & concrete of required shade over new work including base coat of water proofing cement paint, preparation of the surfaces, scaffolding including a coat of approved primer complete. as per specifications to give an even shade and as directed by the Engineer-in-charge. | 500.00 | Sq.m |  | 155.00 | 77500.00 | 77500.00 | VIJAYS S PIMPLE
6.06 | Providing and applying French spirit polishing for wooden sufaces with two coats on new works including a coat of wood filler to form a uniform neat finish as directed by the Engineer -in-charge and / or as per the specifications complete as directed by the Engieer-in- charge | 50.00 | Sq.m |  | 280.00 | 14000.00 | 14000.00 | VIJAYS S PIMPLE
6.07 | Providing Melamine polishing on wood work (one coat) as per manufacturers instructions, matt or glossy finish as specified including preparation of the surfaces, complete. as per specifications and as directed by the Engineer-in-charge | 50.00 | Sq.m |  | 110.00 | 5500.00 | 5500.00 | VIJAYS S PIMPLE
6.08 | Providing and Painting two coats of synthetic enamel paint on steel surfaces of approved brand and manufacture to give an even shade over a primer coat with ready mixed red oxide primer .including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge | 3500.00 | Sq.m |  | 165.00 | 577500.00 | 577500.00 | VIJAYS S PIMPLE
6.09 | Painting road surface marking with Thermoplastic paint hot applied to give uniform finish with Glass beeds / power Topping, on bituminous surface in white / yellow/ black shade including cleaning the surface of all dirt, scales, oil, grease and other foreign material etc complete as directed by the Engineer-in-charge Thermoplastic paint on bitumen sufaces | 100.00 | Sq.m |  | 645.00 | 64500.00 | 64500.00 | VIJAYS S PIMPLE
7.00 | Dismantling
7.01 | Dismantling of RCC works including Cutting and stacking of steel reinforcement bars and disposal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 20.00 | Cu.m |  | 4995.00 | 99900.00 | 99900.00 | VIJAYS S PIMPLE
7.02 | Demolishing Stone rubble masonry (In cement mortar) manually / by mechanical means carefully without damaging adjacent structures including stacking of serviceable materials and disposal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 200.00 | Cu.m |  | 1505.00 | 301000.00 | 301000.00 | VIJAYS S PIMPLE
7.03 | Dismantling brick work in Cement mortar carefully without damaging adjacent structures including stacking of materials and dispoal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 5.00 | Cu.m |  | 1260.00 | 6300.00 | 6300.00 | VIJAYS S PIMPLE
7.04 | Dismantling plain cement concrete manually / by mechanical means carefully without damaging adjacent structures including disposal of debris within 200 m lead as per direction of Engineer-in charge | 50.00 | Cu.m |  | 1230.00 | 61500.00 | 61500.00 | VIJAYS S PIMPLE
7.05 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismantling and stacking within 100 m lead | 37.00 | MT |  | 9350.00 | 345950.00 | 345950.00 | VIJAYS S PIMPLE
7.06 | Dismantling Bituminous road including stacking of serviceable materails and disposal of unserviceable materials within 200 m lead | 5.00 | Cu.m |  | 1915.00 | 9575.00 | 9575.00 | VIJAYS S PIMPLE
7.07 | Lead charges for 1st 1 KM or part thereof, by mechanical transport including loading unloading, stacking / levelling etc. Debris up to 1 km | 50.00 | Cu.m |  | 315.00 | 15750.00 | 15750.00 | VIJAYS S PIMPLE
8.00 | GI , Aluminium and miscellenous works
8.01 | Providing and fixing precoated Galvalume Roofing profile sheets of approved size, shape and pitch up to and including single length of 12.00 met. The sheet shall be fixed using self drilling / self tapping screws of size (5.5 X 55 mm) with EPDM seal or with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers filled with white lead complete upto any pitch in horizontal / vertical or curved surfaces excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required as directed by the Engineer-in- charge Galvalume sheet roofing 0.50 mm Thickness in Single sheet | 200.00 | Sq.m |  | 1250.00 | 250000.00 | 250000.00 | VIJAYS S PIMPLE
8.02 | Providing and fixing anodized aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections / Z sections and other sections of approved make conforming to IS 733 and IS 1285 fixed with rawl plugs and screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically whereever required including cleat angle, aluminium snap beading for glazing / panelling, C.P brass / stainless screws all complete as per drawings and and directions of Engineer-in-charge including providing and fixing hinges / pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket required filling the gaps using silicon grout sealent etc. (fittings glazing and panelling shall be paid for separately) Anodised Aluminium sections (Minimum anodizing thickness of 15 micron) | 1000.00 | kg |  | 435.00 | 435000.00 | 435000.00 | VIJAYS S PIMPLE
8.03 | Providing and fixing glazing in aluminium doors, window, ventilator shutters and partitions etc with PVC / Neoprene gasket etc. complete as per the architectural drawings and directions of the Engineer-in-charge With clear float glass panes of 5.00 mm thickness | 100.00 | sq.m |  | 1145.00 | 114500.00 | 114500.00 | VIJAYS S PIMPLE
8.04 | Filling the gap between aluminium frame & adjacent RCC / Brick work / Stone work / glazing system by providing weather silicon sealant of approved make over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete Up to 5 mm depth and 5 mm width | 200.00 | m |  | 105.00 | 21000.00 | 21000.00 | VIJAYS S PIMPLE
8.05 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P.brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 100.00 | kg |  | 595.00 | 59500.00 | 59500.00 | VIJAYS S PIMPLE
8.06 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, afters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. For UV stabilised 2 mm thick plain FRP sheet | 500.00 | Sq.m |  | 1120.00 | 560000.00 | 560000.00 | VIJAYS S PIMPLE
8.07 | Supply & installing hermatically-sealed 6-12-6 mm double glazed fixed vision panel units of approved make comprising of an outer heat strengthened SGG cool lite ST-120 Metallic Blue glass / Sterling Silver or Green of M/s Saint Gobain or approved equivalent shade and reflective tinted float glass coated on surface #2 and an inner toughened clear float glass, spacers, desiccants, with moisture absorbing compound (silica gel), primary and secondary seals etc. all complete as per approved shop drawings and specification. The item includes cost of removing exiting DGUs, supplying and fixing of new DGUs , complete as per technical specification | 100.00 | Sq.m |  | 5030.00 | 503000.00 | 503000.00 | VIJAYS S PIMPLE
9.00 | Formwork , Scaffolding
9.01 | Providing, centering, shuttering Form work using steel plates, timber planks for all types of structures including necessary strutting, proping, staging, supports, bracings etc. and deshuttering the same after the specified time all as per drawings, specifications and as directed by the Engineer-in-charge at all levels | 1000.00 | Sq.m |  | 425.00 | 425000.00 | 425000.00 | VIJAYS S PIMPLE
9.02 | Providing and fixing double tubular scaffolding system using H- frames with cup lock type made with 40 mm dia M.S. tube 1.5 m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in - charge. The elevational area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding. Extra for scaffoldng shall be paid only for works beyond 6 m height . Upto 6m all works must be inclusive of scaffolding | 500.00 | Sq.m |  | 185.00 | 92500.00 | 92500.00 | VIJAYS S PIMPLE
10.00 | Fencing
10.01 | Providing and fixing concertina barbed tape coil of 600/ 610 mm Dia. made from hot dip galvanised M.S ribbon tape of 0.5 mm thickness, 19 mm width stretching the coil to 9 m approximate, fixing the coil with clips between "Y" armed and hot dip galvanised MS angle posts 3.0 m high from ground level, including supplying and fixing MS galvanized clips etc. complete as per manufacturer's specification and including painting by dipping method the concrtina tape coil with two coats of synthetic enamel paint of Caulifield green (BSL139) shade and make over a coat of approved primer at fabrication shop, before bringing the material to the site and fixing in position etc. complete as directed by the Engineer-in-charge. Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 2629: 1985 , IS 4826: 1979 | 2500.00 | Rm |  | 485.00 | 1212500.00 | 1212500.00 | VIJAYS S PIMPLE
10.02 | Providing and fixing barbed wire with clips/hooks between "Y" armed and hot dip galvanised MS angle posts 3.0 m high from ground level, barbed wire of 9.38 kg per 100 metres (min) between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post etc. complete as directed by the Engineer-in-charge. (cost of GI steel post, struts, earth work and concrete to be paid for separetely) : Payment to be made per metre cost of total length of barbed wire used With G.I. barbed wire 12 swg Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 278:2009 , IS 2629: 1985 , IS 4826: 1979 | 10500.00 | Rm |  | 21.50 | 225750.00 | 225750.00 | VIJAYS S PIMPLE
10.03 | Providing and fixing hot dip galvanised iron chain link fabric fencing Made of hot dip galvanised iron wire of dia 4 mm of required width in mesh size 50 x 50 mm including 3 nos.Galvanised steel line wire of dia 4 /4.5 mm ,and including painting by dipping method the fence fabric with two coats of synthetic enamel paint of Caulifield green (BSL139) shade and make over a coat of approved primer at fabrication shop, before bringing the material to the site and fixing in position etc and strengthening with nuts, bolts and washers as required complete as per direction of Engineer-in-charge. Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 2629: 1985 , IS 4826: 1979 | 5200.00 | Sq.m |  | 840.00 | 4368000.00 | 4368000.00 | VIJAYS S PIMPLE
11.00 | Manpower
11.01 | Repair works and attending the complaints related to carpentry, masonry, plumbing, painting or any other work by deploying the skilled manpower for Maintenance works as directed by EIC. Note:- The contractor needs to deploy 11 skilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task. | 6600.00 | task |  | 1575.00 | 10395000.00 | 10395000.00 | VIJAYS S PIMPLE
11.02 | Supplying the casual services of Unskilled manpower for assisting carpentry, masonary, plumbering, painting, Office works, Grouting works, or any other work by deploying the un skilled manpower for Maintenance works as directed by EIC. Note:- The contractor needs to deploy 17 un skilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task. | 10100.00 | task |  | 1390.00 | 14039000.00 | 14039000.00 | VIJAYS S PIMPLE
11.03 | Providing day to day assistance of skilled personnel in shifts for domestic water supply installations to provide uninterupted supply of water for job shack, canteen, swichyard, Gate No. 1 & guard house on working days & holidays. (Note:- One operation means assistance of one pump operator for 8 working hours in each shift). | 1200.00 | opn |  | 1575.00 | 1890000.00 | 1890000.00 | VIJAYS S PIMPLE
11.04 | Providing day to day assistance of skilled personnel in shifts for operation and maintenance of Sewage Treatment Plant. (Note:- One operation means assistance of one pump operator for 8 working hours in each shift). | 1200.00 | opn |  | 1575.00 | 1890000.00 | 1890000.00 | VIJAYS S PIMPLE
11.05 | Providing assistance of Data Entry Operator for handling computers having sufficient knowledge about computer operation. Note:- The contractor needs to deploy 3 skilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task. | 1800.00 | task |  | 1575.00 | 2835000.00 | 2835000.00 | VIJAYS S PIMPLE
11.06 | Providing assistance of unskilled services in Contingency task beyond normal working hours for emergency work. | 4000.00 | hr |  | 245.00 | 980000.00 | 980000.00 | VIJAYS S PIMPLE
11.07 | Providing assistance of skilled services in Contingency task beyond normal working hours for emergency work. | 2500.00 | hr |  | 280.00 | 700000.00 | 700000.00 | VIJAYS S PIMPLE
12.00 | Construction Material (A) Common - Use Material
12.01 | Supply of Cement in pack of 50 kgs bag of make - Ambuja / ACC / Birla / Ultra Tech as and when required and as directed by Engineer In-charge. | 700.00 | bags |  | 435.00 | 304500.00 | 304500.00 | VIJAYS S PIMPLE
12.02 | Supply of Crushed Sand / Manufactured sand as and when required and as directed by Engineer In-charge. | 30.00 | Cu.m |  | 1825.00 | 54750.00 | 54750.00 | VIJAYS S PIMPLE
12.03 | Supply of White Cement in Pack of 1 kg including transportation etc. complete as and when required and as directed by Engineer In-charge. | 200.00 | kg |  | 14.50 | 2900.00 | 2900.00 | VIJAYS S PIMPLE
12.04 | Supply of polysulphide caulking compound as and when required and as directed by Engineer In-charge. | 200.00 | kg |  | 335.00 | 67000.00 | 67000.00 | VIJAYS S PIMPLE
12.05 | Supply of Coarse Aggregate below 20 mm (20 mm ,12.5 mm ,10mm) as and when required and as directed by Engineer In-charge. | 30.00 | Cu.m |  | 1230.00 | 36900.00 | 36900.00 | VIJAYS S PIMPLE
12.06 | Supply of bricks of size 230 x 100 x 75 mm as and when required and as directed by Engineer In-charge. | 5000.00 | no. |  | 7.50 | 37500.00 | 37500.00 | VIJAYS S PIMPLE
12.07 | Supply of ISI marked bleaching powder as per IS : 1065 as and when required and as directed by Engineer In-charge. | 400.00 | kg |  | 25.00 | 10000.00 | 10000.00 | VIJAYS S PIMPLE
12.08 | Supply of Cement based wall putty as per IS 17545 as and when required and as directed by Engineer In-charge. | 800.00 | kg |  | 38.00 | 30400.00 | 30400.00 | VIJAYS S PIMPLE
12.09 | Providing approved size acid and alkali resistant tiles of approved make and colour as per IS 4457 | 2.00 | Cu.m |  | 119595.00 | 239190.00 | 239190.00 | VIJAYS S PIMPLE
12.10 | (B) Construction chemicals Supply of high strength epoxy repair mortar , a three-component epoxy resin and hardner with aggregate(quartz sand / filler) as and when required and as directed by Engineer In-charge Note : Manufacturing date of material shall be within 2 months from issue of bill. Maximum size of packaging - 15 kg , minimum shelf life -1 year | 450.00 | kg |  | 725.00 | 326250.00 | 326250.00 | VIJAYS S PIMPLE
12.11 | Supply of epoxy thinner as and when required and as directed by Engineer In-charge Note : Manufacturing date of material shall be within 2 months from issue of bill. Maximum size of packaging - 10 L , minimum shelf life -1 year | 200.00 | litres |  | 240.00 | 48000.00 | 48000.00 | VIJAYS S PIMPLE
12.12 | Supply of alkaline rust converting primer as and when required and as directed by Engineer In-charge. It shall be organic polymer based & shall be free from mineral, and phosphoric acid & chromic acids as per IS: 13515– 1992 Note : Manufacturing date of material shall be within 2 months from issue of bill. Maximum size of packaging - 2 L , minimum shelf life -1 year | 500.00 | litres |  | 215.00 | 107500.00 | 107500.00 | VIJAYS S PIMPLE
12.13 | Supply of two component zinc rich epoxy as and when required and as directed by Engineer In-charge . The zinc rich epoxy coating used for reinforcement shall conform to adhesion test of rebar with pull of strength not less than 2N/mm^2 when tested as per IS 2770 part-1. The Epoxy coating shall also qualify for salt spray test as per ASTM B-117, when tested in 3.5% Nacl concentration for 100hrs Note : Manufacturing date of material shall be within 2 months from issue of bill. Maximum size of packaging - 2 L , minimum shelf life -1 year | 100.00 | litres |  | 1165.00 | 116500.00 | 116500.00 | VIJAYS S PIMPLE
12.14 | Supply of two component epoxy phenolic coating compound as and when required and as directed by Engineer In-charge . It should be manufactured under technical license from Central Building Research Institute (C.B.R.I.) , Roorkee. Adhesion as per ASTM D 4541 > 2.5 N/mm2 , should pass pull out test as per IS 2770 and should also pass salt spray test as per ASTM B-117 min 500 hrs Note : Manufacturing date of material shall be within 2 months from issue of PO , minimum shelf life – 1 year Maximum size of packaging - 2000 ml | 100.00 | litres |  | 620.00 | 62000.00 | 62000.00 | VIJAYS S PIMPLE
12.15 | Supply of Concrete penetrating corrosion inhibitor inhibitor on Bipolar Inhibition Mechanism (B.I.M.) (Water Based , min pH = 9.5) as and when required and as directed by Engineer In-charge. Note : Manufacturing date of material shall be within 2 months from issue of PO, minimum shelf life – 1 year . Maximum size of packaging -1000 mL | 100.00 | litres |  | 425.00 | 42500.00 | 42500.00 | VIJAYS S PIMPLE
12.16 | Supply of with two component epoxy based bonding agent Note : Manufacturing date of material shall be within 2 months from issue of PO. Maximum size of packaging - 3000 g Typical Properties Conforms to ASTM-C-881. Minimum tack free time of 120 minutes at 30 degree Celsius. Coverage : 2.5 - 3.5 m2/kg Minimum shelf life : 1 year | 50.00 | kg |  | 660.00 | 33000.00 | 33000.00 | VIJAYS S PIMPLE
12.17 | Supply of two component Non remulsifiable Epoxy Latex bonding agent (SBR Latex) conforming to ASTM-C-1059 Type II Note : Manufacturing date of material shall be within 2 months from issue of PO. minimum shelf life -1 year Maximum size of packaging - 2000 mL | 800.00 | litres |  | 525.00 | 420000.00 | 420000.00 | VIJAYS S PIMPLE
12.18 | Supply of polymer modified thixotropic cementitious repair mortar The duel shrinkage-compensated, cementitious patch repair mortar shall be a single component mortar modified with fibers. The repair mortar shall exceed compressive strength of 10 MPa at 1 day and 40 MPa at 28 days. | 5000.00 | kg |  | 30.00 | 150000.00 | 150000.00 | VIJAYS S PIMPLE
12.19 | Supply of acceleartor admixture for concrete qualified as per ASTM - C 494/C 494M of approved make complete as per technical specifications and as and when required and as directed by Engineer In-charge Note : Manufacturing date of material shall be within 2 months from issue of PO, minimum shelf life – 1 year . Maximum size of packaging -20 L | 100.00 | litres |  | 250.00 | 25000.00 | 25000.00 | VIJAYS S PIMPLE
13.00 | Painting Material
13.01 | Supply of Synthatic enamal paint of required colour | 1000.00 | litres |  | 340.00 | 340000.00 | 340000.00 | VIJAYS S PIMPLE
13.02 | Supply of Turpentine for oil painting as and when required and as directed by Engineer In-charge | 100.00 | litres |  | 135.00 | 13500.00 | 13500.00 | VIJAYS S PIMPLE
13.03 | Supply of Qualified vellum colour epoxy paint from qualified manufacturers as per technical specifications and as and when required and as directed by Engineer In-charge Note : Manufacturing date of material shall be within 2 months from issue of PO. Maximum size of packaging - 20 litre | 1000.00 | litres |  | 555.00 | 555000.00 | 555000.00 | VIJAYS S PIMPLE
13.04 | Supply of approved primer for Qualified vellum colour epoxy paint from qualified manufacturers as per technical specifications and as and when required and as directed by Engineer In-charge Note : Manufacturing date of material shall be within 2 months from issue of PO. Maximum size of packaging - 20 litre | 200.00 | litres |  | 305.00 | 61000.00 | 61000.00 | VIJAYS S PIMPLE
13.05 | Supply of Aluminium paint as and when required and as directed by Engineer In-charge | 100.00 | litres |  | 405.00 | 40500.00 | 40500.00 | VIJAYS S PIMPLE
13.06 | Supply of red oxide as and when required and as directed by Engineer In-charge | 500.00 | litres |  | 198.00 | 99000.00 | 99000.00 | VIJAYS S PIMPLE
13.07 | Supply of paint - acrylic emulsion exterior paint as and when required and as directed by Engineer In-charge | 200.00 | litres |  | 345.00 | 69000.00 | 69000.00 | VIJAYS S PIMPLE
13.08 | Supply of Paint - 1st quality Acrylic washable Distemper as and when required and as directed by Engineer In-charge | 800.00 | litres |  | 59.00 | 47200.00 | 47200.00 | VIJAYS S PIMPLE
13.09 | Supply of paint with primer - premium acrylic emulsion as and when required and as directed by Engineer In-charge | 100.00 | litres |  | 665.00 | 66500.00 | 66500.00 | VIJAYS S PIMPLE
13.10 | Supply of primer for paint - acrylic emulsion exterior paint as and when required and as directed by Engineer In-charge | 100.00 | litres |  | 185.00 | 18500.00 | 18500.00 | VIJAYS S PIMPLE
14.00 | Carpentry Material
14.01 | Providing IS: 3564 marked aluminium die cast body tubular type universal hydraulic door closer closer with double speed adjustment of approved make with necessary accessories and screws etc. with necessary bolts & nuts complete as per specifications and as directed by the Engineer-in-charge. | 200.00 | each |  | 1795.00 | 359000.00 | 359000.00 | VIJAYS S PIMPLE
14.02 | Supply of good quality 150 X 12 mm Anodised Aluminium Tower Bolt (Barrel Type) of ISI Marked Brand as and when required and as directed by Engineer In-charge. | 50.00 | each |  | 94.00 | 4700.00 | 4700.00 | VIJAYS S PIMPLE
14.03 | Supply of good quality 300 X 12 mm Anodised Aluminium Tower Bolt (Barrel Type) of ISI Marked Brand as and when required and as directed by Engineer In-charge. | 50.00 | each |  | 170.00 | 8500.00 | 8500.00 | VIJAYS S PIMPLE
14.04 | Supply of 4 mm thick Float Glass -clear (weight not less than 10 kg/sqm) as and when required and as directed by Engineer In-charge. | 100.00 | sq.m |  | 405.00 | 40500.00 | 40500.00 | VIJAYS S PIMPLE
14.05 | Supply of 6 mm thick Float Glass -clear (weight not less than 12.5 kg/sqm) as and when required and as directed by Engineer In-charge. | 50.00 | sq.m |  | 602.00 | 30100.00 | 30100.00 | VIJAYS S PIMPLE
14.06 | Supply of 8 mm thick Float Glass -clear (weight not less than 20 kg/sqm) as and when required and as directed by Engineer In-charge. | 80.00 | sq.m |  | 885.00 | 70800.00 | 70800.00 | VIJAYS S PIMPLE
14.07 | Supplying of Fancy type Mirror with design border/beweeled edge as and when required and as directed by Engineer In-charge. | 50.00 | sq.m |  | 1950.00 | 97500.00 | 97500.00 | VIJAYS S PIMPLE
14.08 | Supplying of Aluminium jindal or equivalent as per technical specification make sheet as and when required and as directed by Engineer In-charge. | 200.00 | kg |  | 280.00 | 56000.00 | 56000.00 | VIJAYS S PIMPLE
14.09 | Supplying of Aluminium angle cleat as and when required and as directed by Engineer In-charge. | 10.00 | kg |  | 288.00 | 2880.00 | 2880.00 | VIJAYS S PIMPLE
14.10 | Supplying of wire brush as and when required and as directed by Engineer In-charge. | 20.00 | each |  | 60.00 | 1200.00 | 1200.00 | VIJAYS S PIMPLE
14.11 | Supplying of Neoprene EPDM rubber gasket (Above 60 g / m) / PVC Gasket as and when required and as directed by Engineer In-charge. | 500.00 | m |  | 20.00 | 10000.00 | 10000.00 | VIJAYS S PIMPLE
14.12 | Supplying of SS grating 125 mm dia - as and when required and as directed by Engineer In-charge. | 100.00 | each |  | 105.00 | 10500.00 | 10500.00 | VIJAYS S PIMPLE
14.13 | Supply of "Godrej" make mortice latch and lock with 6 levers and a pair of lever handles Inside opening Left / Right as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 1940.00 | 48500.00 | 48500.00 | VIJAYS S PIMPLE
14.14 | Supply of Godrej Cylindrical lock ADVANTA Stainless steel as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 1730.00 | 43250.00 | 43250.00 | VIJAYS S PIMPLE
14.15 | Supply of good quality 250 X 16 mm Aluminium Aldrop ISI Marked Brand as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 2085.00 | 52125.00 | 52125.00 | VIJAYS S PIMPLE
14.16 | Supply of good quality Size - 10" Heavy duty SS Friction Hinges /stay as and when required and as directed by Engineer In-charge. | 25.00 | pair |  | 480.00 | 12000.00 | 12000.00 | VIJAYS S PIMPLE
14.17 | Supply of Size - 12" Heavy duty SS Friction Hinges/stay as and when required and as directed by Engineer In-charge. | 25.00 | pair |  | 565.00 | 14125.00 | 14125.00 | VIJAYS S PIMPLE
14.18 | Supply of 100 x 60 x 2.5 mm SS butt hinges as per IS 12817 (Heavy quality) as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 35.00 | 875.00 | 875.00 | VIJAYS S PIMPLE
14.19 | Supply of 50 x 37 x 1.5 mm SS butt hinges as per IS 12817 (Heavy quality) as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 20.00 | 500.00 | 500.00 | VIJAYS S PIMPLE
14.20 | Supply of 75 x 50 x 2.5 mm SS butt hinges as per IS 12817 (Heavy quality) as and when required and as directed by Engineer In-charge. | 25.00 | each |  | 25.00 | 625.00 | 625.00 | VIJAYS S PIMPLE
14.21 | Supply of Sliding window bearing wheel 3/4 X 3/2 as and when required and as directed by Engineer In-charge. | 400.00 | each |  | 28.00 | 11200.00 | 11200.00 | VIJAYS S PIMPLE
14.22 | Supply of Cabinet lock Godrej make as and when required and as directed by Engineer In-charge. | 30.00 | each |  | 124.00 | 3720.00 | 3720.00 | VIJAYS S PIMPLE
14.23 | Supply of "J" or "L" hook of 8 mm dia as and when required and as directed by Engineer In-charge. | 500.00 | each |  | 7.50 | 3750.00 | 3750.00 | VIJAYS S PIMPLE
14.24 | Supply of 300 mm Brass Hook & Eye as and when required and as directed by Engineer In-charge. | 30.00 | each |  | 95.00 | 2850.00 | 2850.00 | VIJAYS S PIMPLE
14.25 | Supply of 250 mm Brass Hook & Eye as and when required and as directed by Engineer In-charge. | 30.00 | each |  | 90.00 | 2700.00 | 2700.00 | VIJAYS S PIMPLE
14.26 | Supply of 200 mm Brass Hook & Eye as and when required and as directed by Engineer In-charge. | 30.00 | each |  | 85.00 | 2550.00 | 2550.00 | VIJAYS S PIMPLE
14.27 | Supply of Anodised Aluminium sections (Minimum anodizing thickness of 15 micron as per IS : 1868) complete as per technical specification as and when required and as directed by Engineer In-charge. | 500.00 | kg |  | 385.00 | 192500.00 | 192500.00 | VIJAYS S PIMPLE
14.28 | Providing Suspended 600 x 600 mm Calcium Silicate Ceiling tiles of make- AEROLITE ceiling system's - Quadra or similiar square studded design of make Gyproc / Luxalon , having 15mm densified edges and 100% humidity resistance, incombustible as per BS476 part IV with thermal conductivity of 0.043 w/m KC Quadra surface design and edge profile (TEGULAR/ SPINTONE) , complete as per technical specifications and as directed by engineer in charge | 500.00 | sq.m |  | 1295.00 | 647500.00 | 647500.00 | VIJAYS S PIMPLE
14.29 | Providing set of mentioned quantities each of following components of false ceiling grid system AEROLITE - Quadra or equivalent by Hi-Lux / Gyproc ceiling system's - 15 nos. Galvanised Steel main Tee ceiling section Size 24x38x0.33mm (3.00 metre long) , 7 nos. Galvanised Steel perimeter wall Angle Size 24 x 24 x 0.40 mm (3.00 metre long), 75 nos. Galvanised Steel intermediate cross T section Size 24 x 25 x 0.33 mm (1.2 metre long), 75 nos. Galvanised Steel intermediate cross T section Size 24 x 25 x 0.33 ( 0.6 metre long), 36 nos. Hanger rod, 36 nos. Adjustment clip , 36 nos. Dash hold fastener , 50 nos. Soffit cleat / SCREWS suspended grid shall be made of hot-dipped G.I steel sections having an exposed surface capping of pre-finished baked polyester painted coil complete as per technical specifications and as directed by engineer in charge | 1.00 | set |  | 13590.00 | 13590.00 | 13590.00 | VIJAYS S PIMPLE
14.30 | Providing Aerolite/gyproc/ Hilux make GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | 100.00 | sq.m |  | 1140.00 | 114000.00 | 114000.00 | VIJAYS S PIMPLE
14.31 | Providing existing hook -on Plank and Tile "LUXALON Aluminium perforated 75-150-225 C" lay in false ceiling of required size perforated corrosion resistant Aluminium magnesium alloy metal panel . Panels shall be manufactured by Hunders Douglas of with approved perforation giving approved perforated area of approved colour in Aluminium alloy of approved type and thickness with square edges complete as per technical specification and as directed by engineer incharge | 100.00 | sq.m |  | 4320.00 | 432000.00 | 432000.00 | VIJAYS S PIMPLE
14.32 | Providing Silicon Sealent for aluminium glass joint of approved make qualified as per ASTM C1184 as and when required and as directed by Engineer In charge | 50.00 | litre |  | 685.00 | 34250.00 | 34250.00 | VIJAYS S PIMPLE
14.33 | supplying hot dip galvanised iron chain link fabric fencing Made of hot dip galvanised iron wire of dia 4 mm of required width in mesh size 50 x 50 mm including 3 nos.Galvanised steel line wire of dia 4 /4.5 mm , and including painting of fabric and line wire by dipping method with two coats of synthetic enamel paint of Caulifield green (BSL139) shade and make over a coat of approved primer at fabrication shop, before bringing the material to the site Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 2629: 1985 , IS 4826: 1979 | 450.00 | sq.m |  | 425.00 | 191250.00 | 191250.00 | VIJAYS S PIMPLE
14.34 | Supply of Galvanized steel barbed wire of Type A and size designation 1 manufactured from hot dip galvanized steel wire as per IS 278: 2009 (reaffirmed 2020) Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 2629: 1985 , IS 4826: 1979 | 3500.00 | kg |  | 120.00 | 420000.00 | 420000.00 | VIJAYS S PIMPLE
14.35 | Providing concertina barbed tape coil of 600/ 610 mm Dia. made from hot dip galvanised M.S ribbon tape of 0.5 mm thickness, 19 mm width stretching the coil to 9 m approximate, including supplying MS galvanized clips etc. complete as per manufacturer's specification and including painting by dipping method the concrtina tape coil with two coats of synthetic enamel paint of Caulifield green (BSL139) shade and make over a coat of approved primer at fabrication shop, before bringing the material to the site and fixing in position etc. complete as directed by the Engineer-in-charge. Note : Test Reports from Central Govt./NABL/ILAC accrediated Lab covering all the declared parameters as per IS specification must be furnished i) conformance to IS 280: 2006 , IS 2629: 1985 , IS 4826: 1979 | 1500.00 | Rm |  | 280.00 | 420000.00 | 420000.00 | VIJAYS S PIMPLE
14.36 | GI Nut / bolts/washers/Nails all sizes | 50.00 | kg |  | 125.00 | 6250.00 | 6250.00 | VIJAYS S PIMPLE
14.37 | Supply of Plain edge Mirror of 6.0 mm thickness mounted on aluminium frame & ply or hard board of size 600 x 450mm as and when required and as directed by Engineer In-charge. | 20.00 | nos. |  | 685.00 | 13700.00 | 13700.00 | VIJAYS S PIMPLE
15.00 | Plumbing Material (A): Supply of G.I.Pipe Non-Tata make Jindal heavy of class C as and when required and as directed by Engineer In-charge.
15.01 | 15 mm dia G.I.Pipe | 90.00 | m |  | 235.00 | 21150.00 | 21150.00 | VIJAYS S PIMPLE
15.02 | 20 mm dia G.I.Pipe | 90.00 | m |  | 285.00 | 25650.00 | 25650.00 | VIJAYS S PIMPLE
15.03 | 25 mm dia G.I.Pipe | 90.00 | m |  | 395.00 | 35550.00 | 35550.00 | VIJAYS S PIMPLE
15.04 | 32 mm dia G.I.Pipe | 60.00 | m |  | 535.00 | 32100.00 | 32100.00 | VIJAYS S PIMPLE
15.05 | 40 mm dia G.I.Pipe | 60.00 | m |  | 620.00 | 37200.00 | 37200.00 | VIJAYS S PIMPLE
15.06 | 50 mm dia G.I.Pipe | 60.00 | m |  | 840.00 | 50400.00 | 50400.00 | VIJAYS S PIMPLE
15.07 | 80 mm dia G.I.Pipe | 30.00 | m |  | 1180.00 | 35400.00 | 35400.00 | VIJAYS S PIMPLE
15.08 | 100 mm dia G.I.Pipe | 60.00 | m |  | 1945.00 | 116700.00 | 116700.00 | VIJAYS S PIMPLE
16.00 | Plumbing Material (B) Supply of good quality ISI marked G.I.union complete as per technical specification as and when required and as directed by Engineer In-charge.
16.01 | 15 mm G.I. Union | 30.00 | each |  | 75.00 | 2250.00 | 2250.00 | VIJAYS S PIMPLE
16.02 | 20 mm G.I. Union | 30.00 | each |  | 102.00 | 3060.00 | 3060.00 | VIJAYS S PIMPLE
16.03 | 25 mm G.I. Union | 20.00 | each |  | 135.00 | 2700.00 | 2700.00 | VIJAYS S PIMPLE
16.04 | 32 mm G.I. Union | 10.00 | each |  | 205.00 | 2050.00 | 2050.00 | VIJAYS S PIMPLE
16.05 | 40 mm G.I. Union | 10.00 | each |  | 245.00 | 2450.00 | 2450.00 | VIJAYS S PIMPLE
16.06 | 50 mm G.I. Union | 20.00 | each |  | 370.00 | 7400.00 | 7400.00 | VIJAYS S PIMPLE
16.07 | 63 mm G.I. Union | 10.00 | each |  | 715.00 | 7150.00 | 7150.00 | VIJAYS S PIMPLE
16.08 | 80 mm G.I. Union | 5.00 | each |  | 975.00 | 4875.00 | 4875.00 | VIJAYS S PIMPLE
16.09 | 100 mm G.I. Union | 10.00 | each |  | 1490.00 | 14900.00 | 14900.00 | VIJAYS S PIMPLE
17.00 | Plumbing Material (C): Supply of good quality ISI marked G.I.elbow complete as per technical specification as and when required and as directed by Engineer In-charge.
17.01 | 15 mm G.I.elbow | 10.00 | each |  | 25.50 | 255.00 | 255.00 | VIJAYS S PIMPLE
17.02 | 20 mm G.I.elbow | 10.00 | each |  | 45.00 | 450.00 | 450.00 | VIJAYS S PIMPLE
17.03 | 25 mm G.I.elbow | 10.00 | each |  | 65.00 | 650.00 | 650.00 | VIJAYS S PIMPLE
17.04 | 32 mm G.I.elbow | 5.00 | each |  | 95.00 | 475.00 | 475.00 | VIJAYS S PIMPLE
17.05 | 40 mm G.I.elbow | 5.00 | each |  | 135.00 | 675.00 | 675.00 | VIJAYS S PIMPLE
17.06 | 50 mm G.I.elbow | 5.00 | each |  | 205.00 | 1025.00 | 1025.00 | VIJAYS S PIMPLE
17.07 | 63 mm G.I.elbow | 5.00 | each |  | 380.00 | 1900.00 | 1900.00 | VIJAYS S PIMPLE
17.08 | 80 mm G.I.elbow | 5.00 | each |  | 520.00 | 2600.00 | 2600.00 | VIJAYS S PIMPLE
17.09 | 100 mm G.I.elbow | 5.00 | each |  | 920.00 | 4600.00 | 4600.00 | VIJAYS S PIMPLE
18.00 | Plumbing Material (D): Supply of good quality ISI marked TEE complete as per technical specification as and when required and as directed by Engineer In-charge.
18.01 | 15 mm tee | 10.00 | each |  | 45.00 | 450.00 | 450.00 | VIJAYS S PIMPLE
18.02 | 20 mm tee | 10.00 | each |  | 60.00 | 600.00 | 600.00 | VIJAYS S PIMPLE
18.03 | 25 mm tee | 10.00 | each |  | 85.00 | 850.00 | 850.00 | VIJAYS S PIMPLE
18.04 | 32 mm tee | 5.00 | each |  | 128.00 | 640.00 | 640.00 | VIJAYS S PIMPLE
18.05 | 40 mm tee | 5.00 | each |  | 170.00 | 850.00 | 850.00 | VIJAYS S PIMPLE
18.06 | 50 mm tee | 5.00 | each |  | 260.00 | 1300.00 | 1300.00 | VIJAYS S PIMPLE
18.07 | 63 mm tee | 5.00 | each |  | 490.00 | 2450.00 | 2450.00 | VIJAYS S PIMPLE
18.08 | 80 mm tee | 5.00 | each |  | 705.00 | 3525.00 | 3525.00 | VIJAYS S PIMPLE
18.09 | 100 mm tee | 5.00 | each |  | 1180.00 | 5900.00 | 5900.00 | VIJAYS S PIMPLE
19.00 | Plumbing Material (E): Supply of good quality ISI marked SOCKET complete as per technical specification as and when required and as directed by Engineer In-charge.
19.01 | 15 mm socket | 10.00 | each |  | 15.50 | 155.00 | 155.00 | VIJAYS S PIMPLE
19.02 | 20 mm socket | 10.00 | each |  | 23.50 | 235.00 | 235.00 | VIJAYS S PIMPLE
19.03 | 25 mm socket | 10.00 | each |  | 31.50 | 315.00 | 315.00 | VIJAYS S PIMPLE
19.04 | 32 mm socket | 5.00 | each |  | 49.00 | 245.00 | 245.00 | VIJAYS S PIMPLE
19.05 | 40 mm socket | 5.00 | each |  | 60.00 | 300.00 | 300.00 | VIJAYS S PIMPLE
19.06 | 50 mm socket | 5.00 | each |  | 145.00 | 725.00 | 725.00 | VIJAYS S PIMPLE
19.07 | 63 mm socket | 5.00 | each |  | 145.00 | 725.00 | 725.00 | VIJAYS S PIMPLE
19.08 | 80 mm socket | 5.00 | each |  | 215.00 | 1075.00 | 1075.00 | VIJAYS S PIMPLE
19.09 | 100 mm socket | 5.00 | each |  | 340.00 | 1700.00 | 1700.00 | VIJAYS S PIMPLE
20.00 | Plumbing Material (F): Supply of good quality ISI marked Heavy bend complete as per technical specification as and when required and as directed by Engineer In-charge.
20.01 | 15 mm heavy bend | 10.00 | each |  | 60.00 | 600.00 | 600.00 | VIJAYS S PIMPLE
20.02 | 20 mm heavy bend | 10.00 | each |  | 85.00 | 850.00 | 850.00 | VIJAYS S PIMPLE
20.03 | 25 mm heavy bend | 10.00 | each |  | 120.00 | 1200.00 | 1200.00 | VIJAYS S PIMPLE
20.04 | 32 mm heavy bend | 5.00 | each |  | 195.00 | 975.00 | 975.00 | VIJAYS S PIMPLE
20.05 | 40 mm heavy bend | 5.00 | each |  | 245.00 | 1225.00 | 1225.00 | VIJAYS S PIMPLE
20.06 | 50 mm heavy bend | 5.00 | each |  | 395.00 | 1975.00 | 1975.00 | VIJAYS S PIMPLE
20.07 | 63 mm heavy bend | 5.00 | each |  | 680.00 | 3400.00 | 3400.00 | VIJAYS S PIMPLE
20.08 | 80 mm heavy bend | 5.00 | each |  | 1020.00 | 5100.00 | 5100.00 | VIJAYS S PIMPLE
20.09 | 100 mm heavy bend | 5.00 | each |  | 1680.00 | 8400.00 | 8400.00 | VIJAYS S PIMPLE
21.00 | Plumbing Material (G): Supply of good quality ISI marked Reducer Elbow complete as per technical specification as and when required and as directed by Engineer In-charge.
21.01 | 20 mm Reducer Elbow | 20.00 | each |  | 75.00 | 1500.00 | 1500.00 | VIJAYS S PIMPLE
21.02 | 25 mm Reducer Elbow | 20.00 | each |  | 95.00 | 1900.00 | 1900.00 | VIJAYS S PIMPLE
21.03 | 32 mm Reducer Elbow | 20.00 | each |  | 110.00 | 2200.00 | 2200.00 | VIJAYS S PIMPLE
22.00 | Plumbing Material (H): Supply of good quality ISI marked Non return valve (Vertical) complete as per technical specification as and when required and as directed by Engineer In-charge.
22.01 | 50mm Dia. Non return valve Vertical | 5.00 | each |  | 3255.00 | 16275.00 | 16275.00 | VIJAYS S PIMPLE
22.02 | 65mm Dia. Non return valve Vertical | 5.00 | each |  | 4160.00 | 20800.00 | 20800.00 | VIJAYS S PIMPLE
22.03 | 80mm Dia. Non return valve Vertical | 2.00 | each |  | 9080.00 | 18160.00 | 18160.00 | VIJAYS S PIMPLE
22.04 | 100mm Dia. Non return valve Vertical | 2.00 | each |  | 17150.00 | 34300.00 | 34300.00 | VIJAYS S PIMPLE
23.00 | Plumbing Material (I): Supply of good quality ISI marked Brass ferrule complete as per complete technical specification as and when required and as directed by Engineer In-charge.
23.01 | 15 mm Brass ferrule | 2.00 | each |  | 525.00 | 1050.00 | 1050.00 | VIJAYS S PIMPLE
23.02 | 20 mm Brass ferrule | 2.00 | each |  | 840.00 | 1680.00 | 1680.00 | VIJAYS S PIMPLE
23.03 | 25 mm Brass ferrule | 2.00 | each |  | 1620.00 | 3240.00 | 3240.00 | VIJAYS S PIMPLE
24.00 | Plumbing Material (J): Supply of good quality ISI marked HDPE CYLINDRICAL Vertical Storage Water Tank complete as per technical specification as and when required and as directed by Engineer In-charge.
24.01 | HDPE CYLINDRICAL Vertical Storage Water Tank 1000 lit Capacity | 2.00 | each |  | 9090.00 | 18180.00 | 18180.00 | VIJAYS S PIMPLE
24.02 | HDPE CYLINDRICAL Vertical Storage Water Tank 2000 lit Capacity | 1.00 | each |  | 18180.00 | 18180.00 | 18180.00 | VIJAYS S PIMPLE
24.03 | HDPE CYLINDRICAL Vertical Storage Water Tank 5000 lit Capacity | 1.00 | each |  | 44850.00 | 44850.00 | 44850.00 | VIJAYS S PIMPLE
25.00 | Plumbing Material (K): Supply of good quality ISI marked GM Gate Valves with hand wheel confriming to IS-778. complete as per technical specification as and when required and as directed by Engineer In-charge.
25.01 | GM Gate Valves - 15mm n.b. | 5.00 | each |  | 710.00 | 3550.00 | 3550.00 | VIJAYS S PIMPLE
25.02 | GM Gate Valves - 20mm n.b. | 4.00 | each |  | 1050.00 | 4200.00 | 4200.00 | VIJAYS S PIMPLE
25.03 | GM Gate Valves - 25mm n.b. | 3.00 | each |  | 1280.00 | 3840.00 | 3840.00 | VIJAYS S PIMPLE
25.04 | GM Gate Valves - 32mm n.b. | 2.00 | each |  | 1990.00 | 3980.00 | 3980.00 | VIJAYS S PIMPLE
25.05 | GM Gate Valves - 40mm n.b. | 2.00 | each |  | 2885.00 | 5770.00 | 5770.00 | VIJAYS S PIMPLE
25.06 | GM Gate Valves - 50mm n.b. | 2.00 | each |  | 4320.00 | 8640.00 | 8640.00 | VIJAYS S PIMPLE
25.07 | GM Gate Valves - 63mm n.b. | 2.00 | each |  | 7175.00 | 14350.00 | 14350.00 | VIJAYS S PIMPLE
25.08 | GM Gate Valves - 80mm n.b. | 2.00 | each |  | 10545.00 | 21090.00 | 21090.00 | VIJAYS S PIMPLE
25.09 | GM Gate Valves - 100mm n.b. | 2.00 | each |  | 21415.00 | 42830.00 | 42830.00 | VIJAYS S PIMPLE
26.00 | Plumbing Material (L): Supply of good quality ISI marked reducer complete as per technical specification as and when required and as directed by Engineer In-charge.
26.01 | 1/2" x 3/4" reducer | 20.00 | each |  | 39.00 | 780.00 | 780.00 | VIJAYS S PIMPLE
26.02 | 1/2" x 1 " reducer | 20.00 | each |  | 40.00 | 800.00 | 800.00 | VIJAYS S PIMPLE
26.03 | 3/4" x 1 " reducer | 20.00 | each |  | 41.00 | 820.00 | 820.00 | VIJAYS S PIMPLE
27.00 | Plumbing Material (M): Supply of good quality ISI marked TEE Reducer complete as per technical specification as and when required and as directed by Engineer In-charge.
27.01 | 1/2" x 3/4" TEE reducer | 20.00 | each |  | 52.00 | 1040.00 | 1040.00 | VIJAYS S PIMPLE
27.02 | 1/2" x 1 " TEE reducer | 20.00 | each |  | 115.00 | 2300.00 | 2300.00 | VIJAYS S PIMPLE
27.03 | 3/4" x 1 " TEE reducer | 20.00 | each |  | 115.00 | 2300.00 | 2300.00 | VIJAYS S PIMPLE
28.00 | Plumbing Material (N): Supply of good quality ISI marked Nipple complete as per technical specification as and when required and as directed by Engineer In-charge.
28.01 | 15 mm Nipple | 20.00 | each |  | 29.00 | 580.00 | 580.00 | VIJAYS S PIMPLE
28.02 | 20 mm Nipple | 20.00 | each |  | 37.00 | 740.00 | 740.00 | VIJAYS S PIMPLE
28.03 | 25 mm Nipple | 20.00 | each |  | 52.00 | 1040.00 | 1040.00 | VIJAYS S PIMPLE
28.04 | 32 mm Nipple | 20.00 | each |  | 72.00 | 1440.00 | 1440.00 | VIJAYS S PIMPLE
28.05 | 40 mm Nipple | 10.00 | each |  | 75.00 | 750.00 | 750.00 | VIJAYS S PIMPLE
28.06 | 50 mm Nipple | 10.00 | each |  | 82.00 | 820.00 | 820.00 | VIJAYS S PIMPLE
29.00 | Supply of good quality ISI marked following plumbing and sanitary fitting complete as per technical specification as and when required and as directed by Engineer In-charge.
29.01 | Orrisa pattern W/C pan white glazed vitrous china ware size 580 x 440 mm make M/s. Hindustan / CERA/ Neycer/ HindWare or equivalent with P or S trap | 5.00 | each |  | 2085.00 | 10425.00 | 10425.00 | VIJAYS S PIMPLE
29.02 | 8 mm dia C.P. Brass/ S.S. JET spray with 1.00 metre long flexible tube connection with S.S. tringular plate for Eureopean / Anglo Indian closet under seat cover fixtures complete | 20.00 | each |  | 519.00 | 10380.00 | 10380.00 | VIJAYS S PIMPLE
29.03 | 10 Lit PVC Flushing Cistern ISI marked brand with fittings, Accessories and FlushPipe (White) | 10.00 | each |  | 1750.00 | 17500.00 | 17500.00 | VIJAYS S PIMPLE
29.04 | White galzed vitreous China EWC with attached flush tank of 'Hindware / Jaquar /CERA/Hindustan or equivalent' including seat cover | 10.00 | each |  | 15890.00 | 158900.00 | 158900.00 | VIJAYS S PIMPLE
29.05 | satin finish stainless steel AISI 304 (18/8) kitchen sink of size 610 x 510 mm without drain board and 200 mm depth as per IS13983 of approved make, with C.I. brackets, fittings and stainless steel plug 40 mm | 2.00 | each |  | 6150.00 | 12300.00 | 12300.00 | VIJAYS S PIMPLE
29.06 | Vitreous China Laboratory Sink of size 600 x 450 x 200mm of M/s. Hindustan sanitary ware / CERA brand / Neycer or equivalent. | 2.00 | each |  | 7055.00 | 14110.00 | 14110.00 | VIJAYS S PIMPLE
29.07 | white glazed single Half stall Flat Back Urinal of size 610x410x380mm | 10.00 | each |  | 4290.00 | 42900.00 | 42900.00 | VIJAYS S PIMPLE
29.08 | White vitreous China counter top / counter below wash basin size 560 x 410 mm / 560 x 450 mm (OVAL / ROUND Models)- make M/s. Hindustan sanitary ware / CERA brand / Neycer or equivalent. | 10.00 | each |  | 2085.00 | 20850.00 | 20850.00 | VIJAYS S PIMPLE
29.09 | ISI marked C.I. /M.S. brackets | 50.00 | pair |  | 180.00 | 9000.00 | 9000.00 | VIJAYS S PIMPLE
29.10 | ISI marked female threading of heavy qualiy CP brass push cock of SEIKO, ESSCO or equivalent. | 50.00 | each |  | 840.00 | 42000.00 | 42000.00 | VIJAYS S PIMPLE
29.11 | ISI marked ESSCO heavy duty 38 / 40 mm CP Bottle trap | 50.00 | each |  | 885.00 | 44250.00 | 44250.00 | VIJAYS S PIMPLE
29.12 | ISI marked Gun Metal ball valve with suitable length of brass lever rod & PVC ball for over head tank.(size 32 mm / 25 mm) | 10.00 | each |  | 1975.00 | 19750.00 | 19750.00 | VIJAYS S PIMPLE
29.13 | PVC ball valve ( auto type) for automatic flushing cistern. | 5.00 | each |  | 1425.00 | 7125.00 | 7125.00 | VIJAYS S PIMPLE
29.14 | ISI marked - CP stop cock / Angle cock - Jaquor make | 50.00 | each |  | 675.00 | 33750.00 | 33750.00 | VIJAYS S PIMPLE
29.15 | 2 in 1 Angle cock- PLATO / ESSCO make | 5.00 | each |  | 1135.00 | 5675.00 | 5675.00 | VIJAYS S PIMPLE
29.16 | ISI marked Spindle - make Seiko | 20.00 | each |  | 110.00 | 2200.00 | 2200.00 | VIJAYS S PIMPLE
29.17 | ISI marked Heavy quality CP brass screw down Pillar Tap with jam nut, of 15mm n.b. of SEIKO, ESSCO or L&K make. | 10.00 | each |  | 725.00 | 7250.00 | 7250.00 | VIJAYS S PIMPLE
29.18 | ISI marked Heavy quality CP brass screw down Pillar Tap Elbow Operated / Lever operated with jam nut, of 15mm n.b. of Jaquor Make | 10.00 | each |  | 1675.00 | 16750.00 | 16750.00 | VIJAYS S PIMPLE
29.19 | ISI marked Heavy quality CP brass screw down BIB TAPS long body of 15mm n.b. of SEIKO, ESSCO or L&K make. | 10.00 | each |  | 935.00 | 9350.00 | 9350.00 | VIJAYS S PIMPLE
29.20 | ISI marked Heavy quality fancy variety CP brass screw down BIB TAPS long body of M/s. Jaquar / Bilmat/GEM/ Metro or approved equivalent make confirming to IS: 781 of size 15mm. | 5.00 | each |  | 1190.00 | 5950.00 | 5950.00 | VIJAYS S PIMPLE
29.21 | ISI marked Heavy quality Pillar tap- Self Close- Pressomatic series -Jaquar | 10.00 | each |  | 2270.00 | 22700.00 | 22700.00 | VIJAYS S PIMPLE
29.22 | ISI marked Health Faucet -with 1.50 mts Tube - Plato make | 10.00 | each |  | 1150.00 | 11500.00 | 11500.00 | VIJAYS S PIMPLE
29.23 | PVC inlet connection with SS hose suitable for hot water 300mm long | 10.00 | each |  | 115.00 | 1150.00 | 1150.00 | VIJAYS S PIMPLE
29.24 | PVC inlet connection with SS hose suitable for hot water 750mm long | 10.00 | each |  | 138.00 | 1380.00 | 1380.00 | VIJAYS S PIMPLE
29.25 | UPVC/CPVC solvent adhesive | 10.00 | kg |  | 202.00 | 2020.00 | 2020.00 | VIJAYS S PIMPLE
29.26 | Heavy quality PVC Flush tank handle with lever for high/low flushing cistern | 20.00 | each |  | 64.00 | 1280.00 | 1280.00 | VIJAYS S PIMPLE
29.27 | White solid Plastic seat and lid with brass fittings and rubber buffers - | 20.00 | each |  | 860.00 | 17200.00 | 17200.00 | VIJAYS S PIMPLE
29.28 | 15 mm CP Brass Urinal Spreader of "PLATO" or equivaent as per Technical Specification | 50.00 | each |  | 286.00 | 14300.00 | 14300.00 | VIJAYS S PIMPLE
29.29 | 32mm dia C.P. Brass Waste Coupling | 50.00 | each |  | 474.00 | 23700.00 | 23700.00 | VIJAYS S PIMPLE
29.30 | 40mm dia C.P. Brass Waste Coupling | 50.00 | each |  | 160.00 | 8000.00 | 8000.00 | VIJAYS S PIMPLE
29.31 | C.P. Brass Urinal Waste coupling Dome grating. | 50.00 | each |  | 476.00 | 23800.00 | 23800.00 | VIJAYS S PIMPLE
29.32 | 125 mm Aluminium "D" Handle ISI MARKED BRAND | 50.00 | each |  | 72.00 | 3600.00 | 3600.00 | VIJAYS S PIMPLE
29.33 | 600 mm Long CP Brass Towel rail of "Plato" make or equivaent as pe Technical Specification | 10.00 | each |  | 1215.00 | 12150.00 | 12150.00 | VIJAYS S PIMPLE
29.34 | CP brass 100 mm dia shower rose for 15 to 20 mm without Shower arm | 20.00 | each |  | 1002.00 | 20040.00 | 20040.00 | VIJAYS S PIMPLE
29.35 | Syphons assembly including levers for low/high level flushing cistern (PVC/CI suitable to existing) | 10.00 | each |  | 260.00 | 2600.00 | 2600.00 | VIJAYS S PIMPLE
29.36 | Brass Sprinklar | 10.00 | each |  | 700.00 | 7000.00 | 7000.00 | VIJAYS S PIMPLE
29.37 | Taflon Tape | 50.00 | each |  | 24.00 | 1200.00 | 1200.00 | VIJAYS S PIMPLE
30.00 | APPLICABLE TOTAL GST RATE (%) INCLUDED IN THE QUOTED PRICE:
30.01 | CGST RATE(%)
30.02 | SGST RATE(%)
30.03 | IGST RATE(%)
| Total in Figures |  |  |  |  | 70550400.00
Lowest Amount Quoted BY: VIJAYS S PIMPLE(70550400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance of Civil and PH works for main plant buildings and other facilities at TAPS 3 and4 site for the year 2024- 2026. Tender ID: 2024_NPCIL_189814_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VIJAYS S PIMPLE | 70550400.00 | L1