## BoQ1
Government eProcurement System Created By: Basanagouda Naganuri Created Date/Time: 07-Aug-2024 10:56 AM Tender Title: Providing brick wall partition Tender ID: 2024_NPCIL_192300_2
Tender Inviting Authority: Maintenance Superintendent, KGS - 3&4, Kaiga Site.
Name of Work: Providing brick wall partition to the enclosed area at 3rd floor of O&M building at Kaiga Generating Station 3&4, Kaiga.
Contract No: NPCIL/KGS/CTC/C&SM-3&4/CPPP/2024/019
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHILASH N VASAVAN(GSTN-NA)--720444
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part:A Civil works: Dismantling, breaking, chiseling, removing PCC / IPS, RCC with suitable tools including collecting, shifting, loading, carriage, and disposing un wanted debries to the lead of 3000 mtrs. from the place of work including providig, fixing & removing staging, platform wherever, required, complete all as per standard technical specifications and as directed by the Engineer -in-charge at all locations & at all height. | 5.00 | CuM | 998.00 | 1150.00 | 5750.00 | 5750.00 | ABHILASH N VASAVAN
2.00 | Providing & Constructing Burnt Brick Masonry of 230 mm thick in CM 1:5 using well Burnt Bricks of standard size & compressive strength should not be less than 35Kg/cm2 for Super Structure, plinth and all other Miscellaneous Masonry Works, including simultaneous flush pointing, curing, preparation of base properly, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 118.00 | CuM | 7855.00 | 9200.00 | 1085600.00 | 1085600.00 | ABHILASH N VASAVAN
3.00 | Providing and laying Internal Cement Plaster 15 mm thick in CM 1:5 to the masonry & concrete surfaces etc., rubbed perfectly so as to obtain smooth & even finish including preparation of base by racking out all the masonry joints & close hacking the concrete surfaces for proper bonding, curing, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the construction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 1460.00 | SqM | 403.00 | 450.00 | 657000.00 | 657000.00 | ABHILASH N VASAVAN
4.00 | Providing and applying One Coat of Interior Grade Primer [of superior 1st quality & of standard make] and Two Coats of Interior Grade Acrylic Plastic Emulsion Paint [superior 1st quality & of standard make], of shade /colour [as per site requirement & as selected by Engineer-In-Charge], over the interior surface of newly plastered / concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic Putty, [of superior 1st quality & of standard make] to the entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming to relevant BIS specification of latest edition, providing; fixing & removing necessary staging / platform / scaffolding / ladder, collecting & disposing the generated & construction waste, up to a lead of 2 - 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing and as directed by Engineer-In-Charge at all locations & lifts. | 2100.00 | SqM | 194.00 | 225.00 | 472500.00 | 472500.00 | ABHILASH N VASAVAN
5.00 | Providing and laying Double Charge Vitrified Tiles of reputed make, approved shade / colour & thickness of tile shall be 8 mm to 8.9 mm for rooms & passages flooring with 20 mm thick in CM 1:4 [bedding] and for Skirting with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [for Flooring & Skirting] pasting the Vitrified tiles on concrete or on masonry or on plastered surfaces, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended acid washing, including preparation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste up to a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the Engineer-in-charge at all locations and at all lifts/heights. Note: Basic rate of material shall be minimum Rs. 45/- per Sq.ft [excluding GST] | 515.00 | SqM | 1256.00 | 1450.00 | 746750.00 | 746750.00 | ABHILASH N VASAVAN
6.00 | Providing and laying 18 mm to 20 mm thick, mirror polished Granite slab [Jet black / Ruby red / cat eye] for Kitchen platform, landing slab, selves & wash basin etc. over a bedding of 20 mm thick, in CM 1:4 using approved quality, granite stones shall be closely jointed properly, grout filling in the joints with matching pigmented cement slurry [@ 5.0 kgs. of cement / Sqm.], mirror polishing the joints, finished to true line & levels / slope / plumb etc., including preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, machine cutting, smooth rounding all the exposed corners & edges and fixing in wall up to a depth of 75 mm by making the groove of size 75 mm [wide] X 75 mm [deep] in the BB wall / CC wall, providing & filling the gap in PCC 1:2:4 [after fixing the Granite Stone Slab in position to the true line; level & plumb] & finishing smooth, curing, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by Engineer-in-charge at all locations and at all lift / height. Note: Basic rate of 18 - 20 mm thick mirror polished Granite Stone Slab shall not be less than Rs.1400.00 per Sqm. (excluding GST). | 25.00 | SqM | 2688.00 | 3100.00 | 77500.00 | 77500.00 | ABHILASH N VASAVAN
7.00 | Providing and laying ceramic tiles for flooring/ Dado's in washroom areas by using decorative combination tiles [standard make] of size & shade / colour [as per site requirement & as selected by Engineer-in-charge] & thickness of tile shall be 5 mm to 6 mm, for flooring with 20 mm thick in CM 1:4 [bedding], Skirting & Dado with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [Skirting & Dado] pasting the Ceramic tiles on concrete or on masonry or on plastered surfaces, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended washing, preparation of base by close hacking / chipping the old concrete & plastered surface, racking out the masonry joints roughening of existing base & cleaning, collecting & disposing the generated waste, up to a lead of 2000 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by Engineer-in-charge at all locations & lifts / heights. | 117.00 | SqM | 1711.00 | 1950.00 | 228150.00 | 228150.00 | ABHILASH N VASAVAN
8.00 | Providing and laying/fixing Decorative with architectural finish suspended false ceiling using first quality PVC Boards of size 300mmX3000mm X6mm of approved make with GI Grid Work of 600mm X 600mm made out of Perimeter channels [MF6A], Celing Sections [MF5 : placing at 475 mm (maximum) C/C], celing angles 25mm X 25mm Size [placing @ 1220mm (maximum) C/C] including Screws, soffit cleets, nuts & bolts, connecting clips and all other required miscelleneous materials & consumables of approved first quality/make etc., all material shall be confirming to relevent BIS specificationof latest edition , providing; fixing & removing necessary staging / platform, cleaning the wark area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000meters from place of work etc., complete all as per standards / manufacturer specification and as directed by Engineer-In-Charge at all locations & all lift/heights. | 560.00 | SqM | 1863.00 | 2150.00 | 1204000.00 | 1204000.00 | ABHILASH N VASAVAN
9.00 | Providing and fixing Single Rebate Door frames made out of 110 X 65 mm hollow metal pressed steel section [all materials shall be confirming to the BIS 513 of the latest edition] of 1.66 mm thick, galvanized as per BIS 277 of the latest edition with Zinc @ 120 gm. per Sqm., of approved make including preparation of base, providing & fixing four numbers of heavy duty, MS Oxidised Hinges of 125 mm long, three numbers of hold fastes of MS Flats 25 mm X 3 mm X 300 mm long on each side of frame or three numbers of 10 mm dia suitable length anchor fasteners by the side of column [wherever required / as directed], making provision for fixing required hardware fixturers, door closers & fittings, filling the hallow section & embedding the hold fasts using PCC 1:3:6 [using 20 mm down graded stone aggregates with curing], providing & applying metal putty [wherever required], Providing & painting with One Coat of Red oxide Primer / Zinc phosaphate Primer & Two Coats Ist Quality Synthetic Enamel Paint [of asian / beger make, of approved shade / colour] on the all faces of frame, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by Engineer-in-charge at all locations & lifts / heights. | 110.00 | RM | 861.00 | 990.00 | 108900.00 | 108900.00 | ABHILASH N VASAVAN
10.00 | Providing and fixing in position the Factory Made, 30 mm thick, Single / Double Leaf, Flush Door Shutters of boiled water proof solid core block board with 30 X 20 mm external teak wood lipping all-round, bonded with phenol formaldehyde synthetic resin, hot pressed including providing & fixing approved make, [for each shutter] One number of 300 mm long & 16 mm dia Aldrop, One number of 200 mm long & 10 mm dia Tower Bolt; Two numbers of 125 mm grip ,'D' handles, One / Two Number of Door Stopper, One / Two Numbers of Door Bush [Aldrop, Tower Bolts, 'D' handles, Door Stoppers & Door Bushes shall be of reputed make aluminium powder coated], providing, fixing & removing necessary staging / platform, Providing & painting with One Coat of Wood Primer, One Coat of wooden Putty & Two Coats of first quality Synthetic Enamel Paint to the entire shutter, collecting & disposing the generated waste up to a lead of 3000 mtrs.. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by Engineer-in-charge at all locations and at all lift / height. | 41.00 | SqM | 2718.00 | 3150.00 | 129150.00 | 129150.00 | ABHILASH N VASAVAN
11.00 | Providing and laying PCC, 1:2:4 using 20 mm & downsize, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles for plinth, floor & drain bedding & all other various miscellaneous PCC works including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, providing; fixing & removing formwork, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the Engineer-in-charge at all locations and at all lifts/heights. Note: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 2.50 | CuM | 8631.00 | 9920.00 | 24800.00 | 24800.00 | ABHILASH N VASAVAN
12.00 | Providing and laying RCC, 1:1.5:3, using 20 mm & downsize, clean, crushed, well graded of hard, durable and approved quality for RCC works including mixing [valumatric / as directed by Engineer-in-charge] including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the Engineer-in-charge at all locations and at all lifts/heights. Note: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 8.00 | CuM | 9542.00 | 10950.00 | 87600.00 | 87600.00 | ABHILASH N VASAVAN
13.00 | Providing and laying reputed make high yeild strength deformed Reinforcement Bars of all diameters confirming to grade D-500 of IS:1786 [latest edition] including preperation of base, cutting, bending, transporting, placing in position & providing & tying using binding wire of suitable guage [soft annealed binding wire] for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly] ,providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the Engineer-in-charge at all locations and at all lifts/heights. | 1000.00 | Kgs | 111.00 | 110.00 | 110000.00 | 110000.00 | ABHILASH N VASAVAN
14.00 | Providing, placing and removing formwork for all in-situ concrete works including providing,fixing & removing centering, shuttering, supports, brackets, clips, preperation of surface etc, providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the Engineer-in-charge at all locations and at all lifts/heights. Note: The measurement shallm be made for the form work in contact with concrete surface. | 130.00 | SqM | 528.00 | 610.00 | 79300.00 | 79300.00 | ABHILASH N VASAVAN
15.00 | Providing and fixing Vertical Venetian Blinds [of superior 1st quality, of standard make & confirming to rel;avent BIS specification of latest edition] with all necessary fittings, fixturers & selfb threaded screws [of superior 1st quality, of standard make & confirming to rel;avent BIS specification of latest edition], shade / colour and size / length [as per site requirement & as selected by Engineer-in-charge] & width [width of strip shall be as per manufacturers specification] includung preparation of base, providing; fixing & removing necessary staging / platform / ladder / scaffolding [if required], collecting & disposing the costruction & generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by Engineer-in-charge at all locations and at all lifts / heights. | 58.00 | SqM | 1361.00 | 1550.00 | 89900.00 | 89900.00 | ABHILASH N VASAVAN
16.00 | Part:B Water supply & Sanitary works: Providing and fixing in position White Indian Water Closet, ORISSA PAN of size 580 mm X 440 mm X 300 mm of standard make with 'P'or 'S' trap [all maerials shall be of superior 1st quality & of reputed make & confirming to relavent BIS specification of latest edition] with or without vent with all jointing materials, including necessary excavation, breaking of floor / PCC & other finishes etc. & cleaning the area, making hole in masonry & making good the same, encasing the pan & trap with PCC & backfilling extra space with river sand of good quality, curing, finishing the same & ensuring smooth functioning, collecting & disposing the generated waste, up to a lead of 3000 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by Engineer-in-charge at all locations & lift / heights Note: 1) Providing & placing of PCC 1:2:4 will be paid under relevant PCC Item 12A. 2) For Type, Size, Shape and Pattern Parryware White Indian Water Closet Model No. C0117 is to be referred | 1.00 | Each | 3701.00 | 4250.00 | 4250.00 | 4250.00 | ABHILASH N VASAVAN
17.00 | Providing and fixing white vitreous china Wall Mounting type water closet (European type) with seat and lid, 10 litre Capacity low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, Standard health faucet , overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required, ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 2.00 | Each | 9269.00 | 10382.00 | 20764.00 | 20764.00 | ABHILASH N VASAVAN
18.00 | Providing and fixing in position Hindware / Parryware make white vitreous china Hand Wash Basin of size 550 X 400 mm with Plain Rims. One number 15 NB CP brass stop cock [weighing not less than 450 gm.], One number of 15 NB CP brass Piller cock [weighing not less than 450 gm.], One number one meter long PVC waste pipe, One number of 32 NB CP brass Waste Coupling, One number [450 mm long] 15 NB PVC Inlet Connector, One Pair brackets [brackets shall be painted with One Coat of Red Oxide Primer and Two Coats of approved synthetic enamel paint of approved shade / colour. All materials shall be of approved quality including chipping the wall / making hole in the wall for fixing the brackets in position, finishing the same & ensuring smooth functioning, prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 6.00 | Each | 4163.00 | 4785.00 | 28710.00 | 28710.00 | ABHILASH N VASAVAN
19.00 | Providing and fixing "SEIKO make", 15 NB C.P Brass clutch head Long body Bib tap with all its required accessories and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 7.00 | Each | 945.00 | 1050.00 | 7350.00 | 7350.00 | ABHILASH N VASAVAN
20.00 | Providing and fixing "SEIKO make", 15 NB C.P Brass clutch head Short body Bib tap with all its required accessories and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 3.00 | Each | 485.00 | 550.00 | 1650.00 | 1650.00 | ABHILASH N VASAVAN
21.00 | Providing and laying / fixing CPVC Pipes ( SDR 11) with its all required plain & brass threaded fittings ( Such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings [BIS 2065 of the latest edition] of Ashirvad / Finolex / Supreme make inclunding concealing in the wall ( Makinf groove of 75 mm deep in wall with suitavle width and finishing same with PCC 1:2: 4 - Using 6 mm downsize aggregate & plastering in cm 1:5) with suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all material like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water ( As per specification) and ensuring smooth functioning, providing , fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height.
21.10 | 15 mm | 20.00 | RM | 482.00 | 550.00 | 11000.00 | 11000.00 | ABHILASH N VASAVAN
21.20 | 20 mm | 15.00 | RM | 544.00 | 625.00 | 9375.00 | 9375.00 | ABHILASH N VASAVAN
21.30 | 25 mm | 20.00 | RM | 608.00 | 700.00 | 14000.00 | 14000.00 | ABHILASH N VASAVAN
21.40 | 32 mm | 15.00 | RM | 759.00 | 850.00 | 12750.00 | 12750.00 | ABHILASH N VASAVAN
22.00 | Providing and fixing PVC heavy duty Nahani Trap (SWR Fittings IS:14735) [floor trap] 100 X 75mm of self cleaning design with 75 mm. outlet having a minimum water seal of 50 mm of Approved Brand / make with PVC grating of 125 mm dia [of approved quality & make], finishing neatly, curing, ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 10.00 | Each | 556.00 | 625.00 | 6250.00 | 6250.00 | ABHILASH N VASAVAN
23.00 | Providing and fixing "SEIKO make", 15 NB C.P Brass clutch head Pillar taps with all its required accessories and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 7.00 | Each | 921.00 | 1050.00 | 7350.00 | 7350.00 | ABHILASH N VASAVAN
24.00 | Providing and fixing SEIKO make 15 NB C.P Brass clutch head Angle taps with all its required accessories and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 3.00 | Each | 740.00 | 850.00 | 2550.00 | 2550.00 | ABHILASH N VASAVAN
25.00 | Providing and fixing in position 10 Litres Capacity [of parry ware make (cat. No. C - 8090)]; Automatic white Flushing Cistern with all internal fittings & accessories, assembling the cistern components including providing and fixing One Number of 15 NB Angle Cock / Valve & One Number of 15 NB PVC Inlet Connector; 600 mm. long [of Kohinoor / Symet make] with brass checknuts at both ends & with 'X' Nipple, necessary PVC Flush bend, washer, suitable tools & tackles and required consumables etc.,complete as per specifications confirming to IS 2556-1970 with all necessary jointing materials, chasing / making holes in masonry, making good the surface, providing 25 mm. dia GI [medium duty] over flow pipe embedded in wall, brought up to 150 mm. above floor level, with brass mosquito proof net at end, preparation of base properly, ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 3.00 | Each | 4789.00 | 5500.00 | 16500.00 | 16500.00 | ABHILASH N VASAVAN
26.00 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329, 100 mm dia Ductile Iron Class LA pipes with all specials [such as Tees; bends; junction with or without doors; flanges and all other required fittings etc.] including providing & fixing necessary clamps, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 12.00 | RM | 1783.00 | 2050.00 | 24600.00 | 24600.00 | ABHILASH N VASAVAN
27.00 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329, 150 mm dia Ductile Iron Class LA pipes with all specials [such as Tees; bends; junction with or without doors; flanges and all other required fittings etc.] including providing & fixing necessary clamps, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by Engineer-in-charge at all locations and at all lift & height. | 12.00 | RM | 2857.00 | 3250.00 | 39000.00 | 39000.00 | ABHILASH N VASAVAN
| Total in Figures |  |  |  |  | 5312999.00
Lowest Amount Quoted BY: ABHILASH N VASAVAN(5312999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing brick wall partition Tender ID: 2024_NPCIL_192300_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHILASH N VASAVAN | 5312999.00 | L1