## BoQ1
Government eProcurement System Created By: Sonu Kumar Rai Created Date/Time: 01-Jul-2024 11:50 AM Tender Title: Annual Misc Maintenance Work for Sewage Treatment Plant Tender ID: 2024_NPCIL_193026_1
Tender Inviting Authority: Maintenance Superientedent
Name of Work:Annual Misc. Maintenance work for sewage treatment plant and water supply system.
Contract No: NAPS/CTC/CVL/2024/PT/1078
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | raghav constructions(GSTN-NA)--698456 |  | Technical Construction Co.(GSTN-NA)--700583 |  | NEW TECH ENGINEERING CO.(GSTN-NA)--700896 |  | ROYAL ENGINEERING SERVICES(GSTN-NA)--699184
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.50 | Part-1 Service
1.00 | Round 'O' Clock shift for operation of Sewage Treatment Plant at NAPS Township and Pump houses (water supply) at NAPS Township, CISF Complex & Plant site by deploying in 04 crews each consists of 04 operators thus total 16 operators. One operation means deployment of three shifts (12 operators) each for 08 hours. | 730.00 | Operation |  | 8330.00 | 6080900.00 | 8150.00 | 5949500.00 | 11900.00 | 8687000.00 | 10200.00 | 7446000.00 | 5949500.00 | Technical Construction Co.
2.00 | Removing the stone aggregate and sand from the filter beds (Drying Beds) and re-use after cleaning, supplying and placing new stone aggregate of different sizes {63mm(0.5 Cum), 40mm(0.5 Cum),20mm (1 cum),12.5mm (2.7 CuM) & coarse sand (badarpur) (7.2 CuM)} of approved quality as per requirement as directed by EIC and surplus material disposing off in low-lying areas. | 1.00 | Nos |  | 12000.00 | 12000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 22000.00 | 22000.00 | 12000.00 | raghav constructions
3.00 | Removing the sludge etc. from the sludge drying beds (Bed Size 11.37 Mtr. x 6.33 Mtr. Appx.) and stacking the removed sludge within a distance of 500m including rectification & Placing already supplied new coarse sand (badarpur) against item No.34 of Part-2 (Supply items) needed as directed by the EIC. | 40.00 | Operation |  | 1850.00 | 74000.00 | 3500.00 | 140000.00 | 4000.00 | 160000.00 | 1800.00 | 72000.00 | 72000.00 | ROYAL ENGINEERING SERVICES
4.00 | Removing effluent/sludge for cleaning and disposing of same within a distance of 500m including Supplying & painting with bitumen paint on internal surface, piping arrangements, parts etc. as directed by the EIC complete job including making arrangements for functioning the units in services.
4.10 | Primary clarifiers(Size 7.90 mtr dia x 2.28 mtr height), aerators (Size 9.15 mtr dia x 3.04 mtr height) and secondary clarifiers (Size 9.15 mtr dia x 3.04 mtr height) at STP. Frequency of cleaning once in year each unit . | 4.00 | Operation |  | 12000.00 | 48000.00 | 20000.00 | 80000.00 | 15000.00 | 60000.00 | 17000.00 | 68000.00 | 48000.00 | raghav constructions
4.20 | Raw sewage sump. Frequency of cleaning once in a year. | 2.00 | Operation |  | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 4000.00 | raghav constructions
4.30 | Chlorination sump. Frequency of cleaning once in a year. | 2.00 | Operation |  | 1800.00 | 3600.00 | 15000.00 | 30000.00 | 3800.00 | 7600.00 | 2800.00 | 5600.00 | 3600.00 | raghav constructions
5.00 | Cleaning of primary clarifiers, secondary clarifiers, aerators etc. by deploying services of one unskilled cleaner on all days and as directed by EIC. | 730.00 | Activity |  | 550.00 | 401500.00 | 600.00 | 438000.00 | 900.00 | 657000.00 | 600.00 | 438000.00 | 401500.00 | raghav constructions
6.00 | Maintenance, overhauling & replacement of spares for STP, Swimming pool and domestic water pump house equipments at NAPS/CISF Township & Plant site, by deploying 03 technicians (01 MECHNIC, 01 ELECTRICIAN & 01 PLUMBER) and one helper as directed by EIC. Total maintenance of STP & all pumphouses etc will be the responsibility of these three technicians, hence trained technicians to be deployed for this work. Note : Eight working hours duty per person will be considered as one activity.
6.10 | Services of skilled person | 1734.00 | Activity |  | 750.00 | 1300500.00 | 900.00 | 1560600.00 | 1200.00 | 2080800.00 | 900.00 | 1560600.00 | 1300500.00 | raghav constructions
6.20 | Services of Unskilled person | 575.00 | Activity |  | 550.00 | 316250.00 | 600.00 | 345000.00 | 900.00 | 517500.00 | 600.00 | 345000.00 | 316250.00 | raghav constructions
7.00 | Cleaning of main overhead water tank (Township & CISF Complex) including underground water tank (including de-watering) wall surfaces & bottom surface cleaning using bleaching Powder & Potassium permagnate (KMNO4) for cleaning as directed by EIC. All the material like as Bleaching powder, Potassium permagnate etc. are in the scope of contractor. Note : 1. Frequency of Cleaning once in 6 months duration. 2. Date of cleaning has to be written by paint (Provided by contractor) at existing location after re-painting the base. | 8.00 | Nos. |  | 3500.00 | 28000.00 | 2000.00 | 16000.00 | 5000.00 | 40000.00 | 3400.00 | 27200.00 | 16000.00 | Technical Construction Co.
8.00 | Cleaning of water storage tanks using bleaching powder & KMNO4, attached to all residential & public buildings both domestic & flushing tanks & making minor repair of valves & covers if necessary to operate & placed in correct position as directed by engineer. All the tanks has to be cleaned within 3 months duration. List No.1 of tanks is enclosed with technical specification. Note:1. Frequency of cleaning once in 6 months duration immediatey after cleaning of over head water tank. 2. The cleaning material like as Bleaching powder, Potassium permagnate etc. are in the scope of contractor. 3. Date of cleaning has to be written by paint (Provided by contractor) at existing location after re-painting the base. | 4144.00 | Nos. |  | 80.00 | 331520.00 | 45.00 | 186480.00 | 100.00 | 414400.00 | 120.00 | 497280.00 | 186480.00 | Technical Construction Co.
9.00 | Cleaning of foreign material from the sluice valve chambers and placing back the cover in position after cleaning & disposing the rubbish in low-lying area as directed by EIC. List No.2 of Chambers is enclosed with technical specification. Frequency of Cleaning once in 6 months duration. | 556.00 | Nos. |  | 35.00 | 19460.00 | 50.00 | 27800.00 | 100.00 | 55600.00 | 50.00 | 27800.00 | 19460.00 | raghav constructions
10.00 | Cleaning of under ground water tanks at Guest House, SPH & Trainee Hostel including de-watering, Wall surface & bottom surface cleaning using bleaching Powder & Potassium permagnate (KMNO4) as directed by EIC. All the material like as Bleaching powder, Potassium permagnate etc. are in the scope of contractor. Note : 1. Frequency of Cleaning once in 6 months duration. 2. Date of cleaning has to be written by paint (Provided by contractor) at existing location after re-painting the base.
10.10 | Guest House | 4.00 | Nos. |  | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 2100.00 | 8400.00 | 6000.00 | Technical Construction Co., NEW TECH ENGINEERING CO.
10.20 | SPH | 4.00 | Nos. |  | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 2100.00 | 8400.00 | 6000.00 | Technical Construction Co., NEW TECH ENGINEERING CO.
10.30 | Trainees Hostel | 4.00 | Nos. |  | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 2100.00 | 8400.00 | 6000.00 | Technical Construction Co., NEW TECH ENGINEERING CO.
11.00 | Cleaning of silt / obstacles etc. from inspection chambers, man holes and roding, to clear sewer line between the chambers and disposing off the silt / obstacles in low lying areas in NAPS Township as directed by EIC. Frequency of Cleaning once in year.
11.10 | For man hole chambers List No.3 of Manhole chambers is enclosed with technical specification. | 600.00 | Nos. |  | 90.00 | 54000.00 | 45.00 | 27000.00 | 750.00 | 450000.00 | 150.00 | 90000.00 | 27000.00 | Technical Construction Co.
11.20 | For inspection chamber List No.4 of Inspection chambers is enclosed with technical specification. | 2110.00 | Nos. |  | 50.00 | 105500.00 | 45.00 | 94950.00 | 50.00 | 105500.00 | 50.00 | 105500.00 | 94950.00 | Technical Construction Co.
12.00 | Supplying laying, replacing & jointing glazed stoneware pipes - 150mm dia, with stiff mixture of cement mortar in the proportion of 1:1 (1 part of cement : 1 part of Coarse sand) including testing of joints etc. complete as per directions of EIC. | 15.00 | RM |  | 250.00 | 3750.00 | 600.00 | 9000.00 | 750.00 | 11250.00 | 580.00 | 8700.00 | 3750.00 | raghav constructions
13.00 | Bacteriological analyzing of drinking water of NAPS Township & CISF Complex etc and analyzing of sewage samples of Sewage treatment plant at NAPS township to be sent in standard test glass bottle provided by contractor for testing in NABL approved lab and submitting the Test report at the office of EIC for following analysis: Please read Clause 3.20.3 of SCC for penalty
13.10 | Drinking Water Analysis for Coliform & E-Coli as per IS / APHA once in six months for entire period of contract as per direction of EIC. (Two sample - One from NAPS Township & one from CISF Colony in every six months duration) | 8.00 | Per Sample |  | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 2500.00 | 20000.00 | 1200.00 | 9600.00 | 8000.00 | raghav constructions
13.20 | Sewage Inlet Inffluent of STP as per IS / APHA for Total Suspended solids (TSS) mg/l, Biochemical Oxygen Demand (BOD) at 20 degree C for 5 days mg/l, pH, Chemical Oxygen Demand (COD) mg/l, Dissolved Oxygen (DO) mg/l, Total Nitrogen mg/l & Fecal Colifarm MPN/100ml, once in a month for entire period of contract as per directions of EIC. | 24.00 | Per Sample |  | 2500.00 | 60000.00 | 4000.00 | 96000.00 | 4500.00 | 108000.00 | 2500.00 | 60000.00 | 60000.00 | raghav constructions, ROYAL ENGINEERING SERVICES
13.30 | Sewage Outlet Effluent of outlet discharge from NAPS Township STP as per IS / APHA for Total Suspended solids (TSS) mg/l, Biochemical Oxygen Demand (BOD) at 20 degree C for 5 days mg/l, pH, Chemical Oxygen Demand (COD) mg/l, Dissolved Oxygen (DO) mg/l, Total Nitrogen mg/l & Fecal Colifarm MPN/100ml, once in a month for entire period of contract as per directions of EIC. | 24.00 | Per Sample |  | 2500.00 | 60000.00 | 4000.00 | 96000.00 | 4500.00 | 108000.00 | 2500.00 | 60000.00 | 60000.00 | raghav constructions, ROYAL ENGINEERING SERVICES
13.40 | Sewage Aerator Water sample from NAPS Township STP as per IS / APHA for Mixed Liquor Suspended (MLSS) mg/l, two in a month (From Aerator 1 & 2) for entire period of contract as per directions of EIC | 48.00 | Per Sample |  | 700.00 | 33600.00 | 4000.00 | 192000.00 | 1500.00 | 72000.00 | 700.00 | 33600.00 | 33600.00 | raghav constructions, ROYAL ENGINEERING SERVICES
14.00 | Cleaning of existing fountains (including de-watering) wall & bottom surface using bleaching Powder provided by contractor as directed by EIC. Note: Six number total fountains to be cleaned on Twice in a monthly. (List of fountains attached in Technical specification as per List No. -5) | 270.00 | Nos. |  | 300.00 | 81000.00 | 350.00 | 94500.00 | 400.00 | 108000.00 | 350.00 | 94500.00 | 81000.00 | raghav constructions
15.00 | Cleaning of drain from temple (Outside NAPS Township boundary wall) to Opp. of CISF gate by removing of dirt/sludge and disposing of same within a distance of 1.5 Km. Frequency once in a month for entire period of contract as per directions of EIC. | 24.00 | Operation |  | 1500.00 | 36000.00 | 5000.00 | 120000.00 | 5000.00 | 120000.00 | 2800.00 | 67200.00 | 36000.00 | raghav constructions
16.00 | Calibration & sealing of water meter per year through senior inspector legal metrology (weight and measurement) Anoopshahr (Ten number water meter every year) Please read Clause 3.20.4 of SCC for penalty | 20.00 | Nos. |  | 6500.00 | 130000.00 | 7000.00 | 140000.00 | 4500.00 | 90000.00 | 6500.00 | 130000.00 | 90000.00 | NEW TECH ENGINEERING CO.
17.00 | Maintenance and replacement of damage parts of Borewell Submersible pumps & motors of following, including all spares like as Adjusting Collar, Alen Bolts, Bush upper & lower, Cable grommet, Circlip, Nuts, O'ring, oil seal, Impaller, D.O.L. bush, Neck ring etc & motor winding, including transportation to and from site to be arranged by contractor. If any defect arises within one year duration from the date of maintenance will be done free of cost.
17.10 | Approx. 1 HP to 1.5 HP | 2.00 | Nos |  | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 3000.00 | raghav constructions
18.00 | Maintenance and replacement of damage parts of openwell submersible pump & motors etc. of following, including all spares like as Adjusting Collar, Alen Bolts, Bush upper & lower, Cable grommet, Circlip, Nuts, O'ring, oil seal, Impaller, D.O.L. bush, Neck ring etc & motor winding all complete, including transportation to and from site to be arranged by contractor. If any defect arises within one year duration from the date of maintenance will be done free of cost.
18.10 | Approx. 1.5 HP to 2 HP | 1.00 | Nos |  | 1000.00 | 1000.00 | 7000.00 | 7000.00 | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 1000.00 | raghav constructions
18.20 | Approx. 7.5 HP to 10 HP | 4.00 | Nos |  | 8000.00 | 32000.00 | 10000.00 | 40000.00 | 12500.00 | 50000.00 | 15000.00 | 60000.00 | 32000.00 | raghav constructions
19.00 | Maintenance and replacement of damage parts of borewell Submersible pumps & motors (Appx. 17.5 HP to 25 HP) including all spares like as Adjusting Collar, Alen Bolts, Bearing Bush upper & lower, Cable grommet, Ceiling wire, Circlip, Coupling, keys, Nuts, O'ring, oil seal, Impaller, D.O.L. bush, Neck ring etc. & motor winding all complete, through authorised representaive of M/s. Rockwell including transportation to and from site to be arranged by contractor. If any defect arises within one year duration from the date of maintenance will be done free of cost. | 4.00 | Nos |  | 30000.00 | 120000.00 | 25000.00 | 100000.00 | 22000.00 | 88000.00 | 32000.00 | 128000.00 | 88000.00 | NEW TECH ENGINEERING CO.
20.00 | Deploying unskilled manpower for various official functions in NAPS T/Ship like Sports events, DAE Cultural program, National function, AECS function, Union activity, CSR activity etc. Note :1. Eight working hours duty per person will be considered as one activity. 2. Manpower may be required during night functions also. | 150.00 | Activity |  | 550.00 | 82500.00 | 600.00 | 90000.00 | 857.00 | 128550.00 | 550.00 | 82500.00 | 82500.00 | raghav constructions, ROYAL ENGINEERING SERVICES
21.00 | Providing services of Skilled manpower for supervision activity of various civil works, preparation of STP reports, monitoring of STP system, punching of Data, recording and taking measurement, Entry of file & documents for dispatch etc. | 568.00 | Activity |  | 670.00 | 380560.00 | 900.00 | 511200.00 | 1191.00 | 676488.00 | 850.00 | 482800.00 | 380560.00 | raghav constructions
21.50 | Part-2: Supply
22.00 | Supplying for spares of Kay rotary twin lobe compressor Model 55 AC
22.10 | Set of Oil seals (1 Set = 5 Nos.) | 1.00 | SET |  | 200.00 | 200.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 200.00 | raghav constructions
22.20 | Set of Gears Duly Hardened and ground (1 Set = 2 Nos.) | 1.00 | SET |  | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 9000.00 | Technical Construction Co.
22.30 | Set of Lobes Fitted with shaft duly dyna balanced(1set=2 Nos) | 1.00 | SET |  | 15000.00 | 15000.00 | 17000.00 | 17000.00 | 30000.00 | 30000.00 | 65000.00 | 65000.00 | 15000.00 | raghav constructions
22.40 | Bearing Housing PS (1 set = 2 Nos Pulley side) | 1.00 | SET |  | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 7500.00 | 7500.00 | 3000.00 | raghav constructions
22.50 | Bearing Housing GS (1 set = 2 Nos Gear side) | 1.00 | SET |  | 300.00 | 300.00 | 8000.00 | 8000.00 | 4000.00 | 4000.00 | 7500.00 | 7500.00 | 300.00 | raghav constructions
22.60 | Set of Bearings (1 Set = 8 Nos.) | 1.00 | SET |  | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 12000.00 | 12000.00 | 46000.00 | 46000.00 | 2500.00 | raghav constructions
23.00 | Supplying flanged end water flow meter woltman type class"B" Magnetic drive, size 6"(150mm dia). | 2.00 | Nos |  | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 20000.00 | NEW TECH ENGINEERING CO.
24.00 | Supplying flanged end Electromagnetic flow meter Size 100mm, ramote mounting display with 10 mtr. cable | 1.00 | Nos |  | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 30000.00 | NEW TECH ENGINEERING CO.
25.00 | Supply following materials (spares) related to STP compressor, primary and secondary clarifiers, aerators and various pumps etc. as per requirement in two years duration
25.10 | Gland packing (10mm/12mm) | 20.00 | Kg |  | 125.00 | 2500.00 | 400.00 | 8000.00 | 250.00 | 5000.00 | 160.00 | 3200.00 | 2500.00 | raghav constructions
26.00 | V' belt make fenner / JK Transpower / Ecodrive / SKF / Dunlop / Fenolex / Flexer.
26.10 | V' belt (B-70) | 20.00 | Nos |  | 300.00 | 6000.00 | 530.00 | 10600.00 | 250.00 | 5000.00 | 700.00 | 14000.00 | 5000.00 | NEW TECH ENGINEERING CO.
26.20 | V' belt (B-130) | 4.00 | Nos |  | 600.00 | 2400.00 | 950.00 | 3800.00 | 400.00 | 1600.00 | 800.00 | 3200.00 | 1600.00 | NEW TECH ENGINEERING CO.
27.00 | Tyre coupling complete assembly
27.10 | Size F-40 or equal size | 2.00 | Nos |  | 900.00 | 1800.00 | 400.00 | 800.00 | 350.00 | 700.00 | 1250.00 | 2500.00 | 700.00 | NEW TECH ENGINEERING CO.
27.20 | Size F-50 or equal size | 2.00 | Nos |  | 1400.00 | 2800.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 1000.00 | NEW TECH ENGINEERING CO.
27.30 | Size F-60 or equal size | 2.00 | Nos |  | 2200.00 | 4400.00 | 800.00 | 1600.00 | 600.00 | 1200.00 | 2200.00 | 4400.00 | 1200.00 | NEW TECH ENGINEERING CO.
27.40 | Size F-80 or equal size | 2.00 | Nos |  | 2800.00 | 5600.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 3000.00 | 6000.00 | 2000.00 | Technical Construction Co.
28.00 | Tyre of tyre coupling make Fenner / fenaflex / Unique / Ecodrive / Housejoy / Dunlop / JK Transpower.
28.10 | Size F-40 or equal size | 5.00 | Nos |  | 107.00 | 535.00 | 500.00 | 2500.00 | 350.00 | 1750.00 | 300.00 | 1500.00 | 535.00 | raghav constructions
28.20 | Size F-50 or equal size | 10.00 | Nos |  | 300.00 | 3000.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 750.00 | 7500.00 | 3000.00 | raghav constructions
28.30 | Size F-60 or equal size | 10.00 | Nos |  | 380.00 | 3800.00 | 800.00 | 8000.00 | 650.00 | 6500.00 | 930.00 | 9300.00 | 3800.00 | raghav constructions
28.40 | Size F-80 or equal size | 2.00 | Nos |  | 700.00 | 1400.00 | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 1400.00 | raghav constructions
29.00 | Ball Bearing make SKF / FAG / NTN / KOYO / Timken / Nachi / NSK
29.01 | Ball Bearing - 6205 | 20.00 | Nos |  | 150.00 | 3000.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 215.00 | 4300.00 | 3000.00 | raghav constructions
29.02 | Ball Bearing - 6206 | 5.00 | Nos |  | 200.00 | 1000.00 | 560.00 | 2800.00 | 450.00 | 2250.00 | 350.00 | 1750.00 | 1000.00 | raghav constructions
29.03 | Ball Bearing - 6209 | 5.00 | Nos |  | 400.00 | 2000.00 | 800.00 | 4000.00 | 550.00 | 2750.00 | 500.00 | 2500.00 | 2000.00 | raghav constructions
29.04 | Ball Bearing - 6305 | 5.00 | Nos |  | 200.00 | 1000.00 | 420.00 | 2100.00 | 350.00 | 1750.00 | 210.00 | 1050.00 | 1000.00 | raghav constructions
29.05 | Ball Bearing - 6306 | 6.00 | Nos |  | 400.00 | 2400.00 | 600.00 | 3600.00 | 500.00 | 3000.00 | 380.00 | 2280.00 | 2280.00 | ROYAL ENGINEERING SERVICES
29.06 | Ball Bearing - 6307 | 10.00 | Nos |  | 450.00 | 4500.00 | 700.00 | 7000.00 | 550.00 | 5500.00 | 440.00 | 4400.00 | 4400.00 | ROYAL ENGINEERING SERVICES
29.07 | Ball Bearing - 6308 | 10.00 | Nos |  | 480.00 | 4800.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 650.00 | 6500.00 | 4800.00 | raghav constructions
29.08 | Ball Bearing - 6309 | 5.00 | Nos |  | 550.00 | 2750.00 | 1650.00 | 8250.00 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 2750.00 | raghav constructions
29.09 | Ball Bearing - 7209 | 2.00 | Nos |  | 1500.00 | 3000.00 | 3900.00 | 7800.00 | 3200.00 | 6400.00 | 2400.00 | 4800.00 | 3000.00 | raghav constructions
29.10 | Ball Bearing - 7316 | 2.00 | Nos |  | 10000.00 | 20000.00 | 21000.00 | 42000.00 | 10000.00 | 20000.00 | 14500.00 | 29000.00 | 20000.00 | raghav constructions, NEW TECH ENGINEERING CO.
30.00 | Pump Oil Seal
30.10 | Size - 28X38X7 | 10.00 | Nos |  | 20.00 | 200.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 35.00 | 350.00 | 200.00 | raghav constructions
30.20 | Size - 35x56x10 | 5.00 | Nos |  | 20.00 | 100.00 | 150.00 | 750.00 | 100.00 | 500.00 | 45.00 | 225.00 | 100.00 | raghav constructions
30.30 | Size - 40x60x10 | 20.00 | Nos |  | 20.00 | 400.00 | 220.00 | 4400.00 | 100.00 | 2000.00 | 55.00 | 1100.00 | 400.00 | raghav constructions
31.00 | Pump Impeller
31.10 | Pump Impeller SHM 50x26 (Material: Cast Iron) | 1.00 | Nos |  | 1500.00 | 1500.00 | 6000.00 | 6000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 1500.00 | raghav constructions
31.20 | Pump Impeller SHM 80x26 (Material: Cast Iron) | 1.00 | Nos |  | 1500.00 | 1500.00 | 7500.00 | 7500.00 | 3250.00 | 3250.00 | 2300.00 | 2300.00 | 1500.00 | raghav constructions
32.00 | Supplying of following materials (spares) for fountains
32.10 | Bulb (12 V x 50 W) | 50.00 | Nos |  | 50.00 | 2500.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 2500.00 | raghav constructions
32.20 | Bulb (32 V x 150 W) | 100.00 | Nos |  | 150.00 | 15000.00 | 350.00 | 35000.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 15000.00 | raghav constructions, ROYAL ENGINEERING SERVICES
32.30 | Approx 60mm dia glass with rubber ring | 100.00 | Nos |  | 100.00 | 10000.00 | 150.00 | 15000.00 | 250.00 | 25000.00 | 180.00 | 18000.00 | 10000.00 | raghav constructions
32.40 | Colour Glass (60mm dia) (1 Set = 2 pcs) | 100.00 | Set |  | 70.00 | 7000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 90.00 | 9000.00 | 7000.00 | raghav constructions
32.50 | Holder (12v x 50 W) | 50.00 | Nos |  | 30.00 | 1500.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 1500.00 | raghav constructions, ROYAL ENGINEERING SERVICES
32.60 | Holder (32v x 150 W) | 50.00 | Nos |  | 30.00 | 1500.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 35.00 | 1750.00 | 1500.00 | raghav constructions
32.70 | Pump Floot Switch | 4.00 | Nos |  | 400.00 | 1600.00 | 2000.00 | 8000.00 | 500.00 | 2000.00 | 620.00 | 2480.00 | 1600.00 | raghav constructions
33.00 | Supply of following materials as and when needed, as per directions of EIC:
33.10 | Neoprene rubber sheet (3mm,5mm thick etc) - 100% | 40.00 | Kg |  | 120.00 | 4800.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 220.00 | 8800.00 | 4800.00 | raghav constructions
34.00 | Gun Metal Gate Valve screwed female ends with ISI mark 6 Kg/CMSQ. IS:778.
34.10 | 32mm dia | 20.00 | Nos |  | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 2200.00 | 44000.00 | 24000.00 | raghav constructions
34.20 | 50mm dia | 20.00 | Nos |  | 2500.00 | 50000.00 | 3000.00 | 60000.00 | 2000.00 | 40000.00 | 4300.00 | 86000.00 | 40000.00 | NEW TECH ENGINEERING CO.
34.30 | 80mm dia | 10.00 | Nos |  | 8000.00 | 80000.00 | 8000.00 | 80000.00 | 6500.00 | 65000.00 | 12000.00 | 120000.00 | 65000.00 | NEW TECH ENGINEERING CO.
34.40 | 100mm dia | 4.00 | Nos |  | 15000.00 | 60000.00 | 17500.00 | 70000.00 | 10000.00 | 40000.00 | 24000.00 | 96000.00 | 40000.00 | NEW TECH ENGINEERING CO.
35.00 | Gun Metal Ball Valve IS:778
35.10 | 20mm dia | 50.00 | Nos |  | 450.00 | 22500.00 | 700.00 | 35000.00 | 500.00 | 25000.00 | 620.00 | 31000.00 | 22500.00 | raghav constructions
35.20 | 25mm dia | 25.00 | Nos |  | 600.00 | 15000.00 | 1000.00 | 25000.00 | 600.00 | 15000.00 | 750.00 | 18750.00 | 15000.00 | raghav constructions, NEW TECH ENGINEERING CO.
36.00 | C.I.Gate Sluice Valve IS-14846
36.10 | Size 80mm dia | 5.00 | Nos |  | 2500.00 | 12500.00 | 4500.00 | 22500.00 | 3000.00 | 15000.00 | 5200.00 | 26000.00 | 12500.00 | raghav constructions
36.20 | Size 100mm dia | 1.00 | Nos |  | 3000.00 | 3000.00 | 6500.00 | 6500.00 | 4500.00 | 4500.00 | 7500.00 | 7500.00 | 3000.00 | raghav constructions
36.30 | Size 150mm dia | 2.00 | Nos |  | 3500.00 | 7000.00 | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 14500.00 | 29000.00 | 7000.00 | raghav constructions
37.00 | G.I. Union ISI mark
37.10 | 40mm dia | 25.00 | Nos |  | 100.00 | 2500.00 | 265.00 | 6625.00 | 100.00 | 2500.00 | 110.00 | 2750.00 | 2500.00 | raghav constructions, NEW TECH ENGINEERING CO.
37.20 | 50mm dia | 50.00 | Nos |  | 120.00 | 6000.00 | 400.00 | 20000.00 | 175.00 | 8750.00 | 140.00 | 7000.00 | 6000.00 | raghav constructions
37.30 | 80mm dia | 5.00 | Nos |  | 400.00 | 2000.00 | 1100.00 | 5500.00 | 450.00 | 2250.00 | 430.00 | 2150.00 | 2000.00 | raghav constructions
37.40 | 100mm dia | 5.00 | Nos |  | 620.00 | 3100.00 | 1500.00 | 7500.00 | 700.00 | 3500.00 | 700.00 | 3500.00 | 3100.00 | raghav constructions
38.00 | Brass ferrule
38.10 | 20mm dia weight 180 gram ±10 gram | 75.00 | Nos |  | 220.00 | 16500.00 | 280.00 | 21000.00 | 350.00 | 26250.00 | 220.00 | 16500.00 | 16500.00 | raghav constructions, ROYAL ENGINEERING SERVICES
38.20 | 25mm dia weight 200 gram ±10 gram | 10.00 | Nos |  | 300.00 | 3000.00 | 320.00 | 3200.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 3000.00 | raghav constructions
39.00 | G.I. Elbow ISI mark
39.10 | 40 mm dia | 20.00 | Nos |  | 60.00 | 1200.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 70.00 | 1400.00 | 1200.00 | raghav constructions
39.20 | 50mm dia | 25.00 | Nos |  | 85.00 | 2125.00 | 260.00 | 6500.00 | 150.00 | 3750.00 | 160.00 | 4000.00 | 2125.00 | raghav constructions
39.30 | 100mm dia | 10.00 | Nos |  | 400.00 | 4000.00 | 1060.00 | 10600.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 4000.00 | raghav constructions
40.00 | G.I. Socket Reducer ISI mark
40.10 | 65mm x 50mm | 10.00 | Nos |  | 100.00 | 1000.00 | 270.00 | 2700.00 | 150.00 | 1500.00 | 90.00 | 900.00 | 900.00 | ROYAL ENGINEERING SERVICES
40.20 | 80mm x 50mm | 10.00 | Nos |  | 160.00 | 1600.00 | 380.00 | 3800.00 | 200.00 | 2000.00 | 180.00 | 1800.00 | 1600.00 | raghav constructions
40.30 | 80mm x 25mm | 10.00 | Nos |  | 160.00 | 1600.00 | 380.00 | 3800.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 1600.00 | raghav constructions
40.40 | 80mm x 32mm | 10.00 | Nos |  | 160.00 | 1600.00 | 380.00 | 3800.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 1600.00 | raghav constructions
40.50 | 80mm x 65mm | 10.00 | Nos |  | 160.00 | 1600.00 | 380.00 | 3800.00 | 350.00 | 3500.00 | 320.00 | 3200.00 | 1600.00 | raghav constructions
40.60 | 100mm x 50mm | 5.00 | Nos |  | 250.00 | 1250.00 | 650.00 | 3250.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 1250.00 | raghav constructions
40.70 | 100mm x 80mm | 5.00 | Nos |  | 250.00 | 1250.00 | 650.00 | 3250.00 | 500.00 | 2500.00 | 460.00 | 2300.00 | 1250.00 | raghav constructions
41.00 | G.I. Socket - ISI mark
41.10 | 50mm dia | 50.00 | Nos |  | 65.00 | 3250.00 | 190.00 | 9500.00 | 80.00 | 4000.00 | 80.00 | 4000.00 | 3250.00 | raghav constructions
41.20 | 65mm dia | 10.00 | Nos |  | 100.00 | 1000.00 | 270.00 | 2700.00 | 125.00 | 1250.00 | 120.00 | 1200.00 | 1000.00 | raghav constructions
41.30 | 80mm dia | 10.00 | Nos |  | 160.00 | 1600.00 | 386.00 | 3860.00 | 450.00 | 4500.00 | 280.00 | 2800.00 | 1600.00 | raghav constructions
41.40 | 100mm dia | 10.00 | Nos |  | 250.00 | 2500.00 | 650.00 | 6500.00 | 750.00 | 7500.00 | 480.00 | 4800.00 | 2500.00 | raghav constructions
42.00 | G.I. Tee - ISI mark
42.10 | 32 mm dia | 10.00 | Nos |  | 80.00 | 800.00 | 160.00 | 1600.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 800.00 | raghav constructions
42.20 | 40 mm dia | 10.00 | Nos |  | 100.00 | 1000.00 | 210.00 | 2100.00 | 150.00 | 1500.00 | 135.00 | 1350.00 | 1000.00 | raghav constructions
42.30 | 65 mm dia | 5.00 | Nos |  | 170.00 | 850.00 | 520.00 | 2600.00 | 350.00 | 1750.00 | 140.00 | 700.00 | 700.00 | ROYAL ENGINEERING SERVICES
42.40 | 80 mm dia | 10.00 | Nos |  | 250.00 | 2500.00 | 740.00 | 7400.00 | 500.00 | 5000.00 | 240.00 | 2400.00 | 2400.00 | ROYAL ENGINEERING SERVICES
43.00 | G.I. Hex Nipple
44.10 | 40mm dia | 10.00 | Nos |  | 80.00 | 800.00 | 70.00 | 700.00 | 100.00 | 1000.00 | 75.00 | 750.00 | 700.00 | Technical Construction Co.
44.20 | 50mm dia | 40.00 | Nos |  | 120.00 | 4800.00 | 100.00 | 4000.00 | 250.00 | 10000.00 | 100.00 | 4000.00 | 4000.00 | ROYAL ENGINEERING SERVICES, Technical Construction Co.
44.30 | 65mm dia | 10.00 | Nos |  | 130.00 | 1300.00 | 150.00 | 1500.00 | 350.00 | 3500.00 | 160.00 | 1600.00 | 1300.00 | raghav constructions
44.40 | 80mm dia | 10.00 | Nos |  | 200.00 | 2000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 320.00 | 3200.00 | 2000.00 | raghav constructions
45.00 | G.I. Nipple
45.10 | 50mm dia 150mm long. | 5.00 | Nos |  | 50.00 | 250.00 | 150.00 | 750.00 | 150.00 | 750.00 | 40.00 | 200.00 | 200.00 | ROYAL ENGINEERING SERVICES
45.20 | 80mm dia 150 mm long | 5.00 | Nos |  | 100.00 | 500.00 | 250.00 | 1250.00 | 250.00 | 1250.00 | 170.00 | 850.00 | 500.00 | raghav constructions
45.30 | 100mm dia 150 mm long | 5.00 | Nos |  | 100.00 | 500.00 | 350.00 | 1750.00 | 380.00 | 1900.00 | 240.00 | 1200.00 | 500.00 | raghav constructions
46.00 | Gun Metal NRV (check valve) IS:778.
46.10 | Size - 65mm dia | 2.00 | Nos |  | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 4500.00 | 9000.00 | 7800.00 | 15600.00 | 5000.00 | raghav constructions
46.20 | Size - 80mm dia | 2.00 | Nos |  | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 10550.00 | 21100.00 | 9000.00 | raghav constructions
46.30 | Size - 100mm dia | 1.00 | Nos |  | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 8500.00 | 8500.00 | 18000.00 | 18000.00 | 8000.00 | raghav constructions
47.00 | GI pipe class 'B' confirming to IS-1239 with one end socket and other protect with PVC cap of make JINDAL/ TT SWASTIK/ ITC BIHAR/ APOLLO / TATA
47.10 | G.I.Pipe - Size - 32 mm dia | 100.00 | RM |  | 225.00 | 22500.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 450.00 | 45000.00 | 22500.00 | raghav constructions
47.20 | G.I.Pipe - Size - 40 mm dia | 100.00 | RM |  | 300.00 | 30000.00 | 460.00 | 46000.00 | 350.00 | 35000.00 | 550.00 | 55000.00 | 30000.00 | raghav constructions
47.30 | G.I.Pipe - Size - 50 mm dia | 200.00 | RM |  | 350.00 | 70000.00 | 600.00 | 120000.00 | 410.00 | 82000.00 | 700.00 | 140000.00 | 70000.00 | raghav constructions
47.40 | G.I.Pipe Size - 100 mm dia | 24.00 | RM |  | 900.00 | 21600.00 | 1250.00 | 30000.00 | 950.00 | 22800.00 | 1450.00 | 34800.00 | 21600.00 | raghav constructions
48.00 | CI socket & spigot pipe ISI mark (IS:1729)
48.10 | Size - 2" | 50.00 | RM |  | 300.00 | 15000.00 | 600.00 | 30000.00 | 300.00 | 15000.00 | 500.00 | 25000.00 | 15000.00 | raghav constructions, NEW TECH ENGINEERING CO.
48.20 | Size - 4" | 50.00 | RM |  | 400.00 | 20000.00 | 1000.00 | 50000.00 | 550.00 | 27500.00 | 750.00 | 37500.00 | 20000.00 | raghav constructions
49.00 | CI Coler
49.10 | size - 3" | 10.00 | Nos. |  | 150.00 | 1500.00 | 400.00 | 4000.00 | 250.00 | 2500.00 | 165.00 | 1650.00 | 1500.00 | raghav constructions
49.20 | size - 4" | 25.00 | Nos. |  | 200.00 | 5000.00 | 500.00 | 12500.00 | 300.00 | 7500.00 | 225.00 | 5625.00 | 5000.00 | raghav constructions
49.30 | size - 6" | 10.00 | Nos. |  | 250.00 | 2500.00 | 750.00 | 7500.00 | 550.00 | 5500.00 | 260.00 | 2600.00 | 2500.00 | raghav constructions
50.00 | Nut-bolt with washer full thread of required size | 60.00 | Kg |  | 120.00 | 7200.00 | 120.00 | 7200.00 | 150.00 | 9000.00 | 110.00 | 6600.00 | 6600.00 | ROYAL ENGINEERING SERVICES
51.00 | Chain for swing etc | 100.00 | Kg |  | 140.00 | 14000.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 140.00 | 14000.00 | 12000.00 | Technical Construction Co.
52.00 | Supply of plastic dust bin with wheeles capacity 240 Litre Appx. | 20.00 | Nos |  | 3000.00 | 60000.00 | 4000.00 | 80000.00 | 2500.00 | 50000.00 | 3200.00 | 64000.00 | 50000.00 | NEW TECH ENGINEERING CO.
53.00 | Lead block for joints caulking | 100.00 | kg |  | 200.00 | 20000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 20000.00 | raghav constructions
54.00 | Lead wool for joints caulking | 50.00 | kg |  | 200.00 | 10000.00 | 350.00 | 17500.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 7500.00 | NEW TECH ENGINEERING CO.
55.00 | Sodium hypo chloride (NaOcl) having more than 10% concentration. Supply in 200 Ltr. Container and as per requirement, as directed by the EIC. | 30000.00 | Kg |  | 10.00 | 300000.00 | 17.00 | 510000.00 | 25.00 | 750000.00 | 13.00 | 390000.00 | 300000.00 | raghav constructions
56.00 | Exhaust fan opening louvers(12") as per sample available in civil maintenance office T/Ship. | 300.00 | Nos |  | 140.00 | 42000.00 | 250.00 | 75000.00 | 250.00 | 75000.00 | 185.00 | 55500.00 | 42000.00 | raghav constructions
57.00 | Fountain Dendallion rod nozzle (CP) of size 10 mm / 12 mm or as per sample present at civil store. | 25.00 | Nos |  | 500.00 | 12500.00 | 2000.00 | 50000.00 | 650.00 | 16250.00 | 600.00 | 15000.00 | 12500.00 | raghav constructions
58.00 | Crown Nozzle (Complete Set) (Brass) of size 12 mm with rubber washer or as per sample present at civil store. | 40.00 | Nos |  | 200.00 | 8000.00 | 100.00 | 4000.00 | 650.00 | 26000.00 | 300.00 | 12000.00 | 4000.00 | Technical Construction Co.
59.00 | Cascade jet nozzle (Brass) of size 20 mm or as per sample present at civil store. | 25.00 | Nos |  | 2000.00 | 50000.00 | 100.00 | 2500.00 | 1500.00 | 37500.00 | 2600.00 | 65000.00 | 2500.00 | Technical Construction Co.
60.00 | Lotus foam fountain nozzle (Brass) of size 15 mm or as per sample present at civil store. | 12.00 | Nos |  | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 450.00 | 5400.00 | 2500.00 | 30000.00 | 5400.00 | NEW TECH ENGINEERING CO.
61.00 | Submersible sewage pump with float switch (Plastic body) of 0.75 HP of make Kirloskar/Crompton/Rockwell. | 7.00 | Nos. |  | 9000.00 | 63000.00 | 8000.00 | 56000.00 | 8500.00 | 59500.00 | 9200.00 | 64400.00 | 56000.00 | Technical Construction Co.
62.00 | Supply of borewell Submersible pump of make Crompton / Kirlosker / Rockwell with 2m cable wire atleast with starter of following capacity:
62.10 | 1 HP (Single phase) | 3.00 | Nos |  | 10000.00 | 30000.00 | 11000.00 | 33000.00 | 12500.00 | 37500.00 | 12000.00 | 36000.00 | 30000.00 | raghav constructions
62.20 | 17.5 HP (Three phase) | 2.00 | Nos |  | 55000.00 | 110000.00 | 70000.00 | 140000.00 | 55000.00 | 110000.00 | 60000.00 | 120000.00 | 110000.00 | raghav constructions, NEW TECH ENGINEERING CO.
62.30 | 25 HP (Three phase) | 2.00 | Nos |  | 70000.00 | 140000.00 | 89000.00 | 178000.00 | 65000.00 | 130000.00 | 75000.00 | 150000.00 | 130000.00 | NEW TECH ENGINEERING CO.
63.00 | Supply of Openwell Submersible pump of make Kirloskar/Crompton/Rockwell of with 2m wire atleast with starter of following capacity:
63.10 | 3 HP(Three phase) | 5.00 | Nos |  | 20000.00 | 100000.00 | 25000.00 | 125000.00 | 15000.00 | 75000.00 | 26000.00 | 130000.00 | 75000.00 | NEW TECH ENGINEERING CO.
63.20 | 10 HP (Three phase) | 2.00 | Nos |  | 35000.00 | 70000.00 | 50000.00 | 100000.00 | 32500.00 | 65000.00 | 43000.00 | 86000.00 | 65000.00 | NEW TECH ENGINEERING CO.
64.00 | Supply of Non clog Submersible Sewage pump of make Kirloskar/Crompton/Rockwell of 3 Phase with starter of following capacity:
65.10 | 1 HP | 2.00 | Nos. |  | 12000.00 | 24000.00 | 17000.00 | 34000.00 | 12500.00 | 25000.00 | 15000.00 | 30000.00 | 24000.00 | raghav constructions
65.20 | 5 HP | 1.00 | Nos. |  | 40000.00 | 40000.00 | 50000.00 | 50000.00 | 21000.00 | 21000.00 | 48000.00 | 48000.00 | 21000.00 | NEW TECH ENGINEERING CO.
66.00 | Supply of Dewatering pump of make Kirloskar/Crompton/Rockwell of 3 Phase with starter of following capacity:
66.10 | 3 HP | 1.00 | Nos. |  | 25000.00 | 25000.00 | 38000.00 | 38000.00 | 18500.00 | 18500.00 | 32000.00 | 32000.00 | 18500.00 | NEW TECH ENGINEERING CO.
66.20 | 5 HP | 1.00 | Nos. |  | 35000.00 | 35000.00 | 45000.00 | 45000.00 | 25000.00 | 25000.00 | 42000.00 | 42000.00 | 25000.00 | NEW TECH ENGINEERING CO.
67.00 | Pipe threading die head of following size:
67.10 | 15 mm | 2.00 | Nos. |  | 500.00 | 1000.00 | 1000.00 | 2000.00 | 250.00 | 500.00 | 1500.00 | 3000.00 | 500.00 | NEW TECH ENGINEERING CO.
67.20 | 25 mm | 2.00 | Nos. |  | 600.00 | 1200.00 | 1400.00 | 2800.00 | 250.00 | 500.00 | 1800.00 | 3600.00 | 500.00 | NEW TECH ENGINEERING CO.
67.30 | 32 mm | 2.00 | Nos. |  | 1000.00 | 2000.00 | 1600.00 | 3200.00 | 300.00 | 600.00 | 2000.00 | 4000.00 | 600.00 | NEW TECH ENGINEERING CO.
67.40 | 40 mm | 2.00 | Nos. |  | 1200.00 | 2400.00 | 1800.00 | 3600.00 | 350.00 | 700.00 | 3000.00 | 6000.00 | 700.00 | NEW TECH ENGINEERING CO.
67.50 | 50 mm | 2.00 | Nos. |  | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 3550.00 | 7100.00 | 1000.00 | NEW TECH ENGINEERING CO.
67.60 | 80 mm | 2.00 | Nos. |  | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 4000.00 | 8000.00 | 1600.00 | NEW TECH ENGINEERING CO.
68.00 | Stainless Steel Wire rope slings (Eye to eye) 2 meter, 10 mm & 2 Ton capacity, heavy duty. | 4.00 | Nos. |  | 1500.00 | 6000.00 | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 1650.00 | 6600.00 | 6000.00 | raghav constructions
69.00 | Stainless Steel wire rope, 12 mm dia, weight 50 kg/100 meter | 100.00 | RM |  | 250.00 | 25000.00 | 250.00 | 25000.00 | 315.00 | 31500.00 | 300.00 | 30000.00 | 25000.00 | raghav constructions, Technical Construction Co.
70.00 | Stainless Steel wire rope, 6 mm dia, weight 13 kg/100 meter | 100.00 | RM |  | 70.00 | 7000.00 | 75.00 | 7500.00 | 100.00 | 10000.00 | 65.00 | 6500.00 | 6500.00 | ROYAL ENGINEERING SERVICES
71.00 | Dosing pump of 10 lph capacity with all fittings and components | 2.00 | Nos. |  | 4500.00 | 9000.00 | 7500.00 | 15000.00 | 12500.00 | 25000.00 | 8000.00 | 16000.00 | 9000.00 | raghav constructions
72.00 | 3 Core copper flat cable of follwing dia:
72.10 | 2.5 Sq mm | 200.00 | RM |  | 65.00 | 13000.00 | 130.00 | 26000.00 | 125.00 | 25000.00 | 80.00 | 16000.00 | 13000.00 | raghav constructions
72.20 | 6 Sq mm | 200.00 | RM |  | 150.00 | 30000.00 | 300.00 | 60000.00 | 250.00 | 50000.00 | 170.00 | 34000.00 | 30000.00 | raghav constructions
| Total in Figures |  |  |  |  | 11932500.00 |  | 13579765.00 |  | 17563388.00 |  | 14939240.00
Lowest Amount Quoted BY: raghav constructions(11932500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Misc Maintenance Work for Sewage Treatment Plant Tender ID: 2024_NPCIL_193026_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | raghav constructions | 11932500.00 | L1
| 2 | Technical Construction Co. | 13579765.00 | L2
| 3 | ROYAL ENGINEERING SERVICES | 14939240.00 | L3
| 4 | NEW TECH ENGINEERING CO. | 17563388.00 | L4