## BoQ1
Government eProcurement System Created By: Rajendra Naik Created Date/Time: 06-Jun-2024 10:18 AM Tender Title: Supply, Fabrication, Field Welding, Erection of Roof Protection Works of Porta Cabin Site Offices and Miscellaneous Piping and Structural works at Kaiga 5 and 6 site. Tender ID: 2024_NPCIL_193644_1
Tender Inviting Authority: ACE (Mechanical & TI), Kaiga-5&6
Name of Work:Supply, Fabrication, Field Welding, Erection of Roof Protection Works of Porta-Cabin Site Offices and Miscellaneous Piping & Structural works at Kaiga 5&6 site.
Contract No: NPCIL/KAIGA-5&6/CTC/MECH/CPPP/2024/025
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHAMBHU SINGH(GSTN-NA)--701312
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Schedule-A: Structural works
1.01 | Supply of structural Steel as per IS-2062, fabrication & erection/ welding/ assembly of MS structural steel works such as trusses, purlins, beams, columns, Miscellaneous structures like plate EP's, Gates, Structural Supporting Stands, etc., (other than window & door gills) fabricating, transporting, erecting at site, welding, grouting, leveling, aligning and fixing in position with appropriate anchor bolts / site welding in their final position etc., as per approved fabrication drawings including application of one coat of approved primer and two coats of approved quality / shade synthetic enamel paint to exposed surfaces etc.,(Total DFT=150microns) Cleaning the work area by collecting & stacking the construction waste / debris & unwanted materials outside the periphery of the work premises etc. complete all as per specification, as per drawing and as directed by the Engineer-in-charge at all lifts & locations. Note: Cost is inclusive of Providing, fixing and removing of Scaffolding for working platform for height work (more than 2.5 m height), labour, consumables & material handling. | 22.00 | MT | 144971.00 | 145000.00 | 3190000.00 | 3190000.00 | SHAMBHU SINGH
1.02 | Supply and laying/ fixing Plain or Curved Galvalum sheets for roofing, ridges, rain water gutter & cladding etc. (not less than 0.4 mm thick), of pre painted aluminium-zinc alloy matallic coated steel sheet, coating grade: AZ-70/AZ-100, paint material top coat of polyester/ polyeurathene ,material of bottom coat: alkaloid epoxy, no. of corrugation/ trepazoidal = 6, conforming to IS15965, trapezoidal profile not less than 0.4mm thick at pitch. Pitch not less than 203 mm. Appropriate length & width of sheets as per site measurement/ as directed by engineer, including providing & fixing necessary self drilling screws with washers, galvalum sheet shall be of shade/ colour (as per site requirement and as selected by Engineer In Charge) and of standard make, preparation of base, providing, fixing & removing staging/ platform/ ladder wherever required, collecting & disposing the generated waste & construction waste etc. away from the work premises & cleaning the work area, etc. complete all as per standard & manufacturer's specification, drawing (if any) and as directed by Engineer In Charge at all locations & at all lifts & heights. | 1700.00 | SqM | 798.00 | 825.00 | 1402500.00 | 1402500.00 | SHAMBHU SINGH
1.03 | Painting : Supply & application of one coat of first quality high gloss synthetic enamel paint of make Berger/ Asian/ Nerolac/ Shalimar/ ICI paints of 40-50 microns DFT per coat on roofs and external surface of structures. (rates shall be inclusive of cleaning of existing structures including labour, consumables, arranging scaffoldings & safety gears, etc.) | 2000.00 | SqM | 105.00 | 150.00 | 300000.00 | 300000.00 | SHAMBHU SINGH
1.04 | Painting : Supply & application of [30-40 micron DFT per coat]of Epilux High Build Zinc Phosphate Primer and First quality synthetic Enamel paint of make Berger / Asian / Nerolac / Shalimar / ICI paints. Work involves material supply, Cleaning, Surface preparation and application of one coats zinc based primer & two coats of Synthetic enamel paint for C.S. Pipelines & Steel structures / pipe supports etc.Total DFT shall be 150 - 200 microns. (Rates shall be inclusive of labour & consumables, arranging scaffoldings & safety gears and as per scope of work). | 150.00 | SqM | 331.00 | 275.00 | 41250.00 | 41250.00 | SHAMBHU SINGH
1.05 | Earth work excavation In all kinds of soils Depth upto 1.5 m for drains, canals, waste weir, draft, approach channels, key trenches, foundation of Buildings & bridges, pipe trenches, footing, pipe pedestals, columns, and such simillar works in all kinds of soils, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, excavated surface leveled and sides neatly dressed disposing off the excavated stuff or sorting & stacking the selected stuff for reuse in a radius of 50 m and lift upto 1.5 m including cost of labour, tools & other appurtenaces required to complete the work. | 20.00 | CuM | 320.00 | 450.00 | 9000.00 | 9000.00 | SHAMBHU SINGH
1.06 | Providing, placing and removing formwork for all In-Situ Concrete Works such as foundation bedding, rafts, pedestals, footings, plinth, columns, beams, slab, chejjas, lintels, columns, pathways, walk ways and ramp, RC bands and all miscellaneous insitu concrete works including providing; fixing & removing necessary staging / platform / ladder, preparation of base, collecting & disposing the generated waste, costruction waste away from work premises cleaning the work area etc, complete all works as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift. Note: The measurement for the form work will be actual area of form in contact with the concrete surfaces. | 120.00 | SqM | 382.00 | 550.00 | 66000.00 | 66000.00 | SHAMBHU SINGH
1.07 | Providing and laying in position plain cement concrete 1:3:6 using 40 mm nominal size graded crushed coarse aggregatesfor levelling course for all works in foundation. The granite/trap/basalt crushed graded coarse aggregates and fine aggregates as per relevant IS Codes machine mixed, laid in layers not exceeding 150 mm thickness, well compacted using plate vibrators, including all lead & lifts, cost of all materials of quality, labour, Usage charges of machineries, curing, and all the other appurtenances required to complete the work as per technical specifications. (The cost is exclusive of formwork and will be paid seperately under item no. 6 of schedule-A of SOQR.) | 4.00 | CuM | 7915.00 | 9500.00 | 38000.00 | 38000.00 | SHAMBHU SINGH
1.08 | Providing and laying in position Reinforced cement concrete of 1:1.5:3 [1 cement:1.5 fine aggregates:3 coarse aggregates Using 20 mm nominal size graded for various types of works such as Foundation works, side walls, retaining walls and all miscellaneous RCC works including machine mixing, transporting, laying, spreading, compaction by using vibrator, leveling, finishing as directed by Engineer - in - charge and providing & fixing platform, base shall be slightly wet before laying concrete, curing, cleaning the work area & dispose the waste / unwanted materials outside the periphery of the work premises etc., complete all as per specification and as directed by Engineer-In- Charge at all locations and at all lifts. NOTE: Formwork will be measured and paid under item no. 6 of Schedule A of SOQR. Reinforcement will be measured & paid under item no. 9 of Schedule- A of SOQR. | 4.00 | CuM | 9107.00 | 10500.00 | 42000.00 | 42000.00 | SHAMBHU SINGH
1.09 | Providing and laying approved make high yeild strength deformed TMT Reinforcement Steel bars of all dia meters confirming to grade FE550/ 550D of IS:1786 [latest edition] including cutting, bending, transporting, placing in position 10/12 Thick C.S. Plates with lugs & binding with suitable guage soft annealed binding wire for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly], providing; fixing & removing necessary staging / platform / ladder, preparation of base, collecting & disposing the generated waste, costruction waste up to a lead of 1000 meters from the place of work & cleaning the work area, etc. complete all as per standard technical specification, manufacturers specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift. | .60 | MT | 104421.00 | 115000.00 | 69000.00 | 69000.00 | SHAMBHU SINGH
1.10 | Supply and installation of Hilti/ Fischer make anchor fasteners of M 12 X 115 mm size, Including cost of handling, scaffolding, labour and tools. | 100.00 | NO.S | 342.00 | 310.00 | 31000.00 | 31000.00 | SHAMBHU SINGH
1.11 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 20.00 | CuM. | 352.00 | 350.00 | 7000.00 | 7000.00 | SHAMBHU SINGH
1.12 | Providing and fixing on the wall surface UPVC pressure [4 kg/sqcm] Pipes of 110 mm dia. with specials [such as tees; bends; junction with or without doors; flangs and all other required fittings etc.] of superior make, for Rain Water Down Commer Pipes including providing & Fixing necessary clamps [GI clamps of 25 mm. wide x 4 mm. thick] of length [ as per site requirement], hard wood packing pieces, PVC slovents, srews / nails, cement & sand etc, preparation of base, providing; fixing & removing necessary staging / platform / ladder wherever required, collecting and disposing the generated waste & construction waste etc. away from work premises & cleaning the work area etc., complete as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift. | 60.00 | RM | 855.00 | 1250.00 | 75000.00 | 75000.00 | SHAMBHU SINGH
1.13 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. (Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade) | 300.00 | SqM | 1111.00 | 1200.00 | 360000.00 | 360000.00 | SHAMBHU SINGH
2.00 | Schedule-B: Miscellaneous Piping works
2.01 | Supply of 150 NB ISI marked, GI pipe : Heavy Grade, plain ends, Hot Finished Seamless (HFS), in 6 MTR. Lengths, Conforming to IS: 1239 | 300.00 | MTR. | 2346.00 | 2900.00 | 870000.00 | 870000.00 | SHAMBHU SINGH
2.02 | Supply of 50 NB, ISI marked, GI pipe : Heavy Grade, plain ends, Hot Finished Seamless (HFS), in 6 MTR. Lengths, Conforming to IS: 1239 | 100.00 | MTR. | 700.00 | 750.00 | 75000.00 | 75000.00 | SHAMBHU SINGH
2.03 | Supply of 150 NB 90⁰ L.R Elbow, BW, Sch. 40, A 234 WPB, | 6.00 | NO.S | 1403.00 | 1200.00 | 7200.00 | 7200.00 | SHAMBHU SINGH
2.04 | Supply of 150 NB 45⁰ L.R Elbow, BW, Sch. 40, A 234 WPB, | 3.00 | NO.S | 952.00 | 650.00 | 1950.00 | 1950.00 | SHAMBHU SINGH
2.05 | Supply of 100 NB 90⁰ L.R Elbow, BW, Sch. 40, A 234 WPB, | 3.00 | NO.S | 577.00 | 525.00 | 1575.00 | 1575.00 | SHAMBHU SINGH
2.06 | Supply of 80 NB 90⁰ L.R Elbow, BW, Sch. 40, A 234 WPB, | 2.00 | NO.S | 350.00 | 250.00 | 500.00 | 500.00 | SHAMBHU SINGH
2.07 | Supply of 80 NB 45⁰ L.R Elbow, BW, Sch. 40, A 234 WPB, | 2.00 | NO.S | 256.00 | 200.00 | 400.00 | 400.00 | SHAMBHU SINGH
2.08 | Supply of 50 NB 90⁰ L.R Elbow, BW, Sch. 40, conforming to IS-1239 part 2 | 4.00 | NO.S | 486.00 | 300.00 | 1200.00 | 1200.00 | SHAMBHU SINGH
2.09 | Supply of 50 NB 45⁰ L.R Elbow, BW, Sch. 40, conforming to IS-1239 part 2 | 2.00 | NO.S | 498.00 | 210.00 | 420.00 | 420.00 | SHAMBHU SINGH
2.10 | Supply of 100 NB Equal Tee, BW, Sch. 40, A 234 WPB, | 1.00 | NO.S | 865.00 | 675.00 | 675.00 | 675.00 | SHAMBHU SINGH
2.11 | Supply of 80 NB Equal Tee, BW, Sch. 40, A 234 WPB, | 2.00 | NO.S | 667.00 | 575.00 | 1150.00 | 1150.00 | SHAMBHU SINGH
2.12 | Supply of 50 NB Equal Tee, BW, Sch. 40, conforming to IS-1239 part 2 | 2.00 | NO.S | 417.00 | 500.00 | 1000.00 | 1000.00 | SHAMBHU SINGH
2.13 | Supply of 200X150 NB UnEqual Tee, BW, Sch. 40, A 234 WPB, | 1.00 | NO.S | 3471.00 | 2815.00 | 2815.00 | 2815.00 | SHAMBHU SINGH
2.14 | Supply of 80X50 NB UnEqual Tee, BW, Sch. 40, A 234 WPB, | 2.00 | NO.S | 649.00 | 500.00 | 1000.00 | 1000.00 | SHAMBHU SINGH
2.15 | Supply of 100X80 NB Concentric Reducer, BW, Sch. 40, A 234 WPB, | 2.00 | NO.S | 531.00 | 250.00 | 500.00 | 500.00 | SHAMBHU SINGH
2.16 | Supply of 200 NB, 150# CS Gate Valve Flanged Ends OS& Y Type Gate Valve, Body and Bonnet in ASTM A216 Gr. WCB, Wedge and Seatring in ASTM A216 Gr.WCB+13% Cr Overaly, Stem and Gland in ASTM A276 Type 410,Handwheel Operated, Gasket in SPW SS316+Graphite, Packing in Dieformed Graphite rings, Fastners in B7/2H,Flanged Ends Class 150, Design std: API: 600 & Testing as per API : 598 | 1.00 | NO.S | 66389.00 | 114500.00 | 114500.00 | 114500.00 | SHAMBHU SINGH
2.17 | Supply of 150 NB, 150# CS Gate Valve Flanged Ends, OS& Y Type Gate Valve, Body and Bonnet in ASTM A216 Gr. WCB, Wedge and Seatring in ASTM A216 Gr.WCB+13% Cr Overaly, Stem and Gland in ASTM A276 Type 410,Handwheel Operated, Gasket in SPW SS316+Graphite, Packing in Dieformed Graphite rings, Fastners in B7/2H,Flanged Ends Class 150, Design std: API: 600 & Testing as per API : 598 | 3.00 | NO.S | 39953.00 | 109500.00 | 328500.00 | 328500.00 | SHAMBHU SINGH
2.18 | Supply of 100 NB, 150# CS Gate Valve Flanged Ends, OS& Y Type Gate Valve, Body and Bonnet in ASTM A216 Gr. WCB, Wedge and Seatring in ASTM A216 Gr.WCB+13% Cr Overaly, Stem and Gland in ASTM A276 Type 410,Handwheel Operated, Gasket in SPW SS316+Graphite, Packing in Dieformed Graphite rings, Fastners in B7/2H,Flanged Ends Class 150, Design std: API: 600 & Testing as per API : 598 | 2.00 | NO.S | 22441.00 | 95500.00 | 191000.00 | 191000.00 | SHAMBHU SINGH
2.19 | Supply of 80 NB, 150# CS Gate Valve Flanged Ends, OS& Y Type Gate Valve, Body and Bonnet in ASTM A216 Gr. WCB, Wedge and Seatring in ASTM A216 Gr.WCB+13% Cr Overaly, Stem and Gland in ASTM A276 Type 410,Handwheel Operated, Gasket in SPW SS316+Graphite, Packing in Dieformed Graphite rings, Fastners in B7/2H,Flanged Ends Class 150, Design std: API: 600 & Testing as per API : 598 | 2.00 | NO.S | 16931.00 | 35000.00 | 70000.00 | 70000.00 | SHAMBHU SINGH
2.20 | Supply of 50 NB, 800# CS Gate Valve Flanged Ends, OS&Y Type Reduced Bore Gate valve, Body & Bonnet in ASTM A105, Wedge & Seatring in ASTM A276 Type 410, Stem & Gland in ASTM A276 Type 410, Gasket in SPW SS316+Graphite, Handwheel Operated, Packing in Braided Graphite Rings, Fastners in B7/2H, Socket weld EndDesign std: API: 600 & Testing as per API : 598 | 5.00 | NO.S | 8554.00 | 40000.00 | 200000.00 | 200000.00 | SHAMBHU SINGH
2.21 | Supply & Installation of CNAF Gaskets between flanged joints | 9.00 | SqM | 151.00 | 1550.00 | 13950.00 | 13950.00 | SHAMBHU SINGH
2.22 | Supply of Anti Corrossion protection tape for burried portion of the pipe lines conforming to AWWA-C-203 & IS-10221 in size of 333 mm width x 4 mm thick x 12 mtrs long roll.Each roll shall be 333 mm x 12 Mtrs = 4 Sq. Mtr. | 70.00 | SqM | 413.00 | 550.00 | 38500.00 | 38500.00 | SHAMBHU SINGH
2.23 | Supply of compatible primer conforming to AWWA-C-203 & IS-10221 for Anticorrosive tape | 20.00 | LTR. | 260.00 | 300.00 | 6000.00 | 6000.00 | SHAMBHU SINGH
2.24 | Supply of 200NB, 150# CS SORF FLANGE, ANSI B16.5, ASTM A105 | 2.00 | NO.S | 2020.00 | 300.00 | 600.00 | 600.00 | SHAMBHU SINGH
2.25 | Supply of 150NB, 150# CS SORF FLANGE, ANSI B16.5, ASTM A105 | 2.00 | NO.S | 1185.00 | 275.00 | 550.00 | 550.00 | SHAMBHU SINGH
2.26 | Supply of 80NB, 150# CS SORF FLANGE, ANSI B16.5, ASTM A105 | 4.00 | NO.S | 586.00 | 250.00 | 1000.00 | 1000.00 | SHAMBHU SINGH
2.27 | Supply of 50NB, 150# CS SORF FLANGE, ANSI B16.5, ASTM A105 | 12.00 | NO.S | 375.00 | 210.00 | 2520.00 | 2520.00 | SHAMBHU SINGH
2.28 | Supply, handling, installation, testing & commissioning of 3 HP, 3 phase open well submersible Pump , minimum 30 mtr. head, 2.8 LPS flow rate with control panel consisting of indicator lamps, fuse, voltmeter, ammeter, under/ over voltage current preventors, DOL starter unit, MCB, etc. housed in outdoor GI box with stand, FRP Sheet for pump protection, 20 mtr. of 2.5 Sq mm 3 core Cable, etc. including labour charges/ erection charges of pump, hose pipe, clamps, etc. complete all as per specifications and as directed by Engineer in charge. | 1.00 | Lumpsum | 47214.00 | 150000.00 | 150000.00 | 150000.00 | SHAMBHU SINGH
2.29 | Providing and fixing 50NB Unplasticised Polyvinyl Chloride (UPVC) pipes, for cold water supply including all UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step uPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. | 200.00 | RM | 510.00 | 650.00 | 130000.00 | 130000.00 | SHAMBHU SINGH
2.30 | Piping Erection : Handling, Wire brush cleaning, fabrication and Erection of Piping & its fittings on permanent pipe supports, generating reports,etc. as per Technical Specification and as directed by the Engineer In-charge of the work. Refer scope of work in Section -V of the tender document for additional details.(Rate is inclusive of Hydro testing of pipeline to specified pressure as per specifications, all labour, equipments charges & arrangements etc.) | 3100.00 | Inch Mtr | 364.00 | 95.00 | 294500.00 | 294500.00 | SHAMBHU SINGH
2.31 | Welding of CS Piping SMAW for BW/NW/SW/Slipon flange welding / seal welding etc including degalavanising of Pipe ends as per requirement. (Same rates for Pipe sizes 25 NB to 200 NB). Refer scope of work in Section -V of the tender document for additional details. (Rate is inclusive of all labour, equipments charges,etc.) | 600.00 | Inch dia | 814.00 | 550.00 | 330000.00 | 330000.00 | SHAMBHU SINGH
2.32 | Carrying out Dye-Penetrant Test (DPT) for completed weld as per requirement( including all consumables). | 60.00 | Inch-dia | 118.00 | 55.00 | 3300.00 | 3300.00 | SHAMBHU SINGH
2.33 | Wrapping & Coating : Cleaning of pipe surface , application of compatible primer for Anti Corrossion protection tape, wrapping & Coating of C.S. Pipe for burried portion of the pipe lines with anti corrossion tape conforming to AWWA-C-203 & IS-10221 in size of 333 mm width x 4 mm thick .Rates shall be inclusive of labour & supply of wire brushes for pipe surface cleaning. | 70.00 | SqM | 260.00 | 225.00 | 15750.00 | 15750.00 | SHAMBHU SINGH
2.34 | Providing and fixing Hex Head bolts of Various sizes (M12 to M24 to suit flanged joints (valves, flanges, etc.)) including compatible nuts and washers complete for joining flanges, valves, etc. including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 60.00 | kg | 165.00 | 200.00 | 12000.00 | 12000.00 | SHAMBHU SINGH
2.35 | Supply of Horizontal Y-Type Strainer to suit 150 NB pipe, flanged ends, design conforming to ASME B16.10 & ASTM section VIII-Div. 2, material: ASTM A-216 gr. WCB/ ASTM A351 CF, Filter element: SS-316/SS-304/ Brass, Mesh Size: 5-500 microns, pr. Up to 60 kg/cm2. | 1.00 | NO.S | 25217.00 | 25000.00 | 25000.00 | 25000.00 | SHAMBHU SINGH
2.36 | Supply of 50 NB Class B Water Meter conforming to ISO 4064 | 1.00 | NO.S | 9848.00 | 25500.00 | 25500.00 | 25500.00 | SHAMBHU SINGH
3.00 | Schedule-C: 5000 LPH Industrial UV,UF Water Purification System
3.01 | Supply, Transportation, Handling, Installation & Commissioning of Industrial UV, UF portable water purification system of capacity 5000 LPH with SS skid, SV & control panel and erection of 10 m UPVC pipeline, Valves & Fittings. The filtered water shall be conforming to IS: 10500 (latest edition). Note: Cost is inclusive of transportation, installation, labour charges, etc. | 1.00 | Lumpsum | 336278.00 | 365000.00 | 365000.00 | 365000.00 | SHAMBHU SINGH
| Total in Figures |  |  |  |  | 8914305.00
Lowest Amount Quoted BY: SHAMBHU SINGH(8914305.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Fabrication, Field Welding, Erection of Roof Protection Works of Porta Cabin Site Offices and Miscellaneous Piping and Structural works at Kaiga 5 and 6 site. Tender ID: 2024_NPCIL_193644_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHAMBHU SINGH | 8914305.00 | L1