## BoQ1
Government eProcurement System Created By: Shashikant Songire Created Date/Time: 15-Jul-2024 11:10 AM Tender Title: Construction of CFVS Scrubber tank shielding wall at TAPS-3 and RC Trench for Pipeline from CFVS to RAB at TAPS 3and4, NPCIL Tarapur Maharashtra Site Tender ID: 2024_NPCIL_194643_1
Tender Inviting Authority: Senior Maintenance Engineer (C), Tarapur Atomic Power Station-3&4
Name of Work: Construction of CFVS Scrubber tank shielding wall at TAPS-3 and RC Trench for Pipeline from CFVS to RAB at TAPS 3&4, NPCIL Tarapur Maharashtra Site.
Tender No: TMS / C&MM-WORKS / CIVIL-3&4 / 2024 / 2526
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VIJAYS S PIMPLE(GSTN-NA)--702974
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work Excavation by mechanical means (Hydraulic excavator / manual means in all types of soil other than soft and hard rock, dressing the sides of foundation, ramming of bottom etc. including shoring and dewatering (if necessary) and refilling with selected excavated earth in layers of not more than 500 mm thick, each layer well rammed and consolidated including disposing the surplus earth within a distance of 200 m all as per specifications including clearing jungle, uprooting of vegetation, grass, etc. complete and as directed by the Engineer-in-charge, upto 2.0 m depth from Average Ground Level. | 165.00 | Cum. |  | 520.00 | 85800.00 | 85800.00 | VIJAYS S PIMPLE
2.00 | Dismantling of RCC works including Cutting and stacking of steel reinforcement bars and disposal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 93.00 | Cum. |  | 3900.00 | 362700.00 | 362700.00 | VIJAYS S PIMPLE
3.00 | Dismantling brick work in Cement mortar carefully without damaging adjacent structures including stacking of materials and dispoal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | .60 | Cum. |  | 1100.00 | 660.00 | 660.00 | VIJAYS S PIMPLE
4.00 | Providing and laying in position cement concrete of grade M15 or 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of nominal size 20 mm) including consolidation, finishing, curing etc. complete as per specification and drawings but excluding the cost of Formwork shuttering, centering and steel reinforcement at all Levels | 17.00 | Cum. |  | 7000.00 | 119000.00 | 119000.00 | VIJAYS S PIMPLE
5.00 | Providing and laying in position Reinforced Cement Concrete (RCC) of grade M-30 using 20mm maximum size aggregates and crushed sand of approved quality including admixtures of approved brand and quality (plasticiser or super plasticiser) if required, including weigh batching, mechanical mixing, transporting, placing, vibrating, consolidation, finishing, curing etc. complete but excluding the cost of centering, shuttering and reinforcement complete as per specifications
5.01 | Upto Plinth Level. | 210.00 | Cum. |  | 8600.00 | 1806000.00 | 1806000.00 | VIJAYS S PIMPLE
5.02 | Extra for RCC all grades in super structure up to 20.00 metre height | 170.00 | Cum. |  | 950.00 | 161500.00 | 161500.00 | VIJAYS S PIMPLE
6.00 | Providing and fixing at all levels precast members using cement concrete of Grade M-30 in copings and / or bed blocks, plain window sills, shelves, louvers, steps, staircases, trench covers, drain covers etc. including hoisting and setting in position with C.M 1:3 (using crushed sand) cost of required centering, shuttering and finishing smooth with 6 mm thick cement plaster 1:3 (using crushed sand) on exposed surfaces complete as per specifications and as directed by the Engineer-in-charge | 13.00 | Cum. |  | 14000.00 | 182000.00 | 182000.00 | VIJAYS S PIMPLE
7.00 | Providing Reinforcement Steel (FE-500 grade) for reinforced cement concrete at all levels including supplying, preparation of bar bending schedules, cutting, bending, transporting, fixing, tieing in position with PVC coated G.I binding wire, all labour charges, cost of cover blocks in specified grade of concrete etc. complete as per specifications and drawings. Steel supplied by the contractor Using TMT bars of specified grades of all sizes. TMT bars to be supplied by the contractor from the own plants of SAIL, RINL or TATA make only using virgin materials | 60.00 | MT |  | 96000.00 | 5760000.00 | 5760000.00 | VIJAYS S PIMPLE
8.00 | Providing , centering ,shuttering Form work using PVC film faced plywood to get a neat form finish surface for all types of structures including necessary strutting, proping, staging, supports etc and deshuttering the same after the specified time all as per drawings, specifications and as directed by the Engineer-in-charge at all levels
8.01 | For Super Structure | 630.00 | Sq.M |  | 650.00 | 409500.00 | 409500.00 | VIJAYS S PIMPLE
8.02 | For Sub Structure | 130.00 | Sq.M |  | 420.00 | 54600.00 | 54600.00 | VIJAYS S PIMPLE
8.03 | Extra for circular & curved shuttering at Super structure | 470.00 | Sq.M |  | 350.00 | 164500.00 | 164500.00 | VIJAYS S PIMPLE
8.04 | Extra for circular & curved shuttering at Sub structure | 30.00 | Sq.M |  | 250.00 | 7500.00 | 7500.00 | VIJAYS S PIMPLE
9.00 | Extra for galvanizing minimum 80 micron thick galvanised coating on structural steel work including all charges etc. As directed by the Engineer-in-charge. | 1.20 | MT |  | 35000.00 | 42000.00 | 42000.00 | VIJAYS S PIMPLE
10.00 | Providing, supplying, fixing in position in walls Rain water down take pipes using Centrifugally cast iron pipes (3.00 metres long) including required specials like bends, shoes etc for Rain water down take pipes Confirming to IS.3989 of approved make including cost of Jointing with spun yarn and molten lead of specified quantity, caulking the joints, including testing of pipes,painting with primer , fixing at walls with necessary approved type of clamps and brackets complete all as per drawings and specifications and as directed at site. 150 mm C.I . rainwater down take pipe with 1.20 Kg lead per joint (pipe as per IS 3989) | 45.00 | RM |  | 3000.00 | 135000.00 | 135000.00 | VIJAYS S PIMPLE
11.00 | Providing and injecting in position 25 mm thick Two part Gun Grade Polysulphide sealant conforming to BS:4254-1983 of approved make in between precast cover and RC wall joints to the required size and shape, placing and keeping in position complete as per specifications and drawings and as directed by the Engineer in charge. | 254.00 | RM |  | 370.00 | 93980.00 | 93980.00 | VIJAYS S PIMPLE
12.00 | Providing Structural steel work using angles, channels, joists and other sections, welded and / or bolted in built up sections for trusses, structural steel floors, frame works, monorails and other structures (Conforming to IS:2062, Grade E-250, Quality-BR) including supplying, cutting, welding, fabricating, hoisting, fixing in position, applying a priming coat of approved steel primer etc. complete all as per specifications, drawings and as directed by the Engineer in charge. Up to and including 300mm Joists, 350mm channels, and below sections using materials produced by SAIL/RINL(VizagSteel)/TATA. All test reports to be provided along with the supply of the materials | 5.20 | MT |  | 120000.00 | 624000.00 | 624000.00 | VIJAYS S PIMPLE
13.00 | Providing Structural steel work in MS / CS Plain Plates and chequrred Plates for Embedded Parts, Trench Covers, Connection plates etc. including cutting, hoisting, fixing in position and applying a priming coat of approved zinc chromate steel primer etc. including cost of structural steel Plates, welding all labour charges etc. complete as per drawings and specifications. Using materials produced by the own plants of SAIL, RINL(VizagSteel) and TATA only using virgin materials. All test reports to be provided along with the supply of the materials. | 6.30 | MT |  | 115000.00 | 724500.00 | 724500.00 | VIJAYS S PIMPLE
14.00 | Providing, supplying and fixing hollow metal flush steel doors 40 mm thick of approved make consisting of door frame and shutters and all hardware fittings, frame made out of 14g thick G.I sheets and shutters made of 16g thick sheets, hollow portion filled with puff, including necessary stiffners in shutters and frame, vision panel of specified size with 4 mm glass and clip on pressed steel frame for vision panels, fixing 4 nos heavy duty stainless steel 304 grade ball bearing hinges, mortise / dead lock of approved make, a pair of 200 mm long stainless steel handles, 250 mm long stailless steel tower bolt, etc. frame hollow portion filled with PCC 1:2:4, necessary hold fast embedded in concrete, fixing in concrete with anchor fastners. finished with Polyurethane painting of approved colour complete all as per drawings and specifications and as directed by the Engineer-in-charge | 3.00 | Sq.M |  | 11000.00 | 33000.00 | 33000.00 | VIJAYS S PIMPLE
15.00 | Providing and laying (IPS Flooring) cement concrete flooring 1:2:4, using crushed sand 50 mm thick finished smooth to the required level, finishing with a floating coat of neat cement including cement slurry, curing, cleaning the surface neatly at the time of handing over the area complete as per specifications and drawings as directed by the Engineer in charge | 105.00 | Sq.M |  | 700.00 | 73500.00 | 73500.00 | VIJAYS S PIMPLE
16.00 | Providing and Painting two coats of synthetic enamel paint on steel surfaces of approved brand and manufacture to give an even shade over a primer coat.including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge | 300.00 | Sq.M |  | 160.00 | 48000.00 | 48000.00 | VIJAYS S PIMPLE
17.00 | Providing, painting,finishing walls with two coats of anti-algae, weather proof acrylic smooth emulusion paint of approved make with silicon additives on sand face plaster/ plain plaster & concrete surfaes of required shade over new work over a base coat of exterior cement primer including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge. | 500.00 | Sq.M |  | 180.00 | 90000.00 | 90000.00 | VIJAYS S PIMPLE
18.00 | APPLICABLE TOTAL GST RATE (%) INCLUDED IN THE QUOTED PRICE:
18.01 | CGST RATE(%)
18.02 | SGST RATE(%)
18.03 | IGST RATE(%)
| Total in Figures |  |  |  |  | 10977740.00
Lowest Amount Quoted BY: VIJAYS S PIMPLE(10977740.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of CFVS Scrubber tank shielding wall at TAPS-3 and RC Trench for Pipeline from CFVS to RAB at TAPS 3and4, NPCIL Tarapur Maharashtra Site Tender ID: 2024_NPCIL_194643_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VIJAYS S PIMPLE | 10977740.00 | L1