## BoQ1
Government eProcurement System Created By: Shivkumar Sonkere Created Date/Time: 19-Dec-2024 02:30 PM Tender Title: Supply, installation, testing and commissioning of indoor 33 slash 11 KV substation, 415 volts, local distribution with associated cabling works at phase area near Swimming pool Kaiga Township. Tender ID: 2024_NPCIL_195538_2
Tender Inviting Authority: Chief Superintendent, KGS 1 & 2
Name of Work: Supply, installation, testing and commissioning of indoor 33 /11 KV substation, 415 volts, local distribution with associated cabling works at phase – I area near Swimming pool Kaiga Township.
Contract No: NPCIL/KGS/CTC- C&MM (WORK GROUP)/Ele-TS/CPPP/2024/029
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shivakumar co (GSTN-29ACTFS1346Q1Z3) BID ID -737694
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART-A : SUPPLY PORTION
1.01 | 33KV, 11KV SWITCHGEAR MAIN EQUIPMENT Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of 33 kV and 11kV Switchgear Boards as per SLD complete in all respect as per tender specification and tender drawings:
1.02 | 33kV, 400A, 25kA, 1sec., Switch Board Bus-1 & Switch Board Bus-2 (with Bus Coupler) with VCB handling trolley. | 1.00 | Nos | 6725717.00 | 9523615.00 | 9523615.00 | 9523615.00 | shivakumar co
1.03 | 11kV, 400A, 25kA, 1sec., Switch Board Bus-2 & Switch Board Bus-2 (with Bus Coupler) with VCB handling trolley. | 1.00 | Nos | 8860903.00 | 13114136.00 | 13114136.00 | 13114136.00 | shivakumar co
2.00 | Supply of maintenance tools and tackels including on site training and documentation
2.01 | Earthing trucks set. One set consists of earthing trucks for one 400A and other ratings of circuit breakers cubicles for earthing of bus side or feeder side (One each for 11kV and 33kV) | 2.00 | Set | 307371.00 | 381140.00 | 762280.00 | 762280.00 | shivakumar co
2.02 | Tools, fixtures etc required for carrying out adjustments to breaker truck so as to ensure proper insertion and withdrawal from the cubicle | 1.00 | Set | 256165.00 | 300000.00 | 300000.00 | 300000.00 | shivakumar co
2.03 | Tools and tackles required for making all periodic adjustments at site on circuit breaker operating mechanism | 1.00 | Set | 25604.00 | 31723.00 | 31723.00 | 31723.00 | shivakumar co
3.00 | Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of 415V AC PMCC as per SLD complete in all respect as per tender specification and tender drawings: | 1.00 | Nos | 2420619.00 | 2780500.00 | 2780500.00 | 2780500.00 | shivakumar co
4.00 | Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of 415V AC PMCC as per SLD complete in all respect as per tender specification and tender drawings.
4.01 | 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 800 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current consisting of One 800A Switch Fuse unit (SFU) in incomer feeder, 1 No. of outgoing feeders with 250A SFU, 2 Nos. of outgoing feeders with 125A SFU, 2 Nos. of outgoing feeders with 63A SFU, 1 No. of outgoing feeders of 63A SFU with 63A receptacle, 2 nos. of outgoing feeders with 16A SFU, 1 nos of outgoing feeder with 16A SFU with 15A receptacle, 1no. of outgoing with 6A SFU; ACDB-1 (415V ACDB in New Substation building). | 1.00 | Nos | 277219.00 | 310000.00 | 310000.00 | 310000.00 | shivakumar co
4.02 | 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 630 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current consisting of One 630A Switch Fuse unit (SFU) in incomer feeder, 4 Nos. of outgoing feeders with 200A SFU, 4 Nos. of outgoing feeders with 125A SFU, 2 No. of outgoing feeders with 63A SFU; ACDB-2 (415V DG Distribution Board in existing first floor of 33KV control panel room ) | 1.00 | Nos | 277219.00 | 315000.00 | 315000.00 | 315000.00 | shivakumar co
4.03 | Power Distribution Board (PDB) for Space Heaters and Ventilation. 415V, metal clad, AC indoor type Power Distribution Board with 415V, 125A, 3 phase, 4 wire, 10kA symmetrical fault current capability bus ( I/C- 125A switch fuse as incommer, 3 Ckt out going with (type Y Feeders) of 32 A 240 V 2 pole MPCBs (9 kA), 3 Ckt out going with (type Y Feeders) of 16 A 240 V 2 pole MPCBs (9 kA), 3 Ckt out going with (type Y Feeders) of 32 A 240 V 2 pole MCBs (9 kA) and 11 Ckt out going with (type Y Feeders) of 16 A 240 V 2 pole MCBs (9 kA). | 1.00 | Nos | 47095.00 | 58397.00 | 58397.00 | 58397.00 | shivakumar co
5.00 | Supply of DG set complete with Engine, Alternator, base frame, integral fuel tank, air intake system, Radiator, Silencer, Canopy, 12V starting battery, DG control panel, Power & Control wiring, including External fuel tank of 990 Litres with piping up to 10 meters etc., as per technical specification. The scope also include supply of Mandatory Spares, Standard documentation. | 1.00 | Nos | 5310458.00 | 7381536.00 | 7381536.00 | 7381536.00 | shivakumar co
6.00 | Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of Rectifiers/ Chargers including all accessories, DC CT and dropper diode (as applicable) conforming to requirement of tender specification and tender drawings. | 1.00 | Nos | 648418.00 | 725827.00 | 725827.00 | 725827.00 | shivakumar co
7.00 | Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of DC Distribution boards 48V DCDB-1 including all accessories, conforming to tender specification and tender drawings | 1.00 | Nos | 301035.00 | 358230.00 | 358230.00 | 358230.00 | shivakumar co
8.00 | Design, Manufacture/ Fabrication, Assembly, Documentation, Co-ordination, Packaging/ Forwarding and supply of Battery Bank including all accessories, conforming to requirement of tender specification and tender drawings
8.01 | 48 V DC lead acid Control Battery of minimum C10 rating 1000 Ah VRLA type along with steel cabinet, inter-cell, inter-cabinet, end take off connections etc. for supplementary control center supplies. | 1.00 | Set | 604208.00 | 737737.00 | 737737.00 | 737737.00 | shivakumar co
9.00 | Supply,packaging/ forwarding,safe delivery at site of following tested HV power cables with relavant factory test reports as per tender specification .
9.01 | 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables. Size 3 core x 150sqmm. | 3100.00 | Mtrs | 1863.00 | 2235.00 | 6928500.00 | 6928500.00 | shivakumar co
9.02 | 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables
9.03 | 3 core x 240 sqmm. | 100.00 | Mtrs | 1604.00 | 1924.00 | 192400.00 | 192400.00 | shivakumar co
9.04 | 3 core x 185sqmm. | 2950.00 | Mtrs | 1329.00 | 1581.00 | 4663950.00 | 4663950.00 | shivakumar co
10.00 | Supply,packaging/ forwarding,safe delivery at site of following tested LT power cables 1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC cables AND 1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC cables with relavant factory test reports as per tender specification and drawings
10.01 | 2 Core x 35 sq. mm (Copper) | 250.00 | Mtrs | 906.00 | 1111.00 | 277750.00 | 277750.00 | shivakumar co
10.02 | 2 Core x 16 sq. mm (Copper) | 200.00 | Mtrs | 413.00 | 503.00 | 100600.00 | 100600.00 | shivakumar co
10.03 | 2 Core x 10 sq. mm (Copper) | 50.00 | Mtrs | 305.00 | 369.00 | 18450.00 | 18450.00 | shivakumar co
10.04 | 4 Core x 120 sq. mm (Aluminium) | 100.00 | Mtrs | 686.00 | 823.00 | 82300.00 | 82300.00 | shivakumar co
10.05 | 3.5 Core x 500 sq. mm (Aluminium) | 4500.00 | Mtrs | 2501.00 | 3051.00 | 13729500.00 | 13729500.00 | shivakumar co
10.06 | 3.5 Core x 300 sq. mm (Aluminium) | 100.00 | Mtrs | 1418.00 | 1701.00 | 170100.00 | 170100.00 | shivakumar co
10.07 | 3.5 Core x 240 sq. mm (Aluminium) | 100.00 | Mtrs | 1161.00 | 1439.00 | 143900.00 | 143900.00 | shivakumar co
10.08 | 3.5 Core x 185 sq. mm (Aluminium) | 630.00 | Mtrs | 904.00 | 1111.00 | 699930.00 | 699930.00 | shivakumar co
10.09 | 3.5 Core x 70 sq. mm (Aluminium) | 50.00 | Mtrs | 396.00 | 487.00 | 24350.00 | 24350.00 | shivakumar co
10.10 | 3.5 Core x 25 sq. mm (Aluminium) | 60.00 | Mtrs | 177.00 | 140.00 | 8400.00 | 8400.00 | shivakumar co
10.11 | 4 Core x 16 sq. mm (Aluminium) | 250.00 | Mtrs | 154.00 | 184.00 | 46000.00 | 46000.00 | shivakumar co
10.12 | 1 Core x 630 sq. mm (Aluminium) | 50.00 | Mtrs | 911.00 | 1129.00 | 56450.00 | 56450.00 | shivakumar co
10.13 | 1 Core x 240 sq. mm (Aluminium) | 60.00 | Mtrs | 390.00 | 483.00 | 28980.00 | 28980.00 | shivakumar co
11.00 | Supply,packaging/ forwarding,safe delivery at site of 1100V grade, copper, PVC insulated, Armoured, overall screened, FRLS PVC sheathed Control cables of following sizes with relavant factory test reports as per tender specification and drawings
11.01 | 7 Core x 2.5 Sq. mm (Stranded conductor) | 1400.00 | Mtrs | 400.00 | 500.00 | 700000.00 | 700000.00 | shivakumar co
11.02 | 4 Core x 2.5 Sq. mm (Stranded conductor) | 600.00 | Mtrs | 249.00 | 311.00 | 186600.00 | 186600.00 | shivakumar co
12.00 | LIGHTING SYSTEM
12.01 | Supply of 4 way TPN ready to use DBs - 63A, insulated phase bus-bars ¦ neutral bar/s with shroud/s ¦ earth bar/s ¦ sticking saddles ¦ cement spill protector ¦ color-coded interconnecting wire set ¦ cable ties ¦ blanking plates and circuit identification labels with 63 amps MCB as incomer, 12Nos single pole 20 amps as outgoing. The DB shall be in CRCA sheet steel, RAL 9003, powder coated, with provision for FP MCB/Isolator/RCCB/RCBO as incomer and SP MCBs as outgoings. IP 43 - Metal Door. L&T MADEL No:L&T DBTPE004SD. The cost of DB is including all above RATED MCB. (One for lighting and One for power DB) | 2.00 | Nos | 9190.00 | 11393.00 | 22786.00 | 22786.00 | shivakumar co
12.02 | Supply of 20/25mm OD PVC conduits: The item sample shall be shown to engineer in-charge and get approved before bulk. The PVC conduit shall Precession/Presto plast' or equivalent ISI approved make. PFRL 25MS | 350.00 | Mtrs | 27.00 | 34.00 | 11900.00 | 11900.00 | shivakumar co
12.03 | Supply of 2.5 sqmm Wire of PVC insulated 650 / 1100V grade, copper conductor, multi stranded wire of make Finolex / V-guard / PREMIER / NICCO / SIRCO / HAVELLS / POLYCAB confirming to latest IS: 694. The colour code of wires for phase shall be red and black for neutral. The earth wire shall be of green colour. | 600.00 | Mtrs | 61.00 | 76.00 | 45600.00 | 45600.00 | shivakumar co
12.04 | Supply of 1.5 sqmm Wire of PVC insulated 650 / 1100V grade, copper conductor, multi stranded wire of make Finolex / V-guard / PREMIER / NICCO / SIRCO / HAVELLS / POLYCAB confirming to latest IS: 694. The colour code of wires for phase shall be red and black for neutral. The earth wire shall be of green colour. | 1200.00 | Mtrs | 38.00 | 46.00 | 55200.00 | 55200.00 | shivakumar co
12.05 | Supply of surface mounting GI/PVC 6 Way Gang Box with mounting cover plate, 4 Nos ,6 amps switches, one 5pin 6 amps sockets. Make:Anchor or equivalent make CPL/Great white. | 10.00 | Nos. | 236.00 | 280.00 | 2800.00 | 2800.00 | shivakumar co
12.06 | Supply of 1x22/20 watts, LED T8 tube Lights (6500K / 4000K / 3000K), Batten Type, LED fixtures including all accessories like moning holder/clamps etc. The fixture shall be of SYSKA make Model Part Number SSK-SQ2201(1x22W) or equivalant model of Wipro/Philips/Crompton Greaves make with the approval of EIC. | 30.00 | Nos. | 1262.00 | 1514.00 | 45420.00 | 45420.00 | shivakumar co
12.07 | Supply of Philips/Cromptom/Bajaj/Syska make battery back up emergency light suitable for wall mounting. | 6.00 | Nos. | 2411.00 | 292.00 | 1752.00 | 1752.00 | shivakumar co
12.08 | Supply of COMBINED UNIT, 240V~ 50Hz, 20A/10A,Capton 5-In-1, With Box 4 Fixing Holes. ANCHOR PENTA 14620 or Equivalent | 15.00 | Nos. | 299.00 | 358.00 | 5370.00 | 5370.00 | shivakumar co
12.09 | Supply of ceiling fan 1200 mm. sweep, 300-375 rpm, brown colour, Usha / Crompton Greaves Bajaj OR equivalent model in Bajaj / Khetan with down rod & its accessories and fan regulators 5Star rated | 25.00 | Nos. | 3225.00 | 3805.00 | 95125.00 | 95125.00 | shivakumar co
12.10 | Supply of Exhaust fan 300 mm dia/ sweep industrial type,75w, 230 V, 1 Ph, 50 Hz, AC, with its accessories. Make shall BIS approved.Usha / Bajaj / Almanarod /hvells/crompton All as instructed by the engineer in-charge and technical specification. | 10.00 | Nos. | 7517.00 | 9020.00 | 90200.00 | 90200.00 | shivakumar co
12.11 | Supply of 9 mtrs height Octagonal GI Street lighting Poles as per specification. Make shall be Bajaj/Crompton | 10.00 | Nos. | 11214.00 | 13344.00 | 133440.00 | 133440.00 | shivakumar co
12.12 | Supply of Philips/Crompton/Bajaj/Syska/Havells make 90 watts LED street lighting fixutres | 10.00 | Nos. | 11564.00 | 14108.00 | 141080.00 | 141080.00 | shivakumar co
12.13 | Supply of Philips/Crompton/Bajaj/Syska/Havells make 50 watts LED outdoor led street light fixures. | 10.00 | Nos. | 7316.00 | 8779.00 | 87790.00 | 87790.00 | shivakumar co
13.00 | Supply of RACHEM make heat shrinkable type cable END termination / Staright Through kits for 33KV HT cables
13.01 | Indoor END Termination kit for 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 150sqmm. EPKT 6113 | 4.00 | Nos. | 39990.00 | 47788.00 | 191152.00 | 191152.00 | shivakumar co
13.02 | OUTDOOR END Termination kit for 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 150sqmm. EPKT 6364 | 2.00 | Nos. | 50632.00 | 60758.00 | 121516.00 | 121516.00 | shivakumar co
13.03 | Staright Through termination kit for 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 150sqmm. EPKJ 6116 | 6.00 | Nos. | 41861.00 | 51010.00 | 306060.00 | 306060.00 | shivakumar co
14.00 | Supply of RACHEM make heat shrinkable type cable END termination kits for 11KV HT cables
14.01 | Indoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 240 sqmm. EPKT 3121 | 4.00 | Nos. | 7030.00 | 8601.00 | 34404.00 | 34404.00 | shivakumar co
14.02 | Indoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size3 core x 185sqmm.EPKT 3111 | 5.00 | Nos. | 6740.00 | 8222.00 | 41110.00 | 41110.00 | shivakumar co
14.03 | Outdoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 185sqmm. EPKT 3362 | 3.00 | Nos. | 9465.00 | 11831.00 | 35493.00 | 35493.00 | shivakumar co
14.04 | Staright Through termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 185sqmm. EPKJ 3117 | 3.00 | Nos. | 23768.00 | 29635.00 | 88905.00 | 88905.00 | shivakumar co
15.00 | Supply of RACHEM make heat shrinkable staright through termination kits for 1100V LT cables
15.01 | Staright Through termination kit for 1100 V, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3.5 core x 500sqmm. EPKJ 3117 | 9.00 | Nos. | 15577.00 | 18848.00 | 169632.00 | 169632.00 | shivakumar co
16.00 | Supply of GI HT / LT Cable Route Marker.Cable Route MarkerMS Cast Iron Round Die Cast 4" Round Plate 2mm thickness MS angle of 2.5 feet, powder coated yellow colour.Very Clear fonts and clean moulding.Can be used in concrete | 100.00 | Nos. | 413.00 | 516.00 | 51600.00 | 51600.00 | shivakumar co
17.00 | Supply of solid type without cover, 90mm wide, 20mm height, 2mm thick GI light channels for routing cables from cable trays or Distribution Boards or Junction Boxes to various field equipment or between equipment. | 100.00 | Mtrs | 241.00 | 296.00 | 29600.00 | 29600.00 | shivakumar co
18.00 | EARTHING SYSYEM
18.01 | Supply of plate type earth pit with 600 X 600 X 6.3mm G.I. plate as per BIS : 3043 and as tender specification | 30.00 | Nos. | 8781.00 | 10625.00 | 318750.00 | 318750.00 | shivakumar co
18.02 | Supply of GI flat of 25 x 3mm size Hot dip galvanized iron flat, 25 x 3 mm size, Industrial grade, suitable for Equipment earthing confirming to IS-4759- 2629. The zinc coating shall be 60-80 microns. | 100.00 | Mtrs | 98.00 | 114.00 | 11400.00 | 11400.00 | shivakumar co
18.03 | Supply of GI flat of 50 x 6mm size Hot dip galvanized iron flat, 50 x 6 mm size, Industrial grade, suitable for Equipment earthing confirming to IS-4759- 2629. The zinc coating shall be 60-80 microns. | 200.00 | Mtrs | 360.00 | 435.00 | 87000.00 | 87000.00 | shivakumar co
19.00 | SPARES
19.01 | Portable Evaluation station (Laptop-industrial grade) along with standard softwares like operating system, MS office suite and fault analysis software and fault/ event record analysis software, communication cables, hardware, adopters, etc. For 33kV, 400A, 25kA, 1sec., Switch Board Bus-1 | 1.00 | Nos. | 139704.00 | 167644.00 | 167644.00 | 167644.00 | shivakumar co
20.00 | MANDATORY/ ESSENTIAL SPARES for 33kV SWITCHGEAR (One set of any item of spares shall include the quantity of all sizes and types of that item in one piece of equipment)
20.01 | Loose 3-Phase breaker complete with operating mechanism, close and trip coils, auxiliary switch, truck mounted ready for 400 A | 1.00 | Nos. | 326879.00 | 408598.00 | 408598.00 | 408598.00 | shivakumar co
20.02 | One Complete pole of vacuum interrupter for 400 A | 1.00 | Nos. | 71660.00 | 88858.00 | 88858.00 | 88858.00 | shivakumar co
20.03 | Set of Closing and Tripping Coils (1 set consisting of 6 trip coils and 3 close coils for each breaker rating) 400 A | 1.00 | Set | 17996.00 | 22135.00 | 22135.00 | 22135.00 | shivakumar co
20.04 | Set of Fixed and moving stab in contact assemblies of each breaker consisting of contacts for 3-phase assemblies as used in respective circuit breaker panels. 400 A | 1.00 | Set | 53781.00 | 65612.00 | 65612.00 | 65612.00 | shivakumar co
20.05 | Set of spring charging motors consisting of 1 motor of each type | 1.00 | Set | 9754.00 | 12192.00 | 12192.00 | 12192.00 | shivakumar co
20.06 | Bus Bar support insulators | 5.00 | Nos. | 1355.00 | 1612.00 | 8060.00 | 8060.00 | shivakumar co
20.07 | Auxiliary Switch Assemblies | 5.00 | Nos | 3793.00 | 4562.00 | 22810.00 | 22810.00 | shivakumar co
20.08 | Set of limit switches (Motor wound spring charging limit switch, service position and test position limit switches) consisting of one of each type | 5.00 | Set | 2844.00 | 3469.00 | 17345.00 | 17345.00 | shivakumar co
20.09 | Local /Remote selector switches | 5.00 | Nos. | 1896.00 | 2370.00 | 11850.00 | 11850.00 | shivakumar co
20.10 | Breaker control switches | 5.00 | Nos. | 1896.00 | 2370.00 | 11850.00 | 11850.00 | shivakumar co
21.00 | Numerical Relays
21.01 | For Incomers | 1.00 | Nos. | 301035.00 | 370273.00 | 370273.00 | 370273.00 | shivakumar co
21.02 | For Transformer Feeders | 1.00 | Nos. | 301035.00 | 370273.00 | 370273.00 | 370273.00 | shivakumar co
21.03 | For Bus coupler | 1.00 | Nos. | 301035.00 | 370273.00 | 370273.00 | 370273.00 | shivakumar co
21.04 | Arc Protection relay | 1.00 | Nos. | 301035.00 | 370273.00 | 370273.00 | 370273.00 | shivakumar co
21.05 | Bus U/V Protection relay | 1.00 | Nos. | 301035.00 | 370273.00 | 370273.00 | 370273.00 | shivakumar co
22.00 | Auxiliary Relays
22.01 | Breaker auxiliary contact multiplication relay (52X) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.02 | Auxiliary relay for CB service position (75S) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.03 | Auxiliary relay for CB test position (75T) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.04 | Lockout relay (86) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.05 | Anti pumping relay (94) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.06 | Close supply supervision relay (95C) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.07 | Protection Supply supervision relay (95P) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.08 | Trip coil-1 supervision relay (95T) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.09 | Auxiliary relay for close/trip if used in scheme (3C/3T) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
22.10 | Auxiliary relay for under-voltage lockout if used in scheme (27-94) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
23.00 | Set of light I/O unit consisting of one unit of each type | 1.00 | Set | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
24.00 | Current I/O unit (if separate from main arc relay) | 1.00 | Nos. | 7525.00 | 9782.00 | 9782.00 | 9782.00 | shivakumar co
25.00 | Set of Timers consisting one of each type (If used in scheme) | 1.00 | Set | 14915.00 | 18643.00 | 18643.00 | 18643.00 | shivakumar co
26.00 | Set of Current Transformers (including CBCTs) consisting of one of each rating and type | 1.00 | Set | 708079.00 | 842494.00 | 842494.00 | 842494.00 | shivakumar co
27.00 | Set of Voltage Transformers of various ratings consisting of one of each rating | 1.00 | Set | 153754.00 | 182967.00 | 182967.00 | 182967.00 | shivakumar co
28.00 | Set of fuses consisting of 10% fuses of total quantity of each rating, or 3 numbers of each rating, whichever is higher. | 1.00 | Set | 12869.00 | 15417.00 | 15417.00 | 15417.00 | shivakumar co
29.00 | Set of MCBs consisting of 10% MCBs of total quantity of each rating, or 3 numbers of each rating, whichever is higher. | 1.00 | Set | 166488.00 | 203115.00 | 203115.00 | 203115.00 | shivakumar co
30.00 | Surge suppressors | 2.00 | Nos. | 29396.00 | 35275.00 | 70550.00 | 70550.00 | shivakumar co
31.00 | Set of numerical relays as loose items for Purchaser's use (1 Set consist of one number of each model of numerical relay) | 1.00 | Set | 1203000.00 | 1491720.00 | 1491720.00 | 1491720.00 | shivakumar co
32.00 | 11kV SWITCHGEAR (One set of any item of spares shall include the quantity of all sizes and types of that item in one piece of equipment)
32.01 | Loose 3-Phase breaker complete with operating mechanism, close and trip coils, auxiliary switch, truck mounted ready for use. 400 A | 1.00 | Nos. | 326879.00 | 408598.00 | 408598.00 | 408598.00 | shivakumar co
32.02 | One Complete pole of vacuum interrupter for 400 A | 1.00 | Nos. | 71660.00 | 88715.00 | 88715.00 | 88715.00 | shivakumar co
32.03 | Set of Closing and Tripping Coils (1 set consisting of 6 trip coils and 3 close coils for each breaker rating) 400 A | 1.00 | Set | 17996.00 | 22495.00 | 22495.00 | 22495.00 | shivakumar co
33.00 | Set of Fixed and moving stab in contact assemblies of each breaker consisting of contacts for 3-phase assemblies as used in respective circuit breaker panels.
33.01 | 400 A | 1.00 | Set | 53781.00 | 67064.00 | 67064.00 | 67064.00 | shivakumar co
33.02 | Set of spring charging motors consisting of 1 motor of each type | 1.00 | Set | 9754.00 | 12094.00 | 12094.00 | 12094.00 | shivakumar co
33.03 | Bus Bar support insulators | 5.00 | Nos. | 1355.00 | 1693.00 | 8465.00 | 8465.00 | shivakumar co
33.04 | Auxiliary Switch Assemblies | 2.00 | Nos. | 3793.00 | 4629.00 | 9258.00 | 9258.00 | shivakumar co
33.05 | Set of limit switches (Motor wound spring charging limit switch, service position and test position limit switches) consisting of one of each type | 2.00 | Set | 2844.00 | 3555.00 | 7110.00 | 7110.00 | shivakumar co
33.06 | Local /Remote selector switches | 5.00 | Nos. | 1896.00 | 2370.00 | 11850.00 | 11850.00 | shivakumar co
33.07 | Breaker control switches | 5.00 | Nos. | 1896.00 | 2370.00 | 11850.00 | 11850.00 | shivakumar co
34.00 | Numerical Relays
34.01 | For Incomers | 1.00 | Nos. | 301035.00 | 374788.00 | 374788.00 | 374788.00 | shivakumar co
34.02 | For Transformer Feeders | 1.00 | Nos. | 301035.00 | 374788.00 | 374788.00 | 374788.00 | shivakumar co
34.03 | For Bus coupler | 1.00 | Nos. | 301035.00 | 374788.00 | 374788.00 | 374788.00 | shivakumar co
34.04 | Arc Protection relay | 1.00 | Nos. | 301035.00 | 374788.00 | 374788.00 | 374788.00 | shivakumar co
34.05 | Bus U/V Protection relay | 1.00 | Nos. | 301035.00 | 374788.00 | 374788.00 | 374788.00 | shivakumar co
35.00 | Auxiliary Relays
35.01 | Breaker auxiliary contact multiplication relay (52X) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.02 | Auxiliary relay for CB service position (75S) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.03 | Auxiliary relay for CB test position (75T) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.04 | Lockout relay (86) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.05 | Anti pumping relay (94) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.06 | Close supply supervision relay (95C) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.07 | Protection Supply supervision relay (95P) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.08 | Trip coil-1 supervision relay (95T) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.09 | Auxiliary relay for close/trip if used in scheme (3C/3T) | 2.00 | Nos. | 7525.00 | 9105.00 | 18210.00 | 18210.00 | shivakumar co
35.10 | Auxiliary relay for under-voltage lockout if used in scheme (27-94) | 1.00 | Nos. | 7525.00 | 9105.00 | 9105.00 | 9105.00 | shivakumar co
35.11 | Set of light I/O unit consisting of one unit of each type | 3.00 | Set | 7525.00 | 9105.00 | 27315.00 | 27315.00 | shivakumar co
35.12 | Current I/O unit (if separate from main arc relay) | 1.00 | Nos. | 7525.00 | 9105.00 | 9105.00 | 9105.00 | shivakumar co
35.13 | Set of Timers consisting one of each type (If used in scheme) | 1.00 | Set | 14915.00 | 17799.00 | 17799.00 | 17799.00 | shivakumar co
35.14 | Set of Current Transformers (including CBCTs) consisting of one of each rating and type | 1.00 | Set | 707406.00 | 880720.00 | 880720.00 | 880720.00 | shivakumar co
35.15 | Set of Voltage Transformers of various ratings consisting of one of each rating | 1.00 | Set | 153754.00 | 186969.00 | 186969.00 | 186969.00 | shivakumar co
35.16 | Set of numerical relays as loose items for Purchaser's use (1 Set consist of one number of each model of numerical relay) | 1.00 | Set | 1203000.00 | 1489240.00 | 1489240.00 | 1489240.00 | shivakumar co
36.00 | ESSENTIAL / MANDATORY SPARES for 415V PMCC
36.01 | Complete breaker with operating mechanism, close and trip coils including draw out frame
36.02 | 800A | 1.00 | Nos | 60207.00 | 79000.00 | 79000.00 | 79000.00 | shivakumar co
36.03 | 630A | 1.00 | Nos | 60207.00 | 79000.00 | 79000.00 | 79000.00 | shivakumar co
36.04 | 400A | 1.00 | Nos | 60207.00 | 79000.00 | 79000.00 | 79000.00 | shivakumar co
36.05 | Closing Coils | 3.00 | Nos | 3763.00 | 13998.00 | 41994.00 | 41994.00 | shivakumar co
36.06 | Tripping Coils | 3.00 | Nos | 3763.00 | 13998.00 | 41994.00 | 41994.00 | shivakumar co
36.07 | Spring charge motors | 3.00 | Nos | 6020.00 | 22033.00 | 66099.00 | 66099.00 | shivakumar co
36.08 | Set of auxiliary contact blocks consisting of 3 number of each type | 1.00 | Set | 7525.00 | 9331.00 | 9331.00 | 9331.00 | shivakumar co
36.09 | Closing springs consisting of 3 number of each type | 1.00 | Nos | 22305.00 | 27435.00 | 27435.00 | 27435.00 | shivakumar co
37.00 | Sets of fixed and moving stab in contact assembly consisting of contacts for three phase assemblies of each breaker rating as specified below
37.01 | 800A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
37.02 | 630A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
37.03 | 400A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
38.00 | Moving contact assembly kit with arcing contacts consisting of contacts for three phase assemblies of each breaker rating as specified below
38.01 | 800A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
38.02 | 630A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
38.03 | 400A | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
39.00 | Set of arcing contacts of breaker (moving and fixed contacts) consisting of 3 numbers of each breaker rating | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
40.00 | Set of 3 pole Arc chutes consisting of two number of each breaker rating | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
41.00 | Set of Operating mechanism consisting of two number of each breaker rating | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
42.00 | Set of sliding auxiliary contact block of assembly of breaker consisting of 5 numbers of each type | 1.00 | Set | 7525.00 | 9406.00 | 9406.00 | 9406.00 | shivakumar co
43.00 | Limit switches
43.01 | Service position | 3.00 | Nos | 753.00 | 903.00 | 2709.00 | 2709.00 | shivakumar co
43.02 | Test position | 3.00 | Nos | 753.00 | 903.00 | 2709.00 | 2709.00 | shivakumar co
43.03 | Spring switch | 3.00 | Nos | 753.00 | 903.00 | 2709.00 | 2709.00 | shivakumar co
43.04 | Local/Remote selector switch | 2.00 | Nos | 753.00 | 903.00 | 1806.00 | 1806.00 | shivakumar co
43.05 | Breaker control switches | 3.00 | Nos | 753.00 | 903.00 | 2709.00 | 2709.00 | shivakumar co
44.00 | Set of Busbar support insulators for horizontal busbar and vertical droppers consisting of five numbers of each rating and type | 2.00 | Sets | 753.00 | 903.00 | 1806.00 | 1806.00 | shivakumar co
45.00 | Protective relays
45.01 | Numerical relay for incomers and O/G feeders | 1.00 | Nos | 225777.00 | 282221.00 | 282221.00 | 282221.00 | shivakumar co
45.02 | Set of 95 supervision relays consisting of 3 numbers of each type | 1.00 | Set | 30103.00 | 37026.00 | 37026.00 | 37026.00 | shivakumar co
45.03 | Set of Auxiliary relay consisting of 10% of total supplied quantity of each rating subject to minimum 1 number | 1.00 | Set | 30103.00 | 37026.00 | 37026.00 | 37026.00 | shivakumar co
46.00 | Set of Timer consisting of 2 numbers of each type | 1.00 | Set | 30103.00 | 37026.00 | 37026.00 | 37026.00 | shivakumar co
47.00 | Breaker mounted releases for O/C, S/C and Earth fault | 1.00 | Nos | 30103.00 | 37026.00 | 37026.00 | 37026.00 | shivakumar co
48.00 | Set of current transformers for metering (Cl 1.0) consisting of 10% of total quantity supplied subject to minimum 1 number of different ratios | 1.00 | Set | 6020.00 | 7525.00 | 7525.00 | 7525.00 | shivakumar co
49.00 | Set of current transformers for protection consisting of 10% of total quantity supplied subject to minimum 1 number of different ratios of 5P10 | 1.00 | Set | 6020.00 | 7525.00 | 7525.00 | 7525.00 | shivakumar co
50.00 | Set of core balance current transformers for protection (if used) consisting of 10% of total quantity supplied subject to minimum 1 number of different ratios | 1.00 | Set | 6020.00 | 7525.00 | 7525.00 | 7525.00 | shivakumar co
51.00 | Voltage transformers 415/√3/110/√3 | 2.00 | Nos | 6020.00 | 7525.00 | 15050.00 | 15050.00 | shivakumar co
52.00 | Set of Control circuit fuses (HRC type) consisting 10% of total supply quantity of various ratings subjected to minimum 3 numbers with fuse holder and fuse carriers | 1.00 | Set | 7525.00 | 9030.00 | 9030.00 | 9030.00 | shivakumar co
53.00 | Set of switch fuse assembly consisting of 10% of total supplied quantity of each rating subject to minimum 1 number | 1.00 | Set | 7525.00 | 9030.00 | 9030.00 | 9030.00 | shivakumar co
54.00 | Set of MCCB consisting of 10% of total supplied quantity of each rating subject to minimum 1 number | 1.00 | Set | 7525.00 | 9030.00 | 9030.00 | 9030.00 | shivakumar co
55.00 | Set of power fuses consisting of 10% of supplied quantity of each rating subject to minimum 3 numbers | 1.00 | Set | 3010.00 | 3672.00 | 3672.00 | 3672.00 | shivakumar co
56.00 | Set of Control transformer consisting of 10% of total supplied quantity of each rating subject to minimum 1 number | 1.00 | Set | 60207.00 | 74656.00 | 74656.00 | 74656.00 | shivakumar co
57.00 | SPECIAL TOOLS AND TACKLES
57.01 | Portable mobile trollies for ACB handling (Suitable for all 3 breaker ratings) | 1.00 | Nos | 22577.00 | 27747.00 | 27747.00 | 27747.00 | shivakumar co
58.00 | ESSENTIAL / MANDATORY SPARES for 48V BATTERY
58.01 | Spare cells | 1.00 | Nos. | 25446.00 | 31553.00 | 31553.00 | 31553.00 | shivakumar co
58.02 | Inter-cell connectors ( One of each type) | 1.00 | Set | 422.00 | 527.50 | 527.50 | 527.50 | shivakumar co
58.03 | Set of Nuts, bolts, washers, etc.( One of each type) | 20.00 | Set | 55.00 | 59.00 | 1180.00 | 1180.00 | shivakumar co
58.04 | Set of One No. of End take off connector assembly without mounting stand | 1.00 | Set | 21674.00 | 26789.00 | 26789.00 | 26789.00 | shivakumar co
59.00 | ESSENTIAL / MANDATORY SPARES for 48V DCDB-1
59.01 | 32/25A/16A switch fuse unit for DC application (2 of Each type) | 3.00 | Nos | 3010.00 | 3596.00 | 10788.00 | 10788.00 | shivakumar co
59.02 | 400A switch fuse unit | 1.00 | Nos | 3010.00 | 3596.00 | 3596.00 | 3596.00 | shivakumar co
59.03 | 250A switch fuse unit | 1.00 | Nos | 3010.00 | 3596.00 | 3596.00 | 3596.00 | shivakumar co
59.04 | Voltmeter for DC application as per 48V DC SLD | 1.00 | Nos | 753.00 | 896.00 | 896.00 | 896.00 | shivakumar co
59.05 | Set of Ammeter with shunt of required rating (1 of each type) for 48 V DCDB | 1.00 | Set | 753.00 | 896.00 | 896.00 | 896.00 | shivakumar co
59.06 | Under-voltage relay for 48V DCDB | 1.00 | Nos | 18061.00 | 22414.00 | 22414.00 | 22414.00 | shivakumar co
59.07 | 25A/32A/16A HRC fuse (2 of Each type) | 3.00 | Nos | 3009.00 | 3520.00 | 10560.00 | 10560.00 | shivakumar co
59.08 | 250A HRC fuse | 1.00 | Nos | 4516.00 | 5509.00 | 5509.00 | 5509.00 | shivakumar co
59.09 | 400A HRC fuse | 1.00 | Nos | 5269.00 | 6507.00 | 6507.00 | 6507.00 | shivakumar co
60.00 | PART-B: ERECTION PORTION
61.01 | Erection / Installation, carrying out pre-commissioning checks, Testing and commissioning etc., complete as per tender specification and drawings
61.02 | 33KV, 11KV SWITCHGEAR Switchgear boards including all components/ accessories/ items / base frames and complete in all respects as per specification and drawings | 4.00 | Nos. | 155543.00 | 209983.00 | 839932.00 | 839932.00 | shivakumar co
62.00 | 415V PMCC-1 | 1.00 | Nos. | 47902.00 | 59877.00 | 59877.00 | 59877.00 | shivakumar co
63.00 | 415V AC DISTRIBUTION BOARD
63.01 | ACDB-1 (415V ACDB in New Substation building) | 1.00 | Nos. | 5988.00 | 7461.00 | 7461.00 | 7461.00 | shivakumar co
63.02 | ACDB-2 (415V DG Distribution Board) Existing 33KV Control panel room 1st floor | 1.00 | Nos. | 5988.00 | 7461.00 | 7461.00 | 7461.00 | shivakumar co
64.00 | LIGHTING BOARD :Lighting & Emergency lighting Boards
64.01 | LB-1 | 2.00 | Nos. | 522.00 | 642.00 | 1284.00 | 1284.00 | shivakumar co
65.00 | Power distrubution board for space heater & ventilation PDB-1 | 1.00 | Nos. | 1497.00 | 1871.25 | 1871.25 | 1871.25 | shivakumar co
66.00 | DIESEL GENERATOR Installation & Commissioning of DG set including Storage of DG set (if any) at site, Civil work for DG set foundation, external fuel tank and earthing, Installation, First fill of consumables (lube oil, coolant etc. except fuel), Diesel for site testing / commissioning | 1.00 | Nos. | 530252.00 | 754327.00 | 754327.00 | 754327.00 | shivakumar co
67.00 | INSTALLATION OF RECTIFIERS/ CHARGER 48V DC Control Rectifier, RC-1 (19.2 kW) | 1.00 | Nos. | 12488.00 | 10800.00 | 10800.00 | 10800.00 | shivakumar co
68.00 | Installation of DC Distribution boards 48V DCDB-1 | 1.00 | Nos. | 1766.00 | 1500.00 | 1500.00 | 1500.00 | shivakumar co
69.00 | 48V BATTERY 48 V DC lead acid Control Battery of minimum C10 rating 1000 Ah VRLA type along with steel cabinet, inter-cell, inter-cabinet, end take off connections etc. for supplementary control center supplies. | 1.00 | Banks | 62442.00 | 78052.00 | 78052.00 | 78052.00 | shivakumar co
70.00 | Cable laying
70.01 | Laying of 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables. Size 3 core x 150sqmm in the excavated cable trench and trench inside the substation building. | 3080.00 | Mtrs. | 56.00 | 55.00 | 169400.00 | 169400.00 | shivakumar co
70.02 | Laying of 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables. Size 3 core x 240 sqmm in the excavated cable trench and trench inside the substation building. | 90.00 | Mtrs. | 75.00 | 70.00 | 6300.00 | 6300.00 | shivakumar co
70.03 | Laying of 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables. Size 3 core x 185 sqmm in the excavated cable trench and trench inside the substation building. | 2945.00 | Mtrs. | 64.00 | 68.00 | 200260.00 | 200260.00 | shivakumar co
71.00 | Laying of 1100V, grade copper /Aluminium cable XLPE insulated, Armoured, FRLS PVC cables. Size of Outer daimeter from 16mm to 25mm OD excavated cable trench , cable trays and trench inside the substation building.
71.01 | Laying of cables of outer daimeter from 16mm to 25mm O (2C X 10, 2C X 16, 4C X 16, 2C X 35, 3.5C X 25, 7C X 2.5, 4C X 2.5) | 2740.00 | Mtrs. | 23.00 | 25.00 | 68500.00 | 68500.00 | shivakumar co
71.02 | 3.5 C X 70 | 25.00 | Mtrs. | 30.00 | 33.00 | 825.00 | 825.00 | shivakumar co
71.03 | 4C X 120 | 100.00 | Mtrs. | 36.00 | 38.00 | 3800.00 | 3800.00 | shivakumar co
71.04 | 3.5C X 185, 3.5C X 240 | 730.00 | Mtrs. | 57.00 | 55.00 | 40150.00 | 40150.00 | shivakumar co
71.05 | 3.5C X 300 | 100.00 | Mtrs. | 72.00 | 69.00 | 6900.00 | 6900.00 | shivakumar co
71.06 | 3.5C X 500 | 4500.00 | Mtrs. | 90.00 | 85.00 | 382500.00 | 382500.00 | shivakumar co
72.00 | Earth work Excavation in all sorts of soil for cable Trenches of various size of 1050mm, 1430mm & 600mm wide X 1100mm Deep for laying electrical cables of various sizes Cutting / removing & clearance of jungle, bushes, grass & all other unwanted plants / creepers, shoring, strutting, bailing out water (if necessary). preparation of base, refilling the sides of the foundation with excavated available good quality soil, leveling / dressing & hand ramming with proper watering, providing, fixing & removing necessary staging / platform (if required), cleaning the work area, collecting & stacking the generated waste, dead debris & surplus soil up to a lead of 2000 meters from the place of work etc. complete all as per standard technical specifications and as directed by the Engineer-in-charge at all location & all lifts. | 2300.00 | Cu.mtr | 484.00 | 580.00 | 1334000.00 | 1334000.00 | shivakumar co
73.00 | Supply and spreading of river sand for laying of cables in trench. Sand shall be spread 100mm below and 100mm above the cable during laying of cables through out the lenghth of cable inside the excavated trench.The quty required per 20 mtrs length of cable laying of 100 mm dia cable is considered as 0.4 Cub Mtrs. | 252.00 | Cu.mtr | 132.00 | 1200.00 | 302400.00 | 302400.00 | shivakumar co
74.00 | Supply, Transportation and laying of Bricks in excavated cable trench during laying of cables through out the length of cable inside the excavated trench.The bricks to be laid on both side of the cable along the length of cables. | 47000.00 | Nos. | 15.00 | 20.00 | 940000.00 | 940000.00 | shivakumar co
75.00 | Supply, Transportation and laying of PCC Slab of size 200mmW X 500 mm L X 50mm T above the cable during laying of cables through out the lenghth of cable inside the excavated trench.The scope includes loading , unloading , shifting of slabs. | 17500.00 | Nos. | 248.00 | 299.00 | 5232500.00 | 5232500.00 | shivakumar co
76.00 | Glanding and termination of following size aluminium conductor, PVC sheathed, XLPE insulated armoured power cables including supply of suitable gland & lugs with other consumables.
76.01 | 1 Core x 630 sq. mm (OD 44mm) DBW -09 (Aluminium) | 4.00 | Nos. | 3570.00 | 4284.00 | 17136.00 | 17136.00 | shivakumar co
76.02 | 3.5 Core x 500 sq. mm (OD 79mm) DBW - 014 (Aluminium) | 6.00 | Nos. | 9930.00 | 11067.00 | 66402.00 | 66402.00 | shivakumar co
76.03 | 3.5 Core x 300 sq. mm (OD 58mm) DBW - 011 (Aluminium) | 1.00 | Nos. | 5190.00 | 6487.00 | 6487.00 | 6487.00 | shivakumar co
76.04 | 3.5 Core x 240 sq. mm (OD 76mm) DBW - 013 (Aluminium) | 2.00 | Nos. | 7391.00 | 9164.00 | 18328.00 | 18328.00 | shivakumar co
76.05 | 1 Core x 240 sq. mm (OD 29mm) DBW - 05 (Aluminium) | 4.00 | Nos. | 1570.00 | 1931.00 | 7724.00 | 7724.00 | shivakumar co
76.06 | 3.5 Core x 185 sq. mm (OD 51mm) DBW-10 (Aluminium) | 12.00 | Nos. | 3369.00 | 4076.00 | 48912.00 | 48912.00 | shivakumar co
76.07 | 4 Core x 120 sq. mm (OD 41mm) DBW -09 (Aluminium) | 2.00 | Nos. | 2823.00 | 3359.00 | 6718.00 | 6718.00 | shivakumar co
76.08 | 3.5 Core x 70 sq. mm (OD 44mm) DBW - 09 (Aluminium) | 2.00 | Nos. | 2659.00 | 3270.00 | 6540.00 | 6540.00 | shivakumar co
76.09 | 2 Core x 35 sq. mm (OD 22mm) DBW - 03 (Copper) | 10.00 | Nos. | 863.00 | 1035.00 | 10350.00 | 10350.00 | shivakumar co
76.10 | 3.5 Core x 25 sq. mm (OD 23mm) DBW -04 (Aluminium) | 4.00 | Nos. | 969.00 | 1160.00 | 4640.00 | 4640.00 | shivakumar co
76.11 | 4 Core x 16 sq. mm (OD 23mm) (Aluminium) | 18.00 | Nos. | 1038.00 | 1298.00 | 23364.00 | 23364.00 | shivakumar co
76.12 | 2 Core x 16 sq. mm (OD 18mm) DBW - 01A (Copper) | 8.00 | Nos. | 666.00 | 799.00 | 6392.00 | 6392.00 | shivakumar co
76.13 | 2 Core x 10 sq. mm (OD 18mm) DBW -01A (Copper) | 2.00 | Nos. | 656.00 | 795.00 | 1590.00 | 1590.00 | shivakumar co
76.14 | 7 Core x 2.5 Sq. mm (Stranded conductor) (OD 15mm) DBW-01S (Copper) | 48.00 | Nos. | 576.00 | 620.00 | 29760.00 | 29760.00 | shivakumar co
76.15 | 4 Core x 2.5 Sq. mm (Stranded conductor) (OD 16.4mm) DBW-01S (Copper) | 18.00 | Nos. | 551.00 | 590.00 | 10620.00 | 10620.00 | shivakumar co
77.00 | Installation of heat shrinkable out door/indoor type HT straight through joint and end termination kit for 3C x 150sq.mm aluminium conductor XLPE insulated 33KV grade (E) armoured cable. The joint shall be made by engaging skilled, qualified cable jointer as per specification. The scope of work also includes joint preparation, connection, termination, commissioning of joint as per specifications. The shifting of kits to locations is in the scope of contractor.
77.01 | Straight through joints. | 6.00 | Nos. | 7042.00 | 8000.00 | 48000.00 | 48000.00 | shivakumar co
77.02 | End termination. (Indoor & Outdoor) | 6.00 | Nos. | 6061.00 | 6800.00 | 40800.00 | 40800.00 | shivakumar co
78.00 | Installation of heat shrinkable out door/indoor type HT straight through joint and end termination kit for 3C x 150sq.mm/240sq.mm aluminium conductor XLPE insulated 11KV grade (E) armoured cable. The joint shall be made by engaging skilled, qualified cable jointer as per specification. The scope of work also includes joint preparation, connection ,termination, commissioning of joint as per specifications. The shifting of kits to locations is in the scope of contractor.
78.01 | Indoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 240 sqmm. IXSW 3362 | 4.00 | Nos. | 6061.00 | 6500.00 | 26000.00 | 26000.00 | shivakumar co
78.02 | Indoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size3 core x 185sqmm. IXSW 3352 | 5.00 | Nos. | 6061.00 | 6500.00 | 32500.00 | 32500.00 | shivakumar co
78.03 | Outdoor END Termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 185sqmm. IXSW 3352 | 3.00 | Nos. | 6061.00 | 6500.00 | 19500.00 | 19500.00 | shivakumar co
78.04 | Staright Through termination kit for 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables size 3 core x 185sqmm. EPKJ 3117 | 3.00 | Nos. | 7042.00 | 7600.00 | 22800.00 | 22800.00 | shivakumar co
79.00 | Providing heat shrinkable out door/indoor type LT straight through joint termination kit for 3.5C x 500sq.mm aluminium conductor XLPE insulated 1100V grade (E) armoured cable. The joint shall be made by engaging skilled, qualified cable jointer as per specification. The scope of work also includes joint preparation, connection ,termination, commissioning of joint as per specifications.
79.01 | Straight through joints. | 9.00 | Nos. | 5903.00 | 8200.00 | 73800.00 | 73800.00 | shivakumar co
80.00 | MISCELLANEOUS ITEMS AND INSTALLATION WORKS
80.01 | Supply, fabrication and installation of various steel sections (M S steel like ISA /ISMC/ ISMB/ Chequered plate) for erection of the HT & LT panels and DP structures to suit the site requirement | 6.00 | MT | 108510.00 | 128500.00 | 771000.00 | 771000.00 | shivakumar co
81.00 | Installation of GI HT / LT Cable Route Marker | 200.00 | Nos. | 224.00 | 320.00 | 64000.00 | 64000.00 | shivakumar co
82.00 | Installation of following medium duty GI pipes for routing cables (from cable trays/ panels/ DBs/ JBs to various field equipment or between equipment as directed by Engineer-in- charge), including supply and installation of clamps/ fasteners/ supports, accessories like bends/ couplers, along with cutting, threading etc. Note: Payment for installation of GI pipe provided for cabling shall be based on measurement along the Centre line of pipe including accessories.
82.01 | 100mm Dia | 150.00 | Mtrs. | 82.00 | 100.00 | 15000.00 | 15000.00 | shivakumar co
82.02 | 65mm Dia | 100.00 | Mtrs. | 52.00 | 80.00 | 8000.00 | 8000.00 | shivakumar co
82.03 | 40mm Dia | 50.00 | Mtrs. | 37.00 | 60.00 | 3000.00 | 3000.00 | shivakumar co
82.04 | 32mm Dia | 50.00 | Mtrs. | 37.00 | 52.00 | 2600.00 | 2600.00 | shivakumar co
83.00 | Installation of solid type 90mm wide GI light channels for routing cables (from cable trays/ panels/ DBs/ JBs to various field equipment or between equipment as directed by Engineer-in- charge), including supply and installation of clamps/ fasteners/ supports, along with bending, cutting, shaping etc. Note: Payment for installation of GI light channels provided for cabling shall be based on measurement along the Centre line including accessories. | 200.00 | Mtrs. | 91.00 | 113.00 | 22600.00 | 22600.00 | shivakumar co
84.00 | Installation of 300/600 MM Width cable tray on wall / column /floor with 12 mm dia hilti/dowells make anchor fastner as per field requirement. The required steel support fabrication is coverded under item 11.0 Part-B. | 200.00 | Mtrs. | 119.00 | 148.00 | 29600.00 | 29600.00 | shivakumar co
85.00 | Laying and dressing of following types of power and control cables in cable trays in buildings/ tunnels/ roofs/ trenches, GI pipes/ conduits, under ground GI pipes/ hume pipes or directly buried in ground etc., including supply & installation of cable identification tags, its binding wires, cable dressing wires/ aluminium strips, trefoiled clamps, hardwares for clamping/ fixing etc., as specified along with necessary joint/route markers, where ever required.
85.01 | 33kV, Aluminium, XLPE insulated, Armoured, FRLS PVC - cables 3 core x 150sqmm. | 150.00 | Mtrs. | 105.00 | 100.00 | 15000.00 | 15000.00 | shivakumar co
85.02 | 11kV, Aluminium, XLPE insulated, Armoured, FRLS PVC cables
85.03 | 3 core x 240 sqmm. | 180.00 | Mtrs. | 106.00 | 108.00 | 19440.00 | 19440.00 | shivakumar co
85.04 | 3 core x 185sqmm. | 150.00 | Mtrs. | 106.00 | 108.00 | 16200.00 | 16200.00 | shivakumar co
85.05 | 1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC cables
85.06 | 2 Core x 35 sq. mm | 150.00 | Mtrs. | 46.00 | 40.00 | 6000.00 | 6000.00 | shivakumar co
85.07 | 2 Core x 16 sq. mm | 200.00 | Mtrs. | 24.00 | 38.00 | 7600.00 | 7600.00 | shivakumar co
85.08 | 2 Core x 10 sq. mm | 150.00 | Mtrs. | 24.00 | 30.00 | 4500.00 | 4500.00 | shivakumar co
85.09 | 1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC cables
85.10 | 4 Core x 120 sq. mm | 100.00 | Mtrs. | 112.00 | 108.00 | 10800.00 | 10800.00 | shivakumar co
85.11 | 3.5 Core x 500 sq. mm | 450.00 | Mtrs. | 125.00 | 110.00 | 49500.00 | 49500.00 | shivakumar co
85.12 | 3.5 Core x 300 sq. mm | 150.00 | Mtrs. | 119.00 | 115.00 | 17250.00 | 17250.00 | shivakumar co
85.13 | 3.5 Core x 240 sq. mm | 150.00 | Mtrs. | 109.00 | 100.00 | 15000.00 | 15000.00 | shivakumar co
85.14 | 3.5 Core x 185 sq. mm | 100.00 | Mtrs. | 109.00 | 100.00 | 10000.00 | 10000.00 | shivakumar co
85.15 | 3.5 Core x 70 sq. mm | 100.00 | Mtrs. | 100.00 | 89.00 | 8900.00 | 8900.00 | shivakumar co
85.16 | 3.5 Core x 25 sq. mm | 200.00 | Mtrs. | 62.00 | 60.00 | 12000.00 | 12000.00 | shivakumar co
85.17 | 3.5 Core x 16 sq. mm | 110.00 | Mtrs. | 39.00 | 37.00 | 4070.00 | 4070.00 | shivakumar co
85.18 | 1 Core x 630 sq. mm | 50.00 | Mtrs. | 84.00 | 75.00 | 3750.00 | 3750.00 | shivakumar co
85.19 | 1 Core x 240 sq. mm | 60.00 | Mtrs. | 62.00 | 60.00 | 3600.00 | 3600.00 | shivakumar co
86.00 | Electrical System control cables:1100V grade, copper, PVC insulated, Armoured, overall screened, FRLS PVC sheathed cables of following sizes:-
86.01 | 4 Core x 2.5 Sq. mm (Stranded conductor) | 1000.00 | Mtrs. | 29.00 | 32.00 | 32000.00 | 32000.00 | shivakumar co
86.02 | 7 Core x 2.5 Sq. mm (Stranded conductor) | 550.00 | Mtrs. | 32.00 | 42.00 | 23100.00 | 23100.00 | shivakumar co
87.00 | LIGHTING SYSTEM
87.01 | Installation of 4 way MCB board supplied against Item No: 12.1 on wall/column with 12mm dia anchor fasteners inside the new 33KV substation control room | 2.00 | Nos. | 448.00 | 445.00 | 890.00 | 890.00 | shivakumar co
87.02 | Installation of 25 mm conduit supplied against Item No: 12.2 on wall/column Installation of 25mm PVC conduit with rawl plug and wood screw on wall / ceiling at an interval of not more than 600mm. | 500.00 | Mtrs. | 61.00 | 60.00 | 30000.00 | 30000.00 | shivakumar co
87.03 | Installation of 2.5 sqmm PVC single core,multy strand wire supplied against Item No: 12.3 for alll power points and DB to Switch board. | 800.00 | Mtrs. | 13.00 | 15.00 | 12000.00 | 12000.00 | shivakumar co
87.04 | Installation of 1.5 sqmm PVC single core,multy strand Red,yellow, Blue, Black and Green wire supplied against Item No: 12.4 for all points | 1500.00 | Mtrs. | 10.00 | 13.00 | 19500.00 | 19500.00 | shivakumar co
87.05 | Installation of surface mounting GI/PVC 6 Way Gang Box with mounting cover plate =, 4 Nos,6 amps switches, one 5pin 6 amps sockets. The box shall be fixed with required screws, sleeves etc on wall/coloumn. supplied against Item No: 12.5 | 10.00 | Nos. | 53.00 | 62.00 | 620.00 | 620.00 | shivakumar co
87.06 | Installation of 1x22/20 watt LED T8 Tube lights fixtures including all accessories with all connections made up to connector supplied against Item No: 12.6. The fixture is to be installed with two numbers of round/square PVC blocks/Clamps , round celng rose with self threaded screws and PVC sleeves on wall/column. All requred consumables, round blocks,ceiling rose and connection is in the scope of contractor. All as instructed by the engineer in charge. | 30.00 | Nos. | 348.00 | 300.00 | 9000.00 | 9000.00 | shivakumar co
87.07 | Installation of battery back up emergency light supplied against Item No: 12.7 on wall / coloum as directed by Engineer-In-Charge. | 6.00 | Nos. | 109.00 | 100.00 | 600.00 | 600.00 | shivakumar co
87.08 | Installation of SWITCH SOCKET COMBINED (5 pin), 20A/10A with Box & with all connections supplied against Item No: 12.8 Box to be installed with self threaded screws and PVC sleevs on wall/column. All consumables required for completion of job is in the scope of contractor, | 30.00 | Nos. | 103.00 | 100.00 | 3000.00 | 3000.00 | shivakumar co
87.09 | Installation of ceiling fan 1200 mm. sweep, 300-375 rpm, brown colour, supplied against item No. 12.9 | 25.00 | Nos. | 291.00 | 300.00 | 7500.00 | 7500.00 | shivakumar co
87.10 | Installation of Exhaust fan 300 mm dia/ sweep, Industrial type supplied against item No. 12.10. Installation work also includes assembling, fixing and making all the connections including earth connection. The 3 core X 0.75 sq.mm copper flexible cable for connection of fans and consumables are in contractors scope. | 7.00 | Nos. | 323.00 | 320.00 | 2240.00 | 2240.00 | shivakumar co
87.11 | Installation of Octagonal GI Street lighting Poles (Up to 9 mtr. Long) by providing required RCC foundation. The foundation shall be by excavating the pit of size 1.0mtr x 1.0mtr x1.2mtr deep. Foundation base with100 mm thick PCC 1:3:6 (40 mm down ) to be provided. Above the PCC, foundation with RCC 1:2:4, 20 down size to be casted as per drawing. 04Nos foundation bolts are to be embaded in the concrete.15 mm Plastring in CM 1:5 to be done for pole foundation of size 0.450 mtr X 0.450mtr X 0.300 mtr height above FGL. Shifting of pole and its installation, providing cable entry pipe , plastering work, alignment of poles and all other related work to be carried out by contractor. The rate is inclusive of 3.5C X2.5Sqmm copper flexible cable of length 11mtrs. The tools & tackles, material and manpower required for the above work is to be arranged. All works to be carried out as per drawing, specifications and as instructed by the Engineer-in-charge. | 15.00 | Nos. | 12720.00 | 15264.00 | 228960.00 | 228960.00 | shivakumar co
87.12 | Installation of Philips/Crompton/Bajaj/Syska/Havells make 90 watts LED street lighting fixutres supplied against Item No: 12.12. | 10.00 | Nos. | 320.00 | 387.00 | 3870.00 | 3870.00 | shivakumar co
87.13 | Installation of Philips/Crompton/Bajaj/Syska/Havells make 50 watts LED outdoor led street light fixures supplied against Item No: 12.13 | 10.00 | Nos. | 219.00 | 245.00 | 2450.00 | 2450.00 | shivakumar co
88.00 | EARTHING SYSTEM
88.01 | Installation of plate type earth pit with 600 X 600 X 6.3mm G.I. plate as per BIS : 3043. | 30.00 | Nos. | 3094.00 | 3695.00 | 110850.00 | 110850.00 | shivakumar co
88.02 | Installation of GI flat of 25 x 3mm size supplied aainst item No. 18. The cost of installlation includes cutting of required length, Laying on the wall/beam/on floor. chipping /clamping /welding/lugging of GI flat & connecting the bolt & nut as per the site requirement. | 150.00 | Mtrs. | 53.00 | 63.00 | 9450.00 | 9450.00 | shivakumar co
88.03 | Installation of GI flat of 50 x 6mm size supplied aainst item No. 19.0. The cost of installlation includes cutting of required length, Laying on the wall/beam/on floor. chipping /clamping /welding/lugging of GI flat & connecting the bolt & nut as per the site requirement. | 200.00 | Mtrs. | 106.00 | 126.00 | 25200.00 | 25200.00 | shivakumar co
89.00 | Removal of 3.15 MVA, 33KV /11 KV transformer from existing foundation for reinstallation at near by transformer foundation in same transformer centre. The removal of transformer to be carried out at minimum time by providing required skilled manpower, tools tackles etc. The required crane will be provided by NPCIL on free of cost. The scope of work includes removal of cables / ACSR conductors, earthing connection and any other related work as required. | 2.00 | Nos. | 10823.00 | 13204.00 | 26408.00 | 26408.00 | shivakumar co
90.00 | Reinstallation of 3.15 MVA, 33KV /11 KV transformer in new foundation for in transformer centre. The reinstallation of transformer to be carried out at minimum time by providing required skilled manpower, tools tackles etc. The required crane will be provided by NPCIL on free of cost. The scope of work includes shifting of transformer from 33 KV substation existing location to new 33 KV substation near swimming pool about max 1 KM distance in same area, welding of base frame on EP provided and all other related work as specification and as directed by Engineer-In-charge. | 2.00 | Nos. | 13314.00 | 15976.00 | 31952.00 | 31952.00 | shivakumar co
91.00 | Station transformer in new proposed 33KV substation. Installation of 500KVA, 11KV /415 KV transformer in new foundation for in transformer centre. The installation of transformer to be carried out at minimum time by providing required skilled manpower, tools tackles etc. The required crane will be provided by NPCIL on free of cost. The scope of work includes shifting of transformer from 33 KV substation to new 33 KV substation near swimming pool about max 1 KM distance in same area, welding of base frame on EP provided and all other related work as specification and as directed by Engineer-In-charge. | 1.00 | No. | 7900.00 | 9606.00 | 9606.00 | 9606.00 | shivakumar co
92.00 | Earthwork Excavation of size 600mm(W)X 800mm(D) in all Sorts of Soil, Soft rock / Soft murum for foundation of trenches, drains & pipe lines etc. including dismantling / breaking; the bitumen road; concrete road; pavers etc. at road crossings / drains crossings / walls crossings etc, providing and laying [including proper preparation of base by compacting with watering] RCC hume pipe of 300 mm. dia. [including jointing the joints in CM 1:2 & curing]; refilling the sides of RCC hume pipe [by leaving depth of 200 mm from top of existing road surface] using excavated good quality soil, leveling / dressing & hand ramming with proper watering, laying the PCC 1:3:6 [using 40 mm & downgraded stone aggregates] of depth 200 mm with necessary formwork, colleting & disposing the waste; surplus soil & unwanted materials / things up to a lead of 1000 meters from the place of work etc., complete all as per specification, as per manufactures technical specification and as directed by the engineer-in-charge at all locations and at all lifts. | 30.00 | Mtrs. | 3092.00 | 3772.00 | 113160.00 | 113160.00 | shivakumar co
| Total in Figures |  |  |  |  | 91676933.75
Lowest Amount Quoted BY: shivakumar co(91676933.75)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, installation, testing and commissioning of indoor 33 slash 11 KV substation, 415 volts, local distribution with associated cabling works at phase area near Swimming pool Kaiga Township. Tender ID: 2024_NPCIL_195538_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | shivakumar co (BID ID -737694) | 91676933.75 | L1