## BoQ1
Government eProcurement System Created By: Basanagouda Naganuri Created Date/Time: 04-Mar-2025 11:42 AM Tender Title: Repair works at Junior Hostel Tender ID: 2024_NPCIL_195923_2
Tender Inviting Authority: Chief Engineer (E&US), Kaiga Site.
Name of Work: Repair works at Junior Hostel at Phase-II area, Kaiga Township, Mallapur.
Contract No: NPCIL/KGS/CTC/E&US-CIVIL-TS/CPPP/2024/031
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Gimmy K Thomas (GSTN-NA) BID ID -815354 |  | RAVI S HALAGATI (GSTN-NA) BID ID -815962 |  | MURUGAN KANNAPPA (GSTN-NA) BID ID -815349
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART:A CIVIL WORKS Dismantling of existing Door shutters and Window shutters with frame and fittings as per requirement at site and as directed by engineer-in-charge including all type of tools and tackles required for completion of job, & stacking civil sectional store at Kaiga township etc. complete all as per standard technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 390.00 | SqM | 253.00 | 233.00 | 90870.00 | 200.00 | 78000.00 | 200.00 | 78000.00 | 78000.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
2.00 | Removing by chisteling / hammering / breaking of roof tiles / wall / floor tiles [thickness of tiles 10 mm. to 25 mm.], wall plaster and other finishes if any etc. including collecting, lowering / shifting, loading, carriage, unloading & stacking the serviceable materials [such as tiles] in Sectional Store at Township, providing; fixing & removing necessary staging / platform, collecting, stacking the debris / unwanted materials upto a lead of 3000 meters out side the periphery of the work premises, cleaning the work area etc., complete all as per standard technical specifications and as directed by the engineer-in-charge at all locations & all lifts / heights. | 910.00 | SqM | 71.00 | 66.00 | 60060.00 | 60.00 | 54600.00 | 80.00 | 72800.00 | 54600.00 | RAVI S HALAGATI
3.00 | Providing and fixing Powder Coated Aluminium Frames and Shutters for Windows & Ventilators [Normal & Sliding] of reputed make, two / three tracks four track [as per site requirement & as directed by engineer-in-charge] etc. with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285 powder coating [shade & colour shall be per requirement site requirement & as directed by engineer-in-charge], fixed with raw plugs and screws or with fixing clips, including necessary filling up gaps at junctions at top, bottom and sides with required PVC felt. / selicon sealent [shade & colour shall be per requirement site requirement & as directed by engineer-in-charge] etc. aluminium section shall be smooth, straight, mitred wherever required including cleat angle, aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws including preparation of base, providing; fixing & removing necessary staging / platform / ladder / zoola [if required], collecting & disposing the generated waste up to a lead of 2000 to 3000 meters from the place of work etc. complete all as per standard & manufacturers technical specifications and as directed by engineer-in-charge at all locations & all lifts / heights Note: 1] Glazing shall be paid separately under relevant item. 2] All fixtures & fittings required for completion of this item shall paid on weight basis. | 1800.00 | Kg | 625.00 | 616.00 | 1108800.00 | 670.00 | 1206000.00 | 600.00 | 1080000.00 | 1080000.00 | MURUGAN KANNAPPA
4.00 | Providing and fixing 4 mm thick [minimum] Clear Glass for Windows, Ventilator and Partitions etc. with nylon / rubber clear beading, Glass shall be of Modi / Saint Gobin make and free from all defects, cutting to required shape & size [as per site requirement], preparation of base, providing; /fixing & removing necessary staging / platform ladder / zoola [if required], collecting & disposing the generated waste & construction waste etc. up Ito a lead of 2000 to 3000 meters from the place of work etc. complete all as per standard & manufacturers technical specifications and as directed by engineer-in-charge at all locations & all lifts / heights. Note: Aluminium will be measured & paid separately in item no :3 | 200.00 | SqM | 966.00 | 999.00 | 199800.00 | 1000.00 | 200000.00 | 900.00 | 180000.00 | 180000.00 | MURUGAN KANNAPPA
5.00 | Providing and fixing Stainless Steel Wire mesh 304L of 26 Gauge wire and 16 Meshes to an inch [16 X 26 G] confirming to relevant BIS specification of latest addition, to the openings along with aluminium frame work & suitable aluminium screws, cutting to required shape & size as per site requirement, preparation of base, providing; fixing & removing necessary staging platform / ladder / zoola [if required], collecting & disposing the generated waste & construction waste etc. up to a lead of 2000 to 3000 meters from the place of work etc. complete all as per standard & manufacturers technical specifications and as directed by engineer-in-charge at all locations & all lifts heights Note: Aluminium Material will be measured & paid under item No.: 2. | 155.00 | SqM | 920.00 | 916.00 | 141980.00 | 850.00 | 131750.00 | 700.00 | 108500.00 | 108500.00 | MURUGAN KANNAPPA
6.00 | Removal of Existing FRP / Flush Shutters with frame, fittings & depositing in Sectional Civil store at township; Mallapur. Providing and fixing in position factory made, FRP Door Shutters with FRP frame made out of fibre glass reinforced plastic sheets having over all thickness not less than 2.00 mm [with a tolerance of ± 0.2 mm]. The shutter shall have outer wooden frame made out of 65 mm wide X 130 mm thick well seasoned hard wood and also with vertical, horizontal, middle & locking rails to mount the hardware & fixtures. The door surface further to have depressed mould design with special impression of wood veins of tan [brown] colour. The infill shall be with polyurethane thermo cole dipped in resin / non-decaying type layers of cardboards dipped in resin. The entire shutter shall have glossy polish including providing & fixing [fittings to each shutter] One number of 250 mm long & 16 mm dia. Aldrop, One number of 200 mm long & 10 mm dia. Tower Bolt. One number of 150 mm long & 10mm dia. Tower Bolt. Two numbers of 125 mm grip 'D' handles, Two numbers of 40 mm dia. & 50 mm long rubber bushes [Aldrop, Tower /Bolts & 'D' handles shall be of approved make aluminium powder coated], Four numbers of MS oxidised Hinges [required if any] preparation of base, providing; fixing & removing necessary staging / platform / scaffolding, collecting & disposing the general waste up to a lead of 2000 to 3000 meters. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing (if any] and as directed by engineer-in charge at all locations & lifts / heights. | 60.00 | SqM | 3955.00 | 3900.00 | 234000.00 | 3600.00 | 216000.00 | 4300.00 | 258000.00 | 216000.00 | RAVI S HALAGATI
7.00 | Removing by chisteling / hammering / breaking of BB, CC Block, RR Masonry work with both side plaster, in cement mortar & other finishes if any etc. including collecting, shifting, loading, carriage, unloading & stacking the serviceable materials [such as Bricks, Stone rubbles & CC blocks & other servicable marterials] in Civil Sectional Store at Kaiga Township, providing; fixing & removing necessary staging / platform, collecting, stacking the debris / unwanted materials upto a lead of 3000 meters from the placer of work work premises, cleaning the work area etc., complete all as per standard technical specifications and as directed by the engineer-in-charge at all locations & at all heights & lifts. | 50.00 | CuM | 650.00 | 666.00 | 33300.00 | 700.00 | 35000.00 | 550.00 | 27500.00 | 27500.00 | MURUGAN KANNAPPA
8.00 | Providing & Constructing Masonry with approved C. C. Solid Blocks of size 400 X 200 X 200 mm / 300 X 200 X 200 mm, having crushing strength not less than 45 Kgs/cm2 and confirming to the BIS 2185 part-I of the latest edition, in CM 1:5 for foundations, trenches, walls, drains, plinths and all other miscellaneous masonry works etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 3000 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 20.00 | CuM | 7826.00 | 7799.00 | 155980.00 | 9000.00 | 180000.00 | 7800.00 | 156000.00 | 155980.00 | Gimmy K Thomas
9.00 | Providing & Constructing Burnt Brick Masonry, of 230 mm thick, in CM 1:5 using well Burnt Bricks of standard size & shape for up to plinth level & Super Structure, plinth and all other Miscellaneous Masonry Works including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform / scaffolding, collecting & disposing the general waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. Note: OPC 43 grade Cement of reputed brand & as approved by EIC shall be used. | 5.00 | CuM | 8348.00 | 8099.00 | 40495.00 | 9500.00 | 47500.00 | 8000.00 | 40000.00 | 40000.00 | MURUGAN KANNAPPA
10.00 | Providing and laying Cement Plaster, 15 mm thick for internal surfaces of walls and columns in CM 1:5, rubbed perfectly so as to obtain smooth and even finish including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 300.00 | SqM | 407.00 | 399.00 | 119700.00 | 380.00 | 114000.00 | 350.00 | 105000.00 | 105000.00 | MURUGAN KANNAPPA
11.00 | Providing and applying One Coat of oil bound distemper [of superior 1st quality & of Asian / Berger / Dulux make] [as per site requirement & as selected by engineer-in-charge], over the ceiling [of superior 1st quality & of standard make] for entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Paint shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as irected by engineer-in-charge at all locations & lifts / heights. | 1510.00 | SqM | 168.00 | 133.00 | 200830.00 | 32.00 | 48320.00 | 130.00 | 196300.00 | 48320.00 | RAVI S HALAGATI
12.00 | Providing and applying One Coat of Interior Grade Primer [of superior 1st quality & of Asian / Berger / Dulux make] and Two Coats of Interior Grade White Acrylic Plastic Emulsion Paint [of superior 1st quality & of Asian / Berger / Dulux make; Such as Premium Emulsion, Rangoli, Super Smooth & Beauty Gold etc.], of approved shade / colour [as per site requirement & as selected by engineer-in-charge], over the interior surface of newly plastered concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic Putty [of superior 1st quality & of standard make] for entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as irected by engineer-in-charge at all locations & lifts / heights. | 4000.00 | SqM | 199.00 | 177.00 | 708000.00 | 150.00 | 600000.00 | 160.00 | 640000.00 | 600000.00 | RAVI S HALAGATI
13.00 | Fabricating gates, hand rails, frames of panels doors, windows & shutters, shutters, purlins, rafters horizontal / vertical / cross members, columns, beams, trusses and all other miscellaneous new & modification to existing structure/s including Providing standard MS Steel Sections which are required for executing this work and fixing erecting the same in position to true line level & plumb, preparation of base, providing & fixing hily bolts [of approved quality] of suitable dia. & length, preparation of base, providing & painting One Coat of approved Zinc Phospate Primer of asian paints berger make and Two Coats of first quality synthetic enamel paint of asian paints / berger make, of approved shade / colour etc., providing; fixing & removing staging / platform / ladder, collecting & disposing the general waste up to a lead of 2000 to 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 2.00 | MT | 139638.00 | 129999.00 | 259998.00 | 125000.00 | 250000.00 | 110000.00 | 220000.00 | 220000.00 | MURUGAN KANNAPPA
14.00 | Providing and laying PCC, 1:2:4 using 20 mm & downsize, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles for plinth, floor & drain bedding & all other various miscellaneous PCC works including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, providing; fixing & removing formwork, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 5.00 | CuM | 8717.00 | 8699.00 | 43495.00 | 7500.00 | 37500.00 | 7800.00 | 39000.00 | 37500.00 | RAVI S HALAGATI
15.00 | Providing and laying Mat finished Vitrified Tiles of reputed make, approved shade / colour & thickness of tile shall be 8 mm to 8.9 mm for Flooring with 20 mm thick in CM 1:4 [bedding] and for Skirting with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [for Flooring & Skilting] pasting the Vitrified tiles on concrete or on masonry or on plastered surfaces, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended acid washing, including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: Basic rate of material shall be minimum Rs. 45/- per Sq.ft [excluding GST] | 400.00 | SqM | 1269.00 | 1166.00 | 466400.00 | 1400.00 | 560000.00 | 1000.00 | 400000.00 | 400000.00 | MURUGAN KANNAPPA
16.00 | Providing and laying Ceramic Tiles for dado / skirting using tiles of reputed make, shade / colour and of 300 X 450 mm size having minimum thickness of 5.5mm in approved pattern over a bed of 12 mm thick in CM 1:3, close jointed and pointed with matching pigmented cement slurry and finished to line / levels as required including cutting of tiles, curing, acid washing, preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & maufacturers technical specification, drawing [if any] and as directed by the engineer-in-charge at all locations and at all lifts/heights. Note: 1] Basic rate of material shall be minimum Rs. 35/- per Sq.ft [excluding GST] 2] OPC 43 grade cement of reputed brand & as approved by EIC shall be used. | 430.00 | SqM | 1260.00 | 1099.00 | 472570.00 | 1250.00 | 537500.00 | 1000.00 | 430000.00 | 430000.00 | MURUGAN KANNAPPA
17.00 | Providing and laying 35-40 mm thick, Kadappa Slabs [of approved superior 1st quality] for shelves / platforms etc. of approved size, shade & quality and fixing over bed of 20 mm thick in CM 1:4, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended Wax Polishing, preparation of base by close hacking / roughening of existing base, racking out all the adjoining masonry joints, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 40.00 | SqM | 897.00 | 999.00 | 39960.00 | 1100.00 | 44000.00 | 1000.00 | 40000.00 | 39960.00 | Gimmy K Thomas
18.00 | Providing and Fixing 18mm thick BWR ISI marked plywood for bed size of 0.9x1.8 (Approximately) cut into size including all wastage & disposing the generated waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 180.00 | SqM | 1600.00 | 1699.00 | 305820.00 | 1200.00 | 216000.00 | 1700.00 | 306000.00 | 216000.00 | RAVI S HALAGATI
19.00 | Providing and fixing Wardrobe Shutters using 19mm thick water proof plywood with 12 mm thick teak wood lipping alround exposed surface ,0.8mm thick laminate on external surfaces and one coat of primer and two coats of enamel paint on internal surfaces. The each shutter shall be provided with hardware fixtures like 125mm grip SS Door handles, 3 nos of SS Hinges, multipurpose locks of approved make etc., complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 50.00 | SqM | 2550.00 | 2750.00 | 137500.00 | 3200.00 | 160000.00 | 2000.00 | 100000.00 | 100000.00 | MURUGAN KANNAPPA
20.00 | Providing and applying One Coat of Red Oxide Metal Primer [suitable for synthetic enamel Paint] of Asian / Berger / Dulux / Nerolack and one Coats of First Quality Synthetic Enamel Paint [approved shade / colour] of Asian [such as Premium Hi Gloss] / Berger [such as Luxol Hi Gloss] / Dulux [such as Super Synthetic] / Nerolack [such as Synthetic], including clening the surfaces, removing rust particales incuding applying metal putty wherever required, providing staging / platform, collecting, disposing the debris / unwanted materials upto a lead of 200 meters out side the periphery of the work premises, cleaning the work area etc., complete all as per standard technical specifications, as per manufacturer's technical specification and as directed by the engineer-in-charge at all locations & at all heights & lifts. | 400.00 | SqM | 178.00 | 177.00 | 70800.00 | 90.00 | 36000.00 | 140.00 | 56000.00 | 36000.00 | RAVI S HALAGATI
21.00 | Providing and fixing in position 22 - 25 mm. thick cement tileof approved quality; of approve shaded / colour & one side finished, laying / fixing in approved pattern for flooring to the true line; level & slope etc. including fixing / laying the slabs / tiles using cement mortar in CM1:4; 20 mm. thick bedding, cement for slurry, cement [for joints @ 2.00 Kgs per Sqm of floor area] for slurring and colouring pigment to match the existing surface, preparation of base & curing, polishing the joints using polishing machine / polishing stone, tiles shall be Chamfered [before fixing in position] and polished the joints [after fixing], providing; fixing & removing necessary staging / platform, collecting, disposing the debris / unwanted materials upto a lead of 200 meters out side the periphery of the work premises, cleaning the work area etc., complete all as per standard technical specifications and as directed by the engineer-in-charge at all locations & at all heights & lifts. | 400.00 | SqM | 903.00 | 875.00 | 350000.00 | 1050.00 | 420000.00 | 900.00 | 360000.00 | 350000.00 | Gimmy K Thomas
22.00 | Providing and laying RCC, 1:1.5:3, using 20 mm & downsize, clean, crushed, well graded of hard, durable and approved quality for RCC works including mixing [valumatric / as directed by engineer-in-charge] including preperation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spraeding, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. NOTE: OPC 43 Grade cement of reputed brand shall be used for executing this item. | 10.00 | CuM | 9819.00 | 9925.00 | 99250.00 | 9000.00 | 90000.00 | 9000.00 | 90000.00 | 90000.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
23.00 | Providing and laying reputed make high yeild strength deformed Reinforcement Bars of all diameters confirming to grade D-500 of IS:1786 [latest edition] including preperation of base, cutting, bending, transporting, placing in position & providing & tying using binding wire of suitable guage [soft annealed binding wire] for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly] ,providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 1.00 | MT | 103281.00 | 99099.00 | 99099.00 | 100000.00 | 100000.00 | 100000.00 | 100000.00 | 99099.00 | Gimmy K Thomas
24.00 | Providing, placing and removing formwork for all in-situ concrete works including providing,fixing & removing centering, shuttering, supports, brackets, clips, preperation of surface etc, providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 2 to 3 kms. from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. NOTE: The measurement shall be made for the form work in contact with concrete surface. | 100.00 | SqM | 310.00 | 333.00 | 33300.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 30000.00 | MURUGAN KANNAPPA
25.00 | PART:B WATER SUPPLY & SANITORY WORKS Providing and fixing in position on granite Slab Counter [all materials shall be of superior 1st quality, of reputed make & confirming to relavent BIS specification of latest edition], Counter fixing type ovel shape Hand Wash Basin of size 550 mm [L] X 445 mm[B] X 200 mm [ht.]. One number of 15 NB, CP brass, stop cock One number of 15 NB, CP brass, Piller cock One number of PVC, waste pipe, One number of 32 NB, CP brass, Waste Coupling, One number of 15 NB, PVC, Inlet Connector - 450 mm long including preparation of base, chipping the wall / making hole in the wall for fixing the brackets in position, finishing & ensuring smooth functioning, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lift / heights. Note: 1) Granite counter will be fixed by contractor 2) RCC box slab will be paid under relevent item 3) For Type, Size, Shape and Pattern Parryware hand wash basine. (As selected by EIC.) | 6.00 | Each | 4531.00 | 4500.00 | 27000.00 | 3200.00 | 19200.00 | 4400.00 | 26400.00 | 19200.00 | RAVI S HALAGATI
26.00 | Providing and fixing in position White Indian Water Closet, ORISSA PAN of size 580 mm X 440 mm X 300 mm of standard make with 'P'or 'S' trap [all maerials shall be of superior 1st quality & of reputed make & confirming to relavent BIS specification of latest edition] with or without vent with all jointing materials, including necessary excavation, breaking of floor / PCC & other finishes etc. & cleaning the area, making hole in masonry & making good the same, encasing the pan & trap with PCC & backfilling extra space with river sand of good quality, curing, finishing the same & ensuring smooth functioning, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lift / heights Note: 1) Providing & placing of PCC 1:3:6 will be paid under relevant PCC Item 14 A. 2) For Type, Size, Shape and Pattern Parryware White Indian Water Closet. (As selected by EIC). | 12.00 | Each | 3739.00 | 3750.00 | 45000.00 | 3000.00 | 36000.00 | 3500.00 | 42000.00 | 36000.00 | RAVI S HALAGATI
27.00 | Providing and fixing white vitreous china Floor Mountung Type European Water Closet with 10 Litres Flushing Cistern Set including fitting size 650mm X 375mm X 775mm with seat and lid, & CP flushing bend standard health faucet, overflow arrangement with specials of standard make and mosquito proof coupling municipal design [all materials shall be superior 1st quality & of standard make and confirming to the relevant BIS specification of the latest edition] including preparation of base, painting of fitings and bracketts, cuting and making good the walls and floors, ensuring smooth functioning, collecting & disposing the generated waste, costruction waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. Note : For type, Size, Shape and pattern of floor mountung type water closet. (will be selected by EIC) | 6.00 | Each | 5674.00 | 5566.00 | 33396.00 | 3000.00 | 18000.00 | 5500.00 | 33000.00 | 18000.00 | RAVI S HALAGATI
28.00 | Providing and fixing in position best White Vitreous China Flat Back or Corner type Lipped front, Urinal Basin of 380 mm. X 400 mm. X 590 mm. size with CP brass, Spreader/s with brass unions, GI clamps [All materials shall be obtaining superior quality of standard make and Confirming to relevant BIS specification of latest addition.] including painting of fittings, brackets, cutting & making good the walls & floors, ensuring smooth functioning & finishing the same, prepartation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations & lift / heights Note: For Type , Size, Shape and Pattern. (As selected by EIC) | 6.00 | Each | 9327.00 | 8500.00 | 51000.00 | 6500.00 | 39000.00 | 9000.00 | 54000.00 | 39000.00 | RAVI S HALAGATI
29.00 | Providing and Fixing approved brand/make 15 NB; Concealed Stop Stop Cock , weight of each 15 NB shall not be less than 450 gm., with CP wall flange and other required accesseries including labour charges & all required consumables and ensuring smooth functining etc., collecting & disposing the generated waste, costruction waste up to a lead of 2000 to 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 40.00 | Each | 892.00 | 999.00 | 39960.00 | 800.00 | 32000.00 | 800.00 | 32000.00 | 32000.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
30.00 | Providing and fixing SWR, heavy duty, "Nahani Trap" [SWR Fittings IS:14735] 100 X 75 mm of self cleaning design with 75 mm. outlet having a minimum water seal of 50 mm of Truflo / Ashirwad / Astral / Finolex / Supreme make with heavy duty "PVC grating" of 125 mm dia, finishing neatly, curing, ensuring smooth functioning including prepartation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared & manufacturer's technical specification, drawing [if any] and as directed by the engineer-in-charge at all locations and at all lifts. | 35.00 | Each | 514.00 | 550.00 | 19250.00 | 250.00 | 8750.00 | 950.00 | 33250.00 | 8750.00 | RAVI S HALAGATI
31.00 | Providing and Fixing 15 NB; Short Body, CP brass, Bib Taps of Jal / SEIKO make [weight of each 15 NB; Long Body; Bib Tap shall not be less than 450 gm.] with all its required accessories including labour charges & all required consumables and ensuring smooth functioning, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared & manufacturer's technical specification, drawing [if any] and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 20.00 | Each | 745.00 | 750.00 | 15000.00 | 800.00 | 16000.00 | 700.00 | 14000.00 | 14000.00 | MURUGAN KANNAPPA
32.00 | Providing and fixing 15 NB, C.P Brass, clutch head, Long body, Bib taps with all its required accessories [of Jal / SEIKO make, of superior 1st quality, of reputed make & all materials shall be confirming to relavent BIS specification of latest edition] & all required consuambles and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lift / heights. | 36.00 | Each | 958.00 | 990.00 | 35640.00 | 800.00 | 28800.00 | 900.00 | 32400.00 | 28800.00 | RAVI S HALAGATI
33.00 | Providing and fixing 15 NB, C.P Brass, Angle taps with all its required accessories [of CERA/JAL/ HINDWARE/PARYWARE make, of superior 1st quality, of reputed make & all materials shall be confirming to relavent BIS specification of latest edition] & all required consuambles and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lift / heights. | 36.00 | Each | 667.00 | 666.00 | 23976.00 | 600.00 | 21600.00 | 600.00 | 21600.00 | 21600.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
34.00 | Providing and fixing CP brass Tower Rail 600 mm long with brackets fixed to wooden cleats with CP brass screws with concealed fitting arrangement [of superior 1st quality & of superior make such as jal / eqivalent] including labour charges & all required consumables and ensuring smooth functining etc., collecting & disposing the generated waste, costruction waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 25.00 | Each | 807.00 | 850.00 | 21250.00 | 800.00 | 20000.00 | 750.00 | 18750.00 | 18750.00 | MURUGAN KANNAPPA
35.00 | Providing and fixing of CP brass over head shower set with shower rose and shower arm [of superior 1st quality & of superior make such as jal / eqivalent] including labour charges & all required consumables and ensuring smooth functining etc., collecting & disposing the generated waste, costruction waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights. | 18.00 | Each | 828.00 | 818.00 | 14724.00 | 700.00 | 12600.00 | 800.00 | 14400.00 | 12600.00 | RAVI S HALAGATI
36.00 | Providing and laying / fixing CPVC Pipes [SDR 11] with its all required Plain & brass threaded fittings [such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings-BIS 2065 of the latest edition] of superior 1st quility, of Truflo / Astrol / Ashirwad make and confirming to relavent BIS specification of latest edistion including Concealing in the wall [making groove of 75 mm deep in wall with suitable width and filling & finishing same with PCC - 1:2:4 - using 6 mm down aggregates & plastering in C:M 1:5] & on the wall surfacewith suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all materials like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water [as per specification] and ensuring smooth functioning, preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste up to a lead of 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification and as directed by engineer-in-charge at all locations and at all lifts / heights.
36.10 | 15 mm [fixing / concealing in the walls] 1/2" Pipe | 60.00 | RM | 357.00 | 350.00 | 21000.00 | 300.00 | 18000.00 | 300.00 | 18000.00 | 18000.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
36.20 | 20 mm [fixing / concealing in the walls] 3/4"Pipe | 180.00 | RM | 449.00 | 460.00 | 82800.00 | 400.00 | 72000.00 | 420.00 | 75600.00 | 72000.00 | RAVI S HALAGATI
36.30 | 25 mm [fixing on the wall Surfaces] 1" Pipe | 40.00 | RM | 537.00 | 555.00 | 22200.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 20000.00 | MURUGAN KANNAPPA, RAVI S HALAGATI
37.00 | Providing and fixing 5 mm thick, approved & reputed brand / make "bewelled edge Mirror" made out of best Indian glass mounted on 3/4 mm thick ACP sheet backing of approved shape & design, fixed to the wall using two numbers of CP coated hanging clips, washers, rawl plugs & screws, preparation of base, providing, fixing & removing necessary platform / staging, collectiong & sacking the construction debris / waste up to a lead of 3000 meters from the place of work etc., complete all as per standard & manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 5.00 | SqM | 1790.00 | 1900.00 | 9500.00 | 2000.00 | 10000.00 | 1700.00 | 8500.00 | 8500.00 | MURUGAN KANNAPPA
38.00 | Providing and fixing in Position Low Level Unbreakable Polymer Flushing Cistern Of 10 Litres Capacity of approved brand /make with all internal fittings,including assembling the cistern components , mounting the same with suitable brackets ,necessary PVC Flush bend ,washer, suitable tools & Tackles : requiredv consumable & ensuring smooth functioning etc , complete as per specification conforming to IS 2556-1970 With all nesessary jointing materilas ,chasing/making holes in masonary , making good the surface .cleaning the work area etc,complelete complete all as per standard & manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 12.00 | Each | 2398.00 | 2300.00 | 27600.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 18000.00 | RAVI S HALAGATI
| Total in Figures |  |  |  |  | 5961303.00 |  | 5787120.00 |  | 5581000.00
Lowest Amount Quoted BY: MURUGAN KANNAPPA(5581000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair works at Junior Hostel Tender ID: 2024_NPCIL_195923_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MURUGAN KANNAPPA (BID ID -815349) | 5581000.00 | L1
| 2 | RAVI S HALAGATI (BID ID -815962) | 5787120.00 | L2
| 3 | Gimmy K Thomas (BID ID -815354) | 5961303.00 | L3