## BoQ1
Government eProcurement System Created By: Devi shanker Verma Created Date/Time: 07-Dec-2024 02:26 PM Tender Title: Excellence training center Tender ID: 2024_NPCIL_197091_1
Tender Inviting Authority: Chief Superintendent, RRS-1&2
Name of Work:Construction of excellence training center at bhainsroadgarh panchayat samiti.
Contract No: NPC/RRS/12/2024/PT-B2703
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S MADHUSUDAN ENGINEERING CO. (GSTN-NA) BID ID -712955 |  | KHAN CONTRACTOR (GSTN-NA) BID ID -712551
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Detailed Architectural and Engineering Consultancy Services, viz. collection of all required data, Detail Design & Drawings, including its approval from concerned & statutory authorities, providing technical assistance during execution etc. complete in all respect for School building / Community center etc. works. Note :- Design & Detailed Drawings are required to be proofed checked from Professor of IITs/NITs/reputed govt. Institute and bidder should quote the rate including this expense. | 1800.00 | SqM | 0.00 | 500.00 | 900000.00 | 486.00 | 874800.00 | 874800.00 | KHAN CONTRACTOR
2.00 | Earth work in excavation of Hard Rock (Blasting Prohibited) by mechanical means (Hydraulic excavator)/manual means over areas up to a depth of 1.5 m from the original ground level and dewatering if required for foundation of walls, columns, platforms etc. including backfilling with selected excavated materials in plinth and foundation trenches in layers not exceeding 200 mm thick, watering ramming etc. complete and disposing off the surplus materials to a maximum radially measured lead of 1.0 KM. as per drawings, design , safety and specifications and directions of the Engineer. Note:- Bidders should essentially visit and inspect the construction sites and determine themselves the right and safest method/s of excavation considering the safety of nearby structures and population, before quoting their item rates (Blasting is not permitted). | 950.00 | Cum | 0.00 | 800.00 | 760000.00 | 386.00 | 366700.00 | 366700.00 | KHAN CONTRACTOR
3.00 | Extra for every additional lead of 1Km or part thereof in all kinds of soil for item no. 1 | 41.00 | Cum | 0.00 | 50.00 | 2050.00 | 56.00 | 2296.00 | 2050.00 | M/S MADHUSUDAN ENGINEERING CO.
4.00 | Extra for every additional lift of 1.5m part thereof in all kinds of soil for item no. 1. | 98.00 | Cum | 0.00 | 60.00 | 5880.00 | 86.00 | 8428.00 | 5880.00 | M/S MADHUSUDAN ENGINEERING CO.
5.00 | Earth work in surface excavation not exceeding 30cm in depth but exceeding 1.5 m in width as well as 10 Sqm on plan including disposal of excavated earth up to 1.0 KM and lift up to 1.5 m, disposed soil to be leveled and neatly dressed etc. completed and disposing off the surplus materials to a maximum lead of 1.0 KM. radius as per drawings, specifications and as directed by the Engineer. | 179.00 | SqM | 0.00 | 150.00 | 26850.00 | 86.00 | 15394.00 | 15394.00 | KHAN CONTRACTOR
6.00 | Supplying at site of good earth excavated and brought from outside (borrow pits / stock piles) free from weeds, roots, rubbles and other foreign material including royalty and carriage and filling in trenches, plinth and sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layers by ramming and watering and lift upto 1.5m etc. complete (only consolidated fill shall be paid). | 2249.00 | Cum | 0.00 | 700.00 | 1574300.00 | 186.00 | 418314.00 | 418314.00 | KHAN CONTRACTOR
7.00 | Providing and laying 150 mm thick stone soling under floors properly hand packed, filling interstices with spalls, gravels and inert fine material and consolidating to required gradient and camber, spreading, watering etc. complete as per drawings, specifications and direction of Engineer. | 2999.00 | SqM | 0.00 | 200.00 | 599800.00 | 236.00 | 707764.00 | 599800.00 | M/S MADHUSUDAN ENGINEERING CO.
8.00 | Providing Chemical Emulsion in sealed containers including delivery and depositing in NPCIL store as specified.Chlorpyriphos 20 E.C. conforming to IS:8944 & after approval by EIC. | 449.00 | Ltr | 0.00 | 250.00 | 112250.00 | 386.00 | 173314.00 | 112250.00 | M/S MADHUSUDAN ENGINEERING CO.
9.00 | Diluting Chlorpyriphos E.C. 20% to 1% concentration (add of 19 ltr water to 1 ltr of Chlorpyriphos E.C.20%) for pre-constructional anti termite treatment (excluding cost of chemical emulsion).Anti termite treatment of soil under floors and apron on the top surface of filled earth within and along with the plinth walls @ 5 ltr / sqm of the surface before the sand / sub grade is laid. Holes upto 50 to 75 mm deep at 150mm centers both ways including at the junction of wall and floor shall be made with crow bars on the surface to facilitate saturation of the soil with chemical emulsion complete as per direction of engineer in charge. Note:- payment shall be made on the basis of the plan area of the surface treated excluding the plan area of intervening beam & walls. | 1833.00 | SqM | 0.00 | 70.00 | 128310.00 | 136.00 | 249288.00 | 128310.00 | M/S MADHUSUDAN ENGINEERING CO.
10.00 | Providing and laying cement concrete of 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in retaining walls, return walls, walls(any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed block, anchor block, window sills, fillets etc. at all level including transporting of concrete to site, laying including cost of finishing, curing etc. all complete including the cost of centering and shuttering as per specifications and direction of Engineer-in-charge. | 300.00 | Cum | 0.00 | 5400.00 | 1620000.00 | 7286.00 | 2185800.00 | 1620000.00 | M/S MADHUSUDAN ENGINEERING CO.
11.00 | Providing & laying Random Rubble masonry with hard stone in foundation and plinth level of building & upto 3.00 Mtr. height from NGL for boundary/compound wall with Cement mortar 1:6 (1 Cement :6 Coarse sand) including cost of labour, materials, curing, raking out the joints, finishing, scaffoldings etc. all complete as per specifications and direction of Engineer in charge. | 950.00 | Cum | 0.00 | 4000.00 | 3800000.00 | 2986.00 | 2836700.00 | 2836700.00 | KHAN CONTRACTOR
12.00 | Pointing on stone work with cement mortar 1:3 (1 cement :3 fine sand): Raised and cut pointing including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 1921.00 | SqM | 0.00 | 180.00 | 345780.00 | 186.00 | 357306.00 | 345780.00 | M/S MADHUSUDAN ENGINEERING CO.
13.00 | Providing and laying 50 mm thick CC 1:2:4 for COPING using 12mm down aggregates, finishing the exposed surfaces with cement mortar 1 : 4 including fixing of broken glass pieces on top of coping wherever required, finishing, formwork, curing, scaffoldings etc. complete as per direction of Engineer-in-charge. | 350.00 | SqM | 0.00 | 500.00 | 175000.00 | 226.00 | 79100.00 | 79100.00 | KHAN CONTRACTOR
14.00 | Providing and laying Fly-ash brick masonry class designation- 75 ( IS-12894 -latest revision) in cement mortar 1:6 ( 1 cement : 6 coarse sand) upto plinth level including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 55.00 | Cum | 0.00 | 5200.00 | 286000.00 | 5586.00 | 307230.00 | 286000.00 | M/S MADHUSUDAN ENGINEERING CO.
15.00 | Providing and laying Fly-ash brick masonry using Fly-ash building bricks of class designation- 75 ( IS-12894 -latest revision ) in cement mortar 1:6 (1 cement : 6 coarse sand) in superstructure above plinth level up to floor five level as per specifications and direction of Engineer including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 500.00 | Cum | 0.00 | 5500.00 | 2750000.00 | 5686.00 | 2843000.00 | 2750000.00 | M/S MADHUSUDAN ENGINEERING CO.
16.00 | Providing and laying half brick masonry using fly ash bricks of class designation-75 ( IS-12894 -latest revision ) in cement mortar 1:4 ( 1 cement : 4 coarse sand) with RCC 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) stiffeners 75 mm thick horizontally @ 1000mm c/c excluding cost of laying reinforcement but including cost of RCC stiffeners in superstructure above plinth level upto floor five level including cost of labour, materials, curing, finishing, scaffoldings, shuttering etc. all complete as per specifications and direction of Engineer in charge. Note - Reinforcement bars to be paid in relevant item. | 160.00 | SqM | 0.00 | 700.00 | 112000.00 | 1086.00 | 173760.00 | 112000.00 | M/S MADHUSUDAN ENGINEERING CO.
17.00 | Providing form work of battened frame with sheathing having plywood lining / MS angle frame with sheathing of MS plate lining so as to give fair finish including centering shuttering strutting and propping etc. height of propping and centering below supporting floor not exceeding 3.5 meters to ceilings and removal of same for foundation, footings, columns, wall, Suspended floors, stairs, landings, balconies, lintels, beams, plinth beams, girders, cantilevers and access platform etc. complete at all level of floors / roof as per specifications and direction of Engineer in charge. Note: Only brand new form-work /shuttering especially fabricated for this work shall only be accepted with the limited repetitions of the same allowed till the surface remains even, and dent free. Only steel scaffolding i.e. pipe, channels etc. shall be allowed for this work. | 5350.00 | SqM | 0.00 | 500.00 | 2675000.00 | 436.00 | 2332600.00 | 2332600.00 | KHAN CONTRACTOR
18.00 | Providing and laying Thermo-Mechanically Treated reinforcement bars of grade as specified in drawings/specifications and as directed by engineer conforming to IS : 1786 latest revision or the latest relevant code for RCC work including straightening, cutting, bending, placing in position and binding with 20 gauge annealed binding wire and cement mortar cover block of all size in C.M. 1:2 MIX etc. all complete-as per drawings, specifications & direction of engineer in charge. Note :- In case of delay in placing of concrete , Contractor has to clean the existing reinforcement using Rusoff100 chemical of SIKA or equivalent. No extra payment will be given for it. | 72000.00 | Kg | 0.00 | 85.00 | 6120000.00 | 116.00 | 8352000.00 | 6120000.00 | M/S MADHUSUDAN ENGINEERING CO.
19.00 | Providing and fixing M.S. fan clamp of 16mm dia M.S. bar bent to shape with locked ends in R.C.C slabs, beams during laying including painting the exposed portion of loop, all as per standard design, all complete- as per drawings, specifications & direction of engineer in charge. | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 86.00 | 860.00 | 860.00 | KHAN CONTRACTOR
20.00 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of M25 grade for Reinforced cement concrete or other works using 20mm size stone aggregates including transporting of concrete to site for laying but excluding the cost of centering, shuttering and reinforcement, including cost of finishing, compaction, curing, approved chemical admixtures conforming to IS 9103 in recommended proportions for achieving slump approximately 100 mm and water/ cement ratio not more than 0.42 at all level & for all sections as per drawings, specifications & direction of Engineer-in-charge. Use of concrete retarding agent / accelerator conforming to IS 9103 shall also be done if situation demands so. Rates should be based on using 350 kg of OPC 43 grade cement per Cum of concrete. Note :- Rate of admixtures for joining old concrete surface to new concrete surface or cold joints should be included in quoted rate. | 645.00 | Cum | 0.00 | 6200.00 | 3999000.00 | 7686.00 | 4957470.00 | 3999000.00 | M/S MADHUSUDAN ENGINEERING CO.
21.00 | Providing angular fillets 75mm x 75mm of cement concrete 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate of 20 mm nominal size) as per drawings, specification & direction of engineer incharge. | 350.00 | Rm | 0.00 | 100.00 | 35000.00 | 36.00 | 12600.00 | 12600.00 | KHAN CONTRACTOR
22.00 | Providing and laying 6mm thick cement plaster (1 cement : 3 sand) in single coat on RCC ceiling face for interior plastering at all levels including necessary grooves at the junction of RCC and brickwork arises, internal rounded angle, chamfers and / or rounded angles not exceeding 80 mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. Note-Only ZoneV sand will be allowed. | 1850.00 | SqM | 0.00 | 280.00 | 518000.00 | 256.00 | 473600.00 | 473600.00 | KHAN CONTRACTOR
23.00 | Providing and laying 15mm thick cement plaster 1:4 (1 cement : 4 fine sand) in single coat on either side of single or half brick wall for interior plastering at all levels using galvanized M.S. wire of I.S. gauge designation 26 s.w.g. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. Note- Only ZoneIV/V sand will be allowed. | 2100.00 | SqM | 0.00 | 350.00 | 735000.00 | 326.00 | 684600.00 | 684600.00 | KHAN CONTRACTOR
24.00 | Providing and laying 18 mm thick cement plaster in two coats under layer 12 mm thick cement plaster 1:4(1 cement : 4 fine sand) finished with a top layer 6mm thick cement plaster 1:4 (1 cement : 4 fine sand) on either side of single or half brick masonry walls for exterior plastering at all height and using galvanized M.S. wire of I.S. gauge designation 26 S.W.G. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. Note- Only ZoneV sand will be allowed for second coat & Zone IV sand for first coat. | 3000.00 | SqM | 0.00 | 420.00 | 1260000.00 | 426.00 | 1278000.00 | 1260000.00 | M/S MADHUSUDAN ENGINEERING CO.
25.00 | Providing water proofing material Dr. Fixit Pidi proof LW plus / Complast X-421 1C of fosroc / STP no 1 of STP Ltd. as approved in NPCIL store & issuing the same from NPCIL store as per site requirement for mixing in cement plaster work / concrete work in proportion as recommended by the manufacturers etc. complete as per direction of Engineer-in-charge. | 330.00 | Ltr | 0.00 | 100.00 | 33000.00 | 126.00 | 41580.00 | 33000.00 | M/S MADHUSUDAN ENGINEERING CO.
26.00 | Providing and laying in proper slope (1 in 40 to 1 in 60) integral cement based water proofing treatment including preparation of surface by hacking, cleaning and washing the roof top as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying two coat of waterproof cement slurry (cement mixed with waterproofing material such as PIDICRETE URP of Dr. FIXIT / Hydro proof extra of fosroc / Shalicrete-R of STP Ltd. / Tapcrete P-151 of Cico technologies confirming to relevant IS as approved by engineer in charge in the proportion as recommended by manufacturer) on the prepare surface over the RCC slab including adjoining walls up to 300mm height. b) Laying machine mixed brick bats with mortar using broken bricks/brick bats 25 mm to 100mm size with 50% of cement mortar 1: 4 (1 cement : 4 coarse sand) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS over 20 mm thick layer of cement mortar of mix 1: 4 (1 cement : 4 coarse sand) admixed with approved waterproofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or other similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS to required slope and treating similarly the adjoining walls up to 300mm height including rounding of junction of walls and slabs. c) After two Days of proper curing applying a coat of cement slurry using 2.75 kg/sqm of cement admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS. d) Finishing the entire surface (horizontal as well as vertical) with 25mm thick jointless cement concrete of mix 1:1.5:3 (1 cement : 1.5 course sand : 3. 10mm down aggregate) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS including finaly finishing the surface with trowel with neat cement slurry and making pettern of size 100x100mm Sqare 3mm deep. e) The whole terrace so finished shall be flooded with water for minimum period of two week for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer – In charge. :The average thickness of brick bat coba shall be 120mm and minimum thickness at khurra as 65mm. before laying 25mm thk. CC (1:1.5:3) (Payment shall be made for plan area of roof treated) | 1770.00 | SqM | 0.00 | 1100.00 | 1947000.00 | 1186.00 | 2099220.00 | 1947000.00 | M/S MADHUSUDAN ENGINEERING CO.
27.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in flooring, tread of steps, landing, laid over 20 mm (average) thick base of cement mortar 1:4 (1 Cement: 4 sand): and jointed with white cement slurry mixed with pigment to match the shade of the slab, including edge molding and cutting three nos. grooves neatly in longitudinal direction of steps for antiskid purpose, rubbing and polishing complete, including cutting of slot (without edge splitting) using mechanical means for receiving the handrail supports including finishing & curing work at all level etc. complete (size of kota stone shall cover full length & width of stair case treads as shown in drawings) as per specification & direction of Engineer-in-charge. Note:- Size of Kota stone used for room & Gallery flooring should be 600 mm X 1200mm or more upto 1800 mm | 1950.00 | SqM | 0.00 | 1050.00 | 2047500.00 | 986.00 | 1922700.00 | 1922700.00 | KHAN CONTRACTOR
28.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 Cement 3: sand) and jointed with white cement slurry mixed with pigment to match the shade of the slab, rubbing and polishing complete, including finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. (size of kota stone shall cover full length & width of stair case risers as shown in drawings) | 80.00 | SqM | 0.00 | 1250.00 | 100000.00 | 1386.00 | 110880.00 | 100000.00 | M/S MADHUSUDAN ENGINEERING CO.
29.00 | Providing & fixing 18mm to 22mm thick both face polished Kota stone shelves fixed in walls in cement mortar 1:3 (1 cement : 3 coarse sand) including cutting chases in masonry/plaster, finishing, making good the same, full moulding of exposed edges at all level complete as per specification and as directed by engineer in charge. | 25.00 | SqM | 0.00 | 1100.00 | 27500.00 | 856.00 | 21400.00 | 21400.00 | KHAN CONTRACTOR
30.00 | Providing and fixing premium quality mat finished ceramic floor tiles of minimum size of 300X300mm and 6mm thickness conforming to IS: 15622 (latest revision) of H&R JOHNSON (pure mat finish Rustic /Lenox series) / KAJARIA (Digital floor -stain mat plain & printed mat finish) / NITCO (Crust digital floor tiles premium) as approved in required shade, laid on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including covering of floor tiles with 3mm th. PVC tile protection sheet over it to protect the tile from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. | 90.00 | SqM | 0.00 | 1000.00 | 90000.00 | 1186.00 | 106740.00 | 90000.00 | M/S MADHUSUDAN ENGINEERING CO.
31.00 | Providing and laying premium quality polished vitrified tiles of minimum size 600mm x 600mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (Double charge Magic bush Series) / KAJARIA (Double charge K-62 & K-63 series)/ NITCO (Double charge Nano vitrified premium) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make including covering of tiles with 3mm th. PVC tile protection sheet over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. | 470.00 | SqM | 0.00 | 1000.00 | 470000.00 | 1486.00 | 698420.00 | 470000.00 | M/S MADHUSUDAN ENGINEERING CO.
32.00 | Providing and fixing premium quality special printed ceramic glazed wall tiles of minimum size of 450mmx300mm and 6mm thickness of approved shade in base and highlighter conforming to IS: 15622 (latest revision) of H&R JOHNSON wall tiles (DIGITAL PRINTED SERIES) / KAJARIA (Digital & power line) / NITCO (Cosmos digital wall tiles) as approved in skirting and dado over 12mm thick bed of cement mortar 1:3(1 cement :3 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including protecting the tiles from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. | 300.00 | SqM | 0.00 | 1000.00 | 300000.00 | 1186.00 | 355800.00 | 300000.00 | M/S MADHUSUDAN ENGINEERING CO.
33.00 | Providing and fixing 15 to 18 mm thick Granite gang saw cut, mirror polished, premoulded and prepolished, machine cut granite stone on wall tops, sides, facias and similar locations of required size (all size), of approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups,including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (Base rate of marble stone shall not be less than 1700/- per Sqm) | 24.00 | SqM | 0.00 | 4500.00 | 108000.00 | 4186.00 | 100464.00 | 100464.00 | KHAN CONTRACTOR
34.00 | Providing and fixing in full width & length 15mm to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for kitchen platforms, fascias, walls and similar locations laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, edge moulding and polishing to edge to give high gloss finish etc. complete at all levels: Area of slab over 0.50 Sqm. including finishing & curing work at all level etc. complete as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 10.00 | SqM | 0.00 | 4550.00 | 45500.00 | 4186.00 | 41860.00 | 41860.00 | KHAN CONTRACTOR
35.00 | Applying Birla/JK/Asian white cement based wall putty (two coats) including base coat of alkaline resistance cement primer over cement plaster/ concrete surfaces after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface to achieve plain & even surface. including the cost of materials, labour etc. all complete as per direction of Engineer-in-Charge. | 6600.00 | SqM | 0.00 | 90.00 | 594000.00 | 86.00 | 567600.00 | 567600.00 | KHAN CONTRACTOR
36.00 | Supply and applying premium emulsion paint of make Asian paint premium emulsion (product code 011) / Nerolac Beauty gold / Rangoli fashion finish of Berger as approved to give an even shade: - Two coats on new work including priming coat with approved cement primer of make Asian Deco prime wall primer (0360) / Nerolac water thinnable cement primer / BP cement primer water thinnable of Berger as approved after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface to achieve plain & even surface. The item rate include spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as door & window frames, glass pans, electrical fittings, switch board, floors, skirting, platform etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 3850.00 | SqM | 0.00 | 140.00 | 539000.00 | 126.00 | 485100.00 | 485100.00 | KHAN CONTRACTOR
37.00 | Supplying and applying wheather proof exterior emulsion paint of make Asian paint apex (code 0012) / Nerolac excel / Weather coat smooth of Berger as approved of required shade on New work Two coats including base coat of exterior wall primer of make Asian exterior wall primer (0065)/ Nerolac exterior primer / Weather coat exterior primer of Berger as approved after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface including filling surface imperfections such as holes, dents, cracks by using mixture of white cement & fine sand (in the ratio of 1:3) to achieve plain & even surface. The item rate include spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as window / ventilator frames, glass pans etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 2750.00 | SqM | 0.00 | 170.00 | 467500.00 | 146.00 | 401500.00 | 401500.00 | KHAN CONTRACTOR
38.00 | Supplying and application of 2 coats of Synthetic Enamel Paint (Asian Utsav Enamel Paint: Product Code No 0053 or similar quality in Berger / Nerolac) on New / Old Concrete / Plastered / Steel / Wooden surfaces after application of primer coat (Asian Paint Metal Primer: Product Code 0005 or similar quality in Berger / Nerolac) on the surfaces well prepared through scrapping, scrubbing, grinding and cleaning using wire brushes, soft brushes & sand papers etc. including cost of materials, labour, consumables cleaning of area after painting etc. complete as per direction of Engineer-in-Charge. The item rate includes the cost of spreading suitable clean protection covering on all exposed surfaces to protect them from staining, cleaning of old stained / freshly stained surfaces surrounding to painted area such as door - window frames & glass panes, electrical fittings, switch boards, floors, skirting, platform etc. to sparkling clean condition with the use of suitable thinners, detergents, chemical cleaners etc. | 160.00 | SqM | 0.00 | 300.00 | 48000.00 | 186.00 | 29760.00 | 29760.00 | KHAN CONTRACTOR
39.00 | Painting background in 2 coats and Writing letters / Figures / Numerals on any new/old surface such as plastered, concrete, metal etc using (Apcolite Synthetic Enamel Paint of Asian Paint Product Code No 0001) of spcified shade including cost of paint material and metallic stencils for Alphabets / Numerals all complete as per the directions & Specifications of Engineer-in-charge. 2 sets of Metallic Stencils shall be deposited in good conditions in NPCIL Stores after work completion without any cost to NPCIL. (Outer Border area shall be paid). | 120.00 | SqM | 0.00 | 50.00 | 6000.00 | 586.00 | 70320.00 | 6000.00 | M/S MADHUSUDAN ENGINEERING CO.
40.00 | Providing and fixing M.S. grills of required pattern in frames of windows, ventilators, balconies etc. with M.S.flats, square or round bars ets. all complete including applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer: Fixed to steel/ aluminium window by welding/riveted or bolted all complete as per standard design, drawing, specification and direction of engineer in charge. MS grill design & drawing shall be prepared & submitted by the contracting agency for the approval of EIC. | 750.00 | Kg | 0.00 | 130.00 | 97500.00 | 126.00 | 94500.00 | 94500.00 | KHAN CONTRACTOR
41.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and frame work M.S. door & fix ventilators, anchors etc made out M.S. angle, channels, flats, rods, bars, weld mesh, M.S. pipe etc including supplying, cutting, hoisting, fixing in position and applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer all complete as per standard design, including the cost of all material and labour complete- as per drawings , specifications & direction of engineer in charge. | 4500.00 | Kg | 0.00 | 120.00 | 540000.00 | 116.00 | 522000.00 | 522000.00 | KHAN CONTRACTOR
42.00 | Providing and fixing pressed steel door frames conforming to IS: 4351 manufactured from 1.6 mm thick commercial mild steel sheet including hinges jamb, lock jamb, bead and base ties of pressed mild steel angle of size 20mm x 20mm x 1.25mm thick to suit floor thickness welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail fixed to each jamb including fixing superior quality heavy duty Stainless Steel Butt Hinges 100mm long with the frame using SS-MS welding process and SS Screws all as per specifications including provision of mortar guards, lock strike – plate and shock absorbers as specified, filling the hollow box space with the 1:2:4 cement concrete (6.7 mm down coarse aggregate to be used), water cured for minimum 7 Days before fixing the same and applying two coats of approved brand synthetic enamel paint on exposed surface over a coat of approved steel primer on entire surface (interior and exterior) after pre- treatment of the surface, drilling holes of specified diameter and depth with the provision of high quality rubber/PVC sleeves for accommodating male parts of door fittings such as aldrops and tower bolts etc. all complete including cost of all material and labour as per drawing, specifications and as directed by Engineer–In charge. | 180.00 | RM | 0.00 | 850.00 | 153000.00 | 486.00 | 87480.00 | 87480.00 | KHAN CONTRACTOR
43.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 20.00 | SqM | 0.00 | 7000.00 | 140000.00 | 9786.00 | 195720.00 | 140000.00 | M/S MADHUSUDAN ENGINEERING CO.
44.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 100.00 | Kg | 0.00 | 550.00 | 55000.00 | 786.00 | 78600.00 | 55000.00 | M/S MADHUSUDAN ENGINEERING CO.
45.00 | Providing and fixing factory made 35 mm thick both side laminated flush door shutters single leaf conforming to IS ; 2202(part-1) of make KITPLY/GREENLAM / CENTURY as approved by EIC with Block board core & frame of well seasoned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including supply and fixing of approved brand stainless steel fixtures like Tower bolt (size-250mm long rod size 12mm), Tadi latch (300mm long rod size 14mm), Aldrop (300X16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos, Magnetic Cather etc. with approved quality judas eye, safety chain etc. complete as per drawings, specifications and direction of Engineer. (Door skin shall be 1.0 mm thick on front face and 0.8mm thick on back face with the provision of edge bending of decorative high pressure laminated sheet of plain/wood grain in gloss/ matt/ suede finish with high density protective surface layer of make KITPLY / GREENLAM / CENTURY as approved by EIC). Note - actual area of shutter will be paid. | 65.00 | SqM | 0.00 | 3200.00 | 208000.00 | 2786.00 | 181090.00 | 181090.00 | KHAN CONTRACTOR
46.00 | Providing and fixing double leaf cupboard shutters with frame fabricated from 18-19mm thick BWP grade block board conforming to IS:1659, Kit board gold / Greenlam / Century make with laminate of approved make (Kit ply / Greenlam / Century) and shade on both faces (1 mm thk. laminate on front face and 0.8 mm thk. on back face with the provision of edge bending) including IInd class teak wood lipping of 19mm wide x 6 mm thick with necessary S.S screws and bright finished heavy duty stainless steel fixtures of approved brand (two nos handles plate type - 100mm size (size shall be confirming to IS:208), two nos. magnets, two nos. tower bolt of 100mmx10mm rod size, one nos. hasps and steples etc.), Stainless Steel Butt hinges / S.S. piano hinges etc. as approved all complete as per drawings, specifications and directions of Engineer-in-charge with Note - actual area of shutter with frame will be paid. | 50.00 | SqM | 0.00 | 3000.00 | 150000.00 | 2786.00 | 139300.00 | 139300.00 | KHAN CONTRACTOR
47.00 | Providing & Fixing of medium duty hydrolically regulated door closer of type-3, suitable for left or right or universal with necessary screws/ nuts, bolts etc. as Directed by the Engineer-in-Charge. | 12.00 | Each | 0.00 | 300.00 | 3600.00 | 986.00 | 11832.00 | 3600.00 | M/S MADHUSUDAN ENGINEERING CO.
48.00 | Providing and fixing 30mm thick factory made pre-laminated PVC door shutter of approved make and design consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make. M.S. frame covered with 5 mm thick heat molded PVC 'C' channel of size 30 mm thickness, 95 mm width out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 115 mm wide PVC sheet out of which 95 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 140 mm wide PVC sheet out of which 100 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. including all SS fitting and fixtures such as 1 nos Tadi latch 200mm longx12mm rod size, 2 nos. tower bolt 250mm x 12mm, 2 nos. plat type handles - 100mm size (size shall be confirming to IS:208) of approved brand complete as per drawing, specification & direction of Engineer-in-charge. | 21.00 | SqM | 0.00 | 3200.00 | 67200.00 | 2286.00 | 48006.00 | 48006.00 | KHAN CONTRACTOR
49.00 | Providing & Fixing of approved quality URINAL PARTITION (JHONSON PREMIUM COLLECTION/ PARRY WERE / HINDWARE) Dimensions: 675 X95 X 320 mm FLAIR DIVISION PLATE FOR URINALS IN WHITE COLOUR as Directed by the Engineer-in-Charge. | 2.00 | Each | 0.00 | 3500.00 | 7000.00 | 2086.00 | 4172.00 | 4172.00 | KHAN CONTRACTOR
50.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430 X 260 X 350 mm and 340 X 410 X 265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I. clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required: Range of four urinal basin with 10 liter white P.V.C. automatic flushing cistern. | 3.00 | Each | 0.00 | 4500.00 | 13500.00 | 4786.00 | 14358.00 | 13500.00 | M/S MADHUSUDAN ENGINEERING CO.
51.00 | Providing and fixing Orissa pattern Water Closet (OP 23 (Open rim) of H & R Johnson / Orissa C0117 of Parryware/ Orissa COVYS 3010104 of CERA as approved with low level placed PVC flushing cistern (Dual Flush Tank {white} of H & R Jhonson / CERA/ Parry ) connected with 32 mm dia PVC flush pipe with all fittings and brackets with C.P. brass angle valve with CP flange (Clarion cat No. CQT 23059 make of JAQUAR or similer approved quality in KOHLER / GROHE and 15 mm dia high quality PVC inlet connection of required length with all accessories, fittings & fixtures of best quality and brand. Item includes essentially following. (a). Orissa pattern white glazed viterous china W.C. pan of size 580mm x 440mm of approved brand and 100mm dia sand cast iron 'P' trap. (b). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (c). 15mm dia PVC inlet connection of required length of approved brand with heavy duty C.P. brass unions and rubber washer etc. (d). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar Clarion cat. No. CQT 23059 or similer approved quality of KOHLER / GROHE as approved). | 8.00 | Each | 0.00 | 10000.00 | 80000.00 | 5786.00 | 46288.00 | 46288.00 | KHAN CONTRACTOR
52.00 | Providing and fixing European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW / 'PARRYWARE' (NIAGARA C0252(S) / 'CERA' (CIGNIA Concealed S1051108 S trap) as approved with Germfree EWC solid seat cover with C.P. brass hinges and rubber buffers of approved brand, with low level placed PVC flushing cistern (Dual Flush Tank white) connected with 32 mm dia PVC flush pipe with fittings and brackets, 15mm dia PVC inlet connection of required length and approved brand, 15mm dia C.P. brass angle valve with C.P. flange of superior quality all complete as per specification and direction of engineer in charge comprising following accessories: (a). White vitreous china wash down European type W.C. pan with white vitreous china 'S' trap of approved brand. (b). Germfree EWC solid seat cover (white) of H&R Johnson ( P0424PW) / Parry (E8094) / Cera (Carina plus B1510106) with C.P. brass hinges and rubber buffers of approved brand. (c). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8110 Deluxe) / Cera (Corona B1020102) as approved with all accessories complete. (d). 15mm dia heavy duty PVC inlet connection of required length and approved brand with brass unions complete. (e). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). (f). Jet spray provision of Jaquar make ALE 547 with 1Meter PVC tube (stainless steel) with 01 nos 15mm dia CP brass angle valve with Cp flange of Jaquar clarion (Code CQT 23059) or similer approved quality of KOHLER/GROHE as approved. | 4.00 | Each | 0.00 | 12000.00 | 48000.00 | 5786.00 | 23144.00 | 23144.00 | KHAN CONTRACTOR
53.00 | Providing and fixing in position white glazed vitreous china ware wash basin 'H&R JOHNSON'/ 'PARRY' / 'CERA' as approved of following accessories jointed watertight as given below : (a). One no. wash basin of make 'H&R JOHNSON' (P1015PW size 500 x 400 mm)/ 'PARRY' (Indus C0471 size 500x400 mm) / 'CERA' (Counsel S2040101 size 510x400mm) as approved. (b). One pair of wall bracket of 35mm x 35mm x 5mm M.S. angle painted with two coats of synthetic enamel paint over a coat of primer of approved quality and make. (c). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER / GROHE as approved. (d). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (e). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER / GROHE as approved). (f). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (g). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. | 8.00 | Each | 0.00 | 6000.00 | 48000.00 | 5786.00 | 46288.00 | 46288.00 | KHAN CONTRACTOR
54.00 | Providing and fixing best quality stainless steel kitchen sink of SS grade 304 glossy finish (Jayna / Nirali / Carysil / Franke Brand) as approved without drain board of overall size 610 x 457 x 200 mm (24"x18"x8") including all accessories such as choke stop stainer, outlet pipe upto floor trap etc. as required all complete as per specifications and direction of engineer in charge. | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 5786.00 | 5786.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
55.00 | Providing and Construction of fly ash brick masonry chamber of size 300mm x 400mm x 300mm (inside clear dimension) in 230mm thick brick masonry in cement mortar 1:4 (1 cement : 4 fine sand) with necessary excavation in all types of soils, bed of 100mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 40mm nominal size) for foundation including 40mm thick precast cement conc. Cover fixed in M.S. angle frame of required size angle at top including curing and fixing M.S. angle frame and precast conc. cover in 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) and painting frame with two coats of approved anticorrosive paint etc. complete as per drawings and specifications. Note:- Reinforcement and MS angle frame shall be paid in relevant item. | 8.00 | Each | 0.00 | 8000.00 | 64000.00 | 786.00 | 6288.00 | 6288.00 | KHAN CONTRACTOR
56.00 | Construction of fly ash brick masonry inspection chamber up to 1000 mm depth of inside clear dimension 900mm X 600mm with 230mm thick brick wall in cement mortar 1:4 (1 cement : 4 fine sand) 150mm thick foundation cement concrete 1:4:8 (1 cement : 4 coarse sand :8 graded stone aggregate of 20mm nominal size) and plastering inside and outside with cement mortar 1:4 (1 cement : 4 fine sand) 15mm thick finished smooth, benching cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) in the bottom of chamber including providing and fixing 75mm thick precast cement cone. Cover slab protected by MS angle frame of required size all around, fixed in frame of size 900mmx600mm (in side clear) made out of M.S. angle of required size, embedding the frame in 75mm thick CC top coping of mix 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) including centering, shuttering, finishing, curing and painting the frame with two coats of approved anticorrosive paint etc. complete as per design, drawings and specifications. Note Reinforcement, M.S. angle frames and excavation are paid in relevant item. | 8.00 | Each | 0.00 | 8500.00 | 68000.00 | 4786.00 | 38288.00 | 38288.00 | KHAN CONTRACTOR
57.00 | Providing & fixing M.S. manhole cover and frame for water tank of size 600mm X 600mm (inside clear) cover shall be made out of 35mm X 35mm X 5mm M.S. angle & 5mm thick M.S. plate cover, frame shall be made out of 50x50x5mm thick MS angle and hinges to the frame and fixing the frame with proper anchors to the water tank's concrete slab and providing handle and locking arrangement complete including painting with two coats of synthetic enamel paint of approved make and shade over one coat of red oxide zinc chromate primer etc. complete as per design drawings and specifications. | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 2786.00 | 27860.00 | 25000.00 | M/S MADHUSUDAN ENGINEERING CO.
58.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 15mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 60.00 | RM | 0.00 | 600.00 | 36000.00 | 286.00 | 17160.00 | 17160.00 | KHAN CONTRACTOR
59.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 20mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 30.00 | RM | 0.00 | 650.00 | 19500.00 | 326.00 | 9780.00 | 9780.00 | KHAN CONTRACTOR
60.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 25mm dia. nominal bore exposed/Concealed on wall | 120.00 | RM | 0.00 | 750.00 | 90000.00 | 386.00 | 46320.00 | 46320.00 | KHAN CONTRACTOR
61.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 32mm dia. nominal bore exposed/Concealed on wall | 100.00 | RM | 0.00 | 900.00 | 90000.00 | 456.00 | 45600.00 | 45600.00 | KHAN CONTRACTOR
62.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 40mm dia. nominal bore exposed/Concealed on wall | 25.00 | RM | 0.00 | 1550.00 | 38750.00 | 486.00 | 12150.00 | 12150.00 | KHAN CONTRACTOR
63.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 50mm dia. nominal bore exposed/Concealed on wall | 120.00 | RM | 0.00 | 2000.00 | 240000.00 | 586.00 | 70320.00 | 70320.00 | KHAN CONTRACTOR
64.00 | Providing and fixing 25mm nominal bore ball valve (brass) of approved quality, High or low pressure, with 150mm dia approved quality plastic floats with complete accessories. | 5.00 | Each | 0.00 | 800.00 | 4000.00 | 486.00 | 2430.00 | 2430.00 | KHAN CONTRACTOR
65.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 25mm dia | 6.00 | Each | 0.00 | 2500.00 | 15000.00 | 386.00 | 2316.00 | 2316.00 | KHAN CONTRACTOR
66.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 32mm dia | 6.00 | Each | 0.00 | 3000.00 | 18000.00 | 486.00 | 2916.00 | 2916.00 | KHAN CONTRACTOR
67.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 40mm dia | 3.00 | Each | 0.00 | 3500.00 | 10500.00 | 586.00 | 1758.00 | 1758.00 | KHAN CONTRACTOR
68.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 32mm dia | 5.00 | Each | 0.00 | 1200.00 | 6000.00 | 286.00 | 1430.00 | 1430.00 | KHAN CONTRACTOR
69.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 40mm dia | 5.00 | Each | 0.00 | 1500.00 | 7500.00 | 286.00 | 1430.00 | 1430.00 | KHAN CONTRACTOR
70.00 | Providing & Fixing of approved quality C.P. brass stop cock 15 mm dia of weighting not less than 400 gm. | 8.00 | Each | 0.00 | 500.00 | 4000.00 | 486.00 | 3888.00 | 3888.00 | KHAN CONTRACTOR
71.00 | Providing and fixing C.P. brass bib cock with C.P. flange of superior quality (Jaquar Clarion cat no. 23047 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 26.00 | Each | 0.00 | 3000.00 | 78000.00 | 886.00 | 23036.00 | 23036.00 | KHAN CONTRACTOR
72.00 | Providing and fixing C.P. brass Angular stop cock with C.P. flange and PVC/CP connecting pipe of required length for geyser points of superior quality (Jaquar Clarion cat no. 23059 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 21.00 | Each | 0.00 | 1000.00 | 21000.00 | 886.00 | 18606.00 | 18606.00 | KHAN CONTRACTOR
73.00 | Providing and fixing C.P. brass wall mixer with 3 in 1 system with provision for both hand shower and over head shower complete with 115mm long bend pipe on upper side, connecting legs and flanges (without hand & over head shower) CQT - 23281UPR of Jaquar Clarion series or similar approved quality of GROHE/KOHLER as approved. | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 3786.00 | 7572.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
74.00 | Providing and fixing C.P. brass shower rose with Shower arm 190mm long and wall flange of superior quality (Jaquar cat no. OHS 1985 & SHA 477 or similar approved quality of GROHE/KOHLER as approved). | 2.00 | Each | 0.00 | 1200.00 | 2400.00 | 1386.00 | 2772.00 | 2400.00 | M/S MADHUSUDAN ENGINEERING CO.
75.00 | Providing & fixing sink cock (wall mounting) with C.P. flange and swinging casted spout superior quality (Jaquar Clarion cat no. 23347 or similar approved quality of GROHE/KOHLER as approved). | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 1386.00 | 1386.00 | 1386.00 | KHAN CONTRACTOR
76.00 | Providing and fixing in position 25 mm dia heavy duty brass ferrule of approved brand including boring and threading hole in C.I. pipe with necessary fittings as required all complete. | 5.00 | Each | 0.00 | 3000.00 | 15000.00 | 386.00 | 1930.00 | 1930.00 | KHAN CONTRACTOR
77.00 | Providing and fixing in position C.I. floor trap of self cleaning design 100mm inlet and 75 mm outlet with C.P. grating on top including embedding in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) etc. complete as per drawings, specifications and as directed by engineer. | 22.00 | Each | 0.00 | 2500.00 | 55000.00 | 1186.00 | 26092.00 | 26092.00 | KHAN CONTRACTOR
78.00 | Providing and fixing cut edge mirror 6mm thick of overall size 600X450mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per drawing, specifications and directions of the EIC. | 8.00 | Each | 0.00 | 2000.00 | 16000.00 | 786.00 | 6288.00 | 6288.00 | KHAN CONTRACTOR
79.00 | Providing and fixing C.P. brass towel rail of Jaquar Continental cat no. 1111, 600mm long or similar approved quality of GROHE/KOHLER brand including all fixtures and fittings complete as per specifications. | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 1086.00 | 2172.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
80.00 | Providing and fixing best quality painted metalic cloth hanger having 460 mm length as approved by engineer in charge and as per specifications. | 5.00 | Nos. | 0.00 | 1000.00 | 5000.00 | 186.00 | 930.00 | 930.00 | KHAN CONTRACTOR
81.00 | Providing and fixing colour anodized aluminium work for doors, windows, ventilators and partitions as per the material, fabrication and dimensional specifications/ requirement of IS: 1948 from aluminum alloy extruded sections, tubular / appropriate Z and or other sections of approved make conforming to grade HE9-WP of IS : 733 and HV9-WP of IS: 1285, fixed with raw plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required neoprene felt and silicon whether sealant etc. Aluminium sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling. C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. : For shutters of doors, windows & ventilators including providing and fixing approved ss hinges/ pivots/ rollers suitable for sliding / openable window and providing and fixing approved fittings i.e. two handle with locking arrangement for each sliding window shutter and one handle as well as two tower bolt for each glass / jali shutter with provisions of one gate hook for each glass shutter for openable window wherever required as approved including the cost of neoprene gasket all complete: colored anodized coated aluminium (thickness of anodized coating 15 micron). The finished arrangement shall be fully water tight. Note : 1. Payment of Glazing / SS wire mesh to be paid in relevant item in line with their specifications. 2. Cost of SS hinges / pivot / rollers are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 870.00 | Kg | 0.00 | 550.00 | 478500.00 | 586.00 | 509820.00 | 478500.00 | M/S MADHUSUDAN ENGINEERING CO.
82.00 | Providing and fixing pre-fabricated deco grill or equivalent expanded Aluminum grills made of anodized aluminum as per design and drawing having members section of size 7.5 mm X 6.0 mm and opening of size 102 mm X 99 mm fixed to staircase opening with aluminum frame with required screws, Y & H aluminum section as per drawing at the ends and middle joints at all heights etc. complete as per specification & directed by the engineer. | 120.00 | Kg | 0.00 | 700.00 | 84000.00 | 786.00 | 94320.00 | 84000.00 | M/S MADHUSUDAN ENGINEERING CO.
83.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with neoprene gasket and silicon sealant etc. complete as per the architectural drawings and the directions of engineer-in-charge. With float glass panes of 4.0 mm thickness (Cost of aluminium snap beading shall be included in basic item) | 120.00 | SqM | 0.00 | 700.00 | 84000.00 | 986.00 | 118320.00 | 84000.00 | M/S MADHUSUDAN ENGINEERING CO.
84.00 | Providing and fixing Sun control film 25 micron thick of approved colour and shade, complete in all respect at all level, as directed by Engineer -in- charge | 50.00 | SqM | 0.00 | 150.00 | 7500.00 | 386.00 | 19300.00 | 7500.00 | M/S MADHUSUDAN ENGINEERING CO.
85.00 | Providing & fixing Stainless steel (Grade 304) Wire mesh of 24gauge of 12 mesh per 2.5 cm in either direction including supplying and fixing with required size U section aluminium beading over existing Aluminum window at all height etc. complete as directed the Engineer. | 70.00 | SqM | 0.00 | 150.00 | 10500.00 | 686.00 | 48020.00 | 10500.00 | M/S MADHUSUDAN ENGINEERING CO.
86.00 | Providing and laying M-35 grade and 80mm thick factory made coloured precast cement concrete interlocking pavers block confirming to IS 15658 : 2006 made by block making machine with strong vibratory compaction and of approved colour, size and shape pattern laid in required slope over and including 50mm thick compacted bed of fine sand, filling the joints with fine sand etc. all complete as per the specification & direction of Engineer – in – charge. | 180.00 | SqM | 0.00 | 1200.00 | 216000.00 | 1086.00 | 195480.00 | 195480.00 | KHAN CONTRACTOR
87.00 | Providing and laying at or near ground level required size factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per specification & direction of Engineer-in-charge. (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 5.00 | Cum | 0.00 | 7000.00 | 35000.00 | 8786.00 | 43930.00 | 35000.00 | M/S MADHUSUDAN ENGINEERING CO.
88.00 | Providing and fixing of pelmets made out of 18 mm thick (one side laminated other side balancing white with 600 kg /Cum density) and 120 mm wide solid PVC sheet of approved brand & shade including nickle plated M.S. Pipe 20 mm dia. (heavy type) curtain rod with nickel plated brackets, including fixing with 25x3 mm M.S. Flat 10 cm long fixed to pelmet on both inner side of pelmet and rawl plugs 75 mm long etc. all complete in all respect as per specification & direction of engineer-in-charge. Note- only length of pelmet (No over change shall be paid) | 100.00 | RM | 0.00 | 450.00 | 45000.00 | 386.00 | 38600.00 | 38600.00 | KHAN CONTRACTOR
89.00 | Providing corrugated Gal Valume sheet ( Color complying to ASTM A792, base metal thickness 0.60mm or more , alloy coating AZ 150 (Aluminium 55%, Zin 43.50% and Silicon 1.5%),Yield Strength: 350 MPA, Paint coating regular modified polyster top coat 25 microns & bottom coat 12 microns epoxy, top color: Combination of Blue and Off White and bottom color grey)roofing including vertical/ curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diaMetre with bitumen and G.I. limpet washer or with G.L limpet washer filled with white lead (up to any pitch in horizontal/ vertical or curved surfaces) , excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. Note.:- This item work can be executed upto 30 Metre Height from ground level. Bidder should quate their rate considering charges of hydraulic lift, scaffolding etc. | 150.00 | SqM | 0.00 | 1800.00 | 270000.00 | 1186.00 | 177900.00 | 177900.00 | KHAN CONTRACTOR
90.00 | Providing and fixing on wall face / embedded in ground un plasticized Rigid PVC Rain water pipes of Jain Irrigation / Finolex / Supreme as approved conforming to IS:13592 type A (4 Kg/Cm2) including shoes, bends, clamps etc. all complete jointing with seal ring leaving 10 mm for thermal expansion (I) single socketed pipes:110 mm dia. | 160.00 | RM | 0.00 | 450.00 | 72000.00 | 326.00 | 52160.00 | 52160.00 | KHAN CONTRACTOR
91.00 | Providing and laying or fixing in position, under floor or against walls, ISI market sand cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 1729 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 75mm dia. | 100.00 | Meter | 0.00 | 650.00 | 65000.00 | 786.00 | 78600.00 | 65000.00 | M/S MADHUSUDAN ENGINEERING CO.
92.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 1729 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 100mm dia | 60.00 | Meter | 0.00 | 750.00 | 45000.00 | 886.00 | 53160.00 | 45000.00 | M/S MADHUSUDAN ENGINEERING CO.
93.00 | Providing & Fixing of UPVC Pipes (IS : 15328) for Drainage / Severage System of Supreme/ Finlox / Jain Irrigation as approved make including jointing pipe with solvent cement rubber sing and Lubricant. (i) 160 mm SN - 4 | 200.00 | Meter | 0.00 | 700.00 | 140000.00 | 486.00 | 97200.00 | 97200.00 | KHAN CONTRACTOR
94.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1cement : 2 fine sand) including testing of joints etc. complete: 450mm dia. R.C.C. pipe. | 15.00 | Meter | 0.00 | 1000.00 | 15000.00 | 986.00 | 14790.00 | 14790.00 | KHAN CONTRACTOR
95.00 | Providing Retro-reflective regulatory sign board of size 900mm dia Metre made out of 2mm thick aluminum sheet, face to be fully covered with high intensity encapsulated lens type retro-reflective sheeting as approved by Engineer-in-charge. Letter, symbols, boarders etc. will be as per IRC-67 with required colour scheme on the boards and with the high intensity grade A. The aluminum sheet to be riveted to M.S. frame of angle iron of size 40X40X4mm the boards will be fixed to 1 No. 50X50mm square post made of M.S. angle 50X50X4m, 4m long welded to the frame with adequate anti-theft arrangement. Sheet work to be painted with two or more coats of synthetic enamel paint over an under coat (primer) and back side of aluminum sheet to be painted with two or more coats of epoxy paint including appropriate priming coat complete in all respects as per direction of Engineer-in-charge. | 10.00 | SqM | 0.00 | 1500.00 | 15000.00 | 6786.00 | 67860.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
96.00 | Providing and fixing 18mm thick telephone black Granite stone plaque of required size engrved with specified text inside a decorative border and inscription coated with indelible ink/paint all complete as per direction of EIC. | 5.00 | SqM | 0.00 | 3000.00 | 15000.00 | 3486.00 | 17430.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
97.00 | Providing and fixing in position Magnet-frinddly white dry erase(Marker) writing board with resin magnetic steel sheet of 0.5mm (writing surface), 1mm thick GI sheet backing, all around heavy duty alloy aluminium decorative frame and and virgin ABS decorative corners along with magnetic duster and 300mm x 100mm Marker tray at bottom with set of 04 diffrent color dry erasable white board marker pens. Complete as per specification & direction of Engineer in charge. | 6.50 | SqM | 0.00 | 3000.00 | 19500.00 | 7286.00 | 47359.00 | 19500.00 | M/S MADHUSUDAN ENGINEERING CO.
98.00 | Boring/drilling bore well of required dia for casing/strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, upto 90 metre depth below ground level. In Rocky strata including Boulders, For 300 mm dia Bore well all complete as per direction of Engineer-in-charge, | 30.00 | RM | 0.00 | 800.00 | 24000.00 | 1786.00 | 53580.00 | 24000.00 | M/S MADHUSUDAN ENGINEERING CO.
99.00 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, For UPVC slotted pipe 200 mm nominal size dia as per direction of Engineer-in-charge. | 30.00 | RM | 0.00 | 600.00 | 18000.00 | 1186.00 | 35580.00 | 18000.00 | M/S MADHUSUDAN ENGINEERING CO.
100.00 | Supplying, filling, spreading & leveling stone boulders of size range 5 cm to 20 cm, in recharge pit, in the required thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge | 10.00 | CuM | 0.00 | 500.00 | 5000.00 | 1186.00 | 11860.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
101.00 | Supplying, filling, spreading & leveling gravels of size range 5 mm to 10 mm, in the recharge pit, over the existing layer of boulders, in required thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge. | 7.00 | CuM | 0.00 | 600.00 | 4200.00 | 1186.00 | 8302.00 | 4200.00 | M/S MADHUSUDAN ENGINEERING CO.
102.00 | Supplying, filling, spreading & leveling coarse sand of size range 1.5 mm to 2 mm in recharge pit, in required thickness over gravel layer, for all leads & lifts, all complete as per direction of Engineer -in-charge. | 5.00 | CuM | 0.00 | 800.00 | 4000.00 | 1186.00 | 5930.00 | 4000.00 | M/S MADHUSUDAN ENGINEERING CO.
103.00 | Providing and fixing suitable size threaded mild steel cap or spotwelded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of 200mm dia | 1.00 | Each | 0.00 | 2500.00 | 2500.00 | 286.00 | 286.00 | 286.00 | KHAN CONTRACTOR
104.00 | Supply, installation, testing and commissioning of concealed PVC conduit wiring . The conduit has been to be laid during constructions of the building. The light point wiring shall be done with 1100 V grade PVC insulated 1.5 mm2copper conductor (multi strand) conforming to IS of make : FINOLEX, POLYCAB, L&T.
104.10 | Supply and installation of point wiring for light point/ ceiling point to be done with 1100 V grade 1.5mm2 copper wire Red and black and 1.5mm2 1100V grade copper earth wire of green color. Wiring will terminate on 3 plate ceiling rose. Supply of ceiling rose is in contractor scope. Wire shall be ISI mark. | 180.00 | Nos. | 0.00 | 550.00 | 99000.00 | 486.00 | 87480.00 | 87480.00 | KHAN CONTRACTOR
104.20 | Supply & installation of point wiring for fan point to be done with 1100 V grade 1.5mm2 copper wire Red and black and 1.5mm2 1100 V grade copper earth wire of green colour. Wiring will terminate on 3 plate ceiling rose. Supply of ceiling rose is in contractor scope.Wire shall be ISI mark. | 75.00 | Nos. | 0.00 | 600.00 | 45000.00 | 486.00 | 36450.00 | 36450.00 | KHAN CONTRACTOR
104.30 | Supply and installation of point wiring for exhaust fan to be done with 1100 V grade 1.5 mm2 copper wire Red and black and 1.5mm2 1100 V grade copper earth wire of green colour. Wiring will terminate on 3 plate ceiling rose. Supply of ceiling rose is in contractor scope Make: "Wire shall be ISI mark". | 8.00 | Nos. | 0.00 | 600.00 | 4800.00 | 486.00 | 3888.00 | 3888.00 | KHAN CONTRACTOR
104.40 | Supply and installation of point wiring for Stair case light point to be done with 1100 V grade 1.5 mm2 copper and wire Red and black and 1.5mm2 1100 V grade copper earth wire of green colour controlled by two way piano type flush mounted 5amp. Double Pole Double Through switch. Make: "Wire shall be ISI mark". Swithch also to be supplied by contractor. | 7.00 | Nos. | 0.00 | 700.00 | 4900.00 | 486.00 | 3402.00 | 3402.00 | KHAN CONTRACTOR
104.50 | Supply and installation of point wiring for power point to be done with 1100 V grade 2.5mm2 copper wire Red and black and 2.5mm2 1100V grade copper earth wire of green color. Wire shall be ISI mark. | 20.00 | Nos. | 0.00 | 800.00 | 16000.00 | 486.00 | 9720.00 | 9720.00 | KHAN CONTRACTOR
105.00 | Supply and installation of point wiring Sub main wiring , DB to DB and SB to SB looping with 1100 V grade PVC insulated copper stranded wires as per commercial colour code.
105.10 | 2.5mm2 copper conductor wire for SB to SB loop. | 1500.00 | Per Metre | 0.00 | 100.00 | 150000.00 | 96.00 | 144000.00 | 144000.00 | KHAN CONTRACTOR
105.20 | 4.0 mm2 PVC insulated copper wire for DB TO DB loop. | 800.00 | Per Metre | 0.00 | 120.00 | 96000.00 | 136.00 | 108800.00 | 96000.00 | M/S MADHUSUDAN ENGINEERING CO.
106.00 | Supply and installation of PVC conduit ISI marked of following sizes with associated accessories i.e. 65 mm deep Junction boxes, pull boxes, bands (as per total requirement up to adhesive tube of approved make for sealing of conduit joints including installation of angle/batten holders etc.). Make AKG/PRECISION.
106.10 | 19/20mm, 2 mm thick. | 700.00 | Per Metre | 0.00 | 60.00 | 42000.00 | 56.00 | 39200.00 | 39200.00 | KHAN CONTRACTOR
106.20 | 25mm, 2 mm thick. | 1870.00 | Per Metre | 0.00 | 100.00 | 187000.00 | 86.00 | 160820.00 | 160820.00 | KHAN CONTRACTOR
106.30 | 32mm,2 mm thick. | 175.00 | Per Metre | 0.00 | 120.00 | 21000.00 | 126.00 | 22050.00 | 21000.00 | M/S MADHUSUDAN ENGINEERING CO.
106.40 | Supply & installation of ceiling fan metallic hook box | 75.00 | Nos. | 0.00 | 70.00 | 5250.00 | 86.00 | 6450.00 | 5250.00 | M/S MADHUSUDAN ENGINEERING CO.
107.00 | Supply & installation of angle/batten holder of Anchor make respectively. To be supplied with 15 W Philips/Surya/Crompton make LED lamp. | 11.00 | Nos. | 0.00 | 300.00 | 3300.00 | 286.00 | 3146.00 | 3146.00 | KHAN CONTRACTOR
108.00 | Legrand MYLINC /Anchor Roma Category of Switch/Sockets and accessories.
108.01 | 6A one way switch | 391.00 | Nos. | 0.00 | 70.00 | 27370.00 | 76.00 | 29716.00 | 27370.00 | M/S MADHUSUDAN ENGINEERING CO.
108.02 | 6A two way switch | 3.00 | Nos. | 0.00 | 130.00 | 390.00 | 126.00 | 378.00 | 378.00 | KHAN CONTRACTOR
108.03 | 6A 3 PIN socket | 136.00 | Nos. | 0.00 | 132.00 | 17952.00 | 126.00 | 17136.00 | 17136.00 | KHAN CONTRACTOR
108.04 | 16A one way switch | 40.00 | Nos. | 0.00 | 120.00 | 4800.00 | 126.00 | 5040.00 | 4800.00 | M/S MADHUSUDAN ENGINEERING CO.
108.05 | 6/16A combiend Soket | 40.00 | Nos. | 0.00 | 250.00 | 10000.00 | 186.00 | 7440.00 | 7440.00 | KHAN CONTRACTOR
108.06 | Step electronic regulator | 66.00 | Nos. | 0.00 | 350.00 | 23100.00 | 326.00 | 21516.00 | 21516.00 | KHAN CONTRACTOR
108.07 | 1 module plate white colour. | 3.00 | Nos. | 0.00 | 110.00 | 330.00 | 86.00 | 258.00 | 258.00 | KHAN CONTRACTOR
108.08 | 2 module plate white colour. | 5.00 | Nos. | 0.00 | 120.00 | 600.00 | 86.00 | 430.00 | 430.00 | KHAN CONTRACTOR
108.09 | 3 module plate white colour | 38.00 | Nos. | 0.00 | 130.00 | 4940.00 | 86.00 | 3268.00 | 3268.00 | KHAN CONTRACTOR
108.10 | 6 module plate white colour | 9.00 | Nos. | 0.00 | 200.00 | 1800.00 | 156.00 | 1404.00 | 1404.00 | KHAN CONTRACTOR
108.11 | 9 module plate white colour | 8.00 | Nos. | 0.00 | 220.00 | 1760.00 | 186.00 | 1488.00 | 1488.00 | KHAN CONTRACTOR
108.12 | 12 module plate white colour | 45.00 | Nos. | 0.00 | 280.00 | 12600.00 | 286.00 | 12870.00 | 12600.00 | M/S MADHUSUDAN ENGINEERING CO.
108.13 | 1 module metal flush boxes. | 3.00 | Nos. | 0.00 | 75.00 | 225.00 | 66.00 | 198.00 | 198.00 | KHAN CONTRACTOR
108.14 | 2 module metal flush boxes . | 5.00 | Nos. | 0.00 | 76.00 | 380.00 | 86.00 | 430.00 | 380.00 | M/S MADHUSUDAN ENGINEERING CO.
108.15 | 3 module metal flush boxes. | 38.00 | Nos. | 0.00 | 100.00 | 3800.00 | 116.00 | 4408.00 | 3800.00 | M/S MADHUSUDAN ENGINEERING CO.
108.16 | 6 module metal flush boxes. | 9.00 | Nos. | 0.00 | 158.00 | 1422.00 | 166.00 | 1494.00 | 1422.00 | M/S MADHUSUDAN ENGINEERING CO.
108.17 | 9 module metal flush boxes . | 8.00 | Nos. | 0.00 | 250.00 | 2000.00 | 186.00 | 1488.00 | 1488.00 | KHAN CONTRACTOR
108.18 | 12 module metal flush boxes. | 45.00 | Nos. | 0.00 | 300.00 | 13500.00 | 286.00 | 12870.00 | 12870.00 | KHAN CONTRACTOR
108.19 | Blanking plate. | 25.00 | Nos. | 0.00 | 50.00 | 1250.00 | 26.00 | 650.00 | 650.00 | KHAN CONTRACTOR
109.00 | Supply and installation of 80mm dia 3 mm thick hylem make Bakelite dummy covers. Covers to be mounted on pull boxes by means of 3/16" machine screws and cup washers of Brass etc. all complete work as directed by Engineer in charge. | 125.00 | Nos. | 0.00 | 20.00 | 2500.00 | 16.00 | 2000.00 | 2000.00 | KHAN CONTRACTOR
110.00 | Supply and installation of 305 mm sweep exhaust fan of M/s Almonard make, double ball bearing, Heavy duty 1350 rpm, 75W, 230V. The job covers making of opening in the wall grouting of Bolts of size 3/8" x 4" and making it suitably turn free in wall as directed by Engineer in charge and installation frame, installing louvers, finishing of wall to the original shape etc and its connection to ceiling rose by means of 1.5mm2 TRS copper cable. | 8.00 | Nos. | 0.00 | 4000.00 | 32000.00 | 3486.00 | 27888.00 | 27888.00 | KHAN CONTRACTOR
111.00 | Supply and installation of Double door MCB DBs. The scope covers DBs to be embedded in the wall recess in such a manner so as to flush with the finished surface of the wall, connection with PVC conduits and wall to be neatly finished there after. For 3 phase with the following Accessories complete in all Respect.
111.10 | Supply and installation of Three phase 4 way MCB DB with 1 no. 3 phase 63A RCBO, 30mA leakage current and 04nos. 32A SP-MCBs MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 4.00 | Nos. | 0.00 | 12000.00 | 48000.00 | 8786.00 | 35144.00 | 35144.00 | KHAN CONTRACTOR
111.20 | Supply and installation of Three phase 4 way MCB DB with 1 no. 1 phase double pole 25A RCBO, 30mA leakage current and 05 nos. 10 A SP-MCBs,MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 2.00 | Nos. | 0.00 | 10500.00 | 21000.00 | 8786.00 | 17572.00 | 17572.00 | KHAN CONTRACTOR
111.30 | Supply and installation of Three phase 4 way MCB DB with 1 no. 3 phase 32 A RCBO, 30mA leakage current and 10 nos. 10 A SP-MCBs MDS/Legrand Make Complete with wiring, neutral link etc. in all respect. | 1.00 | Nos. | 0.00 | 12500.00 | 12500.00 | 9786.00 | 9786.00 | 9786.00 | KHAN CONTRACTOR
112.00 | Supply and installation of LED fixture of make C.G/G.E. complete with wiring of 20 W LED tubes and connection with Ceiling rose provided in point wiring by 1.5 sq.mm TRS copper cable in the following models.
112.10 | Supply and installation of 20 W LED tube light fitting. | 189.00 | Nos. | 0.00 | 600.00 | 113400.00 | 326.00 | 61614.00 | 61614.00 | KHAN CONTRACTOR
113.00 | Supply and installation of 48" Sweep ceiling fan with double ball bearing. The fan shall be hung in already embedded fan hook and its interconnection to 3 point ceiling rose (to be supplied in point wiring) with 3 core 1.5mm2 TRS copper cable.TRS cable in the scope of the contrator Make of fan : CROMPTON GREAVES /PHILIPS | 66.00 | Nos. | 0.00 | 3000.00 | 198000.00 | 2486.00 | 164076.00 | 164076.00 | KHAN CONTRACTOR
114.00 | Supply & installation of B class GI pipe "JINDAL " Make with required 90 degree long radius smooth bends wherever required. The pipe shall be buried/grouted in the ground at least 500mm deep and also in the wall chases wherever required. The scope also includes chasing in wall & back filling with cement mortar concreting, Excavation and Back filling have been covered under separate items. The pipe shall be of following sizes.
114.10 | Providing, fabrication & placing of 50mm dia medium gauge GI pipe of length 2.0 M with perforations at a maximum distances of 150mm through out the length and welded with 600 x 600 x 4 mm GI Plate along with 4 Nos. welded 25 mm GI pipe to 1m length . The job covers , fabrication of GI Plate, welding etc in scope of contractor. | 2.00 | Nos. | 0.00 | 4000.00 | 8000.00 | 1286.00 | 2572.00 | 2572.00 | KHAN CONTRACTOR
115.00 | Supply and installation of pipe earthing station. Scope of this work covers excavation of earth pit of 1x1x2m deep, installation of pipe earthing station with 40 mm dia medium gauge GI pipe and back filling with salt, charcoal and black soil as directed work should be confirm to IS: 3043.
115.10 | Excavation of earth pit in rockey/soft soil of size 1.0 x 1.0 x 2.0 m deep size Blasting is permitted. | 4.00 | CuM | 0.00 | 1200.00 | 4800.00 | 786.00 | 3144.00 | 3144.00 | KHAN CONTRACTOR
115.20 | Supplying of good quality black soil and filling in earth pit and watering as directed. | 4.00 | CuM | 0.00 | 1000.00 | 4000.00 | 486.00 | 1944.00 | 1944.00 | KHAN CONTRACTOR
115.30 | Supplying char-coal of size 10-15mm and filling in earth pit as directed. | 100.00 | Kg | 0.00 | 20.00 | 2000.00 | 26.00 | 2600.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
115.40 | Supplying good quality un-grinded salt of size 10-15mm and filling in earth pit as directed. | 100.00 | Kg | 0.00 | 15.00 | 1500.00 | 11.86 | 1186.00 | 1186.00 | KHAN CONTRACTOR
116.00 | Construction of Brick masonry chamber 300 x 300 x 600mm (Inside clear) of wall thickness 230mm in concrete once mortor 1 : 4 with permanent covering with stone slab of size 300 x 300mm of thickness net less than 50mm and finished from top with 12mm plaster. | 2.00 | Nos. | 0.00 | 3000.00 | 6000.00 | 1786.00 | 3572.00 | 3572.00 | KHAN CONTRACTOR
117.00 | Supply and installation of 25x 3 mm GI flat for interconnection of all the earthing stations and sub feeders. Flat will be laid in 300x300mm size trench. The job includes full welding at joints by Lap/Tee/Cross type welding at least 4 " over lapping should be welded continuously . Excavation is covered under Separate item, joint will be treated with 2 coats of red oxide primer and one coat of Al. paint. The flat will be connected at both ends by using nut bolt and spring and plain washer. Flat will be clumped by 20 x 3 x 75mm clumps at an interval of 1 meter wherever required. | 40.00 | Per Meter | 0.00 | 150.00 | 6000.00 | 106.00 | 4240.00 | 4240.00 | KHAN CONTRACTOR
118.00 | Supply & Installation of ISI marked, 1.1 KV grade, PVC Insulated, Aluminum Conductor, Steel Armourd (Gaivannished flat steel strip) heavy duty power cable (PVC Sheathed) confirming to IS: 1554 Part-I make: FINOLEX, POLYCAB, L&T.
118.10 | Supply of 4 core x 16mm² Cable. | 100.00 | Meter | 0.00 | 320.00 | 32000.00 | 286.00 | 28600.00 | 28600.00 | KHAN CONTRACTOR
119.00 | Supply & installation of 70 watt LED street light pressure di cast housing ,toughened glass and individual LEDs with IP protection -66. Protection 60 W LED, make: Bajaj/ Philiphs/Cromption including cost of G.I. bracket of suitable size (for mounting on wall) and MS clamps & Anchor fastners. Complete in all respect. | 8.00 | Nos. | 0.00 | 6500.00 | 52000.00 | 6186.00 | 49488.00 | 49488.00 | KHAN CONTRACTOR
120.00 | Excavation of th cable trench size 500 mm Deep x 300 mm wide in all type of soil for laying of supply cable. | 30.00 | CuM | 0.00 | 400.00 | 12000.00 | 586.00 | 17580.00 | 12000.00 | M/S MADHUSUDAN ENGINEERING CO.
121.00 | Supply & installation of river bed sand in cable trench 75mm below cable and 75mm above cable. | 5.00 | CuM | 0.00 | 2000.00 | 10000.00 | 1786.00 | 8930.00 | 8930.00 | KHAN CONTRACTOR
122.00 | Supply & installation of bricks on cable in cross wise form. | 500.00 | Nos. | 0.00 | 8.00 | 4000.00 | 6.86 | 3430.00 | 3430.00 | KHAN CONTRACTOR
123.00 | Glanding termination & connections of Aluminum Armourd cables supply of gland & Aluminum Lugs are in the scope of contractor.
123.10 | For 4 core x16mm² Aluminium Armourd cable. | 2.00 | No | 0.00 | 180.00 | 360.00 | 97.50 | 195.00 | 195.00 | KHAN CONTRACTOR
| Total in Figures |  |  |  |  | 40962899.00 |  | 41606786.00
Lowest Amount Quoted BY: M/S MADHUSUDAN ENGINEERING CO.(40962899.00)

## BOQ Summary
BOQ Summary Details Tender Title: Excellence training center Tender ID: 2024_NPCIL_197091_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S MADHUSUDAN ENGINEERING CO. (BID ID -712955) | 40962899.00 | L1
| 2 | KHAN CONTRACTOR (BID ID -712551) | 41606786.00 | L2