## BoQ1
Government eProcurement System Created By: Basanagouda Naganuri Created Date/Time: 29-Jul-2024 10:31 AM Tender Title: Miscellaneous Civil Maintenance and Repair works Tender ID: 2024_NPCIL_197154_1
Tender Inviting Authority: Maintenance Superintendent, KGS - 1&2, Kaiga Site.
Name of Work: Miscellaneous Civil Maintenance and Repair works at KGS Unit-1&2, Kaiga.
Contract No: NPCIL/KGS/CTC/C&SM-1&2/CPPP/2024/035
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MURUGAN KANNAPPA(GSTN-NA)--713559
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork Excavation in all Sorts of Soil for foundation trenches, walls, drains, plinths, footings, pedestals, columns and for all other miscellaneous foundation works etc., including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. Shoring, strutting, bailing out water [if necessary], dressing, leveling & hand ramming he bottom of foundation base using wooden hand rammer with proper watering, refilling the sides of the foundation with excavated available good quality of Soil, leveling & hand ramming the sides of foundation base using wooden hand rammer with proper watering, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the waste soil or surplus soil, generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 420.00 | CuM | 503.60 | 500.00 | 210000.00 | 210000.00 | MURUGAN KANNAPPA
2.00 | Providing and laying 150 mm thick Stone Soling below floor & foundations bed etc. using hard, durable & approved quality stones, rubbles, filling interstices using small size stones, stone chips, murum & watering [to fill up all gaps] etc. including preparation of base properly, levelling, dressing & hand ramming, providing; fixing & removing necessary staging / platform / scaffolding, collecting & disposing the generated waste, costruction waste up to a lead of 2000 to 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 65.00 | CuM | 2896.00 | 3500.00 | 227500.00 | 227500.00 | MURUGAN KANNAPPA
3.00 | Providing and laying PCC 1:3:6 using 40 mm & downsize, clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, plinth works including preparation of base by close hacking / chipping the old surface, racking out the joints & cleaning, mixing, transporting, laying, spreading, consolidation, levelling, finishing, curing, providing; fixing & removing necessary formwork, providing, fixing & removing staging / platform / scaffoldiong, collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 160.00 | CuM | 7830.00 | 8500.00 | 1360000.00 | 1360000.00 | MURUGAN KANNAPPA
4.00 | Providing and laying PCC 1:2:4 using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality for RCC works including mixing, transporting, laying, spreading, consolidation, levelling, finishing, curing and cleaning the work area, collecting and disposing the generated waste & all unwanted materials upto lead of 2000 - 3000 meters from place of work etc., complete all as per specification and as directed by engineer-in-charge at all locations. | 55.00 | CuM | 9355.00 | 9800.00 | 539000.00 | 539000.00 | MURUGAN KANNAPPA
5.00 | Providing and laying RCC, 1:1.5:3, using 20 mm & downsize, clean, crushed, well graded of hard, durable and approved quality for RCC works including mixing [volumetric / as directed by engineer-in-charge] including preparation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spreading, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights.Note: OPC 43 grade Cement of reputed brand & brand as selected by EIC shall be used. | 55.00 | CuM | 9648.00 | 11000.00 | 605000.00 | 605000.00 | MURUGAN KANNAPPA
6.00 | Providing and laying reputed make [make as selected by engineer-in-charge] high yeild strength deformed Reinforcement Bars of all diameters confirming to grade D-500 of IS:1786 [latest edition] including preperation of base, cutting, bending, transporting, placing in position & providing & tying using binding wire of suitable guage [soft annealed binding wire] for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly] ,providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights. | 7.30 | MT | 102998.00 | 114000.00 | 832200.00 | 832200.00 | MURUGAN KANNAPPA
7.00 | Providing, placing and removing formwork for all in-situ concrete works including providing, fixing & removing centering, shuttering, supports, brackets, clips, preparation of surface etc, providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights. Note: The measurement shall be made for the form work in contact with concrete surface. | 300.00 | SqM | 356.00 | 436.00 | 130800.00 | 130800.00 | MURUGAN KANNAPPA
8.00 | Providing & Constructing Masonry with approved C. C. Solid Blocks of size 400 X 200 X 200 mm / 300 X 200 X 200 mm, having crushing strength not less than 45 Kgs/cm2 and confirming to the BIS 2185 part-I of the latest edition, in CM 1:5 for foundations, trenches, walls, drains, plinths and all other miscellaneous masonry works etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 3000 to 4000 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 65.00 | CuM | 6688.00 | 8000.00 | 520000.00 | 520000.00 | MURUGAN KANNAPPA
9.00 | Providing & Constructing Burnt Brick Masonry, of 230 mm thick, in CM 1:5 using well Burnt Bricks of standard size & shape for up to plinth level & Super Structure, plinth and all other Miscellaneous Masonry Works including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the general waste up to a lead of 3 Kms. From the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 17.00 | CuM | 8343.00 | 8800.00 | 149600.00 | 149600.00 | MURUGAN KANNAPPA
10.00 | Providing and laying Cement Plaster, 15 mm thick for internal surfaces of walls and columns in CM 1:5, rubbed perfectly so as to obtain smooth and even finish including preparation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 310.00 | SqM | 412.00 | 500.00 | 155000.00 | 155000.00 | MURUGAN KANNAPPA
11.00 | Providing , fabricating and erecting Mild Steel Structural items of various thickness & sizes such as channels, angles, I sections, MS pipes, GI Pipes; flats, plates, MS & Reinf. rods, and other approved sections etc. & transporting to the work place, including loading, unloading, cutting, fabricating the MS gates, MS grills, ladders, hand rails, angle frames, panels, struts, tubular space frames, columns, beams, purloins, rafters, fencing posts, EP Plates, EP Flats & all other required miscellaneous structural steel works and fixing / erecting the same in position as directed. including providing & fixing wherever required suitable anchor Fasteners, of approved quality, providing, fixing and removing necessary scaffolding, staging, platform wherever required , surface preparation , providing & painting One coat of approved Primer and two coats synthetic enamel paint of approved make , shade / colour. disposing the debris up to a lead of 2 to 3 km out side the periphery of the work premises etc., complete all as per specification, and as directed by the Engineer -in-charge at all lifts / heights & at all locations. | 14.00 | MT | 116499.00 | 126000.00 | 1764000.00 | 1764000.00 | MURUGAN KANNAPPA
12.00 | Providing and laying 40 mm. thick Indian Patent Stone Flooring with cement concrete 1:2:4 using 10 / 12 mm. & down size, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles including machine mixing, transporting, laying, spreading, compaction, laying in bays to proper line; slope or level etc. using 6 mm. thick plane glass dividing strips for flooring, steps, landings & ramps including smooth finish ,providing; fixing & removing necessary staging / platform,colleting & stacking the generated waste / dead debris up to a lead of 100 meters from the place of work etc. complete all as per specifications and as directed by engineer-in-charge at all locations & all lifts / heights. | 585.00 | SqM | 548.00 | 600.00 | 351000.00 | 351000.00 | MURUGAN KANNAPPA
13.00 | Providing, fixing / placing in position Rotary Press; Heavy Duty; Anti skid; 5Star; Short Blasted Paver Blocks of 65 mm thick [of standard size & colour as selected by EIC) of standard make & of superior 1st quality. Paver blocks shall be manufactured as per IS 15658-2006, including 50 mm. thick River Sand / M sand bedding below paver block including preparation of base by proper dressing / leveling and ramming [using Plate Vibrator to have uniform surface and to get the required line & level / gradient, camber] the base with proper watering, the gaps shall be filled with fine sand, ramming top surface of pavers using Plate Vibrator to have uniform surface and to get the required line & level / gradient, camber, collecting & disposing the generated waste, up to a lead of 2 to 3Kmtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts. | 300.00 | SqM | 961.00 | 1100.00 | 330000.00 | 330000.00 | MURUGAN KANNAPPA
14.00 | Providing and Mixing of Wet maccadam using supplied/stacked material with mechanical mixtiure as per specification, laying,spreading and compacting graded stone aggregate (size range 40 mm to 0.075 mm ) including premixing the material with water at OMC for all leads & lifts, laying in uniform layers with manual/ mechanical in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne or with suitable vibtatry method to achievethe desired density,complete as per specifications and directions of Engineer-in-Charge.Note: Net quantity of measurement will be considered | 65.00 | CuM | 2785.00 | 3200.00 | 208000.00 | 208000.00 | MURUGAN KANNAPPA
15.00 | Providing and fixing Powder Coated [of approved shade / colour] Aluminium frames and shutters for Windows & Ventilators, partitions & other miscellaneous works with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285, fixed with rawl plugs and screws, clips, including cleat angle, aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. Note: Glazing shall be paid separately under relevant item. | 1000.00 | Kg | 593.00 | 700.00 | 700000.00 | 700000.00 | MURUGAN KANNAPPA
16.00 | Providing and fixing 4 mm thick [minimum] Clear Glass for Windows, Door & Ventilator Shutters and Partitions etc. with nylon clear beading, Glass shall be of approved make and free from all defects including prepartation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the construction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations and at all lift & height. | 14.00 | SqM | 818.00 | 980.00 | 13720.00 | 13720.00 | MURUGAN KANNAPPA
17.00 | Providing and laying/fixing Suspended False ceiling using Gyp Boards[of approved first quality & of approved make such as of India Gypsum] with GI Grid Work made using Perimeter channels [MF 6A], Ceiling Sections [MF5 : placing at 457 mm. (Maximum) C/C] , Intermediate channels [MF7: placing @ 1220 mm. (Maximum) C/C], Ceiling angles 25 x 25 mm. Size, placing @ 1220 mm. (Maximum) C/C], Screws, soffit cleefts, nuts & bolts, connecting clips, Gyp board Dry wall screws, Jointing compound, Tape and all other required miscellaneous materials & consumable [of approved first quality & of approved make, such as of India Gypsum] etc.,. [all materials shall be confirming to the relevant BIS specification of the latest edition], Providing & applying One coat of Interior grade primer [Of approved quality & make] and Two coats of plastic emulsion paint of approved shade /colour [of approved quality & make], providing; fixing & removing necessary staging/platform wherever as and when directed/required, colleting & stacking the generated waste / dead debris up to a lead of 100 meters from the place of work etc. complete all as per specifications and as directed by engineer-in-charge at all locations & all lifts / heights. | 50.00 | SqM | 1087.00 | 1300.00 | 65000.00 | 65000.00 | MURUGAN KANNAPPA
18.00 | Providing, transporting and Filling brick bat minimum size of 50 to 75mm to soak pit, including disposing the balance material & waste upto 2 Km all as per direction of Engineer-In-Charge etc. | 4.00 | CuM | 2666.00 | 3000.00 | 12000.00 | 12000.00 | MURUGAN KANNAPPA
19.00 | Providing and laying / fixing CPVC Pipes ( SDR 11) with its all required plain & brass threaded fittings ( Such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings [BIS 2065 of the latest edition] of Ashirvad / Finolex / Supreme make inclunding concealing in the wall ( Makinf groove of 75 mm deep in wall with suitavle width and finishing same with PCC 1:2: 4 - Using 6 mm downsize aggregate & plastering in cm 1:5) with suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all material like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water ( As per specification) and ensuring smooth functioning, providing , fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations and at all lift & height.
19.10 | 20 mm dia | 20.00 | RM | 567.00 | 650.00 | 13000.00 | 13000.00 | MURUGAN KANNAPPA
19.20 | 25 mm dia | 50.00 | RM | 472.00 | 560.00 | 28000.00 | 28000.00 | MURUGAN KANNAPPA
19.30 | 32 mm dia | 100.00 | RM | 636.00 | 750.00 | 75000.00 | 75000.00 | MURUGAN KANNAPPA
20.00 | Providing and fixing NP2 Class Precast RCC Septic Tank of size 2.50 meter long & 1.20 meter dia. Including necessary excavation [Size of pit shall be 3.50 meter (L) X 2.2 meter (W) X 1.30 meter (D)] of pit [for placing RCC Septic Tank] in Hard soil; loading; carriage; unloading; lowering [without damaging the RCC Septic Tank] in the pit; alighining [to true line & level / slope etc.]; finishing; ensuring smooth functioning & back filling the sides [as directed] etc., cleaning the work area & disposing the debris / unwanted materials as directed up to a lead of 500 meters outside the periphery of the work premises etc., complete all as per specification, as per manufacturer's specification and as directed by the Engineer-in-charge at all locations and at all lifts. | 1.00 | Nos | 34676.00 | 40000.00 | 40000.00 | 40000.00 | MURUGAN KANNAPPA
21.00 | Providing & laying / fixing SWR, Type A, PVC Pipes of 6" dia (160mm) with- for laying below ground with its all required fittings [such as collars, elbows,tees, unions, coupling, reducers, enlargers, bends nipples and all other fittings required for completing th job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition) for flow of water & waste with water from kitchen, bath, wash basin,urinals & tiolets, SWR PVC pipes & fittings shall be of superior 1st quality, of Truflo/ Ashirwad / Astral make and conforming to relevant BIS specification of latest edition including jointing the pipes & fittings using CPVC solvent and ensuring smooth functioning , preparation of base, providing; fixing & removing necessary staging/ platform, collecting & disposing the generated waste up to a alead of 3000 meters from the place of work & cleaning the work area, etc complete all as per standard & manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 60.00 | RM | 925.00 | 1100.00 | 66000.00 | 66000.00 | MURUGAN KANNAPPA
22.00 | Filling the selected & good quality soil brought from 2 to 3 Kms filling in below plinth level to the required gradient, watering properly and compacting the each layer by using portable hand compactor, collecting & disposing the generated waste-up to a lead of 2 to 3Kms from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing (if any) and as directed by Engineer-in- charge at all location and at all lift/height | 170.00 | Cum | 443.00 | 500.00 | 85000.00 | 85000.00 | MURUGAN KANNAPPA
23.00 | Providing & laying 300mm dia NP 2 Class RCC Hume Pipes , levelling, aligning to the true line / level / as directed, jointing the Pipes in CM 1:2 with jute, curing the joints properly , preparation of base [before laying pipes, Pipes shall be free from the craks & damage , cleaning the work area & disposing the debris / unwanted materials up to a lead of 100 meters outside the periphery of the work premises etc. complete all as per specifications, as per manufacturers specification and as directed by the engineer-in-charge at all locations & at all lifts. | 90.00 | RM | 1736.00 | 2000.00 | 180000.00 | 180000.00 | MURUGAN KANNAPPA
24.00 | Providing & filling Chemical Grout for embedding reinforcement steel using Fischer chemical FIS EM 390S or equivalent material at all locations as per direction of EIC | 3000.00 | ml | 7.00 | 8.00 | 24000.00 | 24000.00 | MURUGAN KANNAPPA
25.00 | Providing, supplying & erecting Readymade portable tiolet/ Urinals made out of FRP, built type modular, of Size 4 feet length, 4 feet width & 8 feet height including fixing necessary urinals/IWC, Aluminium door fittings such as three heavy duty hinges, one aldrops, two minimum 5 inches handles, two tower bolts etc...all as per direction of EIC | 3.00 | Nos | 52675.00 | 63000.00 | 189000.00 | 189000.00 | MURUGAN KANNAPPA
26.00 | Providing, supplying & erecting Readymade portable security cabin made out of FRP, built type modular, of Size 4 feet length, 4 feet width & 8 feet height including fixing necessary urinals/IWC, Aluminium door fittings such as three heavy duty hinges, one aldrops, two minimum 5 inches handles, two tower bolts etc...all as per direction of EIC | 1.00 | Nos | 134268.00 | 158000.00 | 158000.00 | 158000.00 | MURUGAN KANNAPPA
27.00 | Providing and fixing 2 mm thick, PVC flooring of Tusker brand from M/S Krishna Vinyls or Royal House brand confirming to relavent BIS specification of latest edition, of approved shades and pattern with necessary adhesive of approved quality, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 150.00 | SqM | 730.00 | 850.00 | 127500.00 | 127500.00 | MURUGAN KANNAPPA
28.00 | Dismantling / breaking / removing of PCC/ BB Masonary by Manual or Mechanical means including collecting & stacking neately; all serviceable materials [such as stone aggregates - if any] in Civil sectional sectional store, preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 18.00 | Cum | 973.00 | 1000.00 | 18000.00 | 18000.00 | MURUGAN KANNAPPA
29.00 | Providing & Constructing R. R. Masonry using Stone Boulders, Stone chips, through / bond Stones [as per standard techncal specification, through / bond Stones shall be be used in RR masonry work], in CM 1:6 for retaining wall , foundation, repair, modification, altretion & rectification & plinth and other miscellaneous RR masonry works Including simultaneous flush pointing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, curing, collecting & disposing the generated waste & costruction waste etc. up to a lead of 2000 to 3000 meters from the place of work etc. complete all as per standard technical specifications and as directed by engineer-in-charge at all locations & all lifts. | 35.00 | Cum | 7140.00 | 8000.00 | 280000.00 | 280000.00 | MURUGAN KANNAPPA
30.00 | Removing / dismantling / detaching the rusted MS Steel members of structures (s), by cutting, grinding and using other tools including [using miscellaneous things], depositing the same in Civil Sectional Store, providing, fixing, removing necessary stagging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 2.00 | MT | 8208.00 | 10000.00 | 20000.00 | 20000.00 | MURUGAN KANNAPPA
31.00 | Providing and laying 230mm thick Rough Dry Stone Pitching for side slope of drains, road embankment sides / other back filled area using hard; durable & approved quality stones / rubbles including preparation of base by leveling; dressing to the required slope & hand ramming using hand rammer with proper watering, providing, filling & packing small stones & chips in the gaps properly, providing & laying pointing in CM 1:4, curing, collecting & disposing the generated waste & costruction waste etc. up to a lead of 2000 to 3000 meters from the place of work etc. complete all as per standard technical specifications and as directed by engineer-in-charge at all locations & all lifts. | 35.00 | SqM | 986.00 | 1000.00 | 35000.00 | 35000.00 | MURUGAN KANNAPPA
32.00 | Providing and Filling good quality river sand/ M-Sand free from debries arround UPVC pipe to the required thickness,line & level as per direction of Engineer-In-Charge etc. | 60.00 | CuM | 2791.00 | 3200.00 | 192000.00 | 192000.00 | MURUGAN KANNAPPA
33.00 | Providing and fixing in position best quality Bib cock of Jaquar code: PRS-CHR-043 or equivalent makee including all necessary fixtures etc., complete as directed by Engineer-in-charge. Note: For Type ,Size,Shape and Pattern Jaquar code: PRS-CHR-043 is to be referred. | 15.00 | Each | 2688.00 | 3000.00 | 45000.00 | 45000.00 | MURUGAN KANNAPPA
34.00 | Providing and fixing in position best quality Pillar cock of Jaquar code: PRS-CHR-031 or equivalent makee including all necessary fixtures etc., complete as directed by Engineer-in-charge. Note: For Type ,Size,Shape and Pattern Jaquar code: PRS-CHR-031 is to be referred. | 10.00 | Nos | 2634.00 | 3000.00 | 30000.00 | 30000.00 | MURUGAN KANNAPPA
35.00 | Engaging JCB for removal & disposal of road side collapsed soil / earth; stone boulders; wooden logs; dried trees & other unwanted materials / things which are making obstruction for free movement of men & vehicles etc., cleaning of existing drains for free flow of rain water, formation of new drains for free flow of rain water and other miscellaneous works etc, including hire charges of JCB; operator wages; JCB maintenance charges; cost of diesel & lubricants and tool & tackles etc, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 100.00 | Hour | 1142.00 | 1300.00 | 130000.00 | 130000.00 | MURUGAN KANNAPPA
36.00 | Providing,Transporting and Stacking of good quality forest top soil/earth or loamy soil or garden earth (soil/earth should be free from roots, leaves, dust, dirt, stones, stone pebbles & other unwanted matters) including breaking of clods, loading, carriage, unloading, stacking at places wherever & as directed, complete all as directed by Engineer-In-Charge. Note: 1)Borrow pits shall be arranged by the contractor at his/their own cost & risk. 2) Measurement will be based on the truck/tractor volume supplied. | 250.00 | CuM | 385.00 | 460.00 | 115000.00 | 115000.00 | MURUGAN KANNAPPA
37.00 | Providing & installation at all floors, height,levels & locations of Aluminium Composite panel (ACP) Cladding over aluminium tube frame structure including fixing of sheets and filling of joints with structural silicon to acquire a smooth ripple free finish without any undulations. The composite panel sheet shall be a double layer aluminium panel consisting of a anti-toxic polythene layer core compressed between the aluminium layers. One side of the panel shall be a fluorocarbon paint finish in silver colour (as approved) with resistance to fading on exposure in exterior conditions & with a protective film on top to be removed after total completion of cladding. the sheet shall be 3mm thick of total flatness with no distortion or deflection. the sheets shall be corrossion resistant and not be affected by varying temperature variations and should resist thermal expansion. The sheets shall be fixed over aluminium framing system of tubing od size 1" X 1.5" evenly spaced at maximum 2'c/c to provide complete support to the sheets. The sheets shall be fixed to the framing system with double sided tape and duly anchored with maximum no. of screws all groves and finished edges. | 35.00 | SqM | 4331.00 | 5000.00 | 175000.00 | 175000.00 | MURUGAN KANNAPPA
38.00 | Providing and fixing 20 micron thick Sun Control Film of GARWARE or equivalent make, of approved quality, of approved colour/shade & confirming the relevant BIS specification of latest edition including cutting to the required size & shape, fixing the same to the glass panel, also including providing & applying adhesive of approved quality & make, surface preparation properly by cleaning & washing the surface (base) with clean water for removal of oil, grease, dead mortar & other unwanted matters/materials, surface(base) shall be fully neat, clean & dry before fixing sun control film, providing, fixing & removing necessary staging/platform, wherever as & when directed/ required additional lead & lift for carriage of construction/work materials upto the work spot(s)/place(s), cleaning the work area & disposing the debris/unwanted materials upto a lead of 1500 mtrs. outside the periphery of work premises etc. complete all as per specificaiton, as per manufacturer's technical specification and as directed by Engineer-in-Charge at all locations and at all lifts/at all heights. | 110.00 | SqM | 629.00 | 750.00 | 82500.00 | 82500.00 | MURUGAN KANNAPPA
39.00 | Providing painting of wall posters/sceneries over canvas 4' width X 3' depth using enamel/Acrylic paint as per drawing approved by EIC including making canvas frame from using canvas and 20X12mm thick soft wooden , enamel/acrylic paint etc complete. Design & drawing shall be approved by EIC before taking up final paints. | 4.00 | Each | 31713.00 | 38000.00 | 152000.00 | 152000.00 | MURUGAN KANNAPPA
| Total in Figures |  |  |  |  | 10432820.00
Lowest Amount Quoted BY: MURUGAN KANNAPPA(10432820.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Maintenance and Repair works Tender ID: 2024_NPCIL_197154_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MURUGAN KANNAPPA | 10432820.00 | L1