## BoQ1
Government eProcurement System Created By: RAM MURAT RAM Created Date/Time: 26-Aug-2024 12:12 PM Tender Title: ET-1518 Tender ID: 2024_NPCIL_198459_1
Tender Inviting Authority:
Name of Work: Supply, Fabrication & Erection of piping and equipment of Ventilation & Active Waste Management system at OESC building of KAPS Site.
Contract No: KAPS/CMM-W/3-4/MMU/2024/ET/1518
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SPECTRON ENGINEERS PRIVATE LIMITED (GSTN-27AABCS6119G1ZF) BID ID -710600 |  | ULTRA TECH ENGINEERS (GSTN-08AABFU5279L2ZK) BID ID -712321 |  | Hardware Tools and Machinery Projects Pvt. Ltd. (GSTN-24AABCH6351H1ZS) BID ID -715419 |  | ANNU INSULATION & ENGG. COMPANY(GSTN-NA)--716600 |  | TOMAR HI-TECH INFRASTRUCTURE(GSTN-NA)--716424 |  | Om Engineering Enterprises(GSTN-NA)--716535
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of MS/CS structural steel like ISMC, ISMB, ISA, Chequered plate, MS plate, MS flat, Round bar etc. as per the detail scope of work in Section-V. | 35.00 | MT |  | 85500.00 | 2992500.00 | 85000.00 | 2975000.00 | 108000.00 | 3780000.00 | 80000.00 | 2800000.00 | 85100.00 | 2978500.00 | 88999.00 | 3114965.00 | 2800000.00 | ANNU INSULATION & ENGG. COMPANY
2.00 | Shifting, Fabrication, Erection and painting of structural steel viz. pipe/duct/filter/O2 cylinder supports, etc. as per the detail scope of work in Section-V. | 35.00 | MT |  | 73700.00 | 2579500.00 | 70000.00 | 2450000.00 | 57240.00 | 2003400.00 | 53000.00 | 1855000.00 | 80100.00 | 2803500.00 | 65750.00 | 2301250.00 | 1855000.00 | ANNU INSULATION & ENGG. COMPANY
3.00 | Shifting & Erection of Pipes and pipe fittings, valves/dampers including its cleaning as per the detailed scope of work in Section-V. | 19000.00 | Inch metre |  | 220.00 | 4180000.00 | 195.00 | 3705000.00 | 477.00 | 9063000.00 | 230.00 | 4370000.00 | 200.00 | 3800000.00 | 195.00 | 3705000.00 | 3705000.00 | ULTRA TECH ENGINEERS, Om Engineering Enterprises
4.00 | Welding of Pipe, Pipe fittings, Valves, Equipment / Components, Material: CS to CS, End connection: SW / FW, Welding process: SMAW as per the detail scope of work in Section-V. | 3500.00 | Inch dia |  | 660.00 | 2310000.00 | 700.00 | 2450000.00 | 900.00 | 3150000.00 | 710.00 | 2485000.00 | 740.00 | 2590000.00 | 750.00 | 2625000.00 | 2310000.00 | SPECTRON ENGINEERS PRIVATE LIMITED
5.00 | Welding of Pipe, Pipe fittings, Valves, Equipments / Components, Material: CS to CS, End connection: BW / NW, Welding process: SMAW as per the detail scope of work in Section-V. | 7800.00 | Inch dia |  | 825.00 | 6435000.00 | 920.00 | 7176000.00 | 1017.00 | 7932600.00 | 920.00 | 7176000.00 | 802.00 | 6255600.00 | 1050.00 | 8190000.00 | 6255600.00 | TOMAR HI-TECH INFRASTRUCTURE
6.00 | Welding of Pipe, Pipe fittings, Valves, Equipment / Components, Material: CS to SS, CS to Alloy steel, SS to SS, SS to Alloy steel, Alloy steel to Alloy steel, End connection: SW / FW, Welding process: SMAW as per the detail scope of work in Section-V. | 550.00 | Inch dia |  | 780.00 | 429000.00 | 900.00 | 495000.00 | 1116.00 | 613800.00 | 800.00 | 440000.00 | 821.00 | 451550.00 | 850.00 | 467500.00 | 429000.00 | SPECTRON ENGINEERS PRIVATE LIMITED
7.00 | Welding of Pipe, Pipe fittings, Valves, Equipment / Components, Material: CS to SS, CS to Alloy steel, SS to SS, SS to Alloy steel, Alloy steel to Alloy steel, End connection: BW / NW, Welding process: GTAW for root and GTAW / SMAW for subsequent passes as per the detail scope of work in Section-V. | 1300.00 | Inch dia |  | 960.00 | 1248000.00 | 1100.00 | 1430000.00 | 1224.00 | 1591200.00 | 980.00 | 1274000.00 | 840.00 | 1092000.00 | 1450.00 | 1885000.00 | 1092000.00 | TOMAR HI-TECH INFRASTRUCTURE
8.00 | Dye Penetrant Test of weld joints as per the detail scope of work in Section-V. | 5000.00 | Inch dia |  | 105.00 | 525000.00 | 90.00 | 450000.00 | 1350.00 | 6750000.00 | 80.00 | 400000.00 | 150.00 | 750000.00 | 110.00 | 550000.00 | 400000.00 | ANNU INSULATION & ENGG. COMPANY
9.00 | Erection of scaffolding/staging along with work platform for erection of pipeline/duct and duct support as per drawing. Details of scope of work is mentioned in section-V. | 2000.00 | CuM |  | 460.00 | 920000.00 | 405.00 | 810000.00 | 306.00 | 612000.00 | 440.00 | 880000.00 | 260.00 | 520000.00 | 375.00 | 750000.00 | 520000.00 | TOMAR HI-TECH INFRASTRUCTURE
10.00 | Shifting and installation of combined HEPA charcoal filter as per drawing | 4.00 | Nos |  | 8340.00 | 33360.00 | 11000.00 | 44000.00 | 9360.00 | 37440.00 | 8000.00 | 32000.00 | 10500.00 | 42000.00 | 5500.00 | 22000.00 | 22000.00 | Om Engineering Enterprises
11.00 | Shifting and installation of grilles od different sizes in the duct collar as per drawing | 164.00 | Nos |  | 470.00 | 77080.00 | 500.00 | 82000.00 | 7101.00 | 1164564.00 | 450.00 | 73800.00 | 550.00 | 90200.00 | 2500.00 | 410000.00 | 73800.00 | ANNU INSULATION & ENGG. COMPANY
12.00 | Shifting of centrifugal fans to designated area and its erection as per drawing | 2.00 | Nos |  | 16350.00 | 32700.00 | 22500.00 | 45000.00 | 31230.00 | 62460.00 | 17000.00 | 34000.00 | 15100.00 | 30200.00 | 52000.00 | 104000.00 | 30200.00 | TOMAR HI-TECH INFRASTRUCTURE
13.00 | Shifting and installation of Oxygen cylinder in designated area as per drawing | 160.00 | Nos |  | 465.00 | 74400.00 | 425.00 | 68000.00 | 4680.00 | 748800.00 | 440.00 | 70400.00 | 400.00 | 64000.00 | 1950.00 | 312000.00 | 64000.00 | TOMAR HI-TECH INFRASTRUCTURE
14.00 | Shifting, Fabrication, Erection and painting of structural steel viz. CS collar from CS plate of 3 mm thickness as per drawing and welding it to CS duct, End connection: SW / FW, Welding process: SMAW as per the detail scope of work in Section-V. | 550.00 | RM |  | 2085.00 | 1146750.00 | 1950.00 | 1072500.00 | 468.00 | 257400.00 | 2006.00 | 1103300.00 | 2020.00 | 1111000.00 | 1025.00 | 563750.00 | 257400.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
15.00 | Supply and erection of galvanised full threaded rod of 22 mm dia with its nut assembly and coupler that is to be used for providing hanger type support for ducts and pipes. | 269.00 | Kg |  | 195.00 | 52455.00 | 230.00 | 61870.00 | 180.00 | 48420.00 | 150.00 | 40350.00 | 210.00 | 56490.00 | 350.00 | 94150.00 | 40350.00 | ANNU INSULATION & ENGG. COMPANY
16.00 | Supply of fasteners, nuts and washers of 8.8 grade in different sizes as per requirement/drawing. | 75.00 | Kg |  | 260.00 | 19500.00 | 250.00 | 18750.00 | 180.00 | 13500.00 | 170.00 | 12750.00 | 300.00 | 22500.00 | 550.00 | 41250.00 | 12750.00 | ANNU INSULATION & ENGG. COMPANY
17.00 | Supply of U-bolt support with nut assembly for pipeline of different sizes and its installation as per drawing
17.10 | For pipepline size of 15 NB | 24.00 | Nos |  | 270.00 | 6480.00 | 220.00 | 5280.00 | 36.00 | 864.00 | 250.00 | 6000.00 | 300.00 | 7200.00 | 27.00 | 648.00 | 648.00 | Om Engineering Enterprises
17.20 | For pipeline size of 25 NB | 20.00 | Nos |  | 280.00 | 5600.00 | 240.00 | 4800.00 | 45.00 | 900.00 | 250.00 | 5000.00 | 310.00 | 6200.00 | 38.00 | 760.00 | 760.00 | Om Engineering Enterprises
17.30 | For pipeline size of 50 NB | 160.00 | Nos |  | 320.00 | 51200.00 | 300.00 | 48000.00 | 72.00 | 11520.00 | 290.00 | 46400.00 | 360.00 | 57600.00 | 55.00 | 8800.00 | 8800.00 | Om Engineering Enterprises
17.40 | For pipeline size of 100 NB | 120.00 | Nos |  | 565.00 | 67800.00 | 550.00 | 66000.00 | 108.00 | 12960.00 | 500.00 | 60000.00 | 625.00 | 75000.00 | 195.00 | 23400.00 | 12960.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
17.50 | For pipeline size of 150 NB | 63.00 | Nos |  | 680.00 | 42840.00 | 700.00 | 44100.00 | 144.00 | 9072.00 | 620.00 | 39060.00 | 780.00 | 49140.00 | 295.00 | 18585.00 | 9072.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
17.60 | For pipeline size of 200 NB | 35.00 | Nos |  | 710.00 | 24850.00 | 750.00 | 26250.00 | 180.00 | 6300.00 | 650.00 | 22750.00 | 800.00 | 28000.00 | 355.00 | 12425.00 | 6300.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
17.70 | For pipeline size of 300 NB | 50.00 | Nos |  | 1600.00 | 80000.00 | 1700.00 | 85000.00 | 468.00 | 23400.00 | 1500.00 | 75000.00 | 1820.00 | 91000.00 | 758.00 | 37900.00 | 23400.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
17.80 | For pipeline size of 400 NB | 75.00 | Nos |  | 2130.00 | 159750.00 | 2350.00 | 176250.00 | 936.00 | 70200.00 | 2000.00 | 150000.00 | 2610.00 | 195750.00 | 1180.00 | 88500.00 | 70200.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
17.90 | For pipeline size of 550 NB | 23.00 | Nos |  | 2780.00 | 63940.00 | 3100.00 | 71300.00 | 1872.00 | 43056.00 | 2800.00 | 64400.00 | 3190.00 | 73370.00 | 1550.00 | 35650.00 | 35650.00 | Om Engineering Enterprises
18.00 | Supply of standard SR elbows of 50mm NB of SS 304L. | 6.00 | Nos |  | 805.00 | 4830.00 | 1200.00 | 7200.00 | 972.00 | 5832.00 | 1000.00 | 6000.00 | 1550.00 | 9300.00 | 950.00 | 5700.00 | 4830.00 | SPECTRON ENGINEERS PRIVATE LIMITED
19.00 | Supply and erection of 14 Gauge galvanised wire mesh for bird screen protection to cover open duct ends as per the detail scope of work in Section-V. | 25.00 | SqM |  | 1310.00 | 32750.00 | 1800.00 | 45000.00 | 468.00 | 11700.00 | 1400.00 | 35000.00 | 1410.00 | 35250.00 | 2500.00 | 62500.00 | 11700.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
20.00 | Supply and installation of In-situ prepared EPDM gasket- (Durameter Hardness Shore-A 65 +/- 5) 3 mm THK. as per the detail scope of work in Section-V. | 30.00 | SqM |  | 4865.00 | 145950.00 | 4250.00 | 127500.00 | 3600.00 | 108000.00 | 3500.00 | 105000.00 | 3880.00 | 116400.00 | 2500.00 | 75000.00 | 75000.00 | Om Engineering Enterprises
21.00 | Installation of post concrete Anchor Fasteners of different sizes.
21.10 | Anchor Fasteners of Size HSL M12 or equivalent. | 50.00 | Nos |  | 660.00 | 33000.00 | 650.00 | 32500.00 | 936.00 | 46800.00 | 400.00 | 20000.00 | 310.00 | 15500.00 | 550.00 | 27500.00 | 15500.00 | TOMAR HI-TECH INFRASTRUCTURE
21.20 | Anchor Fasteners of Size HSL M16 or equivalent. | 400.00 | Nos |  | 1000.00 | 400000.00 | 1000.00 | 400000.00 | 1242.00 | 496800.00 | 800.00 | 320000.00 | 400.00 | 160000.00 | 750.00 | 300000.00 | 160000.00 | TOMAR HI-TECH INFRASTRUCTURE
22.00 | Shifting & erection of ultrasomic decontamination chamber with filteration equipments related piping & structure as per Section-V | 1.00 | Nos |  | 36150.00 | 36150.00 | 50000.00 | 50000.00 | 78300.00 | 78300.00 | 35000.00 | 35000.00 | 35100.00 | 35100.00 | 125000.00 | 125000.00 | 35000.00 | ANNU INSULATION & ENGG. COMPANY
23.00 | Shifting & erection of Laundry equipments inside OESC building as per Section-V | 2.00 | Nos |  | 26070.00 | 52140.00 | 38500.00 | 77000.00 | 31500.00 | 63000.00 | 25000.00 | 50000.00 | 28200.00 | 56400.00 | 250000.00 | 500000.00 | 50000.00 | ANNU INSULATION & ENGG. COMPANY
24.00 | Shifting & erection of Liquid effluent transfer pump inside OESC building, as per Section-V | 1.00 | Nos |  | 23290.00 | 23290.00 | 26000.00 | 26000.00 | 93600.00 | 93600.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 235000.00 | 235000.00 | 15000.00 | ANNU INSULATION & ENGG. COMPANY
25.00 | Shifting & erection of 01 T manual hoist inside OESC Building, as per Section-V | 1.00 | Nos |  | 27810.00 | 27810.00 | 30000.00 | 30000.00 | 101700.00 | 101700.00 | 26000.00 | 26000.00 | 25500.00 | 25500.00 | 37500.00 | 37500.00 | 25500.00 | TOMAR HI-TECH INFRASTRUCTURE
26.00 | Radiography of weld joints by gamma or X-ray for OESC ventilation and Breathing Air system as per the detail scope of work in Section-V. | 500.00 | Inch dia |  | 1130.00 | 565000.00 | 1000.00 | 500000.00 | 468.00 | 234000.00 | 800.00 | 400000.00 | 1280.00 | 640000.00 | 950.00 | 475000.00 | 234000.00 | Hardware Tools and Machinery Projects Pvt. Ltd.
27.00 | Core drilling using diamond drilling equipment in RCC structures like beams, slabs .columns, walls etc.
27.10 | Upto dia 250 mm | 5.00 | RM |  | 9010.00 | 45050.00 | 11000.00 | 55000.00 | 18000.00 | 90000.00 | 9500.00 | 47500.00 | 10500.00 | 52500.00 | 15000.00 | 75000.00 | 45050.00 | SPECTRON ENGINEERS PRIVATE LIMITED
27.20 | Dia 26 mm to 200 mm | 4.00 | RM |  | 11365.00 | 45460.00 | 15000.00 | 60000.00 | 11700.00 | 46800.00 | 11000.00 | 44000.00 | 11750.00 | 47000.00 | 35500.00 | 142000.00 | 44000.00 | ANNU INSULATION & ENGG. COMPANY
27.30 | Dia 201 mm to 400 mm | 3.00 | RM |  | 32755.00 | 98265.00 | 40000.00 | 120000.00 | 39600.00 | 118800.00 | 30000.00 | 90000.00 | 30500.00 | 91500.00 | 87500.00 | 262500.00 | 90000.00 | ANNU INSULATION & ENGG. COMPANY
27.40 | Dia 401 mm to 800 mm | 2.00 | RM |  | 143000.00 | 286000.00 | 175000.00 | 350000.00 | 116100.00 | 232200.00 | 143000.00 | 286000.00 | 47000.00 | 94000.00 | 100000.00 | 200000.00 | 94000.00 | TOMAR HI-TECH INFRASTRUCTURE
| Total in Figures |  |  |  |  | 25353400.00 |  | 25740300.00 |  | 39734388.00 |  | 24994710.00 |  | 24644250.00 |  | 27885233.00
Lowest Amount Quoted BY: TOMAR HI-TECH INFRASTRUCTURE(24644250.00)

## BOQ Summary
BOQ Summary Details Tender Title: ET-1518 Tender ID: 2024_NPCIL_198459_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TOMAR HI-TECH INFRASTRUCTURE | 24644250.00 | L1
| 2 | ANNU INSULATION & ENGG. COMPANY | 24994710.00 | L2
| 3 | SPECTRON ENGINEERS PRIVATE LIMITED | 25353400.00 | L3
| 4 | ULTRA TECH ENGINEERS | 25740300.00 | L4
| 5 | Om Engineering Enterprises | 27885233.00 | L5
| 6 | Hardware Tools and Machinery Projects Pvt. Ltd. | 39734388.00 | L6