## BoQ1
Government eProcurement System Created By: Sudhir Kumar Created Date/Time: 27-Aug-2024 02:22 PM Tender Title: Construction of Turf Hockey Ground of minimum field category - II as per FIH guidelines at village Baijalpur, Dist. Fatehabad under CSR works. Tender ID: 2024_NPCIL_199734_1
Tender Inviting Authority: Chief Construction Engineer
Name of Work: Construction of Turf Hockey Ground of minimum field category – II as per FIH guidelines at village Baijalpur, Dist. Fatehabad under CSR works.
Contract No: NPCIL/GHAVP/CTC/2024/PT-232
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shiv naresh sports pvt ltd. (GSTN-07AAECS7326L1Z0) BID ID -725773 |  | Gallant Sports and Infra Private Limited(GSTN-NA)--725063 |  | ADVANCED SPORT TECHNOLOGIES LLP(GSTN-NA)--721813 |  | M/s Syncotts International(GSTN-NA)--729513
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CLEARING JUNGLE :- Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 8600.00 | SqM |  | 18.00 | 154800.00 | 10.00 | 86000.00 | 15.00 | 129000.00 | 11.00 | 94600.00 | 86000.00 | Gallant Sports and Infra Private Limited
2.00 | EXCAVATION :- Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means including dressing of sides and ramming of bottoms, including getting out the excavated soil and disposal of surplus excavated soil, in All kinds of soil as directed by Engineer-in-charge. | 750.00 | CuM |  | 191.00 | 143250.00 | 295.00 | 221250.00 | 177.00 | 132750.00 | 183.00 | 137250.00 | 132750.00 | ADVANCED SPORT TECHNOLOGIES LLP
3.00 | BACKFILLING-EXCAVATED EARTH :- Filling available excavated earth (excluding rock) in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, as directed by Engineer-in-charge. | 600.00 | CuM |  | 189.00 | 113400.00 | 180.00 | 108000.00 | 180.00 | 108000.00 | 185.00 | 111000.00 | 108000.00 | ADVANCED SPORT TECHNOLOGIES LLP, Gallant Sports and Infra Private Limited
4.00 | Filling available earth in layers not exceeding 20 cm in depth, breaking clods watering, rolling each layer with ½ tonne roller, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing etc. complete as directed by Engineer-in-charge. | 11000.00 | CuM |  | 180.00 | 1980000.00 | 175.00 | 1925000.00 | 170.00 | 1870000.00 | 167.00 | 1837000.00 | 1837000.00 | M/s Syncotts International
5.00 | Supplying and Stacking at site Good earth brought from out side. | 10850.00 | CuM |  | 406.00 | 4405100.00 | 380.00 | 4123000.00 | 413.00 | 4481050.00 | 580.00 | 6293000.00 | 4123000.00 | Gallant Sports and Infra Private Limited
6.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-25 | 1360.00 | CuM |  | 2513.00 | 3417680.00 | 2750.00 | 3740000.00 | 2260.00 | 3073600.00 | 2307.00 | 3137520.00 | 3073600.00 | ADVANCED SPORT TECHNOLOGIES LLP
7.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base/ base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge | 1360.00 | CuM |  | 2616.00 | 3557760.00 | 2750.00 | 3740000.00 | 2360.00 | 3209600.00 | 2522.00 | 3429920.00 | 3209600.00 | ADVANCED SPORT TECHNOLOGIES LLP
8.00 | Providing and applying tack coat using bitumen emulsion conforming to IS: 8887, using emulsion pressure distributer including preparing the surface & cleaning with mechanical broom. On bituminous surface @ 0.25kg/sqm. | 13000.00 | SqM |  | 31.00 | 403000.00 | 5.00 | 65000.00 | 14.00 | 182000.00 | 25.00 | 325000.00 | 65000.00 | Gallant Sports and Infra Private Limited
9.00 | Providing and applying tack coat using hot straight run bitumen of grade VG - 10, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing surface as per specifications : On W.M.M. @ 0.75 kg./sqm. | 6500.00 | SqM |  | 28.00 | 182000.00 | 35.00 | 227500.00 | 13.50 | 87750.00 | 19.00 | 123500.00 | 87750.00 | ADVANCED SPORT TECHNOLOGIES LLP
10.00 | Providing and laying Dense graded bituminous macadam using crushed stone aggregates of specified grading premixed with bituminous binder, transported to site by tippers, laid over a previously prepared surface with paver finisher equiped with electronic sensor to the required grade, alignment and level by special lazer equipment and rolling with smooth wheeled, vibratory and tandem rollers as per specifications to achieve the desired compaction and density, complete as per specificatons and directions of Engineer-in-Charge. 50 mm to 100 mm average compacted thickness with bitumen of grade VG-30 @ 3.5% (percentage by weight of total mix) prepared in Batch Type Hot Mix Plant of 100-120 TPH capacity. | 330.00 | CuM |  | 9659.00 | 3187470.00 | 8150.00 | 2689500.00 | 9100.00 | 3003000.00 | 8572.00 | 2828760.00 | 2689500.00 | Gallant Sports and Infra Private Limited
11.00 | Providing and laying Bituminous concrete using crushed stone aggregates of specified grading, premixed with bituminous binder and filler, transporting the hot mix to work site by tippers, laying with paver finisher equiped with electronic sensor to the required grade, alignment and level by special lazer equipment and rolling with smooth wheeled, vibratory and tandem rollers to achieve the desired compaction and density as per specification, complete and as per directions of Engineer-in-Charge. 50 mm to 100 mm compacted thickness with bitumen of grade VG-30 @5.5% (percentage by weight of total mix) and lime filler @ 3% (percentage by weight of Aggregate) prepared in Batch Type Hot Mix Plant of 100-120 TPH capacity. | 330.00 | CuM |  | 10974.00 | 3621420.00 | 11280.00 | 3722400.00 | 10300.00 | 3399000.00 | 10104.00 | 3334320.00 | 3334320.00 | M/s Syncotts International
12.00 | Supplying and laying of FIH approved global category synthetic hockey surface with polyethylene fiber and cast in situ shockpad; laying, jointing and fixing the same on the bituminous sub base with rubberized under layer as per the FIH requirements and the pasting of synthetic grass as per specification of the Global Category FIH competition including all marking on the surface as per FIH rules and standard etc. complete as per the instructions of the engineer-in-charge. The cost for the work also includes expenditure on the requisite quality assurance tests to be carried out on the material and on the finished work by FIH accredited laboratory for synthetic turf & receiving FIH certification. | 6450.00 | SqM |  | 7844.00 | 50593800.00 | 5124.00 | 33049800.00 | 7150.00 | 46117500.00 | 7445.00 | 48020250.00 | 33049800.00 | Gallant Sports and Infra Private Limited
13.00 | FORMWORK (FOUNDATIONS):- Centering and shuttering including strutting, propping etc. and removal of form for Foundations,footings, bases of columns, etc. | 750.00 | SqM |  | 411.00 | 308250.00 | 185.00 | 138750.00 | 392.15 | 294112.50 | 399.00 | 299250.00 | 138750.00 | Gallant Sports and Infra Private Limited
14.00 | FORMWORK (WALLS):- Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 200.00 | SqM |  | 589.00 | 117800.00 | 450.00 | 90000.00 | 550.00 | 110000.00 | 515.00 | 103000.00 | 90000.00 | Gallant Sports and Infra Private Limited
15.00 | FORMWORK (SUSPENDED UNITS):- Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 175.00 | SqM |  | 677.00 | 118475.00 | 450.00 | 78750.00 | 650.00 | 113750.00 | 681.00 | 119175.00 | 78750.00 | Gallant Sports and Infra Private Limited
16.00 | FORMWORK (FOR BEAMS) :- Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders and cantilevers | 70.00 | SqM |  | 457.00 | 31990.00 | 450.00 | 31500.00 | 450.00 | 31500.00 | 472.00 | 33040.00 | 31500.00 | ADVANCED SPORT TECHNOLOGIES LLP, Gallant Sports and Infra Private Limited
17.00 | CONCRETE (1:3:6) :- Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work with 1:3:6 (1 Cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 190.00 | CuM |  | 6646.00 | 1262740.00 | 6075.00 | 1154250.00 | 6800.00 | 1292000.00 | 7023.00 | 1334370.00 | 1154250.00 | Gallant Sports and Infra Private Limited
18.00 | CONCRETE (M25) :- Providing and laying structural reinforced cement concrete work, machine batched (using weigh batcher) and machine mixed, design mix M-25 grade cement concrete conforming to IS:456 at all heights and depth for construction of beams, columns, staircases, chajja, roof slabs, canopies, porch, water tank etc. excluding providing centering, shuttering, form work but including admixtures (if required) in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability, compacting with mechanical vibrator, curing etc. complete in all respects, inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Engineer-in-charge. | 110.00 | CuM |  | 8615.00 | 947650.00 | 9350.00 | 1028500.00 | 8100.00 | 891000.00 | 7344.00 | 807840.00 | 807840.00 | M/s Syncotts International
19.00 | REINFORCEMENT :- Supplying and providing reinforcement (for reinforced cement concrete works) Thermo-mechanically treated (TMT) Fe 500D/550D bars conforming to IS:1786 including initial straightening of coiled/uncoiled bars, removal of loose rust, cutting, bending to correct size & shape, binding with G.I. wire and placing at any position, at any height and depth complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Engineer-in-charge. | 8100.00 | Kg |  | 87.00 | 704700.00 | 100.00 | 810000.00 | 90.00 | 729000.00 | 89.00 | 720900.00 | 704700.00 | shiv naresh sports pvt ltd.
20.00 | STRUCTURAL STEEL (TUBULAR SECTIONS) :- Steel work in built up tubular Hot finished Seamless type tubes (round, square or rectangular hollow tubes etc.) including cutting, hoisting, fixing in position and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer, including welding/bolting etc. complete. | 3200.00 | Kg |  | 143.00 | 457600.00 | 135.00 | 432000.00 | 150.00 | 480000.00 | 154.00 | 492800.00 | 432000.00 | Gallant Sports and Infra Private Limited
21.00 | STRUCTURAL STEEL (BUILT-UP SECTION) :- Structural steel work riveted, bolted or welded in built up sections and framed work, including cutting, hoisting, fixing in position and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer. | 21000.00 | Kg |  | 114.00 | 2394000.00 | 110.00 | 2310000.00 | 110.00 | 2310000.00 | 105.00 | 2205000.00 | 2205000.00 | M/s Syncotts International
22.00 | STRUCTURAL STEEL (WINDOW FRAMES) :- Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including applying two coats of synthetic enamel paint of approved make and shade over a coat of primer with all complete. (Fixed to steel windows by welding) | 60.00 | Kg |  | 145.00 | 8700.00 | 135.00 | 8100.00 | 125.00 | 7500.00 | 131.00 | 7860.00 | 7500.00 | ADVANCED SPORT TECHNOLOGIES LLP
23.00 | Providing and fixing fly proof galvanised M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. | 10.00 | SqM |  | 1350.00 | 13500.00 | 600.00 | 6000.00 | 844.70 | 8447.00 | 1200.00 | 12000.00 | 6000.00 | Gallant Sports and Infra Private Limited
24.00 | Manufacturing, supplying and fixing retro reflective sign boards made up of 2 mm thick aluminium sheet, face to be fully covered with retro reflective sheeting in any colour combination as decided by EIC including subject matter, message (bi-lingual), symbols and borders etc. pasted on substrate by an adhesive backing complete as per direction of Engineer-in-charge. | 50.00 | SqM |  | 6095.00 | 304750.00 | 9347.00 | 467350.00 | 5879.90 | 293995.00 | 5484.00 | 274200.00 | 274200.00 | M/s Syncotts International
25.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 4 mm dia wire & nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia 4 mm PVC coated to achieve outer dia not less than 5 mm in required colour and shade. | 1850.00 | SqM |  | 772.00 | 1428200.00 | 1120.00 | 2072000.00 | 750.00 | 1387500.00 | 776.00 | 1435600.00 | 1387500.00 | ADVANCED SPORT TECHNOLOGIES LLP
26.00 | CONCERTINA :- Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length (total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape (R.B.T.) / Spring core (2.5mm thick) wire with 0.52 mm thick tape. Angle iron 'Y' shaped to be paid separately. | 400.00 | Meter |  | 364.00 | 145600.00 | 465.00 | 186000.00 | 375.80 | 150320.00 | 339.00 | 135600.00 | 135600.00 | M/s Syncotts International
27.00 | POWDER COATED ALUMINIUM DOORS & WINDOWS :- Providing and fixing Powder coated aluminium (minimum thickness of powder coating 50 micron) aluminium work for glazed single/double leaf doors doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with screws of required dia and size, including necessary filling up the gaps at junctions, i.e. at top,bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.
27.10 | For fixed portion | 200.00 | KG |  | 850.00 | 170000.00 | 380.00 | 76000.00 | 817.15 | 163430.00 | 717.00 | 143400.00 | 76000.00 | Gallant Sports and Infra Private Limited
27.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required | 100.00 | KG |  | 715.00 | 71500.00 | 380.00 | 38000.00 | 634.45 | 63445.00 | 650.00 | 65000.00 | 38000.00 | Gallant Sports and Infra Private Limited
28.10 | ALUMINIUM HANDLES:- Providing and fixing aluminium handles ISI marked anodised transparent or dyed to required colour or shade with necessary screws etc. complete Size (125MM) | 35.00 | each |  | 215.00 | 7525.00 | 45.00 | 1575.00 | 109.30 | 3825.50 | 350.00 | 12250.00 | 1575.00 | Gallant Sports and Infra Private Limited
29.00 | Providing and fixing aluminium tower bolts, ISI marked, with necessary screws etc. complete :
29.10 | Size 200x10 MM | 20.00 | each |  | 415.00 | 8300.00 | 65.00 | 1300.00 | 344.30 | 6886.00 | 650.00 | 13000.00 | 1300.00 | Gallant Sports and Infra Private Limited
29.20 | Size 150x10 MM | 5.00 | each |  | 376.00 | 1880.00 | 55.00 | 275.00 | 344.30 | 1721.50 | 569.00 | 2845.00 | 275.00 | Gallant Sports and Infra Private Limited
30.00 | M.S SLIDING DOOR BOLT :- Providing and fixing 200x16 mm ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | 25.00 | each |  | 578.00 | 14450.00 | 180.00 | 4500.00 | 580.00 | 14500.00 | 615.00 | 15375.00 | 4500.00 | Gallant Sports and Infra Private Limited
31.00 | Providing and fixing glazing with float glass panes of 5mm thickness in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) | 10.00 | SqM |  | 1614.00 | 16140.00 | 1640.00 | 16400.00 | 1505.25 | 15052.50 | 1425.00 | 14250.00 | 14250.00 | M/s Syncotts International
32.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop, all as per standard design complete. | 10.00 | each |  | 418.00 | 4180.00 | 490.00 | 4900.00 | 226.00 | 2260.00 | 378.00 | 3780.00 | 2260.00 | ADVANCED SPORT TECHNOLOGIES LLP
33.00 | Providing and fixing 2 mm thick M.S. sheet door with internal frame of 40x40x6 mm angle iron all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces (Rate does not include external door frame) | 20.00 | SqM |  | 5998.00 | 119960.00 | 9847.00 | 196940.00 | 5804.32 | 116086.40 | 5403.00 | 108060.00 | 108060.00 | M/s Syncotts International
34.00 | BRICK MASONRY (CLAY BURNT BRICKS) :- Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in Cement mortar 1:6 (1 cement : 6 coarse sand) at all heights and depths laid to proper position line, level as per the drawings and specifications including providing necessary scaffolding, staging, raking out of joints, curing etc. complete in all respects inclusive of cost of all labour, materials, tools, tackles etc. as per drawings, specifications and direction of Site Engineer. | 275.00 | CuM |  | 6970.00 | 1916750.00 | 7350.00 | 2021250.00 | 6500.00 | 1787500.00 | 6086.00 | 1673650.00 | 1673650.00 | M/s Syncotts International
35.00 | CERAMIC WALL TILES :- Providing and fixing Ist quality ceramic glazed wall tiles (6mm thk) conforming to IS: 15622 , of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in walls, skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry including pointing in white cement mixed with pigment of matching shade complete. | 200.00 | SqM |  | 1095.00 | 219000.00 | 1095.00 | 219000.00 | 1112.70 | 222540.00 | 1059.00 | 211800.00 | 211800.00 | M/s Syncotts International
36.00 | CERAMIC FLOOR TILES :- Providing and laying branded (Kajaria,NITCO,Johnson or Somany) Ceramic glazed floor tiles (6mm thk) of size 300x300 mm of 1st quality conforming to IS : 15622 of approved make in, any colour laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry including pointing the joints with white cement and matching pigment etc. complete. | 80.00 | SqM |  | 1315.00 | 105200.00 | 1095.00 | 87600.00 | 1315.30 | 105224.00 | 1198.00 | 95840.00 | 87600.00 | Gallant Sports and Infra Private Limited
37.00 | KERB STONE :- Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to be more than 5mm), including making drainage opening wherever required complete as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). | 15.00 | CuM |  | 9964.00 | 149460.00 | 6575.00 | 98625.00 | 10117.00 | 151755.00 | 9874.00 | 148110.00 | 98625.00 | Gallant Sports and Infra Private Limited
38.00 | PAVER BLOCK (M-30) :- Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 900.00 | SqM |  | 835.00 | 751500.00 | 900.00 | 810000.00 | 800.00 | 720000.00 | 728.00 | 655200.00 | 655200.00 | M/s Syncotts International
39.00 | PAVER BLOCK (M-35) :- Providing and laying 80mm thick factory made cement concrete interlocking paver block of M -35 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over 50mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer-in-charge. | 1000.00 | SqM |  | 977.00 | 977000.00 | 1040.00 | 1040000.00 | 950.00 | 950000.00 | 969.00 | 969000.00 | 950000.00 | ADVANCED SPORT TECHNOLOGIES LLP
40.00 | Providing and fixing 20mm thick black Granite stone plaque of required size engraved with specified text, NPCIL logo, etc. inside a decorative border and inscription coated with indelible ink/paint all complete as per direction of EIC. | 10.00 | SqM |  | 4704.00 | 47040.00 | 4970.00 | 49700.00 | 4746.20 | 47462.00 | 4487.00 | 44870.00 | 44870.00 | M/s Syncotts International
41.00 | Providing and laying 15 mm cement plaster of mix 1:4 (1 cement : 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 1150.00 | SqM |  | 391.00 | 449650.00 | 280.00 | 322000.00 | 399.45 | 459367.50 | 392.00 | 450800.00 | 322000.00 | Gallant Sports and Infra Private Limited
42.00 | Providing and laying 6 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 100.00 | SqM |  | 309.00 | 30900.00 | 175.00 | 17500.00 | 300.45 | 30045.00 | 271.00 | 27100.00 | 17500.00 | Gallant Sports and Infra Private Limited
43.00 | 15MM CEMENT PLASTER :- Providing 15 mm thick cement plaster 1:4 (1 cement : 4 coarse sand) with sand and cement mortar in drains including raking out joints, with finished coat of neat cement punning including curing etc. inclusive of cost of all labour, materials etc., complete as per specification | 450.00 | SqM |  | 488.00 | 219600.00 | 280.00 | 126000.00 | 471.35 | 212107.50 | 467.00 | 210150.00 | 126000.00 | Gallant Sports and Infra Private Limited
44.00 | WALL PUTTY :- Providing and applying plaster of paris putty of 2 mm thickness over finished surface to prepare the surface even and smooth complete. | 600.00 | SqM |  | 163.00 | 97800.00 | 98.00 | 58800.00 | 156.05 | 93630.00 | 154.00 | 92400.00 | 58800.00 | Gallant Sports and Infra Private Limited
45.00 | Distempering with oil bound washable distemper of approved brand to give an even shade on New work (two or more coats) over and including water thinnable priming coat with cement primer. | 300.00 | SqM |  | 190.00 | 57000.00 | 100.00 | 30000.00 | 185.65 | 55695.00 | 189.00 | 56700.00 | 30000.00 | Gallant Sports and Infra Private Limited
46.00 | ACRYLIC SMOOTH EXTERIOR PAINT :- Finishing walls with Acrylic Smooth exterior paint of required shade on New work : Two or more coat including priming coat of exterior primer as per directions of Engineer-In-charge. | 350.00 | SqM |  | 165.00 | 57750.00 | 108.70 | 38045.00 | 160.60 | 56210.00 | 151.00 | 52850.00 | 38045.00 | Gallant Sports and Infra Private Limited
47.00 | SYNTHETIC ENAMEL PAINT :- Painting with synthetic enamel paint of approved brand to give an even shade withTwo or more coats on new work. | 100.00 | SqM |  | 181.00 | 18100.00 | 112.47 | 11247.00 | 180.00 | 18000.00 | 167.00 | 16700.00 | 11247.00 | Gallant Sports and Infra Private Limited
48.00 | CEMENT BASEDWATER PROOFING :- Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/SqM. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand)admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with waterproofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ SqM of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick joint less cement mortar of mix1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 115.00 | SqM |  | 1476.00 | 169740.00 | 870.00 | 100050.00 | 1515.60 | 174294.00 | 1553.00 | 178595.00 | 100050.00 | Gallant Sports and Infra Private Limited
49.00 | RECTANGULAR CHINA CLAY BASIN :- Providing and fixing White Vitreous China Wash basin size 550x400 mm with a single 15 mm C.P. brass pillar tap with, 32 mm C.P. brass waste pipe of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. Size mentioned above is tentative , it may vary slightly as per model of different brands as approved by EIC | 4.00 | each |  | 4001.00 | 16004.00 | 3985.00 | 15940.00 | 3960.00 | 15840.00 | 4064.00 | 16256.00 | 15840.00 | ADVANCED SPORT TECHNOLOGIES LLP
50.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | each |  | 6289.00 | 25156.00 | 4764.00 | 19056.00 | 6515.55 | 26062.20 | 6458.00 | 25832.00 | 19056.00 | Gallant Sports and Infra Private Limited
51.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 as per directions of EIC. | 1.00 | each |  | 28662.00 | 28662.00 | 28973.00 | 28973.00 | 26861.90 | 26861.90 | 24729.00 | 24729.00 | 24729.00 | M/s Syncotts International
52.00 | Providing and fixing white vitreous china flat back urinal basin of 420x325x310 mm sizes in Cera/Hindware/ Parryware with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, C.I trap with outlet grating including supply and fixing of urinal partition and painting of fittings and brackets, cutting and making good the walls and floors wherever required: Range of two urinal basins size mentioned above is tentative, it may vary slightly as per model of different brands as approved by EIC | 2.00 | each |  | 9829.00 | 19658.00 | 6398.00 | 12796.00 | 9612.40 | 19224.80 | 9233.00 | 18466.00 | 12796.00 | Gallant Sports and Infra Private Limited
53.00 | BRASS BIB COCK :- Providing and fixing C.P. 15 mm nominal bore brass bib cock/ long nose bib cock of approved brand as per direction of EIC. | 15.00 | each |  | 353.00 | 5295.00 | 318.00 | 4770.00 | 353.25 | 5298.75 | 326.00 | 4890.00 | 4770.00 | Gallant Sports and Infra Private Limited
54.00 | BRASS STOP COCK :- Providing and fixing C.P. 15 mm nominal bore brass stop cock (concealed) of standard design and of approved quality Hindware, Parryware, Jaquar | 15.00 | each |  | 686.00 | 10290.00 | 440.00 | 6600.00 | 670.45 | 10056.75 | 626.00 | 9390.00 | 6600.00 | Gallant Sports and Infra Private Limited
55.00 | 110MM UNPLASTICIZED SINGLE SOCKETED PVC RAIN WATER PIPE :- Providing and fixing on wall face 110 mm diameter unplasticised Single socketed Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring. | 100.00 | metre |  | 659.00 | 65900.00 | 280.00 | 28000.00 | 672.30 | 67230.00 | 660.00 | 66000.00 | 28000.00 | Gallant Sports and Infra Private Limited
56.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge.
56.10 | 15 mm dia. nominal bore | 20.00 | metre |  | 330.00 | 6600.00 | 600.00 | 12000.00 | 335.00 | 6700.00 | 318.00 | 6360.00 | 6360.00 | M/s Syncotts International
56.20 | 20 mm dia. nominal bore | 40.00 | metre |  | 726.00 | 29040.00 | 650.00 | 26000.00 | 702.95 | 28118.00 | 736.00 | 29440.00 | 26000.00 | Gallant Sports and Infra Private Limited
57.00 | External Work : Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work
57.10 | 25 mm dia. nominal bore | 40.00 | metre |  | 451.00 | 18040.00 | 330.50 | 13220.00 | 467.75 | 18710.00 | 422.00 | 16880.00 | 13220.00 | Gallant Sports and Infra Private Limited
57.20 | 32 mm dia. nominal bore | 50.00 | metre |  | 517.00 | 25850.00 | 375.50 | 18775.00 | 540.30 | 27015.00 | 516.00 | 25800.00 | 18775.00 | Gallant Sports and Infra Private Limited
58.00 | Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure | 10.00 | each |  | 483.00 | 4830.00 | 519.00 | 5190.00 | 464.05 | 4640.50 | 481.00 | 4810.00 | 4640.50 | ADVANCED SPORT TECHNOLOGIES LLP
59.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with aluminium rod with L.P./ H.P H.D. plastic ball: 25 mm nominal bore, 152 mm long. | 4.00 | each |  | 545.00 | 2180.00 | 1980.00 | 7920.00 | 523.80 | 2095.20 | 549.00 | 2196.00 | 2095.20 | ADVANCED SPORT TECHNOLOGIES LLP
60.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) 32 mm nominal bore. | 20.00 | each |  | 466.00 | 9320.00 | 185.00 | 3700.00 | 489.05 | 9781.00 | 485.00 | 9700.00 | 3700.00 | Gallant Sports and Infra Private Limited
61.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
61.10 | Size:300 mm dia. R.C.C. Pipe | 50.00 | metre |  | 1033.00 | 51650.00 | 765.00 | 38250.00 | 994.30 | 49715.00 | 903.00 | 45150.00 | 38250.00 | Gallant Sports and Infra Private Limited
61.20 | Size:450 mm dia. R.C.C. Pipe | 100.00 | metre |  | 1722.00 | 172200.00 | 973.00 | 97300.00 | 1620.95 | 162095.00 | 1563.00 | 156300.00 | 97300.00 | Gallant Sports and Infra Private Limited
62.00 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 750 x 600x50 mm, reinforced with 8 mm dia 5 nos longitudinal & 7 nos cross sectional T.M.T. hoop bars, including providing 40 mm dia perforations @ 100 to 125 mm c/c, all as per direction of Engineer-in-charge. | 475.00 | Each |  | 1500.00 | 712500.00 | 945.00 | 448875.00 | 1150.00 | 546250.00 | 1389.00 | 659775.00 | 448875.00 | Gallant Sports and Infra Private Limited
63.00 | Providing and fixing 600x450 mm beveled edge mirror of glass of approved quality complete with 6 mm thick hard board fixed to wooden cleats with C.P. brass screws and washers complete. | 10.00 | each |  | 1681.00 | 16810.00 | 890.00 | 8900.00 | 1607.95 | 16079.50 | 1676.00 | 16760.00 | 8900.00 | Gallant Sports and Infra Private Limited
64.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Litre |  | 21.00 | 42000.00 | 10.00 | 20000.00 | 15.00 | 30000.00 | 18.00 | 36000.00 | 20000.00 | Gallant Sports and Infra Private Limited
65.00 | LIQUID SOAP DISPENSER :- Providing and fixing PTMT liquid soap container (spring loaded push type) with lid and brackets fixed to PVC cleats with C.P. brass screws etc. complete in all respects; inclusive of cost of all materials, labour, tools, tackles etc. as per specifications and direction of EIC. | 5.00 | each |  | 371.00 | 1855.00 | 180.00 | 900.00 | 375.65 | 1878.25 | 340.00 | 1700.00 | 900.00 | Gallant Sports and Infra Private Limited
66.00 | Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm-75 mm thick size including spreading, well ramming, consolidating etc. complete as per direction of Engineer-in-charge. | 1900.00 | SqM |  | 202.00 | 383800.00 | 175.90 | 334210.00 | 199.35 | 378765.00 | 185.00 | 351500.00 | 334210.00 | Gallant Sports and Infra Private Limited
67.00 | DEMOLISHING BRICKWORK :- Demolishing brick work manually/ by mechanical means including stacking of Serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 15.00 | CuM |  | 2160.00 | 32400.00 | 965.00 | 14475.00 | 2060.20 | 30903.00 | 2028.00 | 30420.00 | 14475.00 | Gallant Sports and Infra Private Limited
68.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade I Type Il, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on BOTH side | 15.00 | SqM |  | 1214.00 | 18210.00 | 1845.00 | 27675.00 | 1115.40 | 16731.00 | 1102.00 | 16530.00 | 16530.00 | M/s Syncotts International
69.00 | Providing and laying Polished Granite stone in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including cutting, rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. | 15.00 | SqM |  | 4628.00 | 69420.00 | 3395.00 | 50925.00 | 4746.20 | 71193.00 | 4345.00 | 65175.00 | 50925.00 | Gallant Sports and Infra Private Limited
70.00 | Design, engineering, supply, installation, commissiong and testing from FIH (Federation for international hockey) and handover of field irrigation system complete in all respect for hockey ground as per technical specification. | 1.00 | No 's |  | 4087720.00 | 4087720.00 | 2450000.00 | 2450000.00 | 3500000.00 | 3500000.00 | 3990079.00 | 3990079.00 | 2450000.00 | Gallant Sports and Infra Private Limited
71.00 | Wiring for circuit/submain wiring alongwith earthwire with the following sizes of FRLS PVC insulated copper conductor, single core cable in Surface/Recessed medium class PVC conduit as required.
71.10 | 2 x 1.5 +1 x 1.5 (E) sq. mm | 20.00 | Meter |  | 333.00 | 6660.00 | 110.00 | 2200.00 | 327.00 | 6540.00 | 313.00 | 6260.00 | 2200.00 | Gallant Sports and Infra Private Limited
71.20 | 2 x 2.5 +1 x 2.5 (E) sq. mm | 200.00 | Meter |  | 403.00 | 80600.00 | 195.00 | 39000.00 | 369.00 | 73800.00 | 374.00 | 74800.00 | 39000.00 | Gallant Sports and Infra Private Limited
72.00 | Wiring for light point/ fan point/ exhaust point/ call bell point with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 20.00 | Point |  | 1169.00 | 23380.00 | 830.00 | 16600.00 | 1221.00 | 24420.00 | 1257.00 | 25140.00 | 16600.00 | Gallant Sports and Infra Private Limited
73.00 | Wiring for group controlled (looped) light point/fan point/ exhaust point/ call bell point (without independent switch etc.) with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface/recessed PVC conduit and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required. Group A | 10.00 | Point |  | 800.00 | 8000.00 | 548.00 | 5480.00 | 777.00 | 7770.00 | 808.00 | 8080.00 | 5480.00 | Gallant Sports and Infra Private Limited
74.00 | Supply and installation, testing and cmmissioning of 1200mm sweep size Ceiling fans, BLDC motor, along with socket type regulator/ dimmer, down rod of required length and canopy. make of fan crompton/ Usha/ Bajaj/ Orient. make of regulator ANCHOR/ LEGRAND. | 4.00 | Each |  | 2899.00 | 11596.00 | 3196.00 | 12784.00 | 2730.00 | 10920.00 | 2819.00 | 11276.00 | 10920.00 | ADVANCED SPORT TECHNOLOGIES LLP
75.00 | Supply and installation of air exhaust fan of light duty, 230 volts A.C. 300 mm sweep, metalic body with bird cage protection. | 5.00 | Each |  | 455.00 | 2275.00 | 2487.00 | 12435.00 | 450.00 | 2250.00 | 423.00 | 2115.00 | 2115.00 | M/s Syncotts International
76.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 modular socket outlet and 5/6 A modular switch, connections etc. as required. | 8.00 | Each |  | 635.00 | 5080.00 | 2183.00 | 17464.00 | 586.00 | 4688.00 | 581.00 | 4648.00 | 4648.00 | M/s Syncotts International
77.00 | Supply of LED luminaries with basic channel, holder, LED driver control gear box complete with decorative attachments, lamps etc.
77.10 | 40W LED batten, 230V, 50Hz 4 feet LED with output of 4000 lumens and system eficacy of 105lumne/ watt. surface/ recess mounting tube light with fitting and all other accessories. Similar to philips make Endureld batten BN108CLED40SPSUCDLWH | 10.00 | Each |  | 1313.00 | 13130.00 | 1050.00 | 10500.00 | 1250.00 | 12500.00 | 1215.00 | 12150.00 | 10500.00 | Gallant Sports and Infra Private Limited
77.20 | 20 W, 230 V 50 Hz, WALL LIGHTLED, make PHILIPS | 6.00 | Each |  | 1616.00 | 9696.00 | 906.00 | 5436.00 | 1550.00 | 9300.00 | 1513.00 | 9078.00 | 5436.00 | Gallant Sports and Infra Private Limited
78.00 | 10 A rating, SPN, MCB "C" Curve, 10 kA breaking capecity | 10.00 | Each |  | 424.00 | 4240.00 | 493.00 | 4930.00 | 394.00 | 3940.00 | 408.00 | 4080.00 | 3940.00 | ADVANCED SPORT TECHNOLOGIES LLP
79.00 | 40 A rating, double pole isolator, | 1.00 | Each |  | 281.00 | 281.00 | 468.00 | 468.00 | 270.00 | 270.00 | 258.00 | 258.00 | 258.00 | M/s Syncotts International
80.00 | 25 A rating, 2 pole RCCB, 30 mA | 1.00 | Each |  | 1997.00 | 1997.00 | 1136.00 | 1136.00 | 2028.00 | 2028.00 | 2061.00 | 2061.00 | 1136.00 | Gallant Sports and Infra Private Limited
81.00 | Supplying and fixing following way, single pole and neutral, STEEL sheet, MCB distribution board, 240V on surface or recess, complete with tinned copper busbar, neutral bus bar, earth bus bar, Din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way double door | 2.00 | Each |  | 2336.00 | 4672.00 | 1935.00 | 3870.00 | 2206.00 | 4412.00 | 1999.00 | 3998.00 | 3870.00 | Gallant Sports and Infra Private Limited
82.00 | Providing and fixing 6SWG dia. GI wire on surface or in recess for loop earthing as required. | 50.00 | Meter |  | 91.00 | 4550.00 | 53.20 | 2660.00 | 70.00 | 3500.00 | 85.00 | 4250.00 | 2660.00 | Gallant Sports and Infra Private Limited
83.00 | Earthing with G.I Earth pipe 4.5 meter long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangements and watering pipe etc. with charcoal/coke and salt as required | 2.00 | Each |  | 6778.00 | 13556.00 | 6000.00 | 12000.00 | 6855.00 | 13710.00 | 6689.00 | 13378.00 | 12000.00 | Gallant Sports and Infra Private Limited
84.00 | Distribution panel with 250A incomer MCCB with 3 phase 4 wire energy meter and having outgoing as 1 nos. 125A, 63A 2 nos, 32A 2 nos 4 pole and 2 nos. 16 A industrial receptacle. | 1.00 | Each |  | 66956.00 | 66956.00 | 195870.00 | 195870.00 | 68500.00 | 68500.00 | 70388.00 | 70388.00 | 66956.00 | shiv naresh sports pvt ltd.
85.00 | Supply and termination of 3.5 core 35 sqmm cu cable | 25.00 | Meter |  | 405.00 | 10125.00 | 2085.00 | 52125.00 | 369.00 | 9225.00 | 450.00 | 11250.00 | 9225.00 | ADVANCED SPORT TECHNOLOGIES LLP
86.00 | Supply and installation of 150 Watt, IP 65 rated flood lights | 3.00 | Each |  | 4903.00 | 14709.00 | 1064.00 | 3192.00 | 4950.00 | 14850.00 | 4686.00 | 14058.00 | 3192.00 | Gallant Sports and Infra Private Limited
| Total in Figures |  |  |  |  | 91820953.00 |  | 71972957.00 |  | 84707278.25 |  | 88821886.00
Lowest Amount Quoted BY: Gallant Sports and Infra Private Limited(71972957.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Turf Hockey Ground of minimum field category - II as per FIH guidelines at village Baijalpur, Dist. Fatehabad under CSR works. Tender ID: 2024_NPCIL_199734_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Gallant Sports and Infra Private Limited | 71972957.00 | L1
| 2 | ADVANCED SPORT TECHNOLOGIES LLP | 84707278.25 | L2
| 3 | M/s Syncotts International | 88821886.00 | L3
| 4 | shiv naresh sports pvt ltd. | 91820953.00 | L4