## BoQ1
Government eProcurement System Created By: Shashikant Songire Created Date/Time: 18-Jan-2025 11:14 AM Tender Title: Annual Maintenance of Civil and PH works for Residential Quarters and Other Facilities at Anuvikas Township, TMS. Tender ID: 2024_NPCIL_199809_1
Tender Inviting Authority: Station Director, Tarapur Atomic Power Station-3&4
Name of Work: Annual Maintenance of Civil & PH works for Residential Quarters and Other Facilities at Anuvikas Township, TMS.
Tender No: TMS / C&MM-WORKS / GS-CIVIL / 2024 / 2529
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KHAN CONTRACTOR (GSTN-NA) BID ID -722056 |  | KORES SANITATAION (GSTN-NA) BID ID -720324
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 mm thick Glass Shelf 600 x 125 mm as and when required and as directed by Engineer In-charge. | 37.00 | Each |  | 186.00 | 6882.00 | 180.00 | 6660.00 | 6660.00 | KORES SANITATAION
2.00 | Supply of Stainless Steel Grating 125 mm Dia - PLATO CAMRY/EQUIVALANT Make as and when required and as directed by Engineer In-charge. | 96.00 | Each |  | 116.00 | 11136.00 | 100.00 | 9600.00 | 9600.00 | KORES SANITATAION
3.00 | Supply of 125 mm Aluminium "D" Handle ISI MARKED BRAND as and when required and as directed by Engineer In-charge. | 139.00 | Each |  | 126.00 | 17514.00 | 70.00 | 9730.00 | 9730.00 | KORES SANITATAION
4.00 | Supply of 75 x 12 mm Aluminium Baby Latch ISI Marked Brand as and when required and as directed by Engineer In-charge. | 150.00 | Each |  | 156.00 | 23400.00 | 52.00 | 7800.00 | 7800.00 | KORES SANITATAION
5.00 | Supply of 150 X 12 mm Aluminium Tower Bolt (Barrel Type) ISI Marked Brand as and when required and as directed by Engineer In-charge. | 143.00 | Each |  | 126.00 | 18018.00 | 215.00 | 30745.00 | 18018.00 | KHAN CONTRACTOR
6.00 | Supply of 200 X 12 mm AluminiumTower Bolt ISI Marked Brand as and when required and as directed by Engineer In-charge. | 25.00 | Each |  | 186.00 | 4650.00 | 285.00 | 7125.00 | 4650.00 | KHAN CONTRACTOR
7.00 | Supply of Aluminium 250 mm long Tadi (Rod size apprx.5x9 mm) as and when required and as directed by EIC. | 32.00 | Each |  | 286.00 | 9152.00 | 270.00 | 8640.00 | 8640.00 | KORES SANITATAION
8.00 | Supply of 250 X 16 mm Aluminium Aldrop ISI Marked Brand as and when required and as directed by Engineer In-charge. | 13.00 | Each |  | 286.00 | 3718.00 | 215.00 | 2795.00 | 2795.00 | KORES SANITATAION
9.00 | Supply of Aluminium hanging floor door stopper with twin rubber stopper as and when required and as directed by Engineer In-charge. | 391.00 | Each |  | 186.00 | 72726.00 | 60.00 | 23460.00 | 23460.00 | KORES SANITATAION
10.00 | Supply of 75 X 40 mm wide Aluminium Haps & Staples as and when required and as directed by Engineer In-charge. | 32.00 | Each |  | 86.00 | 2752.00 | 40.00 | 1280.00 | 1280.00 | KORES SANITATAION
11.00 | Supply of Stainless steel butt hinges (heavy weight) 125x64x2.5 mm IS : 12817 marked as and when required and as directed by Engineer In-charge. | 134.00 | Each |  | 86.00 | 11524.00 | 50.00 | 6700.00 | 6700.00 | KORES SANITATAION
12.00 | Supply of Stainless steel butt hinges (heavy weight) 75x50x2.5 mm IS : 12817 marked as and when required and as directed by Engineer In-charge. | 185.00 | Each |  | 86.00 | 15910.00 | 30.00 | 5550.00 | 5550.00 | KORES SANITATAION
13.00 | Supply of Geetavind / equivalent Friction window stay - 10" Heavy duty as and when required and as directed by Engineer In-charge. | 32.00 | Pair |  | 86.00 | 2752.00 | 465.00 | 14880.00 | 2752.00 | KHAN CONTRACTOR
14.00 | Supply of Telescopic Window stays NCL pattern - 150 mm long as and when required and as directed by Engineer In-charge. | 68.00 | Each |  | 126.00 | 8568.00 | 430.00 | 29240.00 | 8568.00 | KHAN CONTRACTOR
15.00 | Supply of MS oxidised heavy duty Handles 100 mm long, 18 gauge suitable for steel windows as and when required and as directed by Engineer In-charge. | 78.00 | Each |  | 86.00 | 6708.00 | 130.00 | 10140.00 | 6708.00 | KHAN CONTRACTOR
16.00 | Supply of MS oxidised Peg Stays 250 mm long and 18 gauge thickness as and when required and as directed by Engineer In-charge. | 151.00 | Each |  | 186.00 | 28086.00 | 120.00 | 18120.00 | 18120.00 | KORES SANITATAION
17.00 | Supply of S.S. Flat right angle stiffener of size 75 x 75 mm and 18 gauge of thickness as and when required and as directed by Engineer In-charge. | 32.00 | Each |  | 86.00 | 2752.00 | 45.00 | 1440.00 | 1440.00 | KORES SANITATAION
18.00 | Supply of 32 mm Magic Eye ( For door peep hole) as and when required and as directed by Engineer In-charge. | 11.00 | Each |  | 186.00 | 2046.00 | 65.00 | 715.00 | 715.00 | KORES SANITATAION
19.00 | Supply of "Godrej" make mortice latch and lock with 6 levers and a pair of lever handles Inside opening Left / Right as and when required and as directed by Engineer In-charge. | 3.00 | Each |  | 1786.00 | 5358.00 | 2400.00 | 7200.00 | 5358.00 | KHAN CONTRACTOR
20.00 | Supply of Brass hard drawn hooks and eyes 100 mm as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 186.00 | 930.00 | 45.00 | 225.00 | 225.00 | KORES SANITATAION
21.00 | Supply of Brass Chain 300 mm Long as and when required and as directed by Engineer In-charge. | 10.00 | Each |  | 186.00 | 1860.00 | 170.00 | 1700.00 | 1700.00 | KORES SANITATAION
22.00 | Supply of Aluminium diecast body tubular type universal hydraulic door closer ISI marked brand as and when required and as directed by Engineer In-charge. | 6.00 | Each |  | 1286.00 | 7716.00 | 760.00 | 4560.00 | 4560.00 | KORES SANITATAION
23.00 | Supply of Brass single acting spring hinges 125 mm as and when required and as directed by Engineer In-charge. | 29.00 | Each |  | 286.00 | 8294.00 | 380.00 | 11020.00 | 8294.00 | KHAN CONTRACTOR
24.00 | Supply of Hydraulic Floor Spring for Wooden/Aluminium doors as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 2786.00 | 11144.00 | 4000.00 | 16000.00 | 11144.00 | KHAN CONTRACTOR
25.00 | Supply of Neoprene EPDM rubber gasket as and when required and as directed by Engineer In-charge. | 64.00 | Kg |  | 286.00 | 18304.00 | 325.00 | 20800.00 | 18304.00 | KHAN CONTRACTOR
26.00 | Supply of C.P. Brass bib cock 15 mm as and when required and as directed by Engineer In-charge. | 210.00 | Each |  | 586.00 | 123060.00 | 510.00 | 107100.00 | 107100.00 | KORES SANITATAION
27.00 | Supply of C.P. Brass stop cock (concealed) 15 mm as and when required and as directed by Engineer In-charge. | 42.00 | Each |  | 586.00 | 24612.00 | 700.00 | 29400.00 | 24612.00 | KHAN CONTRACTOR
28.00 | Supply of 15 mm C.P Brass Pillar Tap ESSCO or equivalent Make as and when required and as directed by Engineer In-charge. | 53.00 | Each |  | 986.00 | 52258.00 | 1050.00 | 55650.00 | 52258.00 | KHAN CONTRACTOR
29.00 | Supply of 15 mm PVC Inlet connection 450 mm long with brass Union at Ends as and when required and as directed by Engineer In-charge. | 189.00 | Each |  | 126.00 | 23814.00 | 110.00 | 20790.00 | 20790.00 | KORES SANITATAION
30.00 | Supply of 15 mm CP Brass Inlet connection 600 mm long as and when required and as directed by Engineer In-charge. | 39.00 | Each |  | 156.00 | 6084.00 | 260.00 | 10140.00 | 6084.00 | KHAN CONTRACTOR
31.00 | Supply of 20 mm dia non return valve (Horizontal) of ISI mark as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 586.00 | 2930.00 | 830.00 | 4150.00 | 2930.00 | KHAN CONTRACTOR
32.00 | Supply of 20 mm dia non return valve (Vertical) of ISI mark as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 586.00 | 2930.00 | 550.00 | 2750.00 | 2750.00 | KORES SANITATAION
33.00 | Supply of 31 / 32 mm ESSCO / equivalent make Heavy bottle trap as and when required and as directed by EIC. | 16.00 | Each |  | 786.00 | 12576.00 | 1190.00 | 19040.00 | 12576.00 | KHAN CONTRACTOR
34.00 | Supply of 15 mm Brass Ball Cock with PVC Ball Techno Make as and when required and as directed by EIC. | 11.00 | Each |  | 386.00 | 4246.00 | 500.00 | 5500.00 | 4246.00 | KHAN CONTRACTOR
35.00 | Supply of 20 mm Brass Ball Cock with PVC Ball Techno Make as and when required and as directed by EIC. | 11.00 | Each |  | 486.00 | 5346.00 | 880.00 | 9680.00 | 5346.00 | KHAN CONTRACTOR
36.00 | Supply of 25 mm Brass Ball Cock with PVC Ball Techno Make as and when required and as directed by EIC. | 68.00 | Each |  | 586.00 | 39848.00 | 1350.00 | 91800.00 | 39848.00 | KHAN CONTRACTOR
37.00 | Supply of PVC Washers of good quality for bib tap, pillar cock, stop cock as approved by the Engineer as and when required and as directed by Engineer In-charge. | 3731.00 | Each |  | 1.86 | 6939.66 | 4.00 | 14924.00 | 6939.66 | KHAN CONTRACTOR
38.00 | Supply of Flush tank washer as and when required and as directed by Engineer In-charge. | 105.00 | Each |  | 16.00 | 1680.00 | 1.00 | 105.00 | 105.00 | KORES SANITATAION
39.00 | Supply of Syphons assembly for low/high level flushing cistern (PVC/CI suitable to existing) as and when required and as directed by Engineer In-charge. . | 105.00 | Set |  | 286.00 | 30030.00 | 550.00 | 57750.00 | 30030.00 | KHAN CONTRACTOR
40.00 | Supply of PVC Handle with lever for high/low flushing cistern as and when required and as directed by Engineer In-charge. | 189.00 | Each |  | 36.00 | 6804.00 | 160.00 | 30240.00 | 6804.00 | KHAN CONTRACTOR
41.00 | Supply of PVC Ball Valve (auto type) for automatic flushing cistern as and when required and as directed by Engineer In-charge. | 13.00 | Each |  | 286.00 | 3718.00 | 280.00 | 3640.00 | 3640.00 | KORES SANITATAION
42.00 | Supply of White solid Plastic seat and lid with brass fittings and rubber buffers as and when required and as directed by Engineer In-charge. . | 17.00 | Each |  | 486.00 | 8262.00 | 850.00 | 14450.00 | 8262.00 | KHAN CONTRACTOR
43.00 | Supply of "Hindware" make White solid Plastic seat and lid with brass fittings and rubber buffers as and when required and as directed by Engineer In-charge. . | 40.00 | Each |  | 686.00 | 27440.00 | 1550.00 | 62000.00 | 27440.00 | KHAN CONTRACTOR
44.00 | Supply of CP brass 100 mm dia shower rose without Shower arm as and when required and as directed by Engineer In-charge. | 32.00 | Each |  | 286.00 | 9152.00 | 400.00 | 12800.00 | 9152.00 | KHAN CONTRACTOR
45.00 | Supply of 600 mm Long CP Brass Towel rail of "Plato" make as and when required and as directed by Engineer In-charge. | 3.00 | Each |  | 386.00 | 1158.00 | 1210.00 | 3630.00 | 1158.00 | KHAN CONTRACTOR
46.00 | Supply of 32 mm dia C.P Brass waste coupling ESSCO as and when required and as directed by Engineer In-charge. | 84.00 | Each |  | 286.00 | 24024.00 | 375.00 | 31500.00 | 24024.00 | KHAN CONTRACTOR
47.00 | Supply of 6 inch dia C.P Brass waste coupling ESSCO as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 386.00 | 1930.00 | 760.00 | 3800.00 | 1930.00 | KHAN CONTRACTOR
48.00 | Supply of 100 mm dia C.P Brass waste coupling ESSCO as and when required and as directed by Engineer In-charge. | 6.00 | Each |  | 286.00 | 1716.00 | 560.00 | 3360.00 | 1716.00 | KHAN CONTRACTOR
49.00 | Supply of "Nirali" make 100 mm dia C.P Brass waste coupling ESSCO as and when required and as directed by Engineer In-charge. | 150.00 | Each |  | 286.00 | 42900.00 | 1100.00 | 165000.00 | 42900.00 | KHAN CONTRACTOR
50.00 | Supply of JET spray with 1.00 metre long flexible tube connection for European / Anglo Indian closet under seat cover fixtures complete as and when required and as directed by Engineer In-charge. | 11.00 | Each |  | 286.00 | 3146.00 | 400.00 | 4400.00 | 3146.00 | KHAN CONTRACTOR
51.00 | Supply of 15 mm CP Brass Urinal Spreader of "PLATO" / Equivalent make as and when required and as directed by Engineer In-charge. | 3.00 | Each |  | 286.00 | 858.00 | 300.00 | 900.00 | 858.00 | KHAN CONTRACTOR
52.00 | Supply of 32 mm dia Flexible P.V.C. Waste Pipe as and when required and as directed by Engineer In-charge. | 105.00 | Each |  | 56.00 | 5880.00 | 36.00 | 3780.00 | 3780.00 | KORES SANITATAION
53.00 | Supply of 40 mm dia Flexible P.V.C. Waste Pipe as and when required and as directed by Engineer In-charge. | 210.00 | Each |  | 86.00 | 18060.00 | 50.00 | 10500.00 | 10500.00 | KORES SANITATAION
54.00 | Supply of Spun Yarn as and when required as and when required and as directed by Engineer In-charge. | 15.00 | Kg |  | 186.00 | 2790.00 | 65.00 | 975.00 | 975.00 | KORES SANITATAION
55.00 | Supply of Jaquar Health Faucet -with 1 mts Tube ALD 563 as and when required and as directed by Engineer In-charge. | 11.00 | Each |  | 586.00 | 6446.00 | 1400.00 | 15400.00 | 6446.00 | KHAN CONTRACTOR
56.00 | Supply of Pillar tap- Jaquar- Self Close- Pressomatic series as and when required and as directed by EIC. | 6.00 | Each |  | 2786.00 | 16716.00 | 2300.00 | 13800.00 | 13800.00 | KORES SANITATAION
57.00 | Supply of 15 mm Urinal cock Jaquor make Pressmatic Auto Flush cock as and when required and as directed by Engineer In-charge. | 6.00 | Each |  | 2286.00 | 13716.00 | 2425.00 | 14550.00 | 13716.00 | KHAN CONTRACTOR
58.00 | Supply of 10 Lit PVC Flushing Cistern ISI marked brand with fittings, Accessories and FlushPipe (White) as and when required and as directed by Engineer In-charge. | 21.00 | Each |  | 1186.00 | 24906.00 | 1900.00 | 39900.00 | 24906.00 | KHAN CONTRACTOR
59.00 | Supply of 15 mm G.M Gate Valve as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 286.00 | 1144.00 | 700.00 | 2800.00 | 1144.00 | KHAN CONTRACTOR
60.00 | Supply of 20 mm G.M Gate Valve as and when required as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 386.00 | 1544.00 | 1050.00 | 4200.00 | 1544.00 | KHAN CONTRACTOR
61.00 | Supply of 25 mm G.M Gate Valve as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 486.00 | 1944.00 | 1260.00 | 5040.00 | 1944.00 | KHAN CONTRACTOR
62.00 | Supply of 32 mm G.M Gate Valve as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 586.00 | 2344.00 | 2000.00 | 8000.00 | 2344.00 | KHAN CONTRACTOR
63.00 | Supply of 40 mm G.M Gate Valve as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 786.00 | 3144.00 | 2810.00 | 11240.00 | 3144.00 | KHAN CONTRACTOR
64.00 | Supply of 50 mm G.M Gate Valve as and when required and as directed by Engineer In-charge. | 2.00 | Each |  | 986.00 | 1972.00 | 4300.00 | 8600.00 | 1972.00 | KHAN CONTRACTOR
65.00 | Supply of 20 mm GI Gate Valve as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 386.00 | 1930.00 | 760.00 | 3800.00 | 1930.00 | KHAN CONTRACTOR
66.00 | Supply of PVC Clamp 90 mm / 110 mm OD as and when required and as directed by Engineer In-charge. | 13.00 | Each |  | 56.00 | 728.00 | 18.00 | 234.00 | 234.00 | KORES SANITATAION
67.00 | Supply of 4 mm thick commercial plywood as and when required and as directed by Engineer In-charge. | 3.00 | Sq.M |  | 486.00 | 1458.00 | 425.00 | 1275.00 | 1275.00 | KORES SANITATAION
68.00 | Supply of 6 mm thick commercial plywood as and when required and as directed by Engineer In-charge. | 20.00 | Sq.M |  | 686.00 | 13720.00 | 430.00 | 8600.00 | 8600.00 | KORES SANITATAION
69.00 | Supply of 12 MM Thick Commercial Plywood as and when required and as directed by Engineer In-charge. | 12.00 | Sq.M |  | 986.00 | 11832.00 | 800.00 | 9600.00 | 9600.00 | KORES SANITATAION
70.00 | Supply of 18 MM Thick Commercial Plywood as and when required and as directed by Engineer In-charge. | 6.00 | Sq.M |  | 1286.00 | 7716.00 | 1200.00 | 7200.00 | 7200.00 | KORES SANITATAION
71.00 | Supply of Adthesive fevicol as and when required and as directed by Engineer In-charge. | 100.00 | Kg |  | 326.00 | 32600.00 | 700.00 | 70000.00 | 32600.00 | KHAN CONTRACTOR
72.00 | Supply of J Hook as and when required and as directed by Engineer In-charge. | 137.00 | Each |  | 6.00 | 822.00 | 6.00 | 822.00 | 822.00 | KORES SANITATAION, KHAN CONTRACTOR
73.00 | Supply of SILICON sealent for Aluminium Glass Joints as and when required and as directed by Engineer In-charge. | 2.00 | Litre |  | 986.00 | 1972.00 | 700.00 | 1400.00 | 1400.00 | KORES SANITATAION
74.00 | Supply of Birla White Cement in Pack of 1 kg including transportation etc. complete as and when required and as directed by Engineer In-charge. | 68.00 | Kg |  | 26.00 | 1768.00 | 55.00 | 3740.00 | 1768.00 | KHAN CONTRACTOR
75.00 | Supply of Cement in pack of 50 kgs / bag of Ambuja / ACC / Birla Ultra Tech make as and when required and as directed by Engineer In-charge. | 433.00 | Bag |  | 486.00 | 210438.00 | 450.00 | 194850.00 | 194850.00 | KORES SANITATAION
76.00 | Supply of Crushed Sand / Manufactured sand as and when required and as directed by Engineer In-charge. | 36.00 | Cu.M |  | 2786.00 | 100296.00 | 1800.00 | 64800.00 | 64800.00 | KORES SANITATAION
77.00 | Supply of Coarse Aggregate 20mm below as and when required and as directed by Engineer In-charge. | 7.00 | Cu.M |  | 2286.00 | 16002.00 | 1300.00 | 9100.00 | 9100.00 | KORES SANITATAION
78.00 | Supply of M.S. Screw of various size 20 mm, 25mm, 30 mm, 40 mm, 50 mm. ( 100 nos in a packet) as and when required and as directed by Engineer In-charge. | 173.00 | Pkt |  | 86.00 | 14878.00 | 58.00 | 10034.00 | 10034.00 | KORES SANITATAION
79.00 | Supply of Cement Nails of 1" to 6" size as and when required and as directed by Engineer In-charge. | 50.00 | Kg |  | 126.00 | 6300.00 | 150.00 | 7500.00 | 6300.00 | KHAN CONTRACTOR
80.00 | Supply of Radium strip 4" (High visiblity strip elbows in dark) wide etc. complete as and when required and as directed by Engineer In-charge. | 11.00 | RM |  | 86.00 | 946.00 | 180.00 | 1980.00 | 946.00 | KHAN CONTRACTOR
81.00 | Providing and fixing approved quality and shape star locks cum handle of approved make for sliding shutters as and when required and as directed by Engineer In-charge. | 200.00 | Pair |  | 186.00 | 37200.00 | 420.00 | 84000.00 | 37200.00 | KHAN CONTRACTOR
82.00 | Providing and fixing approved quality stain less steel body roller wheels of approved make for sliding shutters as and when required and as directed by Engineer In-charge. | 500.00 | Pair |  | 186.00 | 93000.00 | 240.00 | 120000.00 | 93000.00 | KHAN CONTRACTOR
83.00 | Supply of Teflon Tape as and when required and as directed by Engineer In-charge. | 116.00 | Each |  | 16.00 | 1856.00 | 27.00 | 3132.00 | 1856.00 | KHAN CONTRACTOR
84.00 | Supply of Holdtite as and when required and as directed by Engineer In-charge. | 5.00 | Kg |  | 3786.00 | 18930.00 | 270.00 | 1350.00 | 1350.00 | KORES SANITATAION
85.00 | Supply of Seiko Spindle as and when required and as directed by Engineer In-charge. | 106.00 | Each |  | 186.00 | 19716.00 | 135.00 | 14310.00 | 14310.00 | KORES SANITATAION
86.00 | Supply of 'Jaquar' make Spindle as and when required and as directed by Engineer In-charge. | 150.00 | Each |  | 186.00 | 27900.00 | 460.00 | 69000.00 | 27900.00 | KHAN CONTRACTOR
87.00 | Supply of M.S. Holder bat clamp of approved design for 100 mm S.C.I. pipe as and when required and as directed by Engineer In-charge. | 105.00 | Each |  | 56.00 | 5880.00 | 40.00 | 4200.00 | 4200.00 | KORES SANITATAION
88.00 | Supply of M. S. Holder bat clamps-150 mm dia as and when required and as directed by Engineer In-charge. | 50.00 | Each |  | 86.00 | 4300.00 | 40.00 | 2000.00 | 2000.00 | KORES SANITATAION
89.00 | Supply of 100 mm Dia RCC Hume Pipe Class Np2 with collar as and when required and as directed by EIC. | 12.00 | RM |  | 786.00 | 9432.00 | 360.00 | 4320.00 | 4320.00 | KORES SANITATAION
90.00 | Supply of 150 mm Dia RCC Hume Pipe Class Np2 with collar as and when required and as directed by EIC. | 14.00 | RM |  | 986.00 | 13804.00 | 400.00 | 5600.00 | 5600.00 | KORES SANITATAION
91.00 | Supply 250 mm Dia RCC Hume Pipe Class Np2 with collar as and when required and as directed by Engineer In-charge. | 15.00 | RM |  | 1286.00 | 19290.00 | 600.00 | 9000.00 | 9000.00 | KORES SANITATAION
92.00 | Supply of White Glazed Vitreous China Orissa Pattern W.C of size 580 X440 mm as and when required and as directed by Engineer In-charge. | 18.00 | Each |  | 3786.00 | 68148.00 | 2100.00 | 37800.00 | 37800.00 | KORES SANITATAION
93.00 | Supply of White Glazed China Flat back Wash Basin of size 550 X 450 mm as and when required and as directed by Engineer In-charge. | 40.00 | Each |  | 2186.00 | 87440.00 | 1575.00 | 63000.00 | 63000.00 | KORES SANITATAION
94.00 | supply of CI brackets for wash basin as and when required and as directed by Engineer In-charge. | 27.00 | Pair |  | 286.00 | 7722.00 | 180.00 | 4860.00 | 4860.00 | KORES SANITATAION
95.00 | Supply of White galzed vitreous China E.W.C Pan (Universal) anglo Indian as & when required and as directed by EIC. | 20.00 | Each |  | 2786.00 | 55720.00 | 4500.00 | 90000.00 | 55720.00 | KHAN CONTRACTOR
96.00 | Supply of White galzed vitreous China EWC with seat cover as and when required and as directed by EIC. | 20.00 | Each |  | 4786.00 | 95720.00 | 2350.00 | 47000.00 | 47000.00 | KORES SANITATAION
97.00 | Supply of White galzed vitreous China EWC with attached flush tank of 'Hindware / Jaquar' including seat cover as and when required and as directed by Engineer In-charge. | 40.00 | Each |  | 9786.00 | 391440.00 | 25500.00 | 1020000.00 | 391440.00 | KHAN CONTRACTOR
98.00 | Supply of decorative wash basin with pedestal as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 3786.00 | 18930.00 | 10990.00 | 54950.00 | 18930.00 | KHAN CONTRACTOR
99.00 | Supply of piller cock mixer type as and when required and as directed by Engineer In-charge. | 15.00 | Each |  | 3786.00 | 56790.00 | 1300.00 | 19500.00 | 19500.00 | KORES SANITATAION
100.00 | Supply of Sand cast iron Nahani Trap 100 x 75 mm - 5.80 Kgs each as and when required and as directed by Engineer In-charge. | 1.00 | Each |  | 786.00 | 786.00 | 650.00 | 650.00 | 650.00 | KORES SANITATAION
101.00 | Supply of Shahbad Stone Rough 40 mm thick as and when required and as directed by Engineer In-charge. | 53.00 | Sq.M |  | 2186.00 | 115858.00 | 400.00 | 21200.00 | 21200.00 | KORES SANITATAION
102.00 | Supply of 50 x 12 mm Teak Wood beading as and when required and as directed by Engineer In-charge. | 315.00 | RM |  | 86.00 | 27090.00 | 80.00 | 25200.00 | 25200.00 | KORES SANITATAION
103.00 | Supply of 30 x 12 mm Teak Wood beading as and when required and as directed by Engineer In-charge. | 500.00 | RM |  | 66.00 | 33000.00 | 65.00 | 32500.00 | 32500.00 | KORES SANITATAION
104.00 | Supply of G.I Weld Mesh- 50x50mmx3.15mm Thick( 10 Swg) as and when required and as directed by Engineer In-charge. | 525.00 | Sq.M |  | 486.00 | 255150.00 | 310.00 | 162750.00 | 162750.00 | KORES SANITATAION
105.00 | Supply of S.S Mesh - (Mosquito net)- 0.50mm thick having 144 Apeture in Sq. Inch as and when required and as directed by Engineer In-charge. | 710.00 | Sq.M |  | 786.00 | 558060.00 | 810.00 | 575100.00 | 558060.00 | KHAN CONTRACTOR
106.00 | Supply of Consealed Door Closure as and when required and as directed by Engineer In-charge. | 2.00 | Each |  | 1786.00 | 3572.00 | 5900.00 | 11800.00 | 3572.00 | KHAN CONTRACTOR
107.00 | Supply of White Lead as and when required and as directed by Engineer In-charge. | 50.00 | Kg |  | 786.00 | 39300.00 | 230.00 | 11500.00 | 11500.00 | KORES SANITATAION
108.00 | Supply of 15 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 25.00 | RM |  | 186.00 | 4650.00 | 235.00 | 5875.00 | 4650.00 | KHAN CONTRACTOR
109.00 | Supply of 20 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 13.00 | RM |  | 236.00 | 3068.00 | 290.00 | 3770.00 | 3068.00 | KHAN CONTRACTOR
110.00 | Supply of 25 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 13.00 | RM |  | 356.00 | 4628.00 | 400.00 | 5200.00 | 4628.00 | KHAN CONTRACTOR
111.00 | Supply of 32 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 13.00 | RM |  | 406.00 | 5278.00 | 550.00 | 7150.00 | 5278.00 | KHAN CONTRACTOR
112.00 | Supply of 40 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 13.00 | RM |  | 486.00 | 6318.00 | 620.00 | 8060.00 | 6318.00 | KHAN CONTRACTOR
113.00 | Supply of 50 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 13.00 | RM |  | 586.00 | 7618.00 | 830.00 | 10790.00 | 7618.00 | KHAN CONTRACTOR
114.00 | Supply of 80 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 12.00 | RM |  | 786.00 | 9432.00 | 1000.00 | 12000.00 | 9432.00 | KHAN CONTRACTOR
115.00 | Supply of 100 mm dia Class C G.I Pipe Non-TATA Make JINDAL Heavy as and when required and as directed by Engineer In-charge. | 12.00 | RM |  | 986.00 | 11832.00 | 2000.00 | 24000.00 | 11832.00 | KHAN CONTRACTOR
116.00 | Supply of G. I. Fittings for pipe lines (Elbow, Tee, Coupling, Nipple etc.) of required size, as and when required and as directed by Engineer In-charge. | 217.00 | Kg |  | 236.00 | 51212.00 | 270.00 | 58590.00 | 51212.00 | KHAN CONTRACTOR
117.00 | Supply of 4 mm thick Float Glass -clear as and when required and as directed by Engineer In-charge. | 71.00 | Sq.M |  | 786.00 | 55806.00 | 470.00 | 33370.00 | 33370.00 | KORES SANITATAION
118.00 | Supply of 5 mm Thick Float Glass -clear as and when required and as directed by Engineer In-charge. | 16.00 | Sq.M |  | 986.00 | 15776.00 | 580.00 | 9280.00 | 9280.00 | KORES SANITATAION
119.00 | Supply of 6 mm Thick Float Glass -clear as and when required and as directed by Engineer In-charge. | 4.00 | Sq.M |  | 1186.00 | 4744.00 | 700.00 | 2800.00 | 2800.00 | KORES SANITATAION
120.00 | Supply of Glass Putty as and when required and as directed by Engineer In-charge. | 50.00 | Kg |  | 56.00 | 2800.00 | 140.00 | 7000.00 | 2800.00 | KHAN CONTRACTOR
121.00 | Supply of M-seal adthesive as and when required and as directed by Engineer In-charge. | 30.00 | Kg |  | 386.00 | 11580.00 | 400.00 | 12000.00 | 11580.00 | KHAN CONTRACTOR
122.00 | Supply of Stainless steel Pipes of different diameters - 304 grade as and when required and as directed by Engineer In-charge. | 32.00 | Kg |  | 386.00 | 12352.00 | 380.00 | 12160.00 | 12160.00 | KORES SANITATAION
123.00 | Supply of 4 mm Toughened Glass as and when required and as directed by Engineer In-charge. | 2.00 | Sq.M |  | 786.00 | 1572.00 | 1100.00 | 2200.00 | 1572.00 | KHAN CONTRACTOR
124.00 | Supply of SS Bracket for 20mm dia curtain Rod as and when required and as directed by Engineer In-charge. | 200.00 | Pair |  | 56.00 | 11200.00 | 400.00 | 80000.00 | 11200.00 | KHAN CONTRACTOR
125.00 | Supply of Grease as and when required and as directed by Engineer In-charge. | 8.00 | Kg |  | 186.00 | 1488.00 | 450.00 | 3600.00 | 1488.00 | KHAN CONTRACTOR
126.00 | Supply of Plain edge Mirror of 6.0 mm thickness mounted on aluminium frame & ply or hard board of size 600 x 450mm as and when required and as directed by Engineer In-charge. | 2.00 | Each |  | 786.00 | 1572.00 | 1200.00 | 2400.00 | 1572.00 | KHAN CONTRACTOR
127.00 | Supply of Godrej night latch & retrofit adopter - Ultra XL Twin Bolt (1 CK Latch Bolt -Product Code 6082) with 4 keys & Retrofit adopter Type-A (Product Code 6245) of Godrej make as and when required and as directed by Engineer In-charge. | 107.00 | Each |  | 2786.00 | 298102.00 | 3550.00 | 379850.00 | 298102.00 | KHAN CONTRACTOR
128.00 | Supply of KICH make Mortise Lock SET MLB 9S, KICH make Mortise Handle- MH 223S as and when required and as directed by Engineer In-charge. | 4.00 | Each |  | 2786.00 | 11144.00 | 2510.00 | 10040.00 | 10040.00 | KORES SANITATAION
129.00 | Supply of PVC Curtain Hooks/Rings as and when required and as directed by Engineer In-charge. | 1953.00 | Each |  | 6.00 | 11718.00 | 2.00 | 3906.00 | 3906.00 | KORES SANITATAION
130.00 | Supply of Netlon of approved type extruded mosquito proof netting as and when required and as directed by Engineer In-charge. | 21.00 | Sq.M |  | 486.00 | 10206.00 | 150.00 | 3150.00 | 3150.00 | KORES SANITATAION
131.00 | Supply of PVC coated fibreglass insect screen of approved make confirming to relevant ASTM Codes, all as per manufactures technical specification of approved colour as and when required and as directed by Engineer In-charge. | 3.00 | Sq.M |  | 786.00 | 2358.00 | 220.00 | 660.00 | 660.00 | KORES SANITATAION
132.00 | Supply of Velcro (25 mtrs roll) as and when required and as directed by Engineer In-charge. | 26.00 | Each |  | 286.00 | 7436.00 | 550.00 | 14300.00 | 7436.00 | KHAN CONTRACTOR
133.00 | Supply of White Glazed Single Half stall Flat Back Urinal of size 610 X 410 X 380 mm as and when required and as directed by Engineer In-charge. | 2.00 | Each |  | 6786.00 | 13572.00 | 4220.00 | 8440.00 | 8440.00 | KORES SANITATAION
134.00 | Supplying and stacking of grade Stone aggregate at side of size range 90 mm to 45 mm as and when required and as directed by Engineer In-charge. | 12.00 | Cu.M |  | 2186.00 | 26232.00 | 1700.00 | 20400.00 | 20400.00 | KORES SANITATAION
135.00 | Supply of Makrana Lime as and when required and as directed by Engineer In-charge. | 25.00 | Kg |  | 16.00 | 400.00 | 15.00 | 375.00 | 375.00 | KORES SANITATAION
136.00 | Supply of Cement Primer - Internal as and when required and as directed by Engineer In-charge. | 15.00 | Litre |  | 256.00 | 3840.00 | 140.00 | 2100.00 | 2100.00 | KORES SANITATAION
137.00 | Supplying, stacking and laying of 230 mm thick rubble soling stones as under floor base including packing with smaller stone and compacting, ramming including spreading and consolidation of blinding material, moorumetc.complete all as per specifications and as directed by the Engineer-in-charge. 230mm With material available from excavation within site. | 48.00 | Sq.M |  | 286.00 | 13728.00 | 700.00 | 33600.00 | 13728.00 | KHAN CONTRACTOR
138.00 | Supply of 30mm thk Block board non decorative type Flush Door Shutter as per IS 2202 as and when required and as directed by Engineer In-charge. | 41.00 | Sq.M |  | 2186.00 | 89626.00 | 3000.00 | 123000.00 | 89626.00 | KHAN CONTRACTOR
139.00 | Supply of 35mm thk Block board non decorative type Flush Door Shutter as per IS 2202 as and when required and as directed by Engineer In-charge. | 15.00 | Sq.M |  | 2786.00 | 41790.00 | 3200.00 | 48000.00 | 41790.00 | KHAN CONTRACTOR
140.00 | Supply of 25mm thk Block board non decorative type Flush Door Shutter as per IS 2202 as and when required and as directed by Engineer In-charge. | 5.00 | Sq.M |  | 1786.00 | 8930.00 | 2800.00 | 14000.00 | 8930.00 | KHAN CONTRACTOR
141.00 | Supply of 30 mm Thick Sintex / Poly wood Flush type PVC Shutters as and when required and as directed by Engineer In-charge. | 10.00 | Sq.M |  | 2786.00 | 27860.00 | 2610.00 | 26100.00 | 26100.00 | KORES SANITATAION
142.00 | Supply of mixer valve with shower as and when required and as directed by Engineer In-charge. | 20.00 | Each |  | 3786.00 | 75720.00 | 4200.00 | 84000.00 | 75720.00 | KHAN CONTRACTOR
143.00 | Supply of Bearing for sliding glass door of cupboards as and when required and as directed by Engineer In-charge. | 400.00 | Each |  | 56.00 | 22400.00 | 200.00 | 80000.00 | 22400.00 | KHAN CONTRACTOR
144.00 | Supply of Bearing for sliding window glass as and when required and as directed by Engineer In-charge. | 800.00 | Each |  | 36.00 | 28800.00 | 160.00 | 128000.00 | 28800.00 | KHAN CONTRACTOR
145.00 | Supply of welding relectrode, 3.15 mm dia confirming to AWS E6013 (in a pack of 2.5 Kg) as and when required and as directed by Engineer In-charge. | 500.00 | Kg |  | 786.00 | 393000.00 | 440.00 | 220000.00 | 220000.00 | KORES SANITATAION
146.00 | Supply of cutting wheel suitable for AG4 machine 107 mm od x 16 mm id x 1.6 mm thk. as and when required and as directed by Engineer In-charge. | 150.00 | Each |  | 56.00 | 8400.00 | 50.00 | 7500.00 | 7500.00 | KORES SANITATAION
147.00 | Supply of bricks of size 230 x 100 x 75 mm as and when required and as directed by Engineer In-charge. | 10000.00 | No. |  | 9.86 | 98600.00 | 9.00 | 90000.00 | 90000.00 | KORES SANITATAION
148.00 | Supply of Paint - Acrylic distemper 1st quality , having VOC content less than 50 grams/ litre | 500.00 | Kg |  | 126.00 | 63000.00 | 50.00 | 25000.00 | 25000.00 | KORES SANITATAION
149.00 | Supply of Paint - Premium Plastic emulsion | 500.00 | Litre |  | 336.00 | 168000.00 | 300.00 | 150000.00 | 150000.00 | KORES SANITATAION
150.00 | Supply of Paint - Exterior emulsion | 500.00 | Litre |  | 386.00 | 193000.00 | 350.00 | 175000.00 | 175000.00 | KORES SANITATAION
151.00 | Supply of Birla wall care putty | 500.00 | Kg |  | 36.00 | 18000.00 | 32.00 | 16000.00 | 16000.00 | KORES SANITATAION
152.00 | Supply of cement Primer for internal wall | 500.00 | Litre |  | 256.00 | 128000.00 | 150.00 | 75000.00 | 75000.00 | KORES SANITATAION
153.00 | Supply of Paint - Synthetic enamel Paint | 45.00 | Litre |  | 386.00 | 17370.00 | 330.00 | 14850.00 | 14850.00 | KORES SANITATAION
154.00 | Supply of Turpentine for oil painting as and when required and as directed by Engineer In-charge. | 30.00 | Litre |  | 86.00 | 2580.00 | 160.00 | 4800.00 | 2580.00 | KHAN CONTRACTOR
155.00 | Supply of Wall mixer cock three in one as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 3486.00 | 17430.00 | 7560.00 | 37800.00 | 17430.00 | KHAN CONTRACTOR
156.00 | Supply of Wall mixer cock two in one as and when required and as directed by Engineer In-charge. | 5.00 | Each |  | 2786.00 | 13930.00 | 6800.00 | 34000.00 | 13930.00 | KHAN CONTRACTOR
157.00 | Providing and fixing Chlorinatd PVC (CPVC) pipes having thermal stability for hot & cold water supply ( as ASTM Standard 2846 & SDR - 11 Grade ) including all CPVC Plain & Brass threaded fittings, fixing the pipe the with clamps at 1.00 m spacing. This includes jointing of pipes and fittings with CPVC Solvent cement & testing the joints complete all as per specification, drawings and as directed by Engineer-In-Charge.
157.01 | 15 mm outer dia CPVC pipe (External ) / open | 12.00 | RM |  | 186.00 | 2232.00 | 155.00 | 1860.00 | 1860.00 | KORES SANITATAION
157.02 | 20 mm outer dia CPVC pipe (External ) / open | 12.00 | RM |  | 236.00 | 2832.00 | 200.00 | 2400.00 | 2400.00 | KORES SANITATAION
157.03 | 25 mm outer dia CPVC pipe (External ) / open | 12.00 | RM |  | 286.00 | 3432.00 | 250.00 | 3000.00 | 3000.00 | KORES SANITATAION
157.04 | 32 mm outer dia CPVC pipe (External ) / open | 11.00 | RM |  | 326.00 | 3586.00 | 340.00 | 3740.00 | 3586.00 | KHAN CONTRACTOR
157.05 | 40 mm outer dia CPVC pipe (External ) / open | 4.00 | RM |  | 386.00 | 1544.00 | 475.00 | 1900.00 | 1544.00 | KHAN CONTRACTOR
157.06 | 50 mm outer dia CPVC pipe (External ) / open | 12.00 | RM |  | 486.00 | 5832.00 | 700.00 | 8400.00 | 5832.00 | KHAN CONTRACTOR
158.00 | Supplying , cutting to shape and fixing specified diameter UPVC pipes as per IS 4985 in RR Masonry/ RCC walls for weep holes complete all as per drawings and as specified at site.
158.01 | 110 mm dia UPVC Pipes | 7.00 | RM |  | 486.00 | 3402.00 | 550.00 | 3850.00 | 3402.00 | KHAN CONTRACTOR
158.02 | 160 mm dia UPVC Pipes | 30.00 | RM |  | 686.00 | 20580.00 | 750.00 | 22500.00 | 20580.00 | KHAN CONTRACTOR
159.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
159.01 | 100 mm diameter | 30.00 | RM |  | 786.00 | 23580.00 | 500.00 | 15000.00 | 15000.00 | KORES SANITATAION
159.02 | 150 mm diameter | 30.00 | RM |  | 986.00 | 29580.00 | 750.00 | 22500.00 | 22500.00 | KORES SANITATAION
160.00 | Providing, supplying, fixing in position, under floors or in walls sand cast iron pipes including required specials like bends, tees, 'Y'collars, cowl etc for soil, waste and ventilation pipes conforming to IS.1729 of approved make including cost of jointing with spun yarn and molten lead of specified quantity,caulking the joints, including testing of pipes, painting with primer,fixing at walls with necessary approved type of clamps and brackets complete all as per drawings and specifications and as directed at site.
160.01 | 75 mm dia sand cast iron S&S pipe as per IS:1729 with 0.90 kg lead / joint | 12.00 | RM |  | 986.00 | 11832.00 | 2300.00 | 27600.00 | 11832.00 | KHAN CONTRACTOR
160.02 | 100 mm dia sand cast iron S&S pipe as per IS:1729 with 1.00 kg lead / joint | 12.00 | RM |  | 1286.00 | 15432.00 | 2850.00 | 34200.00 | 15432.00 | KHAN CONTRACTOR
161.00 | Providing, supplying, fixing in position in walls Rain water down take pipes using Centrifugally cast iron pipes (3.00 metres long) including required specials like bends, shoes etc for Rain water down take pipes Confirming to IS.3989 of approved make including cost of Jointing with spun yarn and molten lead of specified quantity, caulking the joints, including testing of pipes,painting with primer , fixing at walls with necessary approved type of clamps and brackets complete all as per drawings and specifications and as directed at site. 100 mm C. I. rain water down take pipe with 1.00 kg lead/joint conforming to relevant IS | 60.00 | RM |  | 1286.00 | 77160.00 | 2900.00 | 174000.00 | 77160.00 | KHAN CONTRACTOR
162.00 | Skilled manpower
162.01 | Repair works and attending the complaints related to carpentry, masonry, plumbing, flooring or any other work by deploying the skilled manpower including supply of necessary tools, equipments, scaffolding, ladders etc. for Maintenance works as indicated in Technical Specifications and as directed by EIC. Note:- The contractor needs to deploy 6 skilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task. | 3700.00 | Task |  | 1936.00 | 7163200.00 | 1670.00 | 6179000.00 | 6179000.00 | KORES SANITATAION
162.02 | Contingency Task beyond normal duty hours for Skilled workers. | 200.00 | Task |  | 336.00 | 67200.00 | 290.00 | 58000.00 | 58000.00 | KORES SANITATAION
163.00 | Semiskilled manpower
163.01 | Repair works and attending the complaints related to painting, welding, fitting or any other work by deploying the semiskilled manpower including supply of necessary tools, equipments, scaffolding, ladders etc. for Maintenance works as indicated in Technical Specifications and as directed by EIC. Note:- The contractor needs to deploy 2 semi-skilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task. | 1270.00 | Task |  | 1836.00 | 2331720.00 | 1590.00 | 2019300.00 | 2019300.00 | KORES SANITATAION
163.02 | Contingency Task beyond normal duty hours for semiskilled workers. | 50.00 | Hour |  | 316.00 | 15800.00 | 270.00 | 13500.00 | 13500.00 | KORES SANITATAION
164.00 | Supplying the casual services of Unskilled manpower for assisting Plumber, Carpenter, Mason, Welder, Painter, Numerical Painter, Fitter, etc. The Item includes supply of necessary tools, equipments, scaffolding, ladders etc. for Maintenance works as directed. Note:- The contractor needs to deploy 8 unskilled manpower for performing this activity. One person working Eight hours in a day shall be considered as one task.
164.01 | Unskilled Manpower (Note: - Task means providing services of unskilled services of one worker per day.) | 5100.00 | Task |  | 1736.00 | 8853600.00 | 1550.00 | 7905000.00 | 7905000.00 | KORES SANITATAION
164.02 | Contingency Task beyond normal duty hours for Unskilled workers. | 450.00 | Hour |  | 286.00 | 128700.00 | 265.00 | 119250.00 | 119250.00 | KORES SANITATAION
165.00 | Providing services of skilled workman as indicated in Technical Specifications and as directed by EIC.
165.01 | Data Entry Operator for assisting in office works - Skilled workmen Category. Note:- One person working Eight hours in a day shall be considered as one task. | 624.00 | Task |  | 1936.00 | 1208064.00 | 1700.00 | 1060800.00 | 1060800.00 | KORES SANITATAION
165.02 | Contingency Task beyond normal duty hours for DEO | 100.00 | Hour |  | 336.00 | 33600.00 | 300.00 | 30000.00 | 30000.00 | KORES SANITATAION
165.03 | Help Desk Operator for maintaining / updation of complaints status in online system - Skilled workmen Category. (Note:-One person working Eight hours in a day shall be considered as one task.) | 624.00 | Task |  | 1936.00 | 1208064.00 | 1700.00 | 1060800.00 | 1060800.00 | KORES SANITATAION
165.04 | Contingency Task beyond normal duty hours for Skilled Workman | 50.00 | Hour |  | 336.00 | 16800.00 | 300.00 | 15000.00 | 15000.00 | KORES SANITATAION
165.05 | Manpower for office works - Unskilled Category Note: - One person working Eight hours in a day shall be considered as one task. | 624.00 | Task |  | 1736.00 | 1083264.00 | 1550.00 | 967200.00 | 967200.00 | KORES SANITATAION
165.06 | Contingency Task beyond normal duty hours for office Attendent | 200.00 | Hour |  | 286.00 | 57200.00 | 265.00 | 53000.00 | 53000.00 | KORES SANITATAION
165.07 | Services of Highly Skilled Grade -II person required for surveying, quantity calculation, preparation of drawings, preparation of tender documents, taking site measurements, entering measurements, billing work in computer billing system, maintaining site and office records, supervise the work, instruct the site work part, maintain safety requirements at site and shall be responsible for quality and progress of work at site.etc. as directed by the Engineer-in-charge. The Qualification and work details are mentioned in the SSC. Note: - One Task means providing services of one persons per day. | 624.00 | Task |  | 2186.00 | 1364064.00 | 2300.00 | 1435200.00 | 1364064.00 | KHAN CONTRACTOR
166.00 | Murum filling under floors of specified thickness in layers of not more than150mm thickness including supplying required materials and consolidatin etc.complete (Murrum to be brought from out side campus of TMS Township) Note : a) The contractor’s quoted rate shall include the royalty as per the prevailing Government rates. Any increase in prevailing rate of Royalty shall be borne by the Contractor at no extra cost to the Owner, b) Only compacted volume will be measured and paid. | 250.00 | Cu.M |  | 1786.00 | 446500.00 | 950.00 | 237500.00 | 237500.00 | KORES SANITATAION
167.00 | Providing and laying in position cement concrete of 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of nominal size 20 mm) including consolidation, finishing, curing etc. complete as per specification and drawings but excluding the cost of Formwork shuttering, centering and steel reinforcement at all Levels. | 82.00 | Cu.M |  | 8786.00 | 720452.00 | 8000.00 | 656000.00 | 656000.00 | KORES SANITATAION
168.00 | Providing and laying in position cement concrete of 1:1.5:3 at all levels (1cement, 1.5 crushed sand, 3 graded stone aggregate of nominal size 20mm) including consolidation, finishing, curing etc. complete as per specifications and drawings but excluding the cost of shuttering, centering and steel reinforcement. | 30.00 | Cu.M |  | 9786.00 | 293580.00 | 8500.00 | 255000.00 | 255000.00 | KORES SANITATAION
169.00 | Providing and fixing at all levels, precast members using cement concrete 1:2:4 (1 cement, 2 crushed sand, 4 graded stone aggregate of max. size 20 mm) in, copings and / or bed blocks, plain window sills, shelves, louvers, steps, staircases, trench covers, drain covers etc. including hoisting and setting in position with C.M 1:3 (using crushed sand) cost of required centering, shuttering and finishing smooth with 6 mm thick cement plaster 1:3 (using Crushed sand) on exposed surfaces complete as per specifications at all levels. Notes: (1) All projections, fins etc in the concrete surface formed at the joints in formwork shall be ground & flush and finished at no extra cost. 2) Angle frame of precast covers shall be trial tested before placement of concrete at no extra cost. 3) Reinforcement steel, lifting hooks & structural steel sections for inserts, sleeves, frame, nosing etc. shall be measured & paid under separate items. | 3.00 | Cu.M |  | 12786.00 | 38358.00 | 14000.00 | 42000.00 | 38358.00 | KHAN CONTRACTOR
170.00 | Providing & placing in position Reinforcement with HYSD / TMT bars confirming to IS 1786 for reinfiorced cement concrete at all levels including supplying, cutting, bending, fixing, tying in position with PVC coated 1.6 mm dia soft drawn annealed binding wire with chair supports, spacer blocks etc. complete including cost of transporting, decoiling, straighting and binding wire, cost of spacer block in cement mortar 1:2 as per specifications. Note : Binding wire required for the work will have to be supplied by the contractor at their own cost and will not be measured for payment. | 2000.00 | Kg |  | 116.00 | 232000.00 | 93.00 | 186000.00 | 186000.00 | KORES SANITATAION
171.00 | Providing Structural steel work using angles, channels, joists and other sections, welded and/or bolted in built up sections for trusses, structural steel floors, frame works, monorails and other structures including supplying, cutting, welding, fabricating, hoisting, fixingin position, applying a priming coat of approved steel primer etc.complete all as per specifications, drawings and as directed by the Engineer in charge Up to and including 300 mm Joists, 350 mm channels, and below sections using materials of approved manufacturers. (ISI marked other than SAIL / RINL/ TATA) All test reports to be provided along with the supply of the materials. | 9500.00 | Kg |  | 156.00 | 1482000.00 | 130.00 | 1235000.00 | 1235000.00 | KORES SANITATAION
172.00 | Providing, supplying, cutting, welding, fabricating, hoisting and fixing in position structural steel members like trusses, purlins, posts etc. using MS hollow / circular / square / rectangular tubular sections including applying a coat of Zinc chromate primer of approved make all as per specifications, drawings and as directed by the Engineer in charge. | 2000.00 | Kg |  | 186.00 | 372000.00 | 160.00 | 320000.00 | 320000.00 | KORES SANITATAION
173.00 | Providing, centering, shuttering Form work using steel plates, timber planks for Sub structure including necessary strutting, proping, staging, supports, bracings etc. and deshuttering the same after the specified time all as per drawings,specificationsand as directed by the Engineer-in-charge at all levels. | 50.00 | Sq.M |  | 586.00 | 29300.00 | 425.00 | 21250.00 | 21250.00 | KORES SANITATAION
174.00 | Providing, centering, shuttering Form work using steel plates, timber planks for Super structure including necessary strutting, proping, staging, supports, bracings etc. and deshuttering the same after the specified time all as per drawings,specificationsand as directed by the Engineer-in-charge at all levels. | 100.00 | Sq.M |  | 786.00 | 78600.00 | 480.00 | 48000.00 | 48000.00 | KORES SANITATAION
175.00 | Providing and constructing Random Rubble masonry using approved Rubble stone in super structure (above plinth) in C.M 1:6 (using crushed sand) including raking out joints or simultaneous flush pointing above ground level / plinth level and up to and including 20 m height including scaffolding, curing etc. complete as per drawings and specifications. Note: If department stone is used, Rs.1428/- per Cu.M. shall be deducted. | 52.00 | Cu.M |  | 5786.00 | 300872.00 | 5600.00 | 291200.00 | 291200.00 | KORES SANITATAION
176.00 | Providing and constructing brick work in cement mortar 1:6 using crushed sand and Standard bricks of approved quality / class, make / brand in super structure above plinth upto Floor-II level in all shapes and sizes including curing, raking out joints complete as per specifications and as directed by the Engineer-in-charge | 51.00 | Cu.M |  | 11786.00 | 601086.00 | 8000.00 | 408000.00 | 408000.00 | KORES SANITATAION
177.00 | Providing and constructing Half brick masonry using bricks of approved quality / class, make/ brand in partition walls in C.M 1:4 (using crushed sand) including scaffolding, raking out joints, curing etc. complete and with stiffners of RCC 1:2:4 (105 X 75 mm size) at every 900 mm height including form work curing etc. complete as per specifications and as directed by the Engineer-in-charge but excluding reinforcement up to 20 m height. (Reinforcement will be paid under relevant item) | 5.00 | Sq.M |  | 1286.00 | 6430.00 | 1150.00 | 5750.00 | 5750.00 | KORES SANITATAION
178.00 | Providing and repairing to internal plaster in cement mortar 1:4 (using crushed sand) of thickness 12 mm to 20 mm in patches of area up to 2.5 sq metres including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls, including disposal of rubbish to the dumping ground within 50 metres lead | 1000.00 | Sq.M |  | 586.00 | 586000.00 | 450.00 | 450000.00 | 450000.00 | KORES SANITATAION
179.00 | Providing and repairing to external plastering in cement mortar 1:4 (using crushed sand) of thickness 12 mm to 20 mm in patches of area up to 2.5 sq metres including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls ncluding admixtured with approved Water proofing compound @ 2% by weight of cement used and as per manufacturer's specifications, sieving of sand to required fineness complete including disposal of rubbish to the dumping ground within 50 metres lead. | 800.00 | Sq.M |  | 786.00 | 628800.00 | 430.00 | 344000.00 | 344000.00 | KORES SANITATAION
180.00 | Providing and laying minimum 25 mm thick uniform shade Kotah stone flooring over 20 mm thick (Avearge) base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing in minimum three levels to obtain mirror polish complete with base cement mortar 1:4 (using crushed sand) all as per specifications, patterns and drawings complete. | 40.00 | Sq.M |  | 1586.00 | 63440.00 | 1850.00 | 74000.00 | 63440.00 | KHAN CONTRACTOR
181.00 | Providing and fixing1st quality ceramic glazed wall tiles conforming to IS15622 of approved make.shade and colour of size ranging from300-600mm long and 300mm-600mm wide and thick ness not less than 6mm as approved by Engineer-in-charge in skirting, risers of steps and dados over12mm thick bed of cement mortar1:3 (using crushed sand), setting the tiles in cement slurry and pointing the joints with matching colour Tile grout of approved make of matching shade including using PVC tile trim in the exposed corners, complete as per drawings, patterns and specifications complete as directed by the Engineer-in-charge. | 98.00 | Sq.M |  | 1486.00 | 145628.00 | 1300.00 | 127400.00 | 127400.00 | KORES SANITATAION
182.00 | Providing and fixing 1st quality ceramic glazed floor tiles of minimum 300 - 600 mm long and 300 - 600 mm wide and thickness not less than 6 mm conforming to IS 15622 of approved make in all colours and shades as approved by Engineer-in-charge over a bed of 20 mm thick bed of cement mortar 1:4 (using crushed sand) and jointing with grey cement slurry including pointing with white cement based Tile grout of approved make and matching shade complete as per patterns, drawings and specifications complete as directed by the Enginner-in-charge | 80.00 | Sq.M |  | 1486.00 | 118880.00 | 1350.00 | 108000.00 | 108000.00 | KORES SANITATAION
183.00 | Providing and fixing Glazed VITRIFIED floor tiles of approved make in different sizes conforming to IS15622 in all colours and shades in Glossy or Matt or satin finish laid over a bed of minimum 20mm thick bed of cement mortar1:4 (using Crushed sand) and jointing with grey cement slurry including grouting with the joints with white cement based Tile Grout of approved make and matching shade complete as per patterns, drawing sand specifications complete as directed by the Engineer-in-charge - Using Tiles of size 600 X 600 mm | 430.00 | Sq.M |  | 2186.00 | 939980.00 | 1600.00 | 688000.00 | 688000.00 | KORES SANITATAION
184.00 | Providing and applying Polymer mortar in place of cement mortar for fixing ceramic glazed floor tiles and Glazed VITRIFIED floor tiles. | 380.00 | Sq.M |  | 386.00 | 146680.00 | 70.00 | 26600.00 | 26600.00 | KORES SANITATAION
185.00 | Providing and fixing Minimum 17 mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut Granite of Telephone Black colour for kitchen platforms, vanitiy counters, Wash basin Counters, Door Frames, window sills, facias and similar locations of required size, colour and texture laid over 20 mm thick base cement mortar 1:4 (using crushed sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing the edges to give high gloss finish etc. complete as directed by the Engineer-in-charge at all levels. | 40.00 | Sq.M |  | 5786.00 | 231440.00 | 5000.00 | 200000.00 | 200000.00 | KORES SANITATAION
186.00 | Providing and fixing Rough Shahbad Stone of minimum 40 mm average thickness of size 600 X 600 mm (Approximate) over 50 mm thick (consolidated thickness) stone dust beding and 150 mm thick murrum backing including setting in position in footpath to the required level and line Pointing with C.M 1:4 (using crushed sand). Joint shall be 20 to 25 mm wide including filling of joints with cement mortar and making grooves etc. complete as per the direction of Engineer-in-charge | 200.00 | Sq.M |  | 2786.00 | 557200.00 | 1300.00 | 260000.00 | 260000.00 | KORES SANITATAION
187.00 | Repairing of existing shahabad stone (50 mm avg. thickness) paving pointed with CM 1:4 in footpath by removing & refixing of shahabad stone over a bed of 75 mm consolidated thick crusher sand, to proper slope including cutting the edges to proper lines, removing of existing layer of murrum up to required depth, sunk pointing with CM 1:4 with 15 x 10 mm groove cores wise and longitudinally, curing, disposing of broken stone & surplus murrum at designated place within TMS Township etc. complete as directed by Engineer-In-Charge. Note : Required shortfall shahabad stone slab shall be provided by department free of cost and no extra payment shall be made for shifting stone from Civil store to Work spot. | 1000.00 | Sq.M |  | 1248.10 | 1248100.00 | 650.00 | 650000.00 | 650000.00 | KORES SANITATAION
188.00 | Providing 2 (Two) level polishing including mirror polishing of Terrazo / STILAN / Kotah stone flooring in residential quarters complete as directed by the Engineer-In-Charge | 165.00 | Sq.M |  | 186.00 | 30690.00 | 180.00 | 29700.00 | 29700.00 | KORES SANITATAION
189.00 | Providing and fixing anodized Aluminium work for doors, windows, ventilator sand partitions with extruded built up standard tubular sections/Z sections and other sections of approved make conforming to IS733 and IS 1285 fixed with rawl plug sand screws or with fixing clips or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC / neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically whereever required including cleat angle, aluminium snap beading forglazing / panelling, C.P brass/stainless screws all complete as per drawings and and directions of Engineer-in-charge including providing and fixing hinges/pivots and making provision for fixing of fittings wherever required including the cost of PVC / neoprene gasket required filling the gaps using sili congrout sealent etc.(fittings glazing and panelling shall be paid for separately) Anodised Aluminium sections (Minimum anodizing thickness of 15 micron) | 500.00 | Kg |  | 686.00 | 343000.00 | 850.00 | 425000.00 | 343000.00 | KHAN CONTRACTOR
190.00 | Providing and applying French spirit polishing for wooden sufaces with two coats on new works including a coat of wood filler to form a uniform neat finish as directed by the Engineer -in-charge and / or as per the specifications complete as directed by the Engieer-in- charge | 900.00 | Sq.M |  | 386.00 | 347400.00 | 300.00 | 270000.00 | 270000.00 | KORES SANITATAION
191.00 | Providing, Supplying and replacing in position wherever required the following parts after removing the damaged old part carefully including all labour, taxes, duties, scaffolding, transport, welding, drilling, grinding, tools, tackles etc. and with applying one coat of primer wherever required, including transporting the dismantled M.S/ metal scrap and depositing at Destignated place as directed by the Engineer-in-charge at site. Up to 5.00 M Height
191.01 | G.I .lathe sections 75mm wide & 18g thick | 2.00 | RM |  | 186.00 | 372.00 | 370.00 | 740.00 | 372.00 | KHAN CONTRACTOR
191.02 | M. S. bottom rails (pressed type 10G with locking arrangement, handles, etc. in both ends and sides. | 2.00 | RM |  | 786.00 | 1572.00 | 1705.00 | 3410.00 | 1572.00 | KHAN CONTRACTOR
191.03 | Providing, supplying , fabricating and assembling Shaft asembly for Rolling shutters using Heavy M.S. Pipes, springs & ring pully complete including erection. | 1.00 | RM |  | 2186.00 | 2186.00 | 6590.00 | 6590.00 | 2186.00 | KHAN CONTRACTOR
191.04 | Providing, supplying , fabricating and fixing M.S. hood cover with 0.90 mm thick M.S sheet with supports for rolling shutters complete including erection | 1.00 | RM |  | 586.00 | 586.00 | 2500.00 | 2500.00 | 586.00 | KHAN CONTRACTOR
191.05 | Providing, supplying and fixing M.S. guide channels with supports for existing rolling shutters complete including erection. | 2.00 | RM |  | 486.00 | 972.00 | 1150.00 | 2300.00 | 972.00 | KHAN CONTRACTOR
191.06 | Providing, supplying and fixing Side Brackets for Rolling Shutters Complete including erection. | 1.00 | Each |  | 86.04 | 86.04 | 2350.00 | 2350.00 | 86.04 | KHAN CONTRACTOR
192.00 | Providing and Fixing 2.00 mm thick Anti-Static PVC sheet / tile in flooring and skirting of approved make in approved pattern on a smooth and damp proof base using rubber based adhesive of approved quality and manufacturer including levelling small undulations with plaster of paris if required, Copper foil strips as per manufacturers specifications, rolling with light wooden roller weighing about 5 kg all complete as directed by Engineer-in-charge in approved colour and shade. | 12.00 | Sq.M |  | 2786.00 | 33432.00 | 1000.00 | 12000.00 | 12000.00 | KORES SANITATAION
193.00 | Providing and fixing in position suspended false ceiling system using 12 mm thick calcium silicate boards (HILUX ceiling systems) 100% humidity resistance, incombustible as per BS 476 part IV with thermal conductivity of 0.043 w/m KC placed in a suspended grid of size of 600x600 mm made of hot-dipped G.I steel sections where in the ceiling sections of 0.55 mm thick shall be suspended at 1200 mm centres along the length of ceiling with 4mm dia G.Iwires / 1mm thick strip hangers made of G.I sheet sections with necessary level adjusters and inter channels of 0.90 mm thick with connecting clips and resting on the perifery walls on wall angles of 0.55 mm thickness including providing necessary openings for light fixtures, diffusers, trap doors etc to be made as per layout drawings and as per directions of Engineer-in-charge. | 20.00 | Sq.M |  | 3786.00 | 75720.00 | 2320.00 | 46400.00 | 46400.00 | KORES SANITATAION
194.00 | Laying,spreding and compacting stone aggregate of specified sizs to WBM specifications including spreading in uniform thickness, hand packing, rolling with 3 wheeled road / vibratory road roller 8 to10 T capacity to proper grade and camber, applying and brooming requisite type of screening / binding material to fill up interstices of coarse aggregate watering and compacting to the required density. | 30.00 | Sq.M |  | 286.00 | 8580.00 | 80.00 | 2400.00 | 2400.00 | KORES SANITATAION
195.00 | Providing and fixing UV stabilised fibre glass reinforced plastic sheet roofing / vertical lines up to any pitch including fixing with polymer coated 'J'or'L'hooks, bolts and nuts 8mm dia.G.I.plain / bitumen washers complete but excluding the cost of purlins, rafters, trusses etc.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified and as directed by the Enginer-in-charge 2.0 mm thick corrugated (2.5" or 4.5"or 6") or step - down (2"or 3" or 6") as specified. | 6.00 | Sq.M |  | 1686.00 | 10116.00 | 2520.00 | 15120.00 | 10116.00 | KHAN CONTRACTOR
196.00 | Providing and constructioning Inspection chambers of Internal size clear dimention of 900 x 600 mm in 230 thick brick masonry with cement mortat 1:4 over a bed of 150 mm thick 1:4:8 cement concrete foundation, plastering with cement mortar 1:4 20 mm thick on inside, out side and all exposed sufaces finished with a floating coat of neat cement, brick corbelling at top to provide opening of 900 X 450 mm, embedding the frame and cover with CC 1:2:4 concrete, and fixing cast iron steps if necessary at 300mm intervals complete . Depth of chamber not exceeding 900 mm. (excavation, soling, cast iron cover and C.I steps will be paid separately under relevant item) | 1.00 | Each |  | 10786.00 | 10786.00 | 25000.00 | 25000.00 | 10786.00 | KHAN CONTRACTOR
197.00 | Providing, wall painting with one coat on old work Luster paint of of approved make to give an even shade including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge. | 25.00 | Sq.M |  | 486.00 | 12150.00 | 85.00 | 2125.00 | 2125.00 | KORES SANITATAION
198.00 | Designing, providing and fixing of 4 mm thick approved make and shade Aluminium Composite Metal Panel of approved make cladding / bars at different locations including soffits of over-hangs and including aluminium frame section 100mm x 44mm work with box of 800mm x 600 mm grids, filled in with weather silicon sealant, hanger supports, anchor fasteners,screws etc as per the drawings. The ACM panel composition shall be of 0.5 mm thick PVDF coated aluminium sheet + 3 mm thick low density polyethelene virgin resin core + 0.5 mm thick polyester (PVDF) coated Aluminium sheet all complete as per approved shop drawings and specification | 100.00 | Sq.M |  | 6186.00 | 618600.00 | 7800.00 | 780000.00 | 618600.00 | KHAN CONTRACTOR
199.00 | Stiching charges for PVC coated fiberglass insect screen to Velcro including cutting, stiching and making to suit the window dimensions having window sizes 600 x 600 mm to 600 x 1500 mm . | 250.00 | Each |  | 286.00 | 71500.00 | 95.00 | 23750.00 | 23750.00 | KORES SANITATAION
200.00 | Earth work excavation by mechanical means (Hydraulic excavator)/manual means in all types of soil other than soft and hard rock, dressing the sides offoundation, ramming of bottom etc. including shoring and dewatering (ifnecessary) and refilling with selected excavated earth in layers of not more than 500mm thick, each layer well rammedand consolidated including disposing the surplus earth with in a distance of 200 m all as per specifications including clearing Jungle, uprooting of vegetation, grass, etc. complete and as directed by the Engineer-in-charge (a) From 0.00 to 1.50 m depth from Average Ground Level. | 92.00 | Cu.M |  | 786.00 | 72312.00 | 370.00 | 34040.00 | 34040.00 | KORES SANITATAION
201.00 | Earth work excavation - Extra over initial depth for every additional Depth of 1.50 m or part thereof in all kinds of soil | 40.00 | Cu.M |  | 186.00 | 7440.00 | 55.00 | 2200.00 | 2200.00 | KORES SANITATAION
202.00 | Supplying and fixing Rolling shutters of approved make as per ISI standards made out of required size of MS lathes 18 gauge interlocked together throughout entire length and jointed together at the end by end locks mounted on specially designed pipes shaft with brackets, side guides and arrangements for inside & outside locking with push and pull operation complete including the cost of providing and fixing necessary springs of required size and M. S top cover of required thickness for rolling shutters - Rolling shutters gear operated type with handles including top hood 0.90 mm thick. | 10.00 | Sq.M |  | 5786.00 | 57860.00 | 7950.00 | 79500.00 | 57860.00 | KHAN CONTRACTOR
203.00 | Demolishing C.C / R.C.C works by mechanical means and stock piling at designated locations carefully with out damaging adjacent structures and disposal of dismantled materials up to a lead of 100 m, stacking serviceable and unserviceable materials separately including cutting reinforcement bars all as directed at site. | 32.00 | Cu.M |  | 2786.00 | 89152.00 | 2550.00 | 81600.00 | 81600.00 | KORES SANITATAION
204.00 | Dismantling brick work in Cement mortar carefully without damaging adjacent structures including stacking of materials and dispoal of unserviceable materials within 100 m lead as per direction of Engineer-in-charge | 15.00 | Cu.M |  | 1786.00 | 26790.00 | 85.00 | 1275.00 | 1275.00 | KORES SANITATAION
205.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 100 m lead For thickness of tiles above 25 mm and up to 40 mm. | 300.00 | Sq.M |  | 86.00 | 25800.00 | 50.00 | 15000.00 | 15000.00 | KORES SANITATAION
206.00 | Dismantling old plaster / skirting carefully , raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 100 m lead | 300.00 | Sq.M |  | 56.00 | 16800.00 | 60.00 | 18000.00 | 16800.00 | KHAN CONTRACTOR
207.00 | Providing SFMC Micro concrete (Using 100% SFMC) for strengthening of structural members including mixing, pouring, curing as per manufacturer specifications and as directed by the Engineer-in-charge | 200.00 | Kg |  | 586.00 | 117200.00 | 65.00 | 13000.00 | 13000.00 | KORES SANITATAION
208.00 | Providing and fixing double tubular scaffolding system using H- frames with cup lock type on the exterior side upto seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre horizontal and vertical tubes joining with cup and lock system with M.S. tubes, M.S. tube challies, M.S clamps and M.S staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connection with building etc. wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and as approved by the Engineer -in - charge. The elevational area of the scaffolding shall be measured for payment purposes. The payment shall be made once irrespective of duration of scaffolding. | 100.00 | Sq.M |  | 586.00 | 58600.00 | 200.00 | 20000.00 | 20000.00 | KORES SANITATAION
209.00 | Providing and fixing precoated Galvalume Roofing profile sheets of approved size, shape and pitch up to and including single length of 12.00 met. The sheet shall be fixed using self drilling / self tapping screws of size (5.5 X 55 mm) with EPDM seal or with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers filled with white lead complete upto any pitch in horizontal / vertical or curved surfaces excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required as directed by the Engineer-in- charge | 500.00 | Sq.M |  | 1186.00 | 593000.00 | 1350.00 | 675000.00 | 593000.00 | KHAN CONTRACTOR
210.00 | Providing and Painting with 1st quality acrylic washable distemper (ready made) with Two coats on new work of approved make and manufacturer and of required shade and colour, including scaffolding, preparation of the surfaces ,etc., including a coat of approved cement primer.as per manufacturer's specifications and as directed by the Engineer-in-charge. | 3000.00 | Sq.M |  | 86.00 | 258000.00 | 230.00 | 690000.00 | 258000.00 | KHAN CONTRACTOR
211.00 | Providing and applying wall painting two coats on new work with premium plastic emulsion paint of approved brand to give an even shade, including a coat of approved cement primer, including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge | 4000.00 | Sq.M |  | 136.00 | 544000.00 | 252.00 | 1008000.00 | 544000.00 | KHAN CONTRACTOR
212.00 | Providing, painting,finishing walls with two coats of anti-algae, weather proof acrylic smooth emulusion paint of approved make with silicon additives on sand face plaster/ plain plaster & concrete surfaes of required shade over new work over a base coat of exterior cement primer including preparation of the surfaces, scaffolding complete. as per specifications and as directed by the Engineer-in-charge. | 500.00 | Sq.M |  | 186.00 | 93000.00 | 340.00 | 170000.00 | 93000.00 | KHAN CONTRACTOR
213.00 | Providing and fixing 35 mm thick FRP door shutters flush door / panelled door type of approved colours including the cost of 100 mm ISI marked heavy quality stainless steel butt hinges with necessary screws. with plain colour or wooden veneer finish of approved make, design & colour. made out of 1.5mm thick FRP skin moulded over wooden frame work of 40 mm wide and required thickness wooden styles and minimum100mm wide lock rail sand woden blocks for door stoppers, towerbolts, baby latch, aldrop, handles etc. wherever required and core filled with Polyurethane Foam and fixing with 4Nos100mm (ISImarked) stainless steel hinges with S.S. wood screws - 35 mm thick panelled door type of approved colours including the cost of 100 mm ISI marked heavy quality stainless steel butt hinges with necessary screws. | 68.00 | Sq.M |  | 4786.00 | 325448.00 | 8000.00 | 544000.00 | 325448.00 | KHAN CONTRACTOR
214.00 | Providing and fixing White Vitreous china Orissa pattern W.C. pan of size 580x440 mm Indian water closet (Orissapan) of approved make with100mm Chinaware Por Strap,One no.10 litre High level or low level white PVC flushing cistern with flush pipe & bend with manually controlled device (handle lever) conforming to IS:7231, PVC 15mm Inlet connection with all fittings and fixtures complete including all connection, embedding in position commissioning, cleaning etc. all as per drawings and specifications and as directed by the Engineer-in-charge. | 16.00 | Each |  | 8786.00 | 140576.00 | 8000.00 | 128000.00 | 128000.00 | KORES SANITATAION
215.00 | Providing and fixing 150 x 100 mm size "P" type square mouth S.W. gully trap complete with CI grating brick masonry chamber with water tight CI cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.5 kg and frame to be not less than 2.70 kg as per standard design. | 4.00 | Each |  | 786.00 | 3144.00 | 10000.00 | 40000.00 | 3144.00 | KHAN CONTRACTOR
216.00 | Providing, laying to the slope specified and jointing glazed 150 mm diameter stoneware pipes grade 'A' with stiff mixture of cement mortar in the order of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete excluding excavation and refilling which will be paid under relevent item. | 240.00 | RM |  | 1186.00 | 284640.00 | 1700.00 | 408000.00 | 284640.00 | KHAN CONTRACTOR
217.00 | Providing, hoisting and installing at required elevation moulded HDPE CYLINDRICAL vertical storage water tank white silicon coated 2000 lit capacity of approved make of the following capacities with WHITE SILICON coated and with suitable S. M. C cover at top including the cost of labour for making hole in the storage tank for inlet, outlet, scour and overflow, providing and fixing necessary G.I nipples ranging from 15 mm to 50 nn n.b of average150 mm length with double check nuts, washers etc. complete as directed by the Engineer-in-charge. | 2.00 | Each |  | 21786.00 | 43572.00 | 29500.00 | 59000.00 | 43572.00 | KHAN CONTRACTOR
218.00 | Providing and constructing storm water chambers of Internal size clear dimention of 900mm x 600 mm in 230 thick brick masonry with cement mortat 1:4 over a bed of 150 mm thick 1:4:8 cement concrete foundation, plastering with cement mortar 1:4 20 mm thick on inside, out side and all exposed sufaces finished with a floating coat of neat cement, embedding the C.I frame and cover / RCC precast slab by making suitable rebate in concrete and fixing cast iron steps if necessary at 300 mm intervals complete as directed by the Engineer-in-charge. Depth of chamber not exceeding 900 mm. (Excavation, soling, cast iron cover, C.I steps and precast slab will be paid separately under relevant item) | 16.00 | Each |  | 9786.00 | 156576.00 | 60000.00 | 960000.00 | 156576.00 | KHAN CONTRACTOR
219.00 | Providing and applying 2.5 mm thick road marking strips (retro-reflective) of specified shade / colour using hot thermoplastic material by fully/semi automatic thermoplastic paint applicator machine fitted with profile shoe healer, glass beads dispenser, propane tank heater etc. driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, dust, oil, grease and foreign material etc.complete as per direction of Engineer-in-charge and in accordance with specifications and as directed by the Engineer-in-charge | 150.00 | Sq.M |  | 786.00 | 117900.00 | 1135.00 | 170250.00 | 117900.00 | KHAN CONTRACTOR
220.00 | Providing and fixing satin finish stainless steel AISI 304 (18/8) kitchen sink of size 610 x 510 mm without drain board and bowl size 685 x 535 x 250 mm depth as per IS13983 of approved make, with C.I. brackets, fittings and stainless steel plug 40 mm including painting the fittings and brackets with 3 coats of white enamel paint over a coat of primer, cutting and making good the walls wherever requried complete as per specifications and as directed by the Engineer-in-charge. | 33.00 | Set |  | 9786.00 | 322938.00 | 12900.00 | 425700.00 | 322938.00 | KHAN CONTRACTOR
221.00 | Providing fixing Mangalore tile roofing with class AA tiles in cement mortar 1:4 on sloping slab including necessary scaffolding, curing, finishing, etc. complete. | 400.00 | Sq.M |  | 2716.00 | 1086400.00 | 1050.00 | 420000.00 | 420000.00 | KORES SANITATAION
222.00 | RCC bamboo shape fencing having size is as : 1) Main vertical post 2 Nos. having height 48 inch, dia 125mm and 135mm at butt joint with 3 holes for fixing horizontal member. 2) Middle vertical posts 9 Nos. having height 23 inch and dia 60mm. 3) Horizontal member 3 Nos. length 68 inch and dia 80mm. cast with concrete of grade M -30 including PVC cover block as per the sketch attached and colour green. As per photo - 2 attached (This is details of 1 Piece ) | 200.00 | RM |  | 1786.00 | 357200.00 | 3200.00 | 640000.00 | 357200.00 | KHAN CONTRACTOR
223.00 | Providing and supplying collapsible gate made out of 20x6 mm flat full set indluding cost material,labour fabrication transportation and errection at site as directed by engineer in charge. | 40.00 | Sq.M |  | 4786.00 | 191440.00 | 5600.00 | 224000.00 | 191440.00 | KHAN CONTRACTOR
224.00 | Hiring of following machinery for daily required for excavation in open areas or any other work for 8 working hours with fuel & driver excluding lunch time, etc. Proportionate payment will made due to late coming or break down or on any other reasons resulting to idleing of JCB.
224.01 | Hydraulic Excavator | 12.00 | Day |  | 11786.00 | 141432.00 | 7800.00 | 93600.00 | 93600.00 | KORES SANITATAION
224.02 | Dumper / Truck | 5.00 | Day |  | 5935.26 | 29676.30 | 5000.00 | 25000.00 | 25000.00 | KORES SANITATAION
225.00 | Carrying out floor cleaning on existing inter locking tiled flooring / Marble / Granite / Mosaic floors with high pressure water jet machine including charges of jet machine, labourers, tools and tackeles, consumable, dispoosing of dust, ash, debries at designated place in TMS Township at directed by Engineer- in-charge. | 5000.00 | Sq.M |  | 49.86 | 249300.00 | 9.00 | 45000.00 | 45000.00 | KORES SANITATAION
226.00 | Providing and laying 60 mm thick factory made cement concrete interlocking paver block of M-30 grade made with strong vibratory compaction and approved size, shape, design laid in required colour and pattern over and including 50 mm thick compacted bed of crushed sand, filling the joints with crushed sand etc. all complete as -per the direction of the Engineer-in-charge | 2000.00 | Sq.M |  | 1186.00 | 2372000.00 | 1100.00 | 2200000.00 | 2200000.00 | KORES SANITATAION
227.00 | Providing and fixing at and near ground level precast cement concrete 1:2:4 in kerbs, edgings etc. as per approved patterns and setting in position with C.M 1:3 (using crushed sand) including consolidation, curing, cost of required centering, shuttering, finishing smooth with 6 mm thick cement plaster 1:3 (using crushed sand) on exposed surfaces complete as per specifications and as directed by the Engineer-in-charge | 235.00 | Cu.M |  | 11786.00 | 2769710.00 | 11000.00 | 2585000.00 | 2585000.00 | KORES SANITATAION
228.00 | APPLICABLE TOTAL GST RATE (%) INCLUDED IN THE QUOTED PRICE:
228.01 | CGST RATE(%)
228.02 | SGST RATE(%)
228.03 | IGST RATE(%)
| Total in Figures |  |  |  |  | 50516786.00 |  | 47474432.00
Lowest Amount Quoted BY: KORES SANITATAION(47474432.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance of Civil and PH works for Residential Quarters and Other Facilities at Anuvikas Township, TMS. Tender ID: 2024_NPCIL_199809_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KORES SANITATAION (BID ID -720324) | 47474432.00 | L1
| 2 | KHAN CONTRACTOR (BID ID -722056) | 50516786.00 | L2