## BoQ1
Government eProcurement System Created By: MURUGESAN ELANGOVAN Created Date/Time: 21-Nov-2024 11:21 AM Tender Title: MAPS/CTC/MM/PUBLIC/ET880/2024 Tender ID: 2024_NPCIL_200283_1
Tender Inviting Authority: Maintenance Superintendent
Name of Work:Fabrication and erection of piping, ducting and installation of mechanical equipments of breathing air and ventilation syatem at OESC, Kalpakkam.
Contract No: MAPS/CTC/MM/PUBLIC/ET880/2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Prasanna Engineering Corporation (GSTN-NA) BID ID -739680
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Transportation passivation and erection of SS pipe and fittings. | 643.00 | Inch. Mtr | 158.54 | 170.00 | 109310.00 | 109310.00 | Prasanna Engineering Corporation
2.00 | Edge preparation fit up& welding of CS to SS / SS to SS piping by BW GTAW as per welding order. | 2269.00 | Inch.Dia | 1062.37 | 1200.00 | 2722800.00 | 2722800.00 | Prasanna Engineering Corporation
3.00 | Transportation cleaning and erection of CS Pipes and fittings | 2200.00 | Inch. Mtr | 107.96 | 120.00 | 264000.00 | 264000.00 | Prasanna Engineering Corporation
4.00 | Edge preparation fit up& welding CS piping BW/SW by GTAW/GTAW+SMAW as per welding order. | 2415.00 | Inch.Dia | 785.81 | 900.00 | 2173500.00 | 2173500.00 | Prasanna Engineering Corporation
5.00 | DPT Root & Final pass for piping work | 5524.00 | Inch.Dia | 87.33 | 85.00 | 469540.00 | 469540.00 | Prasanna Engineering Corporation
6.00 | Edge preparation fit up & welding CS to SS/ SS to SS pipe joint S.W GTAW | 839.00 | Inch.Dia | 589.28 | 600.00 | 503400.00 | 503400.00 | Prasanna Engineering Corporation
7.00 | Edge preparation , fit up& welding BW/NW of MS Duct/duct fitting circumferential /longitudinal conforming to ASTM A515 Gr60/A516 Gr 70 by GTAW/GTAW+SMAW | 328.00 | Mtr | 1719.47 | 1800.00 | 590400.00 | 590400.00 | Prasanna Engineering Corporation
8.00 | Transportation cleaning and erection of MS Duct and duct fittings | 7797.00 | Inch. Mtr | 227.14 | 240.00 | 1871280.00 | 1871280.00 | Prasanna Engineering Corporation
9.00 | DPT Root & Final pass for ducting job and structural joints | 360.00 | Mtr | 316.26 | 350.00 | 126000.00 | 126000.00 | Prasanna Engineering Corporation
10.00 | Transporation and erection of 45 degree supply grills with VCD as per drawing and NPCIL specification : PC-E-773 | 115.00 | Nos | 2699.00 | 2500.00 | 287500.00 | 287500.00 | Prasanna Engineering Corporation
11.00 | Transporation and erection of 0 degree exhaust grills with VCD as per drawing and NPCIL specification : PC-E-773 | 175.00 | Nos | 1752.50 | 1800.00 | 315000.00 | 315000.00 | Prasanna Engineering Corporation
12.00 | Transportation and erection of butterfly /back draft dampers for size 150 NB and below as per drawing | 74.00 | Nos | 1799.33 | 1800.00 | 133200.00 | 133200.00 | Prasanna Engineering Corporation
13.00 | Transportation and erection of butterfly/back draft dampers FL end for size above 150 NB and below 400 NB as per drawing | 32.00 | Nos | 2699.00 | 2800.00 | 89600.00 | 89600.00 | Prasanna Engineering Corporation
14.00 | Transportation and erection of butterfly/back draft dampers FL end for size above 400 NB as per drawing | 22.00 | Nos | 5398.02 | 5500.00 | 121000.00 | 121000.00 | Prasanna Engineering Corporation
15.00 | Supply , fabrication and erection of supports structures includes plates, angles , channels, beams and etc as per IS : 2062 / Supply and Installation of U-bolts, fasteners of grade 8.8 , full threaded rods, coupler and lock nuts as per drawing. | 25000.00 | Kgs | 166.96 | 160.00 | 4000000.00 | 4000000.00 | Prasanna Engineering Corporation
16.00 | Supply , fabrication and erection of SS material structural supports . | 115.00 | Kgs | 285.31 | 290.00 | 33350.00 | 33350.00 | Prasanna Engineering Corporation
17.00 | Transportation and erection of ball valve, needle valves , PRV , RV's and other type of valves . | 237.00 | Nos | 539.80 | 550.00 | 130350.00 | 130350.00 | Prasanna Engineering Corporation
18.00 | Transporation and installation of Centrifugal Fan (flow-rate: 6800 cu.m/hr, static head: 210mmWC, efficiency: 70% )as per NPCIL specification : PC-E-745 and data sheet : NPCIL/73702/2013/DS | 2.00 | Nos | 63445.23 | 60000.00 | 120000.00 | 120000.00 | Prasanna Engineering Corporation
19.00 | Transportation and installation of Breathing Air Cylinders with built in isolation valve with header conforming to the Indian Standard specification IS:3224 as per NPCIL specification : PP-E-00095 | 184.00 | Nos | 2430.34 | 2200.00 | 404800.00 | 404800.00 | Prasanna Engineering Corporation
20.00 | Transporation and installation of Tube Axial Exhaust Fan (flow-rate: 1500 cu.m/hr, static head: 15mmWC, efficiency: 40% ) as per drawing NPCIL/73702/2019 | 2.00 | Nos | 45920.24 | 45000.00 | 90000.00 | 90000.00 | Prasanna Engineering Corporation
21.00 | Transporation and installation of Propellerl Fan (flow-rate: 500-600 cu.m/hr, static head: 2-5mmWC, efficiency: 15% ) as per drawing NPCIL/73702/2020 | 1.00 | Nos | 18368.10 | 18000.00 | 18000.00 | 18000.00 | Prasanna Engineering Corporation
22.00 | Transporation and installation of Tube Axial Fan (flow-rate: 800-1000cu.m/hr, static head: 10 mmWC, efficiency: 40% ) as per drawing NPCIL/73702/2021 | 2.00 | Nos | 36736.20 | 35000.00 | 70000.00 | 70000.00 | Prasanna Engineering Corporation
23.00 | Transportation and installation of filter which includes Pre-filter, HEPA and characoal filters as per approved drawing . | 12.00 | Nos | 7291.03 | 7000.00 | 84000.00 | 84000.00 | Prasanna Engineering Corporation
24.00 | Erection and dismantling of one set of scaffolding along with pipes and clamps as per Industrial standards (One set = 1.5 mtr x 1.5 mtr x 1.5 mtr) | 690.00 | Set | 733.85 | 900.00 | 621000.00 | 621000.00 | Prasanna Engineering Corporation
25.00 | Shifting of scrap material from welding shop/inside OESC building to scrap yard | 3000.00 | Kgs | 17.64 | 17.00 | 51000.00 | 51000.00 | Prasanna Engineering Corporation
26.00 | Shifting of material from MAPS stores to OESC site which includes piping and ducting material , fans , filters , cylinders and other equipments related to ventilation and air breathing system . Loading and unloading of material. Only trailer will be given by department. | 12.00 | per trip | 12161.97 | 11000.00 | 132000.00 | 132000.00 | Prasanna Engineering Corporation
27.00 | Radiography testing of weld joint on ducting carried out by RT qualified Level-1 and Level-2 ASNT/ISNT personnel . | 17.00 | Mtr | 4553.76 | 4500.00 | 76500.00 | 76500.00 | Prasanna Engineering Corporation
28.00 | Radiography testing of weld joint on Piping carried out by RT qualified Level-1 and Level-2 ASNT/ISNT personnel . | 235.00 | Inch dia | 1449.90 | 1250.00 | 293750.00 | 293750.00 | Prasanna Engineering Corporation
29.00 | Supply and erection of 14 Gauge galvanised wire mesh for bird screen protection to cover open duct ends | 25.00 | Sq.Mtr | 1527.00 | 1500.00 | 37500.00 | 37500.00 | Prasanna Engineering Corporation
30.00 | Supply and installation of In-situ prepared EPDM gasket- (Durameter Hardness Shore-A 65 +/- 5) 3 mm THK. | 30.00 | Sq.Mtr | 15395.67 | 15000.00 | 450000.00 | 450000.00 | Prasanna Engineering Corporation
| Total in Figures |  |  |  |  | 16388780.00
Lowest Amount Quoted BY: Prasanna Engineering Corporation(16388780.00)

## BOQ Summary
BOQ Summary Details Tender Title: MAPS/CTC/MM/PUBLIC/ET880/2024 Tender ID: 2024_NPCIL_200283_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Prasanna Engineering Corporation (BID ID -739680) | 16388780.00 | L1