## BoQ1
Government eProcurement System Created By: R Thirumurugan Created Date/Time: 22-Nov-2024 11:18 AM Tender Title: NPCIL/CMPAPP/2024/CIVIL/PT77 Tender ID: 2024_NPCIL_200453_1
Tender Inviting Authority: Chief Engineer, CMPAPP
Name of Work: Miscellaneous Civil, Electrical and other development works in R&R colony at village Gonjhi Raiyat, Mandla.
Tender No: NPCIL/CMPAPP/2024/CIVIL/PT77
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ENTECK TRADE LINK (GSTN-09AABFE5739M1Z0) BID ID -724616 |  | ROYAL ENGINEERING SERVICES (GSTN-NA) BID ID -725253
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing jungle Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish upto 1 Km distance and as per the direction of Engineer-in-charge.. | 4200.00 | 100 sqm |  | 925.00 | 3885000.00 | 100.00 | 420000.00 | 420000.00 | ROYAL ENGINEERING SERVICES
2.00 | Cleaning and washing of Roads either by manual means or by using machinery like compressed air arrangement for cleaning by removing all dust, mud etc. without any damage to Roads including disposal of all dust, mud etc. within 1 km and as per the direction of Engineer-in-charge. | 1100.00 | 100 sqm |  | 740.00 | 814000.00 | 300.00 | 330000.00 | 330000.00 | ROYAL ENGINEERING SERVICES
3.00 | Cleaning of Drains having different sections either by manual means or by using machinery by removing all dust, mud etc. without any damage to the drain structures and as per the direction of Engineer-in-charge.
3.01 | 0.45 m wide internal width | 20000.00 | per metre |  | 25.00 | 500000.00 | 10.00 | 200000.00 | 200000.00 | ROYAL ENGINEERING SERVICES
3.02 | 0.95 m wide internal width | 10000.00 | per metre |  | 50.00 | 500000.00 | 20.00 | 200000.00 | 200000.00 | ROYAL ENGINEERING SERVICES
3.03 | 1.6m wide internal width | 4000.00 | per metre |  | 60.00 | 240000.00 | 40.00 | 160000.00 | 160000.00 | ROYAL ENGINEERING SERVICES
3.04 | 3.5 m wide Box Tunnel | 1000.00 | per metre |  | 75.00 | 75000.00 | 100.00 | 100000.00 | 75000.00 | ENTECK TRADE LINK
4.00 | Cleaning, washing and mopping of floors, walls, ceillings,stairs, roofs of rooms, kitchens, verandah, toilets etc. of different buildings/structures as well as the clearance of grass & unwanted vegetation of area in its vicinity as per the direction of Engineer-in-charge .This item includes the costs of materials required for cleaning washing and moppings like brooms, detergents, brushes etc.all complete and also includes the cost for removal of all dust, mud etc. within 1 km as per the direction of Engineer-in-charge.
4.01 | Single Dwelling Unit compound within boundary wall include Dwelling Unit, Toilets , Bathroom etc. (complete) | 15840.00 | Lumpsum |  | 200.00 | 3168000.00 | 70.00 | 1108800.00 | 1108800.00 | ROYAL ENGINEERING SERVICES
4.02 | Shopping Centre A | 48.00 | Lumpsum |  | 600.00 | 28800.00 | 1500.00 | 72000.00 | 28800.00 | ENTECK TRADE LINK
4.03 | Shopping Centre B | 48.00 | Lumpsum |  | 700.00 | 33600.00 | 1500.00 | 72000.00 | 33600.00 | ENTECK TRADE LINK
4.04 | Haat Bazaar | 48.00 | Lumpsum |  | 300.00 | 14400.00 | 1500.00 | 72000.00 | 14400.00 | ENTECK TRADE LINK
4.05 | Pubic Toilet Block | 48.00 | Lumpsum |  | 300.00 | 14400.00 | 1500.00 | 72000.00 | 14400.00 | ENTECK TRADE LINK
4.06 | Community Building | 48.00 | Lumpsum |  | 1200.00 | 57600.00 | 1500.00 | 72000.00 | 57600.00 | ENTECK TRADE LINK
4.07 | Police Chowki | 48.00 | Lumpsum |  | 300.00 | 14400.00 | 1500.00 | 72000.00 | 14400.00 | ENTECK TRADE LINK
4.08 | Panchayat Bhawan | 48.00 | Lumpsum |  | 800.00 | 38400.00 | 1500.00 | 72000.00 | 38400.00 | ENTECK TRADE LINK
4.09 | Primary Health Centre | 48.00 | Lumpsum |  | 1300.00 | 62400.00 | 1500.00 | 72000.00 | 62400.00 | ENTECK TRADE LINK
4.10 | Primary School | 48.00 | Lumpsum |  | 4000.00 | 192000.00 | 2000.00 | 96000.00 | 96000.00 | ROYAL ENGINEERING SERVICES
4.11 | Middle and Higher Secondary School | 48.00 | Lumpsum |  | 8000.00 | 384000.00 | 2000.00 | 96000.00 | 96000.00 | ROYAL ENGINEERING SERVICES
4.12 | Aanganwadi | 48.00 | Lumpsum |  | 2000.00 | 96000.00 | 1000.00 | 48000.00 | 48000.00 | ROYAL ENGINEERING SERVICES
4.13 | Bus Stop | 48.00 | Lumpsum |  | 2000.00 | 96000.00 | 800.00 | 38400.00 | 38400.00 | ROYAL ENGINEERING SERVICES
4.14 | Place of Worship | 48.00 | Lumpsum |  | 900.00 | 43200.00 | 800.00 | 38400.00 | 38400.00 | ROYAL ENGINEERING SERVICES
4.15 | Animal Shed | 48.00 | Lumpsum |  | 400.00 | 19200.00 | 800.00 | 38400.00 | 19200.00 | ENTECK TRADE LINK
4.16 | Veterinary | 48.00 | Lumpsum |  | 400.00 | 19200.00 | 800.00 | 38400.00 | 19200.00 | ENTECK TRADE LINK
4.17 | Cremation shed | 48.00 | Lumpsum |  | 400.00 | 19200.00 | 800.00 | 38400.00 | 19200.00 | ENTECK TRADE LINK
4.18 | Water tank and pump house area | 48.00 | Lumpsum |  | 400.00 | 19200.00 | 2500.00 | 120000.00 | 19200.00 | ENTECK TRADE LINK
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas in all kinds of soil(exceeding 30cm in depth. 1.5m in width as well as 10 sqm on plan) including dressing of sides and ramming of bottom disposal of excavated earth within 1 Km distance, disposed earth to be levelled and neatly dressed. No extra lead / lift is payable. All kinds of soil. | 550.00 | cum |  | 140.00 | 77000.00 | 250.00 | 137500.00 | 77000.00 | ENTECK TRADE LINK
6.00 | Filling available excavated earth (excluding hard rock/Ordinary rock) in trenches, plinth, sides of foundations, area grading, etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering within lead of 1 Km. | 130.00 | cum |  | 80.00 | 10400.00 | 150.00 | 19500.00 | 10400.00 | ENTECK TRADE LINK
7.00 | Supplying and filling in plinth with crusher stone dust / coarse sand under floors including, watering, ramming and compacting in layers not exceeding 20cm in depth and dressing complete . Note: - Maximum thickness of this layer shall be 20 cm. | 70.00 | cum |  | 600.00 | 42000.00 | 1700.00 | 119000.00 | 42000.00 | ENTECK TRADE LINK
8.00 | Supplying and filling in plinth with hard muram/hard copra under floors including watering ramming cosolidating in layers not exceeding 20cm in depth and dressing complete. With hard muram having CBR >12 % at under floors including watering, ramming and compacting (minimum compaction 95% of MDD) in layers not exceeding 20cm in thickness and dressing complete. (Note:- maximum thickness of this layer to be provided shall be 30cm) | 170.00 | cum |  | 650.00 | 110500.00 | 1200.00 | 204000.00 | 110500.00 | ENTECK TRADE LINK
9.00 | Construction of granular sub-base by providing well graded material like natural sand crushed gravel or crushed stone having CBR >30, spreading in uniform layers with motor grader on prepared surface, mixing by mix in place method with rotavator or plant mix method at OMC, and compacting with static roller to achieve the desired density, complete as per relaevant standards. | 100.00 | cum |  | 1080.00 | 108000.00 | 2200.00 | 220000.00 | 108000.00 | ENTECK TRADE LINK
10.00 | Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with static roller to achieve the desired density as per specifications. | 100.00 | cum |  | 1100.00 | 110000.00 | 3000.00 | 300000.00 | 110000.00 | ENTECK TRADE LINK
11.00 | Provdiing and laying Plain/Reinforced cement concrete including form work shuttering etc. complete as per drawing and technical specifications with: PCC- Grade M15 | 170.00 | cum |  | 3500.00 | 595000.00 | 5000.00 | 850000.00 | 595000.00 | ENTECK TRADE LINK
12.00 | Provdiing and laying Plain/Reinforced cement concrete including form work shuttering etc. complete as per drawing and technical specifications with: RCC- Grade M25 | 110.00 | cum |  | 4200.00 | 462000.00 | 7700.00 | 847000.00 | 462000.00 | ENTECK TRADE LINK
13.00 | Providing and fixing upto floor two level precast cement concrete string or lacing courses, copings, bed plates, anchor blocks, plain window sills, shelves, louvers, steps, stair cases, etc. Including hoisting and setting in position with cement mortar 1:3 (1 Cement : 3 sand), including cost of required centering, shuttering and finishing smooth with 6mm thick cement plaster 1:3 (1 Cement : 3 sand) wherever required complete. : M-25 (With 20mm nominal size graded stone aggregate) | 20.00 | cum |  | 6500.00 | 130000.00 | 8200.00 | 164000.00 | 130000.00 | ENTECK TRADE LINK
14.00 | Provdiing and laying Plain/Reinforced cement concrete including form work shuttering, 125 micron thick plastic sheeting separation membrane between the concrete and sub-base etc. complete as per drawing and technical specifications with: PCC- Grade M30 | 180.00 | cum |  | 5200.00 | 936000.00 | 8500.00 | 1530000.00 | 936000.00 | ENTECK TRADE LINK
15.00 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding including cost of binding wire all wastages and overlaps, couplers (overlaps shall be provided as per requirement of IS 13920 for ductile detaling IS 456 RCC Design & SP 34 Reinforcement detailing ) etc. complete. : Thermo-Mechanically Treated bars. (TMT/TMX) FE 500 or more conforming to IS 1786 | 20000.00 | kg |  | 68.00 | 1360000.00 | 82.00 | 1640000.00 | 1360000.00 | ENTECK TRADE LINK
16.00 | Providing and laying 40 mm thick Cement concrete flooring 1:2:4 (1 cement : 2 sand : 4 graded stone aggregate) 20mm nominal size stone aggregate in panels finished with a floating coat of neat cement including cement slurry, but excliding the cost of nosing of steps etc. complete. (Area of panel not toexceed 2.0 sqm.) | 1000.00 | sqm |  | 300.00 | 300000.00 | 500.00 | 500000.00 | 300000.00 | ENTECK TRADE LINK
17.00 | Brick work with well brunt open bhatta / flyash bricks, crushing strength not less than 25kg /cm2 and water absorption not more than 20% at all levels including curing etc complete with : Cement Mortar 1:6 (1 cement: 6 sand). | 80.00 | cum |  | 4400.00 | 352000.00 | 6500.00 | 520000.00 | 352000.00 | ENTECK TRADE LINK
18.00 | 12 mm cement plaster of mix : 1:4 (1 Cement : 4 Sand) | 280.00 | sqm |  | 190.00 | 53200.00 | 280.00 | 78400.00 | 53200.00 | ENTECK TRADE LINK
19.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 sand : 12 graded stone aggregate 20mm nominal size) at plinth level with : Cement mortar 1:6 (1 cement : 6 sand) | 25.00 | cum |  | 4200.00 | 105000.00 | 6500.00 | 162500.00 | 105000.00 | ENTECK TRADE LINK
20.00 | Providing and Finishing by any mechanical or manual means with distempering with 1st quality acrylic distemper (ready mixed) of approved manufacturer, two or more coats on new/old work of required shade and colour complete, as per manufacturer's specification including removing exting paint/surface by scrapping and sand papering and preparing the surface smooth including necessary cleaning and repairs to scratches. Work also includes providing and application of one or more coat primer etc. complete as directed by engineer-in-charge. | 37000.00 | sqm |  | 65.00 | 2405000.00 | 45.00 | 1665000.00 | 1665000.00 | ROYAL ENGINEERING SERVICES
21.00 | Providing and painting by any mechanical or manual means with Premium Acrylic Smooth exterior paint (Premium exterior) of approved manufacturer and required shade including all scaffolding, removing exting paint/surface by scrapping and sand papering and preparing the surface smooth including necessary cleaning and repairs to scratches etc. complete on new work/old work (Two or more coat applied @1.67ltr/10sqm over and including coat undiluted exterior waterproofing coating @ 2.39 litre/10 sqm with crack bridging ability of upto 0.5mm on horizontal surfaces with an elongation of 150% and water proofing of upto 3 bars on vertical surface) | 90000.00 | sqm |  | 75.00 | 6750000.00 | 90.00 | 8100000.00 | 6750000.00 | ENTECK TRADE LINK
22.00 | Providing and painting by any mechanical or manual means with plastic emulsion paint of required shade including all scaffolding, removing exting paint/surface by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete and also includes providing and application of one or more coat primer etc. complete as directed by engineer-in-charge. | 14000.00 | sqm |  | 80.00 | 1120000.00 | 90.00 | 1260000.00 | 1120000.00 | ENTECK TRADE LINK
23.00 | Providing and painting with synthetic enamel paint, having VOC (Volatile Organic Compound) content less than 150 grams/ litre, of approved brand and manufacture, including cleaning of exting painting/surface and applying additional coats wherever required to achieve even shade and colour : Two coats | 9500.00 | sqm |  | 78.00 | 741000.00 | 100.00 | 950000.00 | 741000.00 | ENTECK TRADE LINK
24.00 | Providing and laying factory made coloured chamfered edge Cement Concrete paver blocks of required strength, thickness and size/shape, made by table vibratory method using PU mould, laid in required colour and pattern over 50mm thick compacted bed of stone dust, compacting and proper embedding/laying of inter locking paver blocks into the bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand including locking edges with M 15 cement concrete in footpath, parks, lawns, drive ways or light traffic parking etc. complete as per manufacturer's specifications and direction of Engineerin- Charge. : 60mm thick C.C. paver block of M-35 grade with approved colour, design and pattern. | 1000.00 | sqm |  | 650.00 | 650000.00 | 900.00 | 900000.00 | 650000.00 | ENTECK TRADE LINK
25.00 | Providing and laying Pitching on slopes laid over prepared filter media including boulder apron laid dry in front of toe of embankment complete as per drawing and Technical specifications : Stone/Boulder | 40.00 | cum |  | 4500.00 | 180000.00 | 3000.00 | 120000.00 | 120000.00 | ROYAL ENGINEERING SERVICES
26.00 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : Flush/ Ruled pointing | 300.00 | sqm |  | 70.00 | 21000.00 | 200.00 | 60000.00 | 21000.00 | ENTECK TRADE LINK
27.00 | Providing and fixing G.I. wire chain link fabric fencing of required width and mesh size including strengthening with 2mm dia wire or nuts, bolts and washers as required complete with posts of specified material and of standard design placed and embedded in cement concrete blocks 45x45x60cm size. Every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and struts embedded in cement concrete blocks 70x45x50cm of the same mix, as per the direction of Engineer- in-charge. (Cost of post, painting, earthwork & c.c. to be paid separately) | 400.00 | kg |  | 125.00 | 50000.00 | 120.00 | 48000.00 | 48000.00 | ROYAL ENGINEERING SERVICES
28.00 | Supplying at site: R.C.C. Standards post/ struts/rails/ poles of mix 1:1.5:3 (1 cement : 1.5 sand : 3 graded stone aggregate 12.5 mm nominal size) with wooden plugs or 6mm bar nibs wherever required as per direction of Engineer-in-charge including fixing (cost of earth works in excavation, concrete works in foundation to be paid separately). | 6.00 | cum |  | 11000.00 | 66000.00 | 9000.00 | 54000.00 | 54000.00 | ROYAL ENGINEERING SERVICES
29.00 | Providing and fixing Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing, polishing, nosing, etc. complete with base of cement mortar 1 : 4 (1 cement : 4 sand) 20 mm thick.(Area of slab to be over 0.25sqm) | 450.00 | sqm |  | 675.00 | 303750.00 | 1000.00 | 450000.00 | 303750.00 | ENTECK TRADE LINK
30.00 | Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing moulding and polishing to edge to give high gloss finish on one / two sides wherever required etc. complete at all levels. Samples approved by Engineer-in Charge. Granite fine grained dark crystal of other colours and various patterns. | 10.00 | sqm |  | 2200.00 | 22000.00 | 3500.00 | 35000.00 | 22000.00 | ENTECK TRADE LINK
31.00 | Providing and erecting Structural steel work using M.S. flats, angles, channels I-section, H-section etc. riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat and two coats of synthetic enamel paint of approved brand, etc. all complete. | 7000.00 | kg |  | 110.00 | 770000.00 | 90.00 | 630000.00 | 630000.00 | ROYAL ENGINEERING SERVICES
32.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2mm and braced with flat iron diagonals 20x5mm size with top and bottom rail of T-iron 40x40x6mm with 40mm dia steel pulleys complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. Rate includes recess cutting in floor and making good the same wherever required. | 5.00 | sqm |  | 3500.00 | 17500.00 | 10000.00 | 50000.00 | 17500.00 | ENTECK TRADE LINK
33.00 | Road marking with Hot applied Thermoplastic compound with Reflectorising Glass beeds on Concrete Surface :Providing and applying (Cleaning of concrete surface and after applying Concrete primer) thermoplastic compound having composition of binder (Regin) minimum 18%, titanium dioxide minimum 10% and intermixed glass beed, minimum 30% of brand like Asian, Burgerof equivalent make of 2.5 mm thick including drop down reflectorizing, glass beeds @ 250 gms per sqm area tthickness of 2.5mm is exclusive of surface applied glass beeds as per IRC:35 along with concrete primer. The finished surface to level, uniform and free from streaks and holes, all complete as per clasuse 803 of specifications. Note :- The guarantee of Thermoplastic should be minimum 3 Years. | 1000.00 | sqm |  | 550.00 | 550000.00 | 500.00 | 500000.00 | 500000.00 | ROYAL ENGINEERING SERVICES
34.00 | Providing and fixing of road stud 100x 100 mm, die cast in aluminium, resistant to corrosive effect of salt and grit, fitted with lense reflectors, installed in concrete or asphaltic surface by drilling hole 30 mm upto a depth of 60 mm and bedded in a suitable bituminous grout or epoxy mortar, all as per BS 873 part 4:1973 | 100.00 | each |  | 250.00 | 25000.00 | 250.00 | 25000.00 | 25000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
35.00 | Providing and laying non pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 sand) including testing of joints etc.complete : 300 mm dia. R.C.C. pipe | 50.00 | metre |  | 550.00 | 27500.00 | 900.00 | 45000.00 | 27500.00 | ENTECK TRADE LINK
36.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 450 mm dia RCC pipes. | 25.00 | metre |  | 750.00 | 18750.00 | 1400.00 | 35000.00 | 18750.00 | ENTECK TRADE LINK
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot and cold water supply including all CPVC plain and brass threaded fittings /c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes and fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer-in-Charge. Exposed on wall nternal work - Exposed on wall
37.01 | 15 mm nominal outer dia .Pipes. | 100.00 | meter |  | 300.00 | 30000.00 | 150.00 | 15000.00 | 15000.00 | ROYAL ENGINEERING SERVICES
37.02 | 20 mm nominal outer dia .Pipes. | 100.00 | meter |  | 400.00 | 40000.00 | 250.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
38.00 | Providing and fixing unplasticised Rigid PVC soil and waste pipes conforming to IS: 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Single socketed pipes for working pressure of 4 kg/sqcm. (minimum wall thickness 3.2mm)
38.01 | 75 mm diameter (minimum wall thickness 3.2mm) | 50.00 | meter |  | 150.00 | 7500.00 | 110.00 | 5500.00 | 5500.00 | ROYAL ENGINEERING SERVICES
38.02 | 110 mm diameter (minimum wall thickness 3.2mm) | 50.00 | meter |  | 200.00 | 10000.00 | 150.00 | 7500.00 | 7500.00 | ROYAL ENGINEERING SERVICES
39.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 5.00 | each |  | 700.00 | 3500.00 | 250.00 | 1250.00 | 1250.00 | ROYAL ENGINEERING SERVICES
40.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS: 8931, 15 mm nominal bore. | 5.00 | each |  | 700.00 | 3500.00 | 300.00 | 1500.00 | 1500.00 | ROYAL ENGINEERING SERVICES
41.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS: 8931. 15 mm nominal bore. | 5.00 | each |  | 700.00 | 3500.00 | 450.00 | 2250.00 | 2250.00 | ROYAL ENGINEERING SERVICES
42.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 5.00 | each |  | 700.00 | 3500.00 | 1000.00 | 5000.00 | 3500.00 | ENTECK TRADE LINK
43.00 | Providing and fixing UPVC trap of self cleaning design complete. Including cost of cutting and making good the wall and floors. 100 mm inlet and 75 mm outlet | 5.00 | each |  | 250.00 | 1250.00 | 600.00 | 3000.00 | 1250.00 | ENTECK TRADE LINK
44.00 | Providing and fixing square-mouth S.W. gully trap class SP1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 150 x 100 mm size P type. With well burnt bricks | 5.00 | each |  | 600.00 | 3000.00 | 1500.00 | 7500.00 | 3000.00 | ENTECK TRADE LINK
45.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | liter |  | 12.00 | 60000.00 | 7.50 | 37500.00 | 37500.00 | ROYAL ENGINEERING SERVICES
46.00 | Replacement of old damaged polyethelene cover for water storage tank by providing and fixing polyethelene cover for water storage tank with PVC bolts and nuts and locking arrangement all complete as directed by the Engineer-in-charge: Circular shape | 50.00 | Nos |  | 250.00 | 12500.00 | 500.00 | 25000.00 | 12500.00 | ENTECK TRADE LINK
47.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350mm or 340x410x265mm sizes respectively. | 5.00 | each |  | 4000.00 | 20000.00 | 1000.00 | 5000.00 | 5000.00 | ROYAL ENGINEERING SERVICES
48.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps. White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps. | 5.00 | each |  | 5000.00 | 25000.00 | 2500.00 | 12500.00 | 12500.00 | ROYAL ENGINEERING SERVICES
49.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100mm sand cast Iron P or S trap, uPVC P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Vitreous china Orissa pattern W.C. pan of size 580x440mm with integral type foot rests. | 10.00 | each |  | 3800.00 | 38000.00 | 3000.00 | 30000.00 | 30000.00 | ROYAL ENGINEERING SERVICES
50.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 10.00 | each |  | 4200.00 | 42000.00 | 3500.00 | 35000.00 | 35000.00 | ROYAL ENGINEERING SERVICES
51.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shape with 6 mm thick hard board backing: Rectangular shape 453x357mm | 10.00 | sqm |  | 950.00 | 9500.00 | 500.00 | 5000.00 | 5000.00 | ROYAL ENGINEERING SERVICES
52.00 | Excavation and installation of RCC Septic Tank with cover complete as per drawing and as directed by Engineer-in-Charge. | 5.00 | each |  | 12000.00 | 60000.00 | 20000.00 | 100000.00 | 60000.00 | ENTECK TRADE LINK
53.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : 4 mm thick glass pane (weight not less than 10 kg/sqm) | 40.00 | sqm |  | 3000.00 | 120000.00 | 1150.00 | 46000.00 | 46000.00 | ROYAL ENGINEERING SERVICES
54.00 | Dismantling of Cement Concrete Pavment by mechanical means using pneumatic tools, cutter breaking to pieces not exceeding 0.02 cum in volume and stock piling at designated locations and disposal of dismantled materials up to a lead of 1000 metres, stacking serviceable and unserviceable materials separately | 10.00 | cum |  | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 15000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
55.00 | Providing and fixing of 3 seater precast RCC bench made of grade M-35 concrete including excavation, embedding legs in the soil, compaction, ect. complete with all labour and materials as directed by Engineer-in-charge. Size: 1. Length 1500mm, 2. Bottom slab width 400-450mm, Thickness 50-70 mm, 3. Back support height 350-400mm, Thickness 50-60mm. 4. Support Thickness - 100mm 5. Total height 1000 mm. | 10.00 | each |  | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 50000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
56.00 | Emulsion for POST- CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion): Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration. | 10000.00 | metre |  | 14.00 | 140000.00 | 30.00 | 300000.00 | 140000.00 | ENTECK TRADE LINK
57.00 | Supplying chemical emulsion in sealed containers including delivery as specified. (Chlorpyriphos/ Lindane emulsifiable concentrate of 20%) | 225.00 | liter |  | 300.00 | 67500.00 | 300.00 | 67500.00 | 67500.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
58.00 | Providing services to accomplishing the tasks as assigned and directed by Engineer-in-charge by supplying of various categories of labours on task basis. Note : A task would mean 8 hours of duty including half an hour of lunch time.
58.01 | Un-Skilled Labour | 200.00 | Task |  | 525.00 | 105000.00 | 800.00 | 160000.00 | 105000.00 | ENTECK TRADE LINK
58.02 | Semi-Skilled Labour | 40.00 | Task |  | 625.00 | 25000.00 | 850.00 | 34000.00 | 25000.00 | ENTECK TRADE LINK
58.03 | Skilled Labour | 40.00 | Task |  | 750.00 | 30000.00 | 1000.00 | 40000.00 | 30000.00 | ENTECK TRADE LINK
59.00 | Supply of Hydraulic Excavator (3D) with driver and fuel. (8 hours per day) | 25.00 | Day |  | 7000.00 | 175000.00 | 20000.00 | 500000.00 | 175000.00 | ENTECK TRADE LINK
60.00 | Supply of Tractor 45 HP with driver trolley and fuel. (8 hours per day) | 25.00 | Day |  | 3000.00 | 75000.00 | 3000.00 | 75000.00 | 75000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
61.00 | Supplying and stacking at site dump manure from approved source including all lead etc. complete (manure measured in stacks will be reduced by 8% for payment): Screened through sieve of I.S. designation 4.75 mm | 170.00 | cum |  | 1500.00 | 255000.00 | 500.00 | 85000.00 | 85000.00 | ROYAL ENGINEERING SERVICES
62.00 | Supply and stacking of Tree plants of height 105-120 cm. in big poly bags of size 25 cm as per direction of the officer-in-charge : Ashoka, Champa, Gulmohar, Neem, Siris, Shisham, Mango, Bakul, Paras Pipal, Amla, Amrud, Kadam. | 500.00 | Each |  | 190.00 | 95000.00 | 150.00 | 75000.00 | 75000.00 | ROYAL ENGINEERING SERVICES
63.00 | Plantation of Trees, Shrubs, and Hedge at site i/c watering and removal of unserveiceable material’s as per direction of officer in charge including Digging holes in ordinary soil and refilling the same with the excavated earth mixed with manure or sludge in the ratio of 2:1 by volume (2 parts of stacked volume of earth after reduction by 20% : 1 part of stacked volume of manure after reduction by 8%) flooding with water, dressing including removal of rubbish and surplus earth, if any with all leads and lifts (cost of plant, manure, sludge or extra good earth if needed to be paid for separately):Tree plant: Holes 45 cm dia and 45 cm deep. | 500.00 | each |  | 140.00 | 70000.00 | 50.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
64.00 | Complete maintenance of trees (Out side garden), jobs like making of basin at regular interval i/c watering, weeding, pruning & application of dump manure, fertilizer, Insecticide, Pesticide etc, as per direction of Engineer-in- charge. This item includes the cost of fertilizer, Insecticide, Pesticide, T & P material/articles but excluding the cost of dump manure. | 24.00 | Per month whole R&R colony |  | 18000.00 | 432000.00 | 45000.00 | 1080000.00 | 432000.00 | ENTECK TRADE LINK
65.00 | Complete maintenance of the entire garden features having as per yard stick in the garden area i.e. lawn trees, shrubs, herbs, edge, flower beds, foliages, creepers etc. including hoeing,weeding, pruning, replacement of plants, gap filling, watering, mowing of lawn, grass cutting by lawn mover and brush cutter, removal of garden waste, applying insecticide, pesticide & fertilizers (whenever required) top dressing of lawn with good earth and manure and maintenance of other garden related works as directed by Engineer-in- charge. This item includes the cost of Fertilizer, Insecticide, Pesticide, lawn mover and brush cutter with fuel and other T & P material/articles but excludes the cost of dump manure. | 50000.00 | Per Sqm/per month |  | 12.00 | 600000.00 | 38.00 | 1900000.00 | 600000.00 | ENTECK TRADE LINK
66.00 | Providing and fixing M. S. tree guard of required diameter in plan, height depth etc. as directed by Engineer-in-charge. The tree guard shall be fixed to the ground by making suitable holes and by embedding three corner legs in the ground, including refilling the earth, compaction etc. complete. The tree guard shall be painted with two or more coats of synthetic enamel paint of approved brand and manufacture over a coat of primer, complete in all respect. The rates shall be inclusive of all costs including excavation, refilling, painting, etc. | 5000.00 | Kg |  | 120.00 | 600000.00 | 120.00 | 600000.00 | 600000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
67.00 | Supply of alloy steel pad locks of 65mm diameter minimum 5 levers of "Harrison" brand or equivalent. | 700.00 | each |  | 350.00 | 245000.00 | 200.00 | 140000.00 | 140000.00 | ROYAL ENGINEERING SERVICES
68.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm + 0.05 %, total coated thickness with zinc coating 120 gsm as per IS: 277 in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches while transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 250.00 | Sqm |  | 850.00 | 212500.00 | 600.00 | 150000.00 | 150000.00 | ROYAL ENGINEERING SERVICES
69.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm + 0.05 % total coated thickness, Zinc coating 120gsm as per IS: 277 in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete :
69.01 | Ridges plain (500 - 600mm). | 25.00 | Meter |  | 650.00 | 16250.00 | 300.00 | 7500.00 | 7500.00 | ROYAL ENGINEERING SERVICES
69.02 | Gutter .(600 mm over all girth). | 50.00 | Meter |  | 650.00 | 32500.00 | 400.00 | 20000.00 | 20000.00 | ROYAL ENGINEERING SERVICES
70.00 | Boring, Providing and installing cast in situ single under reamed piles of specified diameter and length below pile cap in M-25 cement concrete, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring and the length of the pile to be embedded in pile cap etc. all complete for 300mm dia pile.(Length of pile for payment shall be measured upto the bottom of pile cap). | 100.00 | Meter |  | 1700.00 | 170000.00 | 3500.00 | 350000.00 | 170000.00 | ENTECK TRADE LINK
71.00 | Extra over item 68 for providing additional bulb in under reamed piles for 300mm dia (only the quantity of extra bulbs are paid). | 40.00 | each |  | 600.00 | 24000.00 | 2500.00 | 100000.00 | 24000.00 | ENTECK TRADE LINK
72.00 | Provision for Rewinding of submerssible Motor of any diameter i/c cost of material, labour, transportation etc. complete in case of breakdown maintenance as per approved specification and as directed by Engineer in charge | 8.00 | Job |  | 12000.00 | 96000.00 | 5000.00 | 40000.00 | 40000.00 | ROYAL ENGINEERING SERVICES
73.00 | Provision for Repairing of submerssible pump of any diameter i/c cost of material, labour, transportation etc. in case of breakdown maintenance as per approved specification and as directed by Engineer in charge | 8.00 | Job |  | 5500.00 | 44000.00 | 2000.00 | 16000.00 | 16000.00 | ROYAL ENGINEERING SERVICES
74.00 | Provision for Repairing of Starter/ control panel i/c cost of material, labour, transportation etc. complete as per approved specification and as directed by Engineer in charge | 8.00 | Job |  | 1200.00 | 9600.00 | 1000.00 | 8000.00 | 8000.00 | ROYAL ENGINEERING SERVICES
75.00 | Provision for Repairing of old existing CI Sluice Valve i/c repairing of spindle, check nut, changing of gland, lathe work as per requirement, changing of nut bolt, rubber sheet etc. complete as per approved specification and as directed by Engineer in charge. | 25.00 | Job |  | 1200.00 | 30000.00 | 1200.00 | 30000.00 | 30000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
76.00 | Provision for Repairing of HDPE Pipe of any diameter for cut, leakage, puncture etc. by providing all fittings and fixtures like couplers, required pipes etc. including excavation, filling, dewatering, cleaning, jointing with necessary tools, fusion machine etc. complete as per approved specification and as directed by Engineer in charge. | 50.00 | Job |  | 5500.00 | 275000.00 | 500.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
77.00 | Repairing of Hand Pumps including cost of labour, replacement of unserviceable parts such as washer, cylinder, riser pipe, link rod either one or more parts as the case may be along with overhauling, minor repairing work and transportation etc. as per approved specification and as directed by Engineer-in-charge. | 10.00 | Job |  | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 10000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
78.00 | Providing painting and figuring of road sign board including painting of master plan of R&R colony etc. as per drawings and direction by Engineer-in-charge (excluding post/ kerbs): Two coats on New/Old boards | 30.00 | sqm |  | 350.00 | 10500.00 | 300.00 | 9000.00 | 9000.00 | ROYAL ENGINEERING SERVICES
79.00 | Maintenance/Replacement of the installed tubelights either by repairing or replacing them with new ones in case if any of the existing tubelights don’t work gets fused or found missing. This item includes the cost of all necessary fixtures and fittings etc. required for making all the tubelights in working condition. The work shall be carried out as per approved specifications and as directed by Engineer in charge.
79.01 | Repairing and Maintenance of existing tubelights including all required materials, fittings and fixtures etc. for making the tubelights in workable condition. | 25.00 | each |  | 100.00 | 2500.00 | 100.00 | 2500.00 | 2500.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
79.02 | Replacing old one which is not repairable, with new one including all required materials, fittings and fixtures etc. for making the tubelights in workable condition by Supplying, fixing and testing of T- 5 lamp Batten type Tube fitting with epoxy white powder coated CRCA sheet steel / PVC complete with electronic ballast (HF), rotor holders, duly wired fixing wall/ceiling on PVC clamp/round plate with necessary materials complete as required. : T - 5 Lamp 1 X 18 watt LED | 50.00 | each |  | 250.00 | 12500.00 | 800.00 | 40000.00 | 12500.00 | ENTECK TRADE LINK
80.00 | Maintenance/Replacement of the installed ceiling fans either by repairing or replacing them with new ones in case if any of the existing ceiling fans don’t work gets fused or found missing. This item includes the cost of all necessary fixtures and fittings etc. required for making all the ceiling fans in working condition. The work shall be carried out as per approved specifications and as directed by Engineer in charge.
80.01 | Repairing and Maintenance of installed ceiling fans including all required materials, fittings and fixtures etc. for making the ceiling fans in workable condition. | 50.00 | each |  | 300.00 | 15000.00 | 400.00 | 20000.00 | 15000.00 | ENTECK TRADE LINK
80.02 | Replacing old one which is not repairable, with new one including all required materials, fittings and fixtures etc. for making the ceiling fans in workable condition by Supplying, erection and testing of approved make electric Ceiling fan of double ball bearing complete with standard down rod, canopy, hanging shackle, Aluminium blades, without regulator, A.C. 230-250 volts including connections with all necessary material complete of approved as required confirming to IS :374/2019 with upto date amendments: Ceiling Fan (ISI marked)-1200 mm Sweep, with minimum air delivery 210 m³/min and service value ≥ 4.00 as per BEE. | 25.00 | each |  | 1800.00 | 45000.00 | 2000.00 | 50000.00 | 45000.00 | ENTECK TRADE LINK
81.00 | Maintenance/Replacement of the installed Led Bulbs either by repairing or replacing them with new ones in case if any of the existing Led Bulbs don’t work gets fused or found missing. This item includes the cost of all necessary fixtures and fittings etc. required for making all the Led Bulbs in working condition. The work shall be carried out as per approved specifications and as directed by Engineer in charge.
81.01 | Repairing and Maintenance of installed Led Bulbs including all required materials, fittings and fixtures etc. for making the Led Bulbs in workable condition. | 25.00 | each |  | 110.00 | 2750.00 | 50.00 | 1250.00 | 1250.00 | ROYAL ENGINEERING SERVICES
81.02 | Replacing old one which is not repairable, with new one including all required materials, fittings and fixtures etc. for making the Led Bulbs in workable condition by Supply and fixing of 1 X 18 watts CFL/ LED bulb | 50.00 | each |  | 240.00 | 12000.00 | 300.00 | 15000.00 | 12000.00 | ENTECK TRADE LINK
82.00 | Maintenance/replacement of the installed MCB/MCCB/RCCB/ELCB either by repairing or replacing them with new ones in case if any of the existing MCB/MCCB/RCCB/ELCB don’t work, gets damaged or found missing. This item includes the cost of all necessary fixtures and fittings required for making all type MCB/MCCB/RCCB/ELCB in workable condition. The work shall be carried out as per approved specification and as directed by Engineer in charge.
82.01 | Repairing and Maintenance of existing MCB/MCCB/RCCB/ELCB including all required materials, fittings and fixtures etc. for making the exising MCB/MCCB/RCCB/ELCB in workable condition. | 15.00 | each |  | 250.00 | 3750.00 | 200.00 | 3000.00 | 3000.00 | ROYAL ENGINEERING SERVICES
82.02 | Replacing old one which is not repairable, with new one by Supplying and fixing of all type and all capacity 10/ 16/ 20/ 32 AMP MCB/ MCCB/ RCCB/ ELCB including all fittings and fixtures. | 10.00 | each |  | 330.00 | 3300.00 | 1000.00 | 10000.00 | 3300.00 | ENTECK TRADE LINK
83.00 | Maintenance/replacement of the installed electrical lighting points, fan points etc. either by repairing or replacing them with new ones in case if any of the existing electrical lighting points, fan points etc. don’t work, gets damaged or found missing. This item includes the cost of wires, electronic regulators, switiches etc. including all necessary fixtures and fittings required for making all the electrical lighting points, fan points etc. in workable condition. The work shall be carried out as per approved specification and as directed by Engineer in charge.
83.01 | Repairing and Maintenance of existing installed installed electrical lighting points, fan points etc. including all required materials, fittings and fixtures etc. for making the electrical lighting points, fan points in workable condition. | 15.00 | each |  | 120.00 | 1800.00 | 30.00 | 450.00 | 450.00 | ROYAL ENGINEERING SERVICES
83.02 | Replacing old one which is not repairable, with new one: Point wiring (excluding metallic switch box & sheet but including switches, sockets, lamp holders/ceiling roses etc) with 1.5sq. mm.PVC insulated cable FRLS with copper multi strand conductor ISI marked in concealed rigid P.V.C. conduit (HMS) ISI marked of suitable size and 1.5sq. mm. PVC insulated FRLS copper earth continuity conductor of green colour inside conduit, screwless connector for joints etc. as required as per specification for : Light point/fan points. | 10.00 | each |  | 550.00 | 5500.00 | 500.00 | 5000.00 | 5000.00 | ROYAL ENGINEERING SERVICES
84.00 | Maintenance/replacing of the installed 16mt High Mast Lighting sytems either by repairing or replacing them with new ones in case if any of the existing 16mt High Mast Lighting sytems don’t work, gets damaged or found missing. This items includes the cost of floodlights, control gear and all necessary fixtures and fittings required for making High Mast Lighting systems in workable condition. The work shall be carried out as per approved specification and as directed by Engineer in charge.
84.01 | Repairing and Maintenance of existing installed 16mt High Mast Lighting sytems including all required materials, fittings and fixtures etc. for making the exising 16mt High Mast Lighting systems in workable condition. | 8.00 | each |  | 6000.00 | 48000.00 | 800.00 | 6400.00 | 6400.00 | ROYAL ENGINEERING SERVICES
84.02 | Replacing old one which is not repairable, with new one by Supplying, fixing & testing of approved make of integral type SV/MH compact flood light fitting consisting of cast aluminum housing complete with all accessories such as aluminum reflector, lamp holder heat resisting toughned clear glass cover and mounting bracket with aiming disc, including fixing & connections as required position with all necessary materials required, suitable for single / double ended lamp 400 Watt S.V./ M.H. Lamp ( Tubular Lamp) | 16.00 | each |  | 15000.00 | 240000.00 | 3500.00 | 56000.00 | 56000.00 | ROYAL ENGINEERING SERVICES
85.00 | Maintenance/replacing of the installed flood light with high power LED etc. either by repairing or replacing them with new ones in case if any of the existing flood light with high power LED don’t work gets fused or found missing. This items includes the cost of all necessary fixtures and fittings including required for making all the flood light with high power LED in workable condition. The work shall be carried out as per approved specification and as directed by Engineer in charge.
85.01 | Repairing and Maintenance of existing installed flood light with high power LED including all required materials, fittings and fixtures etc. for making the exising flood light with high power LED, or Street Lights etc. in workable condition. | 15.00 | each |  | 1000.00 | 15000.00 | 1000.00 | 15000.00 | 15000.00 | ENTECK TRADE LINK, ROYAL ENGINEERING SERVICES
85.02 | Replacing old one which is not repairable, with new one by Supplying and fixing flood light with high power LED of 3 to 6 Watt each assembled on single MCPCB and additional unique peanut lens on each LED, system lumens output with efficacy>120 lm/Watt. luminiare having color temp upto 6500K & 50000 hrs. burning life with minimum @ L 70, The colour rendering index of LED light should be more than 70. Luminiare comprises of driver, PF > 0.95 & surge protection 10KV. Housing made of pressure die cast aluminium with heat resistant flat glass, IP65 protection. Submission LM 79-08/IS16106 (2012), IEC60598, IEC61347i/c connection wire, testing etc. to complete the job. 30Watt, color temp 3000-6500k as required. | 15.00 | each |  | 2800.00 | 42000.00 | 2000.00 | 30000.00 | 30000.00 | ROYAL ENGINEERING SERVICES
86.00 | Maintenance/replacing of the installed Street Lights etc. either by repairing or replacing them with new ones in case if any of the existing Street Lights etc. don’t work gets fused or found missing. This items includes the cost of all necessary fixtures and fittings including required for making all Street Lights etc. in workable condition. The work shall be carried out as per approved specification and as directed by Engineer in charge.
86.01 | Repairing and Maintenance of existing installed Street Lights with high power LED including all required materials, fittings and fixtures etc. for making the exising Street Lights with high power LED in workable condition. | 40.00 | each |  | 550.00 | 22000.00 | 1500.00 | 60000.00 | 22000.00 | ENTECK TRADE LINK
86.02 | Replacing old one which is not repairable, with new one street light with high power LED system by Supply and fixing street light with high power LED of 3 to 6 Watt each on existing bracket assembled on single MCPCB and additional unique peanut lens on each LED, system lumens output with efficacy>120 lm/Watt. luminiare having color temp upto 6500K & 50000 hrs. burning life with minimum @ L 70, The colour rendering index of LED light should be more than 70. Luminiare comprises of driver, PF> 0.95 & surge protection 10KV. Housing made of pressure die cast aluminium with heat resistant flat glass, IP65 protection. Submission LM 79-08/IS16106 (2012), IEC60598, IEC61347 i/c connection wire, testing etc. to complete the job. 90Watt, color temp 3000-6500k as required | 120.00 | each |  | 5000.00 | 600000.00 | 12500.00 | 1500000.00 | 600000.00 | ENTECK TRADE LINK
87.00 | Supplying and fixing FRLS insulated unsheathed industrial flexible cable confirming to IS 694: 2010 with bright annealed copper conductor for voltage grade 1100 volts.
87.01 | 1.50 Sq. mm - 3 core | 300.00 | meter |  | 70.00 | 21000.00 | 150.00 | 45000.00 | 21000.00 | ENTECK TRADE LINK
87.02 | 2.50 Sq. mm - 3 core | 300.00 | meter |  | 110.00 | 33000.00 | 200.00 | 60000.00 | 33000.00 | ENTECK TRADE LINK
87.03 | 4 Sq. mm- 3 core | 100.00 | meter |  | 210.00 | 21000.00 | 300.00 | 30000.00 | 21000.00 | ENTECK TRADE LINK
88.00 | Supply, installation, testing & commissioning of 3 Phase, 100 A Tri- Vecto Meter . | 1.00 | each |  | 8000.00 | 8000.00 | 25000.00 | 25000.00 | 8000.00 | ENTECK TRADE LINK
| Total in Figures |  |  |  |  | 34359300.00 |  | 34121800.00
Lowest Amount Quoted BY: ROYAL ENGINEERING SERVICES(34121800.00)

## BOQ Summary
BOQ Summary Details Tender Title: NPCIL/CMPAPP/2024/CIVIL/PT77 Tender ID: 2024_NPCIL_200453_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ROYAL ENGINEERING SERVICES (BID ID -725253) | 34121800.00 | L1
| 2 | ENTECK TRADE LINK (BID ID -724616) | 34359300.00 | L2