## BoQ1
Government eProcurement System Created By: Shivkumar Sonkere Created Date/Time: 21-Sep-2024 10:49 AM Tender Title: Establishing slash extending IT Networks at Kaiga 5 and 6 project and providing Facility Management Support for existing IT networks and devices at Kaiga- 5 and 6 Site Tender ID: 2024_NPCIL_201862_1
Tender Inviting Authority: Project Director, Kaiga - 5&6
Name of Work: Establishing / extending IT Networks at Kaiga 5&6 project and providing Facility Management Support for existing IT networks & devices at Kaiga-5&6 Site
Contract No: NPCIL/CTC- C&MM (Works Group)/ KAIGA-5&6//IT&Comm /CPPP/2024/042
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Puthur Infotech Private Limited(GSTN-NA)--738370
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Material, Spares & Software required for Networking /hardware/ Servers
1.01 | 20 ports 10/100/1000Base-T ports + 4 ports Combo 10/100/1000Base-T /SFP Ports + 4 ports 10G SFP+ ports L3 Stackable Managed switch as specified in Annexure-I | 2.00 | Nos | 259459.00 | 199361.00 | 398722.00 | 398722.00 | Puthur Infotech Private Limited
1.02 | 24 Ports 10/100/1000Mbps + 4 ports SFP Managed Ethernet Switch as specified in Annexure-II | 15.00 | Nos | 59298.00 | 56592.80 | 848892.00 | 848892.00 | Puthur Infotech Private Limited
1.03 | 1000 (or Higher) Base-LX Single-Mode, 10KM SFP/ SFP+ Transceiver (SFP/SFP+ module) as Specified in Annexure-III | 24.00 | Nos | 2536.00 | 2508.09 | 60194.16 | 60194.16 | Puthur Infotech Private Limited
1.04 | LIU 24 PORT Rack Mountable (1U/1.5U) – Fully Loaded with 2x6 Duplex Adapter (SC) panel + 12 nos of SC SM duplex adapter module on each Adapter as specified in Annexure-IV | 20.00 | Nos | 4787.00 | 4951.87 | 99037.40 | 99037.40 | Puthur Infotech Private Limited
1.05 | PIGTAIL SC SM SIMPLEX LENGTH- 1m as specified in Annexure-V | 240.00 | Nos | 210.00 | 167.00 | 40080.00 | 40080.00 | Puthur Infotech Private Limited
1.06 | PATCH CORD LC-SC SM DUPLEX LENGTH- 1m as specified in Annexure-VI | 40.00 | Nos | 1131.00 | 1028.96 | 41158.40 | 41158.40 | Puthur Infotech Private Limited
1.07 | PATCH CORD LC-SC SM DUPLEX LENGTH- 3m as specified in Annexure-VI | 20.00 | Nos | 1254.00 | 1222.00 | 24440.00 | 24440.00 | Puthur Infotech Private Limited
1.08 | PATCH CORD SC-SC SM DUPLEX LENGTH- 1m as specified in Annexure-VI | 40.00 | Nos | 1128.00 | 1028.96 | 41158.40 | 41158.40 | Puthur Infotech Private Limited
1.09 | PATCH CORD SC-SC SM DUPLEX LENGTH- 3m as specified in Annexure-VI | 20.00 | Nos | 1252.00 | 1222.00 | 24440.00 | 24440.00 | Puthur Infotech Private Limited
1.10 | O. F. Cable 12F Outdoor - Armoured Unitube/Multitube SM - HDPE sheath as specified in Annexure-VII | 3000.00 | m | 116.00 | 81.00 | 243000.00 | 243000.00 | Puthur Infotech Private Limited
1.11 | O.F. Cable 6F Outdoor – Armoured Unitube SM – HDPE Sheath as specified in Annexure - VIII | 1500.00 | m | 104.00 | 50.00 | 75000.00 | 75000.00 | Puthur Infotech Private Limited
1.12 | CAT6 UTP 23AWG Solid:305M (Roll of 305 Meters) as specified in Annexure-IX | 40.00 | box | 9246.00 | 8746.16 | 349846.40 | 349846.40 | Puthur Infotech Private Limited
1.13 | CAT6 UTP 23AWG Solid Outdoor – Armoured underground cable role: 305M (Roll of 305 Meters in each drum) as specified in Annexure- X | 20.00 | box | 22357.00 | 21608.16 | 432163.20 | 432163.20 | Puthur Infotech Private Limited
1.14 | Patch Panel Cat 6 UTP Keystone Type-24 Port-Fully Loaded as specified in Annexure-XI | 20.00 | Nos | 2796.00 | 5659.28 | 113185.60 | 113185.60 | Puthur Infotech Private Limited
1.15 | IO Box (Back Box & Face plate) fully loaded with Single/Dual Jack Cat 6 keystone (Information Outlet for Cat6/Cat6A/Cat7, square) white color as specified in Annexure-XII | 250.00 | Nos | 406.00 | 518.00 | 129500.00 | 129500.00 | Puthur Infotech Private Limited
1.16 | RJ-45 connectors (male) for crimping of CAT cables (100 no in a pack) | 80.00 | Pack | 1082.00 | 1412.00 | 112960.00 | 112960.00 | Puthur Infotech Private Limited
1.17 | RJ-45 Coupler (CAT cable extender); Female to Female connector | 100.00 | Nos | 277.00 | 128.00 | 12800.00 | 12800.00 | Puthur Infotech Private Limited
1.18 | CAT6 UTP 24AWG PATCH CORD:1M, Plug 30U’ Snagless as specified in Annexure-XIII | 200.00 | Nos | 164.00 | 160.77 | 32154.00 | 32154.00 | Puthur Infotech Private Limited
1.19 | CAT6 UTP 24AWG PATCH CORD: 3M, Plug 30U’ Snagless as specified in Annexure-XIII | 200.00 | Nos | 210.00 | 202.00 | 40400.00 | 40400.00 | Puthur Infotech Private Limited
1.20 | Wall Mount 6U x 550 x 450 D, with Standard Accessories like fan, PDU, cable manager etc. as specified in Annexure-XIV | 10.00 | Nos | 6764.00 | 6619.80 | 66198.00 | 66198.00 | Puthur Infotech Private Limited
1.21 | Wall Mount 9U x 550 W x 450 D, with Standard Accessories like fan, PDU, cable manager etc. as specified in Annexure-XIV | 10.00 | Nos | 9968.00 | 7333.70 | 73337.00 | 73337.00 | Puthur Infotech Private Limited
1.22 | Wall Mount 15U x 550 W x 450 D, with Standard Accessories like fan, PDU, cable manager etc. as Specified in Annexure-XIV | 10.00 | Nos | 11958.00 | 9086.00 | 90860.00 | 90860.00 | Puthur Infotech Private Limited
1.23 | 42U Network Enclosure Frame-600X800-STEEL with accessories like fan, PDU, cable manager etc. as specified in Annexure-XV | 2.00 | Nos | 63228.00 | 44625.24 | 89250.48 | 89250.48 | Puthur Infotech Private Limited
1.24 | 32mm HDPE pipe (non-flexible) with Coupling/collar (Black Colour preferred) & clamps, as specified in Annexure-XVI | 5500.00 | m | 110.00 | 116.00 | 638000.00 | 638000.00 | Puthur Infotech Private Limited
1.25 | 2 inch Casing & Capping SSI (White colour) | 500.00 | m | 83.00 | 77.00 | 38500.00 | 38500.00 | Puthur Infotech Private Limited
1.26 | 1 inch Casing & Capping SSI (White colour) | 3000.00 | m | 56.00 | 51.00 | 153000.00 | 153000.00 | Puthur Infotech Private Limited
1.27 | Box type hard PVC Casing & Capping (75mmx75mm) / FRP (Fiber Reinforced Plastic) Cable tray with cover. | 200.00 | m | 394.00 | 372.00 | 74400.00 | 74400.00 | Puthur Infotech Private Limited
1.28 | 1 inch Flexible pipe/hose, Gray Colour | 300.00 | m | 48.00 | 51.00 | 15300.00 | 15300.00 | Puthur Infotech Private Limited
1.29 | 1 inch Hard PVC pipe / Conduit with collar, coupler and clamps. | 1500.00 | m | 54.00 | 58.00 | 87000.00 | 87000.00 | Puthur Infotech Private Limited
1.30 | 1 inch Grip PVC Box | 50.00 | Nos | 258.00 | 289.00 | 14450.00 | 14450.00 | Puthur Infotech Private Limited
1.31 | 5 inch Hard PVC pipe / Conduit with coupler & bend | 100.00 | m | 1168.00 | 706.00 | 70600.00 | 70600.00 | Puthur Infotech Private Limited
1.32 | 2 inch Screws Box (500 Nos) | 30.00 | Pack | 520.00 | 385.00 | 11550.00 | 11550.00 | Puthur Infotech Private Limited
1.33 | GI Cable Tray (perforated) with locked cover/enclosure and consumables, as specified in Annexure-XVII | 1000.00 | m | 1614.00 | 1020.00 | 1020000.00 | 1020000.00 | Puthur Infotech Private Limited
1.34 | 2 feet Hard Metal Cable Root Markers/Indicators as specified in Annexure-XVIII | 200.00 | Nos | 536.00 | 449.00 | 89800.00 | 89800.00 | Puthur Infotech Private Limited
1.35 | 5 inch Locking Tags (Cable tie) for Securing Cables (Pack of 100 Nos) | 80.00 | Pack | 335.00 | 160.00 | 12800.00 | 12800.00 | Puthur Infotech Private Limited
1.36 | UTP Cable Marking Ferule with Alphabets (A-Z) and Digits (0-9) | 50.00 | Nos | 1458.00 | 654.90 | 32745.00 | 32745.00 | Puthur Infotech Private Limited
1.37 | Wood piece for Screwing in wall- 1.5 inch (100 in 1 packet) | 20.00 | Pack | 282.00 | 193.00 | 3860.00 | 3860.00 | Puthur Infotech Private Limited
1.38 | 2 inch hard metallic nails (100 nos in each box) | 40.00 | Pack | 405.00 | 321.00 | 12840.00 | 12840.00 | Puthur Infotech Private Limited
1.39 | Printer Cartridge Supply for the different model of Printers as per Annexure - XIX Note- This item shall be supplied based on make & model of Printer used at project site as instructed by EIC. | 100.00 | Nos | 3322.00 | 4543.00 | 454300.00 | 454300.00 | Puthur Infotech Private Limited
1.40 | SMPS (Power Supply Module) of standard design for PCs used at Site . Note- This item shall be supplied based on make & model of PC used at project site as instructed by EIC. | 8.00 | Nos | 604.00 | 866.71 | 6933.68 | 6933.68 | Puthur Infotech Private Limited
1.41 | NIC PCIe GE LAN Card – Single/ Dual port. Note- This item shall be supplied based on make & model of PC used at project site as instructed by EIC. | 8.00 | Nos | 977.00 | 2666.80 | 21334.40 | 21334.40 | Puthur Infotech Private Limited
1.42 | RAM DDR4/5 – 8GB/16 GB Note- This item shall be supplied for upgradation, based on make & model of PC used at project site as instructed by EIC. | 10.00 | Nos | 2446.00 | 3200.16 | 32001.60 | 32001.60 | Puthur Infotech Private Limited
1.43 | Work station computer for Simulation & Virtualisation, testing, development of software before deployment over main server as per specification in Annexure -XX | 2.00 | Nos | 115596.00 | 174341.00 | 348682.00 | 348682.00 | Puthur Infotech Private Limited
1.44 | Portable device like surface or mac for configuration, update and patching of active components like switches, routers, firewall, etc as per Annexure -XXI | 1.00 | Nos | 220626.00 | 220778.00 | 220778.00 | 220778.00 | Puthur Infotech Private Limited
1.45 | Supply of Windows Server Data Center Edition-2022 or Latest, 64 bits; For Dual Processor each having 24 cores; Total 48 core Liscence (16 cores x 3 packs), Perpetual licence as per Annexure -XXII | 2.00 | Lots | 57283.00 | 1678140.00 | 3356280.00 | 3356280.00 | Puthur Infotech Private Limited
1.46 | Supply of Windows Server Data Center Edition-2022 or Latest, 64 bits; For Dual Processor each having 12 cores; Total 24 core Liscence (16 cores+8 core), Perpetual licence as per Annexure - XXII | 1.00 | Lots | 331698.00 | 903193.00 | 903193.00 | 903193.00 | Puthur Infotech Private Limited
1.47 | Supply of MS CALS- 5 licence, Perpetual licence as per Annexure - XXIII | 5.00 | Lots | 5690.00 | 16354.80 | 81774.00 | 81774.00 | Puthur Infotech Private Limited
1.48 | Supply of Adobe Cold Fusion Standard edition, Perpetual licence as per Annexure-XXIV | 1.00 | Lots | 857607.00 | 360490.00 | 360490.00 | 360490.00 | Puthur Infotech Private Limited
1.49 | Supply of MS SQL Data Base Server standard Edition-2022 or Latest for 2 cores, Perpetual license as per Annexure -XXV | 1.00 | Lots | 576111.00 | 771489.00 | 771489.00 | 771489.00 | Puthur Infotech Private Limited
1.50 | Supply of NMS & NAC for IT Network, at least 5 years / Perpetual license as per Annexure - XXVI | 1.00 | Lots | 1240856.00 | 4652321.00 | 4652321.00 | 4652321.00 | Puthur Infotech Private Limited
1.51 | Cylindrical fibre encloser outdoor underground having 4 cable entry upto 12/24F for Splicing, as per Annexure-XXVII | 30.00 | Nos | 1568.00 | 1600.08 | 48002.40 | 48002.40 | Puthur Infotech Private Limited
1.52 | Rectangular fibre encloser having 4 cable entry upto 6/12/24F for Splicing, as per Annexure-XXVIII | 30.00 | Nos | 532.00 | 466.69 | 14000.70 | 14000.70 | Puthur Infotech Private Limited
1.53 | Media Converter-Duplex, as per Annexure-XXIX | 30.00 | Nos | 3136.00 | 3866.86 | 116005.80 | 116005.80 | Puthur Infotech Private Limited
1.54 | Cement ring along with cover (diameter 1m, 0.4m length & thickness not less than 4 cm) for keeping underground fiber encloser while making joint / splicing of OFC. Note- This item shall be supplied only as & when the actual requirement found. | 10.00 | Nos | 7619.00 | 7702.00 | 77020.00 | 77020.00 | Puthur Infotech Private Limited
1.55 | Rack Mounted KVM Switch with Display & Tray, as per Annexure-XXX | 2.00 | Nos | 159700.00 | 283291.00 | 566582.00 | 566582.00 | Puthur Infotech Private Limited
1.56 | 2X1.5 Sq mm Armoured Fire Alarm Cables as per Annexure-XXXI | 2000.00 | m | 66.00 | 87.00 | 174000.00 | 174000.00 | Puthur Infotech Private Limited
1.57 | 2X2.5 Sq mm Armoured PA System Cable as per Annexure-XXXII | 2000.00 | m | 83.00 | 154.00 | 308000.00 | 308000.00 | Puthur Infotech Private Limited
2.00 | Installation/ Commissioning of new Network & interconnecting with the existing Network at Project site
2.01 | Earth work excavation in all sorts of soil for laying cables at kaiga site area. The width of the trench shall be 30 cm and average depth 50cm.The cost is inclusive of refilling the trench with the excavated soil after laying of HDPE as specified by EIC. | 5500.00 | m | 595.00 | 585.00 | 3217500.00 | 3217500.00 | Puthur Infotech Private Limited
2.02 | Laying of HDPE pipe with coupling in the excavated trench/tray. | 6500.00 | m | 93.00 | 67.00 | 435500.00 | 435500.00 | Puthur Infotech Private Limited
2.03 | Drawing of Cables through the per meter of HDPE Pipe/ PVC Pipe/Conduit/Tray | 6500.00 | m | 101.00 | 103.00 | 669500.00 | 669500.00 | Puthur Infotech Private Limited
2.04 | Installation of Casing & Capping then drawing CAT cable through it on per meter length of casing. | 3000.00 | m | 137.00 | 103.00 | 309000.00 | 309000.00 | Puthur Infotech Private Limited
2.05 | Installation of Ceiling/ Wall mounted GI Tray with locked cover/enclosure | 1000.00 | m | 652.00 | 385.00 | 385000.00 | 385000.00 | Puthur Infotech Private Limited
2.06 | Mounting of U Racks (6U/9U/15U/42U) with standard accessories and loading with PDU, Switches, LIU, Patch panel, Cable manager and connect these device with network cables | 32.00 | Nos | 3088.00 | 3209.01 | 102688.32 | 102688.32 | Puthur Infotech Private Limited
2.07 | Termination/Splicing of OFC cores with Pigtails | 500.00 | Nos | 365.00 | 432.00 | 216000.00 | 216000.00 | Puthur Infotech Private Limited
2.08 | Crimping/termination of each CAT Cable on Patch Panel / RJ45 Connector/ Information-outlet (jack keystone) | 200.00 | Nos | 221.00 | 257.00 | 51400.00 | 51400.00 | Puthur Infotech Private Limited
2.09 | Installation/Mounting of an IO box fully loaded with keystone jack & face plate followed by connection to cable inside Casing Capping . | 150.00 | Nos | 223.00 | 321.00 | 48150.00 | 48150.00 | Puthur Infotech Private Limited
2.10 | Laying/installing/mounting of PVC hard pipe/conduit with interconnected Grip PVC Box (use flexible pipe/hose on turning/bends or wherever required). | 1500.00 | m | 116.00 | 51.00 | 76500.00 | 76500.00 | Puthur Infotech Private Limited
2.11 | Installation of a 2 feet route cable marker with cubical concrete base of edge 15cm. | 250.00 | Nos | 556.00 | 321.00 | 80250.00 | 80250.00 | Puthur Infotech Private Limited
2.12 | One Time Installation Charges for integration of different servers with network devices, deployment of OS/ VM over the physical servers and interconnecting with the existing network. [Installation and configuration of (1) Windows Server Data Centre Edition-2022; (2) Adobe Cold Fusion Standard edition; (3) MS SQL Data Base Server standard Edition for 4 cores;(4) NMS & NAC for IT Network, with activation using suitable licence/ key; integrating these with relevant Software to work as complete data centre with monitoring & logging facilities, etc under the instruction of EIC. Submit the commissioning & configuration report along with the network scanning, testing and performance report complying with the international/ national standards for the data traffic and security to EIC in addition to imparting the handholding training]. Note - Physical Machines /Hardware required will be provided by NPCIL and Proportional payment may be made in case of partial work during entire tender period. | 1.00 | Lumpsum | 615223.00 | 607700.00 | 607700.00 | 607700.00 | Puthur Infotech Private Limited
3.00 | Annual /Comprehensive Maintenance (AMC) for hardware/ machines out of warranty:
3.01 | AMC Charges for Desktop Computers (including No of Device * 24) | 1320.00 | Nos | 182.00 | 65.00 | 85800.00 | 85800.00 | Puthur Infotech Private Limited
3.02 | AMC Charges for Laptop Computers (including No of Device * 24) | 120.00 | Nos | 287.00 | 249.00 | 29880.00 | 29880.00 | Puthur Infotech Private Limited
3.03 | AMC Charges for Colour Multi-Function Printers (MFP) (including No of Device * 24) | 240.00 | Nos | 259.00 | 259.00 | 62160.00 | 62160.00 | Puthur Infotech Private Limited
3.04 | AMC Charges for Monochrome Printers (including No of Device * 24) | 240.00 | Nos | 123.00 | 114.00 | 27360.00 | 27360.00 | Puthur Infotech Private Limited
3.05 | AMC Charges for Multi-Function Copier Printer with maintenance of Pressure Roller, Teflon Sheet, Paper Pickup roller, LS Unit, etc (including No of Device * 24) | 120.00 | Nos | 428.00 | 600.00 | 72000.00 | 72000.00 | Puthur Infotech Private Limited
3.06 | AMC Charges for Multimedia Projectors (including No of Device * 24) | 24.00 | Nos | 443.00 | 500.00 | 12000.00 | 12000.00 | Puthur Infotech Private Limited
3.07 | AMC charges for All in One Desktop Computers (including No of Device * 24) | 240.00 | Nos | 324.00 | 250.00 | 60000.00 | 60000.00 | Puthur Infotech Private Limited
4.00 | Providing Facility Management Manpower Support
4.01 | Providing Software Developer | 620.00 | Per Operation | 3013.00 | 2858.00 | 1771960.00 | 1771960.00 | Puthur Infotech Private Limited
4.02 | Providing Senior Administrator for Windows, Linux & Data Base | 620.00 | Per Operation | 3013.00 | 2858.00 | 1771960.00 | 1771960.00 | Puthur Infotech Private Limited
4.03 | Providing Network support Engineer | 620.00 | Per Operation | 2113.00 | 2004.00 | 1242480.00 | 1242480.00 | Puthur Infotech Private Limited
4.04 | Providing Engineer for Resources Management and Backup | 620.00 | Per Operation | 2113.00 | 2004.00 | 1242480.00 | 1242480.00 | Puthur Infotech Private Limited
4.05 | Providing IT & Comm Assets Support Technician | 2480.00 | Per Operation | 1615.00 | 1532.00 | 3799360.00 | 3799360.00 | Puthur Infotech Private Limited
| Total in Figures |  |  |  |  | 34603437.94
Lowest Amount Quoted BY: Puthur Infotech Private Limited(34603437.94)

## BOQ Summary
BOQ Summary Details Tender Title: Establishing slash extending IT Networks at Kaiga 5 and 6 project and providing Facility Management Support for existing IT networks and devices at Kaiga- 5 and 6 Site Tender ID: 2024_NPCIL_201862_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Puthur Infotech Private Limited | 34603437.94 | L1