## BoQ1
Government eProcurement System Created By: Omkar Chaturvedi Created Date/Time: 02-Jan-2025 11:27 AM Tender Title: Construction of Buildings and Barracks Tender ID: 2024_NPCIL_201863_1
Tender Inviting Authority: Station Director -5&6, RR Site
Name of Work: Construction of 9 barracks (for 126 nos. Jawans) & upgradation of 204 Nos. (17 Block) Type-I (A) Quarters in G+2 structures including development of associated external infrastructure works at CISF colony Sentab, RR Site.
Contract No: NPC/RRS/90/2023/ PT-A 2666
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RMT INFRATECH (GSTN-NA) BID ID -731314 |  | M/S MADHUSUDAN ENGINEERING CO. (GSTN-NA) BID ID -730748
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork in excavation in all types of ground substrata consisting of hard rock / fragmented rock / soft rock / ordinary soils / filled up ground / murrum requiring use of rock breaker, drilling, chiseling with mechanical / manual means etc. up to a depth of 1.5 m from the original ground level and dewatering if required for foundation of walls, columns, platforms etc. including backfilling with selected excavated materials in plinth and foundation trenches in layers not exceeding 200 mm thick, watering ramming etc. complete and disposing off the surplus materials to a maximum radially measured lead of 1.0 KM. as per drawings, design , safety and specifications and directions of the Engineer. Note :- Bidders should essentially visit and inspect the construction sites and determine themselves the right and safest method/s of excavation considering the safety of nearby structures and population, before quoting their item rates (Blasting is not permitted). | 4000.00 | Cum | 0.00 | 1499.00 | 5996000.00 | 800.00 | 3200000.00 | 3200000.00 | M/S MADHUSUDAN ENGINEERING CO.
2.00 | Extra for every additional lift of 1.5m part thereof in all kinds of soil. | 500.00 | Cum | 0.00 | 100.00 | 50000.00 | 50.00 | 25000.00 | 25000.00 | M/S MADHUSUDAN ENGINEERING CO.
3.00 | Supplying at site of good earth excavated and brought from outside (borrow pits / stock piles) free from weeds, roots, rubbles and other foreign material including royalty and carriage and filling in trenches, plinth and sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layers by ramming and watering and lift upto 1.5m etc. complete (only consolidated fill shall be paid). | 750.00 | Cum | 0.00 | 545.00 | 408750.00 | 700.00 | 525000.00 | 408750.00 | RMT INFRATECH
4.00 | Providing and laying 150 mm thick stone soling under floors properly hand packed, filling interstices with spalls, gravels and inert fine material and consolidating to required gradient and camber, spreading, watering etc. complete as per drawings, specifications and direction of Engineer. | 1900.00 | Sqm | 0.00 | 275.00 | 522500.00 | 200.00 | 380000.00 | 380000.00 | M/S MADHUSUDAN ENGINEERING CO.
5.00 | Providing Chemical Emulsion in sealed containers including delivery and depositing in NPCIL store as specified. Chlorpyriphos 20 E.C. conforming to IS:8944 of approved brand. | 730.00 | Ltr. | 0.00 | 325.00 | 237250.00 | 262.00 | 191260.00 | 191260.00 | M/S MADHUSUDAN ENGINEERING CO.
6.00 | Diluting Chlorpyriphos E.C. 20% to 1% concentration (add of 19 ltr water to 1 ltr of Chlorpyriphos E.C.20%) for pre-constructional anti termitetreatment (excluding cost of chemical emulsion).Anti termite treatment of soil under floors and apron on the top surface of filled earth within and along with the plinth walls @ 5 ltr / sqm of the surface before the sand / sub grade is laid. Holes upto 50 to 75 mm deep at 150mm centers both ways including at the junction of wall and floor shall be made with crow bars on the surface to facilitate saturation of the soil with chemical emulsion complete as per direction of engineer in charge. Note:- payment shall be made on the basis of the plan area of the surface treated excluding the plan area of intervening beam & walls. | 2150.00 | Sqm | 0.00 | 155.00 | 333250.00 | 40.00 | 86000.00 | 86000.00 | M/S MADHUSUDAN ENGINEERING CO.
7.00 | Providing and laying in position cement concrete of 1:3:6 (1 Cement: 3 coarse Sand : 6 Graded Stone aggregate 20 mm nominal size) -at all level , transporting of concrete to site, laying, consolidation, finishing, curing etc. all complete excluding cost of centering & shuttering, as per direction of Engineer-in-charge. | 385.00 | Cum | 0.00 | 4795.00 | 1846075.00 | 5200.00 | 2002000.00 | 1846075.00 | RMT INFRATECH
8.00 | Providing and laying cement concrete of 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in retaining walls, return walls, walls(any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed block, anchor block, window sills, fillets etc. at all level including transporting of concrete to site, laying including cost of finishing, curing etc. all complete excluding the cost of centering and shuttering as per specifications and direction of Engineer-in-charge. | 30.00 | Cum | 0.00 | 5455.00 | 163650.00 | 5800.00 | 174000.00 | 163650.00 | RMT INFRATECH
9.00 | Providing and laying cement concrete of 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in approach pavment to garages etc. in suitable size of pannels including consolidation with needle and vibro compactor equipment and finishing with power floater and trowelled to desired finish & finally giving required broom finish with suitable means, sawing the contraction joint with machnical saw at specified spacing, the width of sawed groove shall be 6mm thick and depth shall be 1/4th of thickness of pavment and sawing operation should be carried out as soon as the concrete is ready to accept the saw cut without trowelling. The joint should be field with approved bitumastic sealant including transporting of concrete to site of laying including cost of centering and shuttering, finishing, curing etc. all Complete with all material and labour as per specifications and direction of Engineer-in-charge. (Qty of water used per bag of cement shall not be more than 22.5 ltr. cement admixture shall be added if required for desired workabilty) | 16.00 | Cum | 0.00 | 6555.00 | 104880.00 | 6000.00 | 96000.00 | 96000.00 | M/S MADHUSUDAN ENGINEERING CO.
10.00 | Providing and Application of IRONITE NO.3 powder (Metallic Dry shake natural cement colour) @ 6 Kgs/m2 sprinkled over green concrete with 1/3rd of the dry shake to be sprinkled in First pass and floated with Power float, remaining 2/3rd of dry shake to be sprinkled in next pass and the floor laid floated & trowelled to acquire desired finish. | 160.00 | Sqm | 0.00 | 375.00 | 60000.00 | 150.00 | 24000.00 | 24000.00 | M/S MADHUSUDAN ENGINEERING CO.
11.00 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of all grades grade for Reinforced cement concrete or other works using 20mm size stone aggregates including transporting of concrete to site for laying but excluding the cost of centering, shuttering and reinforcement, including cost of finishing, compaction, curing, approved chemical admixtures conforming to IS 9103 in recommended proportions for achieving slump not less than 120mm and water/cement ratio not more than 0.42 at all level & for all sections as per drawings, specifications & direction of Engineer-in-charge. Use of concrete retarding agent / accelerator conforming to IS 9103 shall also be done if situation demands so. Rates should be based on using 350 kg of OPC 43 grade cement per Cum of concrete. | 2400.00 | Cum | 0.00 | 6575.00 | 15780000.00 | 6300.00 | 15120000.00 | 15120000.00 | M/S MADHUSUDAN ENGINEERING CO.
12.00 | Providing form work of battened frame with sheathing having plywood lining / MS angle frame with sheathing of MS plate lining so as to give fair finish including centering shuttering strutting and propping etc. height of propping and centering below supporting floor not exceeding 3.5 meters to ceilings and removal of same for foundation, footings, columns, wall, Suspended floors, stairs, landings, balconies, lintels, beams, plinth beams, girders, cantilevers and access platform etc. complete at all level of floors / roof as per specifications and direction of Engineer in charge. Note: Only brand new form-work /shuttering especially fabricated for this work shall only be accepted with the limited repetitions of the same allowed till the surface remains even, and dent free. Only steel scaffolding i.e. pipe, channels etc. shall be allowed for this work. | 23950.00 | Sqm | 0.00 | 525.00 | 12573750.00 | 500.00 | 11975000.00 | 11975000.00 | M/S MADHUSUDAN ENGINEERING CO.
13.00 | Providing and laying Thermo-Mechanically Treated reinforcement bars of grade as specified in drawings/specifications and as directed by engineer conforming to IS : 1786 latest revision or the latest relevant code for RCC work including straightening, cutting, bending, placing in position and binding with 20 gauge annealed binding wire and cement mortar cover block of all size in C.M. 1:2 MIX etc. all complete- as per drawings , specifications & direction of engineer in charge. | 322800.00 | Kg | 0.00 | 87.75 | 28325700.00 | 78.00 | 25178400.00 | 25178400.00 | M/S MADHUSUDAN ENGINEERING CO.
14.00 | Providing & laying Random Rubble masonry with hard stone in foundation and plinth level of building & upto 3.00 Mtr. height from NGL for boundary/compound wall with Cement mortar 1:6 (1 Cement :6 Coarse sand) including cost of labour, materials, curing , raking out the joints, finishing, scaffoldings etc. all complete as per specifications and direction of Engineer in charge. | 500.00 | Cum | 0.00 | 4075.00 | 2037500.00 | 3200.00 | 1600000.00 | 1600000.00 | M/S MADHUSUDAN ENGINEERING CO.
15.00 | Providing and laying Fly-ash brick masonry class designation- 75 ( IS-12894 -latest revision) in cement mortar 1:6 ( 1 cement : 6 coarse sand) upto plinth level including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 155.00 | Cum | 0.00 | 6075.00 | 941625.00 | 5500.00 | 852500.00 | 852500.00 | M/S MADHUSUDAN ENGINEERING CO.
16.00 | Providing and laying Fly-ash brick masonry using Fly-ash building bricks of class designation- 75 ( IS-12894 -latest revision ) in cement mortar 1:6 ( 1 cement : 6 coarse sand) in superstructure above plinth level up to floor five level as per specifications and direction of Engineer including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 1640.00 | Cum | 0.00 | 6095.00 | 9995800.00 | 5800.00 | 9512000.00 | 9512000.00 | M/S MADHUSUDAN ENGINEERING CO.
17.00 | Providing and laying half brick masonry using fly ash bricks of class designation-75 ( IS-12894 -latest revision ) in cement mortar 1:4 ( 1 cement : 4 coarse sand) with RCC 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) stiffeners 75 mm thick horizontally @ 1000mm c/c excluding cost of laying reinforcement but including cost of RCC stiffeners in superstructure above plinth level upto floor five level including cost of labour, materials, curing, finishing, scaffoldings, shuttering etc. all complete as per specifications and direction of Engineer in charge. Note - Reinforcement bars to be paid in relevant item. | 1750.00 | SqM | 0.00 | 915.00 | 1601250.00 | 650.00 | 1137500.00 | 1137500.00 | M/S MADHUSUDAN ENGINEERING CO.
18.00 | Providing & fixing 18mm to 22mm thick both face polished Kota stone shelves fixed in walls in cupboard in cement mortar 1:3 (1 cement : 3 coarse sand) including cutting chases in masonry/plaster, finishing, making good the same, full moulding of exposed edges at all level complete as per specification and as directed by engineer in charge. | 410.00 | Sqm | 0.00 | 1475.00 | 604750.00 | 900.00 | 369000.00 | 369000.00 | M/S MADHUSUDAN ENGINEERING CO.
19.00 | Pointing on stone work with cement mortar 1:3 (1 cement :3 fine sand): Raised and cut pointing including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 100.00 | Sqm | 0.00 | 355.00 | 35500.00 | 200.00 | 20000.00 | 20000.00 | M/S MADHUSUDAN ENGINEERING CO.
20.00 | Providing and laying 6mm thick cement plaster (1 cement : 3 sand) in single coat on RCC ceiling face for interior plastering at all levels including necessary grooves at the junction of RCC and brickwork arises, internal rounded angle, chamfers and / or rounded angles not exceeding 80 mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 4700.00 | Sqm | 0.00 | 235.00 | 1104500.00 | 276.00 | 1297200.00 | 1104500.00 | RMT INFRATECH
21.00 | Providing and laying 15mm thick cement plaster 1:4 (1 cement : 4 fine sand) in single coat on either side of single or half brick wall for interior plastering at all levels using galvanized M.S. wire of I.S. gauge designation 26 s.w.g. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 16300.00 | Sqm | 0.00 | 259.00 | 4221700.00 | 350.00 | 5705000.00 | 4221700.00 | RMT INFRATECH
22.00 | Providing and laying 18 mm thick cement plaster in two coats under layer 12 mm thick cement plaster 1:4(1 cement : 4 fine sand) finished with a top layer 6mm thick cement plaster 1:4 (1 cement : 4 fine sand) on either side of single or half brick masonry walls for exterior plastering at all height and using galvanized M.S. wire of I.S. gauge designation 26 S.W.G. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 12900.00 | Sqm | 0.00 | 345.00 | 4450500.00 | 425.00 | 5482500.00 | 4450500.00 | RMT INFRATECH
23.00 | Providing and laying 15 mm thick cement plaster on rough side of single or half brick wall of mix : 1:4 (1 cement : 4 fine sand) finished with a floating coat of neat cement including scaffoldings, finishing, curing etc. complete as per specification & direction of Engineer-incharge. | 250.00 | Sqm | 0.00 | 295.00 | 73750.00 | 360.00 | 90000.00 | 73750.00 | RMT INFRATECH
24.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineerin-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 2000.00 | Sqm | 0.00 | 475.00 | 950000.00 | 425.00 | 850000.00 | 850000.00 | M/S MADHUSUDAN ENGINEERING CO.
25.00 | Providing water proofing material Dr. Fixit Pidi proof LW plus / Complast X-421 1C of fosroc / STP no 1 of STP Ltd. as approved in NPCIL store & issuing the same from NPCIL store as per site requirement for mixing in cement plaster work / concrete work in proportion as recommended by the manufacturers etc. complete as per direction of Engineer-in-charge. | 430.00 | Ltr. | 0.00 | 125.00 | 53750.00 | 100.00 | 43000.00 | 43000.00 | M/S MADHUSUDAN ENGINEERING CO.
26.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in flooring, tread of steps, landing, laid over 20 mm (average) thick base of cement mortar 1:4 (1 Cement: 4 sand): and jointed with white cement slurry mixed with pigment to match the shade of the slab, including edge molding and cutting three nos. grooves neatly in longitudinal direction of steps for antiskid purpose, rubbing and polishing complete, including cutting of slot (without edge splitting) using mechanical means for receiving the handrail supports including finishing & curing work at all level etc. complete (size of kota stone shall cover full length & width of stair case treads as shown in drawings) as per specification & direction of Engineer-in-charge. | 100.00 | Sqm | 0.00 | 1355.00 | 135500.00 | 1000.00 | 100000.00 | 100000.00 | M/S MADHUSUDAN ENGINEERING CO.
27.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 Cement 3: sand) and jointed with white cement slurry mixed with pigment to match the shade of the slab, rubbing and polishing complete, including finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. (size of kota stone shall cover full length & width of stair case risers as shown in drawings) | 50.00 | Sqm | 0.00 | 1545.00 | 77250.00 | 1050.00 | 52500.00 | 52500.00 | M/S MADHUSUDAN ENGINEERING CO.
28.00 | Providing and fixing polished sand stone slabs 20 to 25 mm thick over a layer of 12mm thick cement mortar 1:3 and pasted with suitable adhesive such as araldite and steel screws if required for vertical / horizontal facia etc. and joints treated with white cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing, edge moulding, finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. | 350.00 | Sqm | 0.00 | 1575.00 | 551250.00 | 1000.00 | 350000.00 | 350000.00 | M/S MADHUSUDAN ENGINEERING CO.
29.00 | Providing and laying premium quality polished / mat finish vitrified tiles of size 600mm x 600mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (full body-solid surface) / KAJARIA (full body-Delfi series)/ NITCO (Full body series) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make complete: including covering of tiles with 3mm th. PVC tile protection sheet over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. | 5100.00 | Sqm | 0.00 | 1195.00 | 6094500.00 | 1050.00 | 5355000.00 | 5355000.00 | M/S MADHUSUDAN ENGINEERING CO.
30.00 | Providing and fixing premium quality mat finished ceramic floor tiles of size 300x300mm and 6mm thickness conforming to IS: 15622 (latest revision) of H&R JOHNSON (pure mat finish Rustic /Lenox series) / KAJARIA (Digital floor -stain mat plain & printed mat finish) / NITCO (Crust digital floor tiles premium) as approved in required shade, laid on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete. including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. | 80.00 | Sqm | 0.00 | 1055.00 | 84400.00 | 750.00 | 60000.00 | 60000.00 | M/S MADHUSUDAN ENGINEERING CO.
31.00 | Providing and fixing premium quality special printed ceramic glazed wall tiles of size 450mmx300mm and 6mm thickness of approved shade in base and highlighter conforming to IS: 15622 (latest revision) of H&R JOHNSON wall tiles (DIGITAL PRINTED SERIES) / KAJARIA (Digital & power line) / NITCO (Cosmos digital wall tiles) as approved in skirting and dado over 12mm thick bed of cement mortar 1:3(1 cement :3 sand) including grouting the joints using special tiles grout FEVIMAT - TG of Pidilite or similar approved make complete including protecting the tiles from painting stains and scratches during various finishing activities including finishing and curing work at all level etc. all complete as per specification & direction of Engineer in charge. | 520.00 | Sqm | 0.00 | 915.00 | 475800.00 | 850.00 | 442000.00 | 442000.00 | M/S MADHUSUDAN ENGINEERING CO.
32.00 | Providing and fixing 14 to 16 mm thick marble stone gang saw cut, mirror polished, premoulded and prepolished, machine cut on wall tops, sides, facias and similar locations of required size (all size), approved shade, colour and texture over 12 mm thick (average) base cement mortar 1:3 (1cement : 3 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding andpolishing to edges wherever required to give high gloss finish etc. complete at all levels. (Base rate of marble stone shall not be less than 600/- per Sqm) Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble. | 5.00 | Sqm | 0.00 | 3455.00 | 17275.00 | 4500.00 | 22500.00 | 17275.00 | RMT INFRATECH
33.00 | Providing and fixing 14mm to 16mm thick ordinary quality Plain White Marble gang saw cut machine cut for horizontal and vertical supports to kitchen platform, vanity counters and for other similar purposes to be fixed in position with cement mortar 1:3 including back to back jointing of vertical supports with epoxy bonding agent, curing etc. at all levels all complete as per drawing, specifications and direction of Engineer-in-charge. | 170.00 | Sqm | 0.00 | 1755.00 | 298350.00 | 2500.00 | 425000.00 | 298350.00 | RMT INFRATECH
34.00 | Providing and fixing 15 to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for wash basin counter including cutting opening for wash basin making half round edge moulding in granite stone for counter etc. all complete of required size laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels: as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 30.00 | Sqm | 0.00 | 3755.00 | 112650.00 | 4500.00 | 135000.00 | 112650.00 | RMT INFRATECH
35.00 | Providing and fixing in full width & length 15mm to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for kitchen platforms, fascias and similar locations laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, edge moulding and polishing to edge to give high gloss finish etc. complete at all levels: Area of slab over 0.50 Sqm. including finishing & curing work at all level etc. complete as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 20.00 | Sqm | 0.00 | 3955.00 | 79100.00 | 4500.00 | 90000.00 | 79100.00 | RMT INFRATECH
36.00 | Providing and fixing pressed steel door frames conforming to IS: 4351 manufactured from 1.6 mm thick commercial mild steel sheet including hinges jamb, lock jamb, bead and base ties of pressed mild steel angle of size 20mm x 20mm x 1.25mm thick to suit floor thickness welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail fixed to each jamb including fixing superior quality heavy duty Stainless Steel Butt Hinges 100mm long with the frame using SS-MS welding process and SS Screws all as per specifications including provision of mortar guards, lock strike – plate and shock absorbers as specified, filling the hollow box space with the 1:2:4 cement concrete (6.7 mm down coarse aggregate to be used), water cured for minimum 7 Days before fixing the same and applying two coats of approved brand synthetic enamel paint on exposed surface over a coat of approved steel primer on entire surface (interior and exterior) after pre- treatment of the surface, drilling holes of specified diameter and depth with the provision of high quality rubber/PVC sleeves for accommodating male parts of door fittings such as aldrops and tower bolts etc. all complete including cost of all material and labour as per drawing, specifications and as directed by Engineer–In charge. Profile B 105 x 60mm single rebate type | 275.00 | Mtr. | 0.00 | 545.00 | 149875.00 | 655.00 | 180125.00 | 149875.00 | RMT INFRATECH
37.00 | Providing and fixing pressed steel door frames conforming to IS: 4351 manufactured from 1.6 mm thick commercial mild steel sheet including hinges jamb, lock jamb, bead and base ties of pressed mild steel angle of size 20mm x 20mm x 1.25mm thick to suit floor thickness welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail fixed to each jamb including fixing superior quality heavy duty Stainless Steel Butt Hinges 100mm long with the frame using SS-MS welding process and SS Screws all as per specifications including provision of mortar guards, lock strike – plate and shock absorbers as specified, filling the hollow box space with the 1:2:4 cement concrete (6.7 mm down coarse aggregate to be used), water cured for minimum 7 Days before fixing the same and applying two coats of approved brand synthetic enamel paint on exposed surface over a coat of approved steel primer on entire surface (interior and exterior) after pre- treatment of the surface, drilling holes of specified diameter and depth with the provision of high quality rubber/PVC sleeves for accommodating male parts of door fittings such as aldrops and tower bolts etc. all complete including cost of all material and labour as per drawing, specifications and as directed by Engineer–In charge. 41.2 Profile D 125 x 60mm double rebate type | 1165.00 | Mtr. | 0.00 | 575.00 | 669875.00 | 700.00 | 815500.00 | 669875.00 | RMT INFRATECH
38.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and frame work M.S. door & fix ventilators, anchors etc made out M.S. angle, channels, flats, rods, bars, weld mesh, M.S. pipe etc including supplying, cutting, hoisting, fixing in position and applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer all complete as per standard design, including the cost of all material and labour complete- as per drawings , specifications & direction of engineer in charge. | 1200.00 | Kg | 0.00 | 105.00 | 126000.00 | 110.00 | 132000.00 | 126000.00 | RMT INFRATECH
39.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 300.00 | Kg | 0.00 | 495.00 | 148500.00 | 540.00 | 162000.00 | 148500.00 | RMT INFRATECH
40.00 | Providing and fixing M.S. grills of required pattern in frames of windows, ventilators, balconies etc. with M.S.flats, square or round bars ets. all complete including applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer: Fixed to steel/aluminium window by welding/riveted or bolted all complete as per standard design, drawing, specification and direction of engineer in charge. MS grill design & drawing shall be prepared & submitted by the contracting agency for the approval of EIC. | 24650.00 | Kg | 0.00 | 115.00 | 2834750.00 | 110.00 | 2711500.00 | 2711500.00 | M/S MADHUSUDAN ENGINEERING CO.
41.00 | Providing and fixing factory made 35 mm thick both side laminated flush door shutters single / Double leaf conforming to IS ; 2202(part-1) of make KITPLY/ GREENLAM / CENTURY as approved by EIC with Block board core & frame of well seasoned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including supply and fixing of approved brand stainless steel fixtures like Tower bolt (size-250mm long rod size 12mm), Tadi latch (300mm long rod size 14mm), Aldrop (300X16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos. of each leaf, Magnetic Cather etc. complete as per drawings, specifications and direction of Engineer. (Door skin shall be 1.0 mm thick on front face and 0.8mm thick on back face with the provision of edge bending of decorative high pressure laminated sheet of plain/wood grain in gloss/ matt/ suede finish with high density protective surface layer of make KITPLY / GREENLAM / CENTURY as approved by EIC). Note - actual area of shutter will be paid. | 100.00 | Sqm | 0.00 | 3995.00 | 399500.00 | 3600.00 | 360000.00 | 360000.00 | M/S MADHUSUDAN ENGINEERING CO.
42.00 | Providing and fixing structural steel fly mesh door shutter of approved design made out of M.S. angle /flat/rod etc. including providing & fixing Stainless steel (Grade 304) Wire mesh of 24gauge of 12 mesh per 2.5 cm in either direction including SS fitting and fixtures i.e. handle plate type - 100mm size (size shall be confirming to IS:208) (2 nos. for each leaf), Aldrop 300mm long (01 no), tower bolt 200mm long (01 no. for each leaf) etc all complete, including painting two coat of approved brand synthetic enamal paint over a coat of primer on structural steel members as per approved drawing, specifications and direction of Engineer - in Charge. Note : - 1. The door shall be airtight by suitable means i.e. rubber / PVC strip to prevent the entry of insects/flies/mosquitoes etc. 2. Rate of SS wiremesh, SS fitting and fixtures, rubber / PVC strip are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 1800.00 | Kg | 0.00 | 355.00 | 639000.00 | 110.00 | 198000.00 | 198000.00 | M/S MADHUSUDAN ENGINEERING CO.
43.00 | Providing and fixing double leaf cupboard shutters with frame fabricated from 18-19mm thick BWP grade block board conforming to IS:1659, Kit board gold / Greenlam / Century make with laminate of approved make (Kit ply / Greenlam / Century) and shade on both faces (1 mm thk. laminate on front face and 0.8 mm thk. on back face with the provision of edge bending) including IInd class teak wood lipping of 19mm wide x 6 mm thick with necessary S.S screws and bright finished heavy duty stainless steel fixtures of approved brand (two nos handles plate type - 100mm size (size shall be confirming to IS:208), two nos. magnets, two nos. tower bolt of 100mmx10mm rod size, one nos. hasps and steples etc.), Stainless Steel Butt hinges / S.S. piano hinges etc. as approved all complete as per drawings, specifications and directions of Engineer-in-charge with Note - actual area of shutter with frame will be paid. | 550.00 | sqm | 0.00 | 5655.00 | 3110250.00 | 3000.00 | 1650000.00 | 1650000.00 | M/S MADHUSUDAN ENGINEERING CO.
44.00 | Providing and fixing colour anodized aluminium work for doors, windows, ventilators and partitions as per the material, fabrication and dimensional specifications/ requirement of IS: 1948 from aluminum alloy extruded sections, tubular / appropriate Z and or other sections of approved make conforming to grade HE9-WP of IS : 733 and HV9-WP of IS: 1285, fixed with raw plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required neoprene felt and silicon whether sealant etc. Aluminium sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling. C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. : For shutters of doors, windows & ventilators including providing and fixing approved ss hinges/ pivots/ rollers suitable for sliding / openable window and providing and fixing approved fittings i.e. two handle with locking arrangement for each sliding window shutter and one handle as well as two tower bolt for each glass / jali shutter with provisions of one gate hook for each glass shutter for openable window wherever required as approved including the cost of neoprene gasket all complete: colored anodized coated aluminium (thickness of anodized coating 15 micron). The finished arrangement shall be fully water tight. Note : 1. Payment of Glazing / SS wire mesh to be paid in relevant item in line with their specifications. 2. Cost of SS hinges / pivot / rollers are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 13200.00 | Kg | 0.00 | 495.00 | 6534000.00 | 480.00 | 6336000.00 | 6336000.00 | M/S MADHUSUDAN ENGINEERING CO.
45.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with neoprene gasket and silicon sealant etc. complete as per the architectural drawings and the directions of engineer-in-charge. With float glass panes of 4.0 mm thickness (Cost of aluminium snap beading shall be included in basic item) | 675.00 | Sqm | 0.00 | 1005.00 | 678375.00 | 900.00 | 607500.00 | 607500.00 | M/S MADHUSUDAN ENGINEERING CO.
46.00 | Providing & Fixing of approved quality of 6 mm thick plain glass in required size as Directed by the Engineer-in-Charge. | 3.00 | Sqm | 0.00 | 1255.00 | 3765.00 | 1300.00 | 3900.00 | 3765.00 | RMT INFRATECH
47.00 | Providing & fixing Stainless steel (Grade 304) Wire mesh of 24gauge of 12 mesh per 2.5 cm in either direction including supplying and fixing with required size U section aluminium beading over existing Aluminum window at all height etc. complete as directed the Engineer. | 675.00 | Sqm | 0.00 | 1255.00 | 847125.00 | 800.00 | 540000.00 | 540000.00 | M/S MADHUSUDAN ENGINEERING CO.
48.00 | Providing and fixing 30mm thick factory made pre-laminated PVC door shutter of approved make and design consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make. M.S. frame covered with 5 mm thick heat molded PVC 'C' channel of size 30 mm thickness, 95 mm width out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 115 mm wide PVC sheet out of which 95 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 140 mm wide PVC sheet out of which 100mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. including all SS fitting and fixtures such as 1 nos Tadi latch 200mm longx12mm rod size, 2 nos. tower bolt 250mm x 12mm, 2 nos. plat type handles - 100mm size (size shall be confirming to IS:208) of approved brand complete as per drawing, specification & direction of Engineer-in-charge. | 60.00 | Sqm | 0.00 | 1875.00 | 112500.00 | 3500.00 | 210000.00 | 112500.00 | RMT INFRATECH
49.00 | Applying Birla/JK/Asian white cement based wall putty (two coats) including base coat of alkaline resistance cement primer over cement plaster/ concrete surfaces after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface to achieve plain & even surface. including the cost of materials, labour etc. all complete as per direction of Engineer-in-Charge. | 34200.00 | Sqm | 0.00 | 79.00 | 2701800.00 | 80.00 | 2736000.00 | 2701800.00 | RMT INFRATECH
50.00 | Supply and application of Distemper of make Tractor aqualoc distemper (code 0013) of asian brand / Nerolac beauty acrylic distemper /Bison super distemper of Berger as approved to give an even shade: two coats over and including priming coat of approved primer of make Asian truecare interior wall primer (0360) / Nerolac premium primer water thinnable/ BP cement primer water thinnable of Berger as approved over well and evenly prepared concrete / plastered new / old surfaces including the cost of materials, consumables, labour, scaffolding, protective gears, housekeeping etc. complete as per the direction of engineer. The item rate includes spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as door & window frames, glass pans, electrical fittings, switch board, floors, skirting, platform etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 21000.00 | Sqm | 0.00 | 35.00 | 735000.00 | 105.00 | 2205000.00 | 735000.00 | RMT INFRATECH
51.00 | Supplying and applying wheather proof exterior emulsion paint of make Apex dust proof (code 0012) of Asian paint / Nerolac excel / Weather coat smooth of Berger as approved of required shade on New work Two coats including base coat of exterior wall primer of make Asian Truecare exterior wall primer (0065) / Nerolac exterior primer / Weather coat exterior primer of Berger as approved after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface including filling surface imperfections such as holes, dents, cracks by using mixture of white cement & fine sand (in the ratio of 1:3) to achieve plain & even surface. The item rate include spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as window / ventilator frames, glass pans etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 12900.00 | Sqm | 0.00 | 95.00 | 1225500.00 | 130.00 | 1677000.00 | 1225500.00 | RMT INFRATECH
52.00 | Supplying and application of 2 coats of Synthetic Enamel Paint (Asian Utsav Enamel Paint: Product Code No 0053 or similar quality in Berger / Nerolac) on New / Old Concrete / Plastered / Steel / Wooden surfaces after application of primer coat (Asian Paint Metal Primer: Product Code 0005 or similar quality in Berger / Nerolac) on the surfaces well prepared through scrapping, scrubbing, grinding and cleaning using wire brushes, soft brushes & sand papers etc. including cost of materials, labour, consumables cleaning of area after painting etc. complete as per direction of Engineer-in-Charge. The item rate includes the cost of spreading suitable clean protection covering on all exposed surfaces to protect them from staining, cleaning of old stained / freshly stained surfaces surrounding to painted area such as door - window frames & glass panes, electrical fittings, switch boards, floors, skirting, platform etc. to sparkling clean condition with the use of suitable thinners, detergents, chemical cleaners etc. | 3000.00 | Sqm | 0.00 | 145.00 | 435000.00 | 170.00 | 510000.00 | 435000.00 | RMT INFRATECH
53.00 | Providing and fixing M.S. fan clamp of 16mm dia M.S. bar bent to shape with locked ends in R.C.C slabs, beams during laying including painting the exposed portion of loop, all as per standard design, all complete- as per drawings, specifications & direction of engineer in charge. | 312.00 | Each | 0.00 | 245.00 | 76440.00 | 120.00 | 37440.00 | 37440.00 | M/S MADHUSUDAN ENGINEERING CO.
54.00 | Providing and applying Two coats of SBR Latex mixed with cement in specified proportion (cement mixed with waterproofing material such as PIDICRETE URP of Dr. FIXIT / Hydro proof extra of fosroc / Shalicrete-R of STP Ltd. / Tapcrete P-151 of Cico technologies conforming to relevant IS as approved by engineer in charge in the proportion as recommended by manufacturers forming 300 - 400 microns thick layer in 2 coats of application on treated surface, RCC sunken slab or where ever required including hacking/cleaning and washing the surface etc. all complete as per specification and direction of engineer in charge. Note:- The whole treated area shall be flooded with water for a minimum period of 4 days for water tightness test. | 180.00 | Sqm | 0.00 | 525.00 | 94500.00 | 400.00 | 72000.00 | 72000.00 | M/S MADHUSUDAN ENGINEERING CO.
55.00 | Providing angular fillets 75mm x 75mm of cement concrete 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate of 20 mm nominal size) as per drawings, specification & direction of engineer incharge. | 1100.00 | Rm | 0.00 | 65.00 | 71500.00 | 35.00 | 38500.00 | 38500.00 | M/S MADHUSUDAN ENGINEERING CO.
56.00 | Providing and laying in proper slope (1 in 40 to 1 in 60) integral cement based water proofing treatment including preparation of surface by hacking, cleaning and washing the roof top as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying two coat of waterproof cement slurry (cement mixed with waterproofing material such as PIDICRETE URP of Dr. FIXIT / Hydro proof extra of fosroc / Shalicrete-R of STP Ltd. / Tapcrete P-151 of Cico technologies confirming to relevant IS as approved by engineer in charge in the proportion as recommended by manufacturer) on the prepare surface over the RCC slab including adjoining walls up to 300mm height. b) Laying machine mixed brick bats with mortar using broken bricks/brick bats 25 mm to 100mm size with 50% of cement mortar 1: 4 (1 cement : 4 coarse sand) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS over 20 mm thick layer of cement mortar of mix 1: 4 (1 cement : 4 coarse sand) admixed with approved waterproofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or other similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS to required slope and treating similarly the adjoining walls up to 300mm height including rounding of junction of walls and slabs. |  |  | 0.00
56.10 | c) After two Days of proper curing applying a coat of cement slurry using 2.75 kg/sqm of cement admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS. d) Finishing the entire surface (horizontal as well as vertical) with 25mm thick jointless cement concrete of mix 1:1.5:3 (1 cement : 1.5 course sand : 3. 10mm down aggregate) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS including finaly finishing the surface with trowel with neat cement slurry and making pettern of size 100x100mm Sqare 3mm deep. e) The whole terrace so finished shall be flooded with water for minimum period of two week for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer – In charge. :The average thickness of brick bat coba shall be 120mm and minimum thickness at khurra as 65mm. before laying 25mm thk. CC (1:1.5:3) (Payment shall be made for plan area of roof treated) | 1350.00 | Sqm | 0.00 | 1155.00 | 1559250.00 | 1050.00 | 1417500.00 | 1417500.00 | M/S MADHUSUDAN ENGINEERING CO.
57.00 | Providing and fixing Orissa pattern Water Closet (OP 23 (Open rim) of H & R Johnson / Orissa C0117 of Parryware/ Orissa Colvin S3010108SN of CERA as approved with low level placed PVC flushing cistern (Dual Flush Tank {white} of H & R Jhonson / CERA/ Parry ) connected with 32 mm dia PVC flush pipe with all fittings and brackets with C.P. brass angle cock with CP flange (Clarion cat No. CQT 23059 make of JAQUAR or similer approved quality in KOHLER / GROHE and 15 mm dia high quality PVC inlet connection of required length with all accessories, fittings & fixtures of best quality and brand. Item includes essentially following. (a). Orissa pattern white glazed viterous china W.C. pan of size 580mm x 440mm of approved brand and 100mm dia sand cast iron 'P' trap. (b). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8319 Hexa) / Compass duel flush cistron B1020106SN as approved with all accessories complete. (c). 15mm dia PVC inlet connection of required length of approved brand with heavy duty C.P. brass unions and rubber washer etc. (d). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar Clarion cat. No. CQT 23059 or similer approved quality of KOHLER / GROHE as approved). | 9.00 | Each | 0.00 | 7275.00 | 65475.00 | 6500.00 | 58500.00 | 58500.00 | M/S MADHUSUDAN ENGINEERING CO.
58.00 | Providing and fixing European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW / 'PARRYWARE' (NIAGARA C0252(S) / 'CERA' (CIGNIA Concealed S1051108 S trap) as approved with Germfree EWC solid seat cover with C.P. brass hinges and rubber buffers of approved brand, with low level placed PVC flushing cistern (Dual Flush Tank white) connected with 32 mm dia PVC flush pipe with fittings and brackets, 15mm dia PVC inlet connection of required length and approved brand, 15mm dia C.P. brass angle valve with C.P. flange of superior quality all complete as per specification and direction of engineer in charge comprising following accessories: (a). White vitreous china wash down European type W.C. pan with white vitreous china 'S' trap of approved brand. (b). Germfree EWC solid seat cover (white) of H&R Johnson ( P0424PW) / Parry (E8094) / Cera (Carina plus B1510106) with C.P. brass hingesand rubber buffers of approved brand (c). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8319 Hexa) / Compass duel flush cistron B1020106SN as approved with all accessories complete. (d). 15mm dia heavy duty PVC inlet connection of required length and approved brand with brass unions complete. (e). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). (f). Jet spray provision of ESSCO make ALE-ESS 547 with 1Meter PVC tube (stainless steel) with 01 nos 15mm dia CP brass angle valve with Cp flange of Jaquar clarion (Code CQT 23059) or similer approved quality of KOHLER/GROHE as approved. | 9.00 | Each | 0.00 | 7575.00 | 68175.00 | 7500.00 | 67500.00 | 67500.00 | M/S MADHUSUDAN ENGINEERING CO.
59.00 | Providing and fixing in position white glazed vitreous under counter oval shape china ware wash basin of make H&R JOHNSON / 'PARRY' /"CERA" as approved comprising of following accessories jointed watertight as given below: (a). One no. oval shape white wash basin H&R JOHNSON CRESS (UC WB P0813PW size 550x450mm) / 'PARRY' (Cascade NXT C0407 size550x445mm) / "CERA" (Oval under counter S2030104 size560x470mm) as approved. (b). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (c). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (d). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER/GROHE as approved). (e). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (f). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. | 27.00 | Each | 0.00 | 11455.00 | 309285.00 | 6500.00 | 175500.00 | 175500.00 | M/S MADHUSUDAN ENGINEERING CO.
60.00 | Providing and fixing white vitreous china flat back lipped urinal basin of CERA (CAPRIANA size 375x390x590 mm) / PARYWARE (NEW MAGNUM C0575 size 380x405x590 mm) / H&R JOHNSON (TOPAZ HALF STALL Urinal size 390x360x615mm) as approved with Urinal valve auto closing system with built - in control cock & wall flange (Jaquar PRS - 077 or equivalent quality of GROHE/KOHLER as approved), Standard flush pipe, C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required. | 18.00 | Each | 0.00 | 15455.00 | 278190.00 | 8000.00 | 144000.00 | 144000.00 | M/S MADHUSUDAN ENGINEERING CO.
61.00 | Providing and fixing C.P. brass wall mixer with 3 in 1 system with provision for both hand shower and over head shower complete with 115mm long bend pipe on upper side, connecting legs and flanges (without hand & over head shower) CQT - 23281UPR of Jaquar Clarion series or similar approved quality of GROHE/KOHLER as approved. | 18.00 | Each | 0.00 | 4555.00 | 81990.00 | 3000.00 | 54000.00 | 54000.00 | M/S MADHUSUDAN ENGINEERING CO.
62.00 | Providing and fixing C.P. brass Angular stop cock with C.P. flange and PVC/CP connecting pipe of required length for geyser points of superior quality (Jaquar Clarion cat no. 23059 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 18.00 | Each | 0.00 | 995.00 | 17910.00 | 800.00 | 14400.00 | 14400.00 | M/S MADHUSUDAN ENGINEERING CO.
63.00 | Providing and fixing C.P. brass bib cock with C.P. flange of superior quality (Jaquar Clarion cat no. 23047 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 18.00 | Each | 0.00 | 1455.00 | 26190.00 | 850.00 | 15300.00 | 15300.00 | M/S MADHUSUDAN ENGINEERING CO.
64.00 | Providing and fixing C.P. brass shower rose with Shower arm 190mm long and wall flange of superior quality (Jaquar cat no. OHS 1989 & SHA 477 or similar approved quality of GROHE/KOHLER as approved). | 18.00 | Each | 0.00 | 5655.00 | 101790.00 | 1200.00 | 21600.00 | 21600.00 | M/S MADHUSUDAN ENGINEERING CO.
65.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 15mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 90.00 | Mtr. | 0.00 | 445.00 | 40050.00 | 350.00 | 31500.00 | 31500.00 | M/S MADHUSUDAN ENGINEERING CO.
66.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 20mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 90.00 | Mtr. | 0.00 | 525.00 | 47250.00 | 400.00 | 36000.00 | 36000.00 | M/S MADHUSUDAN ENGINEERING CO.
67.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 15mm dia nominal bore. Exposed on wall | 180.00 | Mtr. | 0.00 | 515.00 | 92700.00 | 350.00 | 63000.00 | 63000.00 | M/S MADHUSUDAN ENGINEERING CO.
68.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 20mm dia nominal bore exposed on wall. | 45.00 | Mtr. | 0.00 | 525.00 | 23625.00 | 380.00 | 17100.00 | 17100.00 | M/S MADHUSUDAN ENGINEERING CO.
69.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 25mm dia. nominal bore exposed on wall | 75.00 | Mtr. | 0.00 | 565.00 | 42375.00 | 450.00 | 33750.00 | 33750.00 | M/S MADHUSUDAN ENGINEERING CO.
70.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 32mm dia. nominal bore exposed on wall | 500.00 | Mtr. | 0.00 | 575.00 | 287500.00 | 450.00 | 225000.00 | 225000.00 | M/S MADHUSUDAN ENGINEERING CO.
71.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 40mm dia. nominal bore exposed on wall | 75.00 | Mtr. | 0.00 | 635.00 | 47625.00 | 600.00 | 45000.00 | 45000.00 | M/S MADHUSUDAN ENGINEERING CO.
72.00 | Providing and fixing 25mm nominal bore ball valve (brass) of approved quality, High or low pressure, with 150mm dia approved quality plastic floats with complete accessories. | 6.00 | Each | 0.00 | 2455.00 | 14730.00 | 300.00 | 1800.00 | 1800.00 | M/S MADHUSUDAN ENGINEERING CO.
73.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 25mm dia | 12.00 | Each | 0.00 | 3455.00 | 41460.00 | 400.00 | 4800.00 | 4800.00 | M/S MADHUSUDAN ENGINEERING CO.
74.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 32mm dia | 6.00 | Each | 0.00 | 4555.00 | 27330.00 | 550.00 | 3300.00 | 3300.00 | M/S MADHUSUDAN ENGINEERING CO.
75.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 40mm dia | 6.00 | Each | 0.00 | 4675.00 | 28050.00 | 650.00 | 3900.00 | 3900.00 | M/S MADHUSUDAN ENGINEERING CO.
76.00 | Providing & Fixing of approved quality Gun Metal FERRULE Heavy Duty as Directed by the Engineer-in-Charge. : 20 mm dia. | 6.00 | Each | 0.00 | 4675.00 | 28050.00 | 200.00 | 1200.00 | 1200.00 | M/S MADHUSUDAN ENGINEERING CO.
77.00 | Providing & fixing M.S. manhole cover and frame for water tank of size 600mm X 600mm (inside clear) cover shall be made out of 35mm X 35mm X 5mm M.S. angle & 5mm thick M.S. plate cover, frame shall be made out of 50x50x5mm thick MS angle and hinges to the frame and fixing the frame with proper anchors to the water tank's concrete slab and providing handle and locking arrangement complete including painting with two coats of synthetic enamel paint of approved make and shade over one coat of red oxide zinc chromate primer etc. complete as per design drawings and specifications. | 6.00 | Each | 0.00 | 5455.00 | 32730.00 | 2500.00 | 15000.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
78.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 25mm dia | 6.00 | Each | 0.00 | 2455.00 | 14730.00 | 220.00 | 1320.00 | 1320.00 | M/S MADHUSUDAN ENGINEERING CO.
79.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 32mm dia | 6.00 | Each | 0.00 | 2555.00 | 15330.00 | 280.00 | 1680.00 | 1680.00 | M/S MADHUSUDAN ENGINEERING CO.
80.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 40mm dia | 6.00 | Each | 0.00 | 2755.00 | 16530.00 | 300.00 | 1800.00 | 1800.00 | M/S MADHUSUDAN ENGINEERING CO.
81.00 | Providing and fixing GI pipe (medium class) spout 300 mm long embedded in balcony/stair case/chhajja including cutting the GI pipe etc. all complete as per drawings, specifications and direction of engineer. : 32mm dia | 3.00 | Each | 0.00 | 995.00 | 2985.00 | 150.00 | 450.00 | 450.00 | M/S MADHUSUDAN ENGINEERING CO.
82.00 | Providing and fixing in position 15mm dia G.I. pipe of medium class for ward robe with minimum insert 40mm in both sides of walls and grouting the same with cement mortar 1:3 (1 cement : 3 fine sand) including painting with two coats of synthetic enamel paint over a coat of primer. | 110.00 | Rm | 0.00 | 455.00 | 50050.00 | 200.00 | 22000.00 | 22000.00 | M/S MADHUSUDAN ENGINEERING CO.
83.00 | Providing, laying and jointing salt glazed stone ware pipe (conforming to IS : 651 latest revision) with cement mortar 1:1 (1 cement: 1 fine sand) with spun yarn impregnated with cement slurry including surrounding or encasing the pipes with providing and laying 150mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 20 mm nominal size) and testing of joints for leak tightness, curing etc. complete as per drawings, design and specifications of following internal diameters.- 100 mm dia | 50.00 | Mtr. | 0.00 | 1155.00 | 57750.00 | 600.00 | 30000.00 | 30000.00 | M/S MADHUSUDAN ENGINEERING CO.
84.00 | Providing, laying and jointing salt glazed stone ware pipe (conforming to IS : 651 latest revision) with cement mortar 1:1 (1 cement: 1 fine sand) with spun yarn impregnated with cement slurry including surrounding or encasing the pipes with providing and laying 150mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 20 mm nominal size) and testing of joints for leak tightness, curing etc. complete as per drawings, design and specifications of following internal diameters.- 150 mm dia | 50.00 | Mtr. | 0.00 | 1355.00 | 67750.00 | 800.00 | 40000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
85.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 3989 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete. - 50 mm dia. | 60.00 | Mtr. | 0.00 | 825.00 | 49500.00 | 1000.00 | 60000.00 | 49500.00 | RMT INFRATECH
86.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 3989 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 75mm dia. | 135.00 | Mtr. | 0.00 | 995.00 | 134325.00 | 1250.00 | 168750.00 | 134325.00 | RMT INFRATECH
87.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 3989 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 100mm dia | 100.00 | Mtr. | 0.00 | 1255.00 | 125500.00 | 1400.00 | 140000.00 | 125500.00 | RMT INFRATECH
88.00 | Providing and fixing in position C.I. floor trap of self cleaning design 100mm inlet and 75 mm outlet with C.P. grating on top including embedding in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) etc. complete as per drawings, specifications and as directed by engineer. | 54.00 | Each | 0.00 | 995.00 | 53730.00 | 1000.00 | 54000.00 | 53730.00 | RMT INFRATECH
89.00 | Providing and fixing on wall face / embedded in ground un plasticized Rigid PVC Rain water pipes of Jain Irrigation / Finolex / Supreme/ Prince as approved conforming to IS:13592 type A (4 Kg/Cm2) including shoes, bends, clamps etc. all complete jointing with seal ring leaving 10 mm for thermal expansion (I) single socketed pipes:110 mm dia. | 930.00 | Mtr. | 0.00 | 455.00 | 423150.00 | 480.00 | 446400.00 | 423150.00 | RMT INFRATECH
90.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 150mm dia. R.C.C. pipe. | 30.00 | Mtr. | 0.00 | 765.00 | 22950.00 | 500.00 | 15000.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
91.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 200mm dia. R.C.C. pipe. | 200.00 | Mtr. | 0.00 | 865.00 | 173000.00 | 600.00 | 120000.00 | 120000.00 | M/S MADHUSUDAN ENGINEERING CO.
92.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 300mm dia. R.C.C. pipe. | 30.00 | Mtr. | 0.00 | 965.00 | 28950.00 | 900.00 | 27000.00 | 27000.00 | M/S MADHUSUDAN ENGINEERING CO.
93.00 | Providing and fixing in position best quality salt glazed stone ware 150mm X 150mm size square mouth gully trap with C.I. grating and 100mm P type outlet with 40mm thick precast cement conc. Cover fixed in M.S. angle frame (made out of required size angle) at top and constructing brick masonry chamber 300mm X 300mm internal size in 115mm thick brick masonry in cement mortar 1:4 (1 cement : 4 fine sand) with necessary excavation in all types of soils, bed of 100mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 40mm nominal size) for foundation and around the trap and plastering with cement mortar 1:4 (1 cement : 4 fine sand) 15mm thick on internal and external surfaces, on top and upto 150mm below ground level, finished smooth, curing and fixing M.S. angle frame and precast conc. cover in 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) and painting the grating & frame with two coats of approved anticorrosive paint etc. complete as per drawings and specifications. Note :- Reinforcement and MS angle frame shall be paid in relevant item. | 18.00 | Each | 0.00 | 3455.00 | 62190.00 | 1200.00 | 21600.00 | 21600.00 | M/S MADHUSUDAN ENGINEERING CO.
94.00 | Construction of fly ash brick masonry inspection chamber up to 1000 mm depth of inside clear dimension 900mm X 600mm with 230mm thick brick wall in cement mortar 1:4 (1 cement : 4 fine sand) 150mm thick foundation cement concrete 1:4:8 (1 cement : 4 coarse sand :8 graded stone aggregate of 20mm nominal size) and plastering inside and outside with cement mortar 1:4 (1 cement : 4 fine sand) 15mm thick finished smooth, benching cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) in the bottom of chamber including providing and fixing 75mm thick precast cement cone. Cover slab protected by MS angle frame of required size all around, fixed in frame of size 900mmx600mm (in side clear) made out of M.S. angle of required size, embedding the frame in 75mm thick CC top coping of mix 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) including centering, shuttering, finishing, curing and painting the frame with two coats of approved anticorrosive paint etc. complete as per design, drawings and specifications. Note Reinforcement, M.S. angle frames and excavation are paid in relevant item. | 15.00 | Each | 0.00 | 14545.00 | 218175.00 | 5000.00 | 75000.00 | 75000.00 | M/S MADHUSUDAN ENGINEERING CO.
95.00 | Extra for every additional depth of 100mm or part there of beyond 1000mm of above item no. 94 | 30.00 | Mtr. | 0.00 | 1500.00 | 45000.00 | 3000.00 | 90000.00 | 45000.00 | RMT INFRATECH
96.00 | Constructing of brick masonry circular type manhole 0.91 m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement :4 coarse sand), in side cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design : 0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation) 560 mm internal diameter conforming to I.S. 12592, total weight of cover and frame to be not less than 182 kg., fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering, shuttering all complete. (Excavation, foot rests and cement plaster at the external surface shall be paid for separately) : With fly ash bricks of class designation 75 | 11.00 | Each | 0.00 | 21755.00 | 239305.00 | 8500.00 | 93500.00 | 93500.00 | M/S MADHUSUDAN ENGINEERING CO.
97.00 | Extra depth for circular type manhole 0.91m internal dia (at bottom) beyond 0.91 m to 1.67 m With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 for above item no. 96 | 9.00 | Rm | 0.00 | 3535.00 | 31815.00 | 5500.00 | 49500.00 | 31815.00 | RMT INFRATECH
98.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete: For pipes 100 to 230 mm diameter. | 5.00 | Each | 0.00 | 7555.00 | 37775.00 | 800.00 | 4000.00 | 4000.00 | M/S MADHUSUDAN ENGINEERING CO.
99.00 | Providing and fixing of pelmets made out of 18 mm thick (one side laminated other side balancing white with 600 kg /Cum density) and 120 mm wide solid PVC sheet of approved brand & shade including nickle plated S.S. Pipe 20 mm dia. (heavy type) curtain rod with brackets, including fixing with 25x3 mm M.S. Flat 10 cm long fixed to pelmet on both inner side of pelmet and rawl plugs 75 mm long etc. all complete in all respect as per specification & direction of engineer-in-charge. Note- only length of pelmet (No over change shall be paid) | 3150.00 | Rm | 0.00 | 475.00 | 1496250.00 | 400.00 | 1260000.00 | 1260000.00 | M/S MADHUSUDAN ENGINEERING CO.
100.00 | Providing and fixing cut edge mirror 6mm thick of overall size 600X450mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per the specifications and directions of Engineer. | 213.00 | Each | 0.00 | 995.00 | 211935.00 | 1000.00 | 213000.00 | 211935.00 | RMT INFRATECH
101.00 | Providing and fixing cut edge mirror 6mm thick of overall size 1500X600mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per the specifications and directions of Engineer. | 9.00 | Each | 0.00 | 2155.00 | 19395.00 | 2000.00 | 18000.00 | 18000.00 | M/S MADHUSUDAN ENGINEERING CO.
102.00 | Providing & Fixing of 6mm thick 600mm x 125mm wide glass self with rounded edge (alround) with Heavy Duty Aluminium anodized bracket all complete as Directed by the Engineer-in-charge. | 231.00 | Each | 0.00 | 495.00 | 114345.00 | 120.00 | 27720.00 | 27720.00 | M/S MADHUSUDAN ENGINEERING CO.
103.00 | Providing and fixing C.P. brass towel rail of Jaquar Continental cat no. 1111, 600mm long or similar approved quality of GROHE/KOHLER brand including all fixtures and fittings all complete as per specification direction of Engineer-in-charge. | 18.00 | Each | 0.00 | 3125.00 | 56250.00 | 1200.00 | 21600.00 | 21600.00 | M/S MADHUSUDAN ENGINEERING CO.
104.00 | Providing and fixing best quality painted metalic cloth hanger having 460 mm length as approved by engineer in charge and as per specifications. | 54.00 | Each | 0.00 | 595.00 | 32130.00 | 300.00 | 16200.00 | 16200.00 | M/S MADHUSUDAN ENGINEERING CO.
105.00 | Surface dressing of ground including removing vegetations and / or inequalities not exceeding 15 cms. Deep and disposal of rubbish upto lead of 50 m and lift upto 1.5 m for all kind of soil. | 1100.00 | Sqm | 0.00 | 55.00 | 60500.00 | 15.00 | 16500.00 | 16500.00 | M/S MADHUSUDAN ENGINEERING CO.
106.00 | Providing and laying M-35 grade and 80mm thick factory made coloured precast cement concrete interlocking pavers block confirming to IS 15658 :2006 made by block making machine with strong vibratory compaction and of approved colour, size and shape pattern laid in required slope over and including 50mm thick compacted bed of fine sand, filling the joints with fine sand etc. all complete as per the specification & direction of Engineer – in– charge. | 100.00 | Sqm | 0.00 | 925.00 | 92500.00 | 1200.00 | 120000.00 | 92500.00 | RMT INFRATECH
107.00 | Chequerred precast cement concrete tiles 22mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Dark shade pigment using ordinary cement including finishing & curing work at all level etc. complete as per direction of engineer in charge. | 100.00 | Sqm | 0.00 | 1125.00 | 112500.00 | 800.00 | 80000.00 | 80000.00 | M/S MADHUSUDAN ENGINEERING CO.
108.00 | Providing and fixing 9-10mm thick Paving tile of make ENDURA (H&R Johnson)/ Pavigres (Kajaria)/ Kratos (Nitco) as approved required size & shade laid over a base of 20 mm av. thick cement mortar 1:4 (1 cement : 4 coarse sand) including ordinary Portland and polymer based cement slurry including grouting the joints with BAL ENDURA grouts (the joints between the tiles shall be 3mm to 5mm wide and 6mm to 8mm deep as per regular tiling procedure) and curing etc. all complete as per specifications and direction of engineer in charge. | 100.00 | Sqm | 0.00 | 995.00 | 99500.00 | 1200.00 | 120000.00 | 99500.00 | RMT INFRATECH
109.00 | Providing and fixing up to floor five level RCC precast structural elements / members of size and thicknes as required and as specify by EIC in lintel beam, slab, trench / drain covers etc. in cement concrete 1:1.5:3 mix (1 cement :1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) with maximum water content of 22.5 ltr. per bag of cement and additional slump generated by adding suitable quality cement admixture including fixing M.S. angle frame of required size all around the precast member to protect the edges wherever required, including hoisting and setting in position with cement mortar 1:3 (1 Cement: 3 coarse sand), Cost of required centering, shuttering including finishing smooth exposed surfaces, curing etc. all complete. at all level as per specification and direction of Engineer-in-charge. Note : Providing fabrication and fixing reinforcement and M.S. angle frame shall be paid in relavant item. | 10.00 | Cum | 0.00 | 8955.00 | 89550.00 | 7000.00 | 70000.00 | 70000.00 | M/S MADHUSUDAN ENGINEERING CO.
110.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50 x 50mm made of G.I. wire of dia 4mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer – In charge. | 200.00 | Sqm | 0.00 | 895.00 | 179000.00 | 600.00 | 120000.00 | 120000.00 | M/S MADHUSUDAN ENGINEERING CO.
111.00 | Providing and fixing retro-reflective Cautionary, Mandatory & Informatory sign boards of required size and shape made out of 2 mm thick aluminum sheet face to be fully covered with high intensity encapsulated lens type retro-reflective sheeting, Letters symbols, borders etc. will be as per IRC : 67 with required colors scheme on the boards and with the high intensity grade A as per specification and as approved by Engineer In charge. Note: Structural steel support of specified configuration as required for installing sign - boards shall be paid separately under relevant items. | 10.00 | Sqm | 0.00 | 6555.00 | 65550.00 | 2500.00 | 25000.00 | 25000.00 | M/S MADHUSUDAN ENGINEERING CO.
112.00 | Providing and fixing in position premolded expansion joint filler board of 25mm thickness of universal asphalt or Shalitex STP as approved confirming to IS 1838 (part-I) as per specifications. | 40.00 | SqM | 0.00 | 765.00 | 30600.00 | 700.00 | 28000.00 | 28000.00 | M/S MADHUSUDAN ENGINEERING CO.
113.00 | Providing and fixing in position bitumen hot sealing compound Using grade 'A' sealing compound including cutting of contraction/Expansion/Construction joints in concrete using mechanical concrete cutter including cost of diamond bit cutting wheel etc. For expansion joints of size 25mm X 25mm | 40.00 | Rm | 0.00 | 125.00 | 5000.00 | 20.00 | 800.00 | 800.00 | M/S MADHUSUDAN ENGINEERING CO.
114.00 | Providing & Fixing of Aluminium strip fixed with rawl plug of required thickness for expansion joint as per drawing & Directed by the Engineer-in-Charge. | 5.00 | Kg | 0.00 | 445.00 | 2225.00 | 400.00 | 2000.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
115.00 | Providing valleys of 90 cm wide overall in plain G.S. sheet for expansion joint fixed with polymer coated J, or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete as per site requirement: 1.60 mm thick | 10.00 | Mtr. | 0.00 | 1455.00 | 14550.00 | 1000.00 | 10000.00 | 10000.00 | M/S MADHUSUDAN ENGINEERING CO.
116.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : Serrated with central bulb (225 mm wide, 8-11 mm thick) | 40.00 | Mtr. | 0.00 | 325.00 | 13000.00 | 250.00 | 10000.00 | 10000.00 | M/S MADHUSUDAN ENGINEERING CO.
117.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar tap, 32 mm C.P. brass waste of standard pattern, including painting of coupling, brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 450x 300 mm of approved brand. | 204.00 | Nos. | 0.00 | 3435.00 | 700740.00 | 2200.00 | 448800.00 | 448800.00 | M/S MADHUSUDAN ENGINEERING CO.
118.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 340.00 | Cum | 0.00 | 4155.00 | 1412700.00 | 700.00 | 238000.00 | 238000.00 | M/S MADHUSUDAN ENGINEERING CO.
119.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 40.00 | Cum | 0.00 | 3255.00 | 130200.00 | 600.00 | 24000.00 | 24000.00 | M/S MADHUSUDAN ENGINEERING CO.
120.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 20.00 | Cum | 0.00 | 3455.00 | 69100.00 | 850.00 | 17000.00 | 17000.00 | M/S MADHUSUDAN ENGINEERING CO.
121.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 615.00 | Each | 0.00 | 965.00 | 593475.00 | 100.00 | 61500.00 | 61500.00 | M/S MADHUSUDAN ENGINEERING CO.
122.00 | Demolishing cement concrete manually by mechanical means including disposal of materials within 50 metres lead as per direction of engineer in charge, 1:3:6 or richer mix. | 30.00 | Cum | 0.00 | 3955.00 | 118650.00 | 1000.00 | 30000.00 | 30000.00 | M/S MADHUSUDAN ENGINEERING CO.
123.00 | Drilling of 40mm dia holes upto 1.00mm depth and providing and grouting with GP-2 conbestra grout complete as per drawing, specification and direction of engineer in charge. | 900.00 | Meter | 0.00 | 525.00 | 472500.00 | 120.00 | 108000.00 | 108000.00 | M/S MADHUSUDAN ENGINEERING CO.
124.00 | Add extra for using more cement than specified in item no. 11 or where ever applicable . (Fixed item rate at the rate of Rs 6 per KG) |  |  | 0.00
125.00 | Deduct for using less cement than specified in item no. 11 or where ever applicable.(Fixed item rate at the rate of Rs 6 per KG) |  |  | 0.00
126.00 | Supply, installation, testing & commissioning of concealed conduit Point wiring of 1100 V grade, 1.5 Sqmm, multi stranded, FRPVC insulated copper wire as per commercial colour code. Scope of work includes terminations at both ends. Wire Make : Finolex/ L&T/ Havells. |  |  | 0.00
126.10 | Point wiring for Lamp / Fan/ Exhaust fan/ Tube light etc. Point wiring to be done with 3 runs (phase, neutral & earth) wire. Neutral & earth wire looping shall not be done. | 1474.00 | Nos | 0.00 | 1075.00 | 1584550.00 | 230.00 | 339020.00 | 339020.00 | M/S MADHUSUDAN ENGINEERING CO.
126.20 | Point wiring for Door bell with 2 runs (phase & neutral) of wire. | 204.00 | Nos | 0.00 | 995.00 | 202980.00 | 220.00 | 44880.00 | 44880.00 | M/S MADHUSUDAN ENGINEERING CO.
127.00 | Supply, Installation, testing and commissioning of main wiring, Sub main wiring, power wiring from Main panel to DB, DB to DB, DB to SB, SB to SB etc. with 1100 grade FRPVC insulated multi stranded copper wires as per commercial colour code. Wire Make : Finolex / L&T/ Havells |  |  | 0.00
127.10 | 3 nos. length of 2.5 sq. mm wire. | 22222.00 | Metre | 0.00 | 175.00 | 3888850.00 | 73.00 | 1622206.00 | 1622206.00 | M/S MADHUSUDAN ENGINEERING CO.
127.20 | 3 nos. length of 4 sq. mm wire. | 15548.00 | Metre | 0.00 | 215.00 | 3342820.00 | 115.00 | 1788020.00 | 1788020.00 | M/S MADHUSUDAN ENGINEERING CO.
127.30 | 4 nos. length of 6 sq. mm wire. | 230.00 | Metre | 0.00 | 415.00 | 95450.00 | 175.00 | 40250.00 | 40250.00 | M/S MADHUSUDAN ENGINEERING CO.
127.40 | 4 nos. length of 16 sq. mm wire. | 100.00 | Metre | 0.00 | 875.00 | 87500.00 | 650.00 | 65000.00 | 65000.00 | M/S MADHUSUDAN ENGINEERING CO.
128.00 | Supply and installation of ISI marked 25 mm dia, 2 mm thick PVC conduit, in newly constructed roof slab/ wall and already constructed building's roof / wall by groove cutting through chiseling / cutter machine and repairing of wall with cement mortar wherever required. Work involve supply installation of all accessories as per site requirement i.e. 65 and 32 mm deep JB, 3 mm thick bakelite sheet on JB, pull boxes, solid bends, nipples, check nuts, reducers, couplers to complete the installation work of conduit. Conduit and It's accessories Make: AKG/Anchor/ Precision/Finolex. | 31804.00 | Metre | 0.00 | 69.00 | 2194476.00 | 70.00 | 2226280.00 | 2194476.00 | RMT INFRATECH
129.00 | Supply and installation of MS metal box. The metal box to be painted red oxide primer and emended wall recess in such a manner so as to flush with the finished surface. The metal box to be embeded in newly / already constructed building's wall by groove cutting through chiseling / cutter machine and repairing of wall with cement mortar wherever required. The wall and wall and box to be neatly cleaned and finished thereafter. Including Supply and fixing of White colour bakelite sheet 3 mm thick of appropriate size on MS metal box for fixing switch, socket etc. |  |  | 0.00
129.10 | MS Metal Box size approx. size. 200mm x 250mm x 75mm deep. Metal sheet thickness 2mm | 294.00 | Nos | 0.00 | 195.00 | 57330.00 | 180.00 | 52920.00 | 52920.00 | M/S MADHUSUDAN ENGINEERING CO.
129.20 | MS Metal Box size approx. size. 180mm x 100mm x 60mm deep. Metal sheet thickness 2mm | 1096.00 | Nos | 0.00 | 175.00 | 191800.00 | 140.00 | 153440.00 | 153440.00 | M/S MADHUSUDAN ENGINEERING CO.
129.30 | MS Metal Box size approx. size. 100mm x 100mm x 60mm deep. Metal sheet thickness 2mm | 408.00 | Nos | 0.00 | 145.00 | 59160.00 | 120.00 | 48960.00 | 48960.00 | M/S MADHUSUDAN ENGINEERING CO.
130.00 | Supply, installation, testing & commissioning of the following piano type switches, sockets and regulator. The scope covers fixing / installation on switch board sheet. Make : Anchor |  |  | 0.00
130.10 | 6 A One Way Switch. | 2308.00 | Nos | 0.00 | 95.00 | 219260.00 | 30.00 | 69240.00 | 69240.00 | M/S MADHUSUDAN ENGINEERING CO.
130.20 | 6 A, Bell Push Switch. | 204.00 | Nos | 0.00 | 65.00 | 13260.00 | 65.00 | 13260.00 | 13260.00 | M/S MADHUSUDAN ENGINEERING CO., RMT INFRATECH
130.30 | 6 A, multi socket for 2 and 3 Pin. | 892.00 | Nos | 0.00 | 135.00 | 120420.00 | 80.00 | 71360.00 | 71360.00 | M/S MADHUSUDAN ENGINEERING CO.
130.40 | 20 A One Way Switch. | 473.00 | Nos | 0.00 | 195.00 | 92235.00 | 80.00 | 37840.00 | 37840.00 | M/S MADHUSUDAN ENGINEERING CO.
130.50 | 6A/16A, universal Socket. | 473.00 | Nos | 0.00 | 225.00 | 106425.00 | 140.00 | 66220.00 | 66220.00 | M/S MADHUSUDAN ENGINEERING CO.
130.60 | 100W Deluxe Rotary Step Fan Regulator. | 324.00 | Nos | 0.00 | 245.00 | 79380.00 | 300.00 | 97200.00 | 79380.00 | RMT INFRATECH
131.00 | Supply, installation, testing & commissioning of Exhaust Fan, Ceiling Fan, Tube light Fittings and water heaters (Geyser). |  |  | 0.00
131.10 | 5 Star rating latest, 1200 mm / 48 inch sweep ceiling fan, white/cream colour complete with all accessories and connection to supply point through 3 Core PVC insulated copper cable. Make : Crompton greaves / Bajaj / Almonard / Usha / Havells. | 330.00 | Nos | 0.00 | 2755.00 | 909150.00 | 2800.00 | 924000.00 | 909150.00 | RMT INFRATECH
131.20 | Tube light fitting 40/36 watt metal body complete with all accessories. Along with 40/36 watt fluorescent tube rod. Tube light connection to supply point through 3 Core PVC insulated copper cable. The fitting to be mounted on wall /ceiling by means of 2 nos. PVC blocks. Make: Philips / Bajaj / Wipro / Crompton Greaves/ Syska/ other prevailing market make. | 394.00 | Nos | 0.00 | 995.00 | 392030.00 | 280.00 | 110320.00 | 110320.00 | M/S MADHUSUDAN ENGINEERING CO.
131.30 | 300 - 305 mm dia, 1300-1400 rpm, single phase exhaust fan (metal body) minimum air delivery 1600 CuM/Hr. maximum 90 watt. The scope also covers making of opening in the wall as per size of exhaust fan, grouting of bolt/ anchor fastener, steel wire mesh with removal frame, finishing of wall to the original shape etc. exhaust fan connection to ceiling rose by means of 3 Core PVC insulated copper cable. Make : Almonard/Crompton Greaves/ Bajaj / Usha / Havells. | 231.00 | Nos | 0.00 | 2525.00 | 583275.00 | 2000.00 | 462000.00 | 462000.00 | M/S MADHUSUDAN ENGINEERING CO.
131.40 | Storage type water heaters (Geyser), 5 Star rating latest, 2kW Vertical mounting, 25 liter capacity,single phase ac supply, having ABS plastic/ metal body complete with all accessories. The scope covers installation on wall by grouting anchor fastener / bolts including finishing of wall to the original shape etc. Make : Venus/ Recold/ Crompton Greaves / Bajaj / Almonard / Usha / Havells. | 18.00 | Nos. | 0.00 | 11455.00 | 206190.00 | 9000.00 | 162000.00 | 162000.00 | M/S MADHUSUDAN ENGINEERING CO.
131.50 | Instant type water heaters (Geyser), 3kw, 3 liter capacity,Vertical mounting, single phase ac supply, having ABS plastic/ metal body complete with all accessories. The scope covers installation on wall by grouting anchor fastener / bolts including finishing of wall to the original shape etc. Make : Venus/ Recold/ Crompton Greaves / Bajaj / Almonard / Usha / Havells. | 204.00 | Nos. | 0.00 | 3255.00 | 664020.00 | 3000.00 | 612000.00 | 612000.00 | M/S MADHUSUDAN ENGINEERING CO.
132.00 | Supply, installation, testing & commissioning of Ceiling Rose & Angle/Batten holder with LED Lamp and door bell etc. |  |  | 0.00
132.10 | Angle / Batten Holder 6A make : Anchor/Havells/ Legrand/L&T with 7W / 9W LED lamp Make : Philips / Bajaj / Wipro / Crompton Greaves/ Syska/Havells. | 538.00 | Nos | 0.00 | 225.00 | 121050.00 | 140.00 | 75320.00 | 75320.00 | M/S MADHUSUDAN ENGINEERING CO.
132.20 | 6A 3-Plate (Phase, Neutral, Earth) Ceiling rose Anchor / Havells /Legrand/L&T. | 954.00 | Nos | 0.00 | 255.00 | 243270.00 | 30.00 | 28620.00 | 28620.00 | M/S MADHUSUDAN ENGINEERING CO.
132.30 | Ding Dong door Bell make Anchor / Havells / Legrand. | 204.00 | Nos | 0.00 | 1255.00 | 256020.00 | 250.00 | 51000.00 | 51000.00 | M/S MADHUSUDAN ENGINEERING CO.
133.00 | Supply and installation of street light and post top lantern fitting. |  |  | 0.00
133.10 | Supply of 45W LED Street Light luminaries suitable for single phase AC supply, Die Cast Aluminium housing, minimum IP 65, Minimum LED Efficacy > 80 Lm/W, Power Factor > 0.9, CRI > 70 Colour temperature: 6000+/-500K, The luminaries should be provided with in-built power unit / electronic driver. Make:- Philips / Bajaj / Wipro / CG/ Syska/Havells. | 25.00 | Nos | 0.00 | 4755.00 | 118875.00 | 4200.00 | 105000.00 | 105000.00 | M/S MADHUSUDAN ENGINEERING CO.
133.20 | Supply of 30 - 40W LED Post top lantern fitting, Minimum IP 65, Aluminum die-casting housing, Powder Coated suitable for single phase AC supply. Make : Philips / Bajaj / Wipro / CG/ Syska/Havells. | 25.00 | Nos | 0.00 | 4555.00 | 113875.00 | 8000.00 | 200000.00 | 113875.00 | RMT INFRATECH
133.30 | Installation of 45W LED street light and 30 - 40W LED Post top lantern fitting, including Supply and installation / connection through 3 core x 1.5 sq mm PVC copper insulated copper cable and other accessories like Nut bolt anchor fastener clamp etc. are in the scope of the contractor for complete the installation work. | 50.00 | Nos | 0.00 | 1555.00 | 77750.00 | 250.00 | 12500.00 | 12500.00 | M/S MADHUSUDAN ENGINEERING CO.
134.00 | Supply and installation of Junction Boxes for Street light poles. The JBs shall be fabricated from 1.6 mm thick MS sheet in the size of 150 x 150x 100 mm deep in full welded construction. In the front MS cover shall be provided with hinged and bolting arrangement at all the four corners. The JBs shall be made dust proof by means of neoprene gasket. The 2 nos. earthing stud shall be welded to the box. Suitable nos. knock outs shall be provided at the bottom of the box. The JB shall be thoroughly cleaned and painted powder coated / red oxide primer, grey/ cream paint. The box shall be provided with one no. 5 Amp rewireable porcelain cut out fuse fixed on 6 mm thick Bakelite sheet along with 4 nos. 2" long, 3/8" brass studs, nuts and washers. The JB shall be mounted on pole by using 50 x 5 mm MS Clamp of 1/2" MS, bolts nuts and plain washers etc. | 50.00 | Nos | 0.00 | 1125.00 | 56250.00 | 400.00 | 20000.00 | 20000.00 | M/S MADHUSUDAN ENGINEERING CO.
135.00 | Concreting of poles pit by providing and laying in position cement concrete of 1:3:6 (1 Cement: 3 coarse Sand : 6 Graded Stone aggregate 20 mm nominal size) -up to plinth level, transporting of concrete to site, laying, consolidation,finishing, curing etc. all complete excluding cost of centering & shuttering, as per direction of Engineer-incharge. | 4.00 | CuM | 0.00 | 5555.00 | 22220.00 | 6000.00 | 24000.00 | 22220.00 | RMT INFRATECH
136.00 | Making of pole coping size 400mm dia and 450mm high above the ground level by providing and laying in position cement concrete of 1:2:4 (1 Cement: 2 coarse Sand : 4 Graded Stone aggregate 20 mm nominal size) -up to plinth level , transporting of concrete to site, laying, consolidation,finishing, curing etc. all complete excluding cost of centering & shuttering, as per direction of Engineer-incharge. | 25.00 | Nos | 0.00 | 1255.00 | 31375.00 | 300.00 | 7500.00 | 7500.00 | M/S MADHUSUDAN ENGINEERING CO.
137.00 | Supply and Installation of three phase double door DB complete with internal wiring neutral link copper bus bar etc. The scope covers DBs to be embedded in the wall recess in such a manner so as to flush with the finished surface of the wall, connection with PVC conduits and wall to be neatly finished thereafter, including dressing, termination, lugging of wiring. Termination of 3.5C x 95 Sqmm cable with Lug and Gland in 6 way TPN/ VTPN DB are covered in separate item. Make : Legrand/Schneider/Siemens. |  |  | 0.00
137.10 | 6 way ETPN DB having 1 no. 4 pole, 25Amp., 10 kA, C curve, 30mA leakage current RCBO, 3 nos. 16 Amp. single pole, 10 kA, C curve, MCB and 10 nos. 6 Amp., single pole, 10 kA, C curve MCB. | 9.00 | Nos | 0.00 | 9995.00 | 89955.00 | 20000.00 | 180000.00 | 89955.00 | RMT INFRATECH
137.20 | 6 way ETPN DB having 1 no. 4 pole, 40 Amp., 10 kA, C curve MCB, 3 nos. 32 Amp. 4 pole, 10 kA, C curve, MCB. | 3.00 | Nos | 0.00 | 7895.00 | 23685.00 | 19500.00 | 58500.00 | 23685.00 | RMT INFRATECH
137.30 | 6 way TPN / VTPN DB having 1 no. 4 pole, 160 Amp., 25 kA MCCB and 4 nos. 3 pole, 63 Amp., 10 kA C curve MCB. | 1.00 | Nos | 0.00 | 8765.00 | 8765.00 | 80000.00 | 80000.00 | 8765.00 | RMT INFRATECH
138.00 | Supply & Installation of ISI marked 1.1 KV grade, FR, PVC/ XLPE Insulated, Aluminium Conductor, Steel Armoured (Galvanized flat steel strip) PVC Sheathed cable. PVC insulated cable confirm to IS: 1554 Part-I and XLPE insulated cable confirming to IS: 7098 Part-I. Make- Finolex / Polycab / Universal/ KEI and installation of cable in cable trenches/Hume pipes/GI pipes /clamping of cable on wall etc. Cost of making trench and laying of GI pipes / Hume pipes have either been covered separately or already laid during construction of building/ road. |  |  | 0.00
138.10 | Supply of 4 C x 6 sq. mm cable. | 500.00 | Metre | 0.00 | 195.00 | 97500.00 | 170.00 | 85000.00 | 85000.00 | M/S MADHUSUDAN ENGINEERING CO.
138.20 | Installation of 4 C x 6 sq. mm cable. | 500.00 | Metre | 0.00 | 55.00 | 27500.00 | 18.00 | 9000.00 | 9000.00 | M/S MADHUSUDAN ENGINEERING CO.
138.30 | Supply of 3.5 C x 95 sq. mm cable. | 500.00 | Metre | 0.00 | 675.00 | 337500.00 | 750.00 | 375000.00 | 337500.00 | RMT INFRATECH
138.40 | Installation of 3.5 C x 95 sq. mm cable. | 500.00 | Metre | 0.00 | 155.00 | 77500.00 | 40.00 | 20000.00 | 20000.00 | M/S MADHUSUDAN ENGINEERING CO.
139.00 | Termination and connection of ISI Marked 1.1 kV grade, FR, PVC/ XLPE insulated Aluminium conductor, Steel Armoured cable including supply single compression brass cable glands and crimping type aluminium lugs and other consumables to complete the jobs are in the scope of contractor. One gland and four lugs are to be considered one nos. for measurement. |  |  | 0.00
139.10 | 4 C x 6 Sq.mm cable | 150.00 | Nos | 0.00 | 375.00 | 56250.00 | 100.00 | 15000.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
139.20 | 3.5 C x 95 Sq.mm cable | 4.00 | Nos | 0.00 | 575.00 | 2300.00 | 500.00 | 2000.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
140.00 | Supply and installation of pipe earthing station. Scope of this work covers installation pipe earthing station with 40 mm dia medium gauge G.I pipe and back filling with salt, charcoal and black soil as directed, Work should confirm to IS-3043. (a) Supply and placing of 40 mm dia medium gauge GI Pipe 3.0 mtr. long perforation at maximum distance of 150 mm throughout the length as directed. (b) Supply of good quality black soil approx. 3 CuM and filling in earth and watering as directed. (c) Supply of char-coal approx. 100 Kg and filling in earth pit as directed. (d) Supply of good quality ungrinded salt approx. 100 Kg and filling in earth pit as directed. (e) Construction of Brick masonry chamber 400 x 400 x 600mm (Inside clear) of wall thickness 230mm with plaster in and outside. Chamber covered with removal RCC pre cast. Note:- Excavation of earth pit is covered in separate item. | 2.00 | Nos | 0.00 | 25000.00 | 50000.00 | 4500.00 | 9000.00 | 9000.00 | M/S MADHUSUDAN ENGINEERING CO.
141.00 | Supply, laying and termination of 8 SWG G.I. wire for earthing. The wire shall be buried in ground/wall clamping of wire on wall and termination through nut bolt whenever required are scope of contractor. | 1500.00 | Metre | 0.00 | 45.00 | 67500.00 | 12.00 | 18000.00 | 18000.00 | M/S MADHUSUDAN ENGINEERING CO.
142.00 | Earthwork in excavation in all types of ground substrata consisting of hard rock / fragmented rock / soft rock / ordinary soils / filled up ground /murrum requiring use of rock breaker, drilling, chiseling with mechanical / manual means etc. up to a depth as mentioned below from the original ground level and dewatering if required for foundation of walls, columns, platforms etc. including backfilling with selected excavated materials in plinth and foundation trenches in layers not exceeding 200 mm thick, watering ramming etc. complete and disposing off the surplus materials to a maximum radially measured lead of 1.0 KM. as per drawings, design , safety and specifications and directions of the Engineer. No payment shall be given for extra excavation beyond dimension for cable trench 300mm wide and 600mm depth and for earth pit 1Mtr.(L) x 1Mtr.(W) x 3Mtr.(D). Note :- Bidders should essentially visit and inspect the construction sites and determine themselves the right and safest method/s of excavation considering the safety of nearby structures and population, before quoting their item rates (Blasting is not permitted). |  |  | 0.00
142.10 | (a) Up to a depth of 1.5 Mtr. from the original ground level. | 135.00 | Cum | 0.00 | 2995.00 | 404325.00 | 700.00 | 94500.00 | 94500.00 | M/S MADHUSUDAN ENGINEERING CO.
142.20 | Extra for every additional lift of 1.5Mtr. part thereof in all kinds of soil. | 3.00 | Cum | 0.00 | 100.00 | 300.00 | 350.00 | 1050.00 | 300.00 | RMT INFRATECH
143.00 | Supply and laying of good quality sand in excavated cable trench 75mm before laying and 75mm after laying of the cable. | 34.00 | Cum | 0.00 | 1655.00 | 56270.00 | 1500.00 | 51000.00 | 51000.00 | M/S MADHUSUDAN ENGINEERING CO.
144.00 | Supply and placing of building bricks approx. size 200x100x70mm placing the bricks over layer of cable as directed. | 7500.00 | Nos | 0.00 | 8.00 | 60000.00 | 7.00 | 52500.00 | 52500.00 | M/S MADHUSUDAN ENGINEERING CO.
145.00 | Supply and installation 25x3mm thick GI flat. Scope are covered welding of flat for joint and Joint to be painted with red oxide primer and aluminium paint. Wherever required the flat to be buried in ground/ clamped on wall an interval of 1 meter and will be connected at both ends by using nut bolt washer. | 100.00 | Metre | 0.00 | 335.00 | 33500.00 | 50.00 | 5000.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
146.00 | Supply & Installation of B class GI pipe with accessories like bend and socket and required bending 120 degree long radius bends wherever required. The pipe shall be buried/ grouted/ clamping in the ground/wall and also in the wall chases and repairing of the wall wherever required. The scope also includes chasing in wall & back filling with cement mortar. Make PRAKASH SURYA / JINDAL. |  |  | 0.00
146.10 | 32 mm dia GI Pipe. | 190.00 | Metre | 0.00 | 695.00 | 132050.00 | 400.00 | 76000.00 | 76000.00 | M/S MADHUSUDAN ENGINEERING CO.
146.20 | 50 mm dia GI Pipe. | 125.00 | Metre | 0.00 | 745.00 | 93125.00 | 600.00 | 75000.00 | 75000.00 | M/S MADHUSUDAN ENGINEERING CO.
146.30 | 100mm dia GI Pipe. | 30.00 | Metre | 0.00 | 1125.00 | 33750.00 | 800.00 | 24000.00 | 24000.00 | M/S MADHUSUDAN ENGINEERING CO.
| Total in Figures |  |  |  |  | 151099146.00 |  | 131908501.00
Lowest Amount Quoted BY: M/S MADHUSUDAN ENGINEERING CO.(131908501.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Buildings and Barracks Tender ID: 2024_NPCIL_201863_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S MADHUSUDAN ENGINEERING CO. (BID ID -730748) | 131908501.00 | L1
| 2 | RMT INFRATECH (BID ID -731314) | 151099146.00 | L2