## BoQ1
Government eProcurement System Created By: Chetan Saini Created Date/Time: 11-Dec-2024 04:37 PM Tender Title: Construction of school building Tender ID: 2024_NPCIL_202260_1
Tender Inviting Authority: AD (E&US), RR Site
Name of Work: Construction of school building for Government Senior Secondary School, Bhainsrodgarh.
Contract No: NPC/RRS/90/2024/PT-B2732
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S MADHUSUDAN ENGINEERING CO. (GSTN-NA) BID ID -733267 |  | Technical Construction Co. (GSTN-NA) BID ID -733066
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive consultancy Services for Architectural Planning, RCC Structural Design, Internal and External Building fitting-fixtures and Finishes, Water supply, Plumbing, Electrical, Sanitary and External Infrastructure Work and Services for Ground & First Floor storied school building for Govt. Sr. Secondary School, Bhainsroadgarh, with transfer of right to NPCIL for repetition of the building in part or full. Submission of final as built drawings. Note: For complete scope and other terms of consultancy services relevant clause of Special Conditions of Contract (Section-III) shall be referred. | 3000.00 | Sqm | 0.00 | 500.00 | 1500000.00 | 200.00 | 600000.00 | 600000.00 | Technical Construction Co.
2.00 | Earthwork in excavation in all types of ground substrata consisting of hard rock / fragmented rock / soft rock / ordinary soils / filled up ground / murrum requiring use of rock breaker, drilling, chiseling with mechanical / manual means etc. up to a depth of 1.5 m from the original ground level and dewatering if required for foundation of walls, columns, platforms etc. including backfilling with selected excavated materials in plinth and foundation trenches in layers not exceeding 200 mm thick, watering ramming etc. complete and disposing off the surplus materials to a maximum radially measured lead of 1.0 KM. as per drawings, design , safety and specifications and directions of the Engineer. Note :- Bidders should essentially visit and inspect the construction sites and determine themselves the right and safest method/s of excavation considering the safety of nearby structures and population, before quoting their item rates (Blasting is not permitted). | 1800.00 | Cum | 0.00 | 700.00 | 1260000.00 | 800.00 | 1440000.00 | 1260000.00 | M/S MADHUSUDAN ENGINEERING CO.
3.00 | Extra for every additional lead of 1Km or part thereof in all kinds of soil. | 350.00 | Cum | 0.00 | 20.00 | 7000.00 | 150.00 | 52500.00 | 7000.00 | M/S MADHUSUDAN ENGINEERING CO.
4.00 | Extra for every additional lift of 1.5m part thereof in all kinds of soil. | 350.00 | Cum | 0.00 | 70.00 | 24500.00 | 500.00 | 175000.00 | 24500.00 | M/S MADHUSUDAN ENGINEERING CO.
5.00 | Supplying at site of good earth excavated and brought from outside (borrow pits / stock piles) free from weeds, roots, rubbles and other foreign material including royalty and carriage and filling in trenches, plinth and sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layers by ramming and watering and lift upto 1.5m etc. complete (only consolidated fill shall be paid). | 400.00 | Cum | 0.00 | 700.00 | 280000.00 | 500.00 | 200000.00 | 200000.00 | Technical Construction Co.
6.00 | Providing and laying 150 mm thick stone soling under floors properly hand packed, filling interstices with spalls, gravels and inert fine material and consolidating to required gradient and camber, spreading, watering etc. complete as per drawings, specifications and direction of Engineer. | 2250.00 | Sqm | 0.00 | 200.00 | 450000.00 | 400.00 | 900000.00 | 450000.00 | M/S MADHUSUDAN ENGINEERING CO.
7.00 | Providing Chemical Emulsion in sealed containers including delivery and depositing in NPCIL store of approved brand conforming to IS:8944. | 500.00 | Litre | 0.00 | 250.00 | 125000.00 | 300.00 | 150000.00 | 125000.00 | M/S MADHUSUDAN ENGINEERING CO.
8.00 | Diluting Chlorpyriphos E.C. 20% to 1% concentration (add of 19 ltr water to 1 ltr of Chlorpyriphos E.C.20%) for pre-constructional anti termite treatment (excluding cost of chemical emulsion). Anti termite treatment of soil under floors and apron on the top surface of filled earth within and along with the plinth walls @ 5 ltr / sqm of the surface before the sand / sub grade is laid. Holes upto 50 to 75 mm deep at 150mm centers both ways including at the junction of wall and floor shall be made with crow bars on the surface to facilitate saturation of the soil with chemical emulsion complete as per direction of engineer in charge. Note:- payment shall be made on the basis of the plan area of the surface treated excluding the plan area of intervening beam & walls. | 1500.00 | Sqm | 0.00 | 50.00 | 75000.00 | 50.00 | 75000.00 | 75000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
9.00 | Providing and laying in position cement concrete of 1:3:6 (1 Cement: 3 coarse Sand : 6 Graded Stone aggregate 20 mm nominal size) -at all level , transporting of concrete to site, laying, consolidation, finishing, curing etc. all complete excluding cost of centering & shuttering, as per direction of Engineer-in-charge. | 275.00 | Cum | 0.00 | 5200.00 | 1430000.00 | 5300.00 | 1457500.00 | 1430000.00 | M/S MADHUSUDAN ENGINEERING CO.
10.00 | Providing and laying cement concrete of 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in retaining walls, return walls, walls(any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed block, anchor block, window sills, fillets etc. at all level including transporting of concrete to site, laying including cost of finishing, curing etc. all complete excluding the cost of centering and shuttering as per specifications and direction of Engineer-in-charge. | 55.00 | Cum | 0.00 | 5400.00 | 297000.00 | 6500.00 | 357500.00 | 297000.00 | M/S MADHUSUDAN ENGINEERING CO.
11.00 | Providing and Application of IRONITE NO.3 powder (Metallic Dry shake natural cement colour) @ 6 Kgs/m2 sprinkled over green concrete with 1/3rd of the dry shake to be sprinkled in First pass and floated with Power float, remaining 2/3rd of dry shake to be sprinkled in next pass and the floor laid floated & trowelled to acquire desired finish. | 1000.00 | Sqm | 0.00 | 150.00 | 150000.00 | 500.00 | 500000.00 | 150000.00 | M/S MADHUSUDAN ENGINEERING CO.
12.00 | Providing and laying cement concrete of 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) in approach pavment to garages etc. in suitable size of pannels including consolidation with needle and vibro compactor equipment and finishing with power floater and trowelled to desired finish & finally giving required broom finish with suitable means, sawing the contraction joint with machnical saw at specified spacing, the width of sawed groove shall be 6mm thick and depth shall be 1/4th of thickness of pavment and sawing operation should be carried out as soon as the concrete is ready to accept the saw cut without trowelling. The joint should be field with approved bitumastic sealant including transporting of concrete to site of laying including cost of centering and shuttering, finishing, curing etc. all Complete with all material and labour as per specifications and direction of Engineer-in-charge. (Qty of water used per bag of cement shall not be more than 22.5 ltr. cement admixture shall be added if required for desired workabilty) | 50.00 | Cum | 0.00 | 5800.00 | 290000.00 | 7000.00 | 350000.00 | 290000.00 | M/S MADHUSUDAN ENGINEERING CO.
13.00 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of grades M-25 or specified in drawing for reinforced cement concrete or other works using 20mm size stone aggregates including transporting of concrete to site for laying but excluding the cost of centering, shuttering and reinforcement, including cost of finishing, compaction, curing, approved chemical admixtures (using high range grade) conforming to IS 9103 in recommended proportions for achieving slump not less than 120mm and water/cement ratio not more than 0.42 at all level as per direction of Engineer-in-charge. Use of concrete retarding agent / accelerator conforming to IS 9103 shall also be done if situation demands so. Rates should be based on using 350 kg of OPC 43 grade cement per Cum of concrete. Note: Variation of cement qty. for addition / less paid in relevent item. | 1050.00 | Cum | 0.00 | 6200.00 | 6510000.00 | 7500.00 | 7875000.00 | 6510000.00 | M/S MADHUSUDAN ENGINEERING CO.
14.00 | Providing form work of battened frame with sheathing having plywood lining / MS angle frame with sheathing of MS plate lining so as to give fair finish including centering shuttering strutting and propping etc. height of propping and centering below supporting floor not exceeding 3.5 meters to ceilings and removal of same for foundation, footings, columns, wall, Suspended floors, stairs, landings, balconies, lintels, beams, plinth beams, girders, cantilevers and access platform etc. complete at all level of floors / roof as per specifications and direction of Engineer in charge. Note:- MS adjustable pipe for propping shall be used for supporting of shuttering. | 10000.00 | Sqm | 0.00 | 550.00 | 5500000.00 | 400.00 | 4000000.00 | 4000000.00 | Technical Construction Co.
15.00 | Providing and laying Thermo-Mechanically Treated reinforcement bars of grade as specified in drawings/specifications and as directed by engineer conforming to IS : 1786 latest revision or the latest relevant code for RCC work including straightening, cutting, bending, placing in position and binding with 20 gauge annealed binding wire and cement mortar cover block of all size in C.M. 1:2 MIX etc. all complete- as per drawings , specifications & direction of engineer in charge. | 148000.00 | Kg | 0.00 | 78.00 | 11544000.00 | 85.00 | 12580000.00 | 11544000.00 | M/S MADHUSUDAN ENGINEERING CO.
16.00 | Providing & laying Random Rubble masonry with hard stone in foundation and plinth level of building & upto 3.00 Mtr. height from NGL for boundary/compound wall with Cement mortar 1:6 (1 Cement :6 Coarse sand) including cost of labour, materials, curing , raking out the joints , finishing, scaffoldings etc. all complete as per specifications and direction of Engineer in charge. | 400.00 | Cum | 0.00 | 3600.00 | 1440000.00 | 3600.00 | 1440000.00 | 1440000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
17.00 | Providing and laying Fly-ash brick masonry class designation- 75 ( IS-12894 -latest revision) in cement mortar 1:6 ( 1 cement : 6 coarse sand) upto plinth level including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 65.00 | Cum | 0.00 | 5800.00 | 377000.00 | 5000.00 | 325000.00 | 325000.00 | Technical Construction Co.
18.00 | Providing and laying Fly-ash brick masonry using Fly-ash building bricks of class designation- 75 ( IS-12894 -latest revision ) in cement mortar 1:6 ( 1 cement : 6 coarse sand) in superstructure above plinth level up to floor five level as per specifications and direction of Engineer including cost of labour, materials, curing, finishing, scaffoldings etc. all complete as per drawings, specifications and direction of Engineer in charge. | 675.00 | Cum | 0.00 | 6150.00 | 4151250.00 | 5250.00 | 3543750.00 | 3543750.00 | Technical Construction Co.
19.00 | Providing and laying half brick masonry using fly ash bricks of class designation-75 ( IS-12894 -latest revision ) in cement mortar 1:4 ( 1 cement : 4 coarse sand) with RCC 1:2:4 ( 1 Cement : 2 Coarse sand : 4 graded stone aggregate 20 mm nominal size) stiffeners 75 mm thick horizontally @ 1000mm c/c excluding cost of laying reinforcement but including cost of RCC stiffeners in superstructure above plinth level upto floor five level including cost of labour, materials, curing, finishing, scaffoldings, shuttering etc. all complete as per specifications and direction of Engineer in charge. Note - Reinforcement bars to be paid in relevant item. | 225.00 | Sqm | 0.00 | 750.00 | 168750.00 | 750.00 | 168750.00 | 168750.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
20.00 | Pointing on stone work with cement mortar 1:3 (1 cement :3 fine sand): Raised and cut pointing including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge. | 200.00 | Sqm | 0.00 | 200.00 | 40000.00 | 275.00 | 55000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
21.00 | Providing and laying 6mm thick cement plaster (1 cement : 3 sand) in single coat on RCC ceiling face for interior plastering at all levels including necessary grooves at the junction of RCC and brickwork arises, internal rounded angle, chamfers and / or rounded angles not exceeding 80 mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 4500.00 | Sqm | 0.00 | 250.00 | 1125000.00 | 300.00 | 1350000.00 | 1125000.00 | M/S MADHUSUDAN ENGINEERING CO.
22.00 | Providing and laying 15mm thick cement plaster 1:4 (1 cement : 4 fine sand) in single coat on either side of single or half brick wall for interior plastering at all levels using galvanized M.S. wire of I.S. gauge designation 26 s.w.g. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 5500.00 | Sqm | 0.00 | 350.00 | 1925000.00 | 380.00 | 2090000.00 | 1925000.00 | M/S MADHUSUDAN ENGINEERING CO.
23.00 | Providing and laying 18 mm thick cement plaster in two coats under layer 12 mm thick cement plaster 1:4(1 cement : 4 fine sand) finished with a top layer 6mm thick cement plaster 1:4 (1 cement : 4 fine sand) on either side of single or half brick masonry walls for exterior plastering at all height and using galvanized M.S. wire of I.S. gauge designation 26 S.W.G. chicken mesh over junctions of brick work, beams and column as required including necessary grooves at the junction of RCC and brick work, arises, internal rounded angles, chamfers and / or rounded angles not exceeding 80mm in girth including scafolding, finishing, curing etc all complete as per specifications and direction of engineer. | 3500.00 | Sqm | 0.00 | 400.00 | 1400000.00 | 450.00 | 1575000.00 | 1400000.00 | M/S MADHUSUDAN ENGINEERING CO.
24.00 | Providing and laying 15 mm thick cement plaster on rough side of single or half brick wall of mix 1:4 (1 cement : 4 fine sand) finished with a floating coat of neat cement including scaffoldings, finishing, curing etc. complete as per specification & direction of Engineer-in-charge. | 200.00 | Sqm | 0.00 | 300.00 | 60000.00 | 380.00 | 76000.00 | 60000.00 | M/S MADHUSUDAN ENGINEERING CO.
25.00 | Providing water proofing material Dr. Fixit Pidi proof LW plus / Complast X-421 1C of fosroc / STP no 1 of STP Ltd. as approved in NPCIL store & issuing the same from NPCIL store as per site requirement for mixing in cement plaster work / concrete work in proportion as recommended by the manufacturers etc. complete as per direction of Engineer-in-charge. | 100.00 | Litre | 0.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 10000.00 | M/S MADHUSUDAN ENGINEERING CO.
26.00 | Providing & fixing 18mm to 22mm thick both face polished Kota stone shelves fixed in walls in cement mortar 1:3 (1 cement : 3 coarse sand) including cutting chases in masonry/plaster, finishing, making good the same, full moulding of exposed edges at all level complete as per specification and as directed by engineer in charge. | 15.00 | Sqm | 0.00 | 1200.00 | 18000.00 | 1050.00 | 15750.00 | 15750.00 | Technical Construction Co.
27.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in flooring, tread of steps, landing, laid over 20 mm (average) thick base of cement mortar 1:4 (1 Cement: 4 sand): and jointed with white cement slurry mixed with pigment to match the shade of the slab, including edge molding and cutting three nos. grooves neatly in longitudinal direction of steps for antiskid purpose, rubbing and polishing complete, including cutting of slot (without edge splitting) using mechanical means for receiving the handrail supports including finishing & curing work at all level etc. complete (size of kota stone shall cover full length & width of stair case treads as shown in drawings) as per specification & direction of Engineer-in-charge. | 300.00 | Sqm | 0.00 | 1100.00 | 330000.00 | 1150.00 | 345000.00 | 330000.00 | M/S MADHUSUDAN ENGINEERING CO.
28.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in flooring size of pannel 600 x 600 mm or suitable as per site, laid over 20 mm (average) thick base of cement mortar 1:4 (1 Cement: 4 sand): and jointed with white cement slurry mixed with pigment to match the shade of the flooring slab rubbing and polishing complete, including finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. Note: Kota stone flooring size 600x600 mm or suitable as per site to be fixed. | 2350.00 | Sqm | 0.00 | 950.00 | 2232500.00 | 1050.00 | 2467500.00 | 2232500.00 | M/S MADHUSUDAN ENGINEERING CO.
29.00 | Providing and fixing polished Kota stone slab flooring 18 to 22 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 Cement 3: sand) and jointed with white cement slurry mixed with pigment to match the shade of the slab, rubbing and polishing complete, including finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. (size of kota stone shall cover full length & width of stair case risers as shown in drawings) | 255.00 | Sqm | 0.00 | 1000.00 | 255000.00 | 1150.00 | 293250.00 | 255000.00 | M/S MADHUSUDAN ENGINEERING CO.
30.00 | Providing and fixing polished sand stone slabs 20 to 25 mm thick over a layer of 12mm thick cement mortar 1:3 and pasted with suitable adhesive such as araldite and steel screws if required for vertical / horizontal facia etc. and joints treated with white cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing, edge moulding, finishing & curing work at all level etc. complete as per specification & direction of Engineer-in-charge. (size of sand stone shall cover full length & width of window / ventilators sills, jembs, soffits as shown in drawings) | 200.00 | Sqm | 0.00 | 1000.00 | 200000.00 | 1500.00 | 300000.00 | 200000.00 | M/S MADHUSUDAN ENGINEERING CO.
31.00 | Providing and laying premium quality (glazed / mat finish) vitrified tiles of size 600mm x 600mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (full body-solid surface) / KAJARIA (full body-Delfi series)/ NITCO (Full body series) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make complete: including covering of tiles suitable tile protection material over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. | 40.00 | Sqm | 0.00 | 1000.00 | 40000.00 | 1200.00 | 48000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
32.00 | Providing and laying premium quality vitrified GVT tiles (glazed / mat finish) of size 600mm x 600mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (Elite plus series) / KAJARIA (Eternity Series)/ NITCO (Equivalent in GVT series) as approved, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 sand) in floors and skirting including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make complete: including covering of tiles suitable tile protection material over it for protection of tiles from paint stains, scratch during various finishing activities including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. | 125.00 | Sqm | 0.00 | 1200.00 | 150000.00 | 1200.00 | 150000.00 | 150000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
33.00 | Providing and laying premium quality vitrified tiles (glazed / mat finish) of size 600mm x 1200mm of approved shade and conforming to IS: 15622 (latest revision) of H&R JOHNSON (Elite plus digital series) / KAJARIA (Eternity Series)/ NITCO (Equivalent in GVT series) as approved, laid on 12 mm thick cement mortar 1:3 (1 Cement: 3 sand) in dadoo & floors including grouting the joints using special tile grout FEVIMATE-TG of Pidilite or similar approved make complete including finishing and curing at all levels etc. all complete as per specification and direction of Engineer-in-charge. | 350.00 | Sqm | 0.00 | 1200.00 | 420000.00 | 1200.00 | 420000.00 | 420000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
34.00 | Providing and fixing in full width & length 15mm to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for kitchen platforms, fascias and similar locations laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, edge moulding and polishing to edge to give high gloss finish etc. complete at all levels: Area of slab over 0.50 Sqm. including finishing & curing work at all level etc. complete as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 40.00 | Sqm | 0.00 | 4500.00 | 180000.00 | 4000.00 | 160000.00 | 160000.00 | Technical Construction Co.
35.00 | Providing and fixing 15 to 18mm thick Granite Black or any other approved shade / colour / texture gang saw cut mirror polished, premoulded, machine cut for wash basin counter including cutting opening for wash basin making half round edge moulding in granite stone for counter etc. all complete of required size laid over 20 mm thick base cement mortar 1:4 (1 Cement :4 sand ) with joints treated with white cement mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels: as per drawing, specifications and direction of Engineer-in-charge. (Base rate of granite shall not be less than Rs. 1800 / Sqm) Note:- Sample of granite shall be approved by EIC before bulk purchase. | 10.00 | Sqm | 0.00 | 4700.00 | 47000.00 | 4000.00 | 40000.00 | 40000.00 | Technical Construction Co.
36.00 | Providing and fixing 14mm to 16mm thick ordinary quality Plain White Marble gang saw cut machine cut for horizontal and vertical supports to kitchen platform, vanity counters and for other similar purposes to be fixed in position with cement mortar 1:3 including back to back jointing of vertical supports with epoxy bonding agent, curing etc. at all levels all complete as per drawing, specifications and direction of Engineer-in-charge. | 25.00 | Sqm | 0.00 | 3500.00 | 87500.00 | 2500.00 | 62500.00 | 62500.00 | Technical Construction Co.
37.00 | Providing and fixing pressed steel door frames conforming to IS: 4351 manufactured from 1.6 mm thick commercial mild steel sheet including hinges jamb, lock jamb, bead and base ties of pressed mild steel angle of size 20mm x 20mm x 1.25mm thick to suit floor thickness welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail fixed to each jamb including fixing superior quality heavy duty Stainless Steel Butt Hinges 100mm long with the frame using SS-MS welding process and SS Screws all as per specifications including provision of mortar guards, lock strike – plate and shock absorbers as specified, filling the hollow box space with the 1:2:4 cement concrete (6.7 mm down coarse aggregate to be used), water cured for minimum 7 Days before fixing the same and applying two coats of approved brand synthetic enamel paint on exposed surface over a coat of approved steel primer on entire surface (interior and exterior) after pre- treatment of the surface, drilling holes of specified diameter and depth with the provision of high quality rubber/PVC sleeves for accommodating male parts of door fittings such as aldrops and tower bolts etc. all complete including cost of all material and labour as per drawing, specifications and as directed by Engineer–In charge. 41.1 Profile B 105 x 60mm single rebate type | 450.00 | Meter | 0.00 | 700.00 | 315000.00 | 600.00 | 270000.00 | 270000.00 | Technical Construction Co.
38.00 | Providing and fixing pressed steel door frames conforming to IS: 4351 manufactured from 1.6 mm thick commercial mild steel sheet including hinges jamb, lock jamb, bead and base ties of pressed mild steel angle of size 20mm x 20mm x 1.25mm thick to suit floor thickness welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail fixed to each jamb including fixing superior quality heavy duty Stainless Steel Butt Hinges 100mm long with the frame using SS-MS welding process and SS Screws all as per specifications including provision of mortar guards, lock strike – plate and shock absorbers as specified, filling the hollow box space with the 1:2:4 cement concrete (6.7 mm down coarse aggregate to be used), water cured for minimum 7 Days before fixing the same and applying two coats of approved brand synthetic enamel paint on exposed surface over a coat of approved steel primer on entire surface (interior and exterior) after pre- treatment of the surface, drilling holes of specified diameter and depth with the provision of high quality rubber/PVC sleeves for accommodating male parts of door fittings such as aldrops and tower bolts etc. all complete including cost of all material and labour as per drawing, specifications and as directed by Engineer–In charge. 41.2 Profile D 125 x 60mm double rebate type | 90.00 | Meter | 0.00 | 800.00 | 72000.00 | 600.00 | 54000.00 | 54000.00 | Technical Construction Co.
39.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and frame work M.S. door & fix ventilators, anchors etc made out M.S. angle, channels, flats, rods, bars, M.S. pipe etc including supplying, cutting, hoisting, fixing in position and applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer all complete as per standard design, including the cost of all material and labour complete- as per drawings, specifications & direction of engineer in charge. | 5500.00 | Kg | 0.00 | 110.00 | 605000.00 | 120.00 | 660000.00 | 605000.00 | M/S MADHUSUDAN ENGINEERING CO.
40.00 | Providing and fixing M.S. grills of required pattern in frames of windows, ventilators, balconies etc. with M.S.flats, square or round bars ets. all complete including applying two coat of approved quality synthetic enamel paint over a priming coat of approved steel primer: Fixed to steel/ aluminium window by welding/riveted or bolted all complete as per standard design, drawing, specification and direction of engineer in charge. MS grill design & drawing shall be prepared & submitted by the contracting agency for the approval of EIC. | 4000.00 | Kg | 0.00 | 110.00 | 440000.00 | 120.00 | 480000.00 | 440000.00 | M/S MADHUSUDAN ENGINEERING CO.
41.00 | Providing and fixing factory made 35 mm thick both side laminated flush door shutters single leaf conforming to IS ; 2202(part-1) of make KITPLY/ GREEN PLY / CENTURY as approved by EIC with Block board core & frame of well seasoned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including supply and fixing of approved brand stainless steel fixtures like Tower bolt (size-250mm long rod size 12mm), Tadi latch (300mm long rod size 14mm), Aldrop (300X16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos, Magnetic Cather etc. complete as per drawings, specifications and direction of Engineer. (Door skin shall be 1.0 mm thick on front face and 0.8mm thick on back face with the provision of edge bending of decorative high pressure laminated sheet of plain/wood grain in gloss/ matt/ suede finish with high density protective surface layer of make KITPLY / GREENLAM / CENTURY as approved by EIC). Note - actual area of shutter will be paid. | 11.00 | Sqm | 0.00 | 4200.00 | 46200.00 | 4000.00 | 44000.00 | 44000.00 | Technical Construction Co.
42.00 | Providing and fixing factory made 35 mm thick Flush door shutter single / double leaf conforming to IS ; 2202(part-1) of make KITPLY / GREEN PLY / CENTURY as approved by EIC, with Block board core & frame of well seasioned hard wood, cross band made from BWP grade veneers and commercial BWP grade face veneers on both sides of shutter including providing and fixing 2nd class teak wood leaping of suitable size and shape all around the edges including approved brand stainless steel fixtures like Tower bolt (size-250mmx12mm), Aldrop (300mmX16mm), Handles plate type - 100mm size (size shall be confirming to IS:208) - 02 nos, Magnetic Cather etc. painting two coats of synthetic enamel paint over a coat of primer of approved brand etc. complete as per drawings, specifications and direction of Engineer. Note - actual area of shutter will be paid. | 140.00 | Sqm | 0.00 | 3400.00 | 476000.00 | 3500.00 | 490000.00 | 476000.00 | M/S MADHUSUDAN ENGINEERING CO.
43.00 | Providing and fixing structural steel fly mesh door shutter of approved design made out of M.S. angle /flat/rod etc. including providing & fixing Stainless steel (Grade 304) Wire mesh of 24 gauge of 12 mesh per 2.5 cm in either direction including SS fitting and fixtures i.e. handle plate type - 100mm size (size shall be confirming to IS:208) (2 nos.), Aldrop 300mm long (01 no), tower bolt 200mm long (01 no) etc all complete, including painting two coat of approved brand synthetic enamal paint over a coat of primer on structural steel members as per approved drawing, specifications and direction of Engineer - in Charge. Note : - 1. The door shall be airtight by suitable means i.e. rubber / PVC strip to prevent the entry of insects/flies/mosquitoes etc. 2. Rate of SS wiremesh, SS fitting and fixtures, rubber / PVC strip are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 1200.00 | Kg | 0.00 | 120.00 | 144000.00 | 200.00 | 240000.00 | 144000.00 | M/S MADHUSUDAN ENGINEERING CO.
44.00 | Providing and fixing double leaf cupboard shutters to frame fabricated from 18-19mm thick BWP grade block board conforming to IS:1659, Kit board gold / Greenlam / Century make with laminate of approved make (Kit ply / Greenlam / Century) and shade on both faces (1 mm thk. laminate on front face and 0.8 mm thk. on back face with the provision of edge bending) including IInd class teak wood lipping of 19mm wide x 6 mm thick with necessary S.S screws and bright finished heavy duty stainless steel fixtures of approved brand (two nos handles plate type - 100mm size (size shall be confirming to IS:208), two nos. magnets, two nos. tower bolt of 100mmx10mm rod size, one nos. hasps and steples etc.), Stainless Steel Butt hinges / S.S. piano hinges etc. as approved all complete as per drawings, specifications and directions of Engineer-in-charge. Note: 1) Actual area of shutter with frame will be measured for payment. 2) MS Frame to be paid in relevent item. | 20.00 | Sqm | 0.00 | 3200.00 | 64000.00 | 2500.00 | 50000.00 | 50000.00 | Technical Construction Co.
45.00 | Providing and fixing 30mm thick factory made pre-laminated PVC door shutter of approved make and design consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make. M.S. frame covered with 5 mm thick heat molded PVC 'C' channel of size 30 mm thickness, 95 mm width out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 115 mm wide PVC sheet out of which 95 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 140 mm wide PVC sheet out of which 100 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. including all SS fitting and fixtures such as 1 nos Tadi latch 200mm longx12mm rod size, 2 nos. tower bolt 250mm x 12mm, 2 nos. plat type handles - 100mm size (size shall be confirming to IS:208) of approved brand complete as per drawing, specification & direction of Engineer-in-charge. | 40.00 | Sqm | 0.00 | 2800.00 | 112000.00 | 3000.00 | 120000.00 | 112000.00 | M/S MADHUSUDAN ENGINEERING CO.
46.00 | Providing and fixing colour anodized aluminium work for doors, windows, ventilators and partitions as per the material, fabrication and dimensional specifications/ requirement of IS: 1948 from aluminum alloy extruded sections, tubular / appropriate Z and or other sections of approved make conforming to grade HE9-WP of IS : 733 and HV9-WP of IS: 1285, fixed with raw plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required neoprene felt and silicon whether sealant etc. Aluminium sections shall be smooth, rust free, straight, mitered and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling. C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. : For shutters of doors, windows & ventilators including providing and fixing approved ss hinges/ pivots/ rollers suitable for sliding / openable window and providing and fixing approved fittings i.e. two handle with locking arrangement for each sliding window shutter and one handle as well as two tower bolt for each glass / jali shutter with provisions of one gate hook for each glass shutter for openable window wherever required as approved including the cost of neoprene gasket all complete: colored anodized coated aluminium (thickness of anodized coating 15 micron). The finished arrangement shall be fully water tight. Note : 1. Payment of Glazing / SS wire mesh to be paid in relevant item in line with their specifications. 2. Cost of SS hinges / pivot / rollers are to be included in the quoted rate and no payment shall be made for providing and fixing the same. | 4500.00 | Kg | 0.00 | 480.00 | 2160000.00 | 550.00 | 2475000.00 | 2160000.00 | M/S MADHUSUDAN ENGINEERING CO.
47.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with neoprene gasket and silicon sealant etc. complete as per the architectural drawings and the directions of engineer-in-charge. With float glass panes of 4.0 mm thickness (Cost of aluminium snap beading shall be included in basic item) | 200.00 | Sqm | 0.00 | 900.00 | 180000.00 | 1000.00 | 200000.00 | 180000.00 | M/S MADHUSUDAN ENGINEERING CO.
48.00 | Providing & fixing Stainless steel (Grade 304) Wire mesh of 24 gauge of 12 mesh per 2.5 cm in either direction including supplying and fixing with required size U section aluminium beading over existing Aluminum window at all height etc. complete as directed the Engineer. | 100.00 | Sqm | 0.00 | 850.00 | 85000.00 | 1000.00 | 100000.00 | 85000.00 | M/S MADHUSUDAN ENGINEERING CO.
49.00 | Applying Birla/JK/Asian white cement based wall putty (two coats) including base coat of alkaline resistance cement primer over cement plaster/ concrete surfaces after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface to achieve plain & even surface. including the cost of materials, labour etc. all complete as per direction of Engineer-in-Charge. | 13500.00 | Sqm | 0.00 | 90.00 | 1215000.00 | 65.00 | 877500.00 | 877500.00 | Technical Construction Co.
50.00 | Supply and application of Distemper of make Tractor aqualoc distemper (code 0013) of asian brand / Nerolac beauty acrylic distemper /Bison super distemper of Berger as approved to give an even shade: two coats over and including priming coat of approved primer of make Asian truecare interior wall primer (0360) / Nerolac premium primer water thinnable/ BP cement primer water thinnable of Berger as approved over well and evenly prepared concrete / plastered new / old surfaces including the cost of materials, consumables, labour, scaffolding, protective gears, housekeeping etc. complete as per the direction of engineer. The item rate includes spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as door & window frames, glass pans, electrical fittings, switch board, floors, skirting, platform etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 10000.00 | Sqm | 0.00 | 120.00 | 1200000.00 | 65.00 | 650000.00 | 650000.00 | Technical Construction Co.
51.00 | Supplying and applying wheather proof exterior emulsion paint of make Apex dust proof (code 0012) of Asian paint / Nerolac excel / Weather coat smooth of Berger as approved of required shade on New work Two coats including base coat of exterior wall primer of make Asian Truecare exterior wall primer (0065) / Nerolac exterior primer / Weather coat exterior primer of Berger as approved after cleaning / scrubbing of the surfaces with wire brushes, soft brushes, sand papers, steel sheet scrappers and mechanical grinder etc. for removing all kind of burrs, imperfections, undulations and other such defects existing in the surface including filling surface imperfections such as holes, dents, cracks by using mixture of white cement & fine sand (in the ratio of 1:3) to achieve plain & even surface. The item rate include spreading of suitable clean protection covering on all exposed surfaces to protect them from staining. All surfaces surrounding to painted area such as window / ventilator frames, glass pans etc. shall be cleaned to sparkling clean condition using suitable thinners, detergents, chemical cleaners etc. under the scope of the item. including the cost of materials, labour etc. all complete as per specification & direction of Engineer-in-Charge. Note:- Painting to be takenup after attending all seepage / leakage problem. No peel off of paint & seepage spots shall be allowed. | 3500.00 | Sqm | 0.00 | 150.00 | 525000.00 | 100.00 | 350000.00 | 350000.00 | Technical Construction Co.
52.00 | Providing and fixing M.S. fan clamp of 16mm dia M.S. bar bent to shape with locked ends in R.C.C slabs, beams during laying including painting the exposed portion of loop, all as per standard design, all complete- as per drawings, specifications & direction of engineer in charge. | 125.00 | Each | 0.00 | 150.00 | 18750.00 | 150.00 | 18750.00 | 18750.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
53.00 | Providing angular fillets 75mm x 75mm of cement concrete 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate of 20 mm nominal size) as per drawings, specification & direction of engineer incharge. | 400.00 | Rm | 0.00 | 50.00 | 20000.00 | 100.00 | 40000.00 | 20000.00 | M/S MADHUSUDAN ENGINEERING CO.
54.00 | Providing and laying in proper slope (1 in 40 to 1 in 60) integral cement based water proofing treatment including preparation of surface by hacking, cleaning and washing the roof top as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying two coat of waterproof cement slurry (cement mixed with waterproofing material such as PIDICRETE URP of Dr. FIXIT / Hydro proof extra of fosroc / Shalicrete-R of STP Ltd. / Tapcrete P-151 of Cico technologies confirming to relevant IS as approved by engineer in charge in the proportion as recommended by manufacturer) on the prepare surface over the RCC slab including adjoining walls up to 300mm height. b) Laying machine mixed brick bats with mortar using broken bricks/brick bats 25 mm to 100mm size with 50% of cement mortar 1: 4 (1 cement : 4 coarse sand) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS over 20 mm thick layer of cement mortar of mix 1: 4 (1 cement : 4 coarse sand) admixed with approved waterproofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or other similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS to required slope and treating similarly the adjoining walls up to 300mm height including rounding of junction of walls and slabs. c) After two Days of proper curing applying a coat of cement slurry using 2.75 kg/sqm of cement admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS. d) Finishing the entire surface (horizontal as well as vertical) with 25mm thick jointless cement concrete of mix 1:1.5:3 (1 cement : 1.5 course sand : 3. 10mm down aggregate) admixed with approved water proofing compound in the proportion as recommended by manufacturer (Cico No.1 of Cico technologies or similar approved product of Pidilite / Fosroc / STP Ltd. as approved by engineer in charge) conforming to relevant IS including finalyfinishing the surface with trowel with neat cement slurry and making pettern of size 100x100mm Sqare 3mm deep. e) The whole terrace so finished shall be flooded with water for minimum period of two week for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer – In charge. :The average thickness of brick bat coba shall be 120mm and minimum thickness at khurra as 65mm. before laying 25mm thk. CC (1:1.5:3) (Payment shall be made for plan area of roof treated) | 1300.00 | Sqm | 0.00 | 1050.00 | 1365000.00 | 1200.00 | 1560000.00 | 1365000.00 | M/S MADHUSUDAN ENGINEERING CO.
55.00 | Providing and fixing Orissa pattern Water Closet (OP 23 (Open rim) of H & R Johnson / Orissa C0117 of Parryware/ Orissa COLVIN S3010108SN of CERA as approved with low level placed PVC flushing cistern (Dual Flush Tank {white} of H & R Jhonson / CERA/ Parry ) connected with 32 mm dia PVC flush pipe with all fittings and brackets with C.P. brass angle cock with CP flange (Clarion cat No. CQT 23059 make of JAQUAR or similer approved quality in KOHLER / GROHE and 15 mm dia high quality PVC inlet connection of required length with all accessories, fittings & fixtures of best quality and brand. Item includes essentially following. (a). Orissa pattern white glazed viterous china W.C. pan of size 580mm x 440mm of approved brand and 100mm dia sand cast iron 'P' trap. (b). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8319 Hexa) / Cera (COMPASS DUEL FLUSH CISTRON B1020106SN) as approved with all accessories complete. (c). 15mm dia PVC inlet connection of required length of approved brand with heavy duty C.P. brass unions and rubber washer etc. (d). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar Clarion cat. No. CQT 23059 or similer approved quality of KOHLER / GROHE as approved). | 12.00 | Each | 0.00 | 6500.00 | 78000.00 | 8000.00 | 96000.00 | 78000.00 | M/S MADHUSUDAN ENGINEERING CO.
56.00 | Providing and fixing European type white glazed vitreous china ware water closet concealed S trap of 'H&R JOHNSON' (Ruby concealed trap EWC P0448PW / 'PARRYWARE' (NIAGARA C0252(S) / 'CERA' (CIGNIA Concealed S1051108 S trap) as approved with Germfree EWC solid seat cover with C.P. brass hinges and rubber buffers of approved brand, with low level placed PVC flushing cistern (Dual Flush Tank white) connected with 32 mm dia PVC flush pipe with fittings and brackets, 15mm dia PVC inlet connection of required length and approved brand, 15mm dia C.P. brass angle valve with C.P. flange of superior quality all complete as per specification and direction of engineer in charge comprising following accessories: (a). White vitreous china wash down European type W.C. pan with white vitreous china 'S' trap of approved brand. (b). Germfree EWC solid seat cover (white) of H&R Johnson ( P0424PW) / Parry (E8094) / Cera (Carina plus B1510106) with C.P. brass hinges and rubber buffers of approved brand (c). Low level placed PVC flushing cistern Dual Flush Tank (white) of H & R Johnson ( P2829PW) / Parry (Slim-line E8319 Hexa) / Cera (COMPASS DUEL FLUSH CISTRON B1020106SN) as approved with all accessories complete. (d). 15mm dia heavy duty PVC inlet connection of required length and approved brand with brass unions complete. (e). 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar clarion cat. No. CQT 23059 or similer approved quality of KOHLER/GROHE as approved). (f). Jet spray provision of Essco make (ALE-ESS-547) with 1Meter PVC tube (stainless steel) with 01 nos 15mm dia CP brass angle valve with CP flange of Jaquar clarion (Code CQT 23059) or similer approved quality of KOHLER/GROHE as approved. | 9.00 | Each | 0.00 | 7500.00 | 67500.00 | 10000.00 | 90000.00 | 67500.00 | M/S MADHUSUDAN ENGINEERING CO.
57.00 | Providing and fixing in position white glazed vitreous china ware wash basin 'H&R JOHNSON'/ 'PARRY' / 'CERA' as approved of following accessories jointed watertight as given below : (a). One no. wash basin of make 'H&R JOHNSON' (P1015PW size 500 x 400 mm)/ 'PARRY' (Indus C0471 size 500x400 mm) / 'CERA' (Counsel S2040101 size 510x400mm) as approved. (b). One pair of wall bracket of 35mm x 35mm x 5mm M.S. angle painted with two coats of synthetic enamel paint over a coat of primer of approved quality and make. (c). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER / GROHE as approved. (d). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (e). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER / GROHE as approved). (f). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (g). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. | 14.00 | No. | 0.00 | 7000.00 | 98000.00 | 8000.00 | 112000.00 | 98000.00 | M/S MADHUSUDAN ENGINEERING CO.
58.00 | Providing and fixing in position white glazed vitreous under counter oval shape china ware wash basin of make H&R JOHNSON / 'PARRY' /"CERA" as approved comprising of following accessories jointed watertight as given below: (a). One no. oval shape white wash basin H&R JOHNSON CRESS (UC WB P0813PW size 550x450mm) / 'PARRY' (Cascade NXT C0407 size550x445mm) / "CERA" (Oval under counter S2030104 size560x470mm) as approved. (b). One no. 32mm dia C.P. brass waste coupling with C.P. grating of Cat. No. ALD709 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (c). One no. 32mm dia C.P. brass bottle trap with wall flange and connected C.P. pipe of cat. No ALD 769 of Jaquar or similar approved quality of KOHLER/GROHE as approved. (d). Two nos. 15mm dia C.P. brass angle valve with C.P. flange of superior quality (Jaquar CLARION cat. No. 23059 or similar approved quality of KOHLER/GROHE as approved). (e). One no. central hole C.P. brass basin mixer without popup waste system with 450mm long braided hoses of superior quality (Jaquar clarion cat. no. CQT 23167B or similar approved quality of KOHLER/GROHE as approved). (f). 32mm dia B class G.I. waste pipe (concealed) of required length (from bottle trap to nahani trap) including painting with anti corrosive bituminous paint. | 1.00 | No. | 0.00 | 8000.00 | 8000.00 | 8000.00 | 8000.00 | 8000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
59.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430 X 260 X 350 mm and 340 X 410 X 265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I. clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required: Range of four urinal basin with 10 liter white P.V.C. automatic flushing cistern. | 9.00 | Each | 0.00 | 6000.00 | 54000.00 | 6000.00 | 54000.00 | 54000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
60.00 | Providing and fixing one piece construction white vitreous china squatting plate with an integral longitudinal flushing pipe, white P.V.C. automatic flushing cistern, with fittings, standard size G.I. / PVC flush pipe for back and front flush with standard spreader pipes with fittings, G.I clamps and C.P. brass coupling complete, including painting of fittings and cutting and making good the walls and floors etc. wherever required : Range of two squatting plates with 5 litre P.V.C. automatic flushing cistern | 4.00 | Each | 0.00 | 8000.00 | 32000.00 | 6000.00 | 24000.00 | 24000.00 | Technical Construction Co.
61.00 | Providing and fixing best quality stainless steel kitchen sink of SS grade 304 glossy finish (Jayna / Nirali / Carysil / Franke Brand) as approved without drain board of overall size 610 x 457 x 200 mm (24"x18"x8") including all accessories such as choke stop stainer, outlet pipe upto floor trap etc. as required all complete as per specifications and direction of engineer in charge. | 1.00 | Each | 0.00 | 4500.00 | 4500.00 | 10000.00 | 10000.00 | 4500.00 | M/S MADHUSUDAN ENGINEERING CO.
62.00 | Providing & fixing sink cock (wall mounting) with C.P. flange and swinging casted spout superior quality (Jaquar Clarion cat no. 23347 or similar approved quality of GROHE/KOHLER as approved). | 1.00 | Each | 0.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 1200.00 | M/S MADHUSUDAN ENGINEERING CO.
63.00 | Providing and fixing C.P. brass bib cock with C.P. flange of superior quality (Jaquar Clarion cat no. 23047 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 40.00 | Each | 0.00 | 900.00 | 36000.00 | 1200.00 | 48000.00 | 36000.00 | M/S MADHUSUDAN ENGINEERING CO.
64.00 | Providing and fixing C.P. brass Angular stop cock with C.P. flange and PVC/CP connecting pipe of required length for geyser points of superior quality (Jaquar Clarion cat no. 23059 or similar approved quality of GROHE/KOHLER as approved) : 15 mm nominal bore. | 9.00 | Each | 0.00 | 900.00 | 8100.00 | 1000.00 | 9000.00 | 8100.00 | M/S MADHUSUDAN ENGINEERING CO.
65.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 15mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 300.00 | Meter | 0.00 | 350.00 | 105000.00 | 250.00 | 75000.00 | 75000.00 | Technical Construction Co.
66.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 20mm dia nominal bore. Concealed pipe painted with anticorrosive bitumestic paint of approved brand. | 200.00 | Meter | 0.00 | 500.00 | 100000.00 | 350.00 | 70000.00 | 70000.00 | Technical Construction Co.
67.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 25mm dia. nominal bore exposed on wall | 300.00 | Meter | 0.00 | 525.00 | 157500.00 | 500.00 | 150000.00 | 150000.00 | Technical Construction Co.
68.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 32mm dia. nominal bore exposed on wall | 250.00 | Meter | 0.00 | 600.00 | 150000.00 | 800.00 | 200000.00 | 150000.00 | M/S MADHUSUDAN ENGINEERING CO.
69.00 | Providing and fixing class 'B' G.I. pipe of approved brand confirming to IS 1239 of following nominal bore with all fittings and specials of heavy duty as required including cutting the walls, floors trenching & reffilling as required, making them good, claimping on wall of approved quality claimps as per specifications, testing the line etc. complete as per drawings, specifications and direction of engineer. 40mm dia. nominal bore exposed on wall | 200.00 | Meter | 0.00 | 800.00 | 160000.00 | 1000.00 | 200000.00 | 160000.00 | M/S MADHUSUDAN ENGINEERING CO.
70.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 25mm dia | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 1500.00 | 15000.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
71.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 32mm dia | 6.00 | Each | 0.00 | 600.00 | 3600.00 | 2500.00 | 15000.00 | 3600.00 | M/S MADHUSUDAN ENGINEERING CO.
72.00 | Providing and fixing in position heavy duty gun metal wheel valve screw down type confirming to IS: 778 latest revision of approved make including the cost of all jointing materials, fittings and testing etc. complete as per specifications of the following nominal bore. - 40mm dia | 5.00 | Each | 0.00 | 1000.00 | 5000.00 | 4000.00 | 20000.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
73.00 | Providing and fixing in position 25 mm dia heavy duty brass ferrule of approved brand including boring and threading hole in C.I. pipe with necessary fittings as required all complete. | 3.00 | Each | 0.00 | 400.00 | 1200.00 | 2000.00 | 6000.00 | 1200.00 | M/S MADHUSUDAN ENGINEERING CO.
74.00 | Providing & Fixing of approved quality Brass Float Valve 25 mm Dia as Directed by the Engineer-in-Charge. | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 1000.00 | M/S MADHUSUDAN ENGINEERING CO.
75.00 | Providing and fixing 25mm nominal bore ball valve (brass) of approved quality, High or low pressure, with 150mm dia approved quality plastic floats with complete accessories. | 3.00 | Each | 0.00 | 1000.00 | 3000.00 | 3000.00 | 9000.00 | 3000.00 | M/S MADHUSUDAN ENGINEERING CO.
76.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 3989 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 75mm dia. | 150.00 | Meter | 0.00 | 1200.00 | 180000.00 | 1000.00 | 150000.00 | 150000.00 | Technical Construction Co.
77.00 | Providing and laying or fixing in position, under floor or against walls, ISI market Centrifugal cast iron, socket and spigot soil, waste, ventilation pipes and fittings including cost of all fittings like bends, offset tees, tapers, collars, connection plugs, shoes, cowls and clamps confirming to IS : 3989 and jointing with tarred spun yarn and molten pig lead, caulking the joints, testing and painting with two coats of approved paint of required shade including cutting chase or holes in walls and floors and making good where required etc. complete - 100mm dia | 200.00 | Meter | 0.00 | 1400.00 | 280000.00 | 1500.00 | 300000.00 | 280000.00 | M/S MADHUSUDAN ENGINEERING CO.
78.00 | Providing and fixing in position C.I. floor trap of self cleaning design 100mm inlet and 75 mm outlet with C.P. grating on top including embedding in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) etc. complete as per drawings, specifications and as directed by engineer. | 22.00 | Each | 0.00 | 1500.00 | 33000.00 | 1000.00 | 22000.00 | 22000.00 | Technical Construction Co.
79.00 | Providing and fixing on wall face / embedded in ground un plasticized Rigid PVC Rain water pipes of Jain Irrigation / Finolex / Supreme as approved conforming to IS:13592 type A (4 Kg/Cm2) including shoes, bends, clamps etc. all complete jointing with seal ring leaving 10 mm for thermal expansion (I) single socketed pipes:110 mm dia. | 350.00 | Meter | 0.00 | 400.00 | 140000.00 | 500.00 | 175000.00 | 140000.00 | M/S MADHUSUDAN ENGINEERING CO.
80.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 25mm dia | 4.00 | No. | 0.00 | 400.00 | 1600.00 | 4000.00 | 16000.00 | 1600.00 | M/S MADHUSUDAN ENGINEERING CO.
81.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 32mm dia | 4.00 | No. | 0.00 | 500.00 | 2000.00 | 5000.00 | 20000.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
82.00 | Providing and fixing G.I. pipe (class B) embedded part in water tank walls of 500 mm length & welded with 5mm thick M.S. plate puddle flange of size 150 mm X 150 mm including cutting, threading the G.I. pipe all complete as per drawings, specifications and direction of engineer. 40mm dia | 4.00 | No. | 0.00 | 550.00 | 2200.00 | 6000.00 | 24000.00 | 2200.00 | M/S MADHUSUDAN ENGINEERING CO.
83.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 150mm dia. R.C.C. pipe. complete as per drawings, specifications and as directed of the EIC. | 30.00 | Meter | 0.00 | 600.00 | 18000.00 | 750.00 | 22500.00 | 18000.00 | M/S MADHUSUDAN ENGINEERING CO.
84.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 200mm dia. R.C.C. pipe. complete as per drawings, specifications and as directed of the EIC. | 50.00 | Meter | 0.00 | 750.00 | 37500.00 | 1000.00 | 50000.00 | 37500.00 | M/S MADHUSUDAN ENGINEERING CO.
85.00 | Providing and laying non-pressure NP2 class (light duty) R.C. hume pipes jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 300mm dia. R.C.C. pipe. complete as per drawings, specifications and as directed of the EIC. | 20.00 | Meter | 0.00 | 1000.00 | 20000.00 | 1500.00 | 30000.00 | 20000.00 | M/S MADHUSUDAN ENGINEERING CO.
86.00 | Providing and fixing in position best quality salt glazed stone ware 150mm X 150mm size square mouth gully trap with C.I. grating and 100mm P type outlet with 40mm thick precast cement conc. Cover fixed in M.S. angle frame (made out of required size angle) at top and constructing brick masonry chamber 300mm X 300mm internal size in 115mm thick brick masonry in cement mortar 1:4 (1 cement : 4 fine sand) with necessary excavation in all types of soils, bed of 100mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 40mm nominal size) for foundation and around the trap and plastering with cement mortar 1:4 (1 cement : 4 fine sand) 15mm thick on internal and external surfaces, on top and upto 150mm below ground level, finished smooth, curing and fixing M.S. angle frame and precast conc. cover in 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) and painting the grating & frame with two coats of approved anticorrosive paint etc. complete as per drawings and specifications. Note :- Reinforcement and MS angle frame shall be paid in relevant item. | 22.00 | Each | 0.00 | 8000.00 | 176000.00 | 2000.00 | 44000.00 | 44000.00 | Technical Construction Co.
87.00 | Providing, laying and jointing salt glazed stone ware pipe (conforming to IS : 651 latest revision) with cement mortar 1:1 (1 cement: 1 fine sand) with spun yarn impregnated with cement slurry including surrounding or encasing the pipes with providing and laying 150mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 20 mm nominal size) and testing of joints for leak tightness, curing etc. complete as per drawings, design and specifications of following internal diameters.- 100 mm dia | 100.00 | Meter | 0.00 | 1200.00 | 120000.00 | 800.00 | 80000.00 | 80000.00 | Technical Construction Co.
88.00 | Providing, laying and jointing salt glazed stone ware pipe (conforming to IS : 651 latest revision) with cement mortar 1:1 (1 cement: 1 fine sand) with spun yarn impregnated with cement slurry including surrounding or encasing the pipes with providing and laying 150mm thick cement concrete 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate of 20 mm nominal size) and testing of joints for leak tightness, curing etc. complete as per drawings, design and specifications of following internal diameters.- 150 mm dia | 200.00 | Meter | 0.00 | 1400.00 | 280000.00 | 1200.00 | 240000.00 | 240000.00 | Technical Construction Co.
89.00 | Providing and fixing of pelmets made out of 18 mm thick (one side laminated other side balancing white with 600 kg /Cum density) and 120 mm wide solid PVC sheet of approved brand & shade including nickle plated M.S. Pipe 20 mm dia. (heavy type) curtain rod with nickel plated brackets, including fixing with 25x3 mm M.S. Flat 10 cm long fixed to pelmet on both inner side of pelmet and rawl plugs 75 mm long etc. all complete in all respect as per specification & direction of engineer-in-charge Note- only length of pelmet (No over change shall be paid) | 100.00 | Rm | 0.00 | 450.00 | 45000.00 | 400.00 | 40000.00 | 40000.00 | Technical Construction Co.
90.00 | Providing and fixing cut edge mirror 6mm thick of overall size 600X450mm especially fabricated with superior glass (of approved quality) with designer acrylic PVC frame of approved colour and make mounted around with 6mm thick non-water absorbent Acrylic/PVC material backing fixed with cleats, all complete as per the specifications and directions of Engineer. | 15.00 | Each | 0.00 | 1000.00 | 15000.00 | 1000.00 | 15000.00 | 15000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
91.00 | Providing & Fixing of 6mm thick 600mm x 125mm wide glass self with rounded edge (alround) with Heavy Duty Aluminium anodized bracket all complete as Directed by the Engineer-in-charge. | 15.00 | Each | 0.00 | 120.00 | 1800.00 | 1000.00 | 15000.00 | 1800.00 | M/S MADHUSUDAN ENGINEERING CO.
92.00 | Providing and fixing C.P. brass towel ring of Jaquar Continental cat no. 1121 or similar approved quality of GROHE/KOHLER brand including all fixtures and fittings complete as per specifications. | 5.00 | Each | 0.00 | 800.00 | 4000.00 | 1600.00 | 8000.00 | 4000.00 | M/S MADHUSUDAN ENGINEERING CO.
93.00 | Providing and fixing GI pipe (medium class) spout 300 mm long embedded in balcony/stair case/chhajja including cutting the GI pipe etc. all complete as per drawings, specifications and direction of engineer. : 32mm dia | 4.00 | No. | 0.00 | 150.00 | 600.00 | 500.00 | 2000.00 | 600.00 | M/S MADHUSUDAN ENGINEERING CO.
94.00 | Providing and laying M-35 grade and 60mm thick factory made precast cement concrete interlocking pavers block conforming to IS 15658 : 2006 made by block making machine with strong vibratory compaction and of approved shape pattern laid in required slope over and including 50mm thick compacted bed of fine sand, filling the joints with fine sand etc. all complete as per drawing, specification & direction of Engineer – in – charge. | 350.00 | Sqm | 0.00 | 1100.00 | 385000.00 | 1000.00 | 350000.00 | 350000.00 | Technical Construction Co.
95.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Dark shade pigment using ordinary cement including finishing & curing work at all level etc. complete as per direction of engineer in charge. | 100.00 | Sqm | 0.00 | 1000.00 | 100000.00 | 1100.00 | 110000.00 | 100000.00 | M/S MADHUSUDAN ENGINEERING CO.
96.00 | Providing and fixing 9-10mm thick Paving tile of make ENDURA (H&R Johnson)/ Pavigres (Kajaria)/ Kratos (Nitco) as approved required size & shade laid over a base of 20 mm av. thick cement mortar 1:4 (1 cement : 4 coarse sand) including ordinary Portland and polymer based cement slurry including grouting the joints with BAL ENDURA grouts (the joints between the tiles shall be 3mm to 5mm wide and 6mm to 8mm deep as per regular tiling procedure) and curing etc. all complete as per specifications and direction of engineer in charge. | 20.00 | Sqm | 0.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 24000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
97.00 | Providing and fixing retro-reflective Cautionary, Mandatory & Informatory sign boards of required size and shape made out of 2 mm thick aluminum sheet face to be fully covered with high intensity encapsulated lens type retro-reflective sheeting, Letters symbols, borders etc. will be as per IRC : 67 with required colors scheme on the boards and with the high intensity grade A as per specification and as approved by Engineer In charge. Note: Structural steel support of specified configuration as required for installing sign - boards shall be paid separately under relevant items. | 20.00 | Sqm | 0.00 | 4500.00 | 90000.00 | 4000.00 | 80000.00 | 80000.00 | Technical Construction Co.
98.00 | Painting background in 2 coats and Writing letters / Figures / Numerals on any new/old surface such as plastered, concrete, metal etc using (Apcolite Synthetic Enamel Paint of Asian Paint Product Code No 0001) of spcified shade including cost of paint material and metallic stencils for Alphabets / Numerals all complete as per the directions & Specifications of Engineer-in-charge. Note: Outer Border area shall be paid. | 100.00 | Sqm | 0.00 | 500.00 | 50000.00 | 150.00 | 15000.00 | 15000.00 | Technical Construction Co.
99.00 | Providing and fixing of approved quality 18mm thick black granite stone of size about - 1200 mm x 750 mm with nomenclature as per standered prectice, specification and as per direction of EIC. | 2.00 | No. | 0.00 | 7000.00 | 14000.00 | 8000.00 | 16000.00 | 14000.00 | M/S MADHUSUDAN ENGINEERING CO.
100.00 | Providing and fixing in position ceramic steel magnetic green chalk board of size 8'x4' writable with chalk, framed with anodised aluminium section with pleasing colourful rounded corner having adjustable wall hanging clamps, suitable duster, MDF board & galvinised iron sheet backing. Complete as per specification & direction of Engineer in charge. | 19.00 | Each | 0.00 | 8000.00 | 152000.00 | 20000.00 | 380000.00 | 152000.00 | M/S MADHUSUDAN ENGINEERING CO.
101.00 | Construction of fly ash brick masonry inspection chamber up to 1000 mm depth of inside clear dimension 900mm X 600mm with 230mm thick brick wall in cement mortar 1:4 (1 cement : 4 fine sand) 150mm thick foundation cement concrete 1:4:8 (1 cement : 4 coarse sand :8 graded stone aggregate of 20mm nominal size) and plastering inside and outside with cement mortar 1:4 (1 cement : 4 fine sand) 15mm thick finished smooth, benching cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) in the bottom of chamber including providing and fixing 75mm thick precast cement cone. Cover slab protected by MS angle frame of required size all around, fixed in frame of size 900mmx600mm (in side clear) made out of M.S. angle of required size, embedding the frame in 75mm thick CC top coping of mix 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) including centering, shuttering, finishing, curing and painting the frame with two coats of approved anticorrosive paint etc. complete as per design, drawings and specifications. Note Reinforcement, M.S. angle frames and excavation are paid in relevant item. | 7.00 | Each | 0.00 | 10000.00 | 70000.00 | 15000.00 | 105000.00 | 70000.00 | M/S MADHUSUDAN ENGINEERING CO.
102.00 | Extra over for every additional depth beyond 1000mm of above item | 15.00 | Meter | 0.00 | 4000.00 | 60000.00 | 1000.00 | 15000.00 | 15000.00 | Technical Construction Co.
103.00 | Constructing of brick masonry circular type manhole 0.91 m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement :4 coarse sand), in side cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary channel in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement, all complete as per standard design : 0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation) 560 mm internal diameter conforming to I.S. 12592, total weight of cover and frame to be not less than 182 kg., fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including centering, shuttering all complete. (Excavation, foot rests and cement plaster at the external surface shall be paid for separately) : With fly ash bricks of class designation 75 | 5.00 | Each | 0.00 | 10000.00 | 50000.00 | 16000.00 | 80000.00 | 50000.00 | M/S MADHUSUDAN ENGINEERING CO.
104.00 | Extra depth for circular type manhole 0.91m internal dia (at bottom) beyond 0.91 m to 1.67 m With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 for above item | 20.00 | Rm | 0.00 | 5000.00 | 100000.00 | 1000.00 | 20000.00 | 20000.00 | Technical Construction Co.
105.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete: For pipes 100 to 230 mm diameter. | 5.00 | Each | 0.00 | 600.00 | 3000.00 | 1000.00 | 5000.00 | 3000.00 | M/S MADHUSUDAN ENGINEERING CO.
106.00 | Supply & Fixing of Pre-painted Trapezoidal profiled sheeting 1000-1020 mm cover width, 28-30 mm high crests manufactured out of 0.50 mm TCT hi-tensile prepainted Zincalume /Galvalume steel (AZ-150 gsm. Aluminium –Zinc alloy metallic coating of total both sides 550 Mpa yield stress). Exterior coat of SMP (Silicon Modified Polyester) / BHP XRW paint system, 20 micron top coat applied over 5 micron primer and a 5 micron polyester back coat applied over 5 microns primer coating/painting. The sheet shall have wide pans with stiffening ribs for effective water shedding and special male/female ends with full return legs on side laps for purlin support. The male end of the sheet shall have anti-capillary flute at side laps to prevent leakages including required fittings & fixtures, scaffolding, stagging etc complete. Excluding structural steel work to be paid in relavent items and as per direction of engineer in charge. | 225.00 | Sqm | 0.00 | 950.00 | 213750.00 | 1000.00 | 225000.00 | 213750.00 | M/S MADHUSUDAN ENGINEERING CO.
107.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete. Ridges plain (500 - 600mm) | 20.00 | Meter | 0.00 | 350.00 | 7000.00 | 1000.00 | 20000.00 | 7000.00 | M/S MADHUSUDAN ENGINEERING CO.
108.00 | Providing & Fixing of Aluminium sheet 1mm thick as Directed by the Engineer-in-Charge. | 10.00 | Kg | 0.00 | 600.00 | 6000.00 | 700.00 | 7000.00 | 6000.00 | M/S MADHUSUDAN ENGINEERING CO.
109.00 | Providing & fixing M.S. manhole cover and frame for water tank of size 600mm X 600mm (inside clear) cover shall be made out of 35mm X 35mm X 5mm M.S. angle & 5mm thick M.S. plate cover, frame shall be made out of 50x50x5mm thick MS angle and hinges to the frame and fixing the frame with proper anchors to the water tank's concrete slab and providing handle and locking arrangement complete including painting with two coats of synthetic enamel paint of approved make and shade over one coat of red oxide zinc chromate primer etc. complete as per design drawings and specifications. | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 7000.00 | Technical Construction Co.
110.00 | Providing and fixing up to floor five level RCC precast structural elements / members of size and thicknes as required and as specify by EIC in lintel beam, slab, trench / drain covers etc. in cement concrete 1:1.5:3 mix (1 cement :1.5 coarse sand: 3 graded stone aggregate 20 mm nominal size) with maximum water content of 22.5 ltr. per bag of cement and additional slump generated by adding suitable quality cement admixture including fixing M.S. angle frame of required size all around the precast member to protect the edges wherever required, including hoisting and setting in position with cement mortar 1:3 (1 Cement: 3 coarse sand), Cost of required centering, shuttering including finishing smooth exposed surfaces, curing etc. all complete. at all level as per specification and direction of Engineer-in-charge. Note : Providing fabrication and fixing reinforcement and M.S. angle frame shall be paid in relavant item | 10.00 | Cum | 0.00 | 8000.00 | 80000.00 | 10000.00 | 100000.00 | 80000.00 | M/S MADHUSUDAN ENGINEERING CO.
111.00 | Construction of tube well up to 150 Metre depth and above in all type of rocks by DTH system and over burden, to accommodate casing pipe of following size in all type of soils and over-burden including lowering of casing pipes, but excluding cost of casing pipes as per IS : 2800 (Part - I & II ) 1979 specifications. The tube -well should have a throughout bore as per nominal dia of casing pipe. | 250.00 | Rm | 0.00 | 600.00 | 150000.00 | 4000.00 | 1000000.00 | 150000.00 | M/S MADHUSUDAN ENGINEERING CO.
112.00 | Supply and instalation of ERW M.S. black casing pipe ISI Marked(IS : 4270/1992) of grade Fe 410 of following size at the site of work. Nominal bore of pipe(150 mm),Outside dia of pipe(168.30 mm),Thickness of pipe(5 mm),Mass of plan tube (20.13 kg/M) | 30.00 | Meter | 0.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 42000.00 | M/S MADHUSUDAN ENGINEERING CO.
113.00 | Providing and fixing HDPE PIPES 32 mm Diameter PE 100 Pipe including fixing all fittings and fixture complete as directed by EIC. | 250.00 | Rm | 0.00 | 120.00 | 30000.00 | 600.00 | 150000.00 | 30000.00 | M/S MADHUSUDAN ENGINEERING CO.
114.00 | Providing and fixing HDPE PIPE 40 mm Diameter PE 80 Pipe including fixing all fittings and fixture complete as directed by EIC. | 50.00 | Rm | 0.00 | 150.00 | 7500.00 | 800.00 | 40000.00 | 7500.00 | M/S MADHUSUDAN ENGINEERING CO.
115.00 | Supplying and Installation Stainless Steel wire rope dia 06 mm entire length including fixing all fittings and fixture U-Clamp etc. complete as directed by EIC. | 250.00 | Rm | 0.00 | 170.00 | 42500.00 | 200.00 | 50000.00 | 42500.00 | M/S MADHUSUDAN ENGINEERING CO.
116.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : Serrated with central bulb (225 mm wide, 8-11 mm thick) | 20.00 | Meter | 0.00 | 400.00 | 8000.00 | 600.00 | 12000.00 | 8000.00 | M/S MADHUSUDAN ENGINEERING CO.
117.00 | Providing & Fixing of approved quality G.I. holder clamp 15 mm. dia. Heavy duty as Directed by the Engineer-in-Charge. | 10.00 | Each | 0.00 | 50.00 | 500.00 | 50.00 | 500.00 | 500.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
118.00 | Drilling of 40 mm dia holes upto 1.00mm depth and provding and grouting with GP-2 conbestra grout complete as per drawing, specification and direction of engineer in charge. | 100.00 | Meter | 0.00 | 400.00 | 40000.00 | 1000.00 | 100000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
119.00 | Cement adjustment in addition to or less than as specified in Item No. 13 above (Item rate is fixed as Rs 7 per kg.)
120.00 | Dressing to camber and consolidating with 8 to 10 tone road roller including making good the undulations etc. and re-rolling the sub grade complete for all kind of soils. | 200.00 | Sqm | 0.00 | 150.00 | 30000.00 | 150.00 | 30000.00 | 30000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
121.00 | Providing and laying 200 mm thick stone soling using quarry stone properly hand packed, filling interstices with spells, gravels and inert fine material and consolidating with power road roller to required gradient and camber including spreading, watering and rolling binding material etc. complete as per drawings, specifications and direction of Engineer. | 200.00 | Sqm | 0.00 | 200.00 | 40000.00 | 400.00 | 80000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
122.00 | Providing and laying to required slope and camber M-35 grade design mix cement concrete in roads/pavement using not less than 350 kg. of OPC cement per cum of concrete and water to cement ratio not more than 0.38 with cement admixture added to obtain specified slumps up to a maximum of 120mm in alternate panels or as directed by engineer, consolidating with needle vibrator and factory fabricated roller mounted paver cum vibro compactor equipment having a pavement coverage not less than 4 mtr. in width, providing dowel bars with sleevs / tie bars wherever required, finishing the surface with power floater and trowelled to require finish and finally giving required broom finish with suitable means, including extended curing for a period of 15 days and provision of contraction and expansion joints. contraction joint shall be mechanical sawn, 3 to 5mm wide in width and 1/3 thickness of the slab in depth and of 15x20mm size at top and expansion joint shall be 25mm in width. Contraction joint shall be provided for every up to 20 sqm of pavement area and expansion joint shall provided at every 30 to 35 mtr length, all complete as per drawing, providing and filling joints with approved joint filler and sealents etc. complete as per specifications and direction of engineer in charge. Item also includes for organizing recovery of cylendrical cores in accordance with relevant IS @ 1 set (3 specimens) per 300 Cum concrete placed at site to be drawn from locations as identified by EIC and also testing the cores specimens in accordence with relevent IS code at NPCIL approved test laboratory for verifing confirmance of hardened concrete to specified requirements. All the expenses incurred on above activities shall be borne by the contractor. (payments for expansion joint fillers, cutting joint & filling sealent, PVC sleevs, dowel bars / tie bars to be paid in relevent item separatly). Excess/less cement used than 350 kg / cum as per design mix payble/recoverably separatly. Note:- Cracks on account of insufficient curing, poor workmenship etc. shall not be allowed. Entire portion of such cracked road panel shall be removed and re-casted by the contractor at his own cost. | 50.00 | Cum | 0.00 | 6500.00 | 325000.00 | 7500.00 | 375000.00 | 325000.00 | M/S MADHUSUDAN ENGINEERING CO.
123.00 | Providing and laying Mild steel reinforcement bars for expansion joint and Tor steel reinforcemnt bars in longitudnel joints in concrete road work including straightening, cutting, bending, placing the bars in position etc. all complete- as per drawings , specifications & direction of engineer in charge. | 150.00 | Kg | 0.00 | 95.00 | 14250.00 | 85.00 | 12750.00 | 12750.00 | Technical Construction Co.
124.00 | Providing and fixing 40mm dia 350mm long best quality PVC Sheathing around the exposed portion of the 32mm dia mild-steel bars at construction joints, wrapping cotton waste with grease etc. all around the bars including pluging the end with PVC cap all complete as per drawing, specification and direction of engineer in charge. | 20.00 | Nos. | 0.00 | 50.00 | 1000.00 | 100.00 | 2000.00 | 1000.00 | M/S MADHUSUDAN ENGINEERING CO.
125.00 | Providing and fixing in position premolded expansion joint filler board of 25mm thickness of universal asphalt or Shalitex STP as approved confirming to IS 1838 (part-I) as per specifications. | 110.00 | Sqm | 0.00 | 800.00 | 88000.00 | 600.00 | 66000.00 | 66000.00 | Technical Construction Co.
126.00 | Providing and fixing in position bitumen hot sealing compound Using grade 'A' sealing compound including cutting of contraction /Expansion/Construction joints in concrete using mechanical concrete cutter including cost of diamond bit cutting wheel etc. For expansion joints of size 25mm X 25mm | 100.00 | Rm | 0.00 | 20.00 | 2000.00 | 200.00 | 20000.00 | 2000.00 | M/S MADHUSUDAN ENGINEERING CO.
127.00 | Providing and fixing in position bitumen hot sealing compound Using grade 'A' sealing compound including cutting of contraction /Expansion/Construction joints in concrete using mechanical concrete cutter including cost of diamond bit cutting wheel etc. For expansion joints of size 15mm X 20mm | 50.00 | Rm | 0.00 | 10.00 | 500.00 | 150.00 | 7500.00 | 500.00 | M/S MADHUSUDAN ENGINEERING CO.
128.00 | Providing and laying at or near ground level required size factory made kerb stone with cage basin of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per specification & direction of Engineer-in-charge. (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 30.00 | Cum | 0.00 | 6500.00 | 195000.00 | 9000.00 | 270000.00 | 195000.00 | M/S MADHUSUDAN ENGINEERING CO.
129.00 | Providing and laying 125 micron thick c.c. road grade colorless polyethylene sheet over a prepared road surface for concrete pavement with provision of 150mm wide over lapping on either side of sheet at joints, nailing etc. complete as per specification & direction of engineer incharge. | 200.00 | Sqm | 0.00 | 50.00 | 10000.00 | 70.00 | 14000.00 | 10000.00 | M/S MADHUSUDAN ENGINEERING CO.
130.00 | Excavation of tree pits of 600x600x600 mm deep size in all type of soil / rock, hard rock requiring drilling, or chiseling from the original ground level and dewatering if required for tree pits and disposing off the materials to a maximum lead of 1.0 km. radius, excavated tree pit with the mixture of good quality garden earth brought from approved sources & good quality manure (cow dung manure) prepared in a ratio of 1 part manure : 4 parts garden earth, supply & planting of developed & healthy plants / trees of delonix aregia (gulmohar) tree, ashoka, neem, mango, shisham, jamun, amaltas, karanj, or any other tree approved all completed including all material & labour cost with plant & as per direction of Engineer in charge. | 50.00 | Each | 0.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 50000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
131.00 | Providing and fixing in position Collapsible Steel Shutter with Vertical M.S. channels 20X10X2 mm and bracket with flat iron diagonals 20X5 mm size with top and bottam rails of T-iron 40X40X6 mm with 40mm dia steel pulleys / ball bearing with bolt,nuts , locking arrangments inside and outside stoppers, handles etc. and applying a priming coat of approved steel primer all as per standard design ,all complete as per drawings, specifications & direction of engineer in charge. | 1000.00 | Kg | 0.00 | 140.00 | 140000.00 | 200.00 | 200000.00 | 140000.00 | M/S MADHUSUDAN ENGINEERING CO.
132.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 300.00 | Kg | 0.00 | 500.00 | 150000.00 | 600.00 | 180000.00 | 150000.00 | M/S MADHUSUDAN ENGINEERING CO.
133.00 | Supply and installation of ISI marked PVC conduit and all accessories as per site requirement i.e. 65 mm deep Junction boxes, pull boxes, solid bends, nipples, check nuts, reducers, couplers,bakelite sheet cover for pull box & JB's, adhesive for ceiling of conduit joints, in the wall/ roof slab, 32mm deep J.B. in wall etc. The scope includes chiseling in wall and repairing of wall with cement mortar wherever required. Make: AKG/ Precision/Finolex. | 3500.00 | Mtr. | 0.00 | 80.00 | 280000.00 | 100.00 | 350000.00 | 280000.00 | M/S MADHUSUDAN ENGINEERING CO.
134.00 | Supply and installation of lighting and power wiring, sub main wiring, DB to DB, DB to SB and SB to SB looping with 1100 grade PVC insulated multi stranded copper wires as per commercial color code. Make: Havells/Finolex / L&T/Polycab, 3 nos runs of respective wires (1 mtr. Phase wire + 1 mtr. neutral wire + 1 mtr. earth wire as mentioned below) will be considered of one mtr. wire for measuerment.
134.10 | Cost of 3 nos. of 2.5 Sq.mm Copper wire. | 1400.00 | Mtr. | 0.00 | 80.00 | 112000.00 | 150.00 | 210000.00 | 112000.00 | M/S MADHUSUDAN ENGINEERING CO.
134.20 | Cost of 3 nos. of 4 Sq.mm Copper wire . | 50.00 | Mtr. | 0.00 | 120.00 | 6000.00 | 200.00 | 10000.00 | 6000.00 | M/S MADHUSUDAN ENGINEERING CO.
134.30 | Cost of 3 nos. of 6 Sq.mm Copper wire . | 350.00 | Mtr. | 0.00 | 200.00 | 70000.00 | 300.00 | 105000.00 | 70000.00 | M/S MADHUSUDAN ENGINEERING CO.
135.00 | Supply installation testing & commissioning of point wiring in cancelled PVC conduit with 3 runs (phase wire, neutral wire & earth wire) of 1100 V grade of 1.5 sq. mm multi stranded copper wire for Tube Light / ceiling Fan / Exhaust fan / LED light fitting/ Socket / area light etc. Neutral & earth wire looping shall not be done. One fitting controlled with one switch. Scope of work also includes installation & terminations at both ends. Make : Havells/Finolex/ L&T/polycab. | 415.00 | Nos. | 0.00 | 350.00 | 145250.00 | 400.00 | 166000.00 | 145250.00 | M/S MADHUSUDAN ENGINEERING CO.
136.00 | Supply , installation, testing and commissioning of Modular Switches/Sockets, Metallic flush mounting boxes, Plate with frame and accessories. The scope covers making of recess in the wall and fixing of boxes and wall to be neatly finished thereafter as per standard practice and as directed. Make : Legrand / Anchor Roma/ Havells. Note - All items must be same make to maintain Uniformity.
136.01 | 6 A One Way Switch (One Module). | 395.00 | Nos. | 0.00 | 70.00 | 27650.00 | 50.00 | 19750.00 | 19750.00 | Technical Construction Co.
136.02 | 6 A 2/3 pin socket (2 module) | 70.00 | Nos. | 0.00 | 250.00 | 17500.00 | 120.00 | 8400.00 | 8400.00 | Technical Construction Co.
136.03 | 16 A One Way Switch (1 module) | 25.00 | Nos. | 0.00 | 150.00 | 3750.00 | 125.00 | 3125.00 | 3125.00 | Technical Construction Co.
136.04 | 6/16 A Socket. ( 2 module) | 25.00 | Nos. | 0.00 | 300.00 | 7500.00 | 170.00 | 4250.00 | 4250.00 | Technical Construction Co.
136.05 | Step Fan Regulator (2module) | 119.00 | Nos. | 0.00 | 450.00 | 53550.00 | 410.00 | 48790.00 | 48790.00 | Technical Construction Co.
136.06 | 16 modular metal flush Box | 62.00 | Nos. | 0.00 | 500.00 | 31000.00 | 190.00 | 11780.00 | 11780.00 | Technical Construction Co.
136.07 | 16 Module modular plate frame white | 62.00 | Nos. | 0.00 | 420.00 | 26040.00 | 320.00 | 19840.00 | 19840.00 | Technical Construction Co.
136.08 | 12 modular metal flush box | 13.00 | Nos. | 0.00 | 500.00 | 6500.00 | 170.00 | 2210.00 | 2210.00 | Technical Construction Co.
136.09 | 12 module modular plate frame white | 13.00 | Nos. | 0.00 | 450.00 | 5850.00 | 280.00 | 3640.00 | 3640.00 | Technical Construction Co.
136.10 | 6 Module metal flush Box | 6.00 | Nos. | 0.00 | 300.00 | 1800.00 | 105.00 | 630.00 | 630.00 | Technical Construction Co.
136.11 | 6 module modular plate frame white | 6.00 | Nos. | 0.00 | 250.00 | 1500.00 | 180.00 | 1080.00 | 1080.00 | Technical Construction Co.
136.12 | 3 module metal flush Box | 8.00 | Nos. | 0.00 | 180.00 | 1440.00 | 75.00 | 600.00 | 600.00 | Technical Construction Co.
136.13 | 3 module modular plate frame white | 8.00 | Nos. | 0.00 | 200.00 | 1600.00 | 115.00 | 920.00 | 920.00 | Technical Construction Co.
136.14 | Blanking plate(1 module) | 425.00 | Nos. | 0.00 | 40.00 | 17000.00 | 30.00 | 12750.00 | 12750.00 | Technical Construction Co.
137.00 | Supply, Installation and commissioning of Ceiling Fan, Exhaust Fan, Tube Light Fittings, LED bulb.
137.10 | Supply, Installation and commissioning of 5 Star rating 1200 mm sweep, air Flow 210 CMM ceiling fan in white colour, including all required accessories i.e. 3-point ceiling rose, 3 Core PVC insulated copper cable for connect of the fan etc. Make: Orient/Crompton greaves / Bajaj/ Usha / Havells. | 119.00 | Nos. | 0.00 | 3200.00 | 380800.00 | 3200.00 | 380800.00 | 380800.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
137.20 | Supply, Installation and commissioning of 300 - 305 mm dia, 1-phase 50Hz, 1380 rpm or better, exhaust fan (metal body) air delivered 1600 CMM, including 3-point ceiling rose for connection. The scope also covers supplying & fixing in suitable hole for above, grouting of anchor fastener, steel wire mesh with removal frame, finishing of wall to the original shape etc. and its connection to ceiling rose by means of 3 Core 2.5 sq mm PVC insulated copper cable. Make : Havells/Orient/Almonard/Crompton Greaves/ Bajaj. | 2.00 | Nos. | 0.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 5000.00 | Technical Construction Co., M/S MADHUSUDAN ENGINEERING CO.
137.30 | Supply, Installation and commissioning of 1 x 20 W LED Light fitting, connection with Ceiling rose through 3 Core PVC insulated copper cable. The fitting shall be Decorative Slim linear LED Batten length 1150 mm approximate as per manufacturer, Polycarbonate Body, squre profile, installed on Wall through bracket and the bracket is also part of fitting. All required ceiling rose is including with fitting. Make: Havells / Philips / Wipro / Crompton Greaves / Bajaj. | 172.00 | Nos. | 0.00 | 250.00 | 43000.00 | 500.00 | 86000.00 | 43000.00 | M/S MADHUSUDAN ENGINEERING CO.
137.40 | Supply , Installation and commissioning of 7 W LED Lamp. with 6 Amp. Angle holder . Make : Anchor / Havells / Philips / Wipro / Bajaj. | 35.00 | Nos. | 0.00 | 150.00 | 5250.00 | 80.00 | 2800.00 | 2800.00 | Technical Construction Co.
138.00 | Supply , Installation testing and commissioning of main distribution board of double door Three phase 4 way having, one no. 100 A, 4 pole 415 V isolator , one no. 63 A four pole AC type , 30mA leakage current RCBO and 9 nos. 32 Amp 10 KA, C curve single pole MCB, ISI marked as per IS/IEC , integrated label holder, sliding bottom clamp, efficient air channels, Color coded On/Off indication, Sliding shutters, DB's shall be Separate compartment for incomer & outgoing devices, Suitable for Flush Mounting with 100 A Copper Bus bar for each phase,, with Neutral bar, Earth bar and Cable ties for cable dressing ,fully insulated bus bar Supplied with wire set , DB with phase segmentation and separation between incomer and outgoing. The scope covers DBs to be embedded in the wall recess in such a manner so as to flush with the finished surface of the wall, wall and DB to be neatly cleaned and finished thereafter. Complete with internal wiring neutral and earth link copper bus bar, including termination, lugging, dressing of internal wiring, outgoing wires and incoming cable, and earthing at DB end. Make : Legrand/L&T/Anchor /Schneider/Siemens. | 1.00 | Nos | 0.00 | 50000.00 | 50000.00 | 45000.00 | 45000.00 | 45000.00 | Technical Construction Co.
139.00 | Supply and Installation of SPN distribution board with metal door of 12 module,12 way flush mounted, with 100 A Copper bus bar with Neutral bar, Earthing and cable ties for cable management. Make:- legrand/hevels/Anchor
139.10 | Supply and Installation of SPN distribution board of 12 module, flush mounted, metal cover with 100 A copper busbar, earthing and cable ties for cable, fully shrouded neutral bars. Make:- Legrand/Hevels/Anchor | 8.00 | Nos. | 0.00 | 3500.00 | 28000.00 | 1700.00 | 13600.00 | 13600.00 | Technical Construction Co.
139.20 | Supply and Installation of 6 Amp, 240 /410 V single pole MCB of C curve. Make:- Legrand/Hevels/Anchor | 32.00 | Nos. | 0.00 | 350.00 | 11200.00 | 160.00 | 5120.00 | 5120.00 | Technical Construction Co.
139.30 | Supply and Installation of 16 Amp, 240/410 v single pole MCB of C curve. Make:- Legrand/Hevels/Anchor | 12.00 | Nos. | 0.00 | 350.00 | 4200.00 | 160.00 | 1920.00 | 1920.00 | Technical Construction Co.
139.40 | Supply and Installation of 16 Amp, 30 mA double pole 240 V, Ac type RCBO for lighting distribution board. Make:- Legrand/Hevels/Anchor | 8.00 | Nos. | 0.00 | 5000.00 | 40000.00 | 8500.00 | 68000.00 | 40000.00 | M/S MADHUSUDAN ENGINEERING CO.
140.00 | Supply & installation of 50 MM GI Pipe of C class in wall/Floor with clamp if required for cable laying. | 25.00 | Mtr. | 0.00 | 500.00 | 12500.00 | 1500.00 | 37500.00 | 12500.00 | M/S MADHUSUDAN ENGINEERING CO.
141.00 | Supply and installation of pipe earthing station. Scope of this work covers installation pipe earthing station with 40 mm dia medium gauge G.I pipe and back filling with salt, charcoal and black soil as directed, Work should confirm to IS-3043. (a) Supply and placing of 40 mm dia medium gauge GI Pipe 3.0 mtr. long perforation at maximum distance of 150 mm throughout the length. (b) Supply of good quality black soil approx. 3 CuM and filling in earth and watering as directed. (c) Supply of char-coal approx. 100 Kg and filling in earth pit as directed. (d) Supply of good quality ungrinded salt approx. 100 Kg and filling in earth pit as directed. (e) Construction of Brick masonry chamber 400 x 400 x 600mm (Inside clear) of wall thickness 230mm with plaster in and outside. Chamber covered with removable type RCC pre cast. Note:- Excavation of earth pit shall be paid in relevant item. | 2.00 | Nos | 0.00 | 15000.00 | 30000.00 | 2650.00 | 5300.00 | 5300.00 | Technical Construction Co.
142.00 | Supply and installation of GI flat 25*3 for earthing of MLDB and connect from earth pit with clamp or buried in earth if required. | 50.00 | Mtr. | 0.00 | 100.00 | 5000.00 | 160.00 | 8000.00 | 5000.00 | M/S MADHUSUDAN ENGINEERING CO.
143.00 | Supply and Installation of 45 watt LED Street Light, IP 66, natural white color with approx. length 300 mm, 25 mm dia GI pipe for fixing of fitting and clamp on parapit wall. Make: Philips / Bajaj / hevels / Wipro / crompton / bajaj / Crompton | 8.00 | Nos. | 0.00 | 1200.00 | 9600.00 | 2200.00 | 17600.00 | 9600.00 | M/S MADHUSUDAN ENGINEERING CO.
144.00 | Supply and laying of 4 core 6 sq mm Aluminum cable with suitable Lugs / gland for connection of submersible pump with starter panel and main DB if any excavation required shall be paid in relevent item. Make:- KEI / Ppolycab | 50.00 | Mtr. | 0.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 5000.00 | Technical Construction Co.
145.00 | Supply and laying of 4 core 16 sq mm Aluminum cable including suitable Lugs / gland for connection of Main DB,s from energy meter panel. Make;- KEI / Polycab | 25.00 | Mtr. | 0.00 | 300.00 | 7500.00 | 170.00 | 4250.00 | 4250.00 | Technical Construction Co.
146.00 | Supply, Installation, testing and comissioning of 2HP single phase Borewell submersible pump and motor set, voltage range 160-240V AC, head 150 M, make KIRLOSKAR with complete stater panel having starter,MCB/ Main switch, ammeter, volt meter & indication lamp. | 1.00 | Nos. | 0.00 | 15000.00 | 15000.00 | 50000.00 | 50000.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
147.00 | Supply, installation and termination of 3 core, 4 Sqm PVC insulated, copper submersible flat cable for submersible pump, Make: Finolex / RR cable/ Havells. | 200.00 | Mtr. | 0.00 | 150.00 | 30000.00 | 220.00 | 44000.00 | 30000.00 | M/S MADHUSUDAN ENGINEERING CO.
148.00 | Supply fabrication and installation of 40 MM GI pipe 'C Class' with reducer as per mounting size of lighting fitting for mounting of lighting fitting in out door area as per requirement. Make :- Tata / Jindal / Suraya (Digging / excavation, Concreting shall be paid in other relevant items.) | 20.00 | Mtr. | 0.00 | 150.00 | 3000.00 | 1250.00 | 25000.00 | 3000.00 | M/S MADHUSUDAN ENGINEERING CO.
149.00 | Supply and installation of Gland up to 10 Sq.mm Al. armored cable. Make:- Dowell/SMI/Braco | 15.00 | Nos. | 0.00 | 80.00 | 1200.00 | 230.00 | 3450.00 | 1200.00 | M/S MADHUSUDAN ENGINEERING CO.
150.00 | Supply, Installation testing and commissioning of main distribution board of double door Three phase 4 way having, one no. 100 A, 4 pole 415 V isolator , one nos 25 Amp. four pole 415 V AC type 30 mA leakage current RCBO and 7 nos. 32 Amp 10 KA, C curve single pole MCB, ISI marked as per IS/IEC , integrated label holder, sliding bottom clamp, efficient air channels, Color coded On/Off indication , Sliding shutters, DB's shall be Separate compartment for incomer & outgoing devices, Suitable for Flush Mounting with 100 A Copper Bus bar for each phase,, with Neutral bar, Earth bar and Cable ties for cable dressing ,fully insulated bus bar Supplied with wire set , DB with phase segmentation and separation between incomer and outgoing. The scope covers DBs to be embedded in the wall recess in such a manner so as to flush with the finished surface of the wall, wall and DB to be neatly cleaned and finished thereafter. Complete with internal wiring neutral and earth link copper bus bar, including termination, lugging, dressing of internal wiring, outgoing wires and incoming cable, and earthing at DB end. Make : Legrand/L&T/Anchor /Schneider/Siemens. | 1.00 | No. | 0.00 | 50000.00 | 50000.00 | 17500.00 | 17500.00 | 17500.00 | Technical Construction Co.
151.00 | Supply, Installation and commissioning of Die-cast aluminum graphite grey powder coated spigot, acrylic clear diffuser, spun aluminum powder coated canopy. Decorative post top Lantern for 360 degree indirect light, 40 Watt with IP 65 protection. Make: Bajaj/Havells / Philips / Wipro / Crompton Greaves. | 10.00 | Nos. | 0.00 | 1500.00 | 15000.00 | 13500.00 | 135000.00 | 15000.00 | M/S MADHUSUDAN ENGINEERING CO.
152.00 | Supply and laying of 3 Core x 10 Sq.mm Aluminum cable and connection of street light fitting including 8 SWG GI wire for earthing of pole JB and Fitting. (Digging / excavation pay in relevant item). | 300.00 | Mtr. | 0.00 | 320.00 | 96000.00 | 175.00 | 52500.00 | 52500.00 | Technical Construction Co.
153.00 | Supply and installation of Metal clade flush mounting box with plug top and socket of 20 Amp. DP and Earthing (20 A DP, 2P+E) including 20 Amp. MCB. Make: Legrand / Crompton Greaves / Philips | 4.00 | Nos. | 0.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 4000.00 | M/S MADHUSUDAN ENGINEERING CO.
154.00 | Supply and installation of Aluminum ring type lugs up to 10 Sq.mm Al. armored cable. Make:- Dowell/SMI/Braco | 70.00 | Nos. | 0.00 | 80.00 | 5600.00 | 20.00 | 1400.00 | 1400.00 | Technical Construction Co.
155.00 | Supply and installation of steel tubular pole with overhang 9 mtr long with base plate, including GI JB with connector and 6 Amp MCB of C curve for indusal light control.along with street light fitting of 45 Watt LED.IP 66,Natural white color (Digging / excavation, Concreting shall be paid in other relevant items.) Make of fitting :- Philips / bajaj / Hevells / wipro / crompton greaves | 5.00 | Nos. | 0.00 | 6000.00 | 30000.00 | 30000.00 | 150000.00 | 30000.00 | M/S MADHUSUDAN ENGINEERING CO.
| Total in Figures |  |  |  |  | 60075530.00 |  | 63214805.00
Lowest Amount Quoted BY: M/S MADHUSUDAN ENGINEERING CO.(60075530.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of school building Tender ID: 2024_NPCIL_202260_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S MADHUSUDAN ENGINEERING CO. (BID ID -733267) | 60075530.00 | L1
| 2 | Technical Construction Co. (BID ID -733066) | 63214805.00 | L2