## BoQ1
Government eProcurement System Created By: RAM MURAT RAM Created Date/Time: 26-Aug-2024 03:04 PM Tender Title: ETR-1544 Tender ID: 2024_NPCIL_203212_1
Tender Inviting Authority:
Name of Work: Supply, Fabrication & Erection of piping and equipment of Ventilation & Active Waste Management system at OESC building of KAPS Site.
Contract No: KAPS/CMM-W/3-4/MMU/2024/ETR/1544
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ascent Electrification Engineers (GSTN-24AAOFA2574R1ZU) BID ID -728791 |  | SHREE RAM ELECTRICALS(GSTN-NA)--728475 |  | NEW TECH ENGINEERING CO.(GSTN-NA)--730636 |  | JAGGI ELECTRICALS(GSTN-NA)--730620
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation of soil for Power cable Laying in buried in soil, clearing of obstructions, cutting of roads, re-construction of roads as per Original, Drilling, sand filling, burnt Red bricks laying, Soil filling, cable route marking and other work as per the Indian Standard. Width of the Excavation for this item is 900 MM. | 1300.00 | Meter |  | 943.00 | 1225900.00 | 1525.00 | 1982500.00 | 850.00 | 1105000.00 | 829.00 | 1077700.00 | 1077700.00 | JAGGI ELECTRICALS
2.00 | Laying, dressing and clamping of Power Cable of size: 1C x 800 Sq MM. | 9600.00 | Meter |  | 221.00 | 2121600.00 | 530.00 | 5088000.00 | 300.00 | 2880000.00 | 279.09 | 2679264.00 | 2121600.00 | Ascent Electrification Engineers
3.00 | Laying, dressing and clamping of Power Cable of size: 3.5C x 300 Sq MM. | 1500.00 | Meter |  | 221.00 | 331500.00 | 325.00 | 487500.00 | 350.00 | 525000.00 | 329.00 | 493500.00 | 331500.00 | Ascent Electrification Engineers
4.00 | Installation of cable tray of Size : width 600 MM. | 150.00 | Meter |  | 1770.00 | 265500.00 | 3850.00 | 577500.00 | 650.00 | 97500.00 | 629.00 | 94350.00 | 94350.00 | JAGGI ELECTRICALS
5.00 | Excavation of soil for Power cable Laying in buried in soil, clearing of obstructions, cutting of roads, re-construction of roads as per Original, Drilling, sand filling, burnt Red bricks laying, Soil filling, cable route marking and other work as per the Indian Standard. Width of the Excavation for this item is 450 MM. | 700.00 | Meter |  | 519.00 | 363300.00 | 1100.00 | 770000.00 | 600.00 | 420000.00 | 599.00 | 419300.00 | 363300.00 | Ascent Electrification Engineers
6.00 | Termination / connection of 1C x 800 Sq MM, Aluminium, Armoured cable along with supply of Double Compression Cable Brass Gland, Suitable lugs, metalic tag, clamp, hardware etc., and drilling of gland plates, crimping of lugs at both ends. | 14.00 | Nos. |  | 2000.00 | 28000.00 | 7500.00 | 105000.00 | 3500.00 | 49000.00 | 3999.00 | 55986.00 | 28000.00 | Ascent Electrification Engineers
7.00 | Termination / connection of 3.5C x 300 Sq MM, Aluminium, Armoured cable along with supply of Double Compression Cable Brass Gland, Suitable lugs, metalic tag, clamp, hardware etc., and drilling of gland plates, crimping of lugs at both ends. Quantity is taken for 2 Runs of 3.5C x 300Sq MM, Aluminium, Armoured cable. | 4.00 | Nos. |  | 2000.00 | 8000.00 | 9250.00 | 37000.00 | 8000.00 | 32000.00 | 5999.00 | 23996.00 | 8000.00 | Ascent Electrification Engineers
8.00 | LT Cable Jointing with Suitable Jointing Kit for 1C x 800Sq MM, Aluminium, Armoured cable. Quantity is considered for total 2 jointing in each run of 1C x 800Sq MM, Aluminium, Armoured cable and there is total 7 Run. | 14.00 | Nos. |  | 2000.00 | 28000.00 | 10350.00 | 144900.00 | 8000.00 | 112000.00 | 7999.00 | 111986.00 | 28000.00 | Ascent Electrification Engineers
9.00 | LT Cable Jointing with Suitable Jointing Kit for 3.5C x 300Sq MM, Aluminium, Armoured cable. . Quantity is considered for total 1 jointing in each run of 3.5C x 300Sq MM, Aluminium, Armoured cable and there is total 2 Run. | 3.00 | Nos. |  | 2000.00 | 6000.00 | 44000.00 | 132000.00 | 35000.00 | 105000.00 | 35999.00 | 107997.00 | 6000.00 | Ascent Electrification Engineers
10.00 | Supply and installation of Adopter Box with Cu Bus Bar suitable for Termination of 2 Nos. 1C x 800Sq MM, Aluminium, Armoured cable on one side. In Each Adopter Box two cable of 1C x 800Sq MM will be terminated at one side. | 8.00 | Nos. |  | 46905.00 | 375240.00 | 18250.00 | 146000.00 | 22000.00 | 176000.00 | 19999.00 | 159992.00 | 146000.00 | SHREE RAM ELECTRICALS
11.00 | Removal of existing switching and protection device in existing transformer distribution panel in transformer yard behind Simulator building of KAPS-1&2 and handing it to Purchaser for depositing it in his O&M stores. Installation & mounting of 400A, 4 Pole Switch Fuse Unit in place of removed switching and protection device. | 1.00 | Nos. |  | 5000.00 | 5000.00 | 14000.00 | 14000.00 | 5112.00 | 5112.00 | 3599.00 | 3599.00 | 3599.00 | JAGGI ELECTRICALS
12.00 | Supply of 400A, 4 Pole Switch Fuse Unit. SFU output terminal shall be suitable for connection of 2 runs of 3.5Cx 300 sq mm Cu conductor. | 1.00 | Nos. |  | 25000.00 | 25000.00 | 77500.00 | 77500.00 | 65000.00 | 65000.00 | 59999.00 | 59999.00 | 25000.00 | Ascent Electrification Engineers
13.00 | Erection with complete civil structure for installation of 6 meter (1 meter underground and 5 meter above ground) street light pole along with JB & 100 Watt LED Street light with Complete Wiring, street light pole and 100 watt Street light LED will be free issue item. | 100.00 | Nos. |  | 10000.00 | 1000000.00 | 14800.00 | 1480000.00 | 7500.00 | 750000.00 | 5999.00 | 599900.00 | 599900.00 | JAGGI ELECTRICALS
14.00 | Supply and Installation of 250 Watt LED High Bay Luminaire in place of Already Existing Luminaire at height. | 180.00 | Nos. |  | 14868.00 | 2676240.00 | 20250.00 | 3645000.00 | 16000.00 | 2880000.00 | 18999.00 | 3419820.00 | 2676240.00 | Ascent Electrification Engineers
15.00 | Supply and Installation of 200 Watt LED High Bay Luminaire in place of Already Existing Luminaire at height: | 150.00 | Nos. |  | 11709.00 | 1756350.00 | 15500.00 | 2325000.00 | 15000.00 | 2250000.00 | 17499.00 | 2624850.00 | 1756350.00 | Ascent Electrification Engineers
16.00 | Supply and Installation of 150 Watt LED High Bay Luminaire in place of Already Existing Luminaire at height | 150.00 | Nos. |  | 9558.00 | 1433700.00 | 15000.00 | 2250000.00 | 14000.00 | 2100000.00 | 16229.00 | 2434350.00 | 1433700.00 | Ascent Electrification Engineers
17.00 | Supply of 14 SWG stranded copper grounding wire. | 5700.00 | Meter |  | 102.00 | 581400.00 | 70.00 | 399000.00 | 40.00 | 228000.00 | 39.00 | 222300.00 | 222300.00 | JAGGI ELECTRICALS
18.00 | Installation/ termination/ connection of 14 SWG stranded copper grounding wire with installation of clamps, connection to earthing terminals, lighting fixtures, Junction boxes, pull boxes. | 5700.00 | Meter |  | 1.00 | 5700.00 | 50.00 | 285000.00 | 25.00 | 142500.00 | 29.00 | 165300.00 | 5700.00 | Ascent Electrification Engineers
| Total in Figures |  |  |  |  | 12236430.00 |  | 19945900.00 |  | 13922112.00 |  | 14754189.00
Lowest Amount Quoted BY: Ascent Electrification Engineers(12236430.00)

## BOQ Summary
BOQ Summary Details Tender Title: ETR-1544 Tender ID: 2024_NPCIL_203212_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ascent Electrification Engineers | 12236430.00 | L1
| 2 | NEW TECH ENGINEERING CO. | 13922112.00 | L2
| 3 | JAGGI ELECTRICALS | 14754189.00 | L3
| 4 | SHREE RAM ELECTRICALS | 19945900.00 | L4