## BoQ1
Government eProcurement System Created By: HASTI MAL NAHAR Created Date/Time: 19-Oct-2024 02:09 PM Tender Title: Item Rate Contract for commissioning activities for RAPP U#8 Control/ Electrical/ Mechanical components, equipment and systems and associated miscellaneous and support activities. Tender ID: 2024_NPCIL_204445_1
Tender Inviting Authority:
Name of Work: Item Rate Contract for commissioning activities for RAPP U#8 Control/ Electrical/ Mechanical components, equipment and systems and associated miscellaneous and support activities.
Contract No: NPC/RRS/78/2024/CPP-PT-A2749
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ADARSH INSULATIONS (GSTN-24ADAPS7008P1Z8) BID ID -747380 |  | ULTRA TECH ENGINEERS (GSTN-08AABFU5279L2ZK) BID ID -748610 |  | MGR FABRICATORS PRIVATE LIMITED (GSTN-NA) BID ID -748626
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Material shifting (drawing from store/ deposition to store) upto 20 kg as per MIV/ MCV/ MD note/ Inspection note | 800.00 | Visit |  | 455.00 | 364000.00 | 520.00 | 416000.00 | 600.00 | 480000.00 | 364000.00 | ADARSH INSULATIONS
2.00 | Supply and Installation of PVC/ Plastic Casing capping for wires/cables | 650.00 | Running Metre |  | 70.00 | 45500.00 | 90.00 | 58500.00 | 60.00 | 39000.00 | 39000.00 | MGR FABRICATORS PRIVATE LIMITED
3.00 | Laying or Rerouting of OFC cable | 1500.00 | Running Metre |  | 75.00 | 112500.00 | 95.00 | 142500.00 | 65.00 | 97500.00 | 97500.00 | MGR FABRICATORS PRIVATE LIMITED
4.00 | Glanding of PVC cable up to 50 mm by using Compression gland | 500.00 | Numbers |  | 400.00 | 200000.00 | 450.00 | 225000.00 | 400.00 | 200000.00 | 200000.00 | ADARSH INSULATIONS, MGR FABRICATORS PRIVATE LIMITED
5.00 | Cleaning of control equipment/ instruments in plant site | 2500.00 | Numbers |  | 314.00 | 785000.00 | 350.00 | 875000.00 | 250.00 | 625000.00 | 625000.00 | MGR FABRICATORS PRIVATE LIMITED
6.00 | Providing Data assistance services for office Work | 2160.00 | Mandays |  | 1341.00 | 2896560.00 | 1480.00 | 3196800.00 | 1634.00 | 3529440.00 | 2896560.00 | ADARSH INSULATIONS
7.00 | Cleaning and testing of Hydrogen leak detector | 100.00 | Numbers |  | 445.00 | 44500.00 | 460.00 | 46000.00 | 500.00 | 50000.00 | 44500.00 | ADARSH INSULATIONS
8.00 | Testing of Fire detector -smoke/ heat / Multi Criteria type/ etc. | 100.00 | Numbers |  | 429.00 | 42900.00 | 440.00 | 44000.00 | 500.00 | 50000.00 | 42900.00 | ADARSH INSULATIONS
9.00 | Fire detector fault rectification | 100.00 | Numbers |  | 705.00 | 70500.00 | 730.00 | 73000.00 | 500.00 | 50000.00 | 50000.00 | MGR FABRICATORS PRIVATE LIMITED
10.00 | Repair/ replacement of Beetle/ PH sensor/ conductivity Sensor etc. | 200.00 | Numbers |  | 231.00 | 46200.00 | 250.00 | 50000.00 | 350.00 | 70000.00 | 46200.00 | ADARSH INSULATIONS
11.00 | Repair/ checks of Public Address System Speakers/Field Call Station/Control Desks and Amplifier | 50.00 | Numbers |  | 372.00 | 18600.00 | 430.00 | 21500.00 | 350.00 | 17500.00 | 17500.00 | MGR FABRICATORS PRIVATE LIMITED
12.00 | Housekeeping of various area | 40000.00 | Square metre |  | 33.00 | 1320000.00 | 35.00 | 1400000.00 | 22.00 | 880000.00 | 880000.00 | MGR FABRICATORS PRIVATE LIMITED
13.00 | Calibration of electronic Cards/ module. | 100.00 | Numbers | 1.00 | 545.00 | 54500.00 | 820.00 | 82000.00 | 1000.00 | 100000.00 | 54500.00 | ADARSH INSULATIONS
14.00 | Wire laying inside panel/Junction Box/Control Distribution Frame etc. | 1000.00 | per wire | 2.00 | 52.00 | 52000.00 | 65.00 | 65000.00 | 50.00 | 50000.00 | 50000.00 | MGR FABRICATORS PRIVATE LIMITED
15.00 | New wire termination in field pull box, JB, Panel TB, RTD, instruments, equipment etc. | 1500.00 | Numbers | 3.00 | 51.00 | 76500.00 | 65.00 | 97500.00 | 150.00 | 225000.00 | 76500.00 | ADARSH INSULATIONS
16.00 | LAN cable laying/ replacement/checking | 1000.00 | Running Metre | 4.00 | 80.00 | 80000.00 | 95.00 | 95000.00 | 75.00 | 75000.00 | 75000.00 | MGR FABRICATORS PRIVATE LIMITED
17.00 | LEMO connector termination/replacement/rectification | 200.00 | Numbers | 5.00 | 221.00 | 44200.00 | 250.00 | 50000.00 | 700.00 | 140000.00 | 44200.00 | ADARSH INSULATIONS
18.00 | Rectification/Installation/Replacement of Self-powered Neutron Detector (SPND) in Vertical/ Horizontal Flux Unit (VFU/ HFU) | 5.00 | Numbers | 6.00 | 2674.00 | 13370.00 | 3250.00 | 16250.00 | 4000.00 | 20000.00 | 13370.00 | ADARSH INSULATIONS
19.00 | Replacement/Installation/Rectification of Ion chamber/start up counter in its assembly | 10.00 | Numbers | 7.00 | 2701.60 | 27016.00 | 3250.00 | 32500.00 | 10000.00 | 100000.00 | 27016.00 | ADARSH INSULATIONS
20.00 | Rectification/Replacement of Top/Bottom reed switch (TRS/BRS)/ limit switch/ potentiometer assembly of Shim Rod/Control Rod/Adjuster Rod drive | 40.00 | Numbers |  | 691.00 | 27640.00 | 730.00 | 29200.00 | 500.00 | 20000.00 | 20000.00 | MGR FABRICATORS PRIVATE LIMITED
21.00 | DNM detectors installation/ replacement/Rectification in its location | 10.00 | Numbers |  | 1894.00 | 18940.00 | 2100.00 | 21000.00 | 2000.00 | 20000.00 | 18940.00 | ADARSH INSULATIONS
22.00 | Edge preparation and welding of SS tubes by Auto tube welding machine including the supply of high purity argon gas and cerated tungsten electrode. | 4000.00 | Numbers |  | 1863.00 | 7452000.00 | 1950.00 | 7800000.00 | 1500.00 | 6000000.00 | 6000000.00 | MGR FABRICATORS PRIVATE LIMITED
23.00 | Allied connector soldering/ termination/ replacement up to 50 pin | 50.00 | Per pin |  | 30.00 | 1500.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 1500.00 | ADARSH INSULATIONS
24.00 | Optical fiber cable splicing and joining/ Repair | 400.00 | Numbers |  | 2040.00 | 816000.00 | 2250.00 | 900000.00 | 4000.00 | 1600000.00 | 816000.00 | ADARSH INSULATIONS
25.00 | Repair/ replacement and calibration of pressure gauge/temperature Gauge/ instruments air pressure regulating valve/ pressure switch/ 2 way solenoid valve/ 3 way solenoid valve etc. | 500.00 | Numbers |  | 624.00 | 312000.00 | 710.00 | 355000.00 | 750.00 | 375000.00 | 312000.00 | ADARSH INSULATIONS
26.00 | Calibration of electronic Transmitter/Calibration of current to pneumatic converter/ Calibration of dew point sensor/ pH and conductivity sensor / CV positioner/ CV position transmitter/ etc. | 80.00 | Numbers | 7.00 | 733.00 | 58640.00 | 1100.00 | 88000.00 | 750.00 | 60000.00 | 58640.00 | ADARSH INSULATIONS
27.00 | Repair/ replacement of Magnetic level gauge, Level Indicating Gauge (LIG), diaphragm of AV/CV etc. | 400.00 | Numbers | 7.00 | 1109.00 | 443600.00 | 1250.00 | 500000.00 | 1000.00 | 400000.00 | 400000.00 | MGR FABRICATORS PRIVATE LIMITED
28.00 | Junction box cleaning, wires dressing, terminal tightening, extra hole closing with rubber gromets. | 300.00 | Numbers | 7.00 | 451.00 | 135300.00 | 500.00 | 150000.00 | 1000.00 | 300000.00 | 135300.00 | ADARSH INSULATIONS
29.00 | Isolations or Normalizations of control valve, pump instrument, compressor instrument/ dryer instrument, damper instrument. | 300.00 | Numbers | 7.00 | 567.00 | 170100.00 | 640.00 | 192000.00 | 500.00 | 150000.00 | 150000.00 | MGR FABRICATORS PRIVATE LIMITED
30.00 | Rectification of RTD/ Thermocouple/Temperature sensors etc. | 300.00 | Numbers |  | 329.00 | 98700.00 | 375.00 | 112500.00 | 300.00 | 90000.00 | 90000.00 | MGR FABRICATORS PRIVATE LIMITED
31.00 | Ultrasonic flow measurement | 200.00 | Numbers |  | 883.00 | 176600.00 | 1000.00 | 200000.00 | 1000.00 | 200000.00 | 176600.00 | ADARSH INSULATIONS
32.00 | Checks/ repair of DG firefighting system | 40.00 | Numbers |  | 2346.00 | 93840.00 | 2600.00 | 104000.00 | 2000.00 | 80000.00 | 80000.00 | MGR FABRICATORS PRIVATE LIMITED
33.00 | Pipe/Cable Embedded Penetration (EP) testing in RB & RAB area | 10.00 | Numbers |  | 1600.00 | 16000.00 | 1740.00 | 17400.00 | 1200.00 | 12000.00 | 12000.00 | MGR FABRICATORS PRIVATE LIMITED
34.00 | Fire barrier opening for work and closing after work | 20.00 | Numbers |  | 1506.00 | 30120.00 | 1700.00 | 34000.00 | 1200.00 | 24000.00 | 24000.00 | MGR FABRICATORS PRIVATE LIMITED
35.00 | Excavation of asphalt road/pavement/cable trench for cable laying and refilling after installation of cable or EP in it | 100.00 | Running Metre |  | 604.00 | 60400.00 | 680.00 | 68000.00 | 1000.00 | 100000.00 | 60400.00 | ADARSH INSULATIONS
36.00 | Assistance of skilled manpower to shift/general operation group in operational/ commissioning activities | 1200.00 | Mandays |  | 1346.00 | 1615200.00 | 1450.00 | 1740000.00 | 1392.00 | 1670400.00 | 1615200.00 | ADARSH INSULATIONS
37.00 | Repair/ replacement of installed 5-way and 3 way solenoid valve | 90.00 | Numbers |  | 1161.00 | 104490.00 | 1250.00 | 112500.00 | 1000.00 | 90000.00 | 90000.00 | MGR FABRICATORS PRIVATE LIMITED
38.00 | Repair/ Replacement of MCRP/LCP Hand switch assembly and checking all contacts changeover operation | 50.00 | Numbers |  | 4199.00 | 209950.00 | 4750.00 | 237500.00 | 4000.00 | 200000.00 | 200000.00 | MGR FABRICATORS PRIVATE LIMITED
39.00 | Supply of Stainless Steel Seamless pipe as per ASTM A312 TP 304 (15 NB /20 NB /25 NB/40 NB /50NB upto Sch. 40) | 3000.00 | Kg |  | 450.00 | 1350000.00 | 710.00 | 2130000.00 | 500.00 | 1500000.00 | 1350000.00 | ADARSH INSULATIONS
40.00 | Repair/replacement of pre- installed Time delay relay/logic relay and checking all contacts changeover operation | 100.00 | Numbers |  | 264.00 | 26400.00 | 300.00 | 30000.00 | 450.00 | 45000.00 | 26400.00 | ADARSH INSULATIONS
41.00 | Punching and installation of Aluminium tags for equipment/ instrument/panel etc. | 10000.00 | Numbers |  | 38.00 | 380000.00 | 40.00 | 400000.00 | 40.00 | 400000.00 | 380000.00 | ADARSH INSULATIONS
42.00 | Removal of existing cable/tube tray including it's support/ other support or projections etc. | 500.00 | Numbers |  | 289.00 | 144500.00 | 320.00 | 160000.00 | 400.00 | 200000.00 | 144500.00 | ADARSH INSULATIONS
43.00 | Laying of copper tubing up-to 12 mm OD which includes bending, laying, cutting & clamping. | 1200.00 | Running Metre |  | 71.00 | 85200.00 | 90.00 | 108000.00 | 650.00 | 780000.00 | 85200.00 | ADARSH INSULATIONS
44.00 | Laying of SS tubing up-to 12 mm OD which includes bending, laying, cutting & clamping | 3000.00 | Running Metre |  | 120.00 | 360000.00 | 150.00 | 450000.00 | 650.00 | 1950000.00 | 360000.00 | ADARSH INSULATIONS
45.00 | Copper tube swaging up to 12 mm OD | 500.00 | Numbers |  | 796.00 | 398000.00 | 900.00 | 450000.00 | 500.00 | 250000.00 | 250000.00 | MGR FABRICATORS PRIVATE LIMITED
46.00 | SS tube swaging up to 12 mm OD | 100.00 | Numbers |  | 5083.00 | 508300.00 | 5200.00 | 520000.00 | 500.00 | 50000.00 | 50000.00 | MGR FABRICATORS PRIVATE LIMITED
47.00 | Installation of Junction/ pull boxes up to 200 mm x 150 mm x 75mm. | 200.00 | Numbers |  | 947.00 | 189400.00 | 1700.00 | 340000.00 | 1000.00 | 200000.00 | 189400.00 | ADARSH INSULATIONS
48.00 | Installation of HSL grade anchor fasteners (M10/90) including, drilling (in concrete), core cutting, cleaning, installation, torqueing etc. as per drawing/specification at various locations (i.e. various walls, soffits, beams, columns & floors at different elevations) of RAPP-7&8. | 200.00 | Numbers |  | 1561.00 | 312200.00 | 1750.00 | 350000.00 | 800.00 | 160000.00 | 160000.00 | MGR FABRICATORS PRIVATE LIMITED
49.00 | Welding of SS to SS material for BW/NW (including Piping Component of Sch. equal to or less than 80) | 800.00 | Inch-dia |  | 1900.00 | 1520000.00 | 2200.00 | 1760000.00 | 2200.00 | 1760000.00 | 1520000.00 | ADARSH INSULATIONS
50.00 | Fabrication and erection of CS structure/Stand and support for instrument or panel mounting including painting etc. | 2000.00 | Kg |  | 233.00 | 466000.00 | 270.00 | 540000.00 | 120.00 | 240000.00 | 240000.00 | MGR FABRICATORS PRIVATE LIMITED
51.00 | Gas cylinder sampling | 300.00 | Numbers |  | 115.00 | 34500.00 | 135.00 | 40500.00 | 100.00 | 30000.00 | 30000.00 | MGR FABRICATORS PRIVATE LIMITED
52.00 | Repair of faulty power supply module/ SMPS for pre-installed computers and large video display monitors. | 50.00 | Numbers |  | 965.00 | 48250.00 | 1280.00 | 64000.00 | 1000.00 | 50000.00 | 48250.00 | ADARSH INSULATIONS
53.00 | Repair/ checks of Field Multiplexing Unit (FMU). | 150.00 | Numbers |  | 737.00 | 110550.00 | 820.00 | 123000.00 | 1000.00 | 150000.00 | 110550.00 | ADARSH INSULATIONS
54.00 | CTM RTD installation in feeder cabinet area | 400.00 | Numbers |  | 873.00 | 349200.00 | 1050.00 | 420000.00 | 1000.00 | 400000.00 | 349200.00 | ADARSH INSULATIONS
55.00 | Assistance of unskilled manpower to shift/general operation group in operational/ commissioning activities | 2400.00 | Mandays |  | 940.00 | 2256000.00 | 1100.00 | 2640000.00 | 989.00 | 2373600.00 | 2256000.00 | ADARSH INSULATIONS
56.00 | Services of Autocad Operator for preparation/ conversion of documents into Autocad or required format beyond normal hours | 1500.00 | Man hours |  | 282.00 | 423000.00 | 270.00 | 405000.00 | 1392.00 | 2088000.00 | 405000.00 | ULTRA TECH ENGINEERS
57.00 | RJ-45 Connectors fabrication for LAN connections. | 800.00 | Numbers |  | 238.00 | 190400.00 | 260.00 | 208000.00 | 150.00 | 120000.00 | 120000.00 | MGR FABRICATORS PRIVATE LIMITED
58.00 | Repair/ Replacement of damaged 3 way manifold of pre-installed electronic transmitters. | 200.00 | Numbers |  | 4022.00 | 804400.00 | 4100.00 | 820000.00 | 5000.00 | 1000000.00 | 804400.00 | ADARSH INSULATIONS
59.00 | Replacement /Rectification of Green/Red/White/Yellow- Push Button compatible to pre-installed PBs on control and electrical panels. | 100.00 | Numbers |  | 223.00 | 22300.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 15000.00 | MGR FABRICATORS PRIVATE LIMITED
60.00 | Replacement of 24 V DC/ 220 V DC/ 230 V AC indication lamps compatible to installed lamps of control and electrical panels. | 100.00 | Numbers |  | 349.00 | 34900.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 30000.00 | MGR FABRICATORS PRIVATE LIMITED
61.00 | Supply and installation of MS/CS hardwares (Screws, Clamps, Hexagonal headed bolt, nut, lock nut & washer confirming to SA 193 Gr. B7/SA 194 Gr. 2H (Ni Zn coated etc.) | 300.00 | Kg |  | 906.00 | 271800.00 | 940.00 | 282000.00 | 300.00 | 90000.00 | 90000.00 | MGR FABRICATORS PRIVATE LIMITED
62.00 | Supply and installation SS (304/316) Fasteners (Nut Bolt, Screw, clamp, etc.) as per department's specifications & requirements | 200.00 | Kg |  | 910.00 | 182000.00 | 1100.00 | 220000.00 | 650.00 | 130000.00 | 130000.00 | MGR FABRICATORS PRIVATE LIMITED
63.00 | Installation of PVC tube, Size: OD 10 mm x ID 8 mm, Colour: Preferably Milky white semi- Transparent, Pressure rating: minimum 100 psig | 1000.00 | Running Metre |  | 71.00 | 71000.00 | 90.00 | 90000.00 | 100.00 | 100000.00 | 71000.00 | ADARSH INSULATIONS
64.00 | Installation of PVC tube, Size: 12 mm OD X 10 mm ID, Colour: Preferably Milky white semi-Transparent, Pressure rating: Minimum 100 psig | 1000.00 | Running Metre |  | 87.00 | 87000.00 | 110.00 | 110000.00 | 110.00 | 110000.00 | 87000.00 | ADARSH INSULATIONS
65.00 | Providing scaffolding, handling, transportation/shifting to the location, erection, dismantling and shifting back to contractor’s stores | 2000.00 | Cubic Metre |  | 500.00 | 1000000.00 | 640.00 | 1280000.00 | 400.00 | 800000.00 | 800000.00 | MGR FABRICATORS PRIVATE LIMITED
66.00 | Removal/ Replacement of RCC trench Covers | 300.00 | Numbers |  | 455.00 | 136500.00 | 550.00 | 165000.00 | 500.00 | 150000.00 | 136500.00 | ADARSH INSULATIONS
67.00 | Preventive Maintenance checks of valves OR Replacement of diaphragm in diaphragm valve (manual/actuator operated) | 500.00 | Inch-dia |  | 478.00 | 239000.00 | 600.00 | 300000.00 | 500.00 | 250000.00 | 239000.00 | ADARSH INSULATIONS
68.00 | Supply and installation of Single Pair PEEK & MI cable in existing cable tray. | 200.00 | Running Metre |  | 790.00 | 158000.00 | 900.00 | 180000.00 | 2000.00 | 400000.00 | 158000.00 | ADARSH INSULATIONS
69.00 | Supply and installation of Double Pair PEEK & MI cable in existing cable tray. | 200.00 | Running Metre |  | 1454.00 | 290800.00 | 1600.00 | 320000.00 | 2000.00 | 400000.00 | 290800.00 | ADARSH INSULATIONS
70.00 | Supply and Installation of Thread Sealent in rolls of 10 m or more, Width of tape: 1/2" inch, Thickness: 3-3.5 mils, Density:0.5-0.6 gm/cm3, Colour: White | 800.00 | Numbers |  | 77.00 | 61600.00 | 85.00 | 68000.00 | 100.00 | 80000.00 | 61600.00 | ADARSH INSULATIONS
71.00 | Installation of Portable vacuum pumps on requirement in field/ shops | 100.00 | Days |  | 1915.00 | 191500.00 | 2100.00 | 210000.00 | 1200.00 | 120000.00 | 120000.00 | MGR FABRICATORS PRIVATE LIMITED
72.00 | Laying of new cable trays and its installation or conditioning of existing cable trays | 500.00 | Running Metre |  | 282.00 | 141000.00 | 300.00 | 150000.00 | 2000.00 | 1000000.00 | 141000.00 | ADARSH INSULATIONS
73.00 | Assistance of skilled manpower to shift/general operation group in operational/ commissioning activities beyond normal hours | 3200.00 | Man-hours |  | 260.00 | 832000.00 | 270.00 | 864000.00 | 238.00 | 761600.00 | 761600.00 | MGR FABRICATORS PRIVATE LIMITED
74.00 | Laying of 3/5/10 pair armoured cable in excavated trench/ GI pipe/ Tray at plant | 300.00 | Running meter |  | 61.00 | 18300.00 | 70.00 | 21000.00 | 100.00 | 30000.00 | 18300.00 | ADARSH INSULATIONS
75.00 | Supply and installation of double compression cable gland for cables | 300.00 | Numbers |  | 383.00 | 114900.00 | 430.00 | 129000.00 | 250.00 | 75000.00 | 75000.00 | MGR FABRICATORS PRIVATE LIMITED
76.00 | De-watering of sumps and safe disposal to nearest storm drain. | 300.00 | Mandays |  | 2377.00 | 713100.00 | 2600.00 | 780000.00 | 4000.00 | 1200000.00 | 713100.00 | ADARSH INSULATIONS
77.00 | Supply and installation of UL certified self-locking cable ties in nylon material in various Sizes upto 250 mm long (packets of 100 no minimum)for use of cable dressing. | 50.00 | Packets |  | 341.00 | 17050.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 17050.00 | ADARSH INSULATIONS
78.00 | Providing Data assistance services for office Work (Beyond Normal hours) | 5760.00 | Hours |  | 215.00 | 1238400.00 | 250.00 | 1440000.00 | 280.00 | 1612800.00 | 1238400.00 | ADARSH INSULATIONS
79.00 | Printing and installation of stickers including supply of Portable sticker/label printing machine for printing (black text on self-adhesive white laminated paper) and printing of tags | 10000.00 | No. |  | 14.00 | 140000.00 | 15.00 | 150000.00 | 20.00 | 200000.00 | 140000.00 | ADARSH INSULATIONS
80.00 | Supply and Installation of ink ribbon refill case suitable for label Printing Machine at item no. 79 | 50.00 | Numbers |  | 1378.00 | 68900.00 | 1600.00 | 80000.00 | 1000.00 | 50000.00 | 50000.00 | MGR FABRICATORS PRIVATE LIMITED
81.00 | Placement of calibration sticker/ tested & ready to use tag/deficiency tag as per defined format. | 15000.00 | Numbers |  | 4.00 | 60000.00 | 3.50 | 52500.00 | 30.00 | 450000.00 | 52500.00 | ULTRA TECH ENGINEERS
82.00 | Replacement of Gasket in Flanges | 2500.00 | Inch-Dia |  | 235.00 | 587500.00 | 310.00 | 775000.00 | 200.00 | 500000.00 | 500000.00 | MGR FABRICATORS PRIVATE LIMITED
83.00 | Supply of Carbon steel Seamless pipe as per ASTM A-106, Gr-B.(15 NB /20 NB /25 NB /40 NB /50NB of Sch. 40) | 4000.00 | Kg |  | 248.00 | 992000.00 | 300.00 | 1200000.00 | 250.00 | 1000000.00 | 992000.00 | ADARSH INSULATIONS
84.00 | Assistance of unskilled manpower to shift/general operation group in operational/ commissioning activities beyond normal hours | 6400.00 | Man Hours |  | 180.00 | 1152000.00 | 180.00 | 1152000.00 | 169.00 | 1081600.00 | 1081600.00 | MGR FABRICATORS PRIVATE LIMITED
85.00 | Soldering of wires in terminals with flux | 2500.00 | Numbers |  | 248.00 | 620000.00 | 240.00 | 600000.00 | 25.00 | 62500.00 | 62500.00 | MGR FABRICATORS PRIVATE LIMITED
86.00 | Installation of different size pipe plug, and pipe cap in SS-316 material | 2000.00 | Numbers |  | 180.00 | 360000.00 | 200.00 | 400000.00 | 150.00 | 300000.00 | 300000.00 | MGR FABRICATORS PRIVATE LIMITED
87.00 | Closing/ plugging of extra holes of panels and JBs by rubber grommets/rubber caps of various sizes. | 250.00 | Kg |  | 806.00 | 201500.00 | 810.00 | 202500.00 | 500.00 | 125000.00 | 125000.00 | MGR FABRICATORS PRIVATE LIMITED
88.00 | Application/ Replacement of Plastic sheet / plastic bags in various colours and sizes as per requirement for Protection of open field instrument/ Covering of panels form dripping water/ Packing of equipment for storage/ Preparation of work station/ Segregation and storage of consumables etc. | 400.00 | Kg |  | 647.00 | 258800.00 | 700.00 | 280000.00 | 300.00 | 120000.00 | 120000.00 | MGR FABRICATORS PRIVATE LIMITED
89.00 | Field verification of pipelines, equipment and instruments as per GA/DD/PIS | 500.00 | Numbers |  | 557.00 | 278500.00 | 650.00 | 325000.00 | 400.00 | 200000.00 | 200000.00 | MGR FABRICATORS PRIVATE LIMITED
90.00 | Paint- tagging/ labelling/ Nomenclature of equipment/ pipelines/ Electrical and control instruments and panels etc. | 2000.00 | Numbers |  | 292.00 | 584000.00 | 350.00 | 700000.00 | 100.00 | 200000.00 | 200000.00 | MGR FABRICATORS PRIVATE LIMITED
91.00 | System open loop water/air flushing | 100.00 | Numbers |  | 657.00 | 65700.00 | 750.00 | 75000.00 | 1000.00 | 100000.00 | 65700.00 | ADARSH INSULATIONS
92.00 | No load test of motors (0 to 30 kW) | 500.00 | Numbers |  | 1228.00 | 614000.00 | 1350.00 | 675000.00 | 1500.00 | 750000.00 | 614000.00 | ADARSH INSULATIONS
93.00 | No load test of motors (More than 30 KW to 100KW) | 200.00 | Numbers |  | 1608.00 | 321600.00 | 1800.00 | 360000.00 | 1700.00 | 340000.00 | 321600.00 | ADARSH INSULATIONS
94.00 | No load test of motors(More than 100 KW) | 100.00 | Numbers |  | 2716.00 | 271600.00 | 3200.00 | 320000.00 | 2500.00 | 250000.00 | 250000.00 | MGR FABRICATORS PRIVATE LIMITED
95.00 | Calibration of relief valves (RVs) | 500.00 | Inch-dia |  | 821.00 | 410500.00 | 1000.00 | 500000.00 | 1000.00 | 500000.00 | 410500.00 | ADARSH INSULATIONS
96.00 | Functional test of valves (AVs, CVs, EVs) | 500.00 | Numbers |  | 569.00 | 284500.00 | 700.00 | 350000.00 | 1000.00 | 500000.00 | 284500.00 | ADARSH INSULATIONS
97.00 | Load test of Pumps/Fans (More than 100 KW) | 300.00 | Numbers |  | 2825.00 | 847500.00 | 3200.00 | 960000.00 | 3500.00 | 1050000.00 | 847500.00 | ADARSH INSULATIONS
98.00 | System/Circuit closed loop flushing | 250.00 | Numbers |  | 2784.00 | 696000.00 | 3000.00 | 750000.00 | 2500.00 | 625000.00 | 625000.00 | MGR FABRICATORS PRIVATE LIMITED
99.00 | Tank calibration (upto 10000 litre Capacity) | 100.00 | Numbers |  | 4983.00 | 498300.00 | 5100.00 | 510000.00 | 3500.00 | 350000.00 | 350000.00 | MGR FABRICATORS PRIVATE LIMITED
100.00 | Air Filter cleaning in ventilation duct. | 200.00 | Numbers |  | 1229.00 | 245800.00 | 1200.00 | 240000.00 | 1500.00 | 300000.00 | 240000.00 | ULTRA TECH ENGINEERS
101.00 | Process fluid Strainer/ filter cleaning OR replacement. | 1000.00 | Inch-dai |  | 498.00 | 498000.00 | 550.00 | 550000.00 | 500.00 | 500000.00 | 498000.00 | ADARSH INSULATIONS
102.00 | Supply and installation of Pipe Repair Kit for reliable, temporary repairs of metal, plastic, and composite pipes in pack size of 2”X6’ pack | 50.00 | Numbers |  | 4201.00 | 210050.00 | 5000.00 | 250000.00 | 5000.00 | 250000.00 | 210050.00 | ADARSH INSULATIONS
103.00 | Replacement /Repair of Ventilation dampers | 100.00 | Numbers |  | 1727.00 | 172700.00 | 2300.00 | 230000.00 | 1000.00 | 100000.00 | 100000.00 | MGR FABRICATORS PRIVATE LIMITED
104.00 | In-situ repair of Ventilation dampers. | 180.00 | Numbers |  | 649.00 | 116820.00 | 850.00 | 153000.00 | 1000.00 | 180000.00 | 116820.00 | ADARSH INSULATIONS
105.00 | Shifting of Gas cylinders | 200.00 | Numbers |  | 251.00 | 50200.00 | 310.00 | 62000.00 | 150.00 | 30000.00 | 30000.00 | MGR FABRICATORS PRIVATE LIMITED
106.00 | Arrangement of compressed air up to 10 kg/cm sq pressure with Portable Air compressors at different elevation for AV/ CV/ Damper operation and air flushing and cleaning with capacity up to 20 Kg/cm2. | 200.00 | Days |  | 759.00 | 151800.00 | 900.00 | 180000.00 | 1000.00 | 200000.00 | 151800.00 | ADARSH INSULATIONS
107.00 | Installation of fire detectors/field modules fixing on GI box (Size: 150x150x50mm) | 25.00 | Numbers |  | 233.00 | 5825.00 | 260.00 | 6500.00 | 500.00 | 12500.00 | 5825.00 | ADARSH INSULATIONS
108.00 | Load test of Pumps/Fans (Upto 30 KW motor rating) | 200.00 | Numbers |  | 1783.00 | 356600.00 | 2250.00 | 450000.00 | 1000.00 | 200000.00 | 200000.00 | MGR FABRICATORS PRIVATE LIMITED
109.00 | Load test of Pumps/Fans (More than 30 KW up to 100 kW motor rating) | 100.00 | Numbers |  | 2133.00 | 213300.00 | 2700.00 | 270000.00 | 1500.00 | 150000.00 | 150000.00 | MGR FABRICATORS PRIVATE LIMITED
110.00 | Support verification of pipe and tube supports in the process pipings as per checklist | 100.00 | Mandays |  | 2490.00 | 249000.00 | 2600.00 | 260000.00 | 2000.00 | 200000.00 | 200000.00 | MGR FABRICATORS PRIVATE LIMITED
111.00 | Laying of Unarmoured control cables,Size:1 pair | 1500.00 | Running Metre |  | 70.00 | 105000.00 | 78.00 | 117000.00 | 75.00 | 112500.00 | 105000.00 | ADARSH INSULATIONS
112.00 | Laying of Unarmoured control cables,5pair/7core | 800.00 | Running Metre |  | 100.00 | 80000.00 | 110.00 | 88000.00 | 100.00 | 80000.00 | 80000.00 | ADARSH INSULATIONS, MGR FABRICATORS PRIVATE LIMITED
113.00 | Laying of control cable, unarmoured, size: 10pair/20core | 500.00 | Running Metre |  | 127.00 | 63500.00 | 150.00 | 75000.00 | 125.00 | 62500.00 | 62500.00 | MGR FABRICATORS PRIVATE LIMITED
114.00 | Termination of wires-screwed termination /screw less cage clamp connection without lugs | 5000.00 | Numbers |  | 35.00 | 175000.00 | 48.00 | 240000.00 | 50.00 | 250000.00 | 175000.00 | ADARSH INSULATIONS
115.00 | Termination of wires- screwed termination with compatible copper lugs | 2500.00 | Numbers |  | 71.00 | 177500.00 | 80.00 | 200000.00 | 50.00 | 125000.00 | 125000.00 | MGR FABRICATORS PRIVATE LIMITED
116.00 | Shifting of material | 70000.00 | Kg |  | 14.00 | 980000.00 | 17.00 | 1190000.00 | 20.00 | 1400000.00 | 980000.00 | ADARSH INSULATIONS
117.00 | Installation (or removal) of blank | 3000.00 | Inch-dia |  | 193.00 | 579000.00 | 240.00 | 720000.00 | 200.00 | 600000.00 | 579000.00 | ADARSH INSULATIONS
118.00 | Laying of hose pipe | 1500.00 | Running Metre |  | 23.00 | 34500.00 | 28.00 | 42000.00 | 45.00 | 67500.00 | 34500.00 | ADARSH INSULATIONS
119.00 | Services of Autocad Operator for preparation/ conversion of documents into Autocad or required format. | 600.00 | Mandys |  | 1500.00 | 900000.00 | 1700.00 | 1020000.00 | 1600.00 | 960000.00 | 900000.00 | ADARSH INSULATIONS
120.00 | Welding of SS to SS material for SW/FW | 800.00 | Inch-dia |  | 1200.00 | 960000.00 | 1100.00 | 880000.00 | 1100.00 | 880000.00 | 880000.00 | ULTRA TECH ENGINEERS, MGR FABRICATORS PRIVATE LIMITED
121.00 | Welding of CS to CS material for SW/FW | 800.00 | Inch-dia |  | 985.00 | 788000.00 | 1000.00 | 800000.00 | 1000.00 | 800000.00 | 788000.00 | ADARSH INSULATIONS
122.00 | Welding of CS to CS material for BW/NW (including Piping Component of Sch. equal to or less than 80) | 500.00 | Inch-dia |  | 1325.00 | 662500.00 | 1450.00 | 725000.00 | 1300.00 | 650000.00 | 650000.00 | MGR FABRICATORS PRIVATE LIMITED
123.00 | Welding of CS to SS material for SW/FW | 50.00 | Inch-dia |  | 1466.00 | 73300.00 | 1400.00 | 70000.00 | 1100.00 | 55000.00 | 55000.00 | MGR FABRICATORS PRIVATE LIMITED
124.00 | Welding of CS to SS material for BW/NW (including Piping Component of Sch. equal to or less than 80) | 20.00 | Inch-dia |  | 1875.00 | 37500.00 | 2100.00 | 42000.00 | 2000.00 | 40000.00 | 37500.00 | ADARSH INSULATIONS
| Total in Figures |  |  |  |  | 51111111.00 |  | 57574650.00 |  | 56276940.00
Lowest Amount Quoted BY: ADARSH INSULATIONS(51111111.00)

## BOQ Summary
BOQ Summary Details Tender Title: Item Rate Contract for commissioning activities for RAPP U#8 Control/ Electrical/ Mechanical components, equipment and systems and associated miscellaneous and support activities. Tender ID: 2024_NPCIL_204445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ADARSH INSULATIONS (BID ID -747380) | 51111111.00 | L1
| 2 | MGR FABRICATORS PRIVATE LIMITED (BID ID -748626) | 56276940.00 | L2
| 3 | ULTRA TECH ENGINEERS (BID ID -748610) | 57574650.00 | L3