## BoQ1
Government eProcurement System Created By: Shivkumar Sonkere Created Date/Time: 26-Oct-2024 10:58 AM Tender Title: Providing construction power supply to various contractors facility at Kaiga 5 and 6 site, Kaiga Tender ID: 2024_NPCIL_204624_1
Tender Inviting Authority: Additional Chief Engineer.
Name of Work: Providing construction power supply to various contracts facility at Kaiga 5&6 site, Kaiga.
Contract No: NPCIL/CTC- C&MM (Works Group)/ KAIGA-5&6/Elect /CPPP/2024/043
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shivakumar co (GSTN-29ACTFS1346Q1Z3) BID ID -743753 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -742544 |  | DSOUZA ELECTRICALS (GSTN-NA) BID ID -740317
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavation of cable trench in any type of soil including literate strata of size 400mm (width) X 600mm (depth)X length in Mtrs. with supply and spreading river sand below and above the cable to a thickness of 100 mm. Supply and providing well burnt bricks for covering the cable on both sides & top after cable laying throughout the cable length. In case the depth of the excavated trench is less than 600 mm due to rock, in such portion of length, semicircular cement pipe/C- channel etc shall be kept & concreted by providing required materials as per site requirement. Excavated trench shall be back filled using the available soil. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 8000.00 | Mtr. | 614.00 | 514.00 | 4112000.00 | 609.00 | 4872000.00 | 477.00 | 3816000.00 | 3816000.00 | DSOUZA ELECTRICALS
2.00 | Laying of following over all diameter sizes power cables/control cables/ telephone cables/OFC cables in the already excavated trench (cable will be issued from NPCIL as free issue item & contractor has to arrange for transportation from NPCIL store to Site). All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
2.01 | Up to 40 mm over all diameter | 3500.00 | Mtr. | 179.00 | 160.00 | 560000.00 | 149.00 | 521500.00 | 144.00 | 504000.00 | 504000.00 | DSOUZA ELECTRICALS
2.02 | 41 mm to 100 mm over all diameter | 4500.00 | Mtr. | 232.00 | 212.00 | 954000.00 | 189.00 | 850500.00 | 188.00 | 846000.00 | 846000.00 | DSOUZA ELECTRICALS
3.00 | Glanding, Termination, connection & testing of armoured / unarmoured cables of following sizes. (The required glands only will be issued by NPCIL as free issue item & contractor has to arrange for transportation from NPCIL store to work site). The glanding shall be done as per requirement. All materials including suitable size lugs, insulation tape, crimping paste etc., is in the scope of contract. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition.
3.01 | Up to 40 mm over all diameter | 60.00 | Nos. | 854.00 | 800.00 | 48000.00 | 729.00 | 43740.00 | 811.00 | 48660.00 | 43740.00 | JAGGI ELECTRICALS
3.02 | 41 mm to 100 mm over all diameter | 40.00 | Nos. | 1630.00 | 1630.00 | 65200.00 | 1429.00 | 57160.00 | 1499.00 | 59960.00 | 57160.00 | JAGGI ELECTRICALS
4.00 | Supply and installation of cable route indicators with verticle support length 1000 mm along the HT/ LT Cable route, using cement and sand by concreting with 1:2:4 ratio by excavating a pit of size 300 X 300 X 300 mm. All as per Technical specification & as directed by the Engineer-In-Charge.
4.01 | Supply | 500.00 | Nos. | 591.00 | 591.00 | 295500.00 | 469.00 | 234500.00 | 531.00 | 265500.00 | 234500.00 | JAGGI ELECTRICALS
4.02 | Installation | 500.00 | Nos. | 294.00 | 294.00 | 147000.00 | 299.00 | 149500.00 | 273.00 | 136500.00 | 136500.00 | DSOUZA ELECTRICALS
5.00 | Supply and Jointing/ installation of following size 11 kV (E) grade, armoured/ unarmoured, aluminium conductor, XLPE insulated HT cables heat shrinkable Straight through Joint kit/ indoor/ outdoor end termination kit with all accessories.
5.01 | Supply of heat shrinkable Straight through Joint kit with all accessories for 1 core 800 sq.mm 11 kV (E) grade, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories as per technical specifications. | 20.00 | Sets | 13196.00 | 12800.00 | 256000.00 | 13999.00 | 279980.00 | 1237.00 | 24740.00 | 24740.00 | DSOUZA ELECTRICALS
5.02 | Jointing of 1 core 800 sq.mm Straight through Joint kit with all accessories supplied against item nos. 5.1 at location shown by the Engineer in charge. All as per technical specifications. | 20.00 | Sets | 4785.00 | 4785.00 | 95700.00 | 4599.00 | 91980.00 | 4354.00 | 87080.00 | 87080.00 | DSOUZA ELECTRICALS
5.03 | Supply of heat shrinkable Straight through Joint kit with all accessories for 3 core 400 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories. All as per Technical specification & as directed by the Engineer-In-Charge. | 20.00 | Sets | 42181.00 | 40000.00 | 800000.00 | 35999.00 | 719980.00 | 37962.00 | 759240.00 | 719980.00 | JAGGI ELECTRICALS
5.04 | Supply of heat shrinkable Straight through Joint kit with all accessories for 3 core 240 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories. All as per Technical specification & as directed by the Engineer-In-Charge. | 10.00 | Sets | 40146.00 | 38000.00 | 380000.00 | 33999.00 | 339990.00 | 38138.00 | 381380.00 | 339990.00 | JAGGI ELECTRICALS
5.05 | Jointing of 3 core 400/240 sq.mm Straight through Joint kit with all accessories supplied against item nos. 5.3 & 5.4 at location shown by the Engineer in charge. All as per Technical specification & as directed by the Engineer-In-Charge. | 30.00 | Sets | 8870.00 | 8870.00 | 266100.00 | 6999.00 | 209970.00 | 8160.00 | 244800.00 | 209970.00 | JAGGI ELECTRICALS
5.06 | Supply of indoor end termination kits for 3 core 400 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories as per technical specifications. | 6.00 | Sets | 5015.00 | 5015.00 | 30090.00 | 5999.00 | 35994.00 | 4714.00 | 28284.00 | 28284.00 | DSOUZA ELECTRICALS
5.07 | Supply of outdoor end termination kits for 3 core 400 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories as per technical specifications. | 6.00 | Sets | 6598.00 | 6598.00 | 39588.00 | 6999.00 | 41994.00 | 5938.00 | 35628.00 | 35628.00 | DSOUZA ELECTRICALS
5.08 | Supply of indoor end termination kits for 3 core 240 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories as per technical specifications. | 6.00 | Sets | 4751.00 | 4751.00 | 28506.00 | 5699.00 | 34194.00 | 4323.00 | 25938.00 | 25938.00 | DSOUZA ELECTRICALS
5.09 | Supply of outdoor end termination kits for 3 core 240 sq.mm 11 kV (E) grade, armoured, aluminium conductor, XLPE insulated cables, including lugs & other required standard accessories as per technical specifications. | 6.00 | Sets | 6334.00 | 6334.00 | 38004.00 | 6999.00 | 41994.00 | 5763.00 | 34578.00 | 34578.00 | DSOUZA ELECTRICALS
5.10 | Installation & Connection of 3 core 400 sq mm / 3 core 240 sq.mm Indoor/Outdoor end termination kit supplied against item no. 5.6, 5.7, 5.8 & 5.9 | 24.00 | Sets | 3281.00 | 3281.00 | 78744.00 | 2999.00 | 71976.00 | 2952.00 | 70848.00 | 70848.00 | DSOUZA ELECTRICALS
6.00 | Supply,Installation, Connection & termination of 1 core 1000 sqmm 1.1 KV (E) grade, aluminium conductor, XLPE insulated cables
6.01 | Supply of indoor/outdoor end termination kits for 1 core 1000 sqmm 1.1 KV (E) grade, aluminium conductor, XLPE insulated cables,, including lugs & other required standard accessories as per technical specifications. | 30.00 | Each | 5278.00 | 5278.00 | 158340.00 | 5699.00 | 170970.00 | 5014.00 | 150420.00 | 150420.00 | DSOUZA ELECTRICALS
6.02 | Installation & Connection of 1 core 1000 sq mm Indoor/Outdoor end termination kit supplied against item no. 6.1 | 30.00 | Each | 2324.00 | 2324.00 | 69720.00 | 2299.00 | 68970.00 | 2184.00 | 65520.00 | 65520.00 | DSOUZA ELECTRICALS
7.00 | Supply & Jointing of following size heat shrinkable out door type straight through joint termination kit for various sizes of cables as given below, for aluminium conductor XLPE/PVC insulated 1100V grade armoured cable. The scope of work also includes joint preparation, connection, termination, testing , commissioning of joint. All as per Technical specification & as directed by the Engineer-In-Charge.
7.01 | Supply of LT(1100V) heat shrinkable Straight through Joint kit with all accessories for cables sizes from 4 C/3.5 C X 25 Sq.mm to 50 Sq.mm Aluminium conductor power cable, armoured, XLPE insulated cables, including tube terminals & other required standard accessories. All as per Technical specification & as directed by the Engineer-In-Charge. | 30.00 | Nos | 5552.00 | 5552.00 | 166560.00 | 4599.00 | 137970.00 | 5163.00 | 154890.00 | 137970.00 | JAGGI ELECTRICALS
7.02 | Supply of LT(1100V) heat shrinkable Straight through Joint kit with all accessories for cables sizes from 3.5C X 70 to 150 Sq.mm Aluminium conductor power cable, armoured, XLPE insulated cables, including tube terminals & other required standard accessories. All as per Technical specification & as directed by the Engineer-In-Charge. | 10.00 | Nos | 9118.00 | 9118.00 | 91180.00 | 6999.00 | 69990.00 | 8297.00 | 82970.00 | 69990.00 | JAGGI ELECTRICALS
7.03 | Supply of LT(1100V) heat shrinkable Straight through Joint kit with all accessories for cables sizes from 3.5C X 240 Sq.mm Aluminium conductor power cable, armoured, XLPE insulated cables, including tube terminals & other required standard accessories. | 10.00 | Nos | 11391.00 | 11391.00 | 113910.00 | 8999.00 | 89990.00 | 10251.00 | 102510.00 | 89990.00 | JAGGI ELECTRICALS
7.04 | Supply of LT(1100V) heat shrinkable Straight through Joint kit with all accessories for cables sizes 3.5C X 400 Sq.mm Aluminium conductor power cable, armoured, XLPE insulated cables, including tube terminals & other required standard accessories. All as per Technical specification & as directed by the Engineer-In-Charge | 10.00 | Nos | 18380.00 | 18380.00 | 183800.00 | 12999.00 | 129990.00 | 16909.00 | 169090.00 | 129990.00 | JAGGI ELECTRICALS
7.05 | Jointing of 4 C/3.5 C X 25 Sq.mm to 50 Sq.mm Straight through Joint kit with all accessories supplied against item nos. 7.1 at location shown by the Engineer in charge. All as per technical specifications. | 30.00 | Nos | 2875.00 | 2875.00 | 86250.00 | 1999.00 | 59970.00 | 2731.00 | 81930.00 | 59970.00 | JAGGI ELECTRICALS
7.06 | Jointing of 3.5 C X 70 to 150 Sq.mm Straight through Joint kit with all accessories supplied against item nos. 7.2 at location shown by the Engineer in charge. All as per technical specifications. | 10.00 | Nos | 3962.00 | 3962.00 | 39620.00 | 2299.00 | 22990.00 | 3724.00 | 37240.00 | 22990.00 | JAGGI ELECTRICALS
7.07 | Jointing of 3.5 core 400/240 sq.mm Straight through Joint kit with all accessories supplied against item nos. 7.3 & 7.4 at location shown by the Engineer in charge. All as per technical specifications. | 20.00 | Nos | 6544.00 | 6544.00 | 130880.00 | 4999.00 | 99980.00 | 5955.00 | 119100.00 | 99980.00 | JAGGI ELECTRICALS
8.00 | Fault finding on Power/Control cable shall be carried out using suitable means of cable testing and fault locating equipment. The scope of work includes, arranging Testing kit, associated accessories, tracing the fault & necessary excavation will be carried out & will be paid separately in relevant item for identifying the exact location of fault at site. The fault shall pin pointed on showing the location of cable fault. The bidder has to ensure and identify multiple faults if any on the cable. Arranging fault locating kit, transportation from their works to Kaiga site & back is in the scope of bidder. All as per Technical specification & as directed by the Engineer-In-Charge. | 8.00 | Per Fault | 50056.00 | 48600.00 | 388800.00 | 45999.00 | 367992.00 | 45550.00 | 364400.00 | 364400.00 | DSOUZA ELECTRICALS
9.00 | Providing of HT/LT Rubber Hand Gloves for Electrical Purposes
9.01 | Providing of HT Rubber Hand Gloves for Electrical Purposes as per IS 4770. Type of Gloves-4 (Guuntlet type) For use at Voltge not exceeding 17000V, AC rms. All as per Technical specification & as directed by the Engineer-In-Charge. | 10.00 | Pair | 2348.00 | 2348.00 | 23480.00 | 1999.00 | 19990.00 | 2183.00 | 21830.00 | 19990.00 | JAGGI ELECTRICALS
9.02 | Providing of LT Rubber Hand Gloves for Electrical Purposes as per IS 4770. Type of Gloves-2 (Guuntlet type) For use at Voltge not exceeding 1100V, AC rms. All as per Technical specification & as directed by the Engineer-In-Charge. | 10.00 | Pair | 1006.00 | 1006.00 | 10060.00 | 999.00 | 9990.00 | 925.00 | 9250.00 | 9250.00 | DSOUZA ELECTRICALS
10.00 | Supply, installation, testing & commissioning of 6.6 kV indoor type VCB panel board consisting of 1 No. of VCB 7.2 kV 630 A, 40kA, complete with all the indication and protective devices, cable boxes, all hardwares as described in the Technical Specifications. Supply & installation of all the required items to complete the job in all respect is in the scope of contract. All as per technical specification.
10.01 | Supply | 2.00 | Set | 989188.00 | 950000.00 | 1900000.00 | 969999.00 | 1939998.00 | 950000.00 | 1900000.00 | 1900000.00 | DSOUZA ELECTRICALS, shivakumar co
10.02 | Installation | 2.00 | Set | 12368.00 | 12368.00 | 24736.00 | 10999.00 | 21998.00 | 11749.00 | 23498.00 | 21998.00 | JAGGI ELECTRICALS
11.00 | Supply of following Spares for L&T make ACB of, Omega model, 433 V, 2500 A (Serial No.- JT778598U) & 433 V, 1000 A (Serial No.- JT778558U) ACB
11.01 | Supply of Cradle Terminal Assembly for 1000A ACB | 15.00 | Nos | 7099.00 | 7099.00 | 106485.00 | 6999.00 | 104985.00 | 6602.00 | 99030.00 | 99030.00 | DSOUZA ELECTRICALS
11.02 | Supply of Cradle Terminal Support for 1000A ACB | 15.00 | Nos | 1937.00 | 1937.00 | 29055.00 | 1889.00 | 28335.00 | 1820.00 | 27300.00 | 27300.00 | DSOUZA ELECTRICALS
11.03 | Supply of Jaw Contacts 1000 / 2500A. | 15.00 | Nos | 16156.00 | 16156.00 | 242340.00 | 15999.00 | 239985.00 | 14701.00 | 220515.00 | 220515.00 | DSOUZA ELECTRICALS
11.04 | Supply of Protection Relay. Model: MTX 3.5EC. | 3.00 | Nos | 164110.00 | 148000.00 | 444000.00 | 159999.00 | 479997.00 | 160981.00 | 482943.00 | 444000.00 | shivakumar co
11.05 | Supply of Breaker Terminal for 1000A ACB | 15.00 | Nos | 9587.00 | 9587.00 | 143805.00 | 9499.00 | 142485.00 | 9107.00 | 136605.00 | 136605.00 | DSOUZA ELECTRICALS
11.06 | Supply of Breaker Terminal for 2500A ACB | 8.00 | Nos | 11416.00 | 11000.00 | 88000.00 | 10999.00 | 87992.00 | 10274.00 | 82192.00 | 82192.00 | DSOUZA ELECTRICALS
11.07 | Supply of Cradle Terminal Assembly for 2500A ACB. | 8.00 | Nos | 9977.00 | 9977.00 | 79816.00 | 9999.00 | 79992.00 | 9378.00 | 75024.00 | 75024.00 | DSOUZA ELECTRICALS
11.08 | Supply of Cradle Terminal Support for 2500A ACB. | 8.00 | Nos | 1915.00 | 1915.00 | 15320.00 | 1949.00 | 15592.00 | 1742.00 | 13936.00 | 13936.00 | DSOUZA ELECTRICALS
11.09 | Supply of Frame - 1 Matrix CT. 1000A | 8.00 | Nos | 10074.00 | 10074.00 | 80592.00 | 9999.00 | 79992.00 | 9570.00 | 76560.00 | 76560.00 | DSOUZA ELECTRICALS
11.10 | Supply of Frame - 2 Matrix CT. 2500A | 8.00 | Nos | 12087.00 | 12087.00 | 96696.00 | 11599.00 | 92792.00 | 11240.00 | 89920.00 | 89920.00 | DSOUZA ELECTRICALS
11.11 | Supply of Shutter Assy. Fr. 1/2. | 16.00 | Nos | 3246.00 | 3246.00 | 51936.00 | 3099.00 | 49584.00 | 2921.00 | 46736.00 | 46736.00 | DSOUZA ELECTRICALS
11.12 | Supply of Electrical Charging Device. Make: L&T | 5.00 | Nos | 40730.00 | 40000.00 | 200000.00 | 39999.00 | 199995.00 | 37878.00 | 189390.00 | 189390.00 | DSOUZA ELECTRICALS
11.13 | Supply of Closing Release. Make: L&T | 5.00 | Nos | 5811.00 | 5811.00 | 29055.00 | 5799.00 | 28995.00 | 5520.00 | 27600.00 | 27600.00 | DSOUZA ELECTRICALS
11.14 | Supply of Shunt Release. Make: L&T | 5.00 | Nos | 5400.00 | 5400.00 | 27000.00 | 5499.00 | 27495.00 | 5022.00 | 25110.00 | 25110.00 | DSOUZA ELECTRICALS
12.00 | Supply of following Spares for VCB of Megawin make 6.6 kV, 1250 A (Serial No./ID- 210302-14561) & 6.6 kV, 630 A (Serial No./ID- 210303-14561) VCB
12.01 | Supply of Gear Box - VCB (Item Code-0802BGRB00BXX) | 1.00 | Nos | 27745.00 | 27745.00 | 27745.00 | 27999.00 | 27999.00 | 26080.00 | 26080.00 | 26080.00 | DSOUZA ELECTRICALS
12.02 | Supply of Universal Motor 110V AC/DC - AGNI (Item Code-0802BMTR05BXX) | 2.00 | Nos | 10524.00 | 10524.00 | 21048.00 | 10529.00 | 21058.00 | 9997.00 | 19994.00 | 19994.00 | DSOUZA ELECTRICALS
12.03 | Supply of Auxiliary Switch 6NO+6NC MANI (Item Code-2102ASR111XXXX01) | 1.00 | Nos | 4975.00 | 4975.00 | 4975.00 | 4899.00 | 4899.00 | 4577.00 | 4577.00 | 4577.00 | DSOUZA ELECTRICALS
12.04 | Supply of Closing Coil 110V DC (Item Code-0802BCOL05C01) | 10.00 | Nos | 5740.00 | 5740.00 | 57400.00 | 5599.00 | 55990.00 | 4266.00 | 42660.00 | 42660.00 | DSOUZA ELECTRICALS
12.05 | Supply of Tripping Coil 110V DC (Item Code-0802CACTXXXX04) | 10.00 | Nos | 5740.00 | 5740.00 | 57400.00 | 5599.00 | 55990.00 | 5223.00 | 52230.00 | 52230.00 | DSOUZA ELECTRICALS
12.06 | Supply of Limit Switch (Item Code-0802BSLH02B1X) | 10.00 | Nos | 574.00 | 574.00 | 5740.00 | 599.00 | 5990.00 | 533.00 | 5330.00 | 5330.00 | DSOUZA ELECTRICALS
12.07 | Supply of Small Bearing(Item Code-0802BRGSVXX01) | 5.00 | Nos | 1818.00 | 1818.00 | 9090.00 | 1799.00 | 8995.00 | 1672.00 | 8360.00 | 8360.00 | DSOUZA ELECTRICALS
12.08 | Supply of Finger Contact CU 20X10X133MM VCB Full set (Item Code-0802FRCTX2010) | 6.00 | Nos | 80365.00 | 82500.00 | 495000.00 | 79999.00 | 479994.00 | 76346.00 | 458076.00 | 458076.00 | DSOUZA ELECTRICALS
12.09 | Supply of ROD FRP 11KV VCB Insulating (40KA) (Item Code-0802BIRD01BXX) | 2.00 | Nos | 2870.00 | 2870.00 | 5740.00 | 2799.00 | 5598.00 | 2697.00 | 5394.00 | 5394.00 | DSOUZA ELECTRICALS
12.10 | Supply of Vacuum Interrupter G4 12KV 1250A 40 KA | 6.00 | Nos | 57403.00 | 57403.00 | 344418.00 | 55999.00 | 335994.00 | 52236.00 | 313416.00 | 313416.00 | DSOUZA ELECTRICALS
12.11 | Supply of VCB Tripping Assembly (Item Code-2602VBTGAYXX) | 1.00 | Nos | 8611.00 | 8611.00 | 8611.00 | 8999.00 | 8999.00 | 7922.00 | 7922.00 | 7922.00 | DSOUZA ELECTRICALS
12.12 | Supply of Gear Box Assembly -Closing Assembly (Item Code-0805GBASYXX01) | 2.00 | Nos | 35399.00 | 35399.00 | 70798.00 | 35399.00 | 70798.00 | 31859.00 | 63718.00 | 63718.00 | DSOUZA ELECTRICALS
12.13 | Supply of Indicating Lamp 110V AC (RED) (Item Code-2102CIL22110AR01) | 20.00 | Nos | 1052.00 | 1052.00 | 21040.00 | 1099.00 | 21980.00 | 978.00 | 19560.00 | 19560.00 | DSOUZA ELECTRICALS
12.14 | Supply of Indicating Lamp 110V AC (YELLOW) (Item Code-2102CIL22110AY01) | 20.00 | Nos | 1052.00 | 1052.00 | 21040.00 | 1059.00 | 21180.00 | 999.00 | 19980.00 | 19980.00 | DSOUZA ELECTRICALS
12.15 | Supply of Indicating Lamp 110V AC (BLUE) (Item Code-2102CIL22110AB01) | 20.00 | Nos | 1244.00 | 1244.00 | 24880.00 | 1199.00 | 23980.00 | 1132.00 | 22640.00 | 22640.00 | DSOUZA ELECTRICALS
12.16 | Supply of Indicating Lamp 110V DC (RED) (Item Code-2102CIL22110DR01) | 25.00 | Nos | 1052.00 | 1052.00 | 26300.00 | 999.00 | 24975.00 | 988.00 | 24700.00 | 24700.00 | DSOUZA ELECTRICALS
12.17 | Supply of Indicating Lamp 110V DC (GREEN) (Item Code-2102CIL22110DG01) | 25.00 | Nos | 1052.00 | 1054.00 | 26350.00 | 1029.00 | 25725.00 | 967.00 | 24175.00 | 24175.00 | DSOUZA ELECTRICALS
12.18 | Supply of Indicating Lamp 110V DC (BLUE) (Item Code-2102CIL22110DB01) | 25.00 | Nos | 1244.00 | 1052.00 | 26300.00 | 1229.00 | 30725.00 | 1119.00 | 27975.00 | 26300.00 | shivakumar co
12.19 | Supply of Indicating Lamp 110V DC (AMBER) (Item Code-2102CIL22110DA01) | 25.00 | Nos | 1052.00 | 1052.00 | 26300.00 | 999.00 | 24975.00 | 957.00 | 23925.00 | 23925.00 | DSOUZA ELECTRICALS
12.20 | Supply of Indicating Lamp 110V DC (WHITE) (Item Code-2102CIL22110DW01) | 25.00 | Nos | 1052.00 | 3333.00 | 83325.00 | 1029.00 | 25725.00 | 999.00 | 24975.00 | 24975.00 | DSOUZA ELECTRICALS
12.21 | Supply of Rotary Switch SBC 32P 244R/124RLM/SL BCS (Item Code-2102TRMBKCSTCE212) | 3.00 | Nos | 3444.00 | 2296.00 | 6888.00 | 3399.00 | 10197.00 | 3237.00 | 9711.00 | 6888.00 | shivakumar co
12.22 | Supply of L/R Selector Switch 223A/TB3/GB Without Key (Item Code-2102LSS25AWOKX02) | 5.00 | Nos | 2296.00 | 1244.00 | 6220.00 | 2299.00 | 11495.00 | 2112.00 | 10560.00 | 6220.00 | shivakumar co
12.23 | Supply of Heater 230V AC / 80W. MAKE: RK (Item Code-2102SHT230V80W02) | 2.00 | Nos | 1244.00 | 957.00 | 1914.00 | 1199.00 | 2398.00 | 1156.00 | 2312.00 | 1914.00 | shivakumar co
12.24 | Supply of Thermostat -GRISHEGO (Item Code-2102TST230V5A001) | 2.00 | Nos | 957.00 | 1521.00 | 3042.00 | 999.00 | 1998.00 | 909.00 | 1818.00 | 1818.00 | DSOUZA ELECTRICALS
12.25 | Supply of VT Fuse 6.6KV 2A MVTF6 (Item Code-1403VTF0602AXX01) | 10.00 | Nos | 1521.00 | 13394.00 | 133940.00 | 1499.00 | 14990.00 | 1384.00 | 13840.00 | 13840.00 | DSOUZA ELECTRICALS
12.26 | Supply of Resin Cast Spout 63.5X12.7X255MM CU (Item Code-1105RCS631201) | 2.00 | Nos | 13394.00 | 21048.00 | 42096.00 | 12999.00 | 25998.00 | 12054.00 | 24108.00 | 24108.00 | DSOUZA ELECTRICALS
12.27 | Supply of Sensor CT SPOUT 11KV 650MM 1250A (Item Code-1103CT11SNCTS650) | 2.00 | Nos | 21048.00 | 6697.00 | 13394.00 | 20999.01 | 41998.02 | 19995.00 | 39990.00 | 13394.00 | shivakumar co
12.28 | Supply of Shutter-Moving Barrier 770X135X3MM (FRP) 2 Nos Per Set (Item Code-0802SRMBR0301) | 2.00 | Nos | 6697.00 | 459.00 | 918.00 | 6699.99 | 13399.98 | 6295.00 | 12590.00 | 918.00 | shivakumar co
13.00 | Excavation of cable trench in any type of soil including literate strata of size maximum 500mm (width) X 900mm (depth) till the tracing the faulty cable. After removing the faulty cable, excavated trench shall be back filled back using the available soil & ramming to normal surface. All other details are as per Technical specifications and as directed by Engineer in charge on the basis of site condition. | 500.00 | CuM | 459.00 | 467.00 | 233500.00 | 459.00 | 229500.00 | 370.00 | 185000.00 | 185000.00 | DSOUZA ELECTRICALS
14.00 | Supply & providing of well burnt bricks of size approximate 9" X 4 1/2" X 3" with supply & spreding of river sand for covering the cable on both sides & top after cable laying throughot the cable length. | 1000.00 | RM | 467.00 | 472.00 | 472000.00 | 479.00 | 479000.00 | 422.00 | 422000.00 | 422000.00 | DSOUZA ELECTRICALS
15.00 | Providing and applying Background paint using First Quality Synthetic Enamel paint, black paints of approved shade/ colour and writing Identification Letters and Numbers etc. using First quality Synthetic Enamel paint including preparation of surfaces properly/ neatly by using sand paper, wire brush, soft brush/ by other suitable approved means for removal of oil, grease, dead/waste mortar or concrete debris, dust, existing old paint (in places wherever it is not in good condition) and other unwanted matters/things/materials etc. Steel/PCC/RCC/Masonry/Plastered surfaces shall be cleaned & washed with clean water. Surfaces shall be fully neat, clean, dry before applying background paint and also before writing Identification Letters and Numbers etc. Providing, fixing for carriage of construction /work material up to work place is in the scope of Contractor. Paint shall be conforming to the relevant BIS specification of the latest edition, cleaning, washing the work areas with clean water as and when directed and disposing the waste etc. complete all as per specification & as per directed by Engineer-In-Charge at all locations.
15.01 | Letters up to 50 mm size | 5000.00 | Each | 4.00 | 4.00 | 20000.00 | 3.59 | 17950.00 | 4.00 | 20000.00 | 17950.00 | JAGGI ELECTRICALS
15.02 | Letters from 50 mm to 100 mm size | 1000.00 | Each | 7.00 | 4.00 | 4000.00 | 5.99 | 5990.00 | 7.00 | 7000.00 | 4000.00 | shivakumar co
16.00 | Carrying out cutting and cleaning of grown wild vegetation, bushes, grass, small plants less than 100mm girth and all other unwanted wild growth/ creepers, etc. The bushes/ small plants shall be cut manually/ mechanically wherever possible. The cost is inclusive of all manpower tools & tackles required to carry out the job. Hire charges of weed cuting machine and manpower required to carry out such work, disposal of cut bushes out side the premises etc., complete all as per specification & as per directed by Engineer-In-Charge at all locations. | 15000.00 | SqM | 2.00 | 2.00 | 30000.00 | 2.39 | 35850.00 | 2.00 | 30000.00 | 30000.00 | DSOUZA ELECTRICALS, shivakumar co
| Total in Figures |  |  |  |  | 15547280.00 |  | 15638289.00 |  | 14219261.00
Lowest Amount Quoted BY: DSOUZA ELECTRICALS(14219261.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing construction power supply to various contractors facility at Kaiga 5 and 6 site, Kaiga Tender ID: 2024_NPCIL_204624_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DSOUZA ELECTRICALS (BID ID -740317) | 14219261.00 | L1
| 2 | shivakumar co (BID ID -743753) | 15547280.00 | L2
| 3 | JAGGI ELECTRICALS (BID ID -742544) | 15638289.00 | L3