## BoQ1
Government eProcurement System Created By: HASTI MAL NAHAR Created Date/Time: 25-Oct-2024 03:18 PM Tender Title: Overhauling of 3 phase, 415 Volt Alternating Current induction motors Tender ID: 2024_NPCIL_205849_1
Tender Inviting Authority:
Name of Work: Overhauling of 3 phase, 415 Volt Alternating Current induction motors During BSD and PSD for two-year 2024 & 2025.
Contract No: NPC/RRS/12/2024/PT-A2695R
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vijayvargia Electricals (GSTN-NA) BID ID -744041
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Disconnection,removal, shifting, dismantling, overhauling, mounting back, connection and no load/load test run of duct mounted ventilation motors located inside the reactor building / radioactive area at different floors.
1.10 | Up to 2.5 KW /3HP | 22.00 | Nos |  | 8650.00 | 190300.00 | 190300.00 | Vijayvargia Electricals
1.20 | More than 2.5 KW /3 HP and up to 5.5 KW/7.5 HP | 6.00 | Nos |  | 14000.00 | 84000.00 | 84000.00 | Vijayvargia Electricals
2.00 | Disconnection, removal, shifting, dismantling, overhauling, mounting back, connections and no load/load test run of motors located inside the reactor building / radioactive area at different floors
2.10 | Up to 2.5 KW /3HP | 34.00 | Nos |  | 6500.00 | 221000.00 | 221000.00 | Vijayvargia Electricals
2.20 | More than 2.5 KW /3 HP and up to 5.5 KW/7.5 HP | 34.00 | Nos |  | 6500.00 | 221000.00 | 221000.00 | Vijayvargia Electricals
2.30 | More than 5.5 KW /7.5 HP and up to 7.5 KW/10 HP | 2.00 | Nos |  | 8200.00 | 16400.00 | 16400.00 | Vijayvargia Electricals
2.40 | More than 7.5 KW /10 HP and up to 11 KW/15 HP | 8.00 | Nos |  | 9200.00 | 73600.00 | 73600.00 | Vijayvargia Electricals
2.50 | More than 11 KW /15 HP and up to 15 KW/20 HP | 5.00 | Nos |  | 9700.00 | 48500.00 | 48500.00 | Vijayvargia Electricals
2.60 | More than 15 KW /20 HP and up to 22 KW/30 HP | 5.00 | Nos |  | 12000.00 | 60000.00 | 60000.00 | Vijayvargia Electricals
2.70 | More than 22 KW /30 HP and up to 30 KW/40 HP | 4.00 | Nos |  | 15000.00 | 60000.00 | 60000.00 | Vijayvargia Electricals
3.00 | Disconnection, removal, shifting, dismantling, overhauling, mounting back, connections and no load/load test run of motors located outside the reactor building / non radioactive area at different floors.
3.10 | Up to 2.5 KW /3HP | 81.00 | Nos | 1.00 | 6500.00 | 526500.00 | 526500.00 | Vijayvargia Electricals
3.20 | More than 2.5 KW /3 HP and up to 5.5 KW/7.5 HP including roof exhaust fan motors. | 46.00 | Nos | 2.00 | 7000.00 | 322000.00 | 322000.00 | Vijayvargia Electricals
3.30 | More than 5.5 KW /7.5 HP and up to 7.5 KW/10 HP | 7.00 | Nos | 3.00 | 7500.00 | 52500.00 | 52500.00 | Vijayvargia Electricals
3.40 | More than 7.5 KW /10 HP and up to 11 KW/15 HP | 19.00 | Nos | 4.00 | 8100.00 | 153900.00 | 153900.00 | Vijayvargia Electricals
3.50 | More than 11 KW /15 HP and up to 15 KW/20 HP | 12.00 | Nos | 5.00 | 8600.00 | 103200.00 | 103200.00 | Vijayvargia Electricals
3.60 | More than 15 KW /20 HP and up to 22 KW/30 HP | 9.00 | Nos | 6.00 | 11000.00 | 99000.00 | 99000.00 | Vijayvargia Electricals
3.70 | More than 22 KW /30 HP and up to 30 KW/40 HP | 4.00 | Nos | 7.00 | 13000.00 | 52000.00 | 52000.00 | Vijayvargia Electricals
4.00 | Remetalizing of shaft using TAFA arc technique after preparation of surface and machining to proper size.(The quantities indicated in 4.1 to 4.4 are purely tentative, which may not be or partially or fully operated)
4.10 | Up to 1.5KW | 2.00 | Nos |  | 3000.00 | 6000.00 | 6000.00 | Vijayvargia Electricals
4.20 | More than 1.5KW up to 7.5 KW | 2.00 | Nos |  | 4000.00 | 8000.00 | 8000.00 | Vijayvargia Electricals
4.30 | More than 7.5KW up to 15 KW | 2.00 | Nos |  | 7000.00 | 14000.00 | 14000.00 | Vijayvargia Electricals
4.40 | More than 15KW up to 45 KW | 2.00 | Nos |  | 8000.00 | 16000.00 | 16000.00 | Vijayvargia Electricals
5.00 | Remetalizing of end cover using TAFA arc technique after preparation of surface and machining to proper size.(The quantities indicated in 5.1 to 5.4 are purely tentative, which may not be or partially or fully operated)
5.10 | Up to 1.5KW | 2.00 | Nos | 7.00 | 3000.00 | 6000.00 | 6000.00 | Vijayvargia Electricals
5.20 | More than 1.5KW up to 7.5KW | 2.00 | Nos | 7.00 | 5000.00 | 10000.00 | 10000.00 | Vijayvargia Electricals
5.30 | More than 7.5KW up to 15 KW | 2.00 | Nos | 7.00 | 7000.00 | 14000.00 | 14000.00 | Vijayvargia Electricals
5.40 | More than 15KW up to 45 KW | 4.00 | Nos | 7.00 | 10000.00 | 40000.00 | 40000.00 | Vijayvargia Electricals
6.00 | Dynamic balancing of rotor with 2.5 microns accuracy. (The quantities indicated in 6.1 to 6.4 are purely tentative ,which may not be or partially or fully operated)
6.10 | More than 1 Kg up to 4 Kg | 2.00 | Nos |  | 5000.00 | 10000.00 | 10000.00 | Vijayvargia Electricals
6.20 | More than 4 Kg up to 16 Kg | 2.00 | Nos |  | 6500.00 | 13000.00 | 13000.00 | Vijayvargia Electricals
6.30 | More than 16 Kg up to 48 Kg | 4.00 | Nos |  | 8000.00 | 32000.00 | 32000.00 | Vijayvargia Electricals
6.40 | More than 48 Kg up to 96 Kg | 4.00 | Nos |  | 12500.00 | 50000.00 | 50000.00 | Vijayvargia Electricals
7.00 | Replacement of damage PVC cooling fan for motors (The quantities indicated in 7.1 to 7.4 are purely tentative ,which may not be or partially or fully operated)
7.10 | Upto 1.5 kW | 4.00 | Nos |  | 125.00 | 500.00 | 500.00 | Vijayvargia Electricals
7.20 | More than 1.5kW upto 7.5 kW | 8.00 | Nos |  | 200.00 | 1600.00 | 1600.00 | Vijayvargia Electricals
7.30 | More than 7.5kW upto 15kW | 5.00 | Nos |  | 500.00 | 2500.00 | 2500.00 | Vijayvargia Electricals
7.40 | More than 15kW upto 45kW | 2.00 | Nos |  | 1000.00 | 2000.00 | 2000.00 | Vijayvargia Electricals
8.00 | Replacement of worn-out bearing by SKF make for motors
8.01 | 6205 ZZ SKF make Bearing | 90.00 | Nos |  | 450.00 | 40500.00 | 40500.00 | Vijayvargia Electricals
8.02 | 6206 ZZ SKF make Bearing | 54.00 | Nos |  | 630.00 | 34020.00 | 34020.00 | Vijayvargia Electricals
8.03 | 6207 ZZ SKF make Bearing | 16.00 | Nos |  | 640.00 | 10240.00 | 10240.00 | Vijayvargia Electricals
8.04 | 6208 ZZ SKF make Bearing | 81.00 | Nos |  | 740.00 | 59940.00 | 59940.00 | Vijayvargia Electricals
8.05 | 6209 ZZ SKF make Bearing | 33.00 | Nos |  | 900.00 | 29700.00 | 29700.00 | Vijayvargia Electricals
8.06 | 6309 ZZ SKF make Bearing | 37.00 | Nos |  | 1750.00 | 64750.00 | 64750.00 | Vijayvargia Electricals
8.07 | 6310-ZZ SKF make Bearing | 23.00 | Nos |  | 1750.00 | 40250.00 | 40250.00 | Vijayvargia Electricals
8.08 | 6311-ZZ SKF make Bearing | 7.00 | Nos |  | 2600.00 | 18200.00 | 18200.00 | Vijayvargia Electricals
8.09 | 6312 ZZ SKF make Bearing | 9.00 | Nos |  | 3000.00 | 27000.00 | 27000.00 | Vijayvargia Electricals
8.10 | 6313-ZZ SKF make Bearing | 6.00 | Nos |  | 3500.00 | 21000.00 | 21000.00 | Vijayvargia Electricals
8.11 | N310 SKF make Bearing | 6.00 | Nos |  | 13500.00 | 81000.00 | 81000.00 | Vijayvargia Electricals
| Total in Figures |  |  |  |  | 2936100.00
Lowest Amount Quoted BY: Vijayvargia Electricals(2936100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Overhauling of 3 phase, 415 Volt Alternating Current induction motors Tender ID: 2024_NPCIL_205849_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vijayvargia Electricals (BID ID -744041) | 2936100.00 | L1